Client # ______________

# Housing Quality Standards (HQS) Inspection Form

A.	General Information

Date of Inspection: _________________________________________________

Address of Inspected Unit:	Street: _________________________________________________________________

City: ________________________  County: ___________________________  State: __________________  Zip: _______

Name of Family: _____________________________________________________________________________________

__________________________________________________________________________________________________

Current Address of Family:	Street: _________________________________________________________________

City:________________________  County: ___________________________  State: __________________  Zip: _______

Current Telephone of Family: __________________________________________________________________________

B.	How to Fill Out This Checklist

Proceed through the inspection as follows:

| Area | Checklist Category |
| --- | --- |
| Room by Room | Living Room Kitchen Bathroom All Other Rooms Used for Living All Secondary Rooms Not Used for Living |
| Outside | 6. Building Exterior |
| Basement or Utility Room | 7. Heating and Plumbing |
| Overall | 8. General Health and Safety |

Each part of the checklist will be accompanied by an explanation of the item to be inspected.

Important:  For each item numbered on the checklist, check one box only (e.g., check one box only for item 1.4 "Security," in the Living Room).

In the space to the right of the description of the item, if the decision on the item is  "Fail," write what repairs are necessary.

Also, if "Pass" but there are additional code items or items not consistent with rehab standards or area codes, write these in the space to the right.

| 1. LIVING ROOM |  | For each item numbered, check one box only. |  |  |
| --- | --- | --- | --- | --- |
|  |  | DECISION |  |  |
| Item # | Description | Yes, PASS | No, FAIL | Repairs Required |
| 1.1 | LIVING ROOM PRESENT Is there a living room? |  |  |  |
| 1.2 | ELECTRICITY Are there at least two working outlets or one working outlet and one working light fixture? |  |  |  |
| 1.3 | ELECTRICAL HAZARDS Is the room free from electrical hazards? |  |  |  |
| 1.4 | SECURITY Are all windows and doors that are accessible from the outside lockable? |  |  |  |
| 1.5 | WINDOW CONDITION Is there at least one window, and are all windows free of signs of severe deterioration or missing or broken out panes? |  |  |  |
| 1.6 | CEILING CONDITION Is the ceiling sound and free from hazardous defects? |  |  |  |
| 1.7 | WALL CONDITION Are the walls sound and free from hazardous defects? |  |  |  |
| 1.8 | FLOOR CONDITION Is the floor sound and free from hazardous defects? |  |  |  |
| 1.9 | LEAD PAINT Are all interior surfaces either free of cracking, scaling, peeling, chipping, and loose paint or adequately treated and covered to prevent exposure of the occupants to lead based paint hazards? |  |  |  |
| 1.10 | WEATHER STRIPPING Is weather stripping present and in good condition on all windows and exterior doors? |  |  |  |
| 1.11 | OTHER |  |  |  |
| 1.12 | OTHER |  |  |  |

Notes:  (Give Item #)

| 2. KITCHEN |  | For each item numbered, check one box only. |  |  |
| --- | --- | --- | --- | --- |
|  |  | DECISION |  |  |
| Item # | Description | Yes, PASS | No, FAIL | Repairs Required |
| 2.1 | KITCHEN AREA PRESENT Is there a kitchen? |  |  |  |
| 2.2 | ELECTRICITY Is there at least one working electric outlet and one working, permanently installed light fixture? |  |  |  |
| 2.3 | ELECTRICAL HAZARDS Is the kitchen free from electrical hazards? |  |  |  |
| 2.4 | SECURITY Are all windows and doors that are accessible from the outside lockable? |  |  |  |
| 2.5 | WINDOW CONDITION Are all windows free of signs of deterioration or missing or broken out panes? |  |  |  |
| 2.6 | CEILING CONDITION Is the ceiling sound and free from hazardous defects? |  |  |  |
| 2.7 | WALL CONDITION Are the walls sound and free from hazardous defects? |  |  |  |
| 2.8 | FLOOR CONDITION Is the floor sound and free from hazardous defects? |  |  |  |
| 2.9 | LEAD PAINT Are all interior surfaces either free of cracking, scaling, peeling, chipping, and loose paint or adequately treated and covered to prevent exposure of the occupants to lead based paint hazards? |  |  |  |
| 2.10 | STOVE OR RANGE WITH OVEN Is there a working oven and a stove (or range) with top burners that work? |  |  |  |
| 2.11 | REFRIGERATOR Is there a refrigerator that works and maintains a temperature low enough so that food does not spoil over a reasonable period of time? |  |  |  |
| 2.12 | SINK Is there a kitchen sink that works with hot and cold running water? |  |  |  |
| 2.13 | SPACE FOR STORAGE AND PREPARATION OF FOOD Is there space to store and prepare food? |  |  |  |
| 2.14 | WEATHER STRIPPING Is weather stripping present and in good condition on all windows and exterior doors? |  |  |  |
| 2.15 | OTHER |  |  |  |
| 2.16 | OTHER |  |  |  |

Notes:  (Give Item #)

| 3. BATHROOM |  | For each item numbered, check one box only. |  |  |
| --- | --- | --- | --- | --- |
|  |  | DECISION |  |  |
| Item # | Description | Yes, PASS | No, FAIL | Repairs Required |
| 3.1 | BATHROOM (see description) Is there a bathroom? |  |  |  |
| 3.2 | ELECTRICITY Is there at least one permanently installed light fixture? |  |  |  |
| 3.3 | ELECTRICAL HAZARDS Is the bathroom free from electrical hazards? |  |  |  |
| 3.4 | SECURITY Are all windows and doors that are accessible from the outside lockable? |  |  |  |
| 3.5 | WINDOW CONDITION Are all windows free of signs of deterioration or missing or broken out panes? |  |  |  |
| 3.6 | CEILING CONDITION Is the ceiling sound and free from hazardous defects? |  |  |  |
| 3.7 | WALL CONDITION Are the walls sound and free from hazardous defects? |  |  |  |
| 3.8 | FLOOR CONDITION Is the floor sound and free from hazardous defects? |  |  |  |
| 3.9 | LEAD PAINT Are all interior surfaces either free of cracking, scaling, peeling, chipping, and loose paint, or adequately treated and covered to prevent exposure of the occupants to lead based paint hazards? |  |  |  |
| 3.10 | FLUSH TOILET IN ENCLOSED ROOM IN UNIT Is there a working toilet in the unit for exclusive private use of the tenant? |  |  |  |
| 3.11 | FIXED WASH BASIN OR LAVATORY IN UNIT Is there a working, permanently installed wash basin with hot and cold running water in the unit? |  |  |  |
| 3.12 | TUB OR SHOWER IN UNIT Is there a working tub or shower with hot and cold running water in the unit? |  |  |  |
| 3.13 | VENTILATION Are there operable windows or a working vent system? |  |  |  |
| 3.14 | WEATHER STRIPPING Is weather stripping present and in good condition on all windows and exterior doors? |  |  |  |
| 3.15 | OTHER |  |  |  |
| 3.16 | OTHER |  |  |  |

Notes:  (Give Item #)

| 4. OTHER ROOMS USED FOR LIVING AND HALLS |  | For each item numbered, check one box only. |  |  |
| --- | --- | --- | --- | --- |
|  |  | DECISION |  |  |
| Item # | Description | Yes, PASS | No, FAIL | Repairs Required |
| 4.1 | ROOM CODE and ROOM LOCATION: right/left __________ front/rear __________ floor level __________ | ROOM CODES 1 = Bedroom or any other room used for sleeping (regardless of type of room) 2 = Dining Room, or Dining Area 3 = Second Living Room, Family Room, Den, Playroom, TV Room 4 = Entrance Halls, Corridors, Halls, Staircases 5 = Additional Bathroom 6 = Other |  |  |
| 4.2 | ELECTRICITY If Room Code = 1, are there at least two working outlets or one working outlet and one working, permanently installed light fixture? If Room Code does not = 1, is there a means of illumination? |  |  |  |
| 4.3 | ELECTRICAL HAZARDS Is the room free from electrical hazards? |  |  |  |
| 4.4 | SECURITY Are all windows and doors that are accessible from the outside lockable? |  |  |  |
| 4.5 | WINDOW CONDITION If Room Code = 1, is there at least one window? And, regardless of Room Code, are all windows free of signs of severe deterioration or missing or broken out panes? |  |  |  |
| 4.6 | CEILING CONDITION Is the ceiling sound and free from hazardous defects? |  |  |  |
| 4.7 | WALL CONDITION Are the walls sound and free from hazardous defects? |  |  |  |
| 4.8 | FLOOR CONDITION Is the floor sound and free from hazardous defects? |  |  |  |
| 4.9 | LEAD PAINT Are all interior surfaces either free of cracking, scaling, peeling, chipping, and loose paint, or adequately treated and covered to prevent exposure of the occupants to lead based paint hazards? |  |  |  |
| 4.10 | WEATHERSTRIPPING Is weather stripping present and in good condition on all windows and exterior doors? |  |  |  |
| 4.11 | OTHER |  |  |  |
| 4.12 | OTHER |  |  |  |

Notes:  (Give Item #)

| 5. ALL SECONDARY ROOMS NOT USED FOR LIVING |  | For each item numbered, check one box only. |  |  |
| --- | --- | --- | --- | --- |
|  |  | DECISION |  |  |
| Item # | Description | Yes, PASS | No, FAIL | Repairs Required |
| 5.1 | NONE. GO TO PART 6 |  |  |  |
| 5.2 | SECURITY Are all windows and doors that are accessible from the outside lockable in each room? |  |  |  |
| 5.3 | ELECTRICAL HAZARDS Are all these rooms free from electrical hazards? |  |  |  |
| 5.4 | OTHER POTENTIALLY HAZARDOUS FEATURES IN ANY OF THESE ROOMS Are all of these rooms free of any other potentially hazardous features? For each room with an "other potentially hazardous feature" explain hazard and means of control of interior access to room. |  |  |  |
| 5.5 | OTHER |  |  |  |
| 5.6 | OTHER |  |  |  |

Notes:  (Give Item #)

| 6. BUILDING EXTERIOR |  | For each item numbered, check one box only. |  |  |
| --- | --- | --- | --- | --- |
|  |  | DECISION |  |  |
| Item # | Description | Yes, PASS | No, FAIL | Repairs Required |
| 6.1 | CONDITION OF FOUNDATION Is the foundation sound and free from hazards? |  |  |  |
| 6.2 | CONDITION OF STAIRS, RAILS, AND PORCHES Are all the exterior stairs, rails and porches sound and free from hazards? |  |  |  |
| 6.3 | CONDITION OF ROOF AND GUTTERS Are the roof, gutters and downspouts sound and free from hazards? |  |  |  |
| 6.4 | CONDITION OF EXTERIOR SURFACES Are exterior surfaces sound and free from hazards? |  |  |  |
| 6.5 | CONDITION OF CHIMNEY Is the chimney sound and free from hazards? |  |  |  |
| 6.6 | LEAD PAINT: EXTERIOR SURFACES Are all exterior surfaces which are accessible to children under seven years of age free of cracking, scaling, peeling, chipping, and loose paint, or adequately treated or covered to prevent exposure of such children to lead based paint hazards? |  |  |  |
| 6.7 | MOBILE HOMES: TIE DOWNS If the unit is a mobile home, it is properly placed and tied down? If not a mobile home, check "Not Applicable." |  |  |  |
| 6.8 | MOBILE HOMES: SMOKE DETECTORS If unit is a mobile home, does it have at least one smoke detector in working condition? If not a mobile home, check "Not Applicable." |  |  |  |
| 6.9 | CAULKING Are all fixed joints including frames around doors and windows, areas around all holes for pipes, ducts, water faucets or electric conduits, and other areas, which may allow unwanted air flow appropriately caulked. |  |  |  |
| 6.10 | OTHER |  |  |  |
| 6.11 | OTHER |  |  |  |

Notes:  (Give Item #)

| 7. HEATING, PLUMBING AND INSULATION |  | For each item numbered, check one box only. |  |  |
| --- | --- | --- | --- | --- |
|  |  | DECISION |  |  |
| Item # | Description | Yes, PASS | No, FAIL | Repairs Required |
| 7.1 | ADEQUACY OF HEATING EQUIPMENT a. Is the heating equipment capable of providing adequate heat (either directly or indirectly) to all rooms used for living? |  |  |  |
|  | b. Is the heating equipment oversized by more than 15%? |  |  |  |
|  | c. Are pipes and ducts located in unconditioned space insulated? |  |  |  |
| 7.2 | SAFETY OF HEATING EQUIPMENT Is the unit free from unvented fuel burning space heaters, or any other types of unsafe heating conditions? |  |  |  |
| 7.3 | VENTILATION AND ADEQUACY OF COOLING Does this unit have adequate ventilation and cooling by means of operable windows or a working cooling system? |  |  |  |
| 7.4 | HOT WATER HEATER Is hot water heater located, equipped, and installed in a safe manner? |  |  |  |
| 7.5 | WATER SUPPLY Is the unit served by an approvable public or private sanitary water supply? |  |  |  |
| 7.6 | PLUMBING Is plumbing free from major leaks or corrosion that causes serious and persistent levels of rust or contamination of the drinking water? |  |  |  |
| 7.7 | SEWER CONNECTION Is plumbing connected to an approvable public or private disposal system, and is it free from sewer back up? |  |  |  |
| 7.8 | INSULATION Are the attic and walls appropriately insulated for regional conditions? |  |  |  |
| 7.9 | OTHER |  |  |  |
| 7.10 | OTHER |  |  |  |

Notes:  (Give Item #)

| 8. GENERAL HEALTH AND SAFETY |  | For each item numbered, check one box only. |  |  |
| --- | --- | --- | --- | --- |
|  |  | DECISION |  |  |
| Item # | Description | Yes, PASS | No, FAIL | Repairs Required |
| 8.1 | ACCESS TO UNIT Can the unit be entered without having to go through another unit? |  |  |  |
| 8.2 | EXITS Is there an acceptable fire exit from this building that is not blocked? |  |  |  |
| 8.3 | EVIDENCE OF INFESTATION Is the unit free from rats or severe infestation by mice or vermin? |  |  |  |
| 8.4 | GARBAGE AND DEBRIS Is the unit free from heavy accumulation of garbage or debris inside and outside? |  |  |  |
| 8.5 | REFUSE DISPOSAL Are there adequate covered facilities for temporary storage and disposal of food wastes, and are they approved by a local agency? |  |  |  |
| 8.6 | INTERIOR STAIRS AND COMMON HALLS Are interior stairs and common halls free from hazards to the occupant because of loose, broken or missing steps on stairways, absent or insecure railings; inadequate lighting, or other hazards? |  |  |  |
| 8.7 | OTHER INTERIOR HAZARDS Is the interior of the unit free from any other hazards not specifically identified previously? |  |  |  |
| 8.8 | ELEVATORS Where local practice requires, do all elevators have a current inspection certificate? If local practice does not require this, are they working and safe? |  |  |  |
| 8.9 | INTERIOR AIR QUALITY Is the unit free from abnormally high levels of air pollution from vehicular exhaust, sewer gas, fuel gas, dust, or other pollutants? |  |  |  |
| 8.10 | SITE AND NEIGHBORHOOD CONDITIONS Are the site and immediate neighborhood free from conditions, which would seriously and continuously endanger the health or safety of the residents? |  |  |  |
| 8.11 | LEAD PAINT: OWNER CERTIFICATION If the owner of the unit is required to treat or cover any interior or exterior surfaces, has the certification of compliance been obtained? If the owner was not required to treat surfaces, check "Not Applicable." |  |  |  |
| 8.12 | OTHER |  |  |  |
| 8.13 | OTHER |  |  |  |

Notes:  (Give Item #)