NATURAL RESOURCES CONSERVATION SERVICE

Idaho

# CONSTRUCTION SPECIFICATIONS

FOR

# STRUCTURES FOR WATER CONTROL

(CULVERT)

___________________________________________

(Owner/Operator)

___________________________________________

(Project Title)

GENERAL

Installation shall be in accordance with an approved design and plan.  Details of construction shown on the drawings but not included herein are considered as a part of this specification.

Construction operations shall be carried out in a manner to ensure that erosion and air and water pollution are minimized.  All equipment shall be fueled at locations away from the edge of streams or other water bodies.  Sediment control fencing or other measures shall be used to prevent storm water generated sediment from entering water bodies.

Construction activities shall be in accordance with applicable OSHA regulations.

SITE PREPARATION

The foundation area for the culvert pipe and headwalls as applicable shall be cleared of all trees, roots, stumps, brush, boulders, sod and debris.

EXCAVATION

Excavation will be to the depths and widths needed to install the culvert to the lines and grades shown on the drawings.  Any over excavation will be backfilled with selected material and compacted to the density of the surrounding undisturbed materials.  The pipe will be placed on a firm foundation.

MATERIALS

Pipe.  Corrugated metal pipe shall be zinc-coated meeting the requirements listed in one of the following standards.

ASTM A 760 Pipe, Corrugated Steel, Zinc Coated

Federal Specification WW-P-402C Pipe, Corrugated (Aluminum Alloy Amend. 1)

Federal Specification WW-P-405B Pipe, Corrugated Iron or Steel, Zinc Coated (Amend.1)

AASHTO M 36 Zinc Coated (Galvanized) Corrugated Iron or Steel Culverts and Underdrains

AASHTO M 196 Corrugated Aluminum Alloy Culverts and Underdrains (Amend AASHTO 196)

AASHTO M 245 Precoated, Galvanized Steel Culverts and Underdrains

AASHTO M 257 Steel Sheet, Aluminum Coated (Aluminum Type II) by the Hot Dip Process for Sewer & Drainage Pipe

High density polyethylene pipe (HDPE) shall meet one of the following standards:

AASHTO M 294, Standard Specification for Corrugated Polyethylene Pipe, 300 to 1200 mm diameter (12”-48”)

AASHTO MP7, Standard Specification for Corrugated Polyethylene Pipe, 1350 to 1500 mm diameter (54”-60”)

Pipe bands or couplers shall meet the requirements of the applicable pipe specification, except that no flange (channel), smooth slab or dimple band shall be used.  Gaskets shall meet the requirements of ASTM C 443 or ASTM F 477 as appropriate.

Other pipe materials when specified shall meet the requirements as listed on the drawings or in the “ADDITIONAL SPECIFICATIONS”.

Coatings.  All metal items, with the exception of aluminum and galvanized metal, shall be painted with two coats of synthetic primer paint and one coat of aluminum paint or an approved equal coating.  Any damage to zinc coating shall be repaired by thoroughly brushing and cleaning the damaged area and painting.

HEADWALLS

Headwalls when specified on the drawings shall be of the type and materials and be constructed to the lines and grades as shown on the drawings.  Refer to drawings and/or “ADDITIONAL SPECIFICATIONS” for applicable construction specifications.

BACKFILL

Backfill materials shall be free of rocks, stones, sod, brush, roots, or other perishable or unsuitable material.  Cobble and rock fragments having a maximum dimension of more than two inches shall not be used within 1 foot of the pipe.  To the extent they are suitable excavated materials will be used to complete the necessary backfill.  No fill shall be placed on a frozen surface.  Snow or ice shall not be incorporated into any fill.

The moisture content of fine grained fill material shall be maintained within the limits required to prevent the adherence of the fill material to the compacting equipment and ensure the crushing and blending of the soil clods.  Generally when soil material is squeezed in the hand it will retain a ball shape, but there will not be free water on the surface.  Supplemental water, when required, shall be applied to get water uniformly dispersed throughout the fill materials.

Required backfill will be brought up at approximately uniform height along both sides of the pipe.

Hand directed tamper compacted fills shall be placed in layers not exceeding 4 inch thickness prior to being compacted.  The backfill material shall be compacted to a density equal to that of the adjacent ground.  Hand directed tampers or compactors shall be used on areas not accessible to heavy compaction equipment and within 2 feet of the pipe and headwalls.  The passage of heavy equipment will not be allowed over the pipe until the compacted backfill has been placed a minimum of two feet over the top of the pipe.  The layer thickness for equipment compacted fills shall not exceed 8 inches prior to compaction.

RIPRAP

Rock when specified shall be angular to subangular in shape, dense and durable stone of the size and gradation shown on the drawings.

ADDITIONAL SPECIFICATIONS