Answers

Testing for Thin

- An approved 5/64 by 3/4-inch sieve slotted-hole sieve.

- An approved 5 1/2/64 by 3/4-inch slotted-hole sieve.

- The mechanical sieving method and the hand-sieving method.

- Place a 5/64 by 3/4-inch sieve for six-rowed barley, or a 5 1/2/64 by 3/4-inch sieve for two-rowed barley, underneath an approved 6/64 by 3/4-inch sieve.

- Approximately 250 grams.

- Mounted so that the perforations in the sieve are parallel to the motion of the sieving action.

- 30 strokes.

- 40 g  260 g = 15.39, or 15.4 percent.

- 5/64 triangular-hole sieve and an approved 0.064 x 3/8-inch oblong-hole sieve.

- Approximately 1000 grams.

- An approved .064 x 3/8-inch slotted-hole sieve.

- It should be returned to the barley remaining on top of the sieve.

- To the nearest tenth percent.