## Sheet1
FIELD QUALITY ASSURANCE CHECKLIST
Station Name:______________________ |  | Mudslough at Gunclub rd. |  |  |  | Day 338
NAMES | Jeremy Hanlon |  |  |  | DATE | 2003-12-04
| Chris Campbell |  |  |  | TIME | 12:00
STAGE
|  | Time | Data Source | Stage reading (ft) | Calc. Offset (ft)
Bubbler/Keller/Sontek |  | 12:30 | 11(GCRKelht) | 3.2 | -0.56
Staff gage |  | 12:05 | QA Sheet | 2.64
EC
|  | Time | Standard EC | Measured EC | %
Station Reading |  | 12:30 | 9(Fremcond)* | 1151 | 93.9592
Myron Ultrameter |  | 12:05 | 1440 | 1225
ORP
|  | Time | Value
Station Reading
Myron Ultrameter |  | 12:05 | 244
pH
|  | Time | Value
Station Reading
Myron Ultrameter |  | 12:05 | 8.08
WATER TEMPERATURE
|  | Time | Data Source | Value Deg. F
Station Reading |  | 12:30 | 10(Fremtemp)* | 54.72
Myron Ultrameter |  | 12:05 | QA sheet | 54.5
OPTICAL QUALITY
|  | Time | Fluorescence (%) | Turbidity (NTU)
SCUFA
YSI Sonde 6600
DISCHARGE
|  | Time | Data Source | Velocity (ft/s) | Discharge (cfs)
Datalogger Estimate |  | 12:30 | Discharge 12(GCR_Kel_Q) | 0.96 | 70.5
QA Analysis |  | 12:05 | QA Sheet | 0.77@1ft | na
NOTES: | Fremont and mudslough were reversed on the logger
problem corrected after 12-17-03
Velocity is from 19(Frexvel)