Bar Code Label Requirements for Human Drug Products

Rick Schuessler, Symbol Technologies Inc.

A majority of the speakers at the FDA’s July 26th public meeting suggested that the quickest and surest path to reducing medication errors would be for the FDA to mandate bar coding of the NDC number immediately, but to phase in the additional requirement for bar coded Expiration Date and Lot Number at a later date.  Symbol Technologies Inc., one of the world’s leading manufacturers of bar code scanning equipment, supports that view.  Furthermore, we would like to supply the following information, exploring the implications of an “NDC-only” short term scenario, to help the FDA reach a decision on bar coding technology that will provide the most cost-effective approach for the industry.

## Size Comparisons

Many of the speakers on July 26th recommended that the FDA mandate only linear symbologies (Code 128 where space permits, and RSS otherwise) rather than Data Matrix, because it is well understood that a much broader choice of reading equipment would then be available (especially for cost-sensitive bedside applications).  Although the cost advantage (for health care providers) of picking linear bar codes rather than Data Matrix is clear, the FDA may not be aware that, if only the NDC or UPN is encoded (i.e., no Expiration Date or Lot Number), then RSS is not more difficult to fit on a small label than Data Matrix.  In fact, encoding this primary identifier in an RSS linear symbol uses slightly less area on the label than would the alternative 2D Data Matrix symbol.  The data for these comparisons is taken from the relevant documentation provided by the proponents of the two symbology choices (that is, the Data Matrix option is shown as per HIBCC draft guidelines, and the RSS options are per published EAN.UCC guidelines).

Option 1: Using Data Matrix, encode UPN in HIBCC-compliant format.

- Data from Section 2 of the current draft of the HIBCC supplier guideline entitled “Selecting 2D Bar Code Symbols for Small Packages”

- Size of the resulting Data Matrix symbol, printed at 10 mils per the HIBCC spec:

- 0.19” by 0.19” (including minimum 1X symbology-required quiet zones).

# Area: 0.03610 square inch

Option 2a: Using RSS Limited, encode NDC in EAN.UCC-compliant format

- Encoded per the EAN.UCC Global Application Guideline for Healthcare

- Size of the resulting RSS Limited symbol printed at 6.67mils:

- 0.4933” wide by 0.0667” tall (including required quiet zones)

- Area: 0.03289 square inch

Option 2b: Using Stacked RSS-14, again encoding NDC in EAN.UCC-compliant format:

- Size of the resulting Stacked RSS-14symbol printed at 6.67mils:

- 0.3335” wide by 0.08671” tall (including required quiet zones)

- Area: 0.02889 square inch

Additional Observations:

- If the FDA decides not to mandate Expiration Date and Lot Number as part of the barcode printed on unit doses of medication, then the mandated bar code has no dynamic data content, and may be produced as part of the label artwork (no need to ink-jet the symbol as an in-line secondary printing step).  In this scenario, either symbology should be easy to print with high quality and readability.

- There is a far broader choice of scanning technologies offered for RSS than for Data Matrix.  In addition to 2D Imagers (which can read either symbology), RSS can be scanned by lower-cost technologies including single-line laser, single-line CCD, and rastering laser scanners.  At the 7/26 meeting, John Combes, M.D. representing the AHA, recommended that the requirements for labeling be compatible with existing technology presently deployed in hospitals. Venture Development Corporation reports that in 2001, CCD/CMOS imaging accounted for only 1.8% of the revenue for Americas shipments of hand held scanners.

- RSS provides a natural upgrade path, should the FDA decide on a Phase 1 requirement for NDC marking, coupled with a plan for Phase 2 requirements that add Expiration Date and Lot Number in the future.  A drug manufacturer who has been marking with RSS may ‘graduate’ to marking with an RSS-based Composite (in order to add Lot and/or Expiration Date), without obsoleting existing RSS-only scanning equipment (which can continue to read the NDC portion of a Composite, exactly as if only the RSS linear had been printed).

- A few speakers suggested that the FDA should mandate the required data to be encoded, but should not specify or even restrict the choice of symbology.  It was stated more than once that the FDA “should not mandate any one technology” so that the industry would not be “locked in” to a single approach.  Although these comments may sound benign, they need to be interpreted carefully.  If the FDA decides to not specify a limited set of symbologies, such a decision actually does in fact mandate a single technology– 2D Imagers - at the scanning end of the supply chain.  This would deprive hospitals and other cost-conscious institutions of any ability to choose different price/performance tradeoffs for bedside systems (in fact, some of the speakers may have actually meant “do specify a symbology, so you’re not mandating a single reading technology,” but if so, the point was never clearly articulated during the 7/26 meeting).  Moreover, failure to specify a symbology would tend to paralyze purchasing decisions, and delay implementations indefinitely while waiting for the ‘ideal’ technology to appear.  In order to maximize the end result of  “reducing medication errors,” the barriers to deployment should be minimal at the point of care.  The FDA cannot mandate that providers use the technology, but it can encourage the most widespread use at the point of care, by mandating bar codes that can be read by multiple scanning technologies, thus giving the healthcare providers the broadest range of cost/performance options.

## Recommendations

- We recommend that the FDA mandate the bar coding of NDC identification on all unit-dose or unit-of-use packaging, as soon as possible, as a key technology for reducing medication errors.

- We recommend that the scope of this regulation apply not only to prescription drugs, but to any Over-the-Counter drug packages that are sold into institutional settings

- We recommend that the FDA select the National Drug Code (NDC number) as the required form of pharmaceutical identification, and support the prevailing view that only one data format (i.e., NDC) should be used.

- We recommend that the FDA specify the following linear symbologies for encoding the NDC: UCC/EAN-128 where space permits, and RSS-Limited or Stacked RSS-14 on those smaller package sizes where UCC/EAN-128 cannot fit.  Since reading equipment will transparently handle a mix of RSS-Limited and Stacked RSS-14 symbols, there is no need for the FDA to specify only one of those two choices (manufacturers should be allowed to choose between them, based on the width and height of the available label space).

- We recommend that the FDA’s initial regulation include the following statements:

  - A statement that, while the initial regulation requires only the primary (NDC) identification be bar coded, the FDA will in the future mandate an additional requirement for bar coded Expiration Date and Lot Number,

  - That data items fulfilling this future requirement shall be encoded in an EAN.UCC 2D Composite Component associated with the NDC’s linear symbol (which may be either EAN/UCC-128 or RSS Limited or Stacked RSS-14).

  - That manufacturers are free to begin labeling products with the additional data in EAN.UCC Composite symbols (which still encode the NDC in a linear Code 128 or RSS component) in advance of the future requirement.

These statements from the FDA would yield two benefits:

  - they would give health care providers the information they need to make informed purchasing decisions, allowing each institution to minimizing the risks of product obsolescence, balanced against the appropriate price/performance characteristics for their operating environment;

  - they would allow pharmaceuticals manufacturers to mark items with Expiration Date and Lot Number as soon as they wish, in order to improve the efficiency of their own operations, without creating any cost impact on their customers.

# Endnotes

As shown in the HIBCC guideline cited above, and according to accepted barcode industry practice, the comparisons between a Matrix code and other bar codes should be done at different nominal element sizes (a/k/a X dimensions), so that an equivalent optical area is devoted to each black or white data element (up to a limit where additional area offers no significant further improvement in scanning performance).  Thus, a 10mil Data Matrix symbol should be compared to an RSS-based Composite symbol of 6.67 mils (wherein the black/white elements of the two-dimensional components have equivalent areas).  Although the comparison for an RSS symbol (without a 2D Composite Component) should by this measure use an RSS even smaller than 6.67 mils, we will use 6.67 mils, for two reasons: 1) it adheres to the EAN.UCC Guidelines, and allows migration to Composites without changing the X dimension, and 2) because that is the typical lower bound for standard-density linear scanners.