3.	DATA ON Fires Following Northridge Earthquake

3.1	Introduction

This section describes our data collection procedure, and presents a database of fires occurring as a result of the Northridge earthquake.  The database is termed FFNRE (Fires Following the NorthRidge Earthquake).  The data is provided in hard-copy form, as well as in an attached diskette (Excel worksheet), and is also available on the Internet (at www.eqe.com).

3.2	Data

Data Collection Approach

Data on fires caused by the January 17 earthquake were collected by contacting local fire departments and obtaining their records, and by interviewing selected senior officers in several of the affected departments.  Approximately 110 fires were reported as earthquake-related on January 17, as shown in Table 2-7.  For Los Angeles City, Santa Monica, Pasadena, Burbank, and Glendale, the number of fires is shown as reported by each fire department's incident reports.  These reports reflect initial assessment of the probable cause, and may or may not include all earthquake-related fires.  Furthermore, what is counted as a single incident report may involve multiple structures.  Lastly, in the case of mobile home parks, a single incident in some cases even involves multiple ignitions, since several mobile home parks had several fires, but were only listed as one incident, at one address.

The number of earthquake-related fires is only approximate for the unincorporated areas in Los Angeles County due to the fact that not all fires on January 17 were recorded in incident reports.  The number of earthquake-related fires in Table 2-7 for several of the smaller cities in Los Angeles County, and for Ventura County were obtained through telephone interview with the respective fire departments, and are therefore preliminary.  The locations of most Los Angeles County earthquake-related fires are shown in Figure 4-1 (some outlying locations have been excluded).

FFNRE Database

Los Angeles Fire Department Field Incident Report Data.  The majority of the data contained in our database is taken directly from the Field Incident Reports (FIRs) logged on January 17, 1994, from 4:31 AM to 11:59 PM, by the Los Angeles Fire Department (LAFD).  A total of 2177 incidents were reported on that day by the city fire department, a portion of which were earthquake-related or fire-related.  We have retained all of these incident reports in our database, along with all relevant data fields.  Those data fields are described below.

A subset of reports covering earthquake-related fire incidents was extracted from the all incident reports of January 17.  Any fire that had an ignition factor or a contributing factor related to the earthquake, as specified by the incident report, was included in this list.  The list of 77 incident reports is shown in Table 3-1.

Incident Number (IKEY)

A unique number is assigned to each incident by the LAFD emergency control center.  The number contains six digits for the incident date (year, month, day) followed by a four-digit incident number which is assigned sequentially throughout the day.

Time of Alarm (AT)

This data field is the time that the initial assignment received the dispatch from the emergency control center.  Time is given in the 24 hour clock that runs from midnight (hr.mi.ss) to 23.59.00 the following night.

Time on Scene (SCNE_TIME)

This data field is the time that the first fire department unit arrived on scene.  Time is given in the 24 hour clock that runs from midnight 00.00.00 (hr.mi.ss) to 23.59.00 the following night.

Street Address (LOCATION)

The actual street address of the location of the incident or a description of the location if an address is not available is given in this data field.

Census Location (CEN_TRACT)

The seven-digit field specifies a six digit U.S. Census Tract number, followed by a block group number which may be specified as zero if not known.

Type of Incident (TYPE_INC)

This data field describes the broad category of incident dealt with.  If conditions change during the operation, the most serious situation encountered is described for the incident.  For example, if the first arriving company found a fuel spill and it subsequently ignited, the incident is recorded as a fire.  The numeric codes entered in this data field are described below.

| TYPE_INC | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| BLANK | 870 | INSUFFICIENT INFORMATION TO CLASSIFY |
| 2 | 43 | ASSUME CODE 20: OVERPRESSURE RUPTURE |
| 3 | 1 | RESCUE CALL |
| 4 | 3 | HAZARDOUS CONDITION, STANDBY |
| 5 | 19 | SERVICE CALL |
| 10 | 1 | EXPLOSION WITH NO AFTER FIRE |
| 11 | 127 | STRUCTURE FIRE |
| 12 | 5 | MOBILE STRUCTURE FIRE |
| 13 | 1 | FIRE IN MOBILE PROPERTY INSIDE STRUCTURE |
| 14 | 6 | FIRE IN MOBILE PROPERTY OUTSIDE STRUCTURE |
| 15 | 4 | GRASS FIRE |
| 16 | 7 | RUBBISH FIRE |
| 17 | 5 | OUTSIDE FIRE BURNING PROPERTY OF DEFINABLE VALUE |
| 18 | 1 | BRUSH FIRE |
| 19 | 4 | TREE FIRE |
| 31 | 68 | EMERGENCY MEDICAL CALL, PARAMEDIC |
| 32 | 155 | EMERGENCY MEDICAL CALL, EMT OR FIRST AID |
| 33 | 7 | LOCK-IN |
| 35 | 27 | PEOPLE TRAPPED/CAUGHT/BURIED |
| 39 | 5 | OTHER RESCUE CALL |
| 40 | 2 | HAZARDOUS CONDITION |
| 41 | 72 | FLAMMABLE GAS/LIQUID LEAK OR SPILL |
| 42 | 10 | TOXIC CONDITION, INCLD CHEMICAL SPILLS |
| 44 | 58 | ELECTRICAL HAZARD: ARCING OR SHORTING |
| 46 | 41 | VEHICLE ACCIDENT OR POTENTIAL ACCIDENT |
| 49 | 7 | OTHER HAZARDOUS CONDITION |
| 51 | 10 | PERSON(S) IN DISTRESS |
| 52 | 41 | WATER PROBLEMS |
| 53 | 21 | SMOKE, ODOR PROBLEM |
| 55 | 2 | PUBLIC SERVICE/AGENCY ASSISTANCE (E.G., POLICE ASSIST) |
| 56 | 7 | UNAUTHORIZED OR ILLEGAL BURNING |
| 59 | 5 | OTHER SERVICE CALL |
| 60 | 1 | GOOD INTENT CALL |
| 61 | 39 | GOOD INTENT CALL CLEARED BY RADIO BEFORE ARRIVAL |
| 62 | 1 | GOOD INTENT CALL WRONG LOCATION |
| 63 | 1 | CONTROLLED BURNING |
| 64 | 9 | MULTIPLE CALLS ON SAME INCIDENT |
| 65 | 35 | SMOKE BY SMOKE, STEAM OR OTHER GAS |
| 66 | 35 | EMS CALL WHERE INJURED PARTY LEFT SCENE |
| 69 | 6 | OTHER GOOD INTENT CALL |
| 71 | 12 | MALICIOUS FALSE CALL |
| 72 | 5 | BOMB SCARE, NO EXPLOSION |
| 73 | 3 | ALARM MALFUNCTION CAUSING FALSE ALARM |
| 74 | 201 | UNINTENTIONAL FALSE ALARM |
| 75 | 26 | CODE ERROR |
| 79 | 1 | OTHER FALSE ALARM |
| 81 | 10 | NATURAL DISASTER: EARTHQUAKE |
| 91 | 25 | OTHER SITUATION |
| 92 | 52 | OTHER SITUATION |
| 93 | 2 | OTHER SITUATION |
| 94 | 26 | OTHER SITUATION |
| 95 | 7 | OTHER SITUATION |
| 96 | 39 | OTHER SITUATION |
| 97 | 1 | OTHER SITUATION |
| 99 | 5 | OTHER SITUATION |

Property Use - General  (USE_GEN)

This category describes the occupancy or use of the property and includes property meeting all three of the following criteria:

Located within a continuous boundary, and

Operated under one business management or ownership.

A single multi-use building or multiple buildings with a single use.

If more than one occupancy is present, the predominant type is specified in this data field. The numeric codes entered in this data field are described below.

| USE_GEN | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| BLANK | 914 | NOT SPECIFIED |
| 0 | 1 | NOT SPECIFIED |
| 2 | 1 | NOT SPECIFIED |
| 12 | 1 | STADIUM, EXHIBITION USE |
| 14 | 1 | CLUB COMPLEX |
| 16 | 3 | RESTAURANT, FOOD SERVICE |
| 17 | 1 | PASSENGER TERMINAL |
| 21 | 10 | PRIMARY AND SECONDARY EDUCATION |
| 22 | 1 | POST SECONDARY EDUCATION |
| 31 | 8 | CARE OF HANDICAPPED |
| 33 | 11 | MEDICAL CARE |
| 34 | 2 | PRISON |
| 35 | 1 | NOT SPECIFIED |
| 36 | 1 | NOT SPECIFIED |
| 41 | 398 | ONE AND TWO FAMILY RESIDENCE |
| 42 | 355 | APARTMENTS, CONDOS |
| 43 | 1 | BOARDING HOUSE, DORMITORY, BARRACKS |
| 44 | 12 | HOTELS, MOTELS, INNS |
| 47 | 2 | MOBILE HOME PARK |
| 51 | 14 | RETAIL AND SHOPPING CENTERS |
| 52 | 1 | SERVICE CENTERS |
| 53 | 1 | NOT SPECIFIED |
| 54 | 1 | NOT SPECIFIED |
| 57 | 1 | NOT SPECIFIED |
| 58 | 2 | NOT SPECIFIED |
| 59 | 58 | BUSINESS, OFFICE |
| 61 | 7 | POWER, ENERGY PRODUCTION OR DISTRIBUTION |
| 62 | 1 | RESEARCH FACILITY OR LABORATORY |
| 70 | 3 | INDUSTRIAL OR MANUFACTURING |
| 74 | 1 | NOT SPECIFIED |
| 79 | 1 | NOT SPECIFIED |
| 80 | 1 | STORAGE, WAREHOUSE |
| 81 | 1 | NOT SPECIFIED |
| 86 | 1 | NOT SPECIFIED |
| 88 | 7 | NOT SPECIFIED |
| 89 | 1 | NOT SPECIFIED |
| 92 | 9 | WILDLAND, VACANT PROPERTY |
| 93 | 8 | REFUSE DISPOSAL |
| 94 | 5 | WATER, WATERFRONT AREA |
| 95 | 1 | RAILROAD |
| 96 | 327 | PUBLIC ROADWAYS |
| 97 | 1 | AIR TRANSPORT USE |

Agent Application Time (AGT_APT_T)

Agent application time is the time that extinguishing agents were first applied to the fire.  The time is expressed as a four-digit number, where the first two digits are the hour (0 to 23) and the second two digits are the minute (0 to 59).

Knock Down Time (KNK_OWN_T)

The knock down time is the time at which the fire is brought under control.  The time is expressed as a four-digit number, where the first two digits are the hour (0 to 23) and the second two digits are the minute (0 to 59).

Area of Origin (AREA_ORIG)

This data field describes the room or area where the fire originated.  The area of origin is either a room, an area or portion of a room, a vehicle or a portion of a vehicle, or possible some open area devoted to a specific use.  The numeric codes used in this field are described below.

| AREA_ORIG | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| BLANK | 1812 | NOT SPECIFIED |
| 0 | 259 | NOT SPECIFIED |
| 1 | 1 | HALLWAY, CORRIDOR |
| 2 | 1 | EXTERIOR STAIRWAY |
| 5 | 1 | LOBBY, ENTRANCE OR EXIT |
| 14 | 10 | LOUNGE OR LIVING AREA |
| 15 | 2 | SALES, SHOWROOM AREA |
| 21 | 15 | SLEEPING ROOM FOR <5 PEOPLE |
| 22 | 1 | SLEEPING ROOM FOR >5 PEOPLE |
| 23 | 1 | DINING AREA |
| 24 | 10 | KITCHEN |
| 25 | 3 | LAVATORY, LOCKER ROOM, CLOAKROOM |
| 26 | 1 | LAUNDRY ROOM OR AREA |
| 27 | 1 | OFFICE |
| 31 | 2 | LABORATORY |
| 38 | 1 | PROCESS, MANUFACTURING AREA |
| 41 | 2 | STORAGE ROOM, AREA, TANK OR BIN |
| 42 | 1 | CLOSET |
| 43 | 1 | SUPPLY STORAGE ROOM OR AREA |
| 46 | 1 | SHIPPING, RECEIVING, LOADING AREA |
| 47 | 10 | GARAGE, CARPORT, VEHICLE STORAGE |
| 51 | 1 | ELEVATOR OR DUMB-WAITER |
| 62 | 7 | HEATING EQUIPMENT OR WATER HEATER AREA |
| 71 | 3 | CRAWL SPACE |
| 73 | 2 | CONCEALED SPACE BETWEEN FLOORS |
| 74 | 3 | CONCEALED SPACE BETWEEN CEILING AND ROOF |
| 75 | 2 | CONCEALED WALL SPACE |
| 76 | 3 | EXTERIOR WALL SURFACE |
| 79 | 1 | OTHER STRUCTURAL AREAS |
| 81 | 2 | VEHICLE PASSENGER AREA |
| 83 | 2 | VEHICLE ENGINE AREA |
| 84 | 1 | VEHICLE FUEL AREA |
| 92 | 8 | ON OR NEAR PUBLIC THROUGHFARE |
| 94 | 5 | LAWN, FIELD, OPEN AREA |
| 99 | 1 | OTHER AREA |

Form of Heat of Ignition (FORM_IGN)

This field describes the form of the heat which started the fire, as near as can be determined.  The form the heat of ignition takes can be an open flame, a hot surface, an arc or spark, or some other form.

The numeric codes used to describe this data field are given below.

| FORM_IGN | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| BLANK | 1812 | NOT SPECIFIED |
| 0 | 269 | NOT SPECIFIED |
| 14 | 13 | FLAME, SPARK, EMBER FROM GAS FUELED SOURCE |
| 15 | 2 | HEAT RADIATED FROM GAS FUELED SOURCE |
| 17 | 2 | HEAT RADIATED FROM FLAMMABLE LIQUID SOURCE |
| 21 | 2 | FLAME, SPARK, EMBER FROM WOOD OR PAPER FUEL SOURCE |
| 25 | 1 | FLAME, SPARK, EMBER FROM SOLID FUEL SOURCE |
| 30 | 2 | HEAT FROM ELECTRICAL EQUIPMENT ARCING, OVERLOADING |
| 32 | 7 | SHORT CIRCUIT, ARC FROM MECHANICAL DAMAGE |
| 33 | 13 | SHORT CIRCUIT, ARC FROM DEFECTIVE INSULATION |
| 34 | 5 | UNSPECIFIED SHORT CIRCUIT |
| 35 | 3 | ARC FROM FAULTY CONTACT, BROKEN POWERLINE |
| 36 | 6 | ARC, SPARK FROM NORMAL EQUIPMENT OPERATION |
| 37 | 1 | HEAT FROM OVERLOADED EQUIPMENT |
| 39 | 1 | HEAD FROM OTHER ELECTRICAL EQUIPMENT |
| 41 | 1 | FRICTION HEAT OR SPARKS |
| 43 | 1 | HOT EMBER, ASH |
| 44 | 4 | ELECTRIC LAMP |
| 45 | 5 | REKINDLE, REIGNITION |
| 46 | 5 | HEAT FROM NORMAL ELECTRICAL EQUIPMENT OPERATION |
| 48 | 1 | CATALYTIC CONVERTER EXHAUST SYSTEM |
| 49 | 1 | HEAT FROM OTHER HOT OBJECTS |
| 56 | 1 | INCENDIARY DEVICES |
| 65 | 10 | MATCH, LIGHTER |
| 68 | 1 | BACKFIRE FROM INTERNAL COMBUSTION ENGINE |
| 72 | 2 | SPONTANEOUS IGNITION, CHEMICAL REACTION |
| 81 | 5 | HEAT FROM DIRECT FLAME, CONVECTION CURRENTS |
| 92 | 1 | OTHER FORM OF HEAT |

Ignition Factor (IGN_FACT)

This data field describes whether an act or lack of action on the part of a person or group of persons appears to have caused the fire to start.  Ignition factors are not only accidental or deliberate acts, misuse or neglect of equipment, but also design, construction and installation failures.

The numeric codes that are entered in this data field are described below.

| IGN_FACT | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| BLANK | 1812 | NOT SPECIFIED |
| 0 | 244 | NOT SPECIFIED |
| 11 | 1 | INCENDIARY ACT BY KNOW PERSON |
| 15 | 8 | INCENDIARY ACT BY PERSON(S) UNKNOWN |
| 27 | 1 | SUSPICIOUS ACT, PERSONS UNKNOWN |
| 35 | 2 | HEAD SOURCE TOO CLOSE TO COMBUSTIBLES |
| 36 | 1 | CHILDREN PLAYING WITH HEAT SOURCES |
| 46 | 1 | COMBUSTIBLE PLACED TOO CLOSE TO HEAT SOURCE |
| 53 | 15 | SHORT CIRCUIT, GROUND FAULT |
| 54 | 9 | OTHER PART FAILURE, LEAK, BREAK |
| 55 | 1 | OTHER ELECTRICAL FAILURE |
| 58 | 2 | WIRES DOWN |
| 62 | 1 | CONSTRUCTION DEFICIENCY |
| 63 | 1 | ITEM CONSTRUCTED TOO CLOSE TO COMBUSTIBLES |
| 66 | 1 | NOT SPECIFIED |
| 71 | 1 | COLLISION, OVERTURN, KNOCKDOWN |
| 73 | 1 | EQUIPMENT UNATTENDED |
| 82 | 64 | EARTHQUAKE CAUSED UNSAFE FACTOR |
| 83 | 1 | HIGH WATER, FLOODS CAUSED UNSAFE FACTOR |
| 92 | 10 | OTHER FACTOR REKINDLED FROM PREVIOUS FIRE |

Contributing Factor 1 (CONTRIB_1)

This data field describes other factors not reported in other fields that had bearing on ignition, fire or smoke spread, incident complexity or the existence of hazardous conditions.

The numeric codes used and their descriptions are given below.

| CONTRIB_1 | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| BLANK | 2102 | NOT SPECIFIED |
| 202 | 1 | UNDIVIDED ATTIC |
| 206 | 1 | CEILING COLLAPSE |
| 230 | 2 | INSTALLATION DEFICIENCY |
| 300 | 2 | NOT SPECIFIED |
| 302 | 2 | CARELESS ACT |
| 332 | 6 | NOT SPECIFIED |
| 336 | 1 | NOT SPECIFIED |
| 348 | 1 | VANDALISM |
| 399 | 1 | OTHER ACTS OR OMISSIONS |
| 480 | 3 | STORAGE (POOR PRACTICE) |
| 714 | 1 | MALFUNCTION OF ELECTRICAL OR MECHANICAL EQUIPMENT |
| 716 | 4 | OVERHEATING OR ELECTRICAL OR MECHANICAL EQUIPMENT |
| 720 | 5 | RUPTURE OF MECHANICAL EQUIPMENT |
| 724 | 7 | SHORT CIRCUIT OF ELECTRICAL EQUIPMENT |
| 804 | 38 | EARTHQUAKE |

Contributing Factor 2 (CONTRIB_2)

This data field describes other factors not reported in other fields that had bearing on ignition, fire or smoke spread, incident complexity or the existence of hazardous conditions.  This field is completed only for fires that spread.

The numeric codes used and their descriptions are given below.

| CONTRIB_2 | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| BLANK | 2161 | NOT SPECIFIED |
| 223 | 1 | FLOOR COLLAPSE |
| 260 | 1 | WALL COMBUSTIBLE |
| 302 | 2 | CARELESS ACT |
| 330 | 1 | MAINTENANCE INADEQUATE |
| 524 | 1 | DELAY IN DETECTION OF FIRE |
| 804 | 10 | EARTHQUAKE |

Material Type First Ignited (TYPE_MAT)

This data field describes the type of material first ignited that had sufficient volume or heat intensity to extend to uncontrolled or self perpetuating fire.  The numeric codes that are used in this data field are described below.

| TYPE_MAT | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| BLANK | 1812 | NOT SPECIFIED |
| 0 | 287 | NOT SPECIFIED |
| 1 | 1 | GRASS |
| 5 | 1 | LIVE TREE, BRUSH |
| 11 | 13 | NATURAL GAS |
| 14 | 1 | L.P. - GAS |
| 15 | 1 | ANESTHETIC GAS |
| 23 | 3 | GASOLINE |
| 25 | 1 | CLASS II COMBUSTIBLE LIQUID |
| 39 | 1 | OTHER VOLATILE SOLID, CHEMICAL |
| 41 | 1 | RIGID PLASTIC |
| 43 | 8 | FLEXIBLE PLASTIC |
| 62 | 8 | WOOD |
| 63 | 8 | SAWN WOOD |
| 66 | 1 | FIBERBOARD |
| 67 | 1 | PAPER, UNTREATED, UNCOATED |
| 69 | 1 | OTHER WOOD OR PAPER |
| 71 | 7 | MANMADE FABRIC OR FIBER EXCEPT RAYON |
| 72 | 10 | COTTON OR RAYON FABRIC |
| 77 | 2 | PLASTIC OR VINYL FABRIC, UPHOLSTERY |
| 93 | 6 | RUBBISH |
| 99 | 3 | OTHER MATERIAL |

Form of Material First Ignited (FORM_MAT)

This data field describes the shape and function of the material first ignited.  The numeric codes used in this data field are described below.

| FORM_MAT | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| BLANK | 1812 | NOT SPECIFIED |
| 0 | 285 | NOT SPECIFIED |
| 11 | 2 | EXTERIOR ROOF COVERING |
| 12 | 3 | EXTERIOR SIDEWALL COVERING |
| 13 | 1 | EXTERIOR TRIM, APPURTENANCES |
| 14 | 2 | FLOOR COVERING |
| 15 | 1 | INTERIOR WALL COVERING |
| 17 | 9 | STRUCTURAL MEMBER |
| 19 | 1 | OTHER STRUCTURAL COMPONENT |
| 21 | 4 | UPHOLSTERED SOFA, CHAIR, SEAT |
| 23 | 2 | CABINETRY |
| 26 | 1 | KITCHEN, HOUSEHOLD UTENSILS |
| 31 | 1 | MATTRESS, PILLOW |
| 32 | 9 | BEDDING, BLANKET, SHEET, HEATING PAD |
| 34 | 1 | WEARING APPAREL NOT ON PERSON |
| 41 | 2 | CHRISTMAS TREE |
| 44 | 1 | MAGAZINE, NEWSPAPER, WRITING PAPER |
| 50 | 1 | OTHER SUPPLIES, STOCK |
| 61 | 10 | ELECTRICAL WIRE, CABLE INSULATION |
| 62 | 1 | TRANSFORMER |
| 65 | 11 | FUEL, GAS TANK |
| 72 | 1 | FENCE, POLE, POWER POLES |
| 74 | 3 | GROWING, LIVING FORM |
| 75 | 5 | RUBBISH OR WASTE |
| 79 | 1 | GENERAL FORM |
| 86 | 6 | GAS OR LIQUID ON OR FROM PIPE OR CONTAINER |
| 99 | 1 | OTHER FORM |

Equipment Involved in Ignition (EQUIP_TYPE)

This data field describes the type of equipment that fails or brings about the ignition while operating normally.  The numeric codes used in this data field are described below.

| EQUIP_TYPE | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| BLANK | 2044 | NOT SPECIFIED |
| 1 | 1 | ROAD TRANSPORT VEHICLES |
| 12 | 3 | WATER HEATER |
| 13 | 2 | FIXED, STATIONARY LOCAL HEATING UNIT |
| 22 | 1 | FIXED, STATIONARY OVEN |
| 41 | 1 | FIXED WIRING |
| 43 | 1 | METER, METER BOX |
| 45 | 1 | SWITCH, RECEPTACLE, OUTLET |
| 46 | 2 | LIGHTING FIXTURE, LAMPHOLDER, BALLAST, SIGN |
| 58 | 1 | PORTABLE APPLIANCE DESIGNED TO PRODUCE HEAT |
| 59 | 1 | OTHER APPLIANCE |
| 98 | 119 | NO EQUIPMENT INVOLVED |

Mobile Property Type (MOB_TYPE)

This data field identifies the type of mobile property involved in the incident report.  This numeric codes used for this field are described below.

| MOB_TYPE | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| BLANK | 2166 | NOT SPECIFIED |
| 11 | 4 | AUTOMOBILE |
| 14 | 1 | MOTOR HOME |
| 17 | 4 | MOBILE HOME |
| 21 | 1 | GENERAL USE TRUCKS >1 TON |
| 22 | 1 | GENERAL USE TRUCKS <1 TON |

Mobile Property Make (MOB_MAKE)

This data field identifies the name of the manufacturer of the mobile property involved in the incident report.  This numberic codes used for this field are described below.

| MOB_MAKE | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| BLANK | 2171 | NOT SPECIFIED |
| CHEV | 1 | CHEVROLET AUTOMOBILE |
| ESCP | 1 | EXCAPADE MOTOR HOME |
| FORD | 2 | FORD AUTOMOBILE |
| TOYO | 1 | TOYOTA AUTOMOBILE |
| UNK | 1 | UNKNOWN |

Form of Material Causing Spread (FORM_MSPRD)

This field describes the shape and function of the material that causes the fire to spread.  The numeric codes used in this data field are described below.

| FORM_MSPRD | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| BLANK | 2138 | NOT SPECIFIED |
| 0 | 4 | NOT SPECIFIED |
| 11 | 4 | EXTERIOR ROOF COVERING |
| 12 | 3 | EXTERIOR SIDEWAL COVERING |
| 14 | 1 | FLOOR COVERING |
| 15 | 4 | INTERIOR WALL COVERING |
| 17 | 5 | STRUCTURAL MEMBER |
| 21 | 1 | UPHOLSTERED SOFA, CHAIR, SEAT |
| 26 | 1 | KITCHEN, HOUSEHOLD UTENSILS |
| 32 | 1 | BEDDING, BLANKET, SHEET |
| 34 | 1 | WEARING APPAREL NOT ON PERSON |
| 44 | 1 | MAGAZINE, NEWSPAPER, WRITING PAPER |
| 51 | 1 | BAOX, CARTON, BAG |
| 61 | 1 | ELECTRICAL WIRE, CABLE INSULATION |
| 65 | 1 | FUEL, GAS TANK |
| 66 | 1 | PAIP, DUCT, CONDUIT, HOSE |
| 75 | 1 | RUBBISH, WASTE |
| 77 | 1 | SIGN |
| 80 | 1 | OTHER SPECIAL FORM |
| 86 | 1 | GAS OR LIQUID ON OR FROM PIPE OR CONTAINER |
| 96 | 1 | NOT SPECIFIED |
| 97 | 1 | MULTIPLE FORM OF MATERIAL IGNITED |
| 98 | 1 | FORM NOT APPLICABLE |
| 99 | 2 | OTHER FORM |

Type of Material Causing Spread (TYPE_MSPRD)

This data field describes the type of material that causes the fire to spread.  The numeric codes used in this data field are described below.

| TYPE_MSPRD | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| BLANK | 2138 | NOT SPECIFIED |
| 0 | 4 | NOT SPECIFIED |
| 11 | 7 | NATURAL GAS |
| 25 | 1 | CLASS II COMBUSTIBLE LIQUID |
| 36 | 1 | COMBUSTIBLE METAL |
| 39 | 1 | OTHER VOLATILE SOLID, CHEMICAL |
| 43 | 1 | FLEXIBLE PLASTIC |
| 63 | 11 | SAWN WOOD |
| 65 | 2 | HARDBOARD, PLYWOOD |
| 67 | 1 | PAPER, UNCOATED |
| 68 | 1 | CARDBOARD |
| 69 | 2 | OTHER WOOD, PAPER |
| 72 | 2 | COTTON, RAYON FABRIC |
| 93 | 1 | RUBBISH |
| 97 | 1 | MULTIPLE TYPES OF MATERIAL |
| 98 | 1 | TYPE OF MATERIAL NOT APPLICABLE |
| 99 | 2 | OTHER MATERIAL TYPE |

Flame Travel Factor (TRVL_FACT)

This data field describes the primary factor in rapid or intense flame spread beyond the room or area of origin.  The numeric codes used in this data field are described below.

| TRVL_FACT | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| BLANK | 2170 | NOT SPECIFIED |
| 20 | 1 | INSUFFICIENT INFORMATION TO CLASSIFY |
| 22 | 1 | INADEQUATE FIRESTOPPING |
| 29 | 1 | OTHER STRUCTURAL FACTOR ALLOWING VERTICAL SPREAD |
| 42 | 1 | CONVEYOR OR OTHER MATERIAL HANDLER |
| 44 | 1 | WIND |
| 79 | 1 | UNCLASSIFIED NATURAL ACT |
| 98 | 1 | NO IMPORTANT FACTORS CONTRIBUTE |

Avenue of Fire Spread (AVE_FIRE)

This data field indicates the most significant avenue of fire spread.  The numeric codes used in this data field are described below.

| AVE_FIRE | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| BLANK | 2167 | NOT SPECIFIED |
| 1 | 4 | CEILING OR ATTIC SPACE |
| 2 | 1 | EXTERIOR OF BUILDING |
| 7 | 4 | HORIZONTAL OPENINGS |
| 9 | 1 | UNCLASSIFIED |

Avenue of Smoke Spread (AVE_SMOKE)

This data field indicates the most significant avenue of smoke spread.  The numeric codes used in this data field are described below.

| AVE_SMOKE | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| BLANK | 2126 | NOT SPECIFIED |
| 0 | 2 | NOT SPECIFIED |
| 1 | 6 | AIR HANDLING DUCTS |
| 2 | 1 | CORRIDOR |
| 3 | 1 | ELEVATOR SHAFT |
| 4 | 1 | STAIRWELL |
| 5 | 8 | CONSTRUCTION OPENING |
| 6 | 2 | UTILITY OPENING IN WALL OR FLOOR |
| 7 | 18 | DOORWAY, PASSAGEWAY |
| 8 | 12 | NO SIGNIFICANT AVENUE OF SMOKE TRAVEL |

Construction Type (CONST_TYPE)

This data field describes the building type of the structure involved in the incident.  The numeric codes used in this field are described below.

| CONST_TYPE | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| BLANK | 2069 | NOT SPECIFIED |
| 0 | 1 | NOT SPECIFIED |
| 1 | 5 | TYPE I - NONCOMBUSTIBLE HIGHRISE |
| 2 | 1 | TYPE II - SMALLER NONCOMBUSTIBLE |
| 3 | 4 | TYPE III - NONCOMBUSTIBLE WALLS, COMBUSTIBLE ROOF, FLOOR |
| 4 | 3 | TYPE IV - NONCOMBUSTILE LIGHT METAL OR CONCRETE PARKING STRUCTURE |
| 5 | 94 | TYPE V - COMBUSTIBLE, WOOD OR STUCCO |

Number of Stories in Structure (FLRS_STRUCT)

The total number of floors above and below ground are given in this data field.

| FLRS_STRUC | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| BLANK | 1812 | NOT SPECIFIED |
| 0 | 257 | NOT SPECIFIED |
| 1 | 55 | ONE STORY |
| 2 | 33 | TWO STORIES |
| 3 | 16 | THREE STORIES |
| 4 | 3 | FOUR STORIES |
| 6 | 1 | SIX STORIES |

Number of Floors Involved in the Incident (FLRS_INVLD)

The total number of floors above and below ground that were involved in the incident are given in this data field.

| FLRS_INVLD | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| BLANK | 1812 | NOT SPECIFIED |
| 0 | 257 | NOT SPECIFIED |
| 1 | 99 | ONE FLOOR |
| 2 | 9 | TWO FLOORS |

Floor of Origin (FLR_ORIG)

The floor of origin of the fire is given in this data field.  The alpha-numeric codes used are given below.

| FLR_ORIG | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| BLANK | 1812 | NOT SPECIFIED |
| 0 | 260 | NOT SPECIFIED |
| A01 | 66 | GROUND FLOOR |
| A02 | 26 | SECOND FLOOR |
| A03 | 10 | THIRD FLOOR |
| A06 | 1 | SIXTH FLOOR |
| B01 | 2 | FIRST BASEMENT |

Type and Effectiveness of Detection System (DET_SYS)

This data field indicates the type of alarm or detection system.  The numeric codes used are described below

| DET_SYS | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| BLANK | 2172 | NOT SPECIFIED |
| 2114 | 1 | SMOKE/PHOTOELECTRIC/ELECTRICALLY POWERED, LOCAL ALARM, AUTOMATIC DETECTORS, SATISFACTORY OPERATION |
| 2121 | 1 | SMOKE/PHOTOELECTRIC/ELECTRICALLY POWERED, LOCAL ALARM, AUTOMATIC DETECTORS AND MANUAL SEND, ALERTED OCCUPANTS TO CALL FIRE DEPT |
| 4131 | 1 | SMOKE/IONIZATION/ELECTRICALLY POWERED, LOCAL ALARM, MANUAL SEND, ALERTED OCCUPANTS TO CALL FIRE DEPT |
| 4149 | 1 | SMOKE/IONIZATION/ELECTRICALLY POWERED, LOCAL ALARM, WATCHMAN, EFFECTIVENESS NOT CLASSIFIED |
| 5111 | 1 | IONIZATION/PHOTOELECTRIC, LOCAL ALARM, AUTO DETECTORS, ALERTED OCCUPANTS TO CALL FIRE DEPT |

Extinguishing System Type and Effectiveness (EXT_SYS)

| EXT_SYS | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| BLANK | 2175 | NO EXTINGUISHING SYSTEM OR NOT APPLICABLE |
| 21 | 1 | WET PIPE/PARTIAL COVERAGE, NOT FACTOR IN OUTCOME |
| 415 | 1 | WET/COMPLETE COVERAGE, OPERATED BUT NOT EFFECTIVE |

Property Management Status (PROP_STAT)

This data field records the property management responsibility and use status of the property.  The numeric codes used for this data field are described below.

| PROP_STAT | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| BLANK | 2066 | NOT SPECIFIED |
| 0 | 1 | NOT SPECIFIED |
| 1 | 8 | PROPERTY MGMT UNDETERMINED, UNINHABITED |
| 11 | 12 | PRIVATE TAX PAYING PROPERTY, UNINHABITED |
| 12 | 59 | PRIVATE TAX PAYING PROPERTY, OCCUPIED |
| 13 | 12 | PRIVATE TAX PAYING PROPERTY, CLOSED AND PERSONNEL ABSENT |
| 14 | 16 | PRIVATE TAX PAYING PROPERTY, OCCUPANT ABSENT |
| 42 | 1 | STATE GOV PROPERTY, OCCUPIED |
| 43 | 2 | STATE GOV PROPERTY, CLOSED AND PERSONNEL ABSENT |

Extent of Fire Damage (FIRE_DMGE)

This data field indicates extent of burned or charred area.  The numeric codes used are given below.

| FIRE_DMGE | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| BLANK | 2044 | NOT SPECIFIED |
| 0 | 1 | UNDETERMINED |
| 1 | 49 | CONFINED TO OBJECT OF ORIGIN |
| 2 | 21 | CONFINED TO PART OF ROOM OR AREA |
| 3 | 20 | CONFINED TO ROOM |
| 4 | 2 | CONFINED TO FIRE RATED COMPARTMENT OF ORIGIN |
| 5 | 2 | CONFINED TO STORY OF ORIGIN |
| 6 | 32 | CONFINED TO BUILDING OR PROPERTY OF ORIGIN |
| 7 | 3 | EXTENDED BEYOND BUILDING OR PROPERTY |
| 8 | 1 | NO DAMAGE OF THIS TYPE |
| 9 | 2 | NOT CLASSIFIED |

Extent of Smoke Damage (SMOKE_DMGE)

This data field indicates the extent of damage caused by the movement of smoke and heat.  The numeric codes used are given below.

| SMOKE_DMGE | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| BLANK | 2044 | NOT SPECIFIED |
| 0 | 3 | UNDETERMINED |
| 1 | 33 | CONFINED TO OBJECT OF ORIGIN |
| 2 | 11 | CONFINED TO PART OF ROOM OR AREA |
| 3 | 14 | CONFINED TO ROOM |
| 4 | 4 | CONFINED TO FIRE RATED COMPARTMENT OF ORIGIN |
| 5 | 4 | CONFINED TO STORY OF ORIGIN |
| 6 | 32 | CONFINED TO BUILDING OR PROPERTY OF ORIGIN |
| 7 | 1 | EXTENDED BEYOND BUILDING OR PROPERTY |
| 8 | 28 | NO DAMAGE OF THIS TYPE |
| 9 | 3 | NOT CLASSIFIED |

Extent of Water Damage (WATER_DMGE)

This data field indicates the extent of damage caused by water or other extinguishing agents.  The numeric codes used are given below.

| WATER_DMGE | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| BLANK | 2044 | NOT SPECIFIED |
| 0 | 4 | UNDETERMINED |
| 1 | 33 | CONFINED TO OBJECT OF ORIGIN |
| 2 | 11 | CONFINED TO PART OF ROOM OR AREA |
| 3 | 15 | CONFINED TO ROOM |
| 4 | 1 | CONFINED TO FIRE RATED COMPARTMENT OF ORIGIN |
| 5 | 2 | CONFINED TO STORY OF ORIGIN |
| 6 | 27 | CONFINED TO BUILDING OR PROPERTY OF ORIGIN |
| 7 | 1 | EXTENDED BEYOND BUILDING OR PROPERTY |
| 8 | 35 | NO DAMAGE OF THIS TYPE |
| 9 | 4 | NOT CLASSIFIED |

Extent of Fire Control Damage (CNTL_DMGE)

This data field indicates the extent of damage done in controlling and extinguishing the fire.  The numeric codes used in this data field are given below.

| CNTL_DMGE | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| BLANK | 2127 | NOT SPECIFIED |
| 1 | 2 | CONFINED TO OBJECT OF ORIGIN |
| 2 | 6 | CONFINED TO PART OF ROOM OR AREA |
| 3 | 9 | CONFINED TO ROOM |
| 4 | 2 | CONFINED TO FIRE RATED COMPARTMENT OF ORIGIN |
| 5 | 1 | CONFINED TO STORY OF ORIGIN |
| 6 | 14 | CONFINED TO BUILDING OR PROPERTY OF ORIGIN |
| 7 | 3 | EXTENDED BEYOND BUILDING OR PROPERTY |
| 8 | 13 | NO DAMAGE OF THIS TYPE |

Property Loss (PROP_LOSS)

Property loss is the fire department personnel’s estimate of the replacement value of property (other than contents) that has been destroyed or damaged during the incident.  This number includes water and smoke damage for fires.  The loss values are in dollars.

Contents Loss (CONT_LOSS)

Property loss is the fire department personnel’s estimate of the replacement value of property (other than contents) that has been destroyed or damaged during the incident.  This number includes water and smoke damage for fires.  The loss values are in dollars.

Watershed Loss (WSHED_LOSS)

The fire department personnel estimates the number of acres of watershed destroyed by the fire.  Any watershed loss of less than one acre is recorded as one acre.

Santa Monica Fire Department.  The Santa Monica Fire Department filed 219 incidents on January 17, 1994, 216 of which were filed between 4:31 and 24:00 hours.  The records were produced in a format that conforms with the California Fire Incident Reporting System (CFIRS).  All 219 incident reports are included in the database that accompanies this report.  Selected fields have been retained from the original data, and those fields are described below, along with an explanation of any codes used in the 219 records from January 17, 1994.

A subset of reports covering earthquake-related fire incidents was extracted from the all incident reports of January 17.  Any fire that had an ignition related to the earthquake, as specified by the incident report, was included in this list.  The list of 15 incident reports is shown in Table 3-2.

Fire Department Identification (FDID1)

This is a unique number assigned by the State Fire Marshal to identify a particular fire department in California.  The Santa Monica Fire Department is 19180.

Year (PROYEAR)

The last two digits of the year of the incident, i.e., 94, is in this field.

Incident Number (INCNUM)

A unique number assigned to a single incident.

Exposure Number (INCEXP)

This field indicates that the fire at this location has resulted from exposure to a fire at another location.  The fire is reported as a separate fire but is linked to the original fire by this number which ranges from 1 to the total number of exposures for the original fire (which has an exposure number of 0).

A Change or Deletion of a Previous Incident (CORREC)

This field indicates a change or deletion to a previous incident report having the same incident number.

Multi-Agency Incident Number (MULTAGY)

This field is a unique alpha-numeric designation which identifies all incident reports pertaining to a single incident in which two or more fire departments respond.  The department in whose jurisdiction the incident occurs assigns the Multi-Agency Incident Number - which consists of the jurisdictional agency’s three-letter designation (assigned by the Office of Emergency Services), followed by their incident number for the event.

Incident Date (INCDATE)

This field contains the year, month, and day of the event.

Dispatch Time (DISTIME)

The time of dispatch is the hour and minute when the alarm was dispatched by the fire department alarm center.  A 24-hour clock is used.

Arrival Time (ARVTIME)

The arrival time is the actual time when the first responding unit arrived at the incident scene.  A 24-hour clock is used.

End Time (ENDTIME)

End time is the time when all, or most, of the equipment at the incident is put back in service and is ready for response to another alarm.  A 24-hour clock is used.

First Situation Found (FOUND1)

This field describes the observed conditions when the first emergency unit arrived on the scene.  A description of the numeric codes used in this field are given below.

| FOUND1 | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| 11 | 11 | STRUCTURE FIRE |
| 16 | 1 | REFUSE FIRE OUTSIDE |
| 22 | 1 | AIR, GAS RUPTURE |
| 32 | 6 | EMERGENCY MEDICAL CALL |
| 41 | 50 | FLAMMABLE GAS OR LIQUID CONDITION |
| 42 | 2 | TOXIC CONDITION |
| 44 | 8 | ELECTRICAL ARCING, SHORTING |
| 49 | 9 | OTHER HAZARDOUS CONDITION |
| 51 | 1 | PERSON IN DISTRESS |
| 52 | 8 | WATER PROBLEM |
| 53 | 84 | SMOKE, ODOR PROBLEM |
| 55 | 4 | PUBLIC SERVICE ASSISTANCE |
| 56 | 1 | UNAUTHORIZED BURNING |
| 61 | 1 | INCIDENT CLEARED PRIOR TO ARRIVAL |
| 67 | 18 | HAZARDOUS MATERIAL RELEASE INVESTIGATION WITHOUT ANY FINDING |
| 69 | 1 | OTHER GOOD INTENT CALL |
| 71 | 4 | MALICIOUS, MISCHIEVOUS FALSE CALL |
| 73 | 1 | MALFUNCTION OF ALARM SYSTEM |
| 74 | 1 | UNINTENTIONAL ALARM CALL |
| 79 | 1 | OTHER FALSE CALL |
| 81 | 3 | EARTHQUAKE-RELATED |

Second Situation Found (FOUND2)

Subsequent conditions that were observed are noted in this field.

Third Situation Found (FOUND3)

Subsequent conditions that were observed are noted in this field.

Fourth Situation Found (FOUND4)

Subsequent conditions that were observed are noted in this field.

Automatic/Mutual Aid Type (AIDTYPE)

The handling of mutual aid between fire departments is described by this field.  The numeric codes used are given below.

| AIDTYPE | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| 3 | 3 | AID RECEIVED FROM ANOTHER FIRE DEPARTMENT |
| 5 | 1 | AUTOMATIC AID PROVIDED TO ANOTHER FIRE DEPARTMENT |
| 8 | 212 | NO AUTOMATIC/MUTUAL AID RECEIVED OR PROVIDED |

Method of Alarm (ALARMTH)

The method of alarm is the first means used to notify the department of an incident.  The numeric codes that are used are described below.

| ALARMTH | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| 1 | 1 | TELEPHONE DIRECT TO FIRE DEPARTMENT |
| 6 | 1 | NO ALARM RECEIVED - NO RESPONSE |
| 7 | 214 | TELEPHONE TIE-LINE TO FIRE DEPARTMENT |

Incident Address (INCADDR)

The exact location of the incident, which may be a street address, or directions from a recognized landmark, or an intersection of two roadways is given in this field.

Room, Apartment or Space (INCROOM)

This field adds to the address information by giving a specific room, apartment, office, suite, etc., where the incident occurred.

Incident Zip Code (INCZIP)

The numeric address code assigned by the U.S. Postal Service.

General Property Use (GENERAL)

This field describes the general occupancy of the location.  The numeric codes used in this field are described below.

| GENERAL | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| BLANK | 1 | NOT SPECIFIED |
| 11 | 2 | PUBLIC RECREATION USE |
| 13 | 1 | RELIGIOUS USE |
| 16 | 3 | RESTAURANT, FOOD SERVICE, DRINKING ESTABLISHMENT |
| 21 | 1 | PRIMARY- AND SECONDARY-LEVEL EDUCATIONAL USE |
| 22 | 1 | POST-SECONDARY EDUCATIONAL USE |
| 33 | 2 | MEDICAL CARE USE |
| 41 | 73 | ONE- OR TWO-FAMILY RESIDENTIAL USE |
| 42 | 95 | MULTI-FAMILY RESIDENTIAL USE |
| 43 | 2 | GROUP LIVING USE |
| 51 | 4 | SALES USE |
| 59 | 14 | BUSINESS, OFFICE USE |
| 62 | 1 | RESEARCH USE |
| 70 | 1 | INDUSTRIAL, MANUFACTURING USE |
| 80 | 1 | STORAGE, WAREHOUSING USE |
| 92 | 1 | PROPERTY UNDERGOING TRANSFORMATION |
| 96 | 13 | MOTOR VEHICLE TRANSPORTATION USE |

Specific Property Use (SPECIES)

This field defines the function of a specific space, structure, or portion of a structure, as used by the owner, tenant or occupant of the space.  The codes used to described this field are given below.

| SPECIES | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| BLANK | 124 | NOT SPECIFIED |
| 129 | 1 | VARIABLE USE AMUSEMENT, RECREATION PLACES |
| 161 | 1 | RESTAURANT |
| 163 | 1 | TAVERN |
| 213 | 1 | ELEMENTARY SCHOOL |
| 241 | 1 | COLLEGE CLASSROOM BUILDING |
| 410 | 3 | ONE- AND TWO-FAMILY DWELLING |
| 411 | 27 | ONE-FAMILY DWELLING; YEAR-ROUND USE |
| 421 | 5 | APARTMENTS WITH 1 OR 2 LIVING UNITS WITH BUSINESS |
| 422 | 9 | APARTMENTS WITH 3 THROUGH 6 LIVING UNITS WITH BUSINESS |
| 423 | 19 | APARTMENTS WITH 7 THROUGH 8 LIVING UNITS WITH BUSINESS |
| 424 | 4 | APARTMENTS WITH 9 THROUGH 10 UNITS WITH BUSINESS |
| 426 | 1 | APARTMENTS WITH 13 THROUGH 14 UNITS WITH BUSINESS |
| 428 | 3 | APARTMENTS WITH OVER 20 UNITS |
| 430 | 1 | ROOMING BOARDING LODGING HOUSES |
| 442 | 1 | HOTEL, MOTEL WITH LESS THAN 20 UNITS; SEASONAL USE |
| 521 | 1 | CLOTHING STORE |
| 544 | 1 | GIFT, JEWELRY STORE |
| 591 | 5 | GENERAL BUSINESS OFFICE |
| 621 | 1 | CHEMICAL, MEDICAL LABORATORY |
| 882 | 1 | GENERAL VEHICLE PARKING GARAGE |
| 929 | 1 | OTHER SPECIAL STRUCTURE |
| 962 | 2 | PAVED PUBLIC STREET |
| 963 | 3 | PAVED PRIVATE STREET |

Building Code Occupancy (OCCUPCY)

This field describes the occupancy classification of the building involved in the incident, is defined by the Uniform Building Code.  The following codes are used to in this data field.

| OCCUPCY | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| BLANK | 133 | NOT SPECIFIED |
| A40 | 1 | ICE PLANTS, POWER PLANTS, PUMPING PLANTS, COLD STORAGE AND CREAMERIES |
| B20 | 8 | DRINKING AND DINING ESTABLISHMENTS HAVING AN OCCUPANT LOAD LESS THAN 50, OFFICE BUILDINGS, PRINTING PLANTS, MUNICIPAL POLICE AND FIRE STATIONS, FACTORIES AND WORKSHOPS, STORAGE AND SALES ROOMS |
| B30 | 1 | AIRCRAFT HANGARS WHERE NO REPAIR IS DONE, OPEN PARKING GARAGES, HELISTOPS |
| E10 | 2 | BUILDING USED FOR EDUCATION THROUGH GRADE 12 BY 50 OR MORE PEOPLE |
| H70 | 1 | OCCUPANCIES WITH TOXIC OR HAZARDOUS MATERIALS |
| R10 | 59 | HOTELS AND APARTMENT HOUSES |
| R30 | 11 | DWELLINGS AND LODGING HOUSES |

Structure Type (STRUCTP)

This field specifies the type of structure involved in the incident.  The codes used in this data field are given below.

| STRUCTURE | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| BLANK | 133 | NOT SPECIFIED |
| 1 | 81 | BUILDING WITH NO SPECIFIC PROPERTY USE |
| 2 | 1 | BUILDING WITH TWO OR MORE SPECIFIC USES |
| 5 | 1 | TENT |

Structure Status (STRUCST)

This field gives the state of the structure at the time of the incident.  The numeric codes used in this data field are given below.

| STRUCTURE | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| BLANK | 133 | NOT SPECIFIED |
| 1 | 1 | UNDER CONSTRUCTION |
| 2 | 81 | ROUTINELY USED WITH FURNISHINGS IN PLACE |
| 5 | 1 | VACANT PROPERTY BUT SECURED AND MAINTAINED |

Occupied at Time of Incident (OCCTIME)

Structures and vehicles are either occupied or unoccupied at the time of the incident.  This entry refers to human occupancy, and indicates if people were present in or on the structure or vehicle at the time of the incident.

| OCCTIME | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| BLANK | 134 | NOT SPECIFIED |
| 1 | 72 | STRUCTURE OR VEHICLE OCCUPIED AT TIME OF INCIDENT |
| 2 | 10 | STRUCTURE OR VEHICLE NOT OCCUPIED AT TIME OF INCIDENT |

First Type of Action Taken (ACTION1)

This field specifies the initial task performed by the responding fire department personnel.  The numeric codes used are given below.

| ACTION 1 | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| BLANK | 204 | NOT SPECIFIED |
| 12 | 1 | VENTILATION, EXTINGUISHMENT, SALVAGE AND OVERHAUL |
| 14 | 1 | SALVAGE AND OVERHAUL |
| 15 | 7 | EXTINGUISHMENT |
| 71 | 3 | INVESTIGATE |

Second Type of Action Taken (ACTION2)

This field gives the second task performed by the responding personnel.  Numeric code(s) used given below.

| ACTION 2 | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| BLANK | 215 | NOT SPECIFIED |
| 12 | 1 | VENTILATION, EXTINGUISHMENT, SALVAGE, AND OVERHAUL |

Third Type of Action Taken (ACTION3)

This field describes the third type of action taken by personnel at the scene of the incident.

Fourth Type of Action Taken (ACTION4)

This field describes the third type of action taken by personnel at the scene of the incident.

Fire Origin Area (ORGAREA)

This field describes the primary use of the room or space where the fire originated.  The numeric codes used in this data field are given below.

| ORGAREA | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| 0 | 204 | NOT SPECIFIED |
| 5 | 1 | LOBBY, ENTRANCE WAY |
| 14 | 2 | LOUNGE AREA |
| 21 | 2 | SLEEPING ROOM FOR <5 PEOPLE |
| 24 | 1 | KITCHEN, COOKING AREA |
| 62 | 1 | HEATING EQUIPMENT ROOM, WATER HEATER ROOM |
| 71 | 1 | CRAWL SPACE, SUBSTRUCTURE SPACE |
| 76 | 1 | EXTERIOR WALL SURFACE |
| 79 | 3 | OTHER STRUCTURAL AREAS |
| 92 | 1 | ON OR NEAR PUBLIC THOROUGH FARE |

Story Level or Fire Origin (ORGLEVL)

This field describes the point where the fire originates in relation to ground level.  The alpha-numeric codes used in this data field are given below.

| ORGLEVL | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| BLANK | 204 | NOT SPECIFIED |
| A01 | 6 | FIRST FLOOR OR GRADE LEVEL |
| A02 | 6 | SECOND FLOOR |
| A30 | 1 | THIRD FLOOR |

Distance from Origin to Nearest Road (DISTANC)

This field describes the distance from the point of origin of the fire to the nearest edge of the traveled surface of a road, or the nearest outside rail of a railroad right of way.

Form of Heat of Ignition (HEATFRM)

This field describes the form of heat energy that causes the ignition of the fire.

| HEATFRM | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| 0 | 205 | NOT SPECIFIED |
| 15 | 1 | HEAT FROM NATURAL GAS FUELED EQUIPMENT |
| 17 | 1 | HEAT FROM LIQUID FUELED EQUIPMENT |
| 30 | 1 | HEAT FROM ELECTRICAL EQUIPMENT ARCING OR OVERLOAD |
| 39 | 1 | HEAT FROM OTHER ELECTRICAL EQUIPMENT ARCING OR OVERLOAD |
| 41 | 1 | HEAT, SPARK FROM FRICTION |
| 45 | 1 | REKINDLE, REIGNITION |
| 63 | 1 | HEAT FROM UNDETERMINED SMOKING MATERIAL |
| 66 | 1 | CANDLE, TAPER |
| 69 | 1 | HEAT FROM OTHER OPEN FLAME, SPARKS OR SMOKING MATERIAL |
| 81 | 2 | HEAT FROM DIRECT FLAME, CONVECTION CURRENTS |

Ignition Factor (IGNFACTR)

This field describes the act, condition or situation that allowed the heat source to combine with the material first ignited to start a fire.

| HEATFRM | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| 0 | 204 | NOT SPECIFIED |
| 11 | 1 | INCENDIARY, ARSON, CRIMINAL ACT |
| 14 | 1 | SUSPICIOUS |
| 21 | 1 | RECKLESS, FAILURE TO USE ORDINARY CARE |
| 31 | 1 | ABANDONED, DISCARDED HEAT SOURCE |
| 50 | 1 | MECHANICAL FAILURE, MALFUNCTION |
| 54 | 2 | OTHER PART FAILURE, LEAK, BREAK |
| 82 | 4 | EARTHQUAKE RELATED |
| 92 | 1 | REKINDLED FROM A PREVIOUS FIRE |
| 93 | 1 | EXPOSURE FIRE |

Type of Material First Ignited (IGNTYPE)

This field describes the composition of the material that was first ignited by the heat source.  This refers to the raw, common, or natural state in which the material exists, such as a gas, flammable liquid, chemical, plastic, wood, paper, fabric, etc.  The numeric codes used for this data field are given below.

| IGNTYPE | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| 0 | 204 | NOT SPECIFIED |
| 11 | 1 | INCENDIARY, ARSON, CRIMINAL ACT |
| 14 | 1 | SUSPICIOUS |
| 21 | 1 | RECKLESS, FAILURE TO USE ORDINARY CARE |
| 31 | 1 | ABANDONED, DISCARDED HEAT SOURCE |
| 50 | 1 | MECHANICAL FAILURE, MALFUNCTION |
| 54 | 2 | OTHER PART FAILURE, LEAK, BREAK |
| 82 | 4 | EARTHQUAKE RELATED |
| 92 | 1 | REKINDLED FROM A PREVIOUS FIRE |
| 93 | 1 | EXPOSURE FIRE |

Form of Material First Ignited (IGNFORM)

This field describes the use or purpose of the material that is first ignited in the fire.  The numeric codes used in this data field are described below.

| IGNFORM | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| 0 | 204 | NOT SPECIFIED |
| 12 | 1 | EXTERIOR SIDEWALL COVERING |
| 17 | 1 | STRUCTURAL MEMBER, FRAMING |
| 21 | 1 | UPHOLSTERED SOFA, CHAIR, BENCH |
| 32 | 1 | BEDDING, BLANKET, SHEET, COMFORTER |
| 44 | 1 | MAGAZINE, NEWSPAPER, WRITING PAPER |
| 65 | 3 | FUEL |
| 68 | 1 | FILTER |
| 75 | 1 | RUBBISH, TRASH, WASTE |
| 86 | 3 | GAS OR LIQUID IN OR FROM PIPE OR CONTAINER |

Contributing Factor 1 (CONFCT1)

This field describes an additional factor that had an influence on the cause and/or outcome of the incident.  The numeric codes used in this data field are described below.

| CONFCT1 | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| BLANK | 214 | NOT SPECIFIED |
| 741 | 2 | EARTHQUAKE |

Contributing Factor 2 (CONFCT2)

This field describes any additional contributing factor.

Estimated Property Loss (PROLOSS)

The dollar estimate of the current value of the property (excluding contents) is given in this data field.

Estimated Contents Loss (CONLOSS)

The dollar estimate of the current value of contents is given in this data field.

Fuel Model (FUELMOD)

The type of fuel involved in a vegetation fire is described in this data field.

Acres Burned (ACRBURN)

This data field describes the land area, expressed in acres, burned by a vegetation fire.

Equipment Involved in Ignition (EQPTYPE)

This field describes any equipment that provided the heat that caused the ignition of a fire.

Construction Type (CONSTYP)

This field describes the type of building construction used in the structure where the fire occurred.  Emphasis is on characteristics that determine the building’s ability to withstand exposure to a fire and to limit fire growth.  Numeric codes used in this data field are given below.

| CONSTYP | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| 0 | 205 | NOT SPECIFIED |
| 3 | 1 | TYPE III - EXTERIOR WALLS NON OR LIMITED COMBUSTIBLE MATERIAL; INTERIOR STRUCTURE COMBUSTIBLE |
| 5 | 10 | TYPE V - COMBUSTIBLE, WOOD FRAME BUILDING |

Roof Covering (ROOFCVR)

This field describes the type of exterior roof covering on the structure involved in the fire.  The numeric codes used in this data field are given below.

| ROOFCVF | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| 0 | 205 | NOT SPECIFIED |
| 2 | 6 | COMPOSITE SHINGLES |
| 7 | 6 | BUILT-UP |

Number of Stories (STORYNO)

The total number of stories above grade in the structure are given in this field

Extent of Flame Damage (FLMDMG)

The size of the fire in terms of how far the flame damage extended is given in this field.  The extent of flame damage is the area that was actually burned or charred.  It does not include the area that received only heat, smoke, or water damage.  The codes that were used in this field are given below.

| FLMDMG | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| 0 | 205 | NOT SPECIFIED |
| 1 | 3 | CONFINED TO THE OBJECT OF ORIGIN |
| 2 | 3 | CONFINED TO PART OF ROOM OR AREA OF ORIGIN |
| 3 | 1 | CONFINED TO ROOM OF ORIGIN |
| 4 | 3 | CONFINED TO THE FIRE DIVISION COMPARTMENT OF ORIGIN |
| 6 | 1 | CONFINED TO STRUCTURE OF ORIGIN |
| 7 | 2 | EXTENDED BEYOND STRUCTURE OF ORIGIN |

Extent of Smoke Damage (SMKDMG)

This field describes the size of the fire in terms of how far smoke and heat damage extended.  This includes areas scorched by heat and damaged by smoke, but which do not have flame damage.  The numeric codes used in this data field are described below.

| SMKDMG | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| 0 | 205 | NOT SPECIFIED |
| 1 | 2 | CONFINED TO THE OBJECT OF ORIGIN |
| 2 | 1 | CONFINED TO PART OF ROOM OR AREA OF ORIGIN |
| 3 | 2 | CONFINED TO ROOM OF ORIGIN |
| 4 | 1 | CONFINED TO THE FIRE DIVISION COMPARTMENT OF ORIGIN |
| 5 | 1 | CONFINED TO STORY OR ORIGIN |
| 6 | 2 | CONFINED TO STRUCTURE OF ORIGIN |
| 7 | 2 | EXTENDED BEYOND STRUCTURE OF ORIGIN |
| 8 | 1 | NOT SPECIFIED |

Type of Material Generating Most Smoke (SMKTYPE)

The composition or substance of the material that produce the most smoke is given in this data field.  The numeric codes used here are described below.

| SMKTYPE | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| 0 | 210 | NOT SPECIFIED |
| 20 | 1 | FLAMMABLE, COMBUSTIBLE LIQUID |
| 43 | 1 | FLEXIBLE PLASTICS |
| 63 | 1 | SAWN WOOD |
| 67 | 1 | PAPER |
| 71 | 1 | MAN-MADE FABRIC, FIBER, FINISHED GOODS |
| 72 | 1 | COTTON, RAYON, COTTON FABRIC, FINISHED GOODS |

Form of Material Generating Most Smoke (SMKFORM)

This data field describes the use or purpose of the material that produced the most smoke.  The numeric codes used in this data field are described below.

| SMKFORM | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| 0 | 210 | NOT SPECIFIED |
| 19 | 1 | OTHER STRUCTURAL COMPONENT OR FINISH |
| 31 | 2 | MATTRESS, PILLOW |
| 33 | 1 | LINEN, OTHER THAN BEDDING |
| 44 | 1 | MAGAZINE, NEWSPAPER, WRITING PAPER |
| 65 | 1 | FUEL |

Avenue of Smoke Travel (SMKTRVL)

This data field describes the path or opening that allowed smoke to travel beyond the room or area of origin.  The codes used in this data field are given below.

| SMKTRVL | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| 0 | 212 | NOT USED |
| 5 | 1 | OPENING IN CONSTRUCTION |
| 7 | 3 | DOORWAY, PASSAGEWAY |

Type of fire/smoke detector (DETTYPE)

This data field specifies the type of early warning fire/smoke detector(s) installed in the involved structure.  Numeric codes use in this data field are described below.

| DETTYPE | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| 0 | 214 | NOT SPECIFIED |
| 1 | 1 | SMOKE DETECTOR, IONIZATION PRINCIPLE |
| 8 | 1 | NO DETECTOR PRESENT |

Detector power supply (DETPOWR)

This field describes the source of power used to operate the fire/smoke detector.  The numeric codes used in this field are given below.

| DETPOWR | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| 0 | 215 | NOT SPECIFIED |
| 1 | 1 | BATTERY OPERATED |

Performance of Detector System (DETPERF)

This field describes the detection and performance of detection system equipment.  Numeric codes used in this data field are described below.

| DETPERF | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| 0 | 215 | NOT SPECIFIED |
| 1 | 1 | DETECTOR IN ROOM OF FIRE ORIGIN, AND IT ALERTED OCCUPANTS |

Reason for Failure of Detector (DETFAIL)

This field describes the specific reason the detector did not operate.

Type of Extinguishing System (EXTTYPE)

This data field describes the type of automatic extinguishing system present in or near the area of fire origin.  This numeric codes used in this data field are described below.

| EXTTYPE | FREQUENCY | DESCRIPTION |
| --- | --- | --- |
| 0 | 215 | NOT SPECIFIED |
| 98 | 1 | NO EXTINGUISHING SYSTEM |

Performance of Extinguishing System (EXTPERF)

This data field describes the operation and effectiveness of the automatic extinguishing system.

Reason for Failure of Extinguishing System (EXTFAIL)

This data field describes the condition that prevented the automatic extinguishing system from operating properly.  This includes failing to extinguish the fire even though the system operated.

Sprinkler Head Type (SPKLTYP)

The type of sprinkler head used in the automatic sprinkler system existing in the portion of the building affected by the fire is described by this data field.

Number of Sprinkler Heads Activated (SPKLACT)

This data field records the number of sprinkler heads that operated during the fire.

Table 3-1:  LAFD INCIDENT REPORTS, JANUARY 7, 1994 (EARTHQUAKE-RELATED FIRES ONLY)

Table 3-1:  LAFD INCIDENT REPORTS, JANUARY 7, 1994 (EARTHQUAKE-RELATED FIRES ONLY) (Cont.)

Table 3-1:  LAFD INCIDENT REPORTS, JANUARY 7, 1994 (EARTHQUAKE-RELATED FIRES ONLY) (Cont.)

Table 3-1:  LAFD INCIDENT REPORTS, JANUARY 7, 1994 (EARTHQUAKE-RELATED FIRES ONLY) (Cont.)

Table 3-1:  LAFD INCIDENT REPORTS, JANUARY 7, 1994 (EARTHQUAKE-RELATED FIRES ONLY) (Cont.)

Table 3-1:  LAFD INCIDENT REPORTS, JANUARY 7, 1994 (EARTHQUAKE-RELATED FIRES ONLY) (Cont.)

Table 3-2:  SANTA MONICA FIRE DEPARTMENT (EARTHQUAKE-RELATED) INCIDENT REPORTS

Table 3-2:  SANTA MONICA FIRE DEPARTMENT (EARTHQUAKE-RELATED) INCIDENT REPORTS

3.3	Photographs

A selection of photographs pertaining to earthquake-related fires and fire department operations is given in the following section.  All photographs are courtesy of the City of Los Angeles Fire Department.