The Dark Energy Survey

Science Requirements and Technical Specifications

Version 6.3 Draft

James Annis

Stephen Kent

Huan Lin

Tim Abbott

Brenna Flaugher

Wyatt Merritt

12 July 2006

Contents

1	Science Goals	4

1.1	The science objective	5

1.1.1	DECAM as a Community Instrument	5

1.2	Strategy of the survey	6

1.3	Science data products and science verification	6

2	Science Requirements	6

2.1	Survey area and survey time span	7

2.2	Wavelength coverage	8

2.3	Limiting magnitudes	9

2.4	Point spread function	11

2.5	Throughput	12

2.6	Photometric redshifts	13

2.7	Photometric calibrations	14

2.7.1	Linearity:	15

2.7.2	Ghost subtraction:	15

2.7.3	Flatfielding:	16

2.7.4	Residual stray light subtraction:	16

2.7.5	Variations in aperture correction:	16

2.7.6	Primary standard star calibration:	16

2.8	Astrometric calibration	17

2.9	Mapping	18

2.10	Summary of Science Requirements	20

2.11	Success criteria	21

3	Technical Specifications	23

3.1	Survey Footprint	23

3.2	Field of view	23

3.3	Pixel scale	25

3.4	Point spread function	26

3.5	Radioactivity and Charged Particle Events	28

3.6	Science CCD Specifications	28

3.6.1	Quantum efficiency	28

3.6.2	QE and Temperature Stability	29

3.6.3	Read noise	29

3.6.4	CCD Diffusion and Flatness	30

3.6.5	Cosmetic defects	31

3.7	Telescope tracking, focus and active optics	31

3.7.1	Guide CCDs	32

3.7.2	Focus & alignment CCDs	32

3.8	System Requirements for the DES optical corrector	33

3.8.1	Passbands:	33

3.8.2	Ghosting	34

3.8.3	Focal plane flatness	35

3.8.4	Operating temperature range	35

3.8.5	Physical Size	35

3.8.6	Glass Type	35

3.8.7	Throughput	36

3.8.8	Filters	36

3.8.9	Filter transmission	36

3.8.10	Dewar window	37

3.8.11	Shutter	37

3.8.12	Cost	38

3.9	Instrument Cage Motion	38

3.9.1	Focus	39

3.9.2	Tilt and X&Y translation	39

3.9.3	Orientation changes	40

3.10	Summary of Technical Specifications	41

# Science Goals

Our principal science goal is to measure ω, the dark energy equation of state parameter, to a precision of δw ≤ 5% (1 σ) in each of four separate and independent techniques. At the end of the experiment we will combine into a complementary constraint with higher precision, but we will also be able to cross compare the results for signs of differing systematic errors.

The Dark Energy Survey is divided into four parts:

- Cluster Surveys: The redshift distribution, the spatial distribution, and the evolution of the mass function of clusters of galaxies are sensitive to w through standard volume and standard fluctuation probes. To accomplish measurements of these, the DES instrument must be able to locate and measure the redshifts of clusters of galaxies out to z ≈ 1, beyond the z where dark energy becomes important in the expansion history. The survey must cover large solid angle to enable the spatial power spectrum measurement and to deliver large cluster samples. The survey must have multiple bandpasses for precision photometric redshifts, and faint limiting magnitudes to increase the number of galaxy photometric redshifts available for each cluster. Finally, and very importantly, the survey must cover the same area as the South Pole Telescope collaboration Sunyaev-Zeldovich (SZ) survey so that the collaborations can share position, redshift, and SZ decrements, increasing the power of both surveys.

- Weak Lensing: The weak lensing of background galaxies by foreground mass sheets, correlated with itself (shear-shear correlations) or with foreground galaxies (shear-galaxy correlations) is sensitive to w as standard ruler and growth function probes. The DES Instrument must be able to measure the weak lensing signal from large scale structure in several redshift bins with small and stable instrumental point spread functions. Large solid angle is required to probe the shear field over the largest possible range in physical scales, and a small and stable PSF is required to make maximum use of the galaxies detected and to minimize the loss of efficiency due to systematic errors.

- Galaxy Angular Power Spectra: The spatial angular power spectrum of galaxies as a function of redshift is sensitive to w through a standard ruler probe. To accomplish this measurement, we must have a stable photometric calibration, cover large solid angle to probe a wide range of physical scales, and have faint limiting magnitudes to increase our sample size and probe to redshifts beyond z ≈ 1.

- Supernovae: The apparent magnitude of Type Ia supernovae provides a standardizable candle probe. The DES Instrument will be used to measure light curves of 2000 supernovae out to z = 0.8. The observations must cover a moderately large solid angle repeatedly to obtain light curves of the SNe. These SN observations must be taken in multiple bandpasses to provide colors of the objects, both for reddening measurements and SN type discrimination based on colors. Excellent red response is necessary to obtain adequate signal for higher redshift SN light curves. Detailed knowledge of the system passbands as a function of wavelength is required for accurate k correction calculations.

## The science objective

These science goals will be achieved by conducting a multicolor imaging survey sufficient to create a deep galaxy map. The design of the survey enables production of cluster catalogs 90% complete and pure out to z = 1, with a point spread function clean and stable enough to provide a weak lensing measurements of large scale structure, photometric calibration stable enough to allow the angular correlation function measurements, and red sensitivity and time domain coverage sufficient to allow z ≈ 0.75 supernova to be studied. These surveys collectively are called the primary survey, and serve as the unifying science objective of the collaboration.

The primary survey is the combination of the imaging survey, the time domain survey, and the calibration data necessary to calibrate the surveys. The primary survey is to be finished in a span of 5 years using 30% of the available observing time.

The Imaging Survey

The imaging survey consists of:

- a CCD survey of 5000 sq-degrees predominantly at Dec ≤30°;

- deep enough to detect 1/2 L* galaxies out to z=1 in 4 bands (g= 24, r= 24, i=24, z=23.6 10σ, for small galaxies);

- photometric redshifts for complete samples of galaxies to a density of roughly 20/sq-arcminute;

- data in a form that enables state-of-the-art studies of the large scale distribution of clusters, galaxies, and the weak lensing induced shear.

The Time Domain Survey

The time domain survey consists of:

- a CCD survey of roughly 40 sq-degrees in 13 fields sampled every three nights in r and every 6 nights in i and z.

- 1400 supernova light curves over 0.25 ≤ z ≤ 0.75, with photometric redshifts for the host galaxies.

### DECAM as a Community Instrument

The Dark Energy Survey instrument will be a community resource. Community data taken with it using the standard observing mode form an auxiliary resource for our science programs. We have been encouraged to provide "reasonable" UV response or at least to not preclude the ability to make UV measurements.

## Strategy of the survey

Our approach to conducting the imaging survey starts with placing a single large camera onto a single large telescope. We then use the instrument to image the survey area with multiple overlapping tilings at a cadence of two tilings per year per bandpass, on average, using the overlapping data to perform survey wide relative photometry, tie down the absolute calibration by subsampling tiles for standard star transfer observations, and finally to coadd the tilings to obtain the depth necessary to measure z ≈ 1 clusters.

The coadded tiling is searched for stars and galaxies, these are measured, and the results grouped into and star and galaxy catalogs. The galaxy catalogs are supplemented by photometric redshift estimates. These form the primary data products collaboration scientists use.

## Science data products and science verification

The deliverables from the survey will consist of the science data products, such as object catalogs and coadded images, and the core set of science analyses for the four key projects.

The galaxy catalog, with associated photometric redshifts and star catalog, will provide the basis for a set of derived science data products. These will include a cluster catalog, a weak-lensing optimized shape measurement catalog, and a time domain catalog. A product from outside the collaboration that will be available to the collaboration is the SPT SZ catalog.

Using these science data products, the science teams will conduct to the actual science analyses of cluster counting, galaxy angular power spectra, weak lensing cross correlation tomography, and supernova light curves, and derive estimate of w and other cosmological parameters.

In addition to the science data end products, there will be graphs, analyses, and correlations that the team will create with the data that will be used to determine that the science requirements and goals have been achieved.

# Science Requirements

The form of the science requirements is important. The aim is to lay quantitative requirements down on the fundamental quantities that must be measured and controlled to have a successful experiment. We adopt a model from the Sloan Digital Sky Survey. For each requirement there is a list of questions to be answered:

- what is the quantitative requirement,

- what is the scientific justification, and

- what are the consequences of not meeting the requirement.

In each of the following requirements we address these questions.

At the end of the chapter we will list success criteria: complete, substantial and minimal. The quantitative requirements are those that if met allow complete success, whereas looser requirements that allow for substantial success may be suggested in the consequences section.

## Survey area and survey time span

The DES will cover 5000 square degrees of sky in the South Galactic Cap, of which 4000 sq. degrees will overlap the SPT survey area and the remainder will be devoted to maximizing overlap of DES photometry with redshift surveys. The SN survey will cover 40 sq-degrees observed using 10% of the available time.

The survey should be completed in 5 years using 30% of the available telescope time, taking account of weather.

The area should have the minimum practical perimeter/area ratio.

The area should be at reddening 0.2 mag of r-band extinction and stellar density ≤ 10,000 stars/sq-degree.

Science justification

A large area of homogeneous photometry is required to produce the extensive galaxy map that forms the core data set for cluster finding, weak lensing, and angular power spectra of galaxies (S-1). Evaluations of expected constraints suggest that the return on the investment for cluster surveys is maximized near a fractional sky coverage of 0.1 or 4000 sq-degrees (S-1).

Overlapping the SPT survey area will enable the use of SZ as cluster locator and mass estimator, and will enable the high quality science of the SPT survey.

This amount of exposure time for the supernova survey will be sufficient to detect and measure the target goal of 2000 objects (S-1 & S-2).

We are constrained in time by the NOAO allocation. A survey designed to need more time is unlikely to be accepted by the wider astronomical community, although additional time may be applied for via the standard NOAO procedures.

Regions near the edges of the survey are harder to calibrate (S-3). A larger ratio of edge to survey area effectively reduces the coverage.

Greater reddening limits the depth constant exposure time achieves, and higher density of stars reduces the fraction of the image searchable for galaxies; both of which hamper the construction of complete galaxy catalogs to a specified magnitude (S-4).

As the DES is not a spectroscopic redshift survey, we rely on other data sets to provide the photo-z calibrations. To be useful, the survey must cover this area with high quality photometry.

Consequences of not meeting requirements

The constraints on w depend on the square root of the surveyed area. Not surveying the entire survey area will decrease the precision of our measurements; to a small extent for small shortfalls, to a much greater extent for shortfalls of order 50%.

Insufficient area covering photo-z will make calibration difficult, lessen our ability to understand the photo-z error distribution and thus lessen our ability to interpret the weak lensing results.

## Wavelength coverage

The DES will cover the wavelength range from 400nm to 1000nm using 4 filters.

Science justification

To meet the photometric redshift requirement we will bracket the 4000Å break signal in the elliptical galaxy spectrum typical of cluster galaxies. At z = 0, the break is at 390 nm while at z = 1, the break is at 800nm; redshift moves the 4000Å break to the red. Precision photometric redshifts require a pair of filters, one containing the break and one redward of the break. We thus need bandpasses from 400nm to 1000nm. We adopt an SDSS-like filter set, g, r, i, z. This choice allows us to exploit the existing body of work done with these filters to aid in analysis and calibration of DES data.

We do not require exact matching of the SDSS system and will calibrate off the spectroscopic redshifts obtained from a region of overlap with existing redshift surveys.

Consequences of not meeting requirements

Photometric redshifts are possible with three filters, though using three instead of four would lessen the precision of the photo-z, increase the catastrophic error rate, and lessen our ability to minimize the systematic errors. These translate into lower precision on w, with some of the more sophisticated weak lensing analyses being the most sensitive.

## Limiting magnitudes

The DES will reach to limiting AB magnitudes for galaxies of g = 24.0, r = 24.0, i = 24.0, and z = 23.6.

Science justification

Limiting magnitudes are driven by two science goals: detecting (reliably) 1/2 L* galaxies in galaxy clusters out to redshift z = 1, and obtaining photometric redshifts of galaxies to a density of 20 per sq-arcmin.

The DES will, for all redshifts at 0.1 ≤ z ≤ 1, obtain 10ff magnitudes in the filter bandpass containing the redshifted 4000Å break, and in the adjacent redward filter, for a 1/2L* galaxy with a passively evolving E spectrum. A limiting absolute magnitude corresponding to a 1/2L* galaxy suffices to obtain photometric redshifts of clusters with high precision (σz = 0.01) and also enables the construction of high completeness and purity cluster catalogs with minimal selection functions. The absolute magnitude of an L* galaxy at z = 0 is Mi = -21.0 in the i-band (Blanton et al 2003, redshift and evolution corrected). At z = 1 such a galaxy would have a z-band magnitude of 23.3 assuming the galaxy exhibits the passively evolving old stellar population model appropriate for high luminosity cluster galaxies.

The DES will go 0.3 magnitudes deeper in z to ensure that the galaxy catalog is complete at 23.3.

The DES will obtain sufficiently deep g, r data such that for every object detected in z band with a flat or bluer spectrum the photometric redshift will have σz ≤ 0.2 (barring catastrophic error).

The minimum apparent magnitudes in the remaining bandpasses follow by considering the redshifted, passively evolving spectrum of a cluster galaxy. The limiting magnitude required is that for an L* galaxy at the redshift where the 4000Å break leaves the bluer filter and enters the redder filter. The 4000ºA break leaves the g, r and i bandpasses at redshifts of 0.35, 0.65, and 1.0 respectively, and there we find [g,r,i] = [22.8, 23.4, 24.0].

Data from both the CTIO Blanco 4-m and the CFHT 3.6m show that 10σ is near where the differential number counts turn over, an indication that it is close to the completeness limit. We will go 0.3 mag deeper in the fiducial band in order to safely construct a flux-limited sample of galaxies. We therefore require a limiting magnitude of z = 23.6.

The minimum apparent magnitudes required for decent photometric redshifts for blue galaxies is fainter than that required for the red galaxies.

Table 2.1 Progression of Required 10σ Limiting Magnitudes

| Filter | g | r | i | z |
| --- | --- | --- | --- | --- |
| clusters | 22.8 | 23.4 | 24.0 | 23.3 |
| Galaxy completeness | 22.8 | 23.4 | 24.0 | 23.6 |
| Blue galaxy photo-z | 24.0 | 24.0 | 24.0 | 23.6 |

The depth of images is determined by the aperture of the telescope, the exposure time, the transmission of the atmosphere, the sky brightness, the reflectivity or transmission of all relevant optics, the quantum efficiency and noise properties of the CCD detectors, the seeing and image quality, and the efficiency of the reduction software.

The technical specifications contain an estimate of these quantities (including a CCD readnoise of less than 15 e-), we find that translating the limiting galaxy magnitudes into 5σ detection limits for a point source in 0.9" seeing gives g = 25.9, r = 25.4, i = 25.5, and z = 24.9.

The 5σ point source limit can be made into a requirement on throughput and quantum efficiency: A 21.0 magnitude star imaged for 100 seconds at an airmass of 1.3 under photometric conditions should give more than 20,000, 20,000, 15,000, and 15,000 e-, for the four filters, respectively.

Consequences of not meeting requirements

Not meeting the requirements will make the construction of the cluster catalog more difficult, and the interpretation of the results harder. The ultimate precision on w will suffer.

The weak lensing survey will be less effective, as the effective number of galaxies per sq-arcminute is a fairly strong function of limiting magnitude. The ultimate precision on w will suffer.

The ability to track the light curves of high-z supernovae is crucial to extracting constraints on w in this method. Given the cadence demands of the supernova techniques, the depth of the survey in relatively short exposures is crucial.

## Point spread function

The instrument plus telescope should deliver images no worse than 0.55’’ for zenith-corrected images in the r, i, and z bands.

The weak lensing galaxy shear measurements, averaged over 2 degree field of view, should be statistics limited, with systematic calibration error increasing the error by no more than 10%.

During normal operations, the systematic error in the calibration of the point spread function (PSF) width and ellipticity shall be less than 0.1% averaged over scales of 2 degrees.

Science justification

The science goals of the DES are controlled in part by the image quality, including the number of objects detected, the efficiency of star-galaxy separation at all magnitudes, and the efficiency of using galaxies for weak lensing. Good seeing clearly pushes all these requirements in the same direction. The survey should be limited by site seeing, not instrument performance, during typical observing (S-7, 0).

The DES strategy has been derived assuming that the statistics on image sizes from the DES camera are the same as those attained today with the existing Mosaic II imager and Prime Focus corrector. Only images with FWHM ≤ 1.1’’ (≤ 1.2" in g) will be used in the coadds. The survey strategy presumes that 90% of all data collected on photometric nights will meet the imaging PSF requirement.

The current total contribution of the telescope and Mosaic II imager to the PSF is estimated to be about 0.55” FWHM. This value has been determined by comparing long-term measurements of the site seeing from the RoboDIMM monitor with long-term statistics on the measured FWHM from the Super-Macho survey.

The science reach of the DES is increased as the image size is made smaller up to the ultimate limit set by the atmosphere, the figure of the primary mirror, and lateral charge diffusion in the CCDs. The enhanced goal is intended to indicate what would be a practical limit for what would constitute the “best" images.

The weak lensing science goal drives the requirements as the effects of large scale structure on shear measurements is at the 1% level. The density of galaxies useful for weak lensing measurements is a strong function of PSF size.

Stars in the science images are used to measure the PSF. In a single 100 sec exposure we can reach magnitude 21 at S/N ≈ 100. At this magnitude there are about 2000 stars per sq-degree. Based on experience with SDSS, roughly a quarter of these 2000 stars will be away from frame edges, cosmic rays, and other stars and galaxies. This corresponds to a little more than 1 useful star per sq-cm (= 9 sq-arcmin). With this information, a map of the PSF and possible variations over the focal plane will be generated. One can sample the PSF on scales smaller then 1 sq-cm by averaging over several images but only if the instrumental PSF is constant against, for example, gravity induced flexure changes or thermal effects (S-9).

There are approximately 100,000 galaxies in a single 3 square degree FOV image (10 galaxies/sq-arcminute to the limiting magnitude). The shear signal on the scale of 2 degrees is approximately 1%. The statistical error in measuring this signal (averaging over shape noise) is expected to be 0.1%. For galaxies 1.2” in size, the statistical error in “whisker” length is 0.06 arcsec. (A whisker is: (a2 - b2)1/2 where a2 and b2 are the major and minor axis second moments of an image.) The PSF calibrated from stars averaged over the field must have a peak statistical error of no more than 0.06” in equivalent whisker length (S-9).

The decision to not include an ADC is driven in part by science considerations. Weak lensing will be done primarily in the i and z bands, where differential refraction is minimal. An ADC introduces zenith angle-dependent systematic effects that mimic a weak lensing signal and are comparable in magnitude to differential refraction, and thus the ADC effects would need to be calibrated on top of all other effects. The strategy in existing CTIO and KPNO weak lensing surveys has been to keep the ADC turned off. We would do so the same. The tradeoff is that images obtained in good seeing and at high zenith angles, particularly in the g band, would be somewhat elongated. We estimate that the elongation will be 10% (for 1” seeing) in the g band at the highest airmass used in the survey (sec z = 1.5). No science goals would be threatened (0).

Consequences of not meeting requirements

Weak lensing measurements depend critically on being able to measure the shape of the PSF, and the stability of the PSF so as to carry the shape measurement in space and time. The number of galaxies useful in the measurements depends on the size of the PSF relative to the size of the galaxies as well as the S/N on the shape measurements. If the PSF is varying rapidly across the CCDs, then the effective noise in the measurement goes up as the uncorrected PSF shapes contribute noise.

Likewise, star-galaxy separation and the depth of the data will all be strongly affected.

Lastly, the limiting magnitude of an image is a strong function of the seeing.

## Throughput

The average throughput of the telescope and corrector will be >= 60%, averaged over the focal plane.

The photon detection efficency of the filters and CCDs will be >= 40% for g and >= 55% for r,i,z, averaged over the entire bandpass and the entire CCD.

Science Justification

These two throughputs were assumed in the calculations that support the feasibility of the required limiting magnitudes (S-6) over the required survey area (S-1) given the availability of the telescope (S-2).

The telescope is assumed to have an effective area of 10 sq-meters. The throughput on the telescope and corrector then is a cumulative effect of the reflection off aluminum, transmission through the glass of the  corrector elements, and the effects of the anti-reflection coatings on the corrector elements.

Consequences of not meeting the requirements

These two requirements may be traded off- it is the system throughput that matters when trying to achieve the required limiting magnitudes.

If the combined throughputs are less then required then we have two options, either surveying less area or achieving a shallower limiting magnitude.

## Photometric redshifts

The DES will obtain σz ≤ 0.01 for groups and clusters of galaxies at 0.1 ≤ z ≤  1.0

The DES will obtain σz ≤ 0.03 for red galaxies at z ≤ 1

The DES will obtain σz ≤ 0.2 for blue galaxies with flat or bluer spectra detected in z-band, and z ≤ 1.

The rms of errors in photometric redshifts and the residual bias in the photometric redshifts will be measured.

Science justification

All of the science goals require precision photometric redshifts.

To achieve the required understanding of the systematic uncertainties a calibration sample of roughly 1000 redshifts per 0.1 bin in redshift is needed in addition to the DES data. Our strategy is to make use of public spectroscopic datasets in areas of the sky that we can image. The largest and most diverse of these datasets is that of the SDSS Southern Survey which has 100,000 redshifts down to i = 20 and out to z = 0.5, in combination with the 2dF-SDSS survey, which has 10,000 redshifts of red galaxies out to z = 0.75. This same area of sky also contains fields from both the VIRMOS VLT Deep Survey (8 sq-deg with spectroscopic redshifts to magnitude IAB = 22.5, and 2 sq-deg with redshifts to IAB = 24) and the Keck Deep2 Survey (2 sq-deg with spectroscopic redshifts to RAB=24). These surveys will deliver tens of thousands of spectroscopic redshifts extending over our redshift range of interest.

Consequences of not meeting requirements

We can suffer a factor of 2 increase in the errors as long as they remain substantially Gaussian, without too much decrease in our sensitivity to w. Many techniques will bin the galaxies into 5 or 10 shells between 0 ≤ z ≤ 1, and will not gain any advantage from thinner shells. A few of the techniques based on correlations can benefit from higher precision photometric redshifts, but these tend to be the ones most sensitive to the details of the error distribution. Finally, the very high precision cluster photometric redshifts that seem possible, of order σz ≈ 0.003 may well open up a new realm of analyses.

Most of the worry about lowering the precision of the photo-z requirements is based on the worry that the error distribution will become increasingly non-Gaussian.

## Photometric calibrations

The magnitudes of an object may be calculated to within 2% by convolving the spectrum of the object with the system response curves. This requirement assumes that the spectra are spectrophotometrically calibrated and that the system response curves are absolute.

The magnitudes vary only by –2.5 log f2/f1, independent of position in the final map to within 2% (1% enhanced goal), where f2/f1 is the ratio of photon fluxes. This is to be true in g, r, i, z individually.

The magnitudes have an absolute zero point that is well-defined and known to 0.5%. The magnitudes will be on the natural instrument system.

Science justification

The system response curve requirement (S-16) is driven by several considerations:

- one of the two major branches of photometric redshift technologies uses template spectra convolved with system response curves;

- the interpretation of the division of the galaxy catalog into color and redshift bins requires that we know how to predict the colors; and

- supernova observations through a filter must be corrected to a rest frame magnitude, which requires very good knowledge of the system response.

It is not sufficient to use a mean CCD and filter transmission curves as it is known that both CCDs and filters can a) show significant differences, and b) change with time. We are not trying to match the SDSS calibration.

Both the relative and absolute calibration requirements (S-17, & S-18) are driven by the amplitude of the large scale structure that the survey will measure. Errors in photometric zero point cause errors in galaxy counts that mimic large scale structure in any apparent magnitude limited sample. On angular scales comparable to that of the whole survey, an error budget to the galaxy number counts is:

- 2% true large-scale structure, to be compared to

- 4% Galactic extinction if uncorrected, and

- 2% systematic photometric error.

Current generation extinction maps can be used to correct for Galactic extinction. The photometric calibration is required to be 2% in each bandpass based on photometric redshift requirements, though as an enhanced goal, we expect to calibrate the final coadded map to 1%. Further, we require 3% calibration at the important two year milestone. The accuracy of the calibration can be verified by checking the position and scatter in the stellar locus.

We have no science requirement on the calibration of single images, so we choose a number that makes them useful for the wider community. We estimate that these can be calibrated to 10% using the USNO B2 star catalogue stars that will be in each frame.

The 2% (or 0.02 mag) allowed error in the magnitudes as defined above has several contributions; the error from each contribution is arbitrarily taken to be 2% ∕ √2, although ultimately it is the combination of all that must be constrained. For a few of these contributions, we use a smaller error, where it is justified.

### Linearity:

Uncorrected nonlinearities due to imperfect shutter timing and nonlinear CCD/amplifier gain shall be less than 0.3%, measured as the peak error between shortest and longest exposure times, and between the faintest and brightest unsaturated stars.

The standard stars are observed with short integrations at high count rate, while the survey data are observed with longer integrations at low count rate. Any nonlinearities will give systematic errors, an offset in the absolute calibration and a scaling problem in the relative photometry.

### Ghost subtraction:

The ghost image of the night sky on the CCDs will be removed to no worse than 0.6%.

Ghosts input structure on the flat field that will not subtract using local sky. They may be removed if well characterized.

### Flatfielding:

The rms variation in photometric calibration of any star measured in different positions of a CCD shall be no worse than 0.6%.

Standard stars are observed in a small area of the CCD, while secondary stars cover the entire area.

### Residual stray light subtraction:

The remaining stray light in the system will be no worse than 0.6%.

Stray light input structure on the flat field that will not subtract using local sky, structure that affects the photometry. Stray light subtracts out in local sky subtraction. Flat fields do not have sky subtraction: scattered light puts false structure into the flat fields. Ghosts are extreme scattered light, but they may be modeled and removed. Both some and sky flats are affected, but scattered light from stars are an issue in the sky flats.

### Variations in aperture correction:

The aperture correction shall have an internal rms error no bigger than 0.6% for any CCD and seeing between 0.8” and 1.5”.

The aperture correction converts PSF counts to the counts inside a large aperture. The PSF will vary in any image (and coadded image), so this quantity will vary across a field. The photometric pipeline will take this variation into account as best it can. We may be able to do substantially better than this requirement.

### Primary standard star calibration:

The primary standard star set we choose as the absolute calibration sample should have g, r, i, z magnitudes known to < 0.5%.

The absolute calibration should not dominate the calibration error budget.

Consequences of not meeting requirements

Systematic magnitude errors will strongly affect the angular power spectra key project, and cluster finding and weak lensing to strong will be affected in serious ways. Random magnitude errors, if they are quantified, can be taken into account in large-scale structure studies, but gradient pose great problems.

We can tolerate 3% photometry with minor loss of precision in the photometric redshifts.  Photometry worse than 3% will seriously limit all of the key science goals of the survey.

## Astrometric calibration

The absolute astrometry on the sky should be no worse than 100 mas.

The relative astrometry between adjacent colors should be no worse than 100 mas.

Science justification

The survey must average together images to reach the necessary depths. This averaging process should not degrade the PSF; in fact, it should help it but only of the images of the objects are aligned to better than a third of a pixel, 0.1".

Relative astrometry of 100 mas is ideal for deblending, and also minimizes systematic errors in aperture photometry colors.

Available all-sky/wide-area astrometric catalogs can be used with DES data to determine proper motions. The 100 mas requirement ensures that the accuracy of the proper motion determinations will be limited by the other catalogs, not by DES. Additionally, DES data will be used to identify optical counterparts of objects detected in other spectral regions. Again, this requirement will ensure that DES positions are not the limiting factor in making the identifications.

The requirements apply to the positions determined in i for point-source objects brighter than i = 22 with spectral type between O5 and M0. The determination of positions for very blue, very red, or emission-line objects may, and certainly occasionally will, fail to meet the requirements, due to differential chromatic refraction.

Note that the CCD is an optical element, with distortions possible on the 0.3 pixel scale near substrate vias.

Consequences of not meeting requirements

If the astrometry is worse than 0.1" the coaddition process will start degrading the PSF, introducing first structure into the shape of the PSF and then increasing the size of the PSF. These effects will be on the spatial scale of the errors in the astrometry. This will have strong consequences for the weak lensing science.

The deblender, as well, will have to be run with much looser constraints on distinguishing close blends, with strong consequences for studies of close pairs of objects, and rejection of moving objects

We could probably tolerate 0.2" astrometry at the loss of precision in the weak lensing measurements. Any worse than this would be unacceptable for both lensing and galaxy photometry.

## Mapping

The input images are to be mapped into identical locally flat images (“charts") for coaddition, where the distortion free point (“tangent point") is at chart center.

The distortion in the charts is to be less than 0.1%, peak to peak.

The mapping should conserve flux.

Mask images accounting for bad data (e.g., bad columns, bleed trails, saturation) will also be mapped.

Science justification

To make the terminology concrete: the input images are mapped to charts, and the charts are coadded into a final map.  The problem is that there is no ideal projection of the sphere onto a plane, where ideal would preserve lengths, angles and areas. In the end, this is due to the fact that spherical triangles sum to > π radians and planar triangles sum to π radians. It is possible to create projections that preserve angles (“conformal projections") or that preserve area (“equal area projections"); the latter are more likely to be useful to us.

The charts are created so as to make coaddition well defined. Since the coaddition should not introduce artifacts the charts should, for any coadd center, be free of distortion over the tolerance required. This is 0.1" for the science maps. In the creation of the charts from the data, flux should not be lost or arbitrarily scaled. In other words, the charts should preserve the photometry of the input images. This issue has three components:

- Flux conservation during the remapping. This requires that the Jacobean matrix, describing the change of coordinates, is known. It should be reversible.

- Flux conservation during the mapped pixel estimation. This requires that the convolution kernel used to estimate the chart pixel is normalized.

- Total flux conservation. This requires that every pixel in the input image that transforms to the interior of the chart is sampled at least once.

Masks will be important to dismiss bad data from the coadd, optimizing the result.

Consequences of not meeting requirements

If the mapping is worse than 0.1" the coaddition process will start degrading the PSF, introducing first structure into the shape of the PSF and then increasing the size of the PSF. These effects will be on the spatial scale of the errors in the distortion of the mapping. This will have strong consequences for the weak lensing science.

The deblender, as well, will have to be run with much looser constraints on distinguishing close blends, with strong consequences for studies of close pairs of objects, and rejection of moving objects

We could probably tolerate 0.2" astrometry at the loss of precision in the weak lensing measurements. Any worse than this would be unacceptable for both lensing and galaxy photometry.

Flux conservation problems translate directly into photometric calibration problems. There should be no need to lose flux at anything larger than the round-off errors, but a practical limit would be 0.1%.

## Summary of Science Requirements

The full list of science requirements is as follows.

- The DES will cover 5000 square degrees of sky in the South Galactic Cap, of which 4000 sq. degrees will overlap the SPT survey area and the remainder will be devoted to maximizing overlap of DES photometry with redshift surveys. The SN survey will cover 40 sq-degrees observed using 10% of the available time.

The survey should be completed in 5 years using 30% of the available telescope time, taking account of weather.

The area should have the minimum practical perimeter/area ratio.

The area should be at reddening 0.2 mag of r-band extinction and stellar density ≤ 10,000 stars/sq-degree.

The DES will cover the wavelength range from 400nm to 1000nm using 4 filters.

The DES will reach to limiting AB magnitudes for galaxies of g = 24.0, r = 24.0, i = 24.0, and z = 23.6.

The instrument plus telescope should deliver images no worse than 0.55’’ for zenith-corrected images in the r, i, and z bands.

The weak lensing galaxy shear measurements, averaged over 2 degree field of view, should be statistics limited, with systematic calibration error increasing the error by no more than 10%.

During normal operations, the systematic error in the calibration of the point spread function (PSF) width and ellipticity shall be less than 0.1% averaged over scales of 2 degrees.

The average throughput of the telescope and corrector will be >= 60%, averaged over the focal plane.

The photon detection efficency of the filters and CCDs will be >= 40% for g and >= 55% for r,i,z, averaged over the entire bandpass and the entire CCD.

The DES will obtain σz ≤ 0.01 for groups and clusters of galaxies at 0.1 ≤ z ≤  1.0

The DES will obtain σz ≤ 0.03 for red galaxies at z ≤ 1

The DES will obtain σz ≤ 0.2 for blue galaxies with flat or bluer spectra detected in z-band, and z ≤ 1.

The rms of errors in photometric redshifts and the residual bias in the photometric redshifts will be measured.

The magnitudes of an object may be calculated to within 2% by convolving the spectrum of the object with the system response curves. This requirement assumes that the spectra are spectrophotometrically calibrated and that the system response curves are absolute.

The magnitudes vary only by –2.5 log f2/f1, independent of position in the final map to within 2% (1% enhanced goal), where f2/f1 is the ratio of photon fluxes. This is to be true in g, r, i, z individually.

The magnitudes have an absolute zero point that is well-defined and known to 0.5%. The magnitudes will be on the natural instrument system.

Uncorrected nonlinearities due to imperfect shutter timing and nonlinear CCD/amplifier gain shall be less than 0.3%, measured as the peak error between shortest and longest exposure times, and between the faintest and brightest unsaturated stars.

The ghost image of the night sky on the CCDs will be removed to no worse than 0.6%.

The rms variation in photometric calibration of any star measured in different positions of a CCD shall be no worse than 0.6%.

The remaining stray light in the system will be no worse than 0.6%.

The aperture correction shall have an internal rms error no bigger than 0.6% for any CCD and seeing between 0.8” and 1.5”.

The primary standard star set we choose as the absolute calibration sample should have g, r, i, z magnitudes known to < 0.5%.

The absolute astrometry on the sky should be no worse than 100 mas.

The relative astrometry between adjacent colors should be no worse than 100 mas.

The input images are to be mapped into identical locally flat images (“charts") for coaddition, where the distortion free point (“tangent point") is at chart center.

The distortion in the charts is to be less than 0.1%, peak to peak.

The mapping should conserve flux.

Mask images accounting for bad data (e.g., bad columns, bleed trails, saturation) will also be mapped.

These science requirements may be summarized as follows:

- 5000 sq-degrees in the South Galactic Cap, significantly overlapping the SPT SZ survey, to be completed in 5 years with 30% duty cycle.

- Four bandpasses covering 390nm to 1000 nm: g, r, i, z.

- Limiting magnitudes of [g, r, i, z] = [24, 24, 24, 23.6] for small galaxies.

- A PSF of FWHM ≤ 1.1"and median ≤ 0:9", stable over 10 sq-arcminute areas.

- Photometric redshifts to z = 1 for clusters, red galaxies, and blue galaxies with precisions of σz = 0.01; 0.03; 0.20 and understood error distributions

- Photometric calibration to 2% with understood system response curves

- Astrometric calibration to 0.1”.

- Image remapping that conserves flux and is practically distortion free.

- A galaxy catalog containing measurements that allow straightforward selection function calculation and simulation.

- Collaboration scientists have high availability and easy access to survey data.

## Success criteria

We define two levels of success.

Complete success

Complete success is defined as meeting all of the criteria of section 2.10 or, in 
summary, as follows

- 5000 sq-degrees in the South Galactic Cap, significantly overlapping the SPT SZ survey, to be completed in 5 years with 30% duty cycle.

- Four bandpasses covering 400nm to 1000 nm: g, r, i, z.

- Limiting magnitudes of [g, r, i, z] = [24, 24, 24, 23.6] for small galaxies.

- A PSF of FWHM ≤ 1.1"and median ≤ 0:9", stable over 10 sq-arcminute areas.

- Photometric redshifts to z=1 for clusters, red galaxies, and blue galaxies with precisions of σz = 0.01; 0.03; 0.20 and understood error distributions

- Photometric calibration to 2% with understood system response curves

- Astrometric calibration to 0.1".

- Image remapping that conserves flux and is practically distortion free.

- A galaxy catalog containing measurements that allow straightforward selection function calculation and simulation.

- Collaboration scientists have high availability and easy access to survey data.

- Collaboration analysis papers on all key projects.

Substantial success

Substantial success is defined to be a survey that meets at least the following requirements:

- 4000 sq-degrees in the South Galactic Cap, significantly overlapping the SPT SZ survey, to be completed in 5 years with 30% duty cycle.

- Three of four bandpasses covering 400nm to 1000 nm: g, r, i, z.

- Limiting magnitudes of [g, r, i, z] = [23.5, 23.5, 23.5, 23.3] for small galaxies.

- A PSF of FWHM ≤ 1.3"and median ≤ 1.0".

- Photometric redshifts to z=1 for clusters, red galaxies, and blue galaxies with precisions of σz = 0.03; 0.06; 0.40 and understood error distributions

- Photometric calibration to 3% with understood system response curves

- Astrometric calibration to 0.2’’.

- Image remapping that conserves flux and is practically distortion free.

- A galaxy catalog containing measurements that allow straightforward selection function calculation and simulation.

- Collaboration scientists have high availability and easy access to survey data.

- Collaboration analysis papers on all key projects.

# Technical Specifications

To meet the science requirements listed above we must make choices that strike a balance between the science requirements and what is technically feasible. Below we present our specification for the CCDs, the integration time of the images, readout time and read noise, the pixel size, image quality required for the optics, and the size of the field of view of the corrector and camera. These lead to a set of technical requirements that are used to guide the design of the DES corrector and camera.

## Survey Footprint

The DES will cover a total of 5000 sq. degrees in the Southern Galactic Cap. Figure 1 and Table 3.1 show the specific areas. Below we describe the motivation for these choices.

Table 3.1 Dark Energy Survey areas

| Overlap target | Right Ascension | Declination Area |  |
| --- | --- | --- | --- |
|  | (deg) | (deg) | (sq. deg.) |
| SPT | -60 to 105 | -30 to -65 | 3988 |
|  | -75 to -60 | -45 to -65 |  |
| SDSS Stripe 82 | -50 to 50 | -1 to 1 | 200 |
| Connection region | 20 to 50 | -30 to -1.0 | 800 |

Justification

1. The SPT Survey Area is predefined

2. SDSS Stripe 82 has been identified as the optimal area for DECam photometric redshift calibrations via the SDSS spectroscopic redshifts.

## Field of view

The size of the field necessary to meet the science requirements depends on many aspects of the survey. The primary constraint is to cover the 5000 sq-deg DES area in the time available for the DES during the 5 year period. However, consideration must also be given to factors of weather, survey strategy, and operational efficiency, among others.

Figure 1: The DES Footprint. The image shows a Lambert's equal area projection of the DIRBE dust map covering the South Galactic cap. The graticule shows celestial coordinates, with the South Celestial Pole near the bottom. The DES footprint is in red.

An order of magnitude calculation shows the essentials. We are proposing to use 30% of the Blanco 4-m time over 5 years, resulting in a survey of 525 nights. Our supernova program will take 10% of the time, leaving 473 nights for the imaging survey of 5000 sq-degrees. This requires an acquisition rate of 10.6 sq-degrees per night. The nights in the Southern summer will be around 8 hours long, giving a 10.6 sq-degree/8 hour rate. Assuming half the nights will be unusable due to bad weather, this calculation gives 10.6-sq-degrees/4 hours. Our total exposure time on a given field will be of order an hour, so the camera must cover 2.7 sq-degrees.

A more careful analysis (see Chapter 4 of the NOAO proposal), incorporating overheads, a four-bandpass calibration strategy, and a detailed weather model, results in the need for a camera whose single image tiles cover a footprint of 3.0 sq-degrees and have a 10% dead area for inter-CCD gaps. This footprint requires that the circumscribed circle of the field of view have diameter of 2.2 degrees. The science and operational requirements that drive this analysis are as follows.

Number of tilings - The minimum number of tilings of the survey area in any filter is 4.

Multiple tilings are needed to fill in the inter-CCD gaps and to achieve the required photometric precision. This number of tilings leads to the g and r bands having deeper limiting magnitudes than is need by the science requirements.

Integration Times – [g, r, i, z] = [400, 400, 1200, 2000] sec.

Single exposure Time – minimum 100 sec

To achieve our science goals we require a signal-to-noise of 10 at the limiting magnitudes. The integration time is the total of all individual exposures. The calculation of the exposure time depends on the mirror area, the throughput of the system, the read noise of the instrument, the sky background, and the area over which the object is spread.

The sky brightness contributes to the noise in galaxy magnitudes and colors in proportion to the area of the aperture one uses to measure the magnitudes. We assume the seeing at the Blanco 4-m is 1.0", and use an aperture of 1.7" diameter, as is appropriate for the measurement of the colors and magnitudes of faint galaxies. The resulting minimum integration times are listed in Table 3.2.

Table 3.2 Limiting Magnitudes to Integration Times

| Filter | g | r | i | z |
| --- | --- | --- | --- | --- |
| Required limiting magnitude (10σ) | 22.8 | 23.4 | 24.0 | 23.6 |
| CCD QE | 0.65 | 0.85 | 0.65 | 0.5 |
| Filter and optics T Δλ/λ | 0.18 | 0.14 | 0.13 | 0.18 |
| Sky brightness (mag/sq-arcsec) | 21.7 | 20.7 | 20.0 | 18.7 |
| Sky Brightness 45° from moon | 19.7 | 19.7 | 19.25 | 18.5 |
| Minimum integration times (sec) | 27 | 130 | 900 | 1600 |
| Adopted integration times (sec) | 400 | 400 | 1200 | 2000 |
| Achieved Limiting magnitude (10 σ) | 24.6 | 24.1 | 24.3 | 23.9 |

The last row gives our adopted integration times for the reference survey strategy; please see Chapter 4 for a detailed discussion. The increased exposure times in the g and r filters reflect our photometric calibration strategy which will use multiple survey tilings and a minimum exposure time of 100 sec.

Observing time contingency: 25%.

The baseline observing plan should include a contingency of 25% (1 year). Although the plan factors in weather and seeing patterns at CTIO and overhead for slew times between fields, it otherwise presumes that operations are 100% efficient, thus excluding such factors as observer errors, equipment malfunctions, etc. It also excludes the possibility of anomalously bad weather years (such as consecutive El Nino years).

## Pixel scale

Pixel scale: 2.5 pixels per FWHM, met by 0.27”/pixel, 15μ

The only science requirement on pixel scale is that images be properly sampled (2.5 pixels per FWHM) under conditions of good seeing. This requirement is met by the natural scale at the Blanco prime focus (0.27”/pixel for 15 micron pixels). Larger pixels (up to 0.3”/pixel) might also be acceptable, since the best images measured by the Blanco telescope Mosaic II imager are 0.6”, and one could cover more sky with a single CCD. However, because CCD diffusion is the second largest contributor to image size, one might instead want to reduce the pixel size. Since corrector designs become more challenging as one adds power (in either direction), we have not placed any constraints on pixel scale other than that it remain at the nominal natural scale of the telescope.

## Point spread function

The delivered PSF from the telescope, instrument, and other factors exclusive of the site seeing shall be no greater than 0.55 arcsec.

The delivered PSF is a combination of atmospheric and dome-induced seeing, CCD diffusion, the coorector optical design, mechanical alignment and stability, as well as the telescope tracking (guiding and focus). The requirement on image quality, exclusive of atmospheric seeing, is that it be no worse than that delivered by the current telescope and mosaic imager system.  The following table gives a preliminary budget for contributions to the image quality, along with the basis for each contribution.  CCD diffusion, the largest contribution, is the value currently achieved by LBNL with CCDs matching the DES CCD design.  The optical corrector itself is required to produce images comparable to the existing as-designed corrector.

The combined contribution is 0.47 arcsec, smaller than the requirement of 0.55 arcsec.  The remaining 0.29 arcsec is carried as a contingency for remaining contributions that are not yet identified or are difficult to quantify at present.

The delivered PSF is a combination of atmospheric and dome-induced seeing, CCD diffusion, the optical design, mechanical alignment and stability, as well as the telescope tracking (guiding and focus). The primary mirror figure contributes about 0.16” and CCD diffusion contributes about 0.37” FWHM (1-D sigma of 9μm for a scale of 17.7”/mm) to the image size. The best quartile of seeing delivered by the site is about 0.6”. The combination produces images with a PSF width of 0.73”. We require that the corrector degrade this by no more than 10%, or about 0.33”. [This value corresponds to an rms radius of 11 - 12μm. It should be noted that the current Blanco prime focus corrector design produces images with an rms radius of 11μm.]

Table 3.3 gives a preliminary budget for contributions to the image quality.

The procedure for calibrating the PSF shape for weak lensing will likely be developed as an iterative process. It is likely that data from multiple images will be combined in order to increase the density of stars sampling the focal plane. There are several possible sources of systematic error that are comparable in amplitude to the target systematic error of 0.06” whisker length. To make progress, the following requirements will be made:

No requirement is placed on the static PSF shape.

The variation in PSF shape across the focal plane is relatively insensitive to details of the corrector designs that we are considering and depends mainly on the PSF size itself. It will be presumed that the combining of many images will be able to calibrate the variation in PSF across the focal plane.

For each dynamic source of systematic error (e.g., focus variations), the peak amplitude induced in the PSF whisker length will be no larger than 0.06”.

It is assumed that the calibration process (e.g., using a PCA type analysis), will partially calibrate each of these sources.

Table 3.3 Image quality budget

| Source | FWHM arcsec | RMS Radius (microns) | Reference |
| --- | --- | --- | --- |
| Dome Seeing | 0 | 0 | Not known with certainty |
| Telescope Guiding | 0.03 | 1 | Guess - take same as focus errors |
| Wind Shake | 0 | 0 | Assume "calm" night |
| Corrector |  |  |  |
| Design | 0.26 | 9.2 | Current performance Blanco-2605 |
| Manufacturing | 0.10 | 3.4 | Radii, index, thickness, homogeneity, polishing, etc |
| Silica Inhomogeneity | 0.07 | 2.2 | Grade C |
| Assembly Errors | 0.06 | 1.9 | Decenter, tilt, etc. |
| Flexure | 0.04 | 1.2 | Gravity loading, etc. |
| Focal plan location | 0.05 | 1.6 | 30 micron p-p |
| Thermal | 0.05 | 1.6 | -5 to +25 C, Steel |
| CCD Diffusion | 0.31 | 11 | Assumes 7.5 microns rms 1-D, LBNL papers |
| Depth-of-focus | 0.03 | 1.0 | Kubik and Estrada report (i band) |
| Prim. mir. Figure | 0.16 | 5.3 | CTIO mirror testing report |
| Prim. mir. support (static) | 0 |  |  |
| Prim. mir. support (flexure) |  |  | Assume small with adaptive optics |
| Tel. collim. (static) | 0 | 0 | Combine with flexure |
| Tel. collim. (flexure) | 0.05 | 1.7 | 200 micron offset |
| Focus | 0.03 | 1 | Scaled from SDSS 2.5 m focus loop performance |
| TOTAL | 0.47 |  | Telescope + Instrument |

## Radioactivity and Charged Particle Events

Charged particle events due to radioactive material in the instrument shall produce a background no worse than that arising from cosmic rays at sea level (0.01 events/cm2/sec).

The basis for this requirement is that, because the CCDs are thick (250μm), charged particle tracks will deposit more charge and affect more pixels compared with their impact on traditional, back-illuminated devices. For a charged particle entering at an angle of 45 degrees, the trail will be about 17 pixels long. Data processing software must identify these trails as non-astronomical objects and remove them from the image. Long exposures will need to be broken into shorter ones in order to aid in distinguishing charged particle trails from astronomical objects, decreasing the efficiency with which data are collected.

The main purpose of this requirement is to ensure that care is taken with choice of materials to avoid inadvertent introduction of radioactive materials, particularly in the vacuum dewar.

## Science CCD Specifications

Table 3.4 CCD dimensions

| Dimensions | 33.316 x 63.390 mm |
| --- | --- |
| Thickness | 0.250 mm (tolerance is 30μm) |
| Format | 2048 x 4096 pixels, serial register is 2048 edge |
| Pixel size | 15μm×15μm |

CCD nonlinearity: 1% or better

CCD full well: 130,000e-

CCD residual image: ≤ 10e- from 3×106 e- spread over 5 pixels

CCD readout rate: 250 kpix/s

CCD dark current: ≤ 0.007e-/s/pix

CTE: > 0.99999

CCD blooming control: not required

CCD prescan pixels: Not required, but acceptable

CCD frame transfer: not required

Outputs/CCD: 2

### Quantum efficiency

CCD quantum efficiency – [g, r, i, z] : [60%, 75%, 70%, 65%]

The minimum required QE averaged over a device and bandpass is given in Table  3.5. The maximum on-chip variation in QE (the flat field) should be ≤ 5%. The maximum chip to chip variation in QE should be ≤ 10%.

Table  3.5  CCD QE Requirements

| filter | wavelength (nm) | Required QE |
| --- | --- | --- |
| g | 400-550 | 60% |
| r | 560-710 | 75% |
| i | 700-850 | 70% |
| z | 830-1030 | 65% |

These came from the signal to noise calculations that support the 4 key science projects.  Filter transmission is also considered.  See section 3.8.9.

### QE and Temperature Stability

A related issue is the QE stability. This is a requirement on the temperature stability, as the temperature affects the red sensitivity of the devices.

CCD QE stability:  ≤ 0.3% variation in QE over 12-18 hours

Which implies:

CCD temperature stability - 1 degree K stability over 12-18 hours.

Which implies:

Spatial temperature variation across the focal plane should produce ≤ 5% variation in QE

Or:

Spatial temperature variation:  ≤ 15 degrees K across the focal plane.

### Read noise

One of the components of the exposure time calculation is the read noise of the devices. Because the collecting area of the Blanco 4-m is large, the time required to reach the regime where sky noise dominates over read nose is quite short. Read and sky noise add in quadrature. To meet our science goals we require that the read noise be a factor of 2 smaller than the sky noise so that in the quadrature sum, the effect of read noise is less than a 10% increase above pure sky noise.

CCD read noise must be ≤ 15e-/pixel

The g band has the darkest sky (thus smallest sky noise), and with our 100 sec exposures, a read noise of 15e-/pixel will be less than one-half the sky noise. The CCDs we have chosen have been clocked at 250 kpix/sec with a corresponding read noise of 7 e-. An additional contribution from the front end electronics (system noise) will add in quadrature to this. State of the art instrumentation can achieve < 5 e- read noise from the front end electronics. We choose 10 e- as our technical goal for the total read noise. In practice, following modern design techniques, the system noise will most likely be low enough to allow a slower scan readout generating images limited by the lowest readout noise attainable with these CCDs of 2-3 e-/pixel.

Goal for CCD read noise at DES readout rates: 10 e-/pixel

### CCD Diffusion and Flatness

The CCD charge diffusion should have an rms 1-D width σ no greater than 7.5μm.

This is the current performance of LBNL CCDs, and it is comparable with the performance in other state-of-the-art CCDs (e.g., SITe, E2V). Smaller widths can be achieve with higher substrate bias voltages but would require additional CCD R&D effort.

The point spread function sets a requirement on the flatness of the CCDs. The PSF should change by no more than 2% in second moment semi-major axis and by no more than 2% in ellipticity, defined as b/a, when convolved with a 0.6" circular Gaussian and measured over 1 cm spans. This translates to

CCD flatness: on < 1 cm2 scales on a given CCD, the mean flatness variation should be ≤ 3μm.

CCD flatness: between adjacent ≤ 1cm2 areas on a given CCD, the difference in mean flatness should be ≤ 10μm.

This requirement derives from the ability of the weak lensing analysis to track PSF variations; the last comes from the optical error budget. Testing whether we meet the requirement involves mapping the height variations and putting them into the optics model to evaluate the PSF changes.

### Cosmetic defects

Cosmetic defects should account for no more than 5% loss in CCD area from non-usable pixels.

The requirement on bad columns derives from requiring no more than a 5% loss in CCD area from non-usable pixels. This allows us to operate the survey with 1 non-functional CCD in the focal plane. The budget is

- 1 non-operational focal plane CCD = 1.6%

- 10 cols ×2 lost due to glowing edge = 1%

- 10 rows ×2 lost due to glowing edge = 0.5%

- each bad column affects entire 4096 column, and 5 columns centered on the bad one (PSF size is 2 pixels), so each bad column is a loss of 0.25%

- 1.9% allocated to bad columns translates to 8 bad columns, in the mean over the focal plane.

Adjacent bad columns count as 2 columns bad plus 4 more affected, 0.3%, 3 adjacent bad columns as 0.35% and so on. Hot pixels and traps are less of a problem, if they don't affect many pixels.

## Telescope tracking, focus and active optics

The delivered PSF can be strongly affected by the telescope tracking and focus. The TCS incorporates an interpolated lookup table model (pointing model) to compensate for flexure and irregularities in open-loop telescope tracking. Guide cameras follow stars near the object being observed, sending tracking corrections to the TCS every second and closing the tracking servo loop thus guaranteeing good quality images for exposures of up to 1800 seconds in most observing programs.

Guide error signal update rate: 1 Hz.

Focus changes at the Blanco telescope resulting from changes in ambient temperature are currently corrected manually by the observer. As noted before, the existing prime focus camera delivers seeing typically between 0.8" and 1.1". Unguided focus sequences, which are designed to locate current best focus, show a median seeing of 0.7" to 0.8". It is tempting to conclude that the telescope performs well on the 10 second timescale of a focus exposure sequence, but less well in the several hundred second exposures of a typical observing run. This would probably be erroneous as many observers will happily and appropriately refocus the telescope should the seeing improve, but not when it degrades when it would be a waste of observing time. The existing guiding algorithms are not perfect and effort will be put into refining them where possible.

We have chosen to devote space on the focal plane to both guide and Focus & Alignment (F&A) CCDs. F&A CCDs are mounted on the same plate as the science focal plane array, but displaced vertically from that plane by a distance sufficient to produce the classic “donut” image of an out-of-focus star.  With a known displacement, the measured size of the donut allows a precise determination of the best focus position.  Analysis of changes in the shape of the donuts allow us to measure misalignments between the DECam corrector and the primary mirror and also provide an indication of low order aberrations derived from errors in the primary mirror’s figure and can be used to close the active optics loop.

We will read out the F&A CCDs with each science exposure.

We expect ~25 well measured stars (S/N = 100) per science CCD in a 100 sec. science exposure. If the focus chips were 10 times smaller than the science CCDs (i.e., focus chip area = 17 sq-arcmin), 2 stars per CCD would be expected and we believe this to be sufficient. We assume the guide exposures will be 1 second. One can measure sufficiently accurate centroids to guide from a star of S/N=20. If we take the sky noise to be 16e- and the read noise over the star image to be 20e-, then we need a star producing 1000 e- in 1 second. This is magnitude 19 for the r or i bandpasses, which have surface densities of Σ = 0.2 per sq-arcmin near the galactic pole. Assuming the stars are randomly distributed on the sky, then the probability of finding no useable guide stars within a guide camera of solid angle Ω is e-0.2×Ω.  There are about 2000 fields in our survey.  Guide CCDs covering 50 sq-arcmin yield a 10% chance of the survey encountering a field with no guide stars and this is an appropriate minimum areal coverage.  In DECam, one 2kx2k CCD with 15 μm pixels covers 85 sq-arcmin.

### Guide CCDs

Guide CCDs will be sited within the dewar to the sides of the science focal plane array.

The guide CCDs will observe the sky through the science survey filters.

Minimum guide CCD area: 20 sq-arcmin, conservative area: 50 sq-arcmin

Guide CCDs should have 10e- read noise at 250 kpixel/s, 20e- at 500 kpixel/s, readout in 1s in 4x4 binning

Guide CCDs require sub-array readout capability.

The guide CCD system must produce seeing measures suitable for use in the donut analysis as well as error signals suitable for guiding.

We require 4 2kx2k guide CCDs, spread on either side of the focal plane.

### Focus & alignment CCDs

Considerations of seeing, overlap and experience from other observatories yields an optimum size for donut images of around 30 pixels, which results in:

F&A CCDs shall be displaced by 1.24mm perpendicularly to the FPA.

Donut size is affected by seeing, but this can be factored in by concurrent seeing measurements from the guide CCDs (T-35).

Sufficient stars must be available for the donut analysis.  Our calculations and simulations of the star density we will encounter in the survey lead us to:

F&A CCD minimum area: 20 sq-arcminutes, conservative area: 50 sq-arcminutes

F&A CCD particulars same as science devices, read at same rate during survey

We require  4 2kx4k F&A CCDs, spread on either side of the focal plane.

All the required information can be derived from donut images taken on one side of focus, but a useful opportunity for consistency checking is provided by use of images from both sides of focus.

The four F&A CCDs should be arranged in pairs on opposing sides of the dewar on opposing sides of focus.

The F&A CCDs will be read out on the same cadence as the science FPA.  Updates to the corrector position via the hexapod and to the primary mirror figure via the active optics system will be made at a cadence designed for maximum benefit which will be determined by experiment at the telescope.

The F&A CCDs will acquire stellar images through the survey filters.

## System Requirements for the DES optical corrector

Here we summarize additional technical specifications for the DES corrector. We recognize that the camera will be used for a variety of purposes by the general astronomical community and the corrector has been designed with this in mind. Any changes in requirements beyond those required for DES that have a significant cost impact will require that those costs be borne by an organization other than the DES Collaboration.

See section 3.4 for discussion of point spread function.

### Passbands:

The design shall be optimized for performance within individual passbands of 400-540, 560-680, 690-820, and 820-1000 nm.

It is allowed that the focus and/or scale may change among passbands.

Additionally, the corrector shall permit imaging in the UV (350 nm), although there are no formal specifications for throughput or image size.

The overall passband matches the optimal response of the LBNL CCDs. UV capability is not required by the DES itself; however, the BIRP committee explicitly expressed interest in knowing the capability in its report.

### Ghosting

Two classes of ghosting need to be considered: re-imaging of the exit pupil and ghost halos around bright stars. The former is endemic to prime focus wide field correctors and causes problems with flatfielding and photometric calibration. The requirements are:

Ghosting: The intensity of ghost image of exit pupil, expressed as the fraction of incident sky brightness reflect back as a ghost image, shall have a gradient over the length of one CCD (61 mm = 0.3 degrees) of no more than 3%.

This is needed to achieve top-level photometric accuracy of 2% (systematic error only). This requirement depends on the detailed photometric calibration plan. As a baseline, we assume that flatfielding is done using the sky background from median-averaged images, and that a single zero-point (derived from standard stars) is used to convert ADU to AB magnitudes. Ghosting introduced non-uniformities into the sky background, creating artificial gradients that mimic sensitivity variations. A gradient across a CCD introduces a) relative photometric errors across the CCD; b) a photometric offset error relative to the average of all stars on the device (depending on where the standard star is positioned). The requirement is intended to allot 1/4 of the total systematic variance to flatfielding.

If gradients are larger, one can correct for them using “star flats"; however, these are tedious to obtain, and there will be some residual errors from the process as well.

Note that steps in the ghost image are worse than linear gradients; star flats then become necessary.

Ghost images of an in-focus star of 6 mag shall create a ghost image with a surface brightness no greater than 25 mag/sq-arcsec.

This derives from the need to achieve reliable detection and measurement of faint objects (10σ detection at r = 23.4). Ghost images are irregularly distributed across the focal plane and introduce local jumps in sky brightness, causing error in measuring the local sky for photometry of faint galaxies. (To second order, they affect the construction of the median flat; we do not consider this here). We expect one V = 6 star per DES field at latitude b = -50. The natural sky brightness is about 21.5. The ghost image would be about 4% of this brightness. This intensity is also comparable to what we expect in the exit pupil ghost. An r = 23.4 galaxy of radius 100 has a surface brightness of 24.6 mag/arcsec square. The local sky background should be measured accurately for all except galaxies at the boundary of the ghost image. In the worst case, a locally determined sky will be in error by 50%, causing a photometric error of 20%. This error is statistical in form, since, when averaged over many DES fields, it is random in nature.

### Focal plane flatness

The optical design shall incorporate a flat focal plane. The peak to peak variation in matching CCDs to the focal plane shall be 30μm.  The positioning of CCDs relative to a flat plane includes any CCD nonflatness.

It is easier to design and construct a mosaic array with a flat vs. curved focal plane. Our studies show that no significant gains are to be had by allowing the focal plane to be curved.

### Operating temperature range

The operating temperature for the corrector shall be -5 C to +27 C

These numbers are taken from CTIO website and reflect the annual temperature variations experienced in the dome.

### Physical Size

The maximum diameter of any optical element shall be less than 1300 mm.

The leading optical element shall be no more than 2300 mm in front of the focal plane.

These are the mechanical constraints placed by the available space in the current design for the prime focus assembly. They do NOT include any consideration of availability or associated risk for the size or cost of any particular optical component.

### Glass Type

Glass type(s) shall be chosen according to availability, its ability to meet the design requirements, durability, low coefficient of thermal expansion, low radioactivity.

Fused silica seems to meet most if not all of these requirements.

BK7 is thought to be NOT acceptable for the dewar window due to radioactivity

### Throughput

Transmission shall be uniform in wavelength (≤10% peak-peak variation) over the full wavelength range specified in requirement (S-5; note also section 1.1.1 and requirement T-44.)

We do not want to compromise performance due to the choice of a glass that would reduce transmission at either extreme of wavelength.  (It is thought that optical quality fused silica would meet this requirement.). The same is to be said about the choice of anti-reflection coating, though the issue here is uniformity of the coating over the glass.

The number 10% is a soft target, but if it exceeds this value then we must evaluate it in the context of the spatially varying system response requirements.

### Filters

DECam must accommodate community use and this will require the facility to use filters other than those specified by the DES.

A filter of at least 15 mm thickness shall be accommodated in the design. If possible, the filter shall be placed at a location that minimizes its diameter. The filter changer mechanism shall accommodate at least 6 filters.

The filter must be thick enough to be mechanically sturdy. Sag due to gravity is thought to be immaterial on the optical design for this thickness.

Displacement of filters between exposures can result in photometric errors from the movement of transmission inhomogeneities with respect to the FPA.

The filter mechanism must place each filter within the corrector to a precision of 1mm or better.

### Filter transmission

The signal to noise calculation of section 3.6.1 also considered filter transmission, the requirements are given in Table 3.6.

Filter transmission requirements:  85% in [g, r, i, z]

Table 3.6 Filter Transmission Requirements

| filter | CWL (nm) | FWHM(nm) | Transmission |
| --- | --- | --- | --- |
| g | 475 | 150 | 85% |
| r | 635 | 150 | 85% |
| i | 775 | 150 | 85% |
| z | 925 | 150 | 85% |

### Dewar window

Dewar window and wall thicknesses will comply with all appropriate safety standards to ensure the integrity of the instrument.  The current design calls for a window thickness of 65mm to minimize the risk of catastrophic failure through inadvertent impacts.

The dewar window may have power.

The curvature of the window induced by the air-vacuum pressure differential must be computed and its impact on the optical design assessed.

It is thought that the sag could be of order 60 microns, which would require such an assessment.

The dewar window glass type may be specified as part of the design.  The material shall be chosen for low radioactivity. Potassium content shall be no more than 1%, and trace thorium that be no more than 10 ppm by weight. This excludes BK7, which has 10 percent potassium (requirement T-52).

Radioactivity generates spurious charge events in the CCD and must be minimized. The radioactive isotopes one might find in glass include K-40 and Th-232. Inside the vacuum, beta rays from radioactive decay on the surface of the dewar window can strike the CCD; such particles will be absorbed and produce complex tracks (unlike cosmic ray muons, which pass through the CCD on straight-line trajectories). The upper limits represent the amount of material of each type that will produce an event rate about equal to that of cosmic rays at sea level.

### Shutter

Placing the shutter closer to the focal plane means a smaller beam size. Space for the shutter is constrained in the prime focus cage. The location is not critical but should be as close to the focal plane as feasible.

Shutter performance requirements are based on the precision required to make calibrations via standard star observations:

The shutter should provide 1 percent uniformity at a 1 second exposure time.  (i.e. the actual exposure time anywhere on the CCD should not be more than 1% different from anywhere else at this exposure time).

Shutter exposure time repeatability should be better than 0.005 seconds (5 milliseconds).

Shutter exposure time accuracy should be such that the offset from the nominal exposure should be less than 0.05 seconds (ie 50 milliseconds)

Absolute timing of an exposure should be measured to a precision of 10ms and recorded in the resulting image FITS header.

The shutter should allow exposures from 1 second upwards.

We will not test performance for shorter exposure times, but capability to take shorter exposures (e.g. down to 0.2 seconds) would be useful as goal, not a specification.

Shutter performance should be maintained from -5°C to +20°C.

Shutter performance should be maintained after high duty-cycle tests.

Approximately 125,000 shutter movements will take place per year,   Shutter MTBF and MTTR should be based on a 10-year lifetime.

Monitoring and diagnosis of performance anomalies (uniformity, repeatability, accuracy above) would be aided by suitably telemetry from sensors associated with the shutter mechanism.

### Cost

Within the constraints of the requirements on performance, the optical design shall minimize the total cost of construction.

Costs are driven by the glass type, spherical vs. aspherical surfaces, details of lens shape (e.g. thickness), the total number of elements (both with respect to procurement and to mounting complexity), the delivery schedule, and the availability of qualified vendors.

## Instrument Cage Motion

This section discusses requirements to apply to any mechanism for adjusting the position and orientation of the instrument cage.  X and Y refer to motions of the corrector and camera in directions perpendicular to their optical axis. “Tilt” refers to rotations of the corrector and camera about the X or Y axes. “Focus” refers to motions of the corrector and camera in the direction parallel to their optical axis. “Rotation” refers to rotations of the corrector and camera about their optical axis.  The hexapod will provide control over all these degrees of freedom.

The total error budget for fabrication, assembly, etc is 0.1” FWHM (= 3.8 μm rms radius). It is assumed that this is contributed by 100 degrees of freedom Thus, for any single degree of freedom, we assume an error budget of 0.01” FWHM or 0.38 μm rms radius, yielding the tolerances given on focus, X or Y or X-tilt or Y-tilt.

A change in X of 45 microns introduces a mean whisker of 0.06 arcsec.  A change in focus of 7 microns introduces a mean whisker of 0.06 arcsec.  Note that whisker length increases as sqrt(offset).

Note that rms radius increases linearly with offset.

### Focus

The tolerance on setting the focus is +/- 7 microns peak-peak error. Thus, the focus resolution should be 1 microns.

Range of focus motion should be at least 4 mm to accommodate the temperature extremes.

A change of 30 C corresponds to 3.6 mm; (one must be sure to position the corrector properly within the adjust range!) If the range is 8 mm, one can be cavalier with the initial installation of the corrector - just put it in the middle of the range.

The actual performance of the focus loop needs to be better than SDSS achieves. The SDSS can detect a defocus at the focal plane of 12 microns. Scaling by telescope f/ratio, we should be able to detect a defocus of 7 microns at the Blanco.

### Tilt and X&Y translation

We assume a worst-case de-center of the primary mirror with respect to the corrector is 1.5 mm.

Only translation or tilt of the corrector assembly is needed - not both. In practice, tilt is not feasible, if the pivot point is in the cage.

Correction of a translation of the primary mirror by a tilt of the corrector yields a residual tilt in the focal plane of +/- 1 micron at the edges, which is not measurable.

#### X&Y Translation

The range of lateral translation of the corrector should also be +/- 1.5 mm in each of X and Y directions.

The tolerance in setting the corrector lateral translation is +/- 50 microns peak-peak error. The step size should be 10 microns.

#### Tilt

The range of corrector tilt (if provided) shall be +/- 30 arcsec in each of the X and Y directions.

The tolerance on setting the tilt of the corrector is +/- 1 arcsec (2.8×10-4 degrees) peak-peak. The step size should be 0.2 arcsec.

If no tilt correction is provided, the tilt angle shall be maintained to an accuracy of 2 arcsec over the full range of translation.

### Orientation changes

Because of the top-end flip capability of the telescope, DECam will experience all possible orientations.  Even when DECam is not in use, it will be necessary to run any and all instrument components for diagnostic and test procedures.

All instrument components shall perform to specification at all possible orientations.

The maximum change in telescope zenith angle during one exposure shall be 5 degrees.

This angular change specification corresponds to a 20 minute exposure time at the most unfavorable orientations. If needed, a more detailed chart can be prepared giving angular change vs. hour angle and declination.

## Summary of Technical Specifications

The full list of technical specifications is as follows:

- Number of tilings - The minimum number of tilings of the survey area in any filter is 4.

Integration Times – [g, r, i, z] = [400, 400, 1200, 2000] sec.

Single exposure Time – minimum 100 sec

Observing time contingency: 25%.

Pixel scale: 2.5 pixels per FWHM, met by 0.27”/pixel, 15μ

The delivered PSF from the telescope, instrument, and other factors exclusive of the site seeing shall be no greater than 0.55 arcsec.

No requirement is placed on the static PSF shape.

For each dynamic source of systematic error (e.g., focus variations), the peak amplitude induced in the PSF whisker length will be no larger than 0.06”.

Charged particle events due to radioactive material in the instrument shall produce a background no worse than that arising from cosmic rays at sea level (0.01 events/cm2/sec).

CCD nonlinearity: 1% or better

CCD full well: 130,000e-

CCD residual image: ≤ 10e- from 3×106 e- spread over 5 pixels

CCD readout rate: 250 kpix/s

CCD dark current: ≤ 0.007e-/s/pix

CTE: > 0.99999

CCD blooming control: not required

CCD prescan pixels: Not required, but acceptable

CCD frame transfer: not required

Outputs/CCD: 2

CCD quantum efficiency – [g, r, i, z] : [60%, 75%, 70%, 65%]

CCD QE stability:  ≤ 0.3% variation in QE over 12-18 hours

CCD temperature stability - 1 degree K stability over 12-18 hours.

Spatial temperature variation across the focal plane should produce ≤ 5% variation in QE

Spatial temperature variation:  ≤ 15 degrees K across the focal plane.

CCD read noise must be ≤ 15e-/pixel

Goal for CCD read noise at DES readout rates: 10 e-/pixel

The CCD charge diffusion should have an rms 1-D width σ no greater than 7.5μm.

CCD flatness: on < 1 cm2 scales on a given CCD, the mean flatness variation should be ≤ 3μm.

CCD flatness: between adjacent ≤ 1cm2 areas on a given CCD, the difference in mean flatness should be ≤ 10μm.

Cosmetic defects should account for no more than 5% loss in CCD area from non-usable pixels.

Guide error signal update rate: 1 Hz.

Minimum guide CCD area: 20 sq-arcmin, conservative area: 50 sq-arcmin

Guide CCDs should have 10e- read noise at 250 kpixel/s, 20e- at 500 kpixel/s, readout in 1s in 4x4 binning

Guide CCDs require sub-array readout capability.

The guide CCD system must produce seeing measures suitable for use in the donut analysis as well as error signals suitable for guiding.

We require 4 2kx2k guide CCDs, spread on either side of the focal plane.

F&A CCDs shall be displaced by 1.24mm perpendicularly to the FPA.

F&A CCD minimum area: 20 sq-arcminutes, conservative area: 50 sq-arcminutes

F&A CCD particulars same as science devices, read at same rate during survey

We require  4 2kx4k F&A CCDs, spread on either side of the focal plane.

The four F&A CCDs should be arranged in pairs on opposing sides of the dewar on opposing sides of focus.

The design shall be optimized for performance within individual passbands of 400-540, 560-680, 690-820, and 820-1000 nm.

It is allowed that the focus and/or scale may change among passbands.

Additionally, the corrector shall permit imaging in the UV (350 nm), although there are no formal specifications for throughput or image size.

Ghosting: The intensity of ghost image of exit pupil, expressed as the fraction of incident sky brightness reflect back as a ghost image, shall have a gradient over the length of one CCD (61 mm = 0.3 degrees) of no more than 3%.

Ghost images of an in-focus star of 6 mag shall create a ghost image with a surface brightness no greater than 25 mag/sq-arcsec.

The optical design shall incorporate a flat focal plane. The peak to peak variation in matching CCDs to the focal plane shall be 30μm.  The positioning of CCDs relative to a flat plane includes any CCD nonflatness.

The operating temperature for the corrector shall be -5 C to +27 C

The maximum diameter of any optical element shall be less than 1300 mm.

The leading optical element shall be no more than 2300 mm in front of the focal plane.

Glass type(s) shall be chosen according to availability, its ability to meet the design requirements, durability, low coefficient of thermal expansion, low radioactivity.

BK7 is thought to be NOT acceptable for the dewar window due to radioactivity

Transmission shall be uniform in wavelength (≤10% peak-peak variation) over the full wavelength range specified in requirement (S-5; note also section 1.1.1 and requirement T-44.)

A filter of at least 15 mm thickness shall be accommodated in the design. If possible, the filter shall be placed at a location that minimizes its diameter. The filter changer mechanism shall accommodate at least 6 filters.

The filter mechanism must place each filter within the corrector to a precision of 1mm or better.

Filter transmission requirements:  85% in [g, r, i, z]

The dewar window may have power.

The curvature of the window induced by the air-vacuum pressure differential must be computed and its impact on the optical design assessed.

The dewar window glass type may be specified as part of the design.  The material shall be chosen for low radioactivity. Potassium content shall be no more than 1%, and trace thorium that be no more than 10 ppm by weight. This excludes BK7, which has 10 percent potassium (requirement T-52).

The shutter should provide 1 percent uniformity at a 1 second exposure time.  (i.e. the actual exposure time anywhere on the CCD should not be more than 1% different from anywhere else at this exposure time).

Shutter exposure time repeatability should be better than 0.005 seconds (5 milliseconds).

Shutter exposure time accuracy should be such that the offset from the nominal exposure should be less than 0.05 seconds (ie 50 milliseconds)

Absolute timing of an exposure should be measured to a precision of 10ms and recorded in the resulting image FITS header.

The shutter should allow exposures from 1 second upwards.

Shutter performance should be maintained from -5°C to +20°C.

Shutter performance should be maintained after high duty-cycle tests.

Approximately 125,000 shutter movements will take place per year,   Shutter MTBF and MTTR should be based on a 10-year lifetime.

Within the constraints of the requirements on performance, the optical design shall minimize the total cost of construction.

The tolerance on setting the focus is +/- 2.5 microns peak-peak error. Thus, the focus resolution should be 1 microns.

Range of focus motion should be at least 4 mm to accommodate the temperature extremes.

We assume a worst-case de-center of the primary mirror with respect to the corrector is 1.5 mm.

Only translation or tilt of the corrector assembly is needed - not both. In practice, tilt is not feasible, if the pivot point is in the cage.

The range of lateral translation of the corrector should also be +/- 1.5 mm in each of X and Y directions.

The tolerance in setting the corrector lateral translation is +/- 50 microns peak-peak error. The step size should be 10 microns.

The range of corrector tilt (if provided) shall be +/- 30 arcsec in each of the X and Y directions.

The tolerance on setting the tilt of the corrector is +/- 1 arcsec (2.8×10-4 degrees) peak-peak. The step size should be 0.2 arcsec.

If no tilt correction is provided, the tilt angle shall be maintained to an accuracy of 2 arcsec over the full range of translation.

All instrument components shall perform to specification at all possible orientations.

The maximum change in telescope zenith angle during one exposure shall be 5 degrees.

# Footnotes

At the time of commissioning there will be additional questions: iv) what are the tests, v) who is doing them, vi) when are they to be done, and vii) with what resources. These we leave for later.

# Comments

This calculation is new.  I think it’s right…  Based on Poission stats & arguments from STScI

These are new as of July 2006.  Please check.