# Agenda for 9/4/03 Femtosecond Thursday meeting at 1:00 pm in 6-1105

Laser System Update – Wilcox

Chicane Magnet Radiation - Heimann

Minutes.

#### Laser System Update

Russell Wilcox provided an update on the laser system.  The oscillator and pump laser for the front end have been delivered and tested.  Four pump lasers for the power amplifiers have been ordered and two are scheduled for delivery next week.  A prototype power amplifier has been built and tested in the lab at low repetition rates and without cryogenic cooling.  The measured gain is in good agreement with model calculations.  An additional 2x in gain may be possible with a more complex 4-pass scheme (including AR coated windows and crystals).  The cryogenic cooler (Cryomech AL300) and associated vacuum chamber for the power amplifier has been built and tested with a resistive thermal load.  Measurements of vibrational coupling to the table from the cryo head show ~1rad beam pointing fluctuations (peak to peak).  The Ti:sapphire crystals have been mounted in this chamber.

Russell presented a modified schedule that calls for laser work to begin at the ALS in December 2003.  Some negotiations are still pending with BL5.3.2 (regarding hutch modifications), with BL6.3.1 regarding floor space, and with ALS User Services, Gary Krebs (regarding relocation of equipment that is now in the BL6.0 laser area).  The target date for laser operation at 20 kHz is January of 2005, and 40 kHz operation is expected in March of 2005.  An additional remaining issue is to check the laser beam path across the roof blocks (from the periscope in the laser area to the back-tangent port in sector 4).

#### Chicane Magnet Radiation

Phil Heimann gave an overview of the issues regarding radiation from the chicane bend magnets and from the insertion device(s), their respective overlap, and contribution to the background.  Three important questions were addressed:

(1)  Are the insertion device engineers and beamline engineers using the same bend angles – both are using 2.16 mrad.

(2)  Is 2.16 mrad sufficient to isolate radiation from two insertion devices?

In-vacuum undulator/wiggler - opening angle is ±K/ = ±1.2 mrad

EPU opening angle is ±1.1 mrad

2.16 mrad seems to be OK, but the radiation distribution needs to be calculated at specific photon energies.

(3)  Will other radiation points (specifically the chicane magnets) contribute to the background?

The chicane magnets are 0.2 T, so they will contribute primarily in the soft x-ray range (<2 keV).  The intensity is ~300x weaker than the radiation from the IVID, but it is poorly focused, and this needs to be considered in more detail.  The upstream bend is displaced by 2 mm and is 100x weaker than the IVID at 500 eV, so this should not be a major issue

Action Items (Updated)

Steve---- verify complete inventory of vacuum vessel material stored at 901.

Steve-----look at alternate magnetic design with reduced higher order harmonics.

Christoph----Conclude longitudinal field harmonics study by end of September.

Howard/ Bob---schedule a meeting with BCSB management to present installations plans for

W11

Dave P.---work with Tony Catalano to develop the beamlines schedule consistent with engineering manpower availability, yearly funding requirements, and to document scope.

All – risk mitigation plans

Christoph/Ross/Steve---resolve ID field and roll-off issues

Steve---Collect data from the three existing designs for the power on the RF shield for the IVID.

Alan—address engineering manpower issues.

All------update review presentation book.

Check options for W16 cost recovery with Gavin Robillard----Alan

(Steve reports from Robillard that if another national lab expresses interest in W16, we can only expect them to pay incidental costs of removal from the ring, packing, shipping etc.)