CONSTRUCTION SPECIAL SPECIFICATION

SECTION 02812-S

DRIP IRRIGATION SYSTEM

Page

PART 1 - GENERAL	2

1.01	Summary	2

1.02	References	3

1.03	QUALITY ASSURANCE	4

1.04	STORAGE & HANDLING	4

1.05	SYSTEM DESCRIPTION	5

1.06	SUBMITTALS	5

1.07	PERFORMANCE	6

1.08	JoB CONDITIONS	6

1.09	DELIVERY, STORAGE & HANDLING	7

1.010	WARRANTY	7

1.011	MAINTENANCE	7

PART 2 - PRODUCTS	7

2.01	MATERIALS	7

PART 3 - EXECUTION	11

3.01	EXAMINATION	11

3.02	TRENCHING	11

3.03	INSTALLATION	12

3.04	TEST & FLUSHING - INSPECTION	14

3.05	BACKFILLING	15

3.06	OPERATION AND MAINTENANCE	15

3.07	ACCEPTANCE	16

CONSTRUCTION SPECIAL SPECIFICATION

SECTION 02812-S

DRIP IRRIGATION SYSTEM

- GENERAL

  - Summary

- A.	Sustainable design conserves and protects our natural resources, water, being an important one of these.  Drip irrigation systems save water by delivering slow, steady amounts of water directly to plant roots cutting down on evaporation, runoff and overspray. Drought-resistant native plants need only to receive the amount of water they require. They need supplemental water during the first year or two to get established then watering can usually be eliminated altogether except during periods of severe drought.

- This section covers the requirements for the installation of a complete underground, automatically controlled drip irrigation system for areas delineated on the Landscape Drawings, including but not limited to the following:

      - Piping

              - Poly pipe or poly tubing is not acceptable at Sandia.

      - Backflow Preventer

      - Emitters

      - Valves

      - Controller

      - Control Wiring

      - Fittings/Clamps

      - Electrical Connections

      - All Necessary Accessories

- C. 	Related Sections:  The following sections contain requirements that relate to this Section.

  - Applicable sections of Division 2 – Site Construction.

  - Applicable section of Division 15, Mechanical.

  - Applicable section of Division 16, Electrical.

- D. 	Perform trenching, excavation, boring, backfilling, and compacting as required.

  - References

    - Reference publications are listed by the manufacturer’s technical data and product literature and are not referred to within the specification.

- Drip Irrigation Design for Landscapes, by Joseph Y.T. Hung, Paper Number 88-2066 presented at the American Society of Agricultural Engineers, Rapid City, SD, 1988

- Determining Drip Emitter Spacing and Watering Time for Maximum Water Use Efficiency, by Joseph Y.T. Hung, Paper presented at the Irrigation Association, San Diego, CA, 1993

- Estimating Water Requirements of Landscape Plantings: The landscape Coefficient Method, Cooperative Extension University of California, Division of Agriculture and natural Resources, Leaflet 21493

- Water Use Classification of Landscape Species, (WUCOLS Project), Cooperative Extension University of California, February 1992

- Landscape Drip Irrigation Design Manual, by Keith Shepersky, Rain Bird Sales, Inc., 1984

- Irrigation Principles and Practices, Fourth Edition, by Vaughn E. Hansen, Orson W. Israelsen, Glen E. Stringham, 1979

- Rain Bird Trickle Irrigation Design, First Edition, by Jack Keller, Ph. D. and David Karmeli, Ph. D., Rain Bird Sprinkler Manufacturing Corp., 1975

    - The following publications are referenced in this Section:

      - American Society for Testing and Materials (Latest Edition) – ASTM.

- D-1784	Std. Specification for Rigid Poly Vinyl Chloride (PVC) Compounds and Chlorinated Poly Vinyl (CPVC) compounds

- D- 1785	Std. Specification for Poly Vinyl Chloride (PVC) Plastic Pipe, Schedules 40, 80, & 120.

- D-1875	Std. Test Method for Density of Adhesives in Fluid Form

- D-2241	Std. Specification for Poly Vinyl Chloride (PVC) Pressure-Rated Pipe.

- D-2464	Std. Specification for Threaded Poly Vinyl Chloride (PVC) Plastic Pipe Fittings, Schedule 80.

- D-2466	Std. Specification for Poly Vinyl Chloride (PVC) Plastic Pipe Fittings, Schedule 40.

- D-2467	Std. Specification for Poly Vinyl Chloride (PVC) Plastic Pipe Fittings, Schedule 80.

- D-2564	Std. Specification for Solvent Cements for Poly Vinyl Chloride (PVC) Plastic Piping Systems.

- D-2774	Std. Practice for Underground Installation of Thermoplastic Pressure Piping.

- D-2855	Std. Practice for Making Solvent-Cement Joints with Poly Vinyl Chloride (PVC) Pipe & Fittings.

      - National Electric Code.

      - International Plumbing Code.

      - National Sanitation Foundation.

  - QUALITY ASSURANCE

    - Installer Qualifications:  Licensed landscaping contracting firm with not less than five [5] years experience in the type and scale of work required in this Section.

    - All irrigation work shall be performed by a single firm specializing in this type of work.

    - Manufacturer Qualifications:  Provide underground irrigation system as a complete unit produced by acceptable manufacturers, including heads, valves, piping circuits, controls, and accessories and as specified in this Section.

      - Manufacturer regularly and presently manufactures the items submitted as one of their principal products.

  - STORAGE & HANDLING

    - Follow manufacturer’s recommended procedures in loading, unloading, stacking, transporting and handling of all materials to be used.

  - SYSTEM DESCRIPTION

    - Sandia landscape irrigation system is computer controlled from a central location by a CALSENSE control system.  The system is known as Central Irrigation Control System or CICS.  All existing and new irrigation systems shall be connected to CICS via CANLSENSE field controller.

  - SUBMITTALS

    - Submit manufacturer’s literature, technical data, and recommendations for the system as specified including:

      - Backflow Preventer

      - Controller (must be compatible with CICS)

      - Electrical Connectors

      - Emitters

      - Filters

      - Fittings

      - Flow Sensors (CALSENSE)

      - Piping (All types)

      - Rain & Freeze Sensors

      - Valves

      - Wiring

    - Shop Drawings:

      - Drip Irrigation Layout Plan to include the following:

              - Controllers (location & mounting detail).

              - Piping layout and size.

              - Layout - size, and type of emitters, and sprinkler heads.

              - Fittings.

              - Valves (types), sizes and locations.

              - Wiring Schematics.

              - Connection to existing water line.

    - Submit reproducible As-built drawings.

    - Submit print of controller chart.

    - Pressure Test.

      - Contractor is responsible for conducting water pressure flow test at point of connection to the main and furnishing results to the SDR.  Such testing shall be done at a minimum pressure of 100psi.

      - No other work is to proceed until the SDR has received pressure test data.

    - Submit all of the above in accordance with Provisions of Section 01300 – Submittal Procedures.

  - PERFORMANCE

    - Design Pressure: The system requires a total design pressure of 15-45 psi.  Design pressure is defined as maximum pressure required overcoming all pressure losses and leaving a residual pressure at the emitters not less than the manufacturer's minimum pressure requirement.

1.	Precipitation Rate

              - Determine location of emitters based on location of proposed shrubs in planter areas shown on the Contract Drawings.

              - Layout: Locate emitters to provide uniform distribution to all plants.

              - Perform test & balance.

  - JoB CONDITIONS

    - Existing Conditions:

      - Utilities:  Verify the locations and sizes of stub outs for water sources indicated on the Contact Drawings as the source of water supply to the underground irrigation system.  Prior to excavation, determine the locations of all newly constructed and existing cables, conduits, sewers, water lines, and other underground utilities.  Do not damage or disturb underground utilities.  If a conflict exists between the location of underground utilities and the proposed work, notify the SDR in writing and arrange for relocations.  Proceed in the above manner if a rock layer or other unanticipated conditions are encountered underground.  Repair utility damage as directed by the SDR.

      - Construction:  Use extreme caution when working near existing construction.  Do not damage existing features not specifically indicated to be removed.  Repair any accidental damage as directed by the SDR.

      - Sequencing/Scheduling:  Coordinate irrigation system with related work.  Grade site within 1 inch of finish grade prior to trenching. Install irrigation system prior to plant installation.

    - Prior to installing irrigation heads, stake or otherwise locate trees and shrub areas according to document plans, or as adjusted in the field under SNL’s direction.  Coordinate bubblers and shrubs pop-up heads with tree and shrub locations.  Do not lay irrigation lines in root ball zones.

    - Coordinate tree, shrub, and plant layout with the SNL Gardner – Dept. 10843-3 and the project SDR.

  - DELIVERY, STORAGE & HANDLING

    - Delivery and Storage:  Coordinate delivery and on-site storage location with the SDR.  Do not store PVC pipes in direct sunlight.

    - Product Handling:  Follow manufacturer's recommended procedures for loading, unloading, stacking, transporting and handling materials and equipment.

  - WARRANTY

    - General:  Warranty underground irrigation system through the specified warranty period [one-twelve month growing season] against operational deficiencies due to inferior material or workmanship.  Correct deficiencies immediately as directed by the SDR at no additional cost to SNL, including damage caused by such defects.

    - Settlement:  Warranty underground irrigation system through the specified warranty period against settlement damage.  Adjust, restore, or replace pipes, valves, sprinkler heads, planting, paving, or other improvements at no additional cost to SNL.

  - MAINTENANCE

    - Extra Materials:  Provide four extra pop-up heads and four extra nozzles of each type indicated and two sets of special wrenches for each type of head or nozzle.  Provide wrenches from the same manufacturer as heads and nozzles, designed for installing, removing, and adjusting heads and nozzles.

- PRODUCTS

  - MATERIALS

- A.	CALSENSE Flow Sensor

    - Pipe and Pipe Fittings:

      - Polyvinyl Chloride Pipe (PVC).

              - Schedule 40 complying with ASTM D 1785, continuously marked with identification of the manufacturer, type, class, and size.  Provide pipes in 20-foot lengths, free of holes, foreign material, blisters, wrinkles or dents.

              - PVC compounds are restricted to PVC-1120 and PVC-1220.

      - Inline Emitter Tubing

              - Pressure compensating inline emitter tubing.

              - Dual outlet ports.

              - Pressure from 8-60 psi.

              - Flow rate: 0.92 GPH, 120-mesh filtration.

              - 0.63” O.D, 0.54” ID with a 0.045” wall thickness.

              - 18” emitter spacing.

              - Multi-Outlet Emission Device:  Rainbird Xeri-Bird XBD-80 or approved equal.

      - PVC Pipe Fittings: Schedule 40 PVC socket fitting, Type 1, Cell Classification 12454-B, complying with ASTM D 2466, D 2467, and D 1784.

      - Threaded Nipples: Schedule 80 PVC pipe.

      - Risers: Schedule 40 PVC pipe.

      - Cleaner, Primer, and Solvent Cements:

              - Cleaner: Uni-Weld 7300 cleaner or approved equal.

              - Primer: Uni-Weld 8700, Hi-Etch purple primer, ASTM F656, or approved equal.

              - Solvent Cements:  Uni-Weld 2200 clear, light viscosity type, for lateral lines, Uni-Weld 1700 gray, heavy duty viscosity type, for lateral lines larger than 2-1/2" diameter, and Uni-Weld 6700 clear, light viscosity type for Flex/PVC connections or approved equal.

      - Sealing Tapes and Pastes:

              - Threaded Connections between PVC and Metal Pipe: Rectorseal No. 100 virgin heavy duty sealing paste, Plastojoint Stick as manufactured by Lake Chemical Company, or Teflon tape.

              - Metal-to-Metal Connection:  Rectorseal No. 5 slow dry, soft set pipe thread compound.

              - PVC-to-PVC Connections:  Teflon tape.

              - Plastic Irrigation Head or Plastic Valve to Pipe Connections:  Teflon tape.

      - Pipe Lubricant:  As provided by pipe manufacturer for "O" ring gasket and pipe spigot ends.  If not provided, use I.P.S. Weld- On No. 787 gasket lubricant as manufactured by Industrial Polychemical Service.

      - Flexible Nipples:  Cobra Connector, U.S. Patent #s 5,039,011 & 5,221,114, with 1/2" Nominal I.P.S. heavy wall flexible hose, as manufactured by F. P. Parker Manufacturing Co. Inc., 230-A Coney Island Dr., Sparks, Nevada, 89431, (702) 358-7900 or (510) 657-1641, Fax (800) 372-6272, or approved substitute.   Material is available from Neumark Inc., Albuquerque, New Mexico.

      - Sleeves:  Class 200 PVC.

      - Poly pipe or poly tubing is not acceptable at Sandia.

    - Remote Control Valves:

      - Control Valve:  PEB Series as manufactured by Rainbird.

      - Master Valve:  PEB Series as manufactured by Rainbird.

      - Provide valves of heavy-duty plastic housing body and cover with stainless steel spring and metal parts of brass.

      - Solenoid operated, balanced-pressure diaphragm, angle type, 150 psi CWP rating.

      - External and internal bleed.

      - Solenoid complying with Class II National Electric Code.

      - Energy-efficient, low-power encapsulated solenoid with captured plunger and 90-mesh solenoid filter.

      - Buna-N-diaphragm with belt-cleaning 90 mesh pilot water filter and capture spring.

    - Backflow Preventer Valve:

      - Use RP or PVB valves.

    - Automatic Drain Valve:

      - Use plastic valves.

      - Treaded piping connection.

      - Actuating plunger spring loaded to closed at 0.5 PSI and open against a 6' head of water in either vertical or horizontal position.

      - Inlet and outlet ends covered with 30 mesh monel screens.

    - QUICK COUPLER VALVES

      - Provide quick coupler valves approximately every 50 FT or as indicated on the Contract Drawings.  Provide coupler keys, swivel ells, and hose bibs in the quantity of one for each quick coupler.

    - Valve Boxes:

      - Specification grade valve boxes and bottom extensions as manufactured by Carson Industries LLC.

      - Control valve boxes shall be 17” x 30” x 15”H with locking covers as manufactured by Carson Industries LLC.

    - Emitters:

      - Single outlet pressure compensating emitters complete with flow control disk, 5/16" diameter emitter ball and cap seal. Emitter constructed of black, heat resistant plastic.

      - Pressure compensating.

      - Self-flushing.

      - Pre-set to emit .5 to-12 gallons per hour at operating pressures of 15 to 45 psi.

    - Wye Filters:

      - 150-psi pressure rated.

      - Cap with sealing O-ring.

      - Flow rate of 0 to 30 GPM.

      - 200 mesh filter element.

      - Size range from ¾” to 1”.

    - Inline Pressure Regulator

      - Install above or below ground.

      - Outlet pressures of 30 psi, 40 psi or 50 psi.

      - ¾” or 1” female threaded inlet and outlet.

    - Automatic Controller:

      - Calsense Controller ET-2000-8, 24 or 40 MLR with local radio and grounding rod.  Specify size based on project.

    - Wire:

      - Provide #12RW color-coded wiring to electric control valves from automatic controller, which is Underwriters Laboratories, approved for direct underground burial.

      - Provide a single wire to each solenoid from controller and a common neutral wire to all solenoids from controller as power supply.

    - Rain Sensor:

      - Provide a Rain Switch that is compatible with CICS.

    - Freeze Sensor:

      - Provide a Freeze Sensor that is compatible with CICS.

- EXECUTION

  - EXAMINATION

A.	Examine grading and existing conditions under which drip irrigation system is to be installed. Proceed with installation if conditions are satisfactory.  Examine related work and surfaces before installing the work.  Report in writing to the SDR conditions which will prevent proper execution.

  - TRENCHING

    - Stake out all sprinkler head and valve locations prior to trenching for review and approval by the SDR.

    - Excavate trenches straight and true with bottom uniformly sloped to low points.  Make excavations of sufficient depth and width to permit proper handling and installation of the pipe and fittings.  Clean trench of all soil, rocks, and debris before installing pipe and fittings.

    - Excavate trenches to a depth of 3-inches below invert of pipe, unless otherwise indicated.

    - Where trenching extends thru rocky soil, piping shall be bedded in 2-inches of sand or approved backfill material extended to a minimum of 2-inches over the top of piping.

    - Provide 24-inch clearance between top of pipe and finish grade for pressure lines, and 18-inches for non-pressure lines, except where otherwise indicated on Contract Drawings.  When two or more pipes are to be placed in the same trench, maintain a minimum of 1-inch horizontal and vertical distance between the pipes.

    - Accurately trim trenches to provide a uniform bed, free from rocks, clods, or other sharp-edged objects.

    - Pitch piping to drain a minimum of 6-inches in each 100 feet [or 0.5%].

    - Keep bottom of trench or excavation free and clear of water during installation.

    - Where existing pavement must be cut to install landscape irrigation system, cut smoothly to straight lines 6-inches wider than trench.

            - Remove cut out pavement and excavated material from the site.

            - Sleeve pipe and wiring under sidewalks, roadways, or parking lots in Class 200 PVC pipe.  Size pipe sleeves 2-inches larger [inside diameter] than pipe to be sleeved.

            - Repair and replace pavement cuts with equivalent materials and finishes.

  - INSTALLATION

- A. 	General:

1.	Install drip system equipment with necessary hardware in accordance with final approved shop drawings, manufacturer's instructions and as specified herein.

- B.	PVC main lines.

- 1.	Bed and backfill to 12-inches over PVC pipe with existing soil unless existing soil is rocky or contains other unsuitable materials as determined by the SDR.

      - Avoid electric conduits, storm drain lines, and other existing utilities, all of which have the right-of-way.

      - Minimum cover over mains and control valves is 24 inches. Minimum cover over laterals is 18-inches.

      - All piping in planters is to rest on gravel filtration layer and placed prior to placement of soil.

      - Use PVC sleeves beneath paved surfaces, through planter walls, and at locations shown on the plans.

      - Do not cut sidewalks, drives, or curbs during installation of pipes unless otherwise noted.

      - Cover and protect open pipe ends, fixtures and equipment from dirt, water and chemical or mechanical damage during installation.

      - Drain each sprinkler section (lateral) to an automatic drain placed at the low point in the system.

      - Place 12"x 6" gravel pit around outlet end of all automatic drains.  Gravel drain backfill shall be of cleaned gravel or crushed stone, graded from ¾-inch min. to 1-1/2 inch maximum.

      - At completion of work, thoroughly clean fixtures, exposed materials and equipment.

- C. 	Laying PVC Pipe:

- 1. 	Snake pipe at least 1 foot per every 100 feet to allow for thermal expansion.

              - Solvent weld socket type.

              - Threaded Type: Apply liquid teflon thread lubricant to teflon thread type.

D. 	Laying Inline Emitter Tubing:

- Make all connections according to manufacturer’s instructions.

- Lay tubing at grade below mulch.

- E. 	Wiring:

- 1.	Keep splicing to a minimum.

- 2.	Provide 12-inch expansion loops in wiring at each wire connection or change in wire direction.

- 3.	Provide 24-inch expansion loop at remote control valves.

- 4.	Run control wiring through conduit in areas designated on the Plans.  Direct burial is acceptable when/where approved by the SDR.

- 5.	Do not run power wiring in the same conduit as control wiring.

- 6.	Solder splices, coat with general bakelite cement, wrap with electrical tape and coat again with general bakelite cement. Crimp type connectors may be substituted.

- F.	Setting of Valves:

- 1.	Do not locate valves beneath paved surfaces.

- 2.	Install valves in a level position.

- 3.	Install all valves, except backflow preventer, with minimum 24-inches cover.

- 4.	Provide key for manual operation of remote control valves.

- G.	Sleeving:

- 1.	Furnish and install PVC sleeving where control wires or pipe pass under paved surfaces and through concrete planter walls.

- a.	Provide sleeving of twice the size of pipe to be sleeved to allow for retrieval.

- b.	Extend sleeving 12 inches beyond end of paving at each end.

- c.	Bed sleeves, installed by open cut, with sand to 12" above pipe.

- d.	Install pipe with 24-inches of cover.

- e.	Seal joint between sleeves and pipe through planter walls with waterproof caulking.

  - TEST & FLUSHING - INSPECTION

    - Provide for inspection of work by the SDR at any time.  Whenever testing or approval is required, provide notification to the SDR 24 hour in advance.  Should work requiring testing or approval is backfilled prior to notification, the Contractor, at the Contractor’s expense, shall uncover, retest and reset the surface if directed by the SDR.

    - Should any portion of the Work done or any materials delivered fail to comply with requirements of the Specification or Contract Drawings, such work or materials shall be rejected and shall be immediately removed from the site.  Defective work or materials shall be corrected satisfactorily.

    - Following installation, and prior to placing soil or backfilling, make final adjustments of Drip Irrigation System.

            - Flush system completely to remove debris from line with in-line emitter tubing and pop-up heads removed.

            - Replace in-line emitter tubing and flush system again checking for proper operation.

    - Following final adjustment, operate the entire installation to demonstrate the complete and successful operation of all equipment.

    - A pressure test of main line at 150 psi for 2 hours and a pressure test of lateral lines at 125 psi for 2 hours is required.

            - Center-load the piping with a small amount of backfill to prevent arching or slipping under pressure.  Flush out all lines, then cap all outlets and hydrostatically test the normally pressurized part of the system at a pressure of 150 psi as specified in the International Plumbing Code.  Test lines between master valves and remote control valves (where applicable) in the same manner at a pressure of 100 psi.

            - Test laterals (intermittently pressurized) in the same manner at existing available static pressure.  Leave joints exposed for inspection during the pressure test.  Do not install swing joints or flexible nipples prior to pressure test.  Maintain pressure tests on plastic pipe for not less than 4 hours.  Do not use air pressure test.

            - If pressure loss occurs, affected line shall be repaired and test shall be repeated until the entire system has been proven tight.  Conceal lines passing hydrostatic pressure test the same day if nighttime temperatures are to be 32° Fahrenheit and below.  Install pressure gauges on the line being tested.

  - BACKFILLING

- A.	After pipe joints have been visually inspected and flushing and pressure testing has been accomplished and approved, backfilling may begin.  Begin backfilling when the piping is not in an expanded condition due to heat or pressure.  Cooling of the piping can be accomplished by operating the system for a short time or by backfilling in the cool a.m. hours of the day.  Place backfill in horizontal layers not exceeding 8-inches in loose depth and thoroughly hand-tamp to 85% in unpaved areas and 90% in paved areas of maximum density at optimum moisture so that minimum settlement will result.  Place backfill to the original grade level or to the limits designated on the Contract Drawings and use topsoil to fill to finish grade.

  - OPERATION AND MAINTENANCE

- A. 	Maintain and adjust the irrigation system in coordination with the plant materials requirements until substantial completion.  Irrigation maintenance shall include repair and replacement of parts or workmanship not operating properly and adjustment of timing and coverage of heads.

- 1.	Provide on-job site consultation with Sandia’s operating personnel for a period of 3 months, not to exceed 4 hours per month, at no charge to Sandia.

- B. 	Record Drawings and Controller Chart:

- Maintain a complete set of up-to-date as-built drawings and provide a copy to the SDR.

- 2.	Prepare a controller chart showing:

- a.	Location of all sections, valves, lateral lines, and routes of control wires.

- b.	Identify all valves as to size, station, and number.

- c.	Provide chart as a blue-line print with a different color used to show area of coverage for each station.

- d.	Locate chart inside controller door. Seal chart between two pieces of plastic.

- e.	Complete chart and receive approval prior to final inspections of irrigation system.

- 3.	Submit a monthly irrigation schedule audited by certified landscape irrigation professional.

  - ACCEPTANCE

- When work is completed, including maintenance, the SDR will, upon request, make an inspection to determine system acceptability.

- Where inspected irrigation work does not comply with requirements, replace rejected work and continue specified maintenance until re-inspected by the SDR and work is found to be acceptable.  Remove rejected equipment and materials promptly from project site.

END OF SECTION