PCSRF Conference Call Notes

Thursday, February 28, 2002 3:00 – 5:00 PM ET

Hosted by NIST

Participants

Al Wavering, Joe Falco and Keith Stouffer (NIST Manufacturing Engineering Laboratory)

Lois Ferson (ISA)

Joe Weiss (EPRI)

Bill Miller (MaCT)

Michael McEvilley (Decisive Analytics Corp)

Em Delahostria and Dan Carnahan (Rockwell)

Tom Phinney (Honeywell)

Sal Depasquale (Georgia Pacific)

Tony Haynes, Dave Tait, and Mike Fancher (NCMS)
Mike DeVaney (PNL)

Bill Rush (GTI)

Owen Kean (American Chemistry Council)

Purpose

To share status and plans among participants; report on Feb. 15 OHS/CIAO Interagency meeting on Digital Control Systems and the Feb. 20 Technical Support Working Group (TSWG) meeting; discuss the sector-specific workshop template; and plan for next face-to-face meeting additional invitees, timing, agenda.

## Web Site Updates

The minutes from the past conference calls were added to the web site recently.

## Participant status updates

Joe Weiss (EPRI) reported that at the Energy Expo, Riptech presented that more than half of the cyber-attacks from the mid-east since 9/11 have been aimed at the electric industry.  He is currently at a workshop in Atlanta for cybersecurity for the electric utilities.  BCIT (Eric Byres) is involved in collecting information on cases of cyberattacks (some accidental/unintentional) of control systems.  Most of these attacks were on PLCs in paper mills.  One attack accessed a 5MW turbine through the energy and building management systems.  One attack occurred during a labor dispute in which all the passwords on the PLCs were changed which caused the mill to be shut down (the PLCs had still had their default passwords).  Another incident (unintentional) was caused when an expert system engineer wrote a program to collect sensor data from the corporate LAN, plant, and field devices.  The PLC gateway didn’t have enough bandwidth for this, therefore an intermittent denial-of-service was created. Joe is trying to get the full report on this.  Joe is trying to piece together an effort to develop intrusion detection technology for process control.

Bill Rush (GTI) reported that there was a lot of activity with the AGA/GTI SCADA encryption group.  They will be recommending a suite of algorithms to use for SCADA encryption.  They have some initiaql timing data for an 8-bit microprocessor field device. [numbers] The website for this effort is:  http://gtiservices.org/security/index.shtml

Michael McEvilley (DAC) reported that yesterday (2/27/02) was the IEEE inaugural meeting on information assurance.  The Protection Profiles will define criteria that the other organizations will adapt and turn into IA standards.  He was on the steering committee for NIAP on government developed Protection Profiles (OS, databases,etc.). These PPs are focusing on product certification and not on systems.  What is learned in this process though should drive the focus on the systems issue.

Tom Phinney (Honeywell) reported that he chairs a standards committee, IEC/SC 65C, which handles process control communications standards. There was a meeting 2 weeks ago in Paris at which an agreement was made as to the venue for giving process industry cyber-protection agreements IEC document status.  There are 4700 pages of standards.  Tom talked about German ProfiSafe and extension of profiles for functional safety and security issues.  Tom is intruducing a New Work Item on cybersecurity into IEC/SC 65C. This will provide a placeholder for cybersecurity standards and agreements. Tom also mentioned that there are a lot of advantages to combining safety and security issues, including facilitation of consensus building.  This is likely to become the predominant mode of operation.

## Lois Ferson (ISA) reported that ISA is also combining safety and security issues and is working on safety issues with 3 groups (Security, Fieldbus, EMI).

Michael McEvilley commented that procurement/acquisition folks can help drive the effort of security.

Tom Phinney added that we can’t just look at this as a new procurement issue, but also retrofitting existing systems.  If the insurance agencies get involved with security as a rating issue, the industries will get involved since there will be a cost driver.  Stu Katzke is exploring this issue with insurance companies.  Al Wavering took an action to get an update from Stu as to the current status of this.

Al Wavering (NIST) reported on the February 15 digital control systems meeting for United States Government agencies that was convened by Richard Clarke.  There was good Federal Agency representation – EPA, DIA, DOE, FDA, FAA, TSWG, CIA, DOT, NIPC, NIJ, NASA, OSHA.  Clarke and Tritak said they viewed control systems security as critical.  The safety vs. security issue was discussed.  There was a request to help identify who should come to the public/private sector meeting that is planned for April 2.  There will be two parts to the meeting - Presentations to make people aware of the problem; and what to do about it.  There was a TSWG meeting on February 20.  TSWG is a State Department program for funding anti-terrorism R&D. Their October BAA drew 12,500 responses.  A new BAA will be released early March – see http://www.tswg.gov for additional details.  There are also funding opportunities from NSF as well.

Dave Tait (NCMS) reported that they conducted a discrete manufacturing workshop in Ann Arbor, MI.  There is a need to get companies thinking about their critical assets. NCMS is collaborating with the Software Engineering Institute (SEI) to adapt and apply their SEI/OCTAVE vulnerability assessment tool. Problems are particularly acute for Tier3/Tier4 suppliers, who have no time to look up and no resources to address this issue. Tony Haynes (NCMS) reported they have had discussions with Ford regarding PLC security; they seem to be pretty far along.

Joe Weiss reported that IEC TC57 is working to have a draft Protection Profile by the end of FY02 (September 2002) and a final  report to IEC by December 2002 in the form of a TR report.

Sal Depasquale (Georgia Pacific) reported that that he is involved with the American Chemistry Council (ACC).  The ACC has started to develop a process to assess chemical facilities to determine what risks they have and which risks that they can accept and which risks they cannot and therefore have to do something about.

Sector Workshops:

We discussed the proposed two-tiered approach to gathering information, where we will work with industry organizations to hold sector-specific workshops, and the PCSRF would coordinate and consolidate this information across sectors. There was agreement that this approach could avoid some cross-sector communication difficulties and help get the right people to participate. The straw plan is:

1) Draft requirements specification document (Jan. 28)

2) Review and comments from PCSRF (Feb. 8)

3) Hold PCSRF meeting with EPRI, ISA, API, AGA/IGT, TAPPI, AMWA, NCMS to plan sector-specific workshops to further develop security environment; vulnerabilities and threats. (immediately following the April 2 public-private sector meeting)

4) Work with these groups to conduct sector-specific workshops. (April - early May)

5) PCSRF analyzes and consolidates results into industry-wide specification, with identification of both common and sector-specific issues. (late May)

6) Evaluate progress, plan and conduct round two of workshops focusing on security objectives and security functional requirements. (June - July)

7) Incorporate round two results into specification, review and comment. (August)

8) Produce Protection Profile based on specification. (Sept. - Oct.)

The question of when additional vendors would be engaged was raised. The intent is to include the vendors that serve each sector in the sector-specific workshops.

A workshop prospectus developed by the National Center for Manufacturing Sciences (NCMS) was discussed as an example template for the sector workshops.

Additional work needs to be done to develop model narrative descriptions (use cases) to use in guiding workshop discussions.

## Next Meeting

The next meeting is planned to be a face-to-face meeting on Wednesday April 3, 2002 at NIST in Gaithersburg, MD.  Additional information on the next meeting will be posted in the Upcoming Meetings section of the PCSRF web site when available.

## Action Items

- All - review the Security Profile Specification (SPS), validate/challenge the assumptions stated in the Operational Security Environment section, and provide any other comments to Michael McEvilley, Al Wavering, or the group at large.

- Michael McEvilley – distribute guidance regarding use cases.

- All – submit possible use case scenarios for their specific industry.

- NIST and Michael McEvilley will develop a template for sector-specific workshops and explore the possibility of conducting these with industry organizations.

- Al Wavering - get an update from Stu Katzke on the status of insurance industry efforts