Section 5-1:	Disposal and DISPOSITION

5-1-00	Policy

10	Procedures

20	Guidance and Information

30	Reporting Requirements

X5-1-A	GSA Real Property Disposal Process as it Relates to the Environment

X5-1-B	Request for Transfer of Excess Real and Related Personal Property, GSA form 1334

5-1-00	Policy

Real Property or interests therein that are determined to be excess to the needs of HHS are usually disposed of by or through the General Services Administration (GSA).  It is the policy of the Administrator, GSA to provide for the transfer of excess real property among Federal agencies to eliminate the need to acquire new real properties.  Improvements of no commercial value, after requisite approvals, may be abandoned, donated to public bodies, or destroyed.  Under Public Law 93-638, when IHS no longer has a need for real property, it may transfer ownership of the property directly to the tribe for use in the performance of a self-determination contract or to GSA to transfer to the Department of the Interior to take the property in trust for the benefit of the tribe.

A.	RETENTION OF REAL PROPERTY

Real property may be retained only when one or more of the following factors exist:

1.	There is a firm current or foreseeable authorized requirement for the property;

2.	The value and characteristics of the property represent the most effective, economical, and timely method of meeting program requirements;

3.	The property is needed to protect the Government’s investment in an activity by providing for definite and foreseeable expansion requirements.

HHS organizations shall employ the methodology and criteria depicted in the disposition decision tree as an initial tool for identifying property disposal candidates.

B.	AUTHORITIES/REFERENCES.

The Federal Management Regulation, 41 CFR 102-75, provides additional guidance for disposal actions.

C.	Federal agencies’ historic preservation responsibilities when disposing of real property under their control

Federal agencies must, to the extent practicable, establish and implement alternatives, including adaptive reuse, for historic properties that are not needed for current or projected agency purposes.  Agencies are required to get the Secretary of Interior’s approval of the plans of transferees of surplus federally owned historic properties.  Agencies must also review all proposed excess actions to identify any properties listed on or eligible for listing on the National Register of Historic Places.  Federal agencies must not perform disposal actions that could result in the alteration, destruction, or modification of a historic or cultural property until Federal agencies have consulted with the SHPO and the Advisory Council.

D.	Title V of the McKinney-Vento Homeless Assistance Act

Section 203(k) of the Federal Property and Administrative Services Act of 1949 (FPASA), as amended, authorizes the Secretary of the Department of Health and Human Services (HHS) to convey surplus Federal real properties to eligible applicants to convey surplus Federal real properties to eligible applicants to assist the homeless.

In accordance with Title V of the McKinney – Vento Act, organizations that provide services to the homeless receive priority consideration in the use of Federal surplus real property.

Eligible organizations include states and their political subdivisions and instrumentalities, tax supported institutions, and nonprofit organizations.  The Federal Property Assistance Program is administered by this Department's Program Support Center.  Entities interested in acquiring Federal surplus property for public health uses may obtain an application instruction packet from the PSC.

E.	DEFINITIONS

Disposal Agency is defined as the executive agency designated by the Administrator of General Services to dispose of excess or surplus property.

Excess Real Property means any property under the control of any Federal agency which is not required for its needs and the discharge of its responsibilities, as determined by the head thereof.

No Commercial Value means real property, including related personal property, which has no reasonable prospect of being disposed of at a consideration.

Related Personal Property means any personal property which is an integral part of real property or is related to, designed for, or especially adapted to the functional or productive capacity of the real property and removal of this personal property would significantly diminish the economic value of the real property.

Surplus Real Property is defined as any real property and related personal property reported excess which has been screened for the needs of Federal agencies or waived from such screening by GSA and has not been designated by GSA for utilization by another federal agency.

5-1-10	Procedures

The General Services Administration through the Public Buildings Service (PBS) is responsible for promoting effective use of federal real property assets, as well as the disposal of real property that is no longer mission-critical to federal agencies.  With thousands of properties in the federal portfolio, disposing of underused federal property is a considerable task.  GSA, working together with partner federal agencies, state, and local governments, non-profit organizations, business groups, and citizens, leaves a lasting positive impact on communities by making valuable government real estate available for numerous public purposes.

A.	THE DISPOSAL PROCESS.  When disposing of federal real estate, the following process is mandated by federal law, except in situations governed by other laws and regulations.  The major steps in this process are illustrated below, but, not every property goes through every step of the process.  Exhibit X5-1-A is provided for additional information on the disposal process with emphasis on environmental considerations.

- Excess Property.  When a federal agency no longer needs a property to carry out its program responsibilities, it reports this property as “excess” to its needs.

- Federal Transfer.  GSA first offers excess property to other federal agencies that may have a program need for it.  If another federal agency identifies a need, the property can be transferred to that agency.

- Surplus Property.  If there is no further need for the property within the federal government, the property is determined “surplus” and may be made available for other uses through public benefit conveyances (PBC), including homeless use, negotiated sales, or public sales based on GSA's determination of the property’s highest and best use.

- Homeless Conveyance.  According to the Department of Housing and Urban Development, if a property is suitable for homeless use, it must first be considered as a homeless conveyance before any other public benefit conveyance can be considered.

- Public Benefit Conveyance.  As a PBC, the property can be substantially discounted in price (up to 100% reduction in fair market value) if it is used for a specific public use that qualifies for a PBC through a partner federal agency.

- Negotiated Sale.  GSA can negotiate a sale at appraised fair market value with a state or local government if the property will be used for another public purpose.

- Public Sale of Property.  If state and local governments or other eligible non-profits do not wish to acquire the property, GSA can dispose of surplus property via a competitive sale to the public, generally through a sealed bid or auction.

B.	IDENTIFYING AND REPORTING EXCESS REAL PROPERTY

- OPDIVs, after appropriate internal clearances/approvals are received, shall report excess real property to OFMP/HHS for screening for possible transfer to meet other Departmental needs.  Reports shall be submitted at least 120 calendar days in advance of the date such property will become available for transfer or disposal.  This notification requirement is applicable even to OPDIVs with delegated authority to excess property without Departmental approval.

- HHS is designated as the disposal agency for leases, permits, licenses, easements, and similar real estate interests held by the HHS agencies in non-Government owned property.  This includes Government-owned improvements located on the premises except when it is determined by either HHS or GSA that the Government’s best interests would be served for such disposal to be handled by GSA.

C.	TRANSFERS OF EXCESS PROPERTY

Transfers of excess property from one agency to another are generally handled with reimbursement equal to the appraised fair market value of the property (deposited into the Treasury as miscellaneous receipts).  Upon determination by GSA that a transfer of the property requested is in the best interest of the Government and that the requesting agency is the appropriate agency to hold the property, the transfer may be made among Federal agencies.

Approval of the Office of Management and Budget (OMB) is required if a transfer without reimbursement is proposed or when the transferring agency has requested the net proceeds of the transfer.  Transfers without reimbursement are generally processed when the Administrator of General Services, with the approval of the Director, has approved a request for an exception from the 100% reimbursement requirement, or Congress has specifically authorized the transfer without reimbursement.  See FMR 41 CFR 102-75 for specifics on transfers without reimbursement and requests for net proceeds from a transfer.

HHS agencies requesting transfers of excess properties should prepare a GSA Form 1334, Request for Transfer of Excess Real and Related Property, (see Exhibit X5-1-B) and forward the completed form to OFMP.

D.	TRANSFERS FROM IHS

There are statutory provisions that permit transfer of certain excess real property to Indian tribes without screening of other agencies.  They include:

- The Indian Health Transfer Act, Public Law 83-568 of August 5, 1954, transferred Indian Health functions from the Department of Interior, Bureau of Indian Affairs (BIA) to DHHS.  Under Section 4 of this Act, the properties of BIA relating primarily to health matters were authorized to be transferred to IHS.  In recognition that adjustments would from time to time be called for in the respective real property holdings for the benefit of the Indian tribes, and in order to simplify transfer procedures, a Memorandum of Understanding was entered into in 1961 by the Secretary of the Interior and Secretary of Health, Education, and Welfare, and the Administrator of General Services to cover such transfers as well as retransfers of properties between the two Departments involved.  Transfers under that authority, which appears in 41 CFR 102-75.1110, do not require any screening of other agencies.

- Public Law 93-599, approved January 2, 1975, provides for the transfer, without compensation, of certain excess real properties to the Secretary of the Interior to be held in trust status under BIA in favor of the Indian tribe within whose boundaries such excess property is located or, in Oklahoma, within a former Indian reservation or contiguous to real property now held in trust for an Indian tribe, but only if the property itself was once held in trust by the United States for an Indian tribe.  Transfers under this authority do not require any screening of other agencies.

- The IHS, through §105f of the Indian Self-Determination and Education Assistance Act (Public Law 93-638, as amended) [25 U.S.C. §450j (f)] permits the use, acquisition, or donation of real estate to a tribe, tribal organization, or urban Indian program pursuit to a self-determination contract or grant agreement.  IHS may also acquire excess real property and transfer ownership of property to a tribe.

5-1-20	Guidance and Information

A.	DETERMINING ECONOMIC VALUE

1.	Government-owned improvements located on land for which HHS has control and accountability may be destroyed after it has been determined that the improvement has no commercial value, or that the estimated cost for continued care, protection, and maintenance would exceed the estimated proceeds of its sale.  Improvements with no commercial value owned by the Government may also be abandoned on privately-owned property.

2.	No property shall be abandoned or destroyed until the above facts have been determined by a Board of Survey designated by the head of the office or installation having management responsibility for the property.  Any official who is directly accountable or responsible for the property shall not serve in any surveying capacity.  The survey should determine the original cost of the property (estimated if not known), the estimated cost to the Government for its protection and maintenance, and whether it is dangerous to public health or safety.

3	The criteria of health, safety, and security shall be interpreted literally.  Buildings and structures which either have structural defects or are contaminated to the extent that it is impracticable to make them safe or sterile for further use are examples of buildings not meeting these criteria.  The criteria are also applicable to related materials and equipment which have either been contaminated through use in connection with the treatment or research of infectious and contagious disease, or have been subjected to radiation to the extent that it is not practicable to sterilize or neutralize them.  The dictates of security policy or regulations require that such property be destroyed when it is no longer of any value or use for the purpose of which it was originally intended.

4	A Request for Transfer of Excess Real and Related Personal Property, in the format shown in Exhibit X5-1-B must be completed in each instance, initiated by the OPDIV, signed by the survey board members, and submitted to the individual delegated with disposal authority for a decision as to whether the property is dangerous to the extent of requiring special safeguards.  Based upon the recommendations of the survey board, the individual delegated with disposal authority will then decide whether the property should be retained, destroyed, or abandoned.  A copy of the approved Report of Survey will be furnished to the HHS agency.

5.	The completed Survey Report must be forwarded to GSA for concurrence when the property either (a) had an original cost of more than $50,000, (b) is of permanent type construction, or (c) would enhance the value of the underlying land, if retained.

6.	When abandonment or donation has been authorized, the OPDIV shall give public notice in accordance with the instructions in FMR 41 CFR 102-75.

B.	CUSTODY/ACCOUNTABILITY FOR EXCESS REAL PROPERTY

Once the Report of Excess is reviewed and accepted by the GSA, it will provide an acceptance date and a GSA Control number.

The HHS agency will be responsible for the expense of physical care, handling, protection, maintenance, and repair of excess and surplus real property, pending its transfer or disposal, for not more than 12 months plus the period to the first day of the succeeding quarter of the fiscal year after the date the property is accepted by GSA for disposition.  In the event the property is not transferred to a Federal agency or disposed of during that period, the expense of physical care, handling, protection, maintenance, and repair of such property thereafter will be assumed by GSA.  Guidelines for protection and maintenance contained in FMR 41 CFR 102-75 should be followed.  This responsibility will include the minimum services necessary to preserve the Government’s interest, and will continue to be exercised until the actual transfer or disposal of the property.

Excess real property which has been reported to and accepted by the GSA must remain in the HHS agency’s Real Property Inventory system until final disposition has been acknowledged by the GSA.

5-1-30	Reporting Requirements

When buildings or other improvements are excessed without the underlying land, an original only of SF 118 and SF 118A, Report of Excess Real Property, prepared in accordance with GSA instructions in FMR 41 CFR 102-75, will be submitted to OFMP.  The report will include a request, inserted in Block 18, that GSA acts as the disposal agency for the property and a statement that “This property has been screened against the known needs of the Department.”

The report will be reviewed by OFMP and screened against departmental requirements delineated in approved long-range facility plans.  If a requirement exists, the Deputy Assistant Secretary for Facilities Management and Policy will authorize transfer between the HHS Agencies.  When no departmental need is determined by the OFMP screening procedure, the Report of Excess will be directed to the appropriate GSA regional office in the required number of copies (original plus 4 copies).  The holding agency will be notified of this action by copy of the report.

Reports of excess property for lands which are under the custody and responsibility of the Department and which have been withdrawn or reserved from the public domain will follow the same procedures outlined in paragraph B. above, insofar as HHS and the agencies are concerned.  OFMP will file with the Department of the Interior the required notice of intention to relinquish the property, and will forward a copy of the notice to the appropriate GSA regional office.  The SF 118 will not be completed and processed unless the Secretary of the Interior, with concurrence of the Administrator of General Services, determines that the land is not suitable for return to the public domain.  See FPMR 101-47.202-6.

The following excess real property under the custody and responsibility of the Department is not required to be reported to GSA:

- Buildings or structures to be dismantled or removed to make way for new construction on the same site, provided the removal is incorporated in the new construction contract.

- Buildings or other structures for relocation to a new site where the land underlying the dismantled property is not excess.

Where Government-owned land is involved, the OPDIV will submit to OFMP an original of SF118 and schedules A, B, and C, as necessary, including legible copies of documents relating to the Government’s title to the land, base on the agency records.  Also required is a report which will contain all the information required in FPMR 107-47.202-2, including the legislative jurisdiction, if any, of the United States over the land, together with a citation of the basis of such jurisdiction.  The report must also certify that the facilities are in compliance with 40 CFR 761, “Polychlorinated Biphenyls (PCBs) Manufacturing, Processing, Distribution in Commerce, and Use Prohibitions.”  This rule severely restricts the use, handling, storage, and disposal of PCBs.

GSA Real Property Disposal Process as it Relates to the Environment

Step 1:  The holding agency declares the property excess.

Step 2:  The holding agency completes a National Environmental Policy Act (NEPA) analysis on the effect of its decision to declare the property excess.

Step 3:  The holding agency submits a Report of Excess (ROE) to GSA.  The ROE must include information about:

Hazardous substances, as defined by CERCLA

Underground Storage Tanks

Asbestos, Lead-Based Paint, Polychlorinated Biphenyls

Floodplains, Wetlands, Coastal Zone Management

Endangered Species

Historic and Cultural Resources

Step 4:  GSA will screen the property to determine if the property will be:

Transferred to another federal agency

Declared Surplus

Step 5:  If the property is declared surplus, then GSA must make a decision about a proper disposal action.  The property can be:

1.  Provided for public uses such as -

Correctional facility

Emergency management response

Homeless assistance

Historical monument

Law enforcement

Nonprofit educational institution

Nonprofit public health institution

Port facility

Public airport

Public park or recreation area

Self-help housing

Wildlife conservation

2.  Disposed of through a negotiated sale

3.  Disposed of through a public sale

Step 6:  GSA must complete a NEPA analysis on the effect of its proposed disposal action.

Step 7:  GSA must determine if the disposal action affects Floodplains, Wetlands, Endangered Species, Coastal Zone Management, or Historic and Cultural Resources.

Step 8:  GSA must include in the Invitation for Bid or in the conveyance document statements about the:

Presence of hazardous substances as defined by CERCLA

Presence of Underground Storage Tanks

Presence of Asbestos, Lead-Based Paint, Polychlorinated Biphenyls

Existence of Floodplains, Wetlands

Issues related to Coastal Zone Management, Endangered Species, or Historic and Cultural Resources

Section 5-2:	DECONTAMINATION

5-2-00	Policy

10	Procedures

20	Guidance and Information

30	(Reserved)

5-2-00	Policy

In HHS facilities where hazardous agents have been used, they must be decontaminated in accordance with applicable laws, regulations, and guidelines prior to disposal of the property.  Where hazardous materials were used in the construction, remodeling, or rehabilitation of the facility, those hazardous materials must also be disposed of if such action is required by applicable Federal and local laws and regulations.

A.	HAZARDOUS SUBSTANCES

The Comprehensive Environmental Response, Compensation, and Liability Act (CERCLA, 42 USC 9601 et seq.) and the National Oil and Hazardous Substances Pollution Contingency Plan (NCP, 40 CFR 300) establish the requirements and procedures for the cleanup of sites that have been contaminated by releases of hazardous substances.  Furthermore, CERCLA requires that a deed for federally owned property being transferred outside the government must contain a covenant that all remedial action necessary to protect human health and the environment has been taken, and that the United States shall conduct any additional remedial action "found to be necessary" after transfer.  Within the established restoration process, it is the OPDIV’s responsibility, in conjunction with regulatory agencies, to select cleanup levels and remedies that are protective of human health and the environment.  The environmental restoration process also calls for public participation, so that decisions can be made with the benefit of community input.

B.	ASBESTOS CONTAINING MATERIAL

HHS policy with regard to asbestos-containing material (ACM) is to manage ACM in a manner protective of human health and the environment, and to comply with all applicable federal, state, and local laws and regulations governing ACM hazards.  Therefore, unless it is determined by competent authority that the ACM in a property does pose a threat to human health at the time of transfer, all property containing ACM will be conveyed, leased, or otherwise disposed of “as is” through the transfer process.  Prior to property disposal, all available information on the existence, extent, and condition of ACM shall be incorporated into the Environmental Baseline Survey (EBS) report or other appropriate document to be provided to the transferee.

C.	LEAD-BASED PAINT

HHS policy with regard to lead-based paint (LBP) is to manage LBP in a manner protective of human health and the environment, and to comply with all applicable federal, state, and local laws and regulations governing LBP hazards.  The provisions of the Residential Lead-Based Paint Hazard Reduction Act of 1992 (Title X of P.L. 102-550) concerning the transfer of Federal property for residential use are applicable.  The Act also made Federal agencies subject to all federal, state, interstate, and local substantive and procedural requirements respecting LBP and LBP hazards (see 15 U.S.C. 2688).  Therefore, there may be more stringent local requirements applicable to Federal property transfers.

D.	RADON

In response to concerns with the potential health effects associated with radon exposure, and in accordance with the Indoor Radon Abatement provisions of Subchapter III of the Toxic Substances Control Act, Title 26 U.S.C. 2661 to 267, it is HHS policy to ensure that any available and relevant radon assessment data pertaining to property being transferred shall be included in property transfer documents.  However, it is not policy to perform radon assessment and mitigation prior to transfer of property unless otherwise required by applicable law.

E.	MERCURY

The Resource Conservation and Recovery Act requires the proper classification of hazardous waste prior to disposal.  Operations of the department have utilized mercury for various activities and due to the unique properties of mercury this compound typically is deposited under casework, temporary floors and other low lying areas.  Left unaddressed this material would end up in local landfills and incinerators.  Therefore it is HHS policy that mercury surveys and cleanup of contamination be preformed prior to disposal of space.

5-2-10	Procedures

OPDIVs must accurately identify all hazardous agents used in the facility as well as all hazardous materials used in construction or any other subsequent remodeling or rehabilitation of the facility.  OPDIVs must decontaminate the facility in accordance with all Federal and local government laws and regulations and industry standards for the neutralization, destruction, removal, or disposal of hazardous agents and hazardous materials in accordance with Federal and local government laws and regulations prior to disposal of the facility.  (In some cases, the law may allow transfer of a property without removal of certain hazardous materials.  For example, it is normally not required to remove asbestos that is in good condition (intact) and non-friable.  However, at a minimum there are probably legal requirements to identify that asbestos is present.).

5-2-20	Guidance and Information

A.	HAZARDOUS AGENTS

Major Agent Categories as defined by the National Library of Medicine (NLM) include: Biological Agents, Metals, Mineral Dusts, Nitrogen Compounds, Other Chemicals, Pesticides, Plastics & Rubber, Solvents, and Toxic Gases & Vapors.  A recommended source of excellent specific information is the NLM internet link at http://hazmap.nlm.nih.gov/.)  The following list includes some of the types of hazardous agents that may be found in HHS facilities.

- Blood borne Pathogens.

- Indigenous moderate risk agents (e.g. Hepatitis B Virus, Salmonellae, Toxoplasma spp.).

- Indigenous or exotic agents with a potential for respiratory transmission which may cause serious and potentially lethal infection (e.g. Mycobacterium Tuberculosis, St. Louis Encephalitis Virus).

- Dangerous and exotic agents which pose a high individual risk of life-threatening disease which may be transmitted via the aerosol rate, and for which there is no available vaccine or therapy.

- Recombinant DNA.

- Chemicals including carcinogens, compressed gases, corrosives, explosives, flammables, irritants, lacrimators, mutagens, oxidizers, and stench, toxins.

- Radioactive Materials.

- Building Materials, such as asbestos and lead.

B.	Biohazards and principles of biosafety

The term "containment" is used in describing safe methods for managing infectious materials in the laboratory environment with the intent to reduce or eliminate exposure of laboratory workers, other persons, and the outside environment to potentially hazardous agents.

- Primary containment - the protection of personnel and the immediate laboratory environment from exposure to infectious agents, is provided by both good microbiological technique and the use of appropriate safety equipment.

- Secondary containment, the protection of the environment external to the laboratory from exposure to infectious materials, is provided by a combination of facility design and operational practices.

- The three elements of containment include laboratory practice and technique, safety equipment, and facility design.  The risk assessment of the work to be done with a specific agent will determine the appropriate combination of these elements.

Facility Design and Construction (Secondary Barriers) commensurate with the laboratory's function and the recommended biosafety level (BSL) for the agents being manipulated, contributes to the laboratory workers' protection, provides a barrier to protect persons outside the laboratory, and protects persons or animals in the community from infectious agents which may be accidentally released from the laboratory.

- Biosafety Level 1 represents a basic level of containment that relies on standard microbiological practices with no special primary or secondary barriers recommended, other than a sink for hand washing.

- Biosafety Level 2 practices, equipment, and facility design and construction are applicable to clinical, diagnostic, teaching, and other laboratories in which work is done with the broad spectrum of indigenous moderate-risk agents that are present in the community and associated with human disease of varying severity.

- Biosafety Level 3 practices, safety equipment, and facility design and construction are applicable to clinical, diagnostic, teaching, research, or production facilities in which work is done with indigenous or exotic agents with a potential for respiratory transmission, and which may cause serious and potentially lethal infection.

- Biosafety Level 4 practices, safety equipment, and facility design and construction are applicable for work with dangerous and exotic agents that pose a high individual risk of life-threatening disease, which may be transmitted via the aerosol route and for which there is no available vaccine or therapy.

Personnel requiring authoritative information, guidance, and procedures for controlling the risks associated with biohazards should refer to the latest edition of CDC/NIH "Biosafety in Microbiological and Biomedical Laboratories”.

C.	ASBESTOS

Asbestos-containing material shall be remediated prior to property disposal only if it is of a type and condition that is not in compliance with applicable laws, regulations, and standards, or if it poses a threat to human health at the time of transfer of the property.  This remediation may be accomplished by the transferee under a negotiated requirement of the contract for transfer, sale, or lease.  The remediation discussed above will not be required when the buildings are scheduled for demolition by the transferee; the transfer document prohibits occupation of the buildings prior to the demolition; and the transferee assumes responsibility for the management of any ACM in accordance with applicable laws.

D.	LEAD BASED PAINT

The provisions of the Residential Lead-Based Paint Hazard Reduction Act of 1992 (Title X of P.L. 102-550) are applicable to target housing (housing constructed prior to 1978), with limited exceptions for housing for the elderly or persons with disabilities or any 0-bedroom dwelling.

- Target housing constructed after 1960 and before 1978 must be inspected for LBP and LBP hazards.  The results of the inspection must be provided to prospective purchasers or transferees of property, identifying the presence of LBP and LBP hazards on a surface-by-surface basis.  There is no Federal LBP hazard abatement requirement for such property.  In addition, prospective transferees must be provided a lead hazard information pamphlet and the contract for sale or lease must include a lead warning statement.

- Target housing constructed before 1960 must be inspected for LBP and LBP hazards, and such hazards must be abated.  The results of the LBP inspection will be provided to prospective purchasers or transferees of property identifying the presence of LBP and LBP hazards on a surface-by-surface basis and a description of the abatement measures taken.  In addition, prospective transferees must be provided with a lead hazard information pamphlet and the contract for transfer must include a lead warning statement.

The inspection and abatement discussed above will not be required when the building is scheduled for demolition by the transferee and the transfer document prohibits occupation of the building prior to the demolition, or if the building is scheduled for non-residential use.

Section 5-3	MOTHBALLING/WINTERIZATION OF VACANT BUILDINGS

5-3-00	Policy

10	Procedures

20	Guidance and Information

30	(Reserved)

5-3-00	Policy

Vacant HHS property and buildings shall be protected and secured from the weather, unauthorized use, and vandalism.

5-3-10	Procedures

A.	Winterization

All water should be drained from plumbing systems and equipment.  All plumbing traps should be filled with antifreeze.  All openings subject to air and water infiltration should be covered.

B.	Protection

All openings to vacant HHS buildings should be locked and secured.  The area around vacant buildings should be fenced and secured.  Periodic inspections of vacant HHS facilities should be conducted.

5-3-20	Guidance and Information

When vacating leased HHS Facilities, the OPDIV or GSA should remove all Government property and improvements.  The Existing Condition Survey will be the basis for determining the Government’s responsibility at the termination of the lease.  See also the discussion in Chapter 5 about “Vacating the Premises (Actions when Moving out of Expired or Terminated Leases).”

Section 5-4	Adaptive Reuse of HHS Facilities

5-4-00	Policy

10	Procedures

20	Guidance and Information

30	(Reserved)

5-4-00	Policy

Prior to excess or disposal of an HHS facility, the OPDIV shall evaluate to determine if the facility can be adapted to meet mission dependent functions.  If the OPDIV cannot use the facility to meet OPDIV mission dependent functions, then the OPDIV shall afford the opportunity to HHS to determine if there is another OPDIV or HHS that can adapt and reuse the facility to meet their mission dependent program(s).

5-4-10	Procedures

The OPDIV should develop a draft program document that addresses the following factors:

- Ability to meet the requirements in the draft programmatic document;

- Adequate Space to Meet the Requirements;

- Configuration of Space to Meet the Requirements (i.e. functional and adjacency requirements.  If there is a need for the space to be contiguous, it should be required in the draft programmatic document.  The efficiency of circulation between and within space should be considered);

- Adequate Structural Capacity (i.e. the structural system of the building must be able to accommodate OPDIV or HHS mission dependent needs with respect to load capacity and column spacing);

- Adequate Building Systems (i.e. HVAC, plumbing, fire protection, electrical, and communications systems must be adequate to meet OPDIV or HHS mission dependent needs);

- The Ability to Deliver a Turnkey Facility in accordance with the Government’s Requirements (i.e. minimum construction needed to meet the OPDIV and HHS requirements, least amount of construction is desirable to allow the new user to occupy the space sooner at a lower cost); and

- Consideration should be given to the ability to deliver the space at the earliest possible date in a cost efficient manner.

5-4-20	Guidance and Information

Many types of buildings (such as laboratories, warehouse, retail, etc.) can be converted into office space.

Adaptive Reuse Suggestions

| Current Use | Potential Uses | Limiting Factors |
| --- | --- | --- |
| Laboratories | Office Space |  |
| Instrument Labs | Warehouse*, Education Space, Conference Space, Fitness Centers, and Office Space | *Structural loads are critical |
| Hospital/Clinics | Laboratories*, Office Space | *Must be able to accommodate a lab module of 11’-0 x 22’-0” |
| Warehouse | Laboratories*, Libraries, Education Space, Fitness Centers, Conference Space, and Office Space |  |

Section 5-5	Evaluation of DisposAL Properties Offered for HHS Use

5-5-00	Policy

10	Procedures

20	Guidance and Information

30	(Reserved)

X5-5-A	Suggested Site Evaluation Factors

X5-5-B	Site Utilities Checklist

X5-5-C	Individual Building Checklist

5-5-00	Policy

HHS will evaluate real property to be disposed of by other Federal Agencies to determine its suitability to meet HHS requirements and for possible transfer and reuse by HHS.

5-5-10	Procedures

Under the direction of OFMP, HHS ad-hoc evaluation teams will be formed to evaluate properties being disposed of by other Federal agencies to determine their potential for HHS use and make recommendations to the Secretary as to whether HHS should pursue a request for transfer of the real property that is excess to another agency’s needs.

5-5-20	guidance and Information

The following exhibits may be used and modified as appropriate by the ad-hoc teams in evaluation of disposed Federal real property for HHS use:

X5-5-A…..Suggested Site Evaluation Factors

X5-5-B…..Site Utilities Checklist

X5-5-C…..Individual Building Checklist

Suggested SITE evaluation Factors

A.	Ability to meet the Function as Intended

1.	Adequate Space to Meet the Requirements-
There must be adequate space to meet HHS needs

2.	Configuration of Space to Meet the Requirements-
The space meets HHS’s functional and adjacency requirements.  The efficiency of circulation between and with space should be considered.

3.	Adequate Structural Capacity-
The structural system of the property must be able to accommodate HHS needs.  Unusual HHS structural requirements should be considered and evaluated.

4.	Adequate Building Systems-
The building systems (i.e. HVAC, plumbing, fire protection, electrical and communications systems) must be adequate to meet HHS’s needs.  Unusual HHS building systems requirements should be considered and evaluated.

B.	Ability to Deliver a Turnkey Facility in Accordance with the Government’s Requirements

1.	Minimum construction needed to meet the Government’s Requirements-
Facilities that meet the requirements “as is” or with the least amount of construction are desirable because it will allow the HHS to occupy the space soon after transfer or purchase.

2.	Opportunities with earliest delivery date or availability coincident with timing of requirement-
Consideration should be given to the ability to deliver the space at the earliest possible date in a cost efficient manner.

C.	Transportation

1.	Highway Access-
The property should be located on or very close to an arterial street as defined by the local planning jurisdiction.

2.	Parking-
The property should be located in an area where there is adequate parking for HHS staff.

3.	Public Transportation-
The property should be located within 2,500 feet walking distance to mass transit.

4.	Pedestrian Traffic-
The property should be accessible to pedestrians without major conflicts with vehicular and service traffic.

5.	Emergency Access-
All occupied structures on the property should be accessible on all sides to emergency response vehicles and personnel.

6.	Service Access-
The property should be accessible to service vehicles and have adequate loading docks to accommodate the needs of HHS mission.

7.	Architectural and Transportation Barriers-
The property should be accessible to persons with disabilities free of architectural and transportation barriers in accordance with the Americans with Disabilities Act and/or state or local regulations and laws.

D.	Neighborhood Amenities

1.	Eating Establishments-
The property should be in close proximity to eating establishments (within a ___ minute walking distance).

2.	Shopping-
The property should be in close proximity to shopping facilities.

3.	Postal Services-
The property should be in close proximity to postal services.

4.	Healthcare-
The property should be in close proximity to healthcare facilities.

5.	Quality-
The property should be located in a neighborhood that is well maintained and free of blight.

6.	Other

E.	Energy

1.	Energy efficient construction, equipment and fixtures-
The buildings on the property should be constructed to meet federal energy requirements in accordance with the Energy Policy Act of 1992.

F.	Security

1.	Site Security-
The property should have the ability to implement security requirements in accordance with the Vulnerability Assessment of Federal Facilities report of the U.S. Department of Justice, June28, 1995 or other applicable Federal policy.

a.	Grouping of Structures-
The grouping of structures should reinforce associations of mutual benefit.  There should be delineated paths of movement; there should be defined areas of activity for particular users through their juxtaposition with internal work areas, and provides for natural opportunities for visual surveillance.  The grouping of buildings should promote a clear understanding of the function of the space.

b.	Visibility of Streets and Open Space-
Streets and open spaces should be visible from the workspace within the property.  Building entrances and lobbies should be visible from the street.

c.	Subdivision of the Site-
The site should be subdivided so that all of its areas relate to a particular building or group of buildings.  The area surrounding a building should be perceived by occupants as an outdoor extension of their workspace.  As such, it comes under their continued use and surveillance.  Persons using those areas should feel they are under the natural observation of their co-workers.

d.	No Unassigned Areas-
No area should be unassigned or simply left “public”.  Outdoor space should be allocated to specific buildings or building clusters.

e.	Boundaries-
Physical barriers or symbolic barriers should define the property’s boundaries.  The barriers should separate public from semi-public areas of the property, provide transition from outdoors to indoors, divide the semi-public space of building lobby from the corridors.

f.	Physical Barriers-
The property should feature physical barriers such as fences, walls and berms that limit access to facilities by unauthorized persons.  Certain areas such as maintenance yards, hazardous material storage, etc. will require fencing.

g.	Symbolic Barriers-
The property should feature symbolic barriers such as plants, low walls, doors, berms, change in level, and security desks that will discourages unauthorized entry by making distinctions between the occupants and the visitor.  The use of symbolic barriers should not limit or block emergency access or access to emergency systems such as fire hydrants, electric disconnects switches, and gas shut-off valves.

h.	Surveillance-
The buildings and structures on the property should promote the ease of surveillance by staff and security personnel.  The surveillance system should be obvious to make a potential intruder aware that any overt act or suspicious behavior will come under the scrutiny of the facility’s occupants.

G.	Absence of Environmental Impacts.

1.	Air Quality - The building systems or operations should not affect air quality.

2.	Hazardous Waste - The site should be free of medical pathological waste, radioactive materials, chemicals, lead, asbestos and other hazardous materials.

3.	Storage Tanks - The site should be free of underground storage tanks.

4.	Abandoned Storage Tanks - The site should be free of abandoned tanks.

5.	Electrical Transformers - Transformers and other electrical equipment should be free of PCBs.

6.	Sewage Treatment - On-site sewage treatment plants should have permit to operate and comply with EPA Standards.

7.	Sanitary Landfill - On-site landfills have a permit to operate and adequate drainage.

If the site adversely affects the environment, who will be responsible for mitigating environmental impacts once HHS takes possession?

H.	Historic Preservation

1.	Properties eligible or listed on National Register for Historic Places - Are historic properties identified?  Will historic properties affect HHS or OPDIV missions?  Can the loss of historic property be mitigated by documentation or other consideration?

SITE UTILITIES Check List

1.	Domestic Water Supply

a.	Domestic Water Source:			___________________________

b.	Adequate Water Pressure:			Yes ( )   No ( )

c.	Service Meter:				Individual ( ) Master ( )

d.	On site water treatment Plant: 	Yes ( )   No

e.	Quality of Water:				Excel ( ) Good ( ) Fair ( ) Poor ( )

f.	Distribution System Condition:		Excel ( ) Good ( ) Fair ( ) Poor ( )

g.	Maintenance Responsibility:		___________________________

h.	Storage Underground:			_________ Gallons

i.	Storage Aboveground:			_________ Gallons

j.	Domestic water Supply Comments:

2.	Sanitary Sewer System-Collection:

a.	Sewer System:				___________________________

b.	Sewer System Type:			___________________________

c.	Sewer Piping Condition:			Excel ( ) Good ( ) Fair ( ) Poor ( )

d.	Maintenance Responsibility:		___________________________

3.	Treatment:

a.	On-Site Sewage Treatment Plant:	Yes ( )   No ( )

b.	Plant Type:					___________________________

c.	Plant Capacity:				___________ Gallons per day

d.	Plant Capacity Adequate:			Yes ( )   No ( )

e.	Maintenance Responsibility:		___________________________

f.	Plant Condition:				Excel ( ) Good ( ) Fair ( ) Poor ( )

g.	Sanitary Sewer Comments:

4.	Storm Drainage:

a.	Drainage System Type:			___________________________

b.	Downspouts or Roof Drains:		Yes ( )   No ( )

c.	Site Grading System Adequate:		Yes ( )   No ( )

5.	Heating

a.	District Heating:				Yes ( )   No ( )

b.	Type:						___________________________

c.	Steam Boiler Type(s):

d.	Fuel:						___________________________

e.	Adequate Capacity:			Yes ( )   No ( )

f.	Condition of Boilers/Equipment:	Excel ( ) Good ( ) Fair ( ) Poor ( )

g.	Condition of Distribution Sys.:	Excel ( ) Good ( ) Fair ( ) Poor ( )

h.	Individual Building Systems:		Yes ( )   No ( )

i.	Type:						___________________________

j.	fuel:						___________________________

k.	Heating Comments:

6.	Cooling

a.	District Cooling:				Yes ( )   No ( )

b.	Type:						___________________________

c.	Chiller Type(s):				___________________________

d.	Fuel:						___________________________

e.	Adequate Capacity:			Yes ( )   No ( )

f.	Condition of Chiller/Equipment:	Excel ( ) Good ( ) Fair ( ) Poor ( )

g.	Condition of Distribution Sys.:	Excel ( ) Good ( ) Fair ( ) Poor ( )

h.	Individual Building Systems:		Yes ( )   No ( )

i.	Type:						___________________________

j.	fuel:						___________________________

k.	Cooling Comments:

7.	Natural Gas

a.	Gas Company:				___________________________

b.	Available:					Yes ( )   No ( )

c.	Interruptible:				Yes ( )   No ( )

d.	Adequate Capacity:			Yes ( )   No ( )

e.	Condition of Distribution Sys.:	Excel ( ) Good ( ) Fair ( ) Poor ( )

f.	Maintenance Responsibility:		___________________________

8.	Electrical Service

a.	Electric Company:				___________________________

b.	Primary Service Characteristics:	___________________________

c.	Primary Service Distribution:		Underground ( ) Above ground ( )

d.	Substations					Yes ( )   No ( )

e.	Transformer Ownership:			___________________________

f.	Transformer Primary Voltage Rating:	___________________________

g.	Transformer KVA Rating(s):		___________________________

h.	Transformer Cooling:			___________________________

i.	Transformer PCBs:				Yes ( )   No ( )

j.	Transformer Mounting:			Pole ( ) Pad ( ) Platform ( )  Vault ( )

k.	Secondary Service Characteristics:	___________________________

l.	Secondary Service Distribution:	Underground ( ) Above ground ( )

m.	On-site Distribution Ownership:       		___________________________

n.	Maintenance Responsibility:		___________________________

o.	Electric System Adequate?		Yes ( )   No ( )

p.	Electric System Condition:		Excel ( ) Good ( ) Fair ( ) Poor ( )

r.	Electric Meters				Primary ( ) Secondary ( )
Individual-Buildings( ) Master( )

9.	Telephone Service:

a.	Telephone Company:			___________________________

b.	Incoming Telephone Service:		Underground ( ) Above ground ( )

c.	On-site Telephone Distribution:	Underground ( ) Above ground ( )

d.	Telephone Equipment Location:		___________________________

e.	Telephone System Adequate?		Yes ( )   No ( )

f.	Telephone System Condition:		Excel ( ) Good ( ) Fair ( ) Poor ( )

g.	Pay Telephones for the Public:		Yes ( )   No ( )

10.	Communications and Signals:

a.	Types:					___________________________

b.	On-site Distribution:			Yes ( )   No ( )

c.	Equipment Location:			___________________________

d.	System Adequate:				Yes ( )   No ( )

e.	System Condition:				Excel ( ) Good ( ) Fair ( ) Poor ( )

f.	P/A system:					Yes ( )   No ( )

11.	Site Lighting:

a.	Luminaire Type:				___________________________

b.	Mounting:					Pole ( ) Building ( ) Other ( )

c.	Lighting Control:				___________________________

d.	Equipment Ownership:			___________________________

e.	Maintenance Responsibility:		___________________________

f.	Lighting Adequate?			Yes ( )   No ( )

g.	Equipment Condition:			Excel ( ) Good ( ) Fair ( ) Poor ( )

12.	Miscellaneous Site Utilities:

a.	Types:					___________________________

b.	On-site Distribution:			Yes ( )   No ( )

c.	Equipment Location:			___________________________

d.	System Adequate:				Yes ( )   No ( )

e.	System Condition:					Excel ( ) Good ( ) Fair ( ) Poor ( )

Individual BUILDING Check List

1.	Number:				__________________________

2.	Building Name:			__________________________

3.	Function:				__________________________

A.	GENERAL:

1.	Number of Floors:			______________

2.	Gross Square Feet:		______________

3.	Net Usable Square Feet:		______________

4.	Construction Date:		______________

5.	General Condition:		Excel ( ) Good ( ) Fair ( ) Poor ( )

6.	Special Function:			Yes ( )   No ( )

7.	Use Group:				A( ) B( ) E( ) F( ) H( ) I( ) M( ) R( ) S( ) U( )

8.	Construction Type:		1( ) 2( ) 3( ) 4( ) 5( )

9.	Accessibility:			Full( ) Limited( ) Not Accessible( )

10.	Historic Significance:		Yes ( )   No ( )

11.	Historic Eligibility:		Yes ( )   No ( )

12.	Optimum Use:			Yes ( )   No ( )

13.	Adaptable Reuse:			Yes ( )   No ( )

14.	Hazardous Material:		Yes ( )   No ( )

B.	ARCHITECTURAL/STRUCTURAL:

Structural System:		Concrete Frame( ) Steel Frame( ) Wood Frame( )
Masonry Load Bearing( ) Mixed( )

Condition:				Excel ( ) Good ( ) Fair ( ) Poor ( )

Remarks:				________________________________________

Exterior Material:		Brick( ) CMU( ) Metal( ) Vinyl Siding( )
Aluminum Siding( ) Wood( ) Glass( )
Asbestos Cement Shingles( ) Other:___________

Condition:				Excel ( ) Good ( ) Fair ( ) Poor ( )

Remarks:				________________________________________

Roof Structure:			Concrete Slab( ) Concrete Shell( ) Steel Truss( )
Steel Deck( ) Wood Truss( ) Wood Rafter( )
Other:______________________

Condition:				Excel ( ) Good ( ) Fair ( ) Poor ( )

Remarks:				________________________________________

Roof Type:				Flat( ) Gable( ) Gambrel( ) Hip( ) Vault( )
Mansard( ) Saw tooth( ) Dutch Hip( )
Other:______________________

Condition:				Excel ( ) Good( ) Fair ( ) Poor ( )

Remarks:				________________________________________

Roofing Material:			EDPM( ) Built-up-roofing( ) IRMA( )
Asphalt Shingles( ) Slate( ) Wd Shingles( )
Terra-cotta Tile( ) Metal( ) Other:_____________

Condition:				Excel ( ) Good ( ) Fair ( ) Poor ( )

Remarks:				________________________________________

Roof Drainage:			Interior Roof Drains( )  Gutter & Down spouts( )
Other:_____________

Condition:				Excel ( ) Good ( ) Fair ( ) Poor ( )

Remarks:				_________________________________________

Floor Construction:		Conc 1-way( ) Conc. 2-way( ) Conc. Flat Slab( )
Conc. Joist( )  Conc. Flat Plate Slab( ) Steel Joist( )
Wood Joist( ) Other:________________________

Penetration sealed with approved 
fire-stopping material:			Yes ( )   No ( )

Condition:				Excel ( ) Good ( ) Fair ( ) Poor ( )

Remarks:				_________________________________________

Window Type:			Wd. Double Hung ( ) Wd. Casement( )  Wd. Hoper( )
Wd. Fixed ( ) Wd. Sliding( ) Met. Casement( )
Met. Hoper ( ) Met. Awning( ) Met. Sliding( )
Met. Fixed ( ) Met. Jalousie( ) Other:___________

Condition:				Excel ( ) Good ( ) Fair ( ) Poor ( )

Remarks:				_________________________________________

Window Frame:			Hollow Metal( ) Aluminum( ) Wood( )
Other:____________________________________

Condition:				Excel ( ) Good ( ) Fair ( ) Poor ( )

Remarks:				_________________________________________

Window Glazing:			Single Pane( ) Double Glazed( ) Triple Glazed( )
Other:______________________

Condition:				Excel ( ) Good ( ) Fair ( ) Poor ( )

Remarks:				_________________________________________

Interior Door Type:		H.M.( ) H.C. Wd.( ) Solid Wd.( )  Fire Rated door ( )
Other:_______________________

Condition:				Excel ( ) Good ( ) Fair ( ) Poor ( )

Remarks:				_________________________________________

Interior Door Frame:		H.M( ) Wood( ) Alum( ) Fire Rated Assembly( )
Other:______________________

Condition:				Excel ( ) Good ( ) Fair ( ) Poor ( )

Exterior Door Type:		I-Met( ) Wood( ) Alum Store Front( ) Glass( )
Met Roll-up( ) Met O/Head( ) Other: ___________

Automatic Devices:		Yes ( )   No ( )

Condition:				Excel ( ) Good ( ) Fair ( ) Poor ( )

Exterior Door Frame:		H.M.( ) Wood( ) Alum( ) Met( ) Other: _________

Condition:				Excel ( ) Good ( ) Fair ( ) Poor ( )

Wall Insulation:			Batt( ) Rigid( ) Other: _______________________

Adequate:				Yes ( )   No ( )

Roof Insulation:			Batt( ) Rigid( ) Blown-in( ) Other: ________________

Adequate:				Yes ( )   No ( )

Floor Finishes:			Brick( ) Wood( ) Conc( ) Stone( ) VAT( ) 
Quarry Tile( ) Ceramic Tile( ) VCT( ) Epoxy( ) Carpet( )
Other______________________

Condition:				Excel ( ) Good ( ) Fair ( ) Poor ( )

Wall Finishes:			Brick( ) Wood Panel( ) Stone( ) Conc( ) Ptd D.W.( )
Ptd CMU( ) Wall Covering( )  Plaster( ) Ceramic tile( )
Glazed CMU( ) Epoxy( ) Other:__________________

Condition:				Excel ( ) Good ( ) Fair ( ) Poor ( )

Ceiling Finishes:			Lay-in Acoustical Tile( ) Ptd D.W.( )
Lay-in Mylar Face Tile( ) Plaster( ) Epoxy( )
Other:______________________________

Condition:				Excel ( ) Good ( ) Fair ( ) Poor ( )

BUILDING DESCRIPTIONS (PLUMBING)

Cold Water Distribution:		Copper( ) Brass( ) PVC( ) CPVC( ) Steel( ) 	Other:_____________________________

Condition:				Excel ( ) Good ( ) Fair ( ) Poor ( )

Adequate:				Yes ( )   No ( )

Hot Water Distribution:		Copper( ) Brass( ) PVC( ) CPVC( ) Steel( ) Other:_____________________________

Condition:				Excel ( ) Good ( ) Fair ( ) Poor ( )

Adequate:				Yes ( )   No ( )

Sanitary Waste:			Cast Iron( ) PVC ( ) Other:______________________

Condition:				Excel ( ) Good ( ) Fair ( ) Poor ( )

Adequate:				Yes ( )   No ( )

Contamination Protection:	Yes ( )   No ( ) Type ___________________________

Adequate:				Yes ( )   No ( )

Water Treatment:			Yes ( )   No ( ) Type ___________________________

Adequate:				Yes ( )   No ( )

Plumbing Fixtures:		Lavatories( ) Work Sink( ) Urinals( ) Other:_________

Water Closet Type:		Flush Valve( ) Tank( ) Other: ____________________

Condition:				Excel ( ) Good ( ) Fair ( ) Poor ( )

Adequate:				Yes ( )   No ( )

Domestic Hot Water Heater:	Gas( ) Electric( ) Heat Exchanger( ) Other: _________

Condition:				Excel ( ) Good ( ) Fair ( ) Poor ( )

Adequate:				Yes ( )   No ( )

Drinking Fountains:		Yes ( )   No ( )

Condition:				Excel ( ) Good ( ) Fair ( ) Poor ( )

Adequate:				Yes ( )   No ( )

Electric Water Coolers:		Yes ( )   No ( )

Condition:				Excel ( ) Good ( ) Fair ( ) Poor ( )

Adequate:				Yes ( )   No ( )

Grease Interceptor:		Yes ( )   No ( )

BUILDING DESCRIPTIONS (HVAC)

Heat Distribution:		Ducted Supply( ) Ducted Return( ) Plenum( )
Piped Supply( ) Piped Return( ) Other:_____________

Number of Zones Served:		____

Adequate:				Yes ( )   No ( )

AC Distribution:			Ducted Supply( ) Ducted Return( ) Plenum( )
Piped supply( ) Piped Return( ) Other:_____________

Number of Zones Served:		____

Adequate:				Yes ( )   No ( )

Ventilation System:		Operable Windows( ) Exhaust Fans( ) Other:________

Adequate:				Yes ( )   No ( )

Filtered:				Yes ( ) Type______________   No ( )

Adequate:				Yes ( )   No ( )

Smoke Management System 		Yes ( )   No ( )

Adequate				Yes ( )   No ( )

Heating Elements:			Elec. Finned Tube( ) Hot Water Finned Tube( ) 
Steam Finned Tube( ) Hot Water Radiators( )
Steam Radiators( ) Hot Water Fan Coil Units( )
Steam Fan Coil Units( ) Electric Coil Units( ) 
Gas-Fired Furnace( ) Oil-Fired Furnace( ) 
Electric Furnace( ) Hot Water Coil AHU( ) 
Steam Coil AHU( ) Electric AHU( ) Heat Pump( ) 
Hot Water Unit Heater( ) Steam Unit Heater( ) 
Electric Unit Heater( ) Other:_____________________

Condition:				Excel ( ) Good ( ) Fair ( ) Poor ( )

Adequate:				Yes ( )   No ( )

Cooling Elements:			Water-Cooled Package Units( ) 
Air-Cooled Package Units( ) 
Water-Cooled Rooftop Units( )
Air- Cooled Rooftop Units( ) Heat Pump( )
Chilled Water AHU( ) DX Coil AHU( ) Widow Units( )
Other:_______________________________________

Condition:				Excel ( ) Good ( ) Fair ( ) Poor ( )

Adequate:				Yes ( )   No ( )

Controls:				VAV( ) Constant Volume( ) Other:______________

Condition:				Excel ( ) Good ( ) Fair ( ) Poor ( )

Adequate:				Yes ( )   No ( )

BUILDING DESCRIPTIONS (ELECTRICAL)

Service Entrance Equipment Type:	__________________________________________

Electrical Characteristics:	__________________________________________

Distribution Equipment:		Panel-Boards( ) Load Centers( ) Other:_____________________________________

Distribution Devices:		Circuit Breakers( ) Fuse( ) Other:_______________

Adequate:				Yes( )   No( )

Conduit:				Rigid Steel( ) Metal( ) FMC( ) BX( ) EPC( ) EPT( )
Non-Met Sheathed Cable( ) Other:______________

Condition:				Excel ( ) Good ( ) Fair ( ) Poor ( )

Receptacles:			Grounded ( ) Not Grounded ( )

Condition:				Excel ( ) Good ( ) Fair ( ) Poor ( )

Adequate:				Yes ( )   No ( )

Special Purpose Receptacles:	__________________________________________

Condition:				Excel ( ) Good ( ) Fair ( ) Poor ( )

Adequate:				Yes ( )   No ( )

Illumination:

Fixture:				Incandescent( ) Fluorescent( ) Other:_____________

AREA				Type		Mounting	Condition

_________________	________		________	_______________________

_________________		________	________	_______________________

_________________		________	________	_______________________

_________________		________	________	_______________________

BUILDING DESCRIPTION (TELEPHONE/COMMUNICATIONS)

Telephone System:			___________________________________________

Condition:				Excel ( ) Good ( ) Fair ( ) Poor ( )

Adequate:				Yes ( )   No ( )

Security System:			___________________________________________

Condition:				Excel ( ) Good ( ) Fair ( ) Poor ( )

Adequate:				Yes ( )   No ( )

Computer System:			__________________________________

Condition:				Excel ( ) Good ( ) Fair ( ) Poor ( )

Adequate:				Yes ( )   No ( )

Central Fire Alarm:		Yes ( )   No ( )

Condition:				Excel ( ) Good ( ) Fair ( ) Poor ( )

Adequate:				Yes ( )   No ( )

Disaster Warning System:		__________________________________

Condition:				Excel ( ) Good ( ) Fair ( ) Poor ( )

Adequate:				Yes ( )   No ( )

BUILDING DESCRIPTION (FIRE PROTECTION/FIRE SUPPRESSION)

Fire Extinguisher:		ABC( ) CO2( ) Other:__________________________

Condition:				Excel ( ) Good ( ) Fair ( ) Poor ( )

Adequate:				Yes ( )   No ( )

Automatic Fire Suppression:	Yes ( )   No ( )

Sprinkler System:			Wet ( ) Dry ( )

Condition:				Excel ( ) Good ( ) Fair ( ) Poor ( )

Adequate:				Yes ( )   No ( )

Stand Pipe System:		Wet ( ) Dry ( )

Condition:				Excel ( ) Good ( ) Fair ( ) Poor ( )

Adequate:				Yes ( )   No ( )

Fire Department Connection:	Siamese ( ) Other ( )

Condition:				Excel ( ) Good ( ) Fair ( ) Poor ( )

Adequate:				Yes ( )   No ( )

Fire Pump:				Yes ( )   No ( )

Condition:				Excel ( ) Good ( ) Fair ( ) Poor ( )

Adequate:				Yes ( )   No ( )

Emergency Lighting:		Battery Power( )  Selected Lighting w/Battery Packs ( )
Other:_______________________________________

Condition:				Excel ( ) Good ( ) Fair ( ) Poor ( )

Adequate:				Yes ( )   No ( )

Exit Signs:				Battery( ) Self-Power( ) Connected ( ) Line Voltage( )
Other:_______________________________________

Condition:				Excel ( ) Good ( ) Fair ( ) Poor ( )

Adequate:				Yes ( )   No ( )

Fire Alarm System:		Electrically Supervised( ) Zone( ) Code( )
Other:_______________________________________

Condition:				Excel ( ) Good ( ) Fair ( ) Poor ( )

Adequate:				Yes ( )   No ( )

Annunciator Panel:		Yes ( )   No ( )

Condition:				Excel ( ) Good ( ) Fair ( ) Poor ( )

Adequate:				Yes ( )   No ( )

Manual Pull Stations:		Yes ( )   No ( )

Condition:				Excel ( ) Good ( ) Fair ( ) Poor ( )

Adequate:				Yes ( )   No ( )

Audible Alarm:			Yes ( )   No ( )

Condition:				Excel ( ) Good ( ) Fair ( ) Poor ( )

Adequate:				Yes ( )   No ( )

Visual Alarm:			Yes ( )   No ( )

Condition:				Excel ( ) Good ( ) Fair ( ) Poor ( )

Adequate:				Yes ( )   No ( )

Smoke Detectors:			Yes ( )   No ( )

Condition:				Excel ( ) Good ( ) Fair ( ) Poor ( )

Adequate:				Yes ( )   No ( )

Heat Detectors:			Yes ( )   No ( )

Condition:				Excel ( ) Good ( ) Fair ( ) Poor ( )

Adequate:				Yes ( )   No ( )

Emergency Stand-by System:	Yes ( )   No ( )

Condition:				Excel ( ) Good ( ) Fair ( ) Poor ( )

Adequate:				Yes ( )   No ( )

UPS					Yes ( )   No ( )

Condition:				Excel ( ) Good ( ) Fair ( ) Poor ( )

Adequate:				Yes ( )   No ( )

Fire Depart Access:

Number of Sides Accessible	___________

Fire Engines			Yes ( )   No ( )

Ladder Trucks			Yes ( )   No ( )

Fire Fighter Access:

Fire Alarm Control Panel:	Yes ( )   No ( )

Sprinkler Control Valves		Yes ( )   No ( )

Fire Pump Control Valves		Yes ( )   No ( )

Standpipe Control Valves		Yes ( )   No ( )

Fire Pump Controller		Yes ( )   No ( )

BUILDING DESCRIPTION (CONVEYING SYSTEMS)

Elevator Type(s):			Electric( ) Hydraulic( ) Fright( ) Other:___________

Firefighters Service Requirements	Yes ( )   No ( )

Elevator Capacity:		______________

Condition:				Excel ( ) Good ( ) Fair ( ) Poor ( )

Adequate:				Yes ( )   No ( )

Escalators:				Yes ( )   No ( )

Condition:				Excel ( ) Good ( ) Fair ( ) Poor ( )

Adequate:				Yes ( )   No ( )

Pneumatic System:			Yes ( )   No ( )

Condition:				Excel ( ) Good ( ) Fair ( ) Poor ( )

Adequate:				Yes ( )   No ( )

Material Conveyers:		Yes ( )   No ( )

Condition:				Excel ( )  Good ( ) Fair ( ) Poor ( )

Adequate:				Yes ( )   No ( )

Hoist and Cranes:			Yes ( )   No ( )

Type(s):				Bridge( ) Trolley Hoist( ) Jib Crane( ) 
Movable Gantry( ) Stacker Crane( ) 
Scissor Lift( ) Vert. Pallet Lift( ) 
Cylinder Platform Lift( ) Other:______________