# Motion Control Standards

Frederick M. Proctor

John L. Michaloski

National Institute of Standards and Technology

100 Bureau Drive, Stop 8230

Gaithersburg, MD 20899-8230

Motion Control Standards Issues	3

Breadth of Domain	3

Market Dynamics	4

Market Dominance through Standardization	4

Formal Standardization	4

The Standards Landscape	5

Standards Bodies	5

IEC and ISO	5

ANSI	6

ISA	6

CEN and CENELEC	6

DIN	7

BSI	7

Standards	7

IEC 61158 (Fieldbus)	7

ISO 11898 (CAN)	8

DeviceNet	9

Smart Distributed System (SDS)	9

CANOpen	10

LonTalk	10

Seriplex	11

Profibus	11

ControlNet	12

Interbus	13

AS-Interface	13

SERCOS	13

MACRO	14

IEC 62026	15

EN 50325	15

EN 50170	15

EN 50254	16

Fieldbus Comparisons	16

Standards Glossary	18

# Introduction

Control of moving parts is basic to modern industry, supporting applications as varying as food processing, medicine, and aerospace manufacturing. Motion control has evolved from its origins in mechanical devices for regulating and transforming engine power, into today’s computers ranging in size from tiny embedded chips to networks of high-performance workstations. This evolution has enabled manufacturers to cut costs and improve quality by integrating motion control into the broader enterprise. Standards are playing an increasingly important role in this integration.

The primary goal of standardization is to enable interoperability of systems. These include physical equipment, such as motors, and also software, such as enterprise resource management programs. Because systems integration takes place vertically, so must standardization.

A problem faced today by users, vendors, and integrators of motion control technology is the profusion of standards. Deciding which to support needs to take into account technical requirements, market realities, and industry trends. The purpose of this report is to identify the issues in motion control standardization, and give an overview of the standards landscape.

# Motion Control Standards Issues

## Breadth of Domain

Motion control is a broad domain that spans a variety of applications, includes a wide range of technology, and is comprised of many different functions. Application demands range from simple position control of a single axis, through coordinated control of multiple axes, with cross coupling, dynamic compensation, and integration with process parameters. Motion control technology encompasses sensors for proximity, position, velocity, acceleration, and force, and actuators such as AC/DC rotary and linear motors, hydraulic or pneumatic pistons, piezoelectric or magnetostrictive actuators, and micro-electro-mechanical system (MEMS) devices. Motion control functionality ranges from control of the moving device itself through current or other motive forces at the microsecond time scale, through high-level programmed motion with time scales of minutes or longer, and all the stages in between. These many dimensions of motion control make standardization an unwieldy task, and the natural tendency to focus on particular problem areas has led to a proliferation of standards that are all related yet all different.

Table 1 shows motion control using conventional motors from the functionality point of view, as a hierarchy topped by high-level description of programmed motion and running down to the torque that moves the motors. Note that this table is specific to motor control, and does not apply to hydraulic cylinder control, for example. However, this functional viewpoint can be applied generally, where the appropriate functions are listed at each level.

| Level | Function | Description |
| --- | --- | --- |
| 10 | Program Control | Reading and interpreting a motion program |
| 9 | Move Sequencing | Determining when a motion element should be scheduled for execution |
| 8 | Profile Generation | Calculation of the move parameters |
| 7 | Trajectory Update | Calculation of an incremental position along the move profile |
| 6 | Position Loop | Closed loop control that tracks the trajectory point for a particular motor, and outputs a signal proportional to rate of change of motor motion |
| 5 | Velocity Loop | Closed loop control that tracks the resulting motor speed based on tachometer feedback |
| 4 | Commutation | Generating signals to motor poles for motor types that are not self-commutating |
| 3 | Current Loop | Converting rate of change to motor current, proportional to torque |
| 2 | Power Switching | Generating PWM signals that achieve motor torque |
| 1 | Torque | That which moves the motor |

Table 1. Hierarchy of Motion Control Functionality for Conventional Motors.

## Market Dynamics

Low costs for industrial automation can be achieved by using commodity hardware from the computing and communication markets. This is evidenced by the high level of interest in networks such as Ethernet, Universal Serial Bus (USB), and Firewire. The accompanying rapid pace of development in the computing and communication market also means that products will be available for desktop computers long before they appear in industrial control systems. However, the trend toward adopting desktop technology on the shop floor means that the industrial control market may be poised to benefit more quickly than it has in the past.

## Market Dominance through Standardization

Examples from the computing and communication industry have shown that vendors who offer up their proprietary solutions as standards reap the benefits of increased market share. This is especially true when established vendors align behind a single standard to position themselves ahead of their competition. Initially this is to the end user’s advantage, but the reaction among those vendors left out is to start a competing standard. The result is that the end users are no better off than before. A consequence of this proliferation of standards is the rise of users groups. One purpose of these groups is to decide which of the many applicable standards their members will support strategically. Effective user’s groups often include suppliers so that a reasonable agreement can be reached without causing turmoil in the market.

## Formal Standardization

Formal standardization through national or international standards bodies may be a route toward stability in the marketplace, but in some cases it has the reverse effect. This is the case with official, enforceable standards that are mandated by governments or other public agencies. In these cases, suppliers of nonconforming technologies are at a severe disadvantage. Recognizing this, standards bodies often write official standards with parts that include several competing technologies. This has the effect of leveling the market so that a single company or country is not given undue dominance. Unfortunately, it also means that end users who agree to a particular standard find themselves with incompatible solutions, each a part of the standard but no two which are interoperable.

# The Standards Landscape

## Standards Bodies

Through their committees, standards bodies initiate, develop, disseminate for voting, publish, and maintain standards. They range from national bodies, through regional bodies, to international bodies. Typically, a national body participates in regional or international bodies through a Technical Advisory Group (TAG).

### IEC and ISO

The International Electrotechnical Commission (IEC) is the world organization that prepares and publishes international standards for all electrical, electronic and related technologies. IEC membership consists of more than 50 countries. The IEC’s mission is to promote, through its members, international cooperation on all questions of electrotechnical standardization and related matters, such as the assessment of conformity to standards, in the fields of electricity, electronics and related technologies. The IEC charter embraces all electrotechnologies including electronics, magnetics and electromagnetics, electroacoustics, telecommunication, and energy production and distribution, as well as associated general disciplines such as terminology and symbols, measurement and performance, dependability, design and development, safety and the environment.

The International Organization for Standardization (ISO) is a worldwide federation of national standards bodies from some 130 countries, one from each country. The mission of ISO is to promote the development of standardization and related activities in the world with a view to facilitating the international exchange of goods and services, and to developing cooperation in the spheres of intellectual, scientific, technological and economic activity. ISO’s work results in international agreements that are published as International Standards.

Both IEC and ISO are organized into Technical Committees (TC), Subcommittees (SC), and Working Groups (WG) whose participants do the work of standardization.

IEC and ISO are made up of members that are the national body most representative of standardization in its country. Thus, only one body in each country may be admitted to membership. The U.S. member body of IEC and ISO is the American National Standards Institute (ANSI). ANSI designates Technical Advisory Groups (TAG) whose primary purpose is to develop and transmit the member’s positions on activities and ballots.

IEC and ISO differ in that IEC focus on electrical standards, and ISO focuses on mechanical standards. The difference between the two domains has blurred since the advent of computers and related electronic data standards. As a result, many standards are released with joint IEC/ISO designations.

IEC and ISO standards are designated with the prefix IEC or ISO, respectively, followed by the standard number.

Related Standards: ISO 11898 (CAN), IEC 61158 (Fieldbus), IEC 62026

Information: www.iec.ch, www.iso.ch

### ANSI

The American National Standards Institute (ANSI) is the administrator of the United States voluntary standardization system. ANSI facilitates development of American National Standards (ANSs) by establishing consensus among qualified groups. ANSI is the sole U.S. representative and dues-paying member of ISO and IEC, and accredits TAGs that serve these organizations.

Related Standards: ANSI/ISA-S50.02 (Fieldbus), ANSI/EIA 709.1 (LonTalk)

Information: www.ansi.org

### ISA

ISA is an international, nonprofit, educational organization founded in 1947 as the Instrumentation Society of America, but now known as the International Society for Measurement and Control. ISA fosters advancement in the theory, design, manufacture, and use of instruments, computers, and systems for measurement and control. ISA publishes Motion Control magazine.

ISA is an ANSI-accredited standards developer and its SP50 Subcommittee serves as the U.S. Technical Advisory Group for IEC SC65A/WG4, Interface Characteristics.

ISA standards are designated with the prefix ISA, followed by the standard number. ISA standards may be jointly published with ANSI or other organizations.

Related Standards: ANSI/ISA-S50.02 (Fieldbus)

Information: www.isa.org

### CEN and CENELEC

CEN (the European Committee for Standardization) and CENELEC (the European Committee for Electrotechnical Standardization) are the European equivalents of ISO and IEC, respectively. They are official standards bodies recognized by the European Commission, responsible for publishing standards for the European market.

With CEN, a procedure formalized as the Vienna Agreement allows CEN to decide case by case according to precise conditions to transfer the execution of European standards to ISO. Otherwise, a CEN Technical Committee is established with national delegations of experts convened by CEN members. The CEN TC must take into account any relevant work in ISO or elsewhere falling within its scope. The results of this work can then be offered to ISO once the CEN standard is complete.

With CENELEC, proposed standards originating in Europe are offered to IEC with the request that they be undertaken at international level. If IEC does not want to undertake the work, or if it cannot meet the target dates, the work commences at CENELEC for Europe. If IEC undertakes the work, parallel IEC/CENELEC procedures aim at identical worldwide and European standards. Once CENELEC work has commenced, all work on the same subject that may be taking place in individual European nations is immediately stopped.

CEN and CENELEC standards are designated with the prefix EN, followed by the standard number.

Related Standards: EN 50170, EN 50254, EN 50295, EN 50325

Information: www.cenorm.be, www.cenelec.org

### DIN

Deutsches Institut für Normung (DIN) is the German standards body that reports to CEN and CENELEC.

DIN standards are designated with the prefix DIN, followed by the standard number.

Related standards: DIN 19245 (Profibus), DIN 19258 (Interbus-S)

Information: www.din.de

### BSI

The British Standards Institution (BSI) is the United Kingdom’s official standards making body. Independent of government, industry and trade associations BSI is a non-profit distributing organization. BSI works with manufacturing and service industries, businesses and governments to facilitate the production of British, European and international standards.

BSI standards are designated with the prefix DD, followed by the standard number.

Related standards: DD 238 (Foundation Fieldbus), DD 241 (ControlNet)

Information: www.bsi.org.uk

## Standards

As a consequence of the breadth of the motion control domain, there is a profusion of standards. This would not present a problem if each standard covered a different part of motion control functionality, as exemplified in Table 1, but this is not a case. The value of the motion control and larger input/output device markets has led to companies positioning themselves for market dominance by offering their protocols as standards. As a result, there are incompatible standards that cover equivalent areas, such as device networks. This causes problems for buyers and suppliers alike. It is simply too costly to support all the standards.

Formal standardization would seem to solve the problem, but in some cases it has had the opposite effect. In Europe especially, where conforming to a standard is often a contractual requirement for public works projects, standards have arisen which simply include incompatible industry standards. This makes the problem worse: two users may each agree to use a single standard, but their systems will be incompatible.

### IEC 61158 (Fieldbus)

IEC 61158, “Fieldbus standard for use in industrial control systems,” is the culmination of over a decade’s worth of efforts to standardize a replacement for the analog 4-20 milliamp de facto standard for field wiring of input/output devices. IEC 61158 is the result of the merging of two previously incompatible fieldbus standards espoused by the Interoperable Systems Project (ISP) and WorldFIP groups. IEC 61158 is the responsibility of IEC Working Group SC65C, with the U.S. TAG IEC/ISA SP50 subcommittee. The Fieldbus Foundation (FF) endorses IEC 61158 and its conforming implementation, Foundation Fieldbus. FF membership is comprised of over 120 suppliers and users of control and instrumentation, including Fisher-Rosemount, Siemens, Honeywell, and Elsag-Bailey.

IEC 61158 is divided into parts, following the ISO 7498 Open Systems Interconnect (OSI) model for the Physical, Data Link, and Application Layers. Part 2, the Physical Layer, was approved in 1993. Parts 3 and 4, the Data Link Layer Services and Protocol, and Parts 5 and 6, the Application Layer Services and Protocol, did not pass the latest IEC vote. IEC SC65C has passed a ballot recommending disqualifying six negative votes for being non-technical, but final approval of these parts is still being sought.

Foundation Fieldbus is being standardized in the UK as DD 238.

The FF is expanding Foundation Fieldbus to support 100 megabit/second high-speed Ethernet. The draft preliminary specifications were passed in 1998.

See Tables 2-4 for comparisons between fieldbus protocols.

Information: www.iec.ch, www.fieldbus.org, www.isa.org

### ISO 11898 (CAN)

ISO 11898, “Road vehicles- interchange of digital information- controller area network (CAN) for high-speed communication)” was originally developed by the Bosch Corporation for use in automobiles. CAN is based on the ISO 7498 Open Systems Interconnect (OSI) model for the Physical and Transport Layers. The standard does not specify an Application Layer. CAN was approved as ISO 11898 in 1993.

CAN is a high-speed network, meeting the Society of Automotive Engineers (SAE) Class C network requirements for 1 megabit/second data transfer and 5 millisecond latency. CAN chips are available in high volumes from manufacturers such as Phillips, Intel, and Motorola. The chips can be interfaced to various transmission media, such as one-wire, two-wire, or fiber optic.

CAN is a multi-master network, where the bus access arbitration is based on the message identifier. The message identifier is 11 bits, supporting 2048 messages. An extended message identifier of 29 bits was introduced to allow a larger number of messages. The data field of messages can be up to 8 bytes wide. Messages that require larger data fields must be sent in segments. CAN messages use 16-bit cyclic redundancy checking (CRC-16) for error detection and correction. With a full 8-byte data message, the data to message size is 57%, with the rest consisting of overhead for the message identifier, control, and framing bits.

CAN data rates depend on trunk distance: 1 megabit/second for up to 40 meter distances, 125 kilobits/second for up to 500 meter distances, and 50 kilobits/second for up to 1 kilometer.

The standard lacks an Application Layer protocol, which has led to its use in a variety of applications other than automobiles, including industrial automation, medical equipment, and building automation. Developing an application layer for industrial automation on top of the CAN protocol is the subject of numerous industrial and formal standards projects, including DeviceNet, Smart Distributed System (SDS), and CANOpen.

### DeviceNet

DeviceNet, like CANOpen and SDS, is an application layer on top of CAN, advocated by the Open DeviceNet Vendors Association (ODVA). DeviceNet was originally developed by Allen-Bradley, but is now an open standard that may be obtained from the ODVA. Any company manufacturing DeviceNet products may join ODVA and participate in technical working groups that are developing enhancements to the DeviceNet Specification. Buyers of the DeviceNet Specification receive an unlimited, royalty-free license to develop DeviceNet products. The ODVA is comprised of over 300 members, including ABB, Cutler-Hammer, GE Fanuc, and Rockwell Automation/Allen-Bradley.

The DeviceNet specification includes Volume 1, the Application Layer, and Volume 2, Device Profiles. The Application Layer adds to the CAN bus the concepts of connections, and data transfer models including strobed, polled, cyclic, change-of-state, and application-triggered. Device addressing may be peer-to-peer with multicast, multi-master, or master-slave. Device Profiles promote interoperability by defining standard device models that support common identification and status data. Device profiles contain a definition of the device object model, a list of the object classes present in the device, definitions of data formats, and definitions of configurable parameters. The DeviceNet object model organizes the attributes, services, and behaviors of a product.

The DeviceNet specification is more specific than the standard CAN protocol with respect to some physical properties. These include allowable topologies, system grounding, use of thick and thin media, termination, and power distribution. The DeviceNet trunkline-dropline topology provides separate twisted pair buses for both signal and power distribution. Up to 64 addressable nodes are supported. See Tables 2-4 for details on DeviceNet and comparisons with other protocols.

Information: www.devicenet.org

### Smart Distributed System (SDS)

Smart Distributed System (SDS), like CANOpen and DeviceNet, is an application layer on top of the CAN bus. SDS was introduced by Honeywell Micro Switch in early 1993 and formally opened to other vendors the following year. The SDS specification is currently under engineering control of the SDS Council.

SDS specifies an Application Layer, Component Model, and a Physical Layer. The Application Layer specifies services, such as read, write, event generation and handling, and connection establishment for multicast or peer-to-peer communication. The Application Layer also includes protocols that define data and message types.

The Component Model Specification defines a hierarchical object-oriented view of devices and their relationships.

The Physical Layer restricts the CAN physical layer specification. SDS transmission speeds of 125K, 250K, 500K, and 1.0M bits/sec allow network lengths of 1,500, 600, 300, and 75 feet, respectively. The trunk consists of two-wire twisted shielded cable with optional two-wire bus power cable and drain wire. There is a maximum of 32 nodes at 1.0M bits/sec and 64 nodes at the lower transmission speeds. See Tables 2-4 for details on SDS and comparisons with other protocols.

Information: honeywell1.datareturn.com/sensing/prodinfo/sds

### CANOpen

CANOpen, like DeviceNet and SDS, is an application layer on top of CAN, advocated by the CAN in Automation (CiA) group based in Germany. CANOpen builds on the Physical and Transport Layers of CAN in a family of profiles that consists of the Application Layer and Communication Profile (CiA DS 301), various frameworks and recommendations (CiA DS-30x), and various device profiles (CiA DS-40x).

The DS 301 Application Layer and Communication Profile defines how data is exchanged between devices and describes the interface to the underlying communication medium, including which data has to be transmitted and with which services.

The DS-40X device profiles aid systems integration and device standardization by specifying guidelines by which two independent manufacturers can produce standardized devices. Guidelines include mandatory device characteristics that guarantee correct network operation, and a profiling mechanism that allows manufacturers to provide options and future enhancements. Device profiles include digital and analog I/O modules, motor drives, encoders, motion controllers, and operator displays.

Information: www.canopen.de

### LonTalk

LonTalk is the protocol underlying Echelon Corporation’s LonWorks control networks, approved in 1999 as an ANSI standard, ANSI/EIA 709.1-A-1999, and is Part 4 of IEC 62026. LonTalk can be implemented on a variety of microcontrollers and microprocessors, and are built in to Neuron chips, microcontrollers optimized for intelligent distributed control applications that are manufactured by Cypress Semiconductor and Toshiba Corporation.

LonWorks nodes implement the LonTalk protocol, connect to the physical communication medium, and perform control functions specific to the device. Devices such as proximity sensors, switches, motion detectors, relays, motor drives, and instruments, may all be nodes on the network. Local Control Nodes are network devices that control the operation of attached sensors and/or actuators based on local and network events. Supervisory Nodes are network devices that collect and log data from one or more local control nodes, or coordinate the operation of one or more local control nodes. Routers provide transparent connectivity between two LonWorks network channels.

See Tables 2-4 for details on LonTalk and comparisons with other protocols.

Information: www.echelon.com/protocol

### Seriplex

Seriplex (Serial Multiplexed Control Bus) is an industrial control bus developed by Automated Process Control and patented in 1987. The Seriplex Technology Organization (STO) is an independent, non-profit corporation, created to support and promote Seriplex Control Bus technology in the general marketplace. Seriplex is Part 5 of international standard IEC 62026.

Seriplex is a deterministic, serial multiplexed, intelligent, distributed I/O system, providing both master/slave and peer-to-peer I/O control and logic. It uses a shielded four-conductor cable. Two of the conductors deliver +12 VDC power or +24 VDC power to the bus. The other two conductors provide the data signal and clock signal that controls network timing.

Seriplex networks consist of I/O devices with integrated Seriplex chips, or an I/O block with a Seriplex chip into which devices are wired. In Master/Slave mode, the chip provides for the communication of I/O device events to a host CPU. In Peer-to-Peer mode, there is no host CPU. Events occurring at each device are communicated directly between I/O blocks or devices containing an embedded chip. These events are acted upon at the device level and are based on the logic functions programmed into the chips. See Tables 2-4 for details on Seriplex and comparisons with other protocols.

Information: www.seriplex.org

### Profibus

Profibus (Process Field Bus) is a fieldbus standard for integrating sensors, actuators, transmitters, drives and programmable logic controllers. The Profibus User Organization (PNO) is the sponsoring organization, representing manufacturing, users, and systems integrators of Profibus components. Profibus consists of three specifications: Profibus-FMS, Profibus-DP, and Profibus-PA. Profibus-FMS and Profibus-DP are Volume 2 of European standard EN 50170.

The Profibus-FMS (Fieldbus Message Specification) is designed for acyclic or cyclic data transfers at medium speed between control equipment and cell-level controllers.

Profibus-DP is a performance optimized version of Profibus specifically dedicated to time-critical communication between automation systems and distributed peripherals. It is designed as a replacement for discrete wiring of 24 V and 4 to 20 mA measurement signals.

Profibus-PA (Process Automation) is designed specifically for the needs of the process automation industry. Profibus-PA provides for power and data transmission over the same two wires, and can be used within areas with high explosion risk using intrinsic safe transmission technology according to IEC 1158-2. It operates either with intrinsic safe transmission technology (IEC 1158-2) or standard transmission technology (RS-485).

Profibus specifies the lowest two levels of the OSI protocol stack, the Physical and Data Link Layers. Additionally, Profibus-FMS specifies the Application Layer, the topmost (Level 7), using a subset of the Manufacturing Message Specification (MMS) (ISO 9506) of the MAP protocol.

The physical layer uses copper wire in accordance with the US standard EIA RS-485. It uses a two-conductor twisted pair cable, with optional shielding. Two cable versions with different maximum distances are available. A specification for fiber optic transmission for longer length and noise immunity is being proposed.

Profibus uses the token passing method for communication between complex stations (masters) and the master-slave method for communication between complex stations and simple peripheral devices (slaves). This combined method is called hybrid medium access. With the hybrid medium access method of Profibus it is possible to implement a pure master-slave system, a pure master-master system (token passing), and a system with a combination of both methods.

See Tables 2-4 for details on Profibus and comparisons with other protocols.

Information: www.profibus.com

### ControlNet

ControlNet is a device network developed by Rockwell/Allen-Bradley and made available as an open standard in 1996. ControlNet is designed for real-time, high-speed integration of control systems such as coordinated drive systems, weld control, motion control, vision systems, complex batch control systems, process control systems, and systems with multiple controllers and human-machine interfaces. ControlNet targets systems with multiple PC-based Controllers, PLC-to-PLC and PLC-to-DCS communication.

ControlNet views industrial application as consisting of three layers. The information layer supports plant-wide data collection and program maintenance, and uses protocols such as Ethernet. The automation and control layer supports real-time I/O control, interlocking, and messaging, and is the target for ControlNet. The device layer supports cost-effective integration of individual devices, and it uses fieldbus protocols such as DeviceNet or Foundation Fieldbus.

ControlNet International, an independent organization for users and vendors of ControlNet products, was formed in July 1997. The organizations manages the ControlNet Specification and supports worldwide growth of ControlNet by developing test software, providing independent compliance testing, publishing the ControlNet product catalog, and sponsoring design and implementation training.

ControlNet supports a maximum data transfer of 5.0 megabit/second using coaxial cable or fiber optic transmission media. Devices are powered externally. There is a limit of 99 addressable nodes, but no limit on the number of I/O data points that can be integrated.

ControlNet is based on a producer/consumer communication model. This model permits all nodes on the network to simultaneously access the same data from a single source. Network access is controlled by a time-slice algorithm called Concurrent Time Domain Multiple Access (CTDMA), which regulates a node’s opportunity to transmit in each network interval, which is configurable and can be as small as 2 milliseconds.

ControlNet was standardized in Europe in 1998 as Amendment A3 to EN 50170, and is being standardized in the UK as DD 241.

Information: www.controlnet.org

### Interbus

Interbus was developed in 1984 by Phoenix Contact and approved as German standard DIN 19258. Interbus is promoted by the Interbus Club, a member-funded, non-profit organization established to maintain and advance the Interbus network standard. The Interbus Club was initially founded in Europe in 1993. Currently there are over 600 members in 15 countries.

Interbus is a master-slave hardware ring network with cabling options that allow for twisted pair or fiber optic transmission media. The data link layer supports full duplex communication with no arbitration and CRC error correction. Interbus supports up to 512 devices and a total of 4096 digital input and 4096 digital output points or combinations of digital and analog signal types. Interbus is commonly implemented using the RS-485 serial digital protocol with a five-wire cable.

See Tables 2-5 for details on Interbus and comparisons with other protocols.

Information: www.interbus.com, www.ibsclub.com

### AS-Interface

EN 50295, “Low-voltage switchgear and controlgear- controller and device interface systems- actuator sensor interface (AS-Interface),” or AS-I, is a European standard carried out by CENELEC technical committee TC17B. AS-i was approved in 1998.

AS-I was designed as a low-cost alternative to more complex fieldbuses, suitable for networking simple binary devices. AS-I (often pronounced “azzi”) uses a single yellow cable that contains both data and power.

Power comes from a 24V DC supply that is fully isolated from the data signals. Data is modulated to ensure noise immunity. The network is typically rated up to 8A, but higher currents can be drawn provided voltage drops in the network conform to the specification. A separate black cable and power supply can be used if needs demand it.

Each AS-Interface network has one master and can include up to 31 slave devices. Slaves can connect up to four devices, supporting 124 inputs and 124 outputs. Slaves are polled by the master at a frequency of 167kHz, giving a maximum latency of 5ms on a fully loaded network. Cycle times are faster with fewer devices. Network messages have four data bits that may be used as inputs or outputs, so that AS-I can be used for analog devices by splitting data across cycles. In addition to data bits, the protocol transmits other information, such as status bits that can be used for diagnostics. See Tables 2-4 for details on AS-I and comparisons with other protocols.

Information: www.as-interface.com

### SERCOS

SERCOS (Serial Realtime Communication System) is a digital interface for communication between control systems and drives. SERCOS was approved as international standard IEC 61491 in 1995 and as European standard EN 61491 in 1998. The SERCOS specification includes the physical layer, including connectors. An optical fiber ring is used as transmission medium. The maximum transmission rate is 2, 4, 8 or 16 megabit/second, depending on the device design. Three communications types between CNC and digital drive control elements can be realized with this interface: nominal position, nominal speed, or nominal torque. The transmission of nominal position is the recommended type for fast and highly precise applications.

In one optical fiber ring up to 6 axes can be cyclically and parallel supplied with new nominal positions values (nominal positions) every 0.5 ms. The SERCOS interface allows all drive-internal data, parameters and diagnosis data to be displayed and entered by means of a SERCOS-compatible CNC.

All drives on the SERCOS ring close loops synchronously, eliminating the possibility of “beat” frequencies or harmonics appearing in the motion control system. Feedback acquisition and command value executions are performed in every drive at the same instant in time, making an effective “snapshot” for control purposes.

Each segment (node-to-node) of a SERCOS ring can be up to 40 meters in length using plastic fiber, 200 meters using 200 µm glass fiber, or 400 meters using 400 µm glass fiber. Total ring lengths are 10,000 meters, 50,000 meters and 100,000 meters respectively.

The maximum number of drops per fiber optic ring is 254. However, the number of drives that can be serviced per ring depends on three application requirements: communication cycle time, volume of operational data, and communications speed required. SERCOS imposes no limit to the number of rings that can be synchronized together.

Information: www.sercos.org, www.sercos.com

### MACRO

MACRO (Motion And Control Ring Optical) is a specification for connecting multi-axis motion controllers, amplifiers, and I/O over a single high speed fiber optic network. MACRO uses fiber optic or RJ-45 “thin wire” interfaces. The fiber optic interface allows the drives to be up to 1 kilometer from the drive to the controller, and the RJ-45 interface allows the drives to be up to 1,000 feet from the controller. MACRO’s fiber optic interface technology provides total electrical noise immunity. MACRO communicates at 125 megabits a second.

MACRO operates in a ring topology. Data is transmitted serially. Each station on the ring has an “in” port for receiving data and an “out” port for transmitting data. Nodes, residing at a station, can be amplifier axes, I/O banks, or communication interfaces to other devices. A station can have one or several nodes, allowing for multi-axis amplifiers with a single “in” and single “out” port. Data packets, (groups of 96 bits of serial data), sent out by a motion controller or, master node, are earmarked for a specific amplifier, or slave node. If the data packet is not for an amplifier, it passes it on, unchanged. If it is for the node, it copies the contents of the data packet (typically commands), places feedback data into the packet in place of the command data, and transmits the data packet.

Building MACRO into a product requires the MACRO gate array integrated circuit. Currently the gate array is available from Delta Tau Data Systems in 144 or 160 pin QFP packages and is designed for a 24 bit microcontroller.

Information: www.deltatau.com/dtmacro7.htm

### IEC 62026

IEC 62026, “Control circuit devices and switching elements for low-voltage switchgear and controlgear,” provides official international standards status to five device networks: AS-i, DeviceNet, Lontalk, SDS, and Seriplex.

IEC 62026 is divided into six parts. Some of these parts are technically equivalent to other standards:

- Part 1, General Requirements 	(EN 50325-1)

- Part 2, AS-I 	(EN 50295)

- Part 3, DeviceNet 	(EN 50325-2)

- Part 4, Lontalk	(ANSI/EIA 709.1)

- Part 5, SDS 	(EN 50325-3)

- Part 6, Seriplex

Information: www.iec.ch

### EN 50325

EN 50325, “Industrial communication subsystem based on ISO 11898 (CAN) for controller-device interfaces,” is a proposed European standard being carried out by CENELEC technical committee TC65CX. EN 50325 provides official European standards status to two CAN-based application layer protocols: DeviceNet and Smart Distributed System (SDS).

EN 50325 is divided into volumes, some of which are technically equivalent to parts of international standard IEC 62026:

- Volume 1, General

- Volume 2, DeviceNet	(IEC 62026-3)

- Volume 3, SDS	(IEC 62026-5)

Information: www.cenelec.org

### EN 50170

EN 50170, “General purpose field communication systems,” is a European standard for fieldbuses that was made enforceable by the European Commission for utilities and other public undertakings. EN 50170 was approved in 1997, and originally conferred standards status on three fieldbuses: P-Net (Denmark), Profibus-DP/FMS (Germany), and WorldFIP (France). The UK proposed adding Foundation Fieldbus, Profibus-PA, and ControlNet as amendments, so that these fieldbuses (and companies that sold them) would not be left out. EN 50170 is comprised of the following parts and amendments, some of which are equivalent to other standards:

- Volume 1, P-Net	(DK 502058, 502066)

- Volume 2, Profibus-DP/FMS	(DIN 19245)

- Volume 3, WorldFIP	(NFC 46601-46607)

- Amendment A1, Foundation Fieldbus	(DD 238)

- Amendment A2, Profibus-PA

- Amendment A3, ControlNet	(DD 241)

Information: www.cenelec.org

### EN 50254

EN 50254, “High efficiency communication subsystem for small data packages,” is a downsizing of EN 50170 for applications with smaller data size and lower data rates. It includes subsets of Profibus-DP and WorldFIP, and adds Interbus-S:

- Volume 1, General

- Volume 2, Interbus-S	(DIN 19258)

- Volume 3, Profibus-DP	(EN 50170-2)

- Volume 4, WorldFIP/1	(EN 50170-3)

## Fieldbus Comparisons

Tables 2 through 4 show the general information, physical characteristics, and transport mechanism of specific standards covered in this document. See also:

http://www.synergetic.com/compare.htm

http://www.ibsclub.com/whyibus/comparisons

| BACKGROUND INFORMATION |
| --- |
|  | Technology Developer | Year Introduced | Governing Standard | Openness |
| AS-I | AS-I Consortium | Fall 1993 | Submitted to IEC | AS-II.C. Market item |
| DeviceNet | Allen-Bradley | March 1994 | ISO 11898 & 11519 | 6 chip vendors, 300+ products |
| Fieldbus Foundation | Fieldbus Foundation | 1995 | ISA SP50/IEC TC65 | Chips/software from multiple vendors |
| Interbus | Phoenix Contact | 1984 | EN50254 | 2000 Products from over 1000 manufacturers |
| LonTalk | Echelon Corp. | March 1991 | ASHRAE of BACnet | Public documentation on protocol |
| Profibus DP/PA | Siemans/PTO | DP-1994, PA-1995 | DIN 19245 part ¾ | Products from over 1400 vendors |
| SDS | Honeywell | Jan. 1994 | Honeywell Specification, Submitted to IEC, ISO11989 | 6 chip vendors, 200+ products |
| Seriplex | APC, Inc. | 1990 | Seriplex spec | Chips available multiple interfaces |
| WorldFIP | WorldFIP | 1988 | IEC 1158-2 | Multiple chip vendors |

Table 2. Background Information.

| PHYSICAL CHARACTERISTICS |
| --- |
|  | Network Topology | Physical Media | Max. Devices (nodes) | Max. Distance |
| AS-I | Bus, ring, tree star | Two wire cable | 31 slaves | 100 meters, 300 with repeater |
| DeviceNet | Trunkline/dropline with branching | Twisted-pair for signal & power | 64 nodes | 500m |
| Fieldbus Foundation | Multidrop with bus powered devices | Twisted-pair | 240/segment, 65,000 segments | 1900m @ 31.25K 500m @ 2.5M |
| Interbus | Open: Bus,Tree, Ring, Star, 16 level nesting | Twisted-pair, fiber, slip-ring, Infrared | 512 System Total 256 on remote bus | 12.8 Km (copper) total 400m max between devices |
| LonTalk | Bus, ring, loop, star | Twisted-pair, fiber, power line | 32,000/domain | 2000m @ 78 kbps |
| Profibus DP/PA | Line, star & ring | Twisted-pair or fiber | 127 nodes | 24 Km (fiber) |
| SDS | Trunkline/Dropline | Twisted-pair for signal & power | 64 nodes, 126 addresses | 500m |
| Seriplex | Tree, loop, ring, multi-drop, star | 4-wire shielded cable | 500+ devices | 500+ ft. |
| WorldFIP | Bus | Twisted-pair, fiber | 256 nodes | up to 40 Km |

Table 3. Physical Characteristics.

| TRANSPORT MECHANISM |
| --- |
|  | Communication Method | Transmission Properties | Data Transfer Size | Arbitration Method | Error Checking | Diagnostics |
| AS-I | Master/slave with cyclic polling | Data and power, EMI resistant | 31 slaves with 4 in and 4 out | Master/slave with cyclic polling | Manchester Code, hamming-2, partly | Slave fault device fault |
| DeviceNet | Master/slave, multi-master, others | 500 kbps, 250 kbps, 125 kbps | 8-byte variable message | Carrier-Sonac Multiple Access | CRC check | Bus monitoring |
| Fieldbus Foundation | Client/server publisher/subscriber, Event notification | 31.25 kbps 1 Mbps 2.5Mbps | 16.6 M objects/device | Deterministic centralized scheduler, multiple backup | 16-bit CRC | Remote diagnostics, network monitors, parameter status |
| Interbus | Master/slave with total frame transfer Transparent data linking via master | 500kBits/s, full duplex | Up to: 64bytes real time data /device, 244 Bytes PCP data/device 512 In + 512 Out bytes per system | None | 16-bit CRC between each device | Wire location of CRC error and cable break Module & I/O channel diagnostics |
| LonTalk | Master/slave peer to peer | 1.25 Mbs full duplex | 228 bytes | Carrier Sense, Multiple Access | 16-bit CRC | Database of CRC errors and device errors |
| Profibus DP/PA | Master/slave peer to peer | DP up to 12 Mbps PA 31.25 kbps | 244 bytes | Token passing | HD4 CRC | Station, module & channel diagnostics |
| SDS | Master/slave, peer to peer, multi-cast, multi-master | 1Mbps, 500 kbps, 250 kbps, 125 kbps | 8-byte variable message | Carrier-Sonac Multiple Access | CRC check | Bus monitoring, Diagnostic slave |
| Seriplex | Master/slave peer to peer | 200 Mbps | 7680/transfer | Sonal multiplexing | End of frame & echo check | Cabling problems |
| WorldFIP | Peer to peer | 31.25 kbps, 1 & 2.5 Mbps, 6 Mbps fiber | No limit, variables 128 bytes | Central arbitration | 16-bit CRC, data “freshness” indicator | Device message time-out, redundant cabling |

Table 4. Transport Mechanisms.

# Standards Glossary

ANSI/EIA 709.1	LonTalk

DD 238	Foundation Fieldbus

DD 241	ControlNet

DIN 19258	Interbus-S

DIN 19425	Profibus

EN 50170	General purpose field communication systems. Includes P-Net, Profibus-DP/FMS/PA, WorldFIP, Foundation Fieldbus, and ControlNet.

EN 50254	High-efficiency communication subsystem for small data packages. Includes Interbus, Profibus-DP subset, and WorldFIP subset.

EN 50295	Low-voltage switchgear and controlgear- controller and device interface systems- actuator sensor interface (AS-I).

EN 50325	Industrial communication subsystem based on ISO 11898 (CAN) for controller-device interfaces. Includes DeviceNet and SDS.

EN 61491	SERCOS

IEC 1158-2	Specification for intrinsically safe operation

IEC 61158	Digital data communications for measurement and control- Fieldbus for use in industrial control systems

IEC 61491	SERCOS

IEC 62026	Control circuit devices and switching elements for low-voltage switchgear and controlgear. Includes AS-I, DeviceNet, LonTalk, SDS, and Seriplex.

IEC SC65C	IEC Subcommittee responsible for IEC 61158 (Fieldbus).

IEEE 802.2	Ethernet

IEEE 802.3u	Request for Change (RFC) for TCP/IP and UDP, in support of Foundation Fieldbus HSE

ISA SP50	ISA Subcommittee responsible for ANSI/ISA-S50.02 (Fieldbus).

ANSI/ISA-S50.02	Fieldbus Standard for use in Industrial Control Systems. U. S. equivalent of ISO 61158.

ISO 7498	Open Systems Interconnect (OSI) 7-layer model for communication

ISO 9506	Manufacturing Messaging Specification (MMS), used by Profibus-FMS.

ISO 11519	DeviceNet

ISO 11898	Road vehicles- interchange of digital information- controller area network (CAN) for high-speed communication. Defines physical and transport layers. DeviceNet, SDS, and CANOpen add application layer.

Disclaimer

No approval or endorsement of any commercial product by the National Institute of Standards and Technology is intended or implied. Certain commercial equipment, instruments, or materials are identified in this report in order to facilitate understanding. Such identification does not imply recommendation or endorsement by the National Institute of Standards and Technology, nor does it imply that the materials or equipment identified are necessarily the best available for the purpose mentioned.

This publication was prepared by United States Government employees as part of their official duties and is, therefore, a work of the U.S. Government and not subject to copyright.