MICHAEL E. DEBAKEY  VA MEDICAL CENTER

RADIATION SAFETY HANDBOOK

RESEARCH SUPPLEMENT

A quick reference guide to radiation safety

questions and problems commonly encountered

in the laboratory

Prepared by:	Jeffrey G. Triebel

Radiation Safety Officer

November 1991

Revised:  9/8/04 by Stan Bravenec, Asst. RSO

TABLE OF CONTENTS

Section	Page

I.  Radiation Physics

A.  The atom	1

B.  Radioactivity	1

C.  Interaction of radiation with matter	2

D.  Activity, Exposure, and Dose	2

II.  Radiation Safety

A.  Radiation Effects and Risks, ALARA, and Pregnancy Concerns	4

B.  Reducing Exposure	6

C.  Posting Signs and Storing Material	7

D.  Ordering and Receiving Radioactive Materials	7

- Package receipt and delivery

- Transferring radioactive material

E.  Laboratory Monitoring	8

F.  Emergency Procedures and Decontamination	10

G.  Waste Disposal--how to package and label waste	11

H.  Personnel Dosimetry	12

I.  Bioassays	13

J.  Miscellaneous Procedures	14

1.  Protocol approval by the Radiation Safety Committee

2.  Starting new employees

3.  Discontinuing radioactive material work in a lab

K.  Radiation Safety Phone Numbers	14

III.  Licenses, Rights, and Responsibilities	15

APPENDIX--	Sample Dosimetry Report

Radioisotope Pick up Procedures

Waste Pick up Procedures

Collection and distribution of Radiation Monitoring Badges

Reporting Radiation Safety concerns to outside agencies

ABBREVIATIONS:	RAM	Radioactive material(s)

RSC	Radiation Safety Committee

RSM	Radiation Safety Manual (Medical Center Memorandum No. 237)

RSO	Radiation Safety Officer

NRC	Nuclear Regulatory Commission

NHPP	National Health Physics Program

I.  Basic Radiation Physics

A.  The atom

One way of picturing the atom is the Bohr model.  In this model, the atom is pictured as a small solar system with the nucleus in the center and the electrons like planets orbiting around it.

The nucleus is composed of protons and neutrons.  The number of protons in the nucleus is called the Atomic Number or Z.  It determines the name of the element that the nucleus represents.  For example, the element with Z = 6 is carbon.  In a neutral atom, Z also equals the number of electrons.

The number of neutrons is N.  The Atomic Mass or A equals Z + N.  To symbolize various nuclei, the name of the element (representing Z) is followed by the Atomic Mass, A.  For example, P-32 refers to a phosphorus nucleus (Z = 15) with A = 32.  N is therefore A - Z or 17.

Nuclei with equal numbers of protons but differing numbers of neutrons (and therefore different A) are called isotopes.  For example, carbon has several isotopes:  C-9, C-10, C-11, C-12, C-13, C-14, C-15 and C-16.  While all of these have the same Z and therefore are all carbon nuclei, the number of neutrons ranges from 3 for C-9 to 10 for C-16.  Some isotopes are stable:  for example C-12 and C-13.  Other isotopes are radioactive and are therefore called radioisotopes.

NOTE:  Two other terms that are used in radiation physics are "nuclide" and "radionuclide".  For our purposes, the terms are synonymous with "nucleus" and "radioisotope" respectively.

NOTE:  Scientific Notation--Many numbers in this handbook are written in a short-hand form of scientific notation.  For example, 37 billion is written as 3.7E10, where "E10" means to multiply 3.7 by 10 to the 10th power.  Thus, 3.7E10 = 37,000,000,000 and 3.7E-4 = 0.00037, etc.

B.  Radioactivity

1.  Instability of nuclei

It is important to remember that the nucleus is responsible for radioactivity.  For the time being, the electrons orbiting the nucleus may be forgotten as we consider what makes a nucleus radioactive.

Nuclei, like any physical system, want to reach the lowest possible energy state.  It's like dropping a ball--the ball falls down in order to lose the potential energy it had while you were holding it.

The numbers of protons and neutrons in a nucleus influence its stability, i.e. whether or not it is in a high energy state.  Nuclei have an ideal neutron-proton ratio depending on their size and when an isotope has too many or too few neutrons for the number of protons, it decays to adjust itself to a better n-p ratio.

2.  Electron volt--The energy given off during radioactive transitions is measured in electron volts.  One electron volt is the amount of energy gained by an electron when falling through a potential (voltage) of 1 volt.  The units normally encountered are the keV (1000 eV) and the MeV (one million eV).

3.  Beta minus decay--excess neutrons:  Neutron  Proton + Beta minus + Neutrino (most nuclei also emit gamma and/or x-rays).  H-3, C-14, P-32, S-35, Fe-59, Rb-86 use beta minus decay.

Example:  C-14  N-14 + beta minus + neutrino / Energy given off = 156.5 keV.

6p	7p

8n	7n

In beta minus decay, a neutron decays to a proton and a beta minus particle and a neutrino.  A beta minus is an electron that originates in the nucleus.  A neutrino is a very small particle emitted in the decay, but not of concern with respect to radiation safety.  The energy lost in the decay process is shared between the beta minus and the neutrino.  The average energy a beta receives is often listed along with other information about the isotope.  Sometimes the beta receives all the energy--this is known as the maximum beta energy and is also often listed.  If no gamma or x-rays are emitted, shield for the maximum beta energy.  Sections 7 and 8 explain the origins of gamma and x-rays.

4.  Beta plus decay--excess protons:  Proton  Neutron + Beta plus + Neutrino (most nuclei also emit gamma and/or x-rays)

Example:  Na-22  Ne-22 + beta plus + neutrino / Energy given off = 545.5 keV.

11p	10p

11n	12n

In beta plus decay, a proton decays to a neutron and a beta plus particle and a neutrino.  A beta plus is identical to a beta minus or an electron except that it is positively charged.  Similar to beta minus decay, the energy is shared between the beta plus and the neutrino.  Also, when the beta plus meets an electron, they annihilate each other to produce two 511 keV gamma rays.

5.  Electron capture decay--excess protons:  Proton + Electron  Neutron + Neutrino (most nuclei also emit gamma and/or x-rays).  Na-22, Se-75, I-125 use electron capture decay.

Example:  Na-22 + electron  Ne-22 + neutrino

11p	10p

11n	12n

Here, a proton in the nucleus combines with an electron orbiting around the nucleus to produce a neutron and a neutrino.  As implied in the example, there is often competition between beta plus decay and electron capture.  Na-22 can use either means to lose energy.

6.  Alpha decay--large nuclei, e.g. radium, uranium.  These nuclei emit an alpha particle, which is a single particle consisting of 2 protons and 2 neutrons.  It is the same as a helium nucleus.  Most nuclei also emit gamma and/or x-rays

Example:  Ra-226  Rn-222 + alpha

88p	86p	2p

138n	136n	2n

7.  Origin of gamma rays--Gamma rays are electromagnetic radiation (similar to light and microwaves) which originate in the nucleus.  After one of the above decays, the daughter nucleus is not always in its most stable (lowest energy) configuration and so it releases this extra energy in the form of gamma rays.

8.  Origin of x-rays--	X-rays are also electromagnetic radiation, but they originate outside of the nucleus.  Electrons are sometimes knocked out of orbit as a result of the above decay processes.  The resulting vacancy in the electron orbit or shell is filled by an electron coming from an outer shell.  The difference in energy between the two shells is given off in the form of x-rays.

There is another method of producing x-rays which is important in shielding considerations.  When beta particles encounter heavy nuclei such as lead, x-rays are given off.  This is why PLASTIC shielding is preferred over lead for high energy "pure" beta emitters (no gammas or x-rays) such as P-32.

C.  Interaction of radiation with matter

Particles, gamma rays, and x-rays traveling through matter cause electrons to be knocked out of atoms in the matter.  This is known as ionization.  In water and therefore in living systems, this can lead to the creation of chemical species foreign to the living system.  Some of these chemicals are hazardous to the system.  In some cases, the radiation directly ionizes and causes changes in biological molecules such as DNA.

D.  Activity, Exposure, and Dose

1.  Activity--The number of nuclei decaying per unit time.  The older, but more common unit is the Curie, which equals 37 billion disintegrations or nuclear transformations per second.  To write it another way, 1 Curie = 3.7E10 dps.  The newer unit of activity is the Becquerel = 1 dps.

1 Curie (Ci)	=	3.7E10 dps	=	3.7E10 Bq	=	37 GBq

1 millicurie (mCi)	=	3.7E7 dps	=	3.7E7 Bq	=	37 MBq

1 microcurie (Ci)	=	3.7E4 dps	=	3.7E4 Bq	=	37 kBq

2.  Specific activity--the activity per unit volume or mass.  The units are Ci/gram, Ci/ml, etc.

3.  Radioactive decay--Half-life is the time required for one-half of the nuclei in a sample to decay.  Each isotope has its own half-life.  The activity at any time may be calculated using either of the following formula:

A1 = A0 * e(-0.693 * t / T), where

A1 is the unknown activity at time = t1

A0 is the known activity at time = t0

t is the elapsed time which equals t1 - t0, and

T is the half-life.  T and t must be expressed in the same units, e.g. days.

NOTE:  For calculating the activity at a later time (post-calibration), t1 > t0 and t is positive.  For calculating the activity at an earlier time (pre-calibration), t1 < t0 and t is negative.  The formula works in either case.

4.  Exposure--The amount of ionization in air (expressed as electric charge) caused by the passage of radiation.

Units:  Roentgen = 2.58E-4 coulombs/kg.  Usually expressed as an exposure rate, e.g. milliroentgen/hour = mR/hr.

Use:  Radiation surveys, e.g. mR/hr.  However, see NOTE below.

5.  Dose--The amount of energy absorbed by any material as a result of the passage of radiation.

Units:  Rad = 100 ergs/gram of material.  The new unit is the Gray = 100 rad = 1 joule/kg.

Use:  Expressing the dose to organs of the body from internally deposited RAM, whether accidentally or intentionally ingested, inhaled or injected.

6.  Dose equivalent--The dose multiplied by the biological effectiveness of the particular type of radiation one is exposed to.

Units:  Rem = Rad * Q.  Q is called the quality factor and is a measure of biological effectiveness.  For beta particles, gamma rays, and x-rays, Q = 1.  For alpha particles, Q = 20.  The new unit of dose equivalent is the Sievert = 100 rem = 1 joule/kg.

Use:  Personnel dosimetry, e.g. millirem = mrem or milliSievert = mSv.

7.  Note concerning the use of mR/hr--Under NRC regulations effective January 1, 1994 the unit mR/hr is no longer recognized.  Instead, the unit mrem/hr is to be used for radiation surveys.  However since this change would require hundreds of licensees to change their forms and survey meter scales, the use of mR/hr is still permitted as long as the conversion between mR/hr and mrem/hr is communicated to radiation workers.  For our purposes, 1 mR/hr = 1 mrem/hr.  Therefore we will continue using mR/hr in surveys with this understanding.

II.  Radiation Safety

A.  Radiation Effects and Risks, ALARA, and Pregnancy Concerns

1.  Natural background = approx. 300 mrem/year

2.  Effects of acute exposure (not seen in the research setting unless someone is extremely careless)

Dose	Biological Effect

<25 rem whole body (WB)	Probably none

25 rem WB	Observable blood change

100 rem WB	Probable nausea

350-450 rem WB	Death to half within 30 days

200-500 rem to ovaries	Sterilization

500-700 rem to testes	Sterilization

10,000 rem to WB	CNS death

3.  Effects of chronic exposure (possible in the research setting--see paragraph 6 also)

10 rem/day to WB	Death within months

1 rem/day to WB	Death probable within a few years

0.2 rem/day	Unknown--possibly cataracts, changes in skin, anemia, leukemia (after a latent period)

0.1 rem/week	Probably none (occupational exposure limit:  0.1*50 =5.0 rem/year)

4.  Maximum permissible dose (MPD)

MPD's have been designated to minimize the number of radiation effects in both radiation workers and the general public.  They are intended as definite upper limits to radiation exposure and therefore we try to keep exposures as far below these as possible (see ALARA).  There have been no observable radiation effects at these levels.

MAXIMUM PERMISSIBLE DOSES*--OCCUPATIONAL EXPOSURE

Organ(s)	Yearly	Quarterly	Monthly	Where listed on dose report

(rem)	(mrem)	(mrem)

Whole body **	5	1250	417	Deep reading

or ***

Whole body(organ)	50	12500	4167

Lens of the eye	15	3750	1250	Eye reading

Skin	50	12500	4167	Shallow reading

Extremities	50	12500	4167	Shallow or Shallow extremity

* If necessary these consist of a summation of internal and external doses.

** Whole body means the head, trunk, arms above the elbows, and legs above the knees.

*** Whole body limit is 5 rem to the whole body or 50 rem to any organ, whichever is less.

General public (non-occupational exposure):  100 mrem per year.

Unborn child:  500 mrem during the 9 months of gestation (for declared pregnant worker).

5.  ALARA--the basis of radiation safety guidelines

For maximum safety, it is assumed that any amount of radiation no matter how small is harmful.  Therefore, we work to keep exposures As Low As Reasonably Achievable (ALARA).  All employees are expected to actively seek ways to reduce exposures.  Sometimes minor procedural changes can significantly reduce exposures.

Part of our NRC license is a formalized ALARA program.  The RSO reviews film badge records and reports to the RSC quarterly exposures which are greater than 10% of any of the quarterly MPD's.  The RSC reviews the exposures and determines whether or not an investigation should be conducted.

It is rare for research personnel to have exposures even approaching the level requiring investigation.  Occasionally, hand and skin exposures exceed the 10% mark when large amounts of beta emitters are handled.

6.  Risk factors--What risk are you being exposed to?

The probability of getting cancer following a 1 rem exposure has been estimated to be 3 in 10,000 or 0.03%.  In other words, if 10,000 people received a 1 rem exposure, 3 cancers above normal incidence would be expected on the average.

Since the normal probability of getting cancer is 25% the added risk from small amounts of radiation is not measurable.  Still, it is assumed that any amount of radiation exposure entails some risk and so it should be minimized.

Genetic effects (passed from one generation to another) due to radiation probably occur very rarely.  They have not been observed even in populations exposed to significant amounts of radiation.

As has been mentioned, very few research personnel even approach 10% of the MPD and most film badge readings are <10 mrem.  Thus, there is very little risk associated with exposures you receive.  Nevertheless, we want to minimize the risk wherever possible.

7.  Pregnancy and the radiation worker

As a radiation worker you have the option of whether or not to "declare" your pregnancy.  Declaration of pregnancy is made by informing the RSO, in writing, of your pregnancy and the estimated date of conception.  The declaration may be made at any time during the pregnancy and the pregnancy does not have to be medically confirmed.

If you declare your pregnancy the facility has an obligation to limit the exposure to your unborn child to 500 millirem during the entire pregnancy.  We are also required to make efforts to insure that radiation exposure is received at a uniform rate without substantial variation from month to month.  For these reasons the RSO will monitor film badge results very closely during the course of the pregnancy.

If you choose not to declare your pregnancy the facility will still strive to keep your exposures as low as possible, but cannot prevent you from working in high exposure situations simply on the basis of pregnancy.  You may also "undeclare" your pregnancy anytime after it has been declared.  This does not have to made in writing, but that is preferred.

Should you continue working with radiation during pregnancy?  The RSO has materials to assist you in assessing the hazard to your unborn child and in making this decision.  There are usually several options that may be pursued and these should be discussed with your supervisor and the RSO.  In most cases, work may continue as long as some additional precautions are observed.  Examples are:  having others perform tasks that involve the highest potential exposures, wearing a pocket dosimeter, and using additional lead shielding.  In addition, the usual practices of using time, distance and shielding to limit external exposures and following safety rules to limit internal exposures must be exploited to their fullest extent.

It is important that everything be done to keep exposures to the unborn child as low as is reasonably achievable (ALARA).  Since a woman may not know she is pregnant for some time after conception, she must at all times exercise extreme care so as not to unintentionally harm a developing child.

Concerning the risk to the unborn child, it is important to keep in mind that many common activities such as smoking are known to be hazardous and may be more hazardous than any radiation received at work.  The risk to the fetus from external exposure is very small.  The greatest radiation hazard to the unborn child is ingestion or inhalation of RAM by the mother.  This is a very real hazard and one that is not measurable with film badges.  Extra care must be taken so as not to contaminate one's hands or face or get any material in a cut.  Again, safety rules are designed to help with this.

B.  Reducing Exposure

1.  Two types of exposure--internal and external

Internal exposure is caused by ingestion or inhalation of RAM.  H-3 and C-14 cause essentially no external exposure, but can cause internal exposure by transfer from contaminated skin to mouth.  This can also occur when using any other isotope.

I-125 and other volatile isotopes may be inhaled.  Use fume hoods.  I-125 is particularly dangerous because it is concentrated in the thyroid (fetal thyroid too after 12 weeks).

Since internal exposure can be detected ONLY by bioassay, make sure you schedule the appropriate bioassays (see Section II. I.).

External exposure is caused by high energy betas, gammas and x-rays.  It is measured with film and ring badges.

2.  Reducing internal exposure--laboratory safety rules

There must be NO eating, drinking, smoking or applying of cosmetics in areas where RAM are used.  This includes gum, mints, and soda.

Refrigerators designated for RAM must not contain any food or food containers.

Protective clothing, such as laboratory coats, gloves, etc., shall be worn by personnel whenever handling RAM.  Keep the lab coat buttoned.

Wear protective goggles if there is a danger of RAM splashing into the eyes.

Never pipet by mouth.

Carry out the work on plastic-backed absorbent material.

All work involving the possibility of airborne contamination must be done in a hood providing a uniform air flow of at least 100 cubic feet/minute with the sash one-half open.

Remove gloves before touching any object not being used in the experiment.  This includes phones, pens, light switches, calculators etc. Don't answer the phone with gloves on.

Wash hands thoroughly after working with RAM.

Monitor yourself, your lab coat and the area after finishing your work.

Some special precautions for P-32:  If you are using >1 mCi, ring badges and eye goggles are required.  Be careful with P-32 since it can be easily incorporated into DNA.

3.  Reducing external exposure--Time

For external exposures, the dose is directly proportional to the exposure time.  Thus, reduce this time as much as possible.  One method is to carefully plan each experiment and then perform a dry run without radioactivity to get all the bugs out.

4.  Reducing external exposure--Distance

Locate storage and use areas as far from occupied areas as possible.  Use long handling tools for handling >100 Ci of gamma or high-energy beta emitters.

For a point source, the exposure rate is inversely proportional to the square of the distance.  For example, 10 mR/hr at 4 feet is 2.5 mR/hr at 8 feet. The distance is doubled so the exposure rate is reduced by a factor of 4.  To calculate exposure rate at any distance use the following formula, which works both for getting farther from and closer to a source.

(Current distance)2

New mR/hr = Current mR/hr *	------------------------

(New distance)2

5.  Reducing external exposure--Shielding

Betas are stopped very effectively by plastic and wood.  A 1 cm thickness of Plexiglas is sufficient for almost all betas.  Lead is not to be used for high energy betas because x-rays are produced when the betas are slowed down by the lead.

For shielding gamma and x-rays use lead.  For our purposes, a two-inch thickness (equal to a lead brick) is sufficient.  For work with mixed beta and gamma, place the plastic shield closest to the source(s) and the lead one outside of that.

CAUTION

RADIOACTIVE

MATERIALS

C.  Posting Signs and Storing Materials

1.  Put this sign in areas where RAM is used or stored.  Examples are doors to rooms where materials are used, waste containers, refrigerators, freezers, hoods, and shields.  Remember not to store any food in labeled refrigerators.

2.  Also place the sign on containers of RAM such as beakers, flasks of stock solutions and lead pigs.  Add sufficient information to the label to allow others to take proper precautions.  Information such as the isotope, activity, date, chemical form and the initials of the person making up the solution should be included.  If multiple containers are to be used it's a good idea to label them before the procedure is started so you don't lose track of which one is which.

3.  Storage of radioactive materials

Sources of radiation (including radioactive waste) must be secured against unauthorized removal from the place of use or storage.  Safeguard RAM like you do your equipment--be alert and lock doors when you will be gone for more than a few minutes and at night.  THIS IS A Nuclear Regulatory Commission (NRC)/VA National Health Physics Program REQUIREMENT.

Properly and conspicuously label waste containers so they are not mistaken for regular trash.  Radioactive waste containers should also not be located near regular trash.  Disposal of RAM in the ordinary trash is prohibited.

Waste containers should be covered when not in active use.  In some cases, they may need to be shielded as well.  Use the results of your surveys as a guide.

D.  Ordering and receiving RAM

All requisitions for RAM must be signed by the RSO or his designee.  A list of all authorized users of RAM, the isotopes they are permitted to purchase and their maximum possession limits is on file in the Radiation Safety Office.

All packages must be delivered to Radiation Safety, Room 1C-369, Building 100, where they are logged in and checked for contamination.  You will be notified when the package is ready for pickup.

Each laboratory must have an inventory logbook showing receipt, use, transfer and disposal of all RAM.  A utilization log accompanies each package.

It is IMPERATIVE that all shipping containers and packing materials be surveyed before discarding.  If there is no contamination, remove or deface any radiation labels before discarding.  If any material is contaminated, notify the RSO.

Transferring RAM--Giving ownership of material to another investigator.

Within the facility:  Material may be transferred to another user PROVIDED:  (1) the user is authorized for it, (2) receipt of the material will not exceed the user's possession limit, and (3) permission is obtained from Radiation Safety before transferring the material.  Fill out the bottom portion of the utilization log and give one copy of the log to the lab receiving the material.

Outside the facility:  Transfers outside the hospital (including Baylor) may be done only under special circumstances.  Contact the RSO for further information.

NOTE:  The lab receiving the material must start a new inventory sheet for that material.

E.  Laboratory monitoring

1.  Definition:  The measurement and evaluation of radioactive contamination and radiation exposure levels in the lab.  It consists of survey meter readings and wipe tests taken on bench tops, hoods, door knobs, etc.  From these measurements, steps may be taken to decontaminate or to determine better handling and storage methods.

2.  Survey meters--requirements

Each lab must have available a calibrated survey meter that can detect the isotopes in use.  The only exception is those labs using only H-3 and C-14.

A check source must be available for each survey meter.  A check source reading is taken immediately after calibration and must be recorded on the meter. As long as subsequent check source readings are within (20% of the original one, the instrument calibration is still good.

Once each day before using a survey meter:

1)  Perform a battery check.  If this fails, change the batteries.  Do not use a meter with low batteries.

2)  Read the check source.  If the reading is within +/- 20% of the check source reading listed on the calibration sticker, the meter may be used.  Otherwise, do not use the meter and call the RSO.

Survey meters must be calibrated yearly and after major repair.  Radiation Safety will provide for the calibration of each meter and can give you a loaner meter during calibration.  Be sure to indicate the correct meter on your survey log when you are using a loaner.

3.  Survey meters--theory

Geiger counter--detects radiation by means of the ionizations produced in the probe.  Each ionization is registered as a count and/or a "click".

Ionization chamber--Also detects radiation by means of the ionizations produced, but reads directly in mR/hr.  It is much less energy-dependent than the Geiger counter.

Scintillation counter--Uses a solid crystal to detect beta or gamma radiation by means of the flashes of light (scintillations) produced in the crystal.  Measures in counts/minute which may be converted to activity.  It is extremely sensitive.

4.  Survey meters--selection and use

Tritium is not detectable with normal survey meters because its energy is too low--wipe test only.  For Carbon-14 and low energy betas use an end-window or pancake Geiger.  You must remove the end cap and get very close to the source.  A beta scintillation probe may also be used.

For high energy betas and gammas use Geiger, ion or scintillation meters.  A special scintillation probe is available for I-125.

Use the "clicks" as an indicator of hazard.  This is easier than looking at the meter and gives a faster response than the meter reading.

Be sure to move the probe slowly over the area being surveyed.  Even when listening to the "clicks", low contamination levels can be missed if you survey too quickly.

5.  Wipe tests--the most sensitive measure of removable contamination

Wet a cotton swab or piece of filter paper and wipe an area of 100 sq cm (approximately 4 x 4 inches).

Place swab in a test tube or vial, add cocktail if appropriate, and place it in a counter used to count the isotope being tested for.

The activity is not necessarily equal to the counts per minute obtained from the counter.  You must therefore convert from cpm to activity (disintegrations per minute or dpm) using the following formula:

dpm = cpm / efficiency.

For example, if the efficiency is 70% divide the cpm by 0.70 to obtain dpm.

6.  Trigger levels--action levels:  Survey meter readings or wipe test results requiring corrective action such as decontamination, adding shielding or rearranging the lab.  Corrective action is required when:

An area exhibits an exposure rate above 0.1 mR/hr.

A surface suspected of being contaminated exhibits an exposure rate above 0.1 mR/hr at a distance of 1 inch.

Wipe tests of a surface detect:	>2000 dpm/100 sq cm of either H-3 or C-14

>200 dpm/100 sq cm of any other isotope

If trigger levels are exceeded record the initial reading in the logbook, notify your lab's radiation safety supervisor or the RSO, take appropriate corrective action, record the action taken, and record the final survey result.

7.  Frequency and method of monitoring

NOTE:  The activity handled is the activity contained in any stock vial used in an experiment.  For example, if 100 Ci are drawn from a stock vial containing 1 mCi, 1 mCi has been handled.

a.  Continuous surveys:  Leave a survey meter on at all times while you are working with RAM.  You will then know immediately if a spill or some other problem has occurred.  For this reason we ask that labs not share survey meters.  A meter should be in use each time an experiment is being performed.

b.  Daily surveys:  After finishing a procedure and before leaving for lunch, check equipment, work area, clothes and hands with a survey meter.  No records need be kept, but it is in your own personal interest and that of coworkers and family to perform these checks.  In addition, wipe test at least your hands and clothing before leaving for the day.  Again note that these surveys do not have to be recorded, but they are the backbone of a good radiation safety program.

c.  Weekly surveys:  Labs handling 200 Ci at one time must RECORD surveys weekly.

d.  Monthly surveys:  All other labs must RECORD surveys monthly.

e.  Immediate surveys:  A survey must be RECORDED after any iodination procedure and after handling 5 mCi of P-32 (survey meter survey only after handling (1 mCi of P-32).

f.  Survey procedure

1) Have your map and sample log sheet approved by the RSO prior to beginning work with RAM.  Areas surveyed must include work benches, hoods, refrigerators, other isotope storage areas, waste storage, floors and sinks.  Recommended areas include non-radiation areas such as desks, phones and light switches.  Remember, you are surveying for your own safety so choose the areas you feel are appropriate.

2) Measure and record the mR/hr over each area in the log.  This step:  a) quickly detects any areas that are highly contaminated so corrective action may be taken immediately, b) measures contamination that may not be readily removable with a cotton swab and c) locates areas where sources may have been left out or the shielding needs to be modified.

3) Wipe test each area and record the results in dpm.

4) If corrective action is required, record initial reading, take the action, record the action taken and record final reading.  Contact your lab's radiation safety supervisor or the RSO if any trigger levels are exceeded or if there are any questions or problems.

F.  Emergency procedures and decontamination (See RSM for detailed instructions)

Minor spills-- small amounts of liquid, small activities, minimal personnel contamination.

NOTIFY persons in the area

PREVENT THE SPREAD--cover with absorbent paper

REPORT to your supervisor and the RSO

CLEAN UP--wearing gloves, carefully clean and place waste materials in plastic bags and then in radioactive trash

SURVEY--using survey meter and wipes, check floor, hood, hands, feet, etc

Major spill--large amounts of liquid, large activities, personnel contamination, large area affected, ANY spill in an unrestricted area or involving radioiodine.

CLEAR THE AREA--all persons not involved should leave

PREVENT THE SPREAD--cover with absorbent paper, but don't clean yet; potentially contaminated persons must not leave the area

SHIELD THE SOURCE--only if it can be done without further contamination or increased radiation exposure

CLOSE THE ROOM--leave room and lock doors to prevent entry

CALL FOR HELP--call 911, and then notify your supervisor and the RSO immediately

PERSONNEL DECONTAMINATION--remove contaminated clothing and store for further evaluation; clean skin areas with mild soap and lukewarm water

Decontamination tips:

Keep the contaminated area moist--it is more difficult to decontaminate after it has dried.

To clean, put on gloves and blot up the spill.  Do not wipe since this tends to spread the contamination further.  Next, scrub the surface with water and detergent or decontaminant foam.  Blot again and check for contamination.  Repeat until contamination is below trigger levels.

Do not clean skin roughly or with harsh detergents.  This may cause internal contamination.  Soap or decontaminant hand cleaners are best.

G.  Waste disposal

1.  Packaging and disposal

a.  The table below lists the most common waste types and disposal methods.  For other types of waste, including waste containing infectious, pathogenic or large amounts of biological material (e.g. excreta), consult Radiation Safety.

| Waste Type | Definition | Packaging |
| --- | --- | --- |
| Solid waste | Paper, plastic, and small amounts of glass (very small amounts of aqueous liquid also acceptable) containing any isotope. Does NOT include scintillation vials. | Place in pails, separated by isotope. |
| Deregulated liquid scintillation vials (LSV's) | Vials containing scintillation fluid with <0.05 Ci/ml of C-14 and/or H-3. | Place in pails. Don't overestimate activity a great deal since it's impossible to dispose of LSV's containing >0.05 Ci/ml of C-14/H-3 |
| Regulated LSV's | Vials containing scintillation fluid with reasonable amounts of isotopes. May also contain <0.05 Ci/ml of C-14 and/or H-3. | Place in pails, separated by isotope and labeled with activity of all isotopes present. |
| Sink disposal | Material that is readily water soluble or readily dispersible biological material and not otherwise hazardous. | Use large amounts of water to flush material. All disposal must be recorded on a sink log. |

b.  Waste containers (normally 5-gallon pails) and labels are provided by Radiation Safety.  Label each container with the name (s) and total activity of the isotope(s) present, type of waste, name of the authorized user, building and room numbers, date and your initials.

c.  Metallic sharp objects, such as needles or scalpel blades, must be placed in "SHARPS" containers and then placed in the pails provided by Radiation Safety.

d.  Any sink used for disposal must be registered with Radiation Safety.  There is no limit to the activity that may be poured down the drain, but out of concern for the environment, please try to limit activity as much as possible.  One way to do this is to hold waste for decay before pouring it out.

e.  Do not mix different waste types in the same container.  For example, don't throw the gloves used in an experiment into the same pail as the liquid scintillation vials (LSV's).  Also, LSV's are NOT solid waste.  They must be packaged separately.  Also, separate waste by isotope since different isotopes must be held in Radiation Safety for different lengths of time.

f.  Remember that all waste disposal, whether collected by Radiation Safety staff or poured down the drain, must be entered in your logbook.  All radioactivity coming into the facility must be accounted for.

2.  Waste pickup

a.  All waste is to be removed by Radiation Safety staff.  Other individuals may not dispose of radioactive waste or remove it from VA premises.  Please call ext. 5106 with your requests at least 1 day in advance.

b.  All waste must be ready for pickup and all labels completely filled out at the time the request for pickup is made.  Do not overfill the pails.  Containers that cannot be easily closed or those without properly filled out labels will not be collected by Radiation Safety staff.

3.  Additional information

a.  Occasionally monitor procedures to see that waste is not being created unnecessarily.

b.  Minimize the I2 phase of iodine (and thus the volatility) by maintaining a basic solution of radioactive waste.  Store iodine liquids and others having a gas phase in a hood.  Consult RSO for more iodine volatility information.

c.  If you have any questions, problems or suggestions relating to waste disposal, please do not hesitate to contact the RSO.

H.  Personnel dosimetry

1.  Introduction

a.  Personnel radiation exposure is reported in units of dose equivalent (millirem or milliSieverts).  It consists of three components, deep, eye, and shallow.

b.  Deep dose equivalent (DDE) is the amount of radiation absorbed by the body at a depth of 1 cm below the surface of the skin.  Eye dose equivalent (LDE or lens dose equivalent) is the amount of radiation absorbed by the lens of the eye.  Shallow dose equivalent (SDE) is the amount of radiation absorbed by the skin.  The body badge records all three dose equivalents while the ring badge records only SDE.

c.  Radiation exposures are reported quarterly.  A sample report with explanations of some of the entries is found in the Appendix.

d.  To start dosimetry service, fill out a form (available from Radiation Safety) with your name, Social Security Number, birthdate, and any previous employment where you were exposed to radiation.

e.  Contact Radiation Safety if you change labs, need additional badges, need to change any information, lose a badge, etc.  If you leave the VA, be sure to return all badges to Radiation Safety.

2.  Types of badges

Luxel( badges--used to measure exposure to the whole body and skin.  The badges contain aluminum oxide which is read by a laser to determine dose.  Filters inside the badge are used to determine the energy and type of the radiation.  Whole body and skin doses are recorded as deep and shallow dose, respectively.

Thermoluminescent dosimeters (TLD's)--Radiation excites atoms in the TLD which give off the extra energy in the form of light when the TLD is later heated.  The amount of light given off is proportional to the dose.  Some research personnel wear TLD ring badges.

Pocket dosimeters--miniature ionization chambers used for special monitoring situations such as visitors to the lab.  Contact the RSO for guidance.

3.  Rules for using badges

Wear the appropriate badges EVERY time you are working with radiation.  This is a medical center requirement that will be checked during radiation safety audits of your lab.  Failure to comply could result in losing the privilege of working with RAM.

Always leave your badges at work and in a safe, radiation-free location.

Do not wear a badge during any medical procedures.

If a badge is lost or contaminated, contact Radiation Safety at extension 7188.

Turn in badges promptly at the end of each wear period.

4.  Interpreting dosimetry reports

a.  While no level of exposure can be considered absolutely safe, a monthly dose of 30-40 millirem received 2-3 times during the year should not be of concern.  If more dose is received or if there is consistent, quarterly exposure, there is not necessarily any danger, but you might want to review your handling procedures.

b.  Note from the table of MPD's in Section II A, that the whole-body MPD is 1250 mrem/quarter.  Even at this level, there are no scientifically proven effects of radiation.  Of course we want to keep exposures ALARA, so procedures are examined long before the MPD is reached.

c.  You are entitled to see and review all your monitoring results including those from bioassays.  Each lab receives a copy of the dosimetry report and an additional copy is filed in the Radiation Safety Office.  Contact the RSO if there are ever any problems with reviewing your results.

I.  Bioassays

NOTE:  The activity handled is the activity contained in any stock vial used in an experiment.  For example, if 500 Ci are drawn from a stock vial containing 10 mCi, 10 mCi have been handled.

1. Radioiodine:

a.  Bioassay required within 6-72 hours of handling >10 mCi.

b.  Bioassay recommended after using smaller amounts of radioiodine, e.g. > 1 mCi.

c.  Baseline bioassay required for new employees in radioiodine labs.

2.  Tritium:  Urine count required when >100 mCi  is handled in one month or at one time.  Baseline bioassay also required.

3.  To obtain a bioassay:  Call extension 7188 to schedule a thyroid count or to arrange for a tritium bioassay.  The thyroid count is performed in the Radiation Safety Office and takes about 5 minutes.

4.  Results--You will be notified of all bioassay results.  If a positive thyroid bioassay is obtained, you will be recounted immediately to verify it.  If the result is still positive, you will be given recommendations based upon the level of iodine and scheduled for a recount in a few days.  If >0.015 (Ci is found, the RSO will be notified.  The RSO may give further recommendations and may notify your supervisor and the RSC, depending on the exact level.  We are required by the NRC to perform investigations and repeat bioassays when >0.12 (Ci of I-125 is found.

5.  Responsibilities--You and your investigator are responsible to see that the required bioassays are obtained.  The Radiation Safety Office will compare isotope receipt records with bioassay records.  If required bioassays are not obtained, the RSC will be notified and you could lose your authorization to use isotopes.

J.  Miscellaneous Procedures

1.  Protocol approval by the Radiation Safety Committee

a.  As part of the overall project approval process the investigator submits to the Research Office an application to use RAM.  A subcommittee of the RSC reviews the application and, if approved, presents it to the full RSC.  Once the RSC approves the application, a sublicense is issued and you may order RAM and begin work.

b.  Sublicenses:  Upon approval for use of RAM, the investigator is issued a sublicense listing approved isotopes, quantities, procedures, and locations as well as required survey frequencies and other information pertinent to the lab's radiation safety program.  Any changes to the sublicense (e.g., new isotopes, more activity, change of rooms) must be approved by the RSO and the Chairman, RSC before they are implemented.  To request changes, submit a memo to the RSO.

2.  Starting new employees

a.  Arrange for training.  Classes for new employees are held the third Tuesday of each month.  Call the RSO to sign up.  New workers CANNOT work with RAM until they are trained at this facility.

b.  Request monitoring badges.

c.  Obtain baseline bioassays if he/she will be working with radioiodine or large amounts of tritium.

3.  Discontinuing radioactive material work in a lab (including remodeling)

a.  Discard all RAM as radioactive waste or transfer it to other users.

b.  Contact the RSO for a closeout survey/wipe test.

c.  When the area is certified as uncontaminated, remove all signs and stickers from doors, refrigerators, etc.  The area may then be designated for other uses.

K.  Radiation Safety Phone Numbers

Radiation Safety Officer, Jeff Triebel, x7396 or x7188, pager 713-841-0933

Assistant RSO, Stan Bravenec, x7188, pager 877-205-8348

Safety Technician, Kim Henderson, x5106, pager 713-841-0304

Chairman, RSC, Dr. Vij, x7114

IV.  Licenses, Rights, and Responsibilities

A.  VA Master Materials License/Nuclear Regulatory Commission license

Since the Houston VA is a federal facility, we are licensed by the NRC rather than the state under a VA Master Materials License wich is administered by the VA National Health Physics Program (VA NHPP).  The license specifies which isotopes may be used, how they may be used, and their maximum activities and chemical forms.  Each laboratory has a nuclear materials sublicense that specifies the radionuclide, activity, and chemical form that is authorized for each investigator.

This type of license in known as a Broad Scope license and places great responsibility upon management, the RSC, the RSO, individual authorized users and each technician.  The NRC or NHPP inspect us approximately yearly to make sure we are in compliance with the license.

Licensed material may be used ONLY at this facility.  See Section II. D.

B.  Radiation Safety Committee (RSC)--According to the license, RAM may only be used by or under the supervision of individuals designated by the RSC.  The RSC, therefore, has been given direct responsibility from management to administer the radiation safety program and meets at least quarterly to discuss radiation safety problems, evaluate research protocols and to see that RAM is used in a manner consistent with ALARA.

C.  Radiation Safety Officer (RSO)

The RSO is delegated authority by the RSC to carry out the day to day functions of the radiation safety program.  These functions include performing inspections of laboratory facilities, procedures, and logbooks; investigating abnormal radiation exposures and accidents; recommending changes in procedures; administering the dosimetry program; and training users.

The RSO serves as a technical consultant to the RSC and to all users of RAM.  You should contact the RSO:  1) to review personnel dosimetry results, 2) to see regulations, license information and inspection reports, 3) if you are pregnant, 4) if you suspect radiation safety problems, and 5) if you have any questions about radiation or radiation safety.

D.  Worker rights

a.  You have a right to work in a safe environment with respect to radiation.  This includes being trained and informed of radiation hazards in the area where you work.

b.  You are entitled to see your personnel dosimetry results.  Contact the RSO if there are any problems with this.

c.  You may report violations of NRC requirements to your supervisor, the RSO, a member of the RSC or directly to the NRC, or the NHPP, or VA Inspector General (Please try to resolve problems in this order).  Phone numbers for the NRC are posted in several locations on a form entitled NOTICE TO EMPLOYEES (NRC Form 3).  You CANNOT be fired or otherwise discriminated against for reporting violations to the NRC.

E.  Worker responsibilities

a.  Know and follow all radiation safety rules that pertain to your job.

b.  Report any violations of safety rules.

LANDAUER

Landauer, Inc.   2 Science Road   Glenwood, Illinois   60425-1586	Accredited by the National Institute of	Telephone:  (708)755-7000	Standards and Technology through

NVLAP

RADIATION DOSIMETRY REPORT

|  |  |  |  |  |  | DOSE EQUIVALENT (MREM) FOR PERIODS SHOWN BELOW | YEAR TO DATE DOSE EQUIVALENT (MREM) | LIFETIME DOSE EQUIVALENT (MREM) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| NAME | PART. # | TYPE OF RECORD | DOSIMETER TYPE | NOTES | RADIATION QUALITY | DEEP DDE | EYE LDE | SHALLOW SDE | DEEP DDE | EYE LDE | SHALLOW SDE | DEEP DDE | EYE LDE | SHALLOW SDE |
| FOR MONITORING PERIOD: |  |  |  |  | 11/01/04 - 12/31/04 | 2004 | 2004 |
| CONTROL ROENTGEN, W. BECQUEREL, H. CURIE, M. | 00RAD 0001 0002 0003 | CONTROL ASSIGNED CHEST COLLAR R FINGER WHL BODY R FINGER WHL BODY | G G G U G U G | UNUSED | PM | 10 100 M 100 100 | 10 100 M 100 100 | 10 100 M 100 70 120 100 | 360 400 600 | 400 410 600 | 410 500 450 560 600 | 360 400 600 | 400 410 600 | 410 500 450 560 600 |

Notes:

1.	Control reading represents background radiation and is subtracted from all dosimeters in this group.

2.	Participant number 0001 wears two badges, one on the collar and one under the lead apron.  The dose assigned to him is taken to be the dose to the collar badge.  We are able to calculate effective dose based upon both the collar and chest readings and use that as the assigned dose if necessary.

3.	Participant number 0002 did not use his film badge during the month, but did use his ring badge.

4.	Participant number 0003 was exposed to medium energy x or gamma rays as shown by the "PM" under "RADIATION QUALITY".  The back of the dosimetry report explains this term as well as most of the other items on the report.

Radioisotope Pick Up Procedures

- Most packages are delivered daily between the hours of 8:00am and 9:30am.  After we process your package, your Lab will be contacted.

- Someone from Safety will be available in building 100, room 1C – 369 to issue packages twice a day. Safety staff will be available during the morning hours of 8:00am – 10:00am, and again in the afternoon from 2:30pm – 4:30pm.  Hopefully, this will reduce the time that unclaimed packages remain in our lab and ensures that you will receive your package in a timelier manner.

- Laboratory personnel assigned to pick up packages will be required to sign for their package, as well as provide identification. If Laboratory personnel arrive without valid VA identification, they will not receive the package.

4.  If Laboratory personnel are not available to pick up packages during

the above stated times, please contact Kimberly Henderson at

x5106/Pgr: (713) 841- 0304, or Stan Bravenec at x7188/Pgr: 877-205-8348

so other arrangements can be made.

Waste Pick Up Procedures

Radioactive waste pick up will be conducted on Mondays and Thursdays only.  Contact Kimberly Henderson at extension 5106 and arrange for radioactive waste pick up on one of these two days.

The following information will be needed for waste pick up:

Building location

Room location

How many replacement containers are needed

Completed waste forms attached to the container

NOTE: If waste forms have not been completed, your waste will not be picked up.  If your waste has not been properly segregated, it will not be picked up.

Please ensure that your staff has been trained in proper waste disposal procedures.  If your staff needs additional training, contact Stan Bravenec at extension 7188 for assistance.

Collection and Distribution of Radiation Monitoring Badges

- Badges will be distributed as necessary, depending if you are on the monthly schedule or bi-monthly schedule. Badges for researchers will be placed in the mailboxes located in building 110 on the last day of the bi-monthly wear period.

- Badge coordinators are responsible for collecting badges and ensuring that they are delivered to Radiation Safety by the Fifth Work Day of the new wear period for processing. The badge coordinator can utilize inter-office mail. Our mail code is 138 S.  Or badges can be dropped off at building 100, room 1C-369, located in the Nuclear Medicine Department.  If safety staff is not available, please leave the badges in the drop box located on the door of room 1C-369.

- If badges can not be collected and delivered by the fifth work day of the new wear period, an explanation needs to be provided to the Radiation Safety Officer, or Assistant Radiation Safety Officer.

- If you know that someone will be out for an extended period of time due to vacation, pregnancy, or illness, collect their badge before they leave and notify Radiation Safety.

- Badge returns are a part of your laboratory/Area Radiation Safety Audit.  The chairman of the Radiation Safety Committee and the Chief of Staff reviews radiation Safety Audits.  If badges are lost, missing, or returned late, please provide an explanation to the Radiation Safety Office.

- The badge coordinator is also responsible for notifying Radiation Safety of arriving and departing personnel so that they can be processed in a timely manner.  If you have any questions, please contact Kimberly Henderson at extension 5106, or Stan Bravenec at extension 7188.

Reporting Radiation Safety Concerns to Outside Agencies

VHA workers may report radiation safety concerns to their supervisors, to their Radiation Safety Officer, to the National Health Physics Program, to the VA Inspector General, or to the Nuclear Regulatory Commission. Radiation Safety Officers should include information about the resources discussed below during routine training sessions for radiation workers and others who work with or around radioactive materials. Local medical center or facility supervisors and/or Radiation Safety Officers are normally the first resource for radiation workers to use to voice radiation safety concerns. Other local resources include the Chair, Radiation Safety Committee, committee members, or senior management. The National Health Physics Program (NHPP) is an outside resource that staff may contact to communicate radiation safety concerns. The NHPP is under the aegis of the National Radiation Safety Committee and senior headquarters-level management. The NHPP has established procedures to evaluate, in confidence, worker radiation safety concerns and/or allegations. The NHPP point of contact is E. Lynn McGuire, NHPP Director, at (501) 257-1571. The VA Inspector General is another outside resource that staff may contact to communicate radiation safety concerns. The telephone number for the VA Inspector General's "Hotline" is (800) 488-8244. The Nuclear Regulatory Commission is also an outside resource that staff may contact to communicate radiation safety concerns. Medical centers or facilities with a Nuclear Regulatory Commission license are required to post the NRC Form 3 with information about points of contact. As an example, one point of contact listed on the NRC Form 3 is the NRC Safety Hotline at (800) 695-7403. Reporting radiation safety concerns is considered a protected activity under 10 Code of Federal Regulations Parts 19 and 30, the Civil Service Reform Act of 1978, and the Whistleblower Protection Act of 1989.