NASA Electronic Parts and Packaging Program

Operation of a Prototype Silicon-Germanium, Silicon-On-Insulator Operational Amplifier

Type OPA211 Under Extreme Temperatures

Richard Patterson, NASA Glenn Research Center, U.S.A.

Ahmad Hammoud, ASRC Aerospace / NASA GRC, U.S.A.

Scope of Work

A new prototype operational amplifier based on silicon germanium and silicon-on-insulator technologies was recently introduced by Texas Instruments, Inc.  The OPA211 device is a low power, high speed precision amplifier with rail-to-rail output swing capability and low noise [1].  It is rated for operation from -40 °C to +125 °C with a 30 mA output current capability, and it can operate from a single or dual supply.  The amplifier can be used in applications such as signal processing, filters, instrumentation, A/D drivers, and buffers for transducers.  Table I shows some of the device manufacturer’s specifications.

Table I.  Specifications of the OPA211 operational amplifier [1].

| Parameter (Unit) | Value |
| --- | --- |
| Supply Voltage (V) | +4.5 to +36 (single) ±2.25 to ±18 (dual) |
| Supply Current (mA) | 3.6 |
| Output Current (mA) | 30 |
| Bandwidth (MHz) | 80 |
| Slew Rate (V/µs) | 27 |
| Temperature Range (°C) | -40 to +125 |
| Package | SO-8 plastic |
| Lot # | POPA211AID |

Since silicon germanium electronics are good at cryogenic temperatures and their silicon-on-insulator counterparts are suited for high temperatures, the OPA211 device has the potential for use in applications where wide temperature swings, such as those of space exploration missions, are anticipated.  A circuit configured in an inverting configuration was constructed utilizing the OPA211 chip and a few passive components.  The circuit was evaluated in the temperature range between -195 (C to +140 (C in terms of signal gain and phase shift, and supply current.  These properties were recorded at selected test temperatures in the frequency range of 1 kHz to 10 MHz.  At each test temperature, the device was allowed to soak for 15 minutes before any measurements were made.  A digital oscilloscope was used to capture the waveforms of the input and output signals of the amplifier.  Cold-restart capability, i.e. power switched on while the device was at cryogenic temperatures, was also investigated.  In addition, the effects of thermal cycling under a wide temperature range on the operation of this high performance amplifier were determined.  The circuit was exposed to a total of 10 cycles between -195 (C and +140 (C at a temperature rate of 10 (C/minute.  Following the thermal cycling, circuit measurements were then performed at the test temperatures of +25, -175, and +140(C.

Temperature Effects

The gain of the amplifier at various test temperatures in the frequency range of 1 kHz to 10 MHz is shown in Figure 1.  It can be clearly seen that the gain of the amplifier remained relatively the same, regardless of the test temperature, until the test frequency of 2 MHz was reached.  Beyond that frequency, the gain exhibited changes in its magnitude and roll-off frequency.  For example, while the roll-off frequency was at 6.5 MHz at room temperature, it increased to about 7 MHz at the high temperatures between +100 °C and +140 °C.  Conversely, when exposed to cryogenic temperatures, i.e. -100 °C to -175 °C, the roll-off frequency of the gain fell in the range between 3 and 4 MHz.  These changes are not significant, and the drop in gain at very high frequencies is typical of most operational amplifiers.  In terms of temperature, therefore, the amplifier circuit operated well in the temperature range between -175 °C and +140 °C.  Although temperature testing, as stated earlier, was to include -195 °C, the results at that temperature revealed a harmonic noise overriding both the input and the output signals.  It is suspected that the interference was introduced by the solenoid valve responsible for delivering the liquid nitrogen inside the chamber rather than temperature-induced effect on the operation of the circuit.  Thus, these results were excluded.

Figure 1.  Gain versus frequency at various temperatures prior to thermal cycling.

Figure 2 depicts the phase shift property of the amplifier as a function of temperature and frequency.  Similar to the gain characteristics, the phase began to undergo slight and gradual decrease at about frequency of 2 MHz.  Once again, these slight changes became more profound at the cryogenic test temperatures, as evident by the slope of the phase change.

Figure 2.  Phase shift versus frequency at various temperatures prior to thermal cycling.

Cold Re-Start

Cold-restart capability of the OPA211 amplifier was investigated at both -175 °C and at -195 °C by allowing the circuit to soak at each of these temperatures for at least 20 minutes without the application of supply voltage or input signal.  Power was then applied, and measurements were taken on the output characteristics.  The amplifier circuit was able to successfully cold-restart at either of the two temperatures, and the results obtained were similar to those obtained earlier at the respective temperature.

Effects of Thermal Cycling

The effects of thermal cycling under a wide temperature range on the operation of the OPA211 operational amplifier were investigated by subjecting it to a total of 10 cycles between -195 °C and +140 °C at a temperature rate of 10 °C/minute.  The amplifier gain obtained after the thermal cycling is shown in Figure 3 as a function of frequency at the test temperatures of +140, +25, and -175 (C.  It can be clearly seen that these results were very similar to those obtained prior to cycling that are depicted in Figure 1 and, thus, it can be concluded that the thermal cycling had no effect on the amplifier’s gain. Similarly, the phase shift of the amplifier did not undergo much change with cycling, as shown in Figure 4.  In addition to maintaining its electrical performance with cycling, the operational amplifier chip did not suffer any deterioration or damage in its packaging due to this limited thermal cycling.

Figure 3.  Gain versus frequency at various temperatures after thermal cycling.

Figure 4.  Phase shift versus frequency at various temperatures after thermal cycling.

The amplifier supply current was also recorded at various test frequencies and temperatures.  Current values obtained at the test temperatures of +140, +25, and -175 °C for pre- and post-cycling conditions are shown in Table II.  The data reported are those obtained at 1 MHz frequency.  It can be seen that the supply current dropped with decrease in temperature and increased slightly at high temperatures.  As far as cycling is concerned, no major change occurred in the supply current, at any given temperature, as a result of the thermal cycling.

Table II.  Supply current at various temperatures for pre- and post-cycling conditions.

|  | Pre-cycling | Post-cycling |
| --- | --- | --- |
| Temperature (°C) | Supply Current (mA) |
| +140 | 4.23 | 4.26 |
| +25 | 3.00 | 3.04 |
| -175 | 1.12 | 1.14 |

Waveforms of the input (blue curves) and the output (red curves) signals of the amplifier were captured at 25, -175, and +140 (C prior to and after the thermal cycling.  These waveforms are depicted in Figures 5, 6, and 7 at the test frequency of 100 kHz, 500 kHz, and 1 MHz, respectively.  It can be seen that while no variations were observed in the amplifier’s input and output signals at +140 °C, slight noise occurred at the peak region of both the input and the output signals at the test temperature of -175 °C.  This noise, which was more evident at high frequency as shown in Figure 7, appeared prior to as well after the cycling.  Comparison of the other waveforms of the amplifier that were obtained at other frequencies and test temperatures before and after the 10 cycle exposure, revealed no distinction.  Thus, the thermal cycling activity performed on the circuit had no influence on its operational characteristics.

Pre 25 °C

Pre -175 °C

Pre +140 °C

Post 25 °C

Post -175 °C

Post +140 °C

Pre 25 °C

Pre -175 °C

Pre +140 °C

Post 25 °C

Post -175 °C

Post +140

Pre 25 °C

Pre -175 °C

Pre +140 °C

Post 25 °C

Post -175 °C

Post +140

Conclusions

A new prototype operational amplifier based on silicon germanium and silicon-on-insulator technologies was evaluated for potential use in extreme temperature environments.  The OPA211 device is a low power, high speed precision operational amplifier with rail-to-rail output swing capability, and is rated for operation between -40 °C and +125 °C.  An inverter circuit was constructed utilizing the OPA211 chip and a few passive components.  The circuit was evaluated in the temperature range between -195 (C to +140 (C in terms of signal gain and phase shift, and supply current.  Cold-restart capability, i.e. power switched on while the device was at cryogenic temperatures, was also investigated.  In addition, the effects of thermal cycling under a wide temperature range on the operation of this high performance amplifier were determined.  The results from this work indicate that this silicon germanium, silicon-on-insulator amplifier chip maintained good operation between +140 (C and -175 (C.  The limited thermal cycling had no effect on the performance of the amplifier and it was able to cold re-start at both -175 °C and -195 (C.  In addition, no physical degradation or packaging damage was introduced due to either extreme temperature exposure or thermal cycling.  The good performance exhibited by this silicon germanium, silicon-on-insulator amplifier under short term exposure to temperatures outside its specified regime renders it as a potential candidate for use in space exploration missions under extreme temperatures.  Additional and more comprehensive characterization is, however, required to establish the reliability and suitability of such devices for long term use in extreme temperature applications.

References

1.	Texas Instruments, Inc., “1.1nV/ Noise, Low Power, Precision Operational Amplifier in Tiny DFN-8 Package,” Data Sheet, SBOS377 - October 2006.

Acknowledgments

This work was performed under the NASA Glenn Research Center, GESS-2 Contract # NNC06BA07B. Funding was provided from the NASA Electronic Parts and Packaging (NEPP) Program Task “Reliability of SiGe, SOI, and Advanced Mixed Signal Devices for Cryogenic Power Electronics”.

# Text boxes

Fig 5.  Input (blue) & output (red) waveforms at various temperatures at 100 kHz for pre- and post-cycling conditions.

Fig 6.  Input (blue) & output (red) waveforms at various temperatures at 500 kHz for pre- and post-cycling conditions.

Fig 7.  Input (blue) & output (red) waveforms at various temperatures at 1 MHz for pre- and post-cycling conditions.