# Installing Advanced Meters with ESPC: Ft. Bragg NC as a Case Study

An ESPC contract with Honeywell – utilizing the Army Corps of Engineers Huntsville contract vehicle -- is now saving Fort Bragg $8.5 million a year.  Essential to achieving these savings has been the installation of advanced metering of exactly the type mandated by the provisions in pending federal energy legislation – that feeds interval level data into an energy information system (EIS) which is used to optimize the savings from several other improvements in capital equipment and operating procedures.  The Fort Bragg ESPC is one of the best possible illustrations of the basic truth about metering -- the meters themselves don't matter, it's what is done with the information that matters. This case study has been adapted from a Honeywell publication, with very slight editing to emphasize the advanced metering application.

Fort Bragg, an 84-year-old U.S. Army post in Fayetteville, N.C., has plenty to brag about. It’s one of the largest Army installations in the world and has been designated as an Army Community of Excellence. It’s also home to the 18th Airborne Corps, the 82nd Airborne Division, Special Forces Command, and numerous other commands, as well as 44,000 soldiers and their families.

Now, Fort Bragg can also take pride in its energy savings. The post is committed to the U.S. Army’s mandate of reducing energy use 30 percent by 2005, and 35% by 2010. To accomplish this, Fort Bragg and the Army Corps of Engineers have authorized Honeywell to invest $62 million worth of capital improvements to facilities and infrastructure through an Energy Savings Performance Contract (ESPC). Under this contract, the cost of these improvements will be paid for with the energy savings that result.

Fort Bragg and Honeywell have developed a key partnership over the last four years that has resulted in energy savings and quality of life improvements to the installation. As a result of this partnership, Fort Bragg saves more than $8.5 million a year on energy and has cut total energy costs by more than 25 percent. To date, the ESPC program has netted more than $20 million in energy costs savings for Fort Bragg. No small feat for an Army post with almost 30 million square feet of facilities.

A Partnership That Pays

Honeywell’s relationship with Fort Bragg began in 1997 through an Energy Savings Performance Contract (ESPC) program with the U.S. Army Engineering and Support Center in Huntsville, Ala. This contracting vehicle allows federal facilities, such as Fort Bragg, to use money saved on energy and operating costs to pay for capital improvements.

Since the partnership began, Honeywell has undertaken more than 25 projects to reduce energy consumption and costs at Fort Bragg. These include:

- Expanding the post’s limited underground natural gas distribution system with a new system that provides extended natural gas use at the post.

- Installing new, high-efficiency, natural gas-fired steam and hot-water boilers to replace one of the post’s outdated central steam plants.

- Converting warehouses, vehicle maintenance facilities and hangers from forced induction heating to radiant heating, which has improved working conditions.

- Upgrading the central plants with new chillers, cooling towers, variable frequency drive motors and new controls, and providing full-service maintenance.

- Extending existing post-wide HVAC automation to DDC controls to provide 24-hour control and monitoring of mechanical systems.

- Replacing aging and oversized centrifugal chillers with ones that use a third of the energy.

- Installing high-efficiency lighting, including lamps and ballasts, throughout the post.

The ESPC team also tackled costs on the energy supply side. Honeywell assisted Fort Bragg in obtaining new rate structures with local gas and electric utilities, earning substantial savings for the post. In 2002, for example, Fort Bragg was able to claim more than $5.4 million in savings through supply-side management.

Capturing Supply-Side Savings

Capturing supply-side savings is a crucial part of the ESPC equation. Without doing so, Fort Bragg wouldn’t be able to fund other necessary capital improvements. That’s where T.E.A.M.( (Total Energy Account Management) Services, a concept Honeywell developed in partnership with Fort Bragg and the U.S. Army Corp of Engineers, comes in.

How has the post used the savings captured through T.E.A.M( to produce still more savings? The most unique project to date is the installation of an Energy Information System (EIS). EIS is Fort Bragg’s energy control “cockpit,” which in turn supports the T.E.A.M.( concept. The EIS is a centralized computer terminal center that monitors utility consumption at Fort Bragg from more than 256 meters, remotely controls central plant and facilities equipment, automatically operates peak shaving generators, and provides reporting and data collection for billing of Fort Bragg’s reimbursable customers.

In addition to capturing supply- and demand-side savings, T.E.A.M.( reduces costs and helps manage risk in purchasing energy. It also maximizes delivery efficiency, selects energy sources and switches fuels in real time to reduce costs and minimize emissions. Simply put, T.E.A.M.( Services is an integrated, centrally controlled approach to energy management.

An integral and essential element for implementing T.E.A.M. ( Services and achieving the tens of millions of dollars in savings that the Army has obtained at Ft Bragg has been the installation of meters that feed interval level data into the EIS  -- just the type of advanced metering that is called for in pending federal energy legislation.   Like all meters, they do not achieve savings by themselves, and therefore are not separated out as an ECM, nor is there a savings guarantee associated with the meters per se.  They do, however, provide the essential information for (1) identifying facilities with high conservation potential, (2) analyzing the load profiles so that purchases of power can be optimized, (3) identifying locations and opportunities for cogeneration applications, (4) together with real-time pricing data from suppliers, optimizing the balance between purchasing power and using the on-base generation and (5) generating positive cash flow through accurate billing for reimbursements from tenants on the base. They are critical, therefore, for achieving the savings that many of the capital investments and operating procedure improvements in the ECM package are designed to yield.

Making a Team Effort

Integrated teams have been an important factor in the successes at Fort Bragg. A leadership team – known as the Integrated Strategic Team (IST) – manages and directs the ESPC Program. The team, which is led by the Fort Bragg PWBC directorate, includes key personnel from Fort Bragg, Honeywell, and the U.S. Army Corps of Engineers.

The IST sets up tactical teams for each task order and includes representatives from the post areas included in the upgrade. As Fort Bragg’s energy advocate and partner, Honeywell also reviews new construction projects to ensure the equipment used will be energy efficient and can be integrated into the EIS.

Honeywell posts personnel onsite to manage the day-to-day pieces of the projects. Currently the on-site staff comprises 30 service personnel, including a full-time technical resource manager and a measurement and verification specialist, who is responsible for T.E.A.M.( Services.

Working Together Through 2022

Fort Bragg has contracted Honeywell to provide service support to the post through 2022. The most recent contract calls for Honeywell to install more than $11.2 million in energy efficient equipment and operational improvements at the central plants. Fort Bragg anticipates these improvements will save the post an extra $1.8 million per year. As part of this new contract, Honeywell service staff will run and maintain the central plants, which provide Fort Bragg with heating, air conditioning and hot water.

In addition to earning bragging rights as a leader in the Army’s fight to cut energy use, Fort Bragg also has earned more formal recognition for its energy efficiency. The Federal Energy Management Program recently designated Fort Bragg’s key recreational facility – the Cleland Multipurpose Sports Complex – as a Federal Energy Saver Showcase project.