March 18, 2004

Water Docket

Environmental Protection Agency

Mail Code: 4101 T

1200 Pennsylvania Avenue, NW

Washington, DC  20460

Re:  AF&PA Comments on EPA Preliminary Effluent Guidelines Program Plan for 2004/2005 (“Plan”):  Docket No. OW-2003-0074

Dear Sir or Madam:

The American Forest & Paper Association (AF&PA) is pleased to submit these comments on the preliminary Effluent Guidelines Program Plan for 2004-2005 (the “Plan”).  AF&PA is the national trade association of the forest, paper and wood products industry.  Our organization represents approximately 250 member companies and related trade associations that grow, harvest, and process wood and wood fiber; manufacture pulp, paper and paperboard from both virgin and recycled fiber; and produce solid wood products.  AF&PA members own facilities that are included in several of the subcategories discussed in the Plan.  AF&PA also is a signatory of the comments on the Plan submitted by Barnes and Thornburg, and we support them in their entirety.

General Comments

AF&PA supports Barnes and Thornburg’s critique of EPA’s use of Toxics Release Inventory (TRI) and Pollutant Compliance System (PCS) information as the basis for determining categories for potential effluent guidelines development.  TRI and PCS data are not the appropriate sources of information to make risk determinations for effluent guidelines development.

AF&PA, however, does agree with EPA’s decision not to rely heavily on the water quality impairment data in its analysis.  EPA’s Engineering and Analysis Division considered, but did not use, information from the National Water Quality Inventory, Clean Water Act (CWA) section 303(d) Impaired Waters database and other water quality data in the screening level analysis.  EPA notes in its Factor 1 Analysis, “Additional review is needed to make these resources more useful for achieving EPA’s goal of identifying potential categories responsible for water quality impairment.”   EPA indicated weaknesses in the data, noting that under the National Water Quality Inventory, “[t]he majority of U.S. waters remain unassessed,” and, that, although the section 303(d) data contains information from the 1998 and 2000 state reporting cycles, “[m]ost information, however, is from 1998.”  AF&PA agrees with EPA’s determination not to employ incomplete and outdated information in the effluent guidelines screening level analysis.

Pulp and Paper Phase I

EPA indicates that it excluded categories from further consideration for effluent guidelines development if “EPA had promulgated effluent guidelines within the past seven years.”  68 Fed. Reg. 75521.  AF&PA supports this decision, and the exclusion of pulp and paper Phase I mills on this basis.  As EPA indicated, there is lag time between the promulgation of effluent guidelines and the incorporation of their requirements into NPDES permits.  Time also is required to fully assess the environmental improvement resulting from the reduced loadings attributable to compliance with the revised NPDES permits.  Therefore, it makes sense to exclude from further consideration facilities in these categories.

Pulp and Paper Phase II

Introduction

As indicated in EPA’s memorandum explaining its ranking methodology (“Methodology”),  in August 2002, EPA made the decision not to promulgate revised effluent guidelines for the Phase II mills.  Nonetheless, EPA has included pulp and paper Phase II mills as one of the categories for which “EPA will continue investigating pollutant discharges from these industrial point source categories… and that “at the present time, the Agency does not have enough information to determine” whether these categories warrant “revision of the applicable effluent guideline.”  68. Fed. Reg. 75528.  The Agency cites toxicity concerns as reflected in TRI rankings and other issues (including those raised by stakeholders) as the basis for its additional investigation.  Our discussion below considers all of those issues and demonstrates that the Agency currently has enough information to determine that additional investigation is not required and effluent guidelines revisions are not justified for the Phase II mills.

There are no New Pollution Control Technologies for this Subcategory that Would Warrant 	Additional Investigation

EPA’s decision not to promulgate effluent guidelines in 2002 was based, in part, on EPA’s assessment that “more stringent conventional pollutant limitations … would not pass the Best Conventional Pollutant Control Technology “cost-reasonableness’” test.”  Further, EPA did not see the need to “promulgate national categorical best management practices” for pulp and paper Phase II facilities.

We agree with EPA’s 2002 decision but disagree with EPA’s current conclusion that it has insufficient information on the availability of demonstrated treatment technologies, process changes, or pollution prevention measures that might be economically achievable and that would be effective in reducing the pollutants remaining in the wastewater from facilities in this industrial category.  EPA concluded that it was too difficult to make that assessment, focusing instead only on the estimated risk presented by current discharges.  Table VI-1 (68 Fed. Reg. 75523) indicates that EPA believes further information is needed to assess the need to develop more stringent effluent guidelines for Phase II mills.  These mills consist of unbleached chemical pulp mills, nonintegrated mills making paper from purchased pulp, and mills producing paper and paperboard from recycled fiber.  EPA should know, from almost continuous study of the industry over the past 25 years, that the same basic pollution control measures are available that were the basis of current effluent guidelines for the Phase II mills.

EPA completed its review of the bleached kraft, soda, and sulfite mills in Subparts B and E in 1998.  The wastewater from those mills is the same as for the unbleached kraft and soda mills in Phase II, except for the chlorinated organics and higher wasteloads and flows resulting from pulp bleaching.  The “Cluster Rule” effluent guidelines for the Phase I mills imposed a number of requirements specifically aimed at chlorinated organics, but otherwise they maintained the same technological basis as was the basis for the prior revision of all of the chemical pulp subcategories in the mid-1980s:  good in-plant controls to reduce wastewater flow and reduce spills and other releases of pollutants to the wastewater, primary clarification, and biological treatment in aerated stabilization basins or activated sludge systems.

As EPA should be aware, that is the basic technology package used by pulp and paper mills of all sorts, and it is the one that EPA only recently determined still to represent BCT and BAT (when combined with requirements specific to chlorinated organics) for the Phase I mills.  There is no reason to believe that an evaluation of the Phase II chemical pulp mills would produce a different conclusion.  Similarly, the nonintegrated subcategories have wastewater that has much lower pollutant loads than chemical pulp mills, and the existing effluent guidelines for those mills are based on the same package of inplant controls plus primary and secondary treatment.  That continues to be the state-of-the-art of wastewater treatment for nonintegrated mills as well as for the integrated mills.  Mills that make paper and paperboard from recycled fiber have the same types of pollutants as nonintegrated mills, plus in some cases small amounts of various pollutants associated with removing ink and dye from the paper.  The latter vary substantially from one mill to another (and from one fiber supply to another), and any measures beyond those previously identified as BAT and BCT technology would likely be best established on a case-by-case basis.

In short, EPA does not need to spend scarce resources on subcategories where it appears unlikely that any new demonstrated, effective, affordable technology will be identified.  The extensive reviews of available treatment technologies EPA conducted in the 1980s and 1990s give it a firm basis for determining that this approach would in the end not likely lead to significant pollutant reductions beyond the large reductions the industry has already achieved.

A Small Number of Facilities Account for Most of the Toxicity Found In EPA’s Screening Level Analysis

A small number of facilities seem to be driving the pulp and paper Phase II mills’ high TRI hazard ranking in EPA’s screening level analysis.  The top 11 facilities on EPA’s toxics loadings list make up 88 percent of the total toxic weighted pounds equivalent (TWPE) for the pulp and paper Phase II category.  Further, there is an incorrect listing of the facility ranked sixth on the toxics loadings list.  This facility is actually a bleached kraft mill and is part of the pulp and paper Phase I category.  This facility should be removed from the Phase II category calculations, thus making the number of facilities potentially subject to an eventual effluent guideline even smaller.  EPA should not consider this category for further investigation or for future effluent guidelines development when so few facilities are driving the ranking.

There are Several Errors in the TRI Rankings That Overstate the Risk Presented by Phase II Facilities

- Polycyclic Aromatic Compounds (PACs)

Several errors in the TRI data used to create the toxics loading list (described in detail in the attached memorandum from the National Council for Air and Stream Improvement, Inc. (NCASI)) exaggerate the toxic loadings attributable to Phase II facilities.  There are two errors relating to PACs, which compose the majority of the TWPE for the Phase II mills.

First, the PAC discharge data for the highest ranked pulp and paper phase II mill was incorrectly reported by the facility as being 158 pounds when it actually only discharged 7.1 pounds, an error that is now being corrected.  Using the correct amount, the TWPE drops from 689,100 to 42,000.

Second, it seems that there may be an error in the toxic weighting factor (TWF) for PACs.  The TWF for PACs seems to be extremely high, and NCASI was unable to reproduce it using data provided in the docket and by EPA.  Using EPA’s published human health criteria, a TWF of about 11 is calculated, much lower than the 4284 used by EPA.  If a chronic aquatic life concentration of 0.08 ug/L is incorporated into the TWF determination (a value used by EPA, the source of which has not been made available), one obtains a TWF of 81, thereby decreasing the Phase II category TWPE releases by 82% to about 124,000 (this includes the impacts of correcting the TRI data for the facility as discussed above).  These two corrections would change the Phase II category ranking from 7 to 17, assuming the TWPE discharges of other industry categories are not also dominated by PAC discharges.

- A Phase I mill is incorrectly included in Phase II

As mentioned above, EPA incorrectly included a bleached kraft mill in Phase II, instead of Phase I.  It is the toxicity EPA has associated with the TRI releases for dioxin and dioxin-like compounds from that facility that helps “drive” the TRI rankings (along with PACs).  Removing the toxicity associated with this facility greatly reduces the TWPE for the Phase II category.

In short, there are several errors that exaggerate the toxicity of the Phase II mills, resulting in incorrect high TRI rankings.  If all the errors discussed above are corrected, the category’s TWPE discharges decreased to approximately 68,000 from 1,3336,418 TWPE, changing the category’s TRI ranking from 7 to approximately 23.  Therefore, the TRI rankings do not provide a basis for further investigation of this category or effluent guidelines development.

EPA is Correct that Additional Investigation in Not Required to Address Color Concerns

EPA indicates that it “will not evaluate setting technology-based limitations or standards for color for the current and future Effluent Guidelines Programs Plans.”  AF&PA strongly agrees with EPA’s decision.  As noted by EPA in the Memorandum, effluent guidelines are not the appropriate tool for controlling color; color discharges are “best dealt with on a case-by-case basis through individual NPDES permits or, when appropriate, through local limits.”  Solutions for color discharges are dependent on site specific conditions and applicable water quality standards and should not be addressed by a national effluent guideline.

Additional Investigation is Not Required Based on Concerns About Dyes and Dioxin and Dioxin-Like Compounds

The Memorandum mentions stakeholder concern about “dyes and dioxin from bleaching at secondary fiber mills” and that “dioxin and dioxin-related compounds” [along with PACs, discussed above] drive the TRI hazard results for Phase II mills.

First, concerns regarding dyes should be dealt with on a site-by-site basis as discussed on page 3,  above.  Second, also as discussed above, one Phase I facility was incorrectly included in Phase II and its associated toxicity from dioxin and dioxin-like compounds was a significant component of the TWPE for the Phase II mills.  Third, the Memorandum discusses EPA sampling of effluents from five secondary fiber mills, which use varying technologies to brighten their pulp.  As EPA indicates, while dioxins and furans were found in [internal] waste streams, they were not exclusively related to bleaching chemistry and these compounds were not detected in the final effluents of any of the mills above the analytical method minimum level.  These data do not support a departure from EPA’s previous decision not to develop effluent guidelines for Phase II mills, and continued investigation regarding these mills is not necessary.

Concerns About Whole Effluent Toxicity are Best Addressed on a Site-Specific Basis

Whole Effluent Toxicity (WET) was raised by stakeholders as a concern with Phase II mills.  While there are some pulp and paper mills on relatively small streams, there are also many on streams with flows of thousands of cubic feet per second.  AF&PA is not aware of data that would show that a larger proportion of pulp and paper mills are on small streams versus other industry categories.  Moreover, because pulp mills are usually located close to their sources of fiber, often pulp mills are one of the few point sources on a stream segment.  Thus, they often discharge to water bodies that have low background pollutant loadings and relatively high assimilative capacity.  These factors all seem to argue in favor of addressing any site-specific water quality problems through water-quality-based effluent limitations, rather than to promulgate nationwide rules to resolve those special cases.

WET issues are best addressed on a site-specific basis where specific water quality characteristics can be considered (such as the receiving water’s available assimilative capacity).  Technology-based BAT/BCT effluent guidelines are not meant to eliminate whole effluent toxicity, which will vary, among other things, on the extent of dilution in the receiving water.  It may also result from something other than a discharge of a pollutant, or of a pollutant that has been identified under the CWA.  If a WET limitation is determined to be necessary to implement a state water quality standard for toxicity or a general narrative prohibition on toxic pollutants in toxic amounts, then the existing procedures for water-quality-based permitting are adequate and appropriate for that measure.

Conclusion

Available information indicates there is no need to continue to investigate Phase II mills for possible effluent guidelines development.  There are a relatively small number of facilities accounting for almost all of the toxicity EPA has indicated and there are mistakes in the data underlying the TRI rankings, that when corrected, reduce the rank of the Phase II category to 23, instead of 7.  In addition, the other concerns raised by EPA and stakeholders do not indicate that these mills present a risk that would warrant the development of effluent guidelines.

Timber Products Processing

The timber products processing industrial category should not be considered for further investigation or future effluent guidelines development.  The timber products processing category ranks second on EPA’s TRI hazard list from the screening level analyses, but, according to EPA’s toxic loadings list, 99 percent of the TWPE attributed to the timber products processing category are associated with only 15 facilities.  As was the case for the Phase II facilities, it is not worth the expenditure of EPA resources to consider for effluent guidelines development a category where so few facilities are driving the potential hazard.  Instead, individual permit writers should determine appropriate NPDES permit provisions for facilities in this category on a site-specific basis.  Furthermore, EPA’s TRI hazard list includes at least one erroneously listed facility: one wood treating plant actually has zero process water discharge, but the facility is associated with a remediation site that discharges treated groundwater.  This is the likely source of the TRI releases and should not be included in effluent guidelines considerations.  Thus, the number of facilities potentially covered by an eventual effluent guideline for this category is even smaller than indicated in the EPA database included in the docket for this category.

If EPA nonetheless decides that additional investigation is required, it is apparent that the TRI ranking for the timber products processing category is not associated with the majority of the subcategories included in this industry category, as noted by EPA in the Memorandum.  Further, there are some subcategories that do not have even one facility listed by EPA in its database for this category. EPA should, at a minimum, consider these differences among subcategories and allocate its resources appropriately if it does move forward with any additional investigation.

Phase III Mills

Phase III mills are dissolving kraft (Subpart A) and dissolving sulfite (Subpart D) mills.  In Table VI-1, EPA indicates that it is proposing not to take final action on the proposed effluent guidelines revisions (68 Fed. Reg. 75523) and instead to “provide site-specific permit support to state permit writers as they develop NPDES permits for the four affected facilities in these two subcategories.”  That support would enable permit writers to determine BAT on a best professional judgment (BPJ) basis.

AF&PA and the companies with mills in the subcategory have been working cooperatively with EPA for many years to develop effluent guidelines for these mills.  As part of EPA’s effluent guidelines development process, the agency has conducted several sampling events at the mills, requested and received hundreds of technical and economic documents, and has had extensive discussions with company customers.  In short, the agency has compiled a complete record about the processes and technical capabilities of these mills.

As for the companies, as indicated in their separate comments filed today, they have invested millions of dollars on research and improvement projects at the mills.  These investments have paid off in substantial improvement of the quality of the effluents discharged from the mills.  EPA has recognized and encouraged this research and environmental improvement several times since the late-1990’s.

As part of this cooperative effort, AF&PA submitted two proposals for effluent guidelines development to EPA—one for kraft mills and a second for sulfite mills.  These proposals are based on what we have learned through the research and improvement projects and provided a workable basis for completion of the effluent guidelines development process.

Having said that, we understand and support the rationale behind EPA’s decision not to invest the resources required to complete the effluent guidelines development process for four mills, and instead to adopt an approach of providing guidance to permit writers.  However, we also urge EPA to take advantage of the years of valuable work that has already been completed by both the agency and the mills.  The body of technical, economic and environmental knowledge about these mills is substantial, and that knowledge formed the basis of AF&PA’s two proposals to the Agency.  Therefore, pursuant to this alternative approach, we request that the guidance and support the Agency provides to permit writers as they determine BAT, should be based on the work already conducted and on the AF&PA proposals.  That way, the resources expended over the last decade by the mills and the Agency will be put to best use.

There is one “housekeeping” matter that we would like to bring to the Agency’s attention.  The 1993 proposal for effluent guidelines revisions for the Phase III mills has never been formally withdrawn.  Now that EPA has made a formal decision not to adopt the proposal, the Agency should withdraw the proposed rule when it issues the final Plan.

Conclusion

In conclusion, AF&PA supports EPA’s decision not to review the effluent guidelines issued for the Phase I mills.  With respect to the pulp and paper Phase II and timber products processing categories, EPA currently has sufficient information to determine that additional investigation is not warranted and effluent guidelines development is not needed.  Finally, EPA should use the AF&PA Phase III proposals as the basis for the assistance the agency provides to state permit writers developing NPDES permits for those mills.

Thank you for the opportunity to comment on the Plan.  Please feel free to contact Jerry at (202) 463-2581 or Meg at (202) 463-5174, if you have any questions about these comments.

Sincerely,

for

Jerry Schwartz							Meg McCarthy

Senior Director, Water Quality Programs			Coordinator, Regulatory Affairs

# Footnotes

Memorandum from Carey A. Johnston to the Docket, “Description and Results of EPA Methodology to Synthesize Screening Level Results for the Effluent Guidelines Program Plan for 2004/2005,” dated December 23, 2003.

The subcategory is ranked very low based on PCS data, so PCS data will not be discussed further.

61 Fed. Reg. 36837 (7/13/96); 63 Fed. Reg. 18513 (4/15/98).

# Text boxes

# AMERICAN FOREST & PAPER ASSOCIATION

GROWING WITH AMERICA SINCE 1861