I.    STANDARDS FOR SITING NFDRS WEATHER STATIONS:

Weather stations used for National Fire Danger Rating System (NFDRS) purposes should be located in places that follow the standards set in PMS 426-3 “NFDRS Weather Station Standards”.  This would mean they are placed in “average worst-case” type locations.  The documentation defines this as south to west aspects in the lower to mid-slope range of the area being represented.   Other documentation related to the subject includes PMS 426-2, the “NWCG Weather Station Handbook – an IA Guide for Wildland Managers”, and “USFS Region 5 Supplement 5125.12, Weather Station Networks”.  Consistent with all of these guidelines, stations that are truly useful for Fire Danger Rating are those sited where they portray well the representative weather, topography and fuels of the fire problem area.  Lastly, NFDRS standards require everything be automated by the close of 2005.  If a station is not a RAWS, on GOES, with solar radiation etc., then it won’t be NFDRS compliant.

II.   ADDITION OF  NEW RAWS STATIONS TO AN OBSERVING NETWORK:

In the past 25 years many RAWS stations have been placed in operation on the nation’s forests and rangelands. A large share of these are used for Fire Danger rating, though the majority also serve other purposes.   One key reason for adding new stations is to increase the spatial density of weather observing networks.  Another is to increase the elevation range covered in mountainous terrain.  The goal is to get a good mix of weather observations from both above and below the typical terrain-induced atmospheric inversions in the area.  Even where old manual stations have been properly sited and have provided years to decades of good weather observations, RAWS stations are often added to enhance the total weather coverage across a unit.   Among the other advantages of RAWS technology are these:

- Continuous coverage (24-7) of the weather, not just one observation (or a few) per day

- Stations can be placed in sites that are ‘more remote’ than manual stations typically have been.  These are often more representative of the fire problem.

- Staff time saved because a person doesn’t physically have to take the observation each day

- Often staff can be too busy to take manual 1300 observations, and the opportunity is lost for the day.  With a RAWS, observations are taken continuously and available real time or later for appropriate NFDRS processing in WIMS.

- The NFDRS observations from RAWS are truly taken at the same time each day, which enhances the consistency and reliability of the database

- Electronic format of data collection expedites its processing, and availability for program applications, spreadsheets, etc.

III.   CONSIDERATIONS BEFORE MOVING EXISTING STATIONS TO NEW SITES:

There are numerous factors to consider regarding the move of an existing NFDRS weather station to an alternate site.  The decision should not be made lightly, particularly for stations that have a long history.  After all, it takes 20 years to collect 20 years of weather observations – this is

by no means a small accomplishment.  Nor should the decision to move a station be made in a vacuum.  RAWS stations are not inexpensive, and in this era of tighter fiscal oversight many stations are used for multiple resource management purposes.  You should never be moving stations on a whim, or without any good forethought, or without the input of others who might be utilizing data from the site.  In most cases, the thoughtful siting for multiple objectives should not lead to any degradation in NFDRS-based decision making.

Fire danger rating is a rather coarse endeavor, using point source data to represent large areas.  If the expected improvement from a proposed new site will be minor (say, just 10%), then a station move for strictly NFDRS reasons is not justified.  This is because the resulting weather observations aren’t likely to yield significant differences in the end-result indices or adjectives of the NFDRS system.  On the other hand, moving that same station might have adverse effects on other users of the RAWS data, such as hydrologists, climatologists, silvaculturalists, etc.  They might have ongoing, long-term studies or projects that utilize the data from the existing site.

One question that arises in planning is that of tradeoffs.  Does the benefit of a having a good, new station location outweigh the loss of a long-term daily data stream from the old site?  In some cases, the answer may be “yes”.  Even if a station has a long history, if it hasn’t proven to be very representative of the Danger Rating area, there may be no advantage in continuing data collection at that site.   Station owners are encouraged to move the station to a better site, and thereby begin building a new more-representative and pertinent weather database.  The data from the previous site will still be available.

Questions that should be asked when addressing a possible station move include these:

- Does the existing station truly meet the standards of NFDRS, or does it perhaps just measure a local microclimate, due to less-than-ideal siting?

- How long is the data stream from the existing site, and of what quality is it?

- What is the primary objective to be met by moving the station?

- If it is determined that the existing station doesn’t meet PMS 426-3 Standards, will the proposed move bring the station in line with those standards?

- Has a fire weather meteorologist been consulted for input and assistance?

- If the move is primarily for the improvement of fire danger rating, what data supports the new site as being likely to yield a significant improvement in NFDRS-related decision making?

- Have the locations of your neighboring unit’s existing RAWS been considered in the planning for your station move, i.e. have you looked at the “big picture”?

- Have those users of the RAWS data for other than for NFDRS purposes been queried for their input regarding a station move?

- Have comparisons been made between the existing and new sites regarding logistical factors such as wintertime access, site security, potential power sources, etc?

- How do the current site and the proposed new site compare regarding the ease of limiting vegetative growth around the RAWS station?

There are of course, other questions that you might need to address on a case-by-case basis.

IV.   DECIDING WHEN A NEW WIMS ID IS NEEDED:

When dealing with an NFDRS station move or the addition of a new station, there are basically three options regarding WIMS IDs: 1) you definitely need a new ID number   2) you do not need a new ID number, or 3) it’s a judgment call, and there are guidelines that can help you decide.

1)  The following are examples of situations in which you definitely would need a new WIMS ID:

- A new weather station is being placed at a new site.

- An existing station is being moved to a much-different site.  That is, there are significant changes in one or more of the following: elevation, aspect, distance from previous site, fuel

model, or drainage the station is in. When you make this type of station move, change the station metadata.  If you do not change the station name, make remarks linking the station’s new WIMS ID to the previous ID, and tell what factors that necessitated the change.

- The surroundings (site characteristics) of an existing station change greatly, altering the site’s weather in some way.  (E.g. when a barracks with a brown wall was erected right near an existing station, afternoon temperatures shot up 20º F.

- A permanent RAWS is being placed where a temporary portable RAWS had been used for testing or comparison purposes (whenever possible, move any archived data from the period of the test/ temporary RAWS into the new permanent station’s data base)

- You discover that the ID you’ve been using (hopefully not for very long) has been used by another station.  That is, another database exists that uses the same WIMS ID for a different site.  This situation will quickly lead to confusion, if not corrected.

2)   Examples in which you would not need a new WIMS ID:

- A new RAWS station simply replaces a previous manual station at that same site.  (You do, however need to document the change in WIMS and ASCADS.  Leave good tracks that won’t get trash-canned in a cleaning frenzy down the road).

- When the move to a new site is insignificant, involving very short distances, without change in aspect, slope, drainage etc.  This is a judgment call, but usually a new station number is not used.  But again, the minor site change should be thoroughly documented.

- You change the name of a station, but nothing else is changed.  The same ID number can be affiliated with both the old and new station names.  Just make sure to document the changes in WIMS and ASCADS, explaining the situation.

3)   When getting a new WIMS ID is not a clear-cut decision, i.e. case-by-case judgment calls:

When a new station replaces an old one at a nearby location it becomes a judgment call as to whether a new ID is needed.  Perhaps a new number will be desired, even when not necessary.  These types of decisions should be made on a case-by-case basis.  The best methodology on which to base the decision is to collect weather from the new and old sites simultaneously for a year, or at least for the entire fire season, and see how they correlate in all types of weather patterns.  If the weather from the two sites tracks together very closely, you may want to keep using the existing station number.  The station’s historical weather record and the new data stream can be joined, with notations in the Station history of what minor changes occurred, and when.   If the weather differs, you will want to use a new WIMS ID.

If an NFDRS station is moved because its weather and/or site characteristics have proven unrepresentative of the unit’s fire problem, then of course there is no necessity that a new site should have similar weather.  You will be selecting a different type of site, one where the observed weather does represent the weather that drives the unit’s fire problems.  The new site could be significantly different from the prior location.

Sometimes even when a site has proven useful for NFDRS, a move of the station may be deemed necessary for reasons unrelated to its weather (e.g. logistical reasons or site-ownership issues).  In a case like this there might be a strong desire to keep the same station number, motivating a search for a nearby site with very similar weather, precipitation, elevation, and aspect.  The hope would be to preserve the usefulness of long-term records and statistics that have been gathered.

Finally, whether moving a station, locating a new station, or assessing the validity of an existing station, the station owner should always employ the assistance of individuals trained in RAWS technology, the National Fire Danger Rating System, and of an experienced fire weather meteorologist (either a fire weather meteorologist from the NWS or the GACC). A mandatory approval by a fire weather meteorologist is required for all new or moved NFDRS stations.

(Version: 11/18/2005)