THOMAS JEFFERSON

NATIONAL ACCELERATOR FACILITY

STRATEGIC FACILITIES PLAN

FY 2002 – FY 2011

FINAL REPORT

November 2000

Operated by Southeastern Universities Research Association, Inc.

Under Contract with the U.S. Department of Energy

Contract DE-AC05-84ER-40150

# TABLE OF CONTENTS

- EXECUTIVE SUMMARY…………………………………………………… 2

- INFRASTRUCTURE VISION, GOALS AND OBJECTIVES ……………… 3

- MISSION FUTURE OF THE LABORATORY ……………………………... 4

- Overall

- Programmatic

- PLANNING ASSUMPTIONS ………………………………………………. 5

- SITE DEVELOPMENT AND INFRASTRUCTURE NEEDS

AT JEFFERSON LAB ………………………………………………………. 6

- Site Development and Major Facilities Maintenance

- Infrastructure Needs at Jefferson Lab

- PLAN DEVELOPMENT AND PRIORITIZATION PROCESS …………… 8

- LOGIC OF THE FACILITIES PLAN ………………………………………. 8

- PERFORMANCE METRICS AND INDICATORS……………………….. 10

- APPENDICES………………………………………………………………. 11

- EXECUTIVE SUMMARY

Jefferson Lab (JLab), as one of the Office of Science program-dedicated labs, primarily studies hadronic physics through the use of continuous wave (cw) electron beams.  Operating as a user facility, JLab provides experimenters with beams and detection equipment that are unique worldwide.  JLab maintains its core competencies in support of its nuclear physics program, in support of broader Office of Science missions in the context of the national lab system (i.e. Spallation Neutron Source (SNS)), and transfers its related technologies to activities in the national interest (i.e. Free Electron Laser (FEL)).

Jefferson Lab’s Institutional Plan is the guiding document outlining programmatic plans for the laboratory in the five-year timescale. In addition we have developed a 10-year Outyear Funding and Staffing Projections document which includes the following key elements:

Current Mission Activities

- Execution of a world-class hadronics physics program

- Partnering on the SNS project to deliver the superconducting linac and supporting cryogenic facilities

- Completing the 10 kilowatt (kW) infrared (IR) and 1 kW ultraviolet FEL upgrade to the existing IR FEL device

Projected Mission Activities

- Extending accelerator capabilities via an energy upgrade to 12 GeV (12 billion electron volts)

- Contributing to the planning, R&D and construction of for the Rare Isotope Accelerator (RIA)

- Preparing a program in basic science utilizing the capabilities of the FEL

For these activities we have developed a manpower profile of personnel required to  complete this scope of work, an increase of about 115 over ten years.  These manpower requirements drive our space and infrastructure needs and therefore the tenets of this plan.

While Jefferson Lab was built on a green site, with primarily new facilities, the scope of the construction project at JLab did not include enough space for this scope of work.  Thus far we have managed this lack of space through the use of trailers and the leasing of space built adjacent to the site by third parties (City of Newport News).  This Strategic Facilities Plan sets Jefferson Lab on a path to meet its infrastructure needs on the ten-year timescale consistent with the needs of a world-class research facility. Of the $31M in GPP/GPE/GPF projects proposed as part of this plan, new construction projects total about $22M over the ten years out of a 10-year total funding profile of over $1 Billion.

Resource Needs Summary (GPP/GPE/GPF)

| FY | 02 | 03 | 04 | 05 | 06 | 07 | 08 | 09 | 10 | 11 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| M$ | 3.6 | 5.5 | 3.0 | 1.0 | 8.7 | .7 | 6.6 | .7 | .7 | .7 |

- INFRASTRUCTURE VISION, GOALS AND OBJECTIVES

Our vision is to have a facility that provides a safe and secure world-class environment for research and development, allows staff and users to work effectively together, and is cost effective to operate and maintain.

In developing a long-term (ten-year) strategy for infrastructure, the driving force is the infrastructure needed to perform current and planned mission-related activities, including collaborative work in support of sister laboratories in the national lab system (Priority/Group 1a and Priority/Group 1b projects). Appendix A gives the projected funding and associate staffing and space requirements based on the programmatic needs. New facilities are indicated on the site map attached as Appendix B.  Appendices D-1, D-2, and D-3 list the individual projects.  In Appendix D-1, the Priority/Group 1a and Priority/Group 1b projects are to support current and planned mission-related activities. Also included in this plan, as Appendix D-1, are Priority/Group 2 projects, infrastructure needs to significantly improve the research environment for users and staff on a ten-year timescale. For all infrastructure projects, programmatic need and available funds guide the priority assigned to the project.

Overall our Strategic Facilities Plan includes the following major categories of infrastructure projects:

- Maintaining existing facilities and making alterations to realize energy savings

- Providing office and technical space corresponding to our manpower projections

- Eliminate substandard storage space and structures that have reached the end of their useful lives

- Collocate work groups to the extent possible to enhance effectiveness

- Eliminate leases that do not lead to building ownership

III.  MISSION FUTURE OF THE LAB

- Overall

Jefferson Lab’s mission is to provide forefront scientific facilities, opportunities, and leadership essential for discovering the fundamental nature of nuclear matter, to partner with industry to apply its advanced technology, and to serve the nation and its communities through education and public outreach, all with uncompromising excellence in environment, health, and safety.

- Programmatic

Jefferson Lab (JLab), an Office of Science “program-dedicated lab”, primarily studies hadronic physics through the use of continuous wave electron beams. Operating as a user facility, JLab provides experimenters with beams and detection equipment that are unique in the world. An integral part of this core mission, Jefferson Lab supports the national lab system by applying its core technologies to the broader Office of Science missions, specifically the Spallation Neutron Source (SNS) and the planning of the Rare Isotope Accelerator (RIA). In addition, Jefferson Lab’s core competency in SRF technology led to the development of a Free Electron Laser that has already exceeded power levels available in the IR with similar devices, offering unique capabilities for basic science, industrial processing of materials and defense applications.

To enhance the current physics program and to answer key questions remaining in hadronic physics, Jefferson Lab users are pursuing a 12 GeV upgrade to the accelerator and an additional experimental hall for meson spectroscopy, which is currently being presented for inclusion in the NSAC Long-Range Plan.  R&D required for the upgrade is synergistic with maintaining our forefront position in SRF and the resulting work with SNS and possibly RIA.  For planning purposes we have assumed that the 12 GeV upgrade will be part of our facility’s future, and that we will follow our role in SNS with a similar role for RIA should it be approved.

In addition to the 12 GeV upgrade of the main accelerator and the additional hall (Hall D), JLab anticipates that its unique Free Electron Laser (FEL) which is currently being upgraded to deliver 10 kW IR and 1 kW UV will, by offering facilities unique in the world, attract users in Basic Energy Sciences and build a strong user program based on these capabilities.  The 12 GeV upgrade and the anticipated expansion of the FEL program is seen as a logical extension of our current program and therefore we have included them as an integral part of our planning for our facility. The above scope of work constitute our current and planned programs and infrastructure projects associated with accomplishing that scope have been assigned to Group 1a and Group 1b.  All projects in these two groups are necessary to complete the current and planned program including the 12 GeV upgrade.

Also included in the facilities plan are the Group 2 projects that would enhance the research environment at Jefferson Lab by creating better synergy between working groups, enhancing facilities to create a world class environment for research, and eliminating leased space to allow collaborating groups to be collocated.  The present leasing arrangements represent an ongoing and unending expense to the program.

IV.   PLANNING ASSUMPTIONS*

- Program-driven manpower requirements will drive infrastructure needs for the foreseeable future.

- The present base Nuclear Physics program plus the SNS and FEL define within a few percent the level of staff and users to be accommodated onsite in the next decade and beyond.

- The SNS will continue as a high priority activity for JLab through 2004, demanding key facilities resources.

- The FEL upgrade will continue and lead to an operational program for the decade demanding additional facility resources.

- Within the next decade failing temporary facilities (trailers and transportainers) will be replaced, upgrades will be made to existing facilities and equipment, and additional space will be needed for expanded staff for program requirements identified above.

- Age and increased loads in the accelerator enclosure will drive major HVAC upgrades. The two large older buildings on the site will require replacement of their HVAC systems.

- Information technology advancements will continue to require major upgrades to phone switches, computer lines, computer storage, etc.

* As requested, the costs for construction of programmatic facilities (ex; Hall D, FEL, etc) are not included in this plan

- SITE DEVELOPMENT AND INFRASTRUCTURE NEEDS AT JEFFERSON LAB

- Site Development and Major Facilities Maintenance

Jefferson Lab is somewhat unique among the national labs in that it was built on an essentially green site in 1987-1995, and therefore has no existing environmental legacies.  With two major exceptions, buildings and facilities onsite are fairly new and therefore require primarily routine maintenance. A site map is attached as Appendix B and a Site Description is attached as Appendix E.

Currently major facility maintenance is done at a rate of expenditure of $2.7M per year, $1.6% of their replacement value as shown in Appendix C.  While this has proved adequate for maintaining most of the infrastructure of new buildings, additional resources are required for replacing systems in the 30-plus year old buildings and for replacing aging trailers. We plan to use the DOE Energy Savings Performance Contract (ESPC) to replace these aging systems.

Site development continues to be guided by the area themes identified by Jefferson lab’s Site Development Plan, written in 1988, revised in 1993, and now superseded by this planning document. An important principle of this plan is to co-locate compatible functions and to reserve the maximum amount of space near the accelerator site for future additional end stations or technical facilities requiring proximity.

We have thus far dealt with space issues resulting from the growth in our user community and increased mission needs by working in innovative ways with the surrounding community to lease space that is built by the City of Newport News.  This space has helped us meet our urgent space needs without a construction line item and is synergistic with the region’s wishes to use the Laboratory as a magnet for high-tech business and services deriving from Jefferson lab-related technologies.  While this has been a very good short-term solution to our space problems, it may not be the most cost effective approach over time and sometimes forces us to make less than optimum decisions regarding the siting of groups.  In addition, we have on our site a collection of trailers that were meant as temporary quarters, however, with the growth in our user community and site population, we have been unable to decommission these trailers and we continue to use them even though they are increasingly expensive to maintain and operate due to their age and construction. Consequently, the two line items in this plan and the largest GPP project are for additions to our main office building, CEBAF Center.

To meet technical space needs, there are additions for Computer Center hardware, staging areas for 12 GeV and 4 hall operation work, and storage space to replace the inefficient transportainers and leased off-site space.

- Infrastructure Needs at Jefferson Lab

All infrastructure projects have been prioritized and are listed in detail in Appendices D-1, D-2, and D-3. As an Office of Science program-dedicated lab, all of these current and planned activities support the SC mission. The projects listed fall into four primary categories:

- Infrastructure to support current Mission scope – Group 1a projects

- Routine facilities maintenance and scheduled GPP projects

- Increased space needs resulting from work supporting our sister labs

- Some facilities are not energy efficient and savings could be realized by modifications and new systems

- Two buildings that are 30-years old need new mechanical equipment The DOE Energy Savings Performance Contract (ESPC) will be used to provide the new equipment. The details are provided in Appendix D-2 and the costs are shown on the ESPC Payback line in Appendix C.

- Inadequate space for users and staff (2-3 to an office, carrels in hallways, etc.)

- Infrastructure to support Planned Mission scope – Appendix D-1 Group 1b

- Changes/systems needed to support higher energy running required for best science

- 12 GeV and Hall D 1)

- FEL user needs and Helios addition

- Insufficient storage

- Use of transportainers for long-term storage

- Infrastructure to Enhance Effectiveness – Group 2 projects 2)

- Optimize collocation of related groups

- Eliminating aging trailers (13 years old)

- Eliminating Leased space that does not result in building ownership

- On-going GPE projects

- The present level of capital expenditure for Information Technology and telecommunications is shown in Appendix C as GPE and the anticipated items are shown in Appendix D-3.

Costs associated with these projects are in Appendix C –Resource Needs Summary

1) As requested, the costs for construction of programmatic facilities (ex; Hall D, FEL, etc) are not included in this plan.

2) On-site childcare may be included if staff needs justify it and funding is available. Funds for a childcare facility are not included in Appendix C.

VI.  PLAN DEVELOPMENT AND PRIORITIZATION PROCESS

- Assess condition and adequacy of existing facilities

- Identify all projects that are part of existing GPP and maintenance plans (5-year timeframe)- (Plant Engineering)

- Determine current and projected staffing space needs as guided by programs (Director’s Council and cross-functional lab team)

- Identify additional projects that would benefit laboratory if additional funding sources were available (Cross Functional lab team)

  - Identify possible funding sources

- Prioritize projects based on programmatic needs and funding available (Director’s Council)

# LOGIC OF FACILITIES PLAN

This plan is driven by the need of the envisaged research program:

It is absolutely necessary to maintain infrastructure in place, and to operate with energy efficiency.

These goals are obtained by proper repair and maintenance and the use of tools such as the DOE’s Energy Savings Performance Contract.

It is absolutely necessary to provide:

The office space required to house the staff and users that the 10-year program demands.

The technical work areas required, including computer center space.

The building and infrastructure modifications that ensue from higher powered operation in the context of the research program.

Assuming the FY ’00, and FY ’01 GPP projects are completed (test lab addition, renting additional space from the City of Newport News (ARC II), CHL pit), these goals are attained by:

Adding storage space to replace at least 50% of the transportainers currently serving as storage

With these improvements the programmatic goals can be achieved with the following caveats:

A significant amount of trailer space would have to be retained; these trailers provide low quality space, and it is unlikely that they can be maintained beyond the year 2010.

Space for computer hardware, expected to be needed in ’03 is yet to be provided.

Renting additional space from the city of Newport News, 2nd floor ARC II	and adding one wing to CEBAF Center, would alleviate the issue of trailer maintenance. Adding a wing to CEBAF Center is seen as the preferred way to provide computer space.

With these leases in place we can envisage a 10-year and beyond era where all JLab staff is housed adequately, but the Lab would still have to deal with ongoing lease costs, and the drawbacks of less than optimal staff locations.

It is highly desirable therefore to increase collocation, and to avoid paying leases not leading toward building ownership.

These issues would be addressed by adding to CEBAF Center (line items) and allowing the ARC, and ARC II leases to expire.

Finally, it appears likely that additional storage space may be required, and that sustainable operation with 4 Halls and at 12 GeV would call for additional infrastructure.

One additional storage building, and a technical support building in the accelerator site would address these issues.

In developing the plan, Return on Investment was a key consideration, where we looked at not only financial return, but at the benefits to the work environment due to collocation, enhanced facilities, reduced risk from severe weather events (especially true with trailers), lower long-term maintenance and other factors.

VIII.	PERFORMANCE METRICS AND INDICATORS

The performance metrics and indicators are based on the criteria given in Section II “Infrastructure Vision, Goals and Objectives.”

- Maintaining existing facilities and making alterations to realize energy savings

- Real Property Maintenance should be sufficient to maintain building functionality.

- Providing office and technical space corresponding to our manpower projections.

Staff and users have adequate office space, i.e. one staff member or two users per standard office.

- Eliminate substandard storage space and structures that have reached the end of their useful lives.

- Trailers are no longer used for office space and transportainers are minimally used for storage.

- Collocate work groups to the extent possible to enhance effectiveness.

Work groups are optimally located based on proximity to related work groups and equipment.

- Eliminate leases that do not lead to building ownership.

Minimize off-site leases.

VIII.  APPENDICES

Appendix A   		Outyear Funding and Staffing Projections…………………………….. 12

Appendix B  		Site Map………………………………………………………………... 13

Appendix C  		Resource Needs…………………………………………………………14

Appendix D-1  	Facility Projects ……………………………………………………….. 16

Appendix D-2		Energy Savings Performance Contract Projects ………………………. 18

Appendix D-3		Technology Projects ……………………………………………………19

Appendix E		Site Description ……………………………………………………….. 20

APPENDIX A

Jefferson Lab

Outyear Funding and Staffing Projections

|  | FY00 1) | FY01 1) | FY02 | FY03 | FY04 | FY05 | FY06 | FY07 | FY08 | FY09 | FY10 | FY11 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| FUNDING Actual Year M$: (Target) |  |  |  |  |  |  |  |  |  |  |  |  |
| DOE - NP (inflation FY02 & beyond) | 73.2 | 74.7 | 76.2 | 77.7 | 79.3 | 80.9 | 82.5 | 84.1 | 85.8 | 87.5 | 89.3 | 91.1 |
| DOE - other (incl SNS) | 13.1 | 26.0 | 26.0 | 9.0 | 4.0 | 1.0 | 1.0 | 1.0 | 1.0 | 1.0 | 1.0 | 1.0 |
| FEL - NAVY/AIR FORCE/VA/SURA | 9.6 | 8.7 | 6.7 | 2.0 | 1.0 | 1.0 | 1.0 | 1.0 | 1.0 | 1.0 | 1.0 | 1.0 |
| Commonwealth of VA | 1.4 | 1.4 | 1.5 | 1.5 | 1.5 | 1.5 | 1.6 | 1.6 | 1.6 | 1.7 | 1.7 | 1.7 |
| Funding subtotal | 97.3 | 110.8 | 110.4 | 90.2 | 85.8 | 84.4 | 86.1 | 87.7 | 89.4 | 91.2 | 93.0 | 94.8 |
| Projected DOE Funding |  |  |  |  |  |  |  |  |  |  |  |  |
| RIA |  | 0.8 | 1.2 | 3.0 | 20.0 | 20.0 | 20.0 | 12.0 |  |  |  |  |
| 12 GeV R&D and Construction |  |  |  | 2.0 | 3.0 | 40.0 | 42.0 | 20.0 | 8.0 | 5.0 |  |  |
| 12 GeV operations/Pre-ops |  |  |  |  |  | 1.0 | 1.0 | 2.0 | 2.0 | 5.0 | 10.0 | 10.0 |
| 12 GeV Foreign contributions |  |  |  |  |  | 3.0 | 5.0 | 10.0 | 70 | 3.0 | 2.0 |  |
| FEL |  |  | 1.0 | 3.0 | 6.0 | 10.0 | 10.0 | 10.0 | 10.0 | 10.0 | 10.0 | 10.0 |
| Subtotal Projected DOE Funding | 0.0 | 0.8 | 2.2 | 8.0 | 29.0 | 74.0 | 78.0 | 54.0 | 27.0 | 23.0 | 22.0 | 20.0 |
| TOTAL FUNDING | 97.3 | 111.6 | 112.6 | 98.2 | 114.8 | 158.4 | 164.1 | 142.7 | 116.4 | 114.2 | 115.0 | 114.8 |
| STAFFING: (FTEs) 2) |  |  |  |  |  |  |  |  |  |  |  |  |
| JLab - NP (base program) 3) | 546 | 546 | 546 | 551 | 556 | 561 | 566 | 571 | 580 | 580 | 580 | 580 |
| JLab - all other | 65 | 118 | 140 | 137 | 119 | 152 | 149 | 101 | 87 | 87 | 87 | 87 |
| Total Staffing | 611 | 664 | 686 | 688 | 675 | 713 | 715 | 672 | 667 | 667 | 667 | 667 |
| Service Subcontractors | 68 | 69 | 71 | 73 | 73 | 73 | 75 | 77 | 77 | 78 | 78 | 78 |
| Users | 150 | 150 | 150 | 160 | 160 | 170 | 170 | 170 | 180 | 190 | 190 | 200 |
| TOTAL w/Users & serv subc | 829 | 883 | 907 | 921 | 908 | 956 | 960 | 919 | 924 | 935 | 935 | 945 |
| SPACE (K sqft) 4) |  |  |  |  |  |  |  |  |  |  |  |  |
| Accel/Exp Areas | 277 | 277 | 281 | 292 | 292 | 298 | 320 | 320 | 320 | 320 | 320 | 320 |
| Tech/Lab Areas | 114 | 126 | 126 | 146 | 146 | 156 | 156 | 156 | 156 | 156 | 156 | 156 |
| Office | 191 | 211 | 211 | 212 | 212 | 212 | 212 | 212 | 212 | 212 | 212 | 212 |
| Storage | 56 | 56 | 66 | 67 | 63 | 63 | 63 | 63 | 63 | 63 | 63 | 63 |
| Support | 22 | 22 | 34 | 34 | 34 | 34 | 34 | 44 | 44 | 44 | 44 | 44 |
| Total sqft(K) of space | 660 | 692 | 718 | 751 | 747 | 763 | 785 | 795 | 795 | 795 | 795 | 795 |
| 1) FY00 & FY01 data provided for reference. |  |  |  |  |  |  |  |  |  |  |  |
| 2) Staffing includes full time equivalents for staff, casuals, students and contract labor. |  |  |  |  |  |
| FY2000 staffing is FTEs as of year end, all other years are average FTEs. |  |  |  |  |  |  |
| 3) 12 GeV operations staffing included in JLab - NP FTEs starting in FY08. |  |  |  |  |  |  |  |
| 4) FY2000 space is actual, all remaining years are projected needs. |  |  |  |  |  |  |  |  |

APPENDIX B

SITE MAP

(attached separately)

APPENDIX C

RESOURCE NEEDS

(ATTACHED SEPARATELY)

APPENDIX C

continued

(ATTACHED SEPARATELY)

APPENDIX D-1

Facility Projects

| Priority/Group * | Project Name | Project Description | Start | Cost (M$) | Space (SF) |
| --- | --- | --- | --- | --- | --- |
| 1a | Rehab VARC Building | Renovate space to maintain acceptable working environment | 02 | 0.10 | n/a |
| 1a | End Station Emergency Generator | Improve utility reliability | 02 | 0.20 | n/a |
| 1a | Road Resurfacing - Accel Areas | Maintain road quality | 02 | 0.30 | n/a |
| 1a | Rehabilitate Accelerator Tunnel Penetrations | Estimated ongoing repairs as leaks continue to appear | 02 | 0.65 | n/a |
| 1a | Lease ARC II Space A | Lease required office space in ARC II ($330K per year) | 02 |  | 25,500 |
| 1a | Accel Storage Bldg (Phase 1) | Eliminate off site and some transportainer storage | 02 | 1.00 | 10,000 |
| 1a | Replace Roof - CHL | Replace leaking roof | 03 | 0.05 | n/a |
| 1a | Correct Storm Water Drainage Issues | Improve site drainage | 03 | 0.10 | n/a |
| 1a | Replace Roofs - Accel Bldgs (phase 1) | Replace leaking roof | 05 | 0.10 | n/a |
| 1a | Replace High Voltage Feeders | Replace per required maintenance | 05 | 0.50 | n/a |
| 1a | Correct Hall Earth Cover Erosion | Repair erosion on Halls | 06 | 0.10 | n/a |
| 1a | Replace Roofs - Accel Bldgs (phase 2) | Replace leaking roof | 07 | 0.10 | n/a |
| 1a | Miscellaneous Projects | Various small projects | 02 | 0.80 | n/a |
| 1b | 4kW Building | Building to house ESR upgrade for Nuclear Physics program | 02 | 0.78 | 3,500 |
| 1b | 4kW Utilities | Utility equipment for 4kW Building | 03 | 0.75 | n/a |
| 1b | North & South Access Addition | Upgrade to support operations above 6 GeV | 03 | 0.49 | 3,000 |
| 1b | CEBAF Ctr Addition (Phase 1a) | Additional space for Computer Center hardware to support Lattice QCD and Hall D | 03 | 1.68 | 10,000 |
| 1b | CEBAF Ctr Addition (Phase 1b) | Office space for Computer Center, Theory Group, and User Support | 03 | 1.40 | 10,000 |
| 1b | CEBAF Ctr Addition (Phase 1c) | Additional conference/meeting space | 03 | 0.43 | 3,000 |
| 1b | Accel Storage Bldg (Phase 2) | Eliminate remaining transportainer storage plus provide space for FEL storage | 03 | 1.00 | 10,000 |

* Projects/Groups

1a = Infrastructure to support current mission scope

1b = Infrastructure to support planned mission scope

2   = Infrastructure to enhance effectiveness

| Priority/Group * | Project Name | Project Description | Start | Cost (M$) | Space (SF) |
| --- | --- | --- | --- | --- | --- |
| 1b | North & South Access Substation | Upgrade to support operations above 6 GeV | 04 | 0.61 | n/a |
| 1b | Remove Transportainers | Removal of temporary storage space | 04 | n/a | -17,720 |
| 1b | 12 GeV and Hall D Support Bldg | Experiment staging for Nuclear Physics program | 04 | 1.12 | 10,000 |
| 1b | North & South Access LCW Heat Exchanger | Upgrade to support operations above 6 GeV | 05 | 0.10 | n/a |
| 1b | North & South Access Cooling Towers | Upgrade to support operations above 6 GeV | 05 | 0.15 | n/a |
| 2 | Lease ARC II Space B | Lease office space in ARC II to replace trailers ($330K per year) | 02 |  | 25,500 |
| 2 | Raze Trailers | Demolition of trailers currently used as office space; to be replaced with leased space in ARC II. | 02 | 0.10 | -35,933 |
| 2 | 12 GeV Technical Storage Space | Storage space for 12 GeV operations | 04 | 0.56 | 5,000 |
| 2 | CEBAF Ctr Addition (Phase 2a) | Replacement space for ending ARC II lease | 06 | 7.15 | 51,000 |
| 2 | CEBAF Ctr Addition (Phase 2b) | Additional conference/meeting space | 06 | 0.71 | 5,000 |
| 2 | CEBAF Ctr Addition (Phase 3) | Replacement space for ending ARC I lease | 08 | 5.90 | 42,000 |
|  | TOTAL |  |  | 26.93 |  |
| Key to Acronyms |  |  |  |  |
| ARC I - Applied Research Center (Bldg 1) | FEL - Free Electron Laser |  |  |  |
| ARC II - Applied Research Center (Bldg 2) | LCW - Low Conductivity Water |  |  |  |
| CHL - Central Helium Liquifier | VARC - Virginia Applied Research Center |  |  |  |
| ESR - End Station Refrigeration |  |  |  |  |

* Projects/Groups

1a = Infrastructure to support current mission scope

1b = Infrastructure to support planned mission scope

2   = Infrastructure to enhance effectiveness

APPENDIX D-2

GPP Targeted for

Energy Savings Performance Contract Projects

| Priority/Group * | Project Name | Project Description | Start | Cost (M$) |
| --- | --- | --- | --- | --- |
| 1a | CEBAF Center HVAC Automation | Energy efficient system upgrades | 02 | 0.18 |
| 1a | Accelerator Equipment Energy Mgmt | Energy efficient system upgrades | 02 | 0.21 |
| 1a | Lighting Retrofit | Energy efficient system upgrades | 02 | 0.35 |
| 1a | VARC HVAC Replacement and EMS | Energy efficient system upgrades including replacement of old system | 02 | 0.87 |
| 1a | Replace Test Lab Chiller and Linac Service Bldg. A/C | Energy efficient system upgrades including replacement of old system | 02 | 3.65 |
| Note: After energy savings, cost is $235K per year. |  |  |  |
| Key to Acronyms |  |  |  |
| EMS - Energy Management System |  |  |  |
| VARC - Virginia Applied Research Center |  |  |  |

* Projects/Groups

1a = Infrastructure to support current mission scope

1b = Infrastructure to support planned mission scope

2   = Infrastructure to enhance effectiveness

APPENDIX D-3

Technology Projects

| Priority/Group * | Project Name | Project Description | Start | Cost (M$) |
| --- | --- | --- | --- | --- |
| 1b | Public Key Infrastructure | Authentication System | 02 | 0.09 |
| 1b | Central File Servers (Phase 1) | Expand and enhance central file servers | 02 | 0.11 |
| 1b | Network Infrastructure (Phase 1) | Install required fiber optic cable | 03 | 0.12 |
| 1b | Cyber Security (Phase 1) | Enhance network security systems | 03 | 0.08 |
| 1b | Video Conferencing | Develop video conferencing capability | 04 | 0.15 |
| 1b | Telecommunications (Phase 1) | Upgrade telecommuncations infrastructure | 04 | 0.05 |
| 1b | Digital Library (Phase 1) | Develop digital library | 05 | 0.13 |
| 1b | Cyber Security (Phase 2) | Enhance network security systems | 05 | 0.08 |
| 1b | Network Infrastructure (Phase 2) | Install required fiber optic cable | 06 | 0.10 |
| 1b | Central File Servers (Phase 2) | Expand and enhance central file servers | 06 | 0.10 |
| 1b | Collaboration Tools (Phase 1) | Develop and implement collaboration tools | 07 | 0.15 |
| 1b | Telecommunications (Phase 2) | Upgrade telecommuncations infrastructure | 07 | 0.05 |
| 1b | Cyber Security (Phase 3) | Enhance network security systems | 08 | 0.10 |
| 1b | Digital Library (Phase 2) | Expand and enhance digital library | 08 | 0.05 |
| 1b | Network Server | Upgrade network server | 08 | 0.05 |
| 1b | Central File Servers (Phase 3) | Expand and enhance central file servers | 09 | 0.13 |
| 1b | Telecommunications (Phase 3) | Upgrade telecommuncations infrastructure | 09 | 0.08 |
| 1b | Collaboration Tools (Phase 2) | Develop and implement collaboration tools | 10 | 0.15 |
| 1b | Digital Library (Phase 3) | Expand and enhance digital library | 10 | 0.05 |
| 1b | Cyber Security (Phase 4) | Enhance network security systems | 11 | 0.10 |
| 1b | Network Infrastructure (Phase 3) | Install required fiber optic cable | 11 | 0.10 |
|  | TOTAL |  |  | 2.00 |

* Projects/Groups

1a = Infrastructure to support current mission scope

1b = Infrastructure to support planned mission scope

2   = Infrastructure to enhance effectiveness

APPENDIX E

Site Description

The Jefferson Lab site, located in Newport News, Virginia (Figure V-5), includes 162 acres owned by the DOE and 8 acres owned by the Commonwealth of Virginia. SURA owns 44 acres adjacent to the site. The facilities include the accelerator complex serving three experimental halls, the Free-Electron Laser Facility, a central office building (CEBAF Center), two major laboratory buildings, and various other support structures.

The accelerator enclosure is a 7/8-mile racetrack-shaped concrete tunnel, 25 feet

underground. The tunnel houses a 45 MeV injector, two 400 MeV linacs- one in each straight section of the racetrack- and 6 kilometers of beam transport lines. The Central Helium Liquefier (CHL), a 75,000 liquid liter, 4800 watt refrigerator plant located in the interior of the racetrack, supplies liquid helium at 2 K to the accelerator for the ultra cold needed for superconducting operation. The Machine Control Center (MCC) houses the computer systems that control and monitor accelerator operations. The Free-Electron Laser generates high power infrared light using the accelerator technology, and shares the CHL.

The experiment area consists of three large domed concrete halls, partially underground and mounded with earth for shielding. The floors are about 36 feet below existing grade, and the domes extend up to 45 feet above grade. Hall C is 150 feet in diameter, Hall A 174 feet, and Hall B 98 feet. The major support building for the experimental physics area is the Counting House, where physicists control and monitor the experimental runs. Some 35 support structures in the accelerator/experimental area complement these major structures.

Major structures on the remainder of the site provide administrative, laboratory, and

technical support facilities. CEBAF Center provides office space, an auditorium, and a cafeteria, and houses the computer center. The Experimental Equipment Laboratory (EEL) provides light laboratory space for detector fabrication and machine shops. The Test Lab is a high-bay building housing major component assembly, test, and maintenance functions.

The FEL Building was completed in late 1997. Commissioning of the FEL began in the spring of 1998. The 15,000 square foot physics storage/assembly building was completed in 1998.

The city of Newport News constructed the Applied Research Center (ARC) on a site directly adjacent to the laboratory. The 121,000 square foot structure, completed in the spring of 1998, provides office and light laboratory space for lease to qualified tenants. Jefferson Lab has leased 41,600 SF. Several collaborating universities have also leased space. The ARC will be the anchor for the 200-acre Jefferson Center for Research and Technology, a technology park for high technology R&D and production activities.

AGE OF LABORATORY BUILDINGS

IN FY2000

| Age (years) | Building Area (KSF) | % of Total |
| --- | --- | --- |

| <11 | 446 | 68% |
| --- | --- | --- |
| 11-20 | 105 | 16% |
| 21-30 | 0 | 0 |
| 31-40 | 109 | 16% |
| Total | 660 | 100% |

CONDITION OF LABORATORY SPACE

IN FY2000

| Condition of Space | Building Area (KSF) | % of Total |
| --- | --- | --- |
| Adequate | 524 | 80% |
| Rehab | 87 | 13% |
| Replace | 49 | 7% |
| Total | 660 | 100% |

NOTE:   We are in process of updating the FIMS database.  The data in this plan is the most current.