Pathology case study

Laboratory Data Acquisitions System

| Document Number: | TD-1002-2.0 |
| --- | --- |
| Version: | 2.0 |
| Issued: | July 9, 1999 |
| Reviewed & Approved by: | John Minnich, Program Director |
| Date: |  |

Pathology Case Study  05999/01

Training Study: Stardust 2010

National Toxicology Program Support

Pathology Case Study 05999/01

Prepared for:	National Institute of Environmental Health Sciences

Research Triangle Park, NC 27709

Contract no.:	273-95-I-0012

Prepared by:	Technology Planning & Management Corporation

Imperial Center

Canterbury Hall, Suite 310

4815 Emperor Boulevard

Durham, NC 27703

Revision Summary

| Date Released | Document Number | Revision Level | Reason for Revision |
| --- | --- | --- | --- |
| 7/1999 | TD-1002-2.0 | 2.0 | Update for implementation of LDAS II. |
| 10/1994 | TD-1002-1.0 | 1.0 | New |

Table of Contents

Revision Summary

Table of Contents

Section 1	4

Introduction	4

Overview	5

Section 2	6

Logon 	6

test selection	7

pathologist selection	7

Section 3	8

Assigning Protocol Required Tissues	8

Section 4	8

Defining Observations	8

Section 5	8

Building Observations	8

Section

1

Introduction

This document contains step by step instructions and data sets necessary to familiarize personnel with the  Laboratory Data Acquisitions System II (LDAS II) software.

t

he Laboratory Data Acquisitions System (LDAS) has been upgraded to an NT platform using an object oriented Oracle database programmed in C++.  This upgrade accomplishes many things:

- It makes LDAS Y2K compliant

- It upgrades the equipment

- Provides a faster and more robust system

- Utilizes WWW to obtain and transfer reports

- Adds mouse capabilities to the system

Although the initial release was designed to incorporate technological advances into the original system,  some enhancements have been added to streamline the data collection process.  This document provides the necessary information to allow  the end user to become familiar with the enhancements by providing step by  step instructions as well as representative data sets that emulate actual study data.  This case study will also demonstrate many of the common error/warning messages that the average end user could expect to see.

NOTE

This case study contains instructions and data sets a subchronic Rat inhalation study.  This data will be used to simulate Pathology data collection.

# Overview

This case study is organized into these five sections:

| Logon and choosing a study |  |
| --- | --- |
| Assigning Protocol Required Tissue |  |
| Define Observations |  |
| Building Observations |  |

During the data collection sessions, you will:

- review animal removal data and treatment group notes

- define protocol required tissues

- define and use a personal dictionary of frequently used terms

- enter tissue status

- enter observations

- enter tissue and animal notes

While performing pathology data collection, keep the following points in mind:

- The function keys ( in dark blue) at the bottom of the screen may change with the screen.  Be sure to scan each screen for function key options.

- You may access on-line HELP at any time by pressing the F1 key

- You may use the mouse enhancement.  A simple point and click!

If you need additional information on data entry, refer to the Pathology Workstation User’s Guide.

You are now ready to begin the section of this case study titled “Logon and Test Selection”

Section

2

Logon & Test Selection

During this session you will practice:

- Logging on to the workstation

- Selecting a Study

- Reviewing pertinent Test information

- Selecting a Pathologist

To complete this section, proceed through the following steps:

- Turn on the workstation. The logon  screen should appear.

- At the ENTER LOGON ID prompt, type in your logon ID and press enter.   The cursor moves to the ENTER PASSWORD prompt.

- Type in your password and press enter.  The Set System Clock window should appear.

- At this point, you may confirm the time and date displayed by pressing enter twice, or you may alter the date and time pressing enter after each change. The Pathology Main Menu appears.

- You may access the Pathology Data Collection option by:

- pointing to the Pathology Data Collection option and clicking the right mouse button

- using the arrow keys to move the highlight bar to the pathology data collection option and pressing enter

The test selection screen should appear.

- You may use the arrow keys to highlight the study number 05999/01.

- Press <F2> to display information on the test with which you will be working.  When you have completed the review of  the displayed information, press ESC to clear the screen.

- You may select the test highlighted by:

- pressing enter

- pointing and clicking the right mouse button

The SELECT A CURRENT PATHOLOGIST window appears.

- You may choose the Pathologist by

- pointing and clicking  with right mouse button

- using arrow keys to highlight appropriate Pathologist and press enter.

The PATHOLOGY MAIN MENU Screen Appears.

Congratulations!  You have successfully logged on, chosen your study and your pathologist.  You are now ready to proceed to Section 3.  Assigning Protocol Required Tissues.

Section

3

Assigning Protocol Required Tissues

This section contains  three sets of Protocol Required Tissues (PRT).   A set refers to a group of animals that have  certain  parameters, such as removal date, removal reason, and specific tissues, in common.

During this practice session you will:

- select treatment groups and removal reasons

- assign protocol require tissues

- To choose the ASSIGN PROTOCOL REQUIRED TISSUE option at the PATHOLOGY MAIN MENU, you may:

- use the arrow keys to highlight and press enter

- point and click the right mouse button

The Protocol Required Tissue (PRT) screen will appear.  The Treatment Group window is on the left, the Removal Reason window is in the middle, and the Tissue window is on the right.

You are now ready to assign the first of your three PRT sets.

To assign Set 1 of 3 you will:

- Press <F5> to enter Add mode.

Notice the status line at the bottom of the screen changes from

Use arrow keys, F8, or F9 to Review Protocol Require Tissue Data

to

Enter the removal Start Date

Also notice the line in the upper left-hand corner changes from

Review/Delete PRTs

to

Add PRTs

Since this study is a subchronic and we are assigning PRTs, the set number      information in the upper right hand corner should read 1 of 1. The removal default dates range from (01/01/???? to 12/31/2025. (

- If you wish to accept the default dates you may:

- press the enter key twice

- point and click with the right mouse button

- To mark each female treatment group you may:

- Use the arrow key to highlight the appropriate group and press INSERT

- Press  the CTRL key  while pointing and clicking with the right mouse button

The cursor will advance automatically after each selection.

- Press tab when all female treatment groups are marked.  The cursor will move to the removal window.

6.  To mark the removal reasons you may:

- Use the arrow key to highlight the appropriate group and press INSERT

- Press the CTRL key while pointing and clicking with the right mouse button

The cursor will advance automatically after each selection.

- Continuing in this manner, mark the following removal reasons:

- Dosing accident

- Moribund Sacrifice

- Natural Death

- Terminal Sacrifice

- To move to the Tissue selection screen you may:

- To view the entire tissue listing you may:

- To select the tissues you may:

- To save the set you have just created you may

To assign Set 2 of 3 you will:

12.  Press <F5> to enter Add mode.

Notice the status line at the bottom of the screen changes from

Use arrow keys, F8, or F9 to Review Protocol Require Tissue Data

to

Enter the removal Start Date

Also notice the line in the upper left-hand corner changes from

Review/Delete PRTs

to

Add PRTs

Since this study is a subchronic and we are assigning PRTs, the set number      information in the upper right hand corner should read 1 of 1. The removal default dates range from (01/01/???? to 12/31/2025. (

13.  If you wish to accept the default dates you may:

- press the enter key twice

- point and click with the right mouse button

14.  To mark each female treatment group you may:

- Use the arrow key to highlight the appropriate group and press INSERT

- Press  the CTRL key  while pointing and clicking with the right mouse button

The cursor will advance automatically after each selection.

15. Press tab when all female treatment groups are marked.

The cursor will move to the removal window.

16. To choose the removal reasons you may:

17. Continuing in this manner, mark the following removal reasons:

18. To view the entire tissue listing you may:

19. To select the tissues you may:

20. To save the set you have just created you may

Section

4

Define Observations

Often the same observation is recorded for many animals in a test. Instead of building the same observation many times, you can build the observation once and store it for quick recall, using the Define Observations option.

Define Observations allows you to build an observation and assign a key combination to it. The observation and its associated key combination are stored in the test “dictionary.” Once an observation is stored, you may quickly retrieve it either by choosing the observation from the Select Observation Screen or by  pressing the key combination you assigned to the observation.

NOTE

When you define an observation, it is available to be assigned to any animals in the test, not only for the animals currently being observed.

To Define and Store an observation, Follow these Steps:

- Highlight  DEFINE OBSERVATIONS in the Pathology Main Menu and press <ENTER>.

- Or, press <F3> at the Tissue Selection Screen.

- The Define Observations Screen appears. Press <F4>. A list of tissues appears. The tissues on this list are suitable for the species and include the organs for both sexes.

- Use the arrow keys to highlight a tissue. Press <ENTER>.

- The tissue you chose appears in the TISSUE field.

- To specify site(s), press <F5>. A list of sites appears.

- Use the arrow keys to highlight a site and press <ENTER>. The site you choose appears in the SITE field.

- Repeat this step if you wish to choose another site. You may choose up to three sites.

- Press the Function Key associated with the type of morphology you wish to enter (F6—Neoplastic, F7—Non Neoplastic, or F8—Metastatic). A list of selected morphologies appears.

- Use the arrow keys to highlight a morphology. Press <ENTER>. The morphology you choose appears in the MORPHOLOGY field. If you chose a METASTATIC morphology, a list of tissues for the selection of a primary site appears. Highlight the primary site and press <ENTER>. If you choose a NON-NEOPLASTIC morphology, a list of qualifiers appears. Highlight a qualifier and press <ENTER>.

- To specify qualifier(s) for a NEOPLASTIC or METASTATIC morphologies, press <F9>. A list of qualifiers suitable for the morphology appears.

- Use the arrow keys to highlight the qualifier you wish to choose. Press <ENTER>. The qualifier you chose appears in the QUALIFIER field. To choose another qualifier, repeat step 12. You may choose up to four qualifiers.

- For NON-NEOPLASTIC morphologies, if you wish to specify a severity qualifier each time you choose this observation during data entry, type an asterisk (*) instead of choosing severity qualifier(s). Placing an asterisk in the qualifier field will cause the system to prompt for a severity qualifier when you choose this observation.

- When you have finished building the observation, you are ready to assign a CONTROL key combination to the observation.

- Press <F2>. A caret (^) appears in the key field. This symbol represents the CTRL key.

- Type one letter or two letters that you wish to assign to the observation you just defined. If you type one letter, press <ENTER> to complete the key assignment.

- To retrieve this observation during data entry, press the CTRL key simultaneously with the letter(s) assigned to the observation. For example, if you built an observation for the heart and you assigned an “H” to the observation, retrieve the observation by pressing <CTRL-H>. Also, if you built an observation for the Liver and assigned an “LB” to the observation, retrieve the observation by pressing <CTRL-LB>.

- When you have finished defining the observation, press <ESC> to store the observation in the test “dictionary.”

- If you have finished defining observations, press <ESC> again. You will return to the screen you were on before you created and stored the observations.

- You may retrieve the observation you defined at any time by pressing <CTRL> and the letter(s) you assigned to the observation, or by using the Select Observations option.

Section

5

Building Observations

This section provides practice in:

- identifying animals

- selecting tissues

- entering observations

To complete this section, follow these steps:

- At the Pathology Main Menu, highlight IDENTIFY ANIMAL and press <ENTER>.

- The Animal Identification Screen appears. Type 20 and press <ENTER>. The cursor moves to the histology number.

- Press <ENTER>. The following error message appears:

ERROR:  Missing Histology Number

A valid histology number must be entered before proceeding.

You must have an animal number and a histology number to proceed. Press any key to continue.

- Type histology number H000000008.

- Press <F4> to review the animal’s removal information.

- Press <ESC> to return to the Animal Identification Screen. The animal number and histology number that you have entered are displayed on the screen.

- Press <ENTER> to begin data entry for animal number 20. The Microscopic Observation Screen appears.

NOTE

The Microscopic Observations Screen allows you to choose tissues for evaluation.  The tissues displayed are species and sex specific, and are displayed in alphabetical order.  If more tissues are available than can be displayed on screen, a scroll bar appears on the right side of the screen.

- In this exercise you will build an observation. Assume you observed six small lesions in the brain and diagnosed them as Oligodendroglioma Mal. Follow these steps to build the observation.

- Record this observation by using the arrow keys to highlight BRAIN.

NOTE

When you build an observation you must specify a morphology.  Morphologies are divided into three categories: Neoplastic, Non-Neoplastic, and Metastatic. The morphologies are tissue and sex-specific and are listed alphabetically.

- Scan the function key options at the bottom of the screen and press <F6> to display the Neoplastic Morphologies window.

- Highlight Oligodendroglioma Mal and press <ENTER>.

- Scan the function keys at the bottom of the screen and press <F9> to display the qualifiers window.

NOTE

Only the qualifier groups suitable to the chosen morphology are displayed.  In this case, the count qualifiers appear.

- Highlight multiple and press <ENTER>.

You have successfully built an observation!!!

- Press <F12> to save this observation.

- Assume the Pituitary Gland is missing and you want to assign the missing tissue a status. This time, instead of using the arrow keys to highlight the tissue at the Tissue Selection Screen, use the following method to build the observation:

- Type a P. The highlighting bar moves to the first term that begins with a “P.”

- Type an I. The highlighting bar moves to the first term that begins with a “PI.”

- Scan the function key options at the bottom of the screen and press <F9> to display the Tissue Status Screen.

- Highlight MISSING and press <ENTER> or type the first letter of the Tissue Status and the status will automatically be added.

- The Tissue Status window disappears. Notice that the term “Pituitary Gland” has an “M” next to it. “M” means that the tissue has been assigned the status of MISSING.

NOTE

A tissue status of NORMAL may be assigned by highlighting the tissue and pressing <ENTER>. Any assigned tissue status may be removed by highlighting the tissue and pressing <DELETE>.

You have successfully built another observation!

- Assume you diagnosed mild, chronic active granulomatous inflammation in the heart. Enter this Non-Neoplastic observation by following these steps:

- Highlight the tissue HEART.

- Scan the function key options at the bottom of the screen and press <F7> to display the Non-Neoplastic Morphologies window.

- Highlight INFLAMMATION and press <ENTER>.

NOTE

Once the non-neoplastic morphology “Inflammation” is selected, a window containing the appropriate qualifiers automatically appears. This morphology requires qualifiers (determined by the NTP) and the system will force you to choose one. If you do not choose a qualifier, the system will not add the chosen morphology.

- Highlight appropriate qualifiers and press <ENTER>.

Mild—Severity qualifier

Chronicactive—Duration qualifier

Granulomatous—Type

- Press <F12> to save this observation.

NOTE

Only the qualifier groups suitable to the chosen morphology are displayed.  In this case qualifiers for severity, distribution, duration, and inflammation type will be displayed.

- Assign normal tissue status to the following tissues by highlighting the tissues at the Tissue Selection Screen and pressing <ENTER>.

Adrenals (cortex and medulla)

Bone

All Large Intestines (cecum, colon, rectum)

All Small Intestines (ileum, jejunum, duodenum)

Epididymus

Larynx

Lung

Nose

Prostate

Testes

Seminal Vesicle

You have successfully built another observation!

- Assume you diagnosed moderate hyperplasia of the thyroid follicular cell, a non-neoplastic lesion. Enter this non-neoplastic observation by following these steps:

- Highlight THYROID at the Tissue Selection Screen.

- Scan the function key options at the bottom of the screen and press <F5> to display the Sites window. Sites suitable for the selected tissue are listed in alphabetical order.

- Highlight FOLLICULAR CELL and press <ENTER>.

- Scan the function key options at the bottom of the screen and press <F7> to display the Non-Neoplastic Morphologies window.

- Highlight HYPERPLASIA and press <ENTER>.

- Highlight MODERATE and press <ENTER>.

- Press <F12> to save this observation.

- This time let’s try something a little different. Assume during your review of the Histopathology Slides, you diagnosed the systemic lesion of granulocytic leukemia.

- Enter this observation using the following steps:

- Scan the function keys options at the bottom of the screen. Press <F7> to display the Systemic Lesions window.

- Highlight Leukemia Gran and press <ENTER>. A tissue window appears.

NOTE

The tissues listed are sex and species specific and are listed alphabetically.  You may choose all tissues in which the particular lesion is present.  Tissues that have been previously diagnosed with current systemic lesions will appear on the screen already highlighted. If the tissue has a corresponding TGL, it will be flagged with a check mark.

- Now you will “mark” all the tissues where the systemic lesion appears.

- Highlight SPLEEN and press <ENTER>.This tissue is now “marked.”

- Mark the following tissues in the same manner:

Thymus

Bone Marrow

Lymph Node Mesenteric

Lymph Node Mandibular

Liver

Press <F12> to store the observation. The following message appears:

6 observation records were written. Press any key to continue.

- Press any key to continue. The Microscopic Observation Screen appears.

- Follow these steps to review the animal:

- At the Tissue Selection Screen, scan the function key options at the bottom of the screen and press <ALT-R> to display the Pathology Data Review Screen.

- Scroll through the list of observations using the arrow keys or <PAGE UP> and <PAGE DOWN>.

NOTE

Tissues that have been assigned a tissue status or morphology are displayed alphabetically.  If you choose a tissue at the Tissue Selection Screen before pressing <ALT-R>, that tissue will be highlighted and displayed at the top of the Pathology Data Review Screen. Any other data entered for this animal is displayed above the current tissue. The scroll bar displayed at the right side will indicate additional data above or below the highlighted tissue.

- Follow these steps to assign a cause of death.

- Highlight a tissue and a morphology of your choice and press <ALT-P>. A “P” appears on the screen next to the morphology you have chosen.

- Press <ESC> to return to the Microscopic Observations.

- Scan the function keys options at the bottom of the screen and press <F10> to complete the animal. The following error message appears:

ERROR: Missing Protocol Required Tissue

Animal 20 cannot be flagged as complete until all protocol required tissues have been observed. Press any key to continue.

- Press any key to continue. You will return to the Microscopic Observations Screen.

- Let’s try something a little different. Assume you are during your review of the liver, you observed an adhesion and attributed it to the mesenteric inflammation. You want to enter this observation as a note.

- Highlight LIVER at the Tissue Selection Screen and press <F2>. The Note Selection window appears.

- Highlight Tissue Note and press <ENTER>. A note window appears.

- Type the following tissue note for the liver: Adhesion resulted from the Mesenteric Inflammation. Review the note. If it is correct, press <ENTER>.

- The note window disappears and the Microscopic Observations Screen appears.

NOTE

You may enter up to 160 characters and the text will wrap around as you type.  Press <ENTER> only when the note is complete.

- Assume that, while reading slides for this chemical, you diagnosed several animals with the same lesions. Follow these steps:

- At the Microscopic Observations Screen, press <F3> to display the Define Observations Screen.

- Scan the function keys at the bottom of the screen and perform these steps:

- Press <F5> to access the Add Observations Screen.

- Press <F4> to display a list of tissues.

- Highlight Kidney and press <ENTER>.

- Press <F5> to display a list of tissue-specific sites.

- Highlight Renal Tubule and press <ENTER>.

- Press <F7> to display a list of Non-Neoplastic Morphologies.

- Highlight MINERALIZATION and press <ENTER>. A list of qualifiers appears because this qualifier has a forced qualifier.

- Press <SHIFT-8> to place an asterisk (*) in the severity qualifier field. This causes the system to prompt you for a severity qualifier each time you assign this observation. Now you are ready to assign the unique designator to this diagnosis.

- Press <F2>. A caret (^) appears in the key field. This symbol represents the control key.

- Type KM (the unique designator) to complete the key assignment.

- Press <F12> to build another observation, or press <ESC> to store the observation in the Dictionary. Now each time you wish to diagnose mineralization of the renal tubule, you can hold down the <CTRL> key and press <K> and <M>.

- Follow these steps to mark the animal as complete:

- Press <F10> at the Microscopic Observations Screen.

The following message appears

**Animal has been flagged as complete.**

The Animal Identification Screen appears. You have finished entering data for this animal.

You are now ready to use the Raw Data Tables provided with this case study to practice entering pathology data. A list of all animals in this case study is provided in Appendix A.

Appendix A: Raw Data Tables

PATHOLOGY CASE STUDY: STARDUST 2010 O5-05999-01

RAW DATA ANIMAL NUMBER TABLES

| Animal Number | Cage Number | Removal Reason | Removal Date | Sex |
| --- | --- | --- | --- | --- |
| 001 | 1 | Terminal Sac | 05-12-98 | Male |
| 002 | 1 | Terminal Sac | 05-12-98 | Male |
| 003 | 1 | Moribund Sac | 03-17-98 | Male |
| 004 | 1 | Terminal Sac | 05-12-98 | Male |
| 005 | 1 | Terminal Sac | 05-12-98 | Male |
| 006 | 2 | Terminal Sac | 05-12-98 | Male |
| 007 | 2 | Terminal Sac | 05-12-98 | Male |
| 008 | 2 | Terminal Sac | 05-12-98 | Male |
| 009 | 2 | Accidentally Killed | 04-19-98 | Male |
| 010 | 2 | Terminal Sac | 05-12-98 | Male |
| 101 | 3 | Terminal Sac | 05-13-98 | Female |
| 102 | 3 | Terminal Sac | 05-13-98 | Female |
| 103 | 3 | Terminal Sac | 05-13-98 | Female |
| 104 | 3 | Accidentally Killed | 05-01-98 | Female |
| 105 | 3 | Terminal Sac | 05-13-98 | Female |
| 106 | 4 | Terminal Sac | 05-13-98 | Female |
| 107 | 4 | Terminal Sac | 05-13-98 | Female |
| 108 | 4 | Moribund Sac | 05-01-98 | Female |
| 109 | 4 | Terminal Sac | 05-13-98 | Female |
| 110 | 4 | Missing | 05-01-98 | Female |
| 201 | 5 | Terminal Sac | 05-12-98 | Male |
| 202 | 5 | Terminal Sac | 05-12-99 | Male |
| 203 | 5 | Terminal Sac | 05-12-99 | Male |
| 204 | 5 | Terminal Sac | 05-12-99 | Male |
| 205 | 5 | Terminal Sac | 05-12-99 | Male |
| 206 | 6 | Terminal Sac | 05-12-99 | Male |
| 207 | 6 | Terminal Sac | 05-12-99 | Male |
| 208 | 6 | Terminal Sac | 05-12-99 | Male |
| 209 | 6 | Missing | 05-01-98 | Male |
| 210 | 6 | Terminal Sac | 05-12-99 | Male |
| 301 | 7 | Terminal Sac | 05-13-99 | Female |
| 302 | 7 | Terminal Sac | 05-13-99 | Female |
| 303 | 7 | Terminal Sac | 05-13-99 | Female |
| 304 | 7 | Moribund Sac | 02-28-98 | Female |
| 305 | 7 | Terminal Sac | 05-13-99 | Female |
| 306 | 8 | Terminal Sac | 05-13-99 | Female |
| 307 | 8 | Terminal Sac | 05-13-99 | Female |
| 308 | 8 | Natural Death | 04-28-98 | Female |
| 309 | 8 | Terminal Sac | 05-13-98 | Female |
| 310 | 8 | Accidentally Killed | 03-28-98 | Female |
| 401 | 9 | Terminal Sac | 05-12-98 | Male |
| 402 | 9 | Terminal Sac | 05-12-98 | Male |
| 403 | 9 | Moribund Sac | 05-10-98 | Male |
| 404 | 9 | Terminal Sac | 05-12-98 | Male |
| 405 | 9 | Terminal Sac | 05-12-98 | Male |
| 406 | 10 | Terminal Sac | 05-12-98 | Male |
| 407 | 10 | Terminal Sac | 05-12-98 | Male |
| 408 | 10 | Terminal Sac | 05-12-98 | Male |
| 409 | 10 | Natural Death | 02-24-98 | Male |
| 410 | 10 | Terminal Sac | 05-12-98 | Male |
| 501 | 11 | Terminal Sac | 05-13-98 | Female |
| 502 | 11 | Terminal Sac | 05-13-98 | Female |
| 503 | 11 | Terminal Sac | 05-13-98 | Female |
| 504 | 11 | Moribund Sac. | 04-01-98 | Female |
| 505 | 11 | Terminal Sac | 05-13-98 | Female |
| 506 | 12 | Terminal Sac | 05-13-98 | Female |
| 507 | 12 | Terminal Sac | 05-13-98 | Female |
| 508 | 12 | Natural Death | 04-17-98 | Female |
| 509 | 12 | Terminal Sac | 05-13-98 | Female |
| 510 | 12 | Natural Death | 04-17-98 | Female |
| 601 | 13 | Terminal Sac | 05-12-98 | Male |
| 602 | 13 | Terminal Sac | 05-12-98 | Male |
| 603 | 13 | Missing | 04-02-98 | Male |
| 604 | 13 | Terminal Sac | 05-12-98 | Male |
| 605 | 13 | Terminal Sac | 05-12-98 | Male |
| 606 | 14 | Terminal Sac | 05-12-98 | Male |
| 607 | 14 | Terminal Sac | 05-12-98 | Male |
| 608 | 14 | Terminal Sac | 05-12-98 | Male |
| 609 | 14 | Accidentally Killed | 03-20-98 | Male |
| 610 | 14 | Terminal Sac | 05-12-98 | Male |
| 701 | 15 | Terminal Sac | 05-13-98 | Female |
| 702 | 15 | Terminal Sac | 05-13-98 | Female |
| 703 | 15 | Terminal Sac | 05-13-98 | Female |
| 704 | 15 | Natural Death | 04-14-98 | Female |
| 705 | 15 | Terminal Sac | 05-13-98 | Female |
| 706 | 16 | Terminal Sac | 05-13-98 | Female |
| 707 | 16 | Terminal Sac | 05-13-98 | Female |
| 708 | 16 | Natural Death | 03-03-98 | Female |
| 709 | 16 | Terminal Sac | 05-13-98 | Female |
| 710 | 16 | Moribund Sac | 03-23-98 | Female |
| 801 | 17 | Terminal Sac | 05-12-98 | Male |
| 802 | 17 | Terminal Sac | 05-12-98 | Male |
| 803 | 17 | Moribund Sac | 03-13-98 | Male |
| 804 | 17 | Terminal Sac | 05-12-98 | Male |
| 805 | 17 | Terminal Sac | 05-12-98 | Male |
| 806 | 18 | Terminal Sac | 05-12-98 | Male |
| 807 | 18 | Terminal Sac | 05-12-98 | Male |
| 808 | 18 | Terminal Sac | 05-12-98 | Male |
| 809 | 18 | Natural Death | 02-10-98 | Male |
| 810 | 18 | Terminal Sac | 05-12-98 | Male |
| 901 | 19 | Terminal Sac | 05-13-98 | Female |
| 902 | 19 | Terminal Sac | 05-13-98 | Female |
| 903 | 19 | Terminal Sac | 05-13-98 | Female |
| 904 | 19 | Accidentally Killed | 02-27-98 | Female |
| 905 | 19 | Terminal Sac | 05-13-98 | Female |
| 906 | 20 | Terminal Sac | 05-13-98 | Female |
| 907 | 20 | Terminal Sac | 05-13-98 | Female |
| 908 | 20 | Moribund Sac | 04-07-98 | Female |
| 909 | 20 | Terminal Sac | 05-13-98 | Female |
| 910 | 20 | Moribund Sac | 04-07-98 | Female |
| 1001 | 21 | Terminal Sac | 05-12-98 | Male |
| 1002 | 21 | Terminal Sac | 05-12-98 | Male |
| 1003 | 21 | Natural Death | 03-14-98 | Male |
| 1004 | 21 | Terminal Sac | 05-12-98 | Male |
| 1005 | 21 | Terminal Sac | 05-12-98 | Male |
| 1006 | 22 | Terminal Sac | 05-12-98 | Male |
| 1007 | 22 | Terminal Sac | 05-12-98 | Male |
| 1008 | 22 | Terminal Sac | 05-12-98 | Male |
| 1009 | 22 | Moribund Sac | 04-17-98 | Male |
| 1010 | 22 | Terminal Sac | 05-12-98 | Male |
| 1101 | 23 | Terminal Sac | 05-13-98 | Female |
| 1102 | 23 | Terminal Sac | 05-13-98 | Female |
| 1103 | 23 | Terminal Sac | 05-13-98 | Female |
| 1104 | 23 | Natural Death | 05-12-98 | Female |
| 1105 | 23 | Terminal Sac | 05-13-98 | Female |
| 1106 | 24 | Terminal Sac | 05-13-98 | Female |
| 1107 | 24 | Terminal Sac | 05-13-98 | Female |
| 1108 | 24 | Natural Death | 4-26-98 | Female |
| 1109 | 24 | Terminal Sac | 05-13-98 | Female |
| 1110 | 24 | Natural Death | 04-26-98 | Female |