TF Collection Procedure - Plastic

- Get equipment out of pack: 1 plastic bottle (hereafter ‘new bottle’), poly wool, beaker, field sheets, labels, forceps, sharpie.

- Unscrew overflow bottle if it has water in it.  Pour water into plastic beaker & record total volume of water that was in overflow.  Replace overflow bottle (no rinsing necessary)

- Unscrew sample bottle that’s in the collector (hereafter ‘old bottle’) from lid & leave it in the soda bottle holder.

- Uncap new bottle, place new bottle’s cap on old bottle.

- Immediately label old bottle – must have site name (e.g., C1A) & Date. If label won’t stick, write on the lid or where label-residue is stuck.

- Remove used wool from funnel & discard. Remove any rough debris (twigs) from funnel – only things that won’t fit down the tube.

- Rinse funnel with the new bottle’s DI and pour all the new DI in to rinse interior of whole apparatus (funnel, tubing). Lift end of tube up & down to get lid & make sure it flows all the way through.

** For Equipment Blanks (1 per watershed per collection) **

After rinsing with the new bottle (350 mL) of water, pour the full bottle’s water (there will be 1 packed per trip, labeled ‘DIW for Blank’) through the apparatus & into the new bottle.  Use the ‘DIW for Blank’ bottle as the new bottle in the collector. Label the full blank ‘EQBLK-Site’ (e.g. – EQBLK-C1A), Date.

- Screw on new bottle and replace poly wool with fresh wool – just a tiny bit – we are just keeping needles & bugs from going down the tube!  Use forceps to push down into funnel neck (just a bit – to keep it from blowing out – don’t shove all the way into funnel neck!)

Notes:

- Keep good field notes, as always. Be sure to write down if wool was missing when you got to the site.

- Label samples immediately – there are no identifying marks on bottles.

- If tubing starts to look gooey, clean gently (cleaning procedure on other pages).  Note cleaning date on field sheet.

- Inspect apparatus before re-setting – rodents sometimes chew tubing.  You have spare tubing to replace it with if this happens; just make a note in the book.

TF Collection Procedure - Mercury

- Get equipment out of pack: 1 glass bottle (hereafter ‘new bottle’), 2 gloves, glass wool, sharpie.

- Put on gloves.

- Open Ziplocs on new bottle so you can get to it easily.

- Unscrew sample bottle that’s in the collector (hereafter ‘old bottle’) from lid & leave it in the soda bottle holder.

- Uncap new bottle, place new bottle’s cap on old bottle.

- Remove new bottle from plastic bags & set aside (carefully, for a moment).  Put old bottle in the bags, immediately label it by writing site name (e.g., C1A) directly on the outer bag at least twice.

- Remove used wool from funnel & discard (careful, this is glass fibers!)  Remove any rough debris (twigs) from funnel with gloved finger – only things that won’t fit down the tube.

- Rinse funnel with the new bottle’s DI and pour all the new DI in to rinse interior of whole apparatus (funnel, tubing). Lift end of tube up & down to get lid & make sure it flows all the way through.

** For Equipment Blanks (1 per watershed per collection) **

Do not let all the water run all the way through – lift the lid up to stop the flow of the last ~250 mL of water (keep in funnel for a moment) – then have a 250 mL Teflon bottle ready and catch that last 250 mL in the Teflon bottle.  Label it ‘EQBLK-Site’ (e.g. – EQBLK-C1A), Date.

- Screw on new bottle and replace glass wool with fresh wool – just a tiny bit – we are just keeping needles & bugs from going down the tube!

Notes for Hg:

- Keep as clean as possible.  Don’t scratch head, hair, etc.  Don’t breathe all over the inside of the apparatus.

- Careful – the glass is very slippery with gloves on.  The glass wool will get in your skin (like fiberglass).  Handle with gloves.

- Keep good field notes, as always.

- Label samples immediately – there are no identifying marks on bottles.

- If a bottle breaks, bag it with many bags & hike out with it secured far from your body (outer pocket of pack).

- Do not kink the Teflon tubing – it does not re-form.

- If tubing starts to look gooey, clean gently (cleaning procedure on other pages). Note cleaning date on field sheet.