Target Preparation/Hybridization Using Total RNA

I. cDNA Generation:

Prepare separate cDNA labeling reaction for each fluorescent dye you wish to use.

A “master mix” (step 4) can be made, and the reaction increased up to 5X if needed.

- Make dilution of 5.0 – 20.0 µg of total RNA in 16.0µl of DEPC water.

- Add 2.0µl of 2.5g/µl anchored oligo d(T)20 primer.

- Incubate at 70(C for 5 minutes. Cool on ice for at least 1 min.

- Combine the following components for each sample in a sterile, RNase/Dnase-free microcentrifuge tube:

  - 6.0µl of 5X First-Strand buffer

  - 1.5µl of 0.1 M DTT

  - 1.5µl of 10mM dNTP mix

  - 1.0µl of RNaseOUT™ (40 U/µl )

- Add the mixture to the annealed primer and RNA.

- Add 2µl of 400 U/µl SuperScript™ III RT and incubate at 48(C for 2hrs.

- Incubate at 70(C for 5 minutes to stop reaction.

- Cool down by spinning in a microcentrifuge at maximum speed for 1 minute.

- Add 2l of 2 U/l RNase H and incubate at 37(C for 20 min.

- Add 0.5 l of 0.5M, pH 8.0 EDTA, mix well and proceed with purification.

# II. cDNA purification:  (QIAGEN MINElute purification kit)

- Add 100 l of Binding buffer PB to RT reactions and mix well.

Note: Can add a maximum of 2 reactions per column.

- Apply to separate spin columns. Incubate for 1 minute.

- Spin for 1 min at full speed.

- Discard flow-through.

- Add 500 l of Wash buffer PE per reaction (Be sure that ethanol was added to PE buffer).

- Spin for 1 min at full speed.

- Discard flow-through.

- Repeat wash step.

- Discard flow-through.

- Spin for 1 min at full speed to eliminate the possibility of carrying over Wash buffer.

- Place columns in a fresh 1.5ml microcentrifuge tubes.

- Add 10 l of Elution buffer directly to the membrane. (20 l of Elution buffer if 2 rxns were put on the column).

- Incubate for 1 min.

- Spin for 1 min at full speed.

- Apply flow-through back on membrane.

- Incubate for 1 min.

- Spin for 1 min at full speed.

- Discard columns, spec on Nanodrop to determine cDNA concentration.

- Dry down in SpeedVac for 15 min at medium temp.  DO NOT OVERDRY!

II. Alternative procedure – cDNA precipitation:

- Add 3µl of 3M sodium acetate, pH 4.5.

- Add 1µl of 20mg/ml glycogen.

- Add 100µl of ice-cold 95% EtOH.

- Incubate at –20(C for at least 30 minutes. The reaction can be stored at this point for several days or up to 2 weeks.

- Spin the reaction at 13-14,000Xg for 20 minutes at 4(C. Carefully decant supernatant.

- Wash with 0.5 ml ice cold 70% EtOH and spin at 13-14,000Xg for 15 minutes at 4(C. Carefully decant supernatant and let to air dry. A vacuum dryer can be used but DO NOT OVERDRY!

III. NHS-ester containing dyes coupling reaction:

- Resuspend cDNA pellet in 5µl of 2x coupling buffer.  (If pellet was over dried gently heat at 37( C for 15 minutes to aid in the resuspension process.)

- The first time a tube of dye is used, resuspend in 45µl DMSO. Use DMSO provided with the kit.

- Add 5µl of the resuspended monofunctional reactive dye to cDNA.

- Mix thoroughly by gently pipetting up and down.

- Incubate for 30 minutes up to 1 hour at room temp in the dark, flicking the tubes occasionally.

IV. Dye-Coupled cDNA Purification: (using QIAGEN MINElute purification kit)

- Add 10l of 3M Sodium Acetate, pH 5.2 to each RT reaction, mix well.

- Add 100 l of Binding buffer PB to RT reactions and mix well.

- Apply each RT reaction to separate spin columns.

- Incubate for 1 min.

- Spin for 1 min at full speed.

- Discard flow-through.

- Add 500 l of Wash buffer PE per reaction (Be sure that ethanol was added to PE buffer).

- Spin for 1 min at full speed.

- Discard flow-through.

- Repeat wash step.

- Discard flow-through.

- Spin for 1 min at full speed to eliminate the possibility of carrying over Wash buffer.

- Place columns in a fresh 1.5ml microcentrifuge tubes.

- Add 10 l of Elution buffer directly to the membrane. (20 l of Elution buffer for 48-pin print).

- Incubate for 1 min.

- Spin for 1 min at full speed.

- Apply flow-through back on membrane.

- Incubate for 1 min.

- Spin for 1 min at full speed.

- Can spec using Nanodrop to determine labeling efficiency and cDNA concentrations.

V. Pre-hybridization: (should start approximately 2 hours before setting up hybridization)

Pre-hybridization buffer = 5X SSC, 0.1% SDS and 1% BSA. (Can make 10% BSA stock and filter before use or purchase pre-filtered BSA; store pre-hyb buffer at -20( C and thaw only once, warm to 42( C prior to use.)

- Apply 40 l of pre-hybridization buffer to the array and incubate for 42( C for at least 30 mins and up to 1 hour.  (If a 48-pin print, then apply 80 l of pre-hyb buffer to the array.)

- Wash off the pre-hybridization solution by rapidly plunging the slide in distilled water for 2 mins, then transfer slide to 100% isopropanol for 2 mins.

- Allow slide to air dry completely prior to use. (Can spin dry if in a rush.) (NOTE: Do not exceed 1 hour after pre-hybridization/drying before setting up hybridization.

VI. Setting up hybridization:

- Combine Cy3 and Cy5 labeled targets together (~9 l recovered for each).

- Add 1µl COT-1 DNA (8-10 µg/µl) and 1µl poly A (8-10 µg/µl).

- Denature target at 100oC for 1 minute, then snap cool on ice. (Final volume should be about 20µl.)

- Make fresh 2X Formamide hybridization buffer (50% formamide, 10x SSC, 0.2% SDS) and warm to 42oC just before adding to samples.

- Add 20l of 3X SSC to wells in hyb chamber to maintain humidity.

- Add 20l of 2X F-hyb buffer to samples.  (Add 40 l of 2X F-hyb buffer to samples for 48-pin print.)

- Load 40l sample onto microarray.  (Load 80 l onto 48-pin print.)

- Incubate overnight (12-16 hours) at 42( C in water bath or hybridization oven.

Wash:

| a. cDNA slides: 2x SSC, 0.1% SDS for 2 minutes, with occasional plunging 1x SSC, for 2 minutes, occasional plunging 0.2x SSC, for 2 minutes, occasional plunging 0.05X SSC, for 1 minute Spin 3 minutes / 650 rpm to dry | b. Oligo slides: 2x SSC, 0.1% SDS for 2 minutes, with occasional plunging 1x SSC, for 2 minutes, occasional plunging 0.2x SSC, for 2 minutes, occasional plunging NOTE: The last wash of 0.05X SSC is omitted Spin 3 minutes / 650 rpm to dry |
| --- | --- |

WASHES:	2XSSC+0.1%SDS       1XSSC	0.2XSSC        0.05XSSC

dH20:	       179 ml	         190 ml           198 ml	            200 ml

20XSSC:	         20 ml	          10 ml              2 ml	             0.5 ml

20%SDS:	          1 ml	            -	                     - 		  -

Rev 0305

| Recommended Supplies for Microarray Probe and Hybridization (March 2005) |
| --- |
| SUPPLIES | SUPPLIER | Catalog No. |
| SuperScript™ Indirect cDNA Labeling Kit | Invitrogen | L1014-02 |
| Dyes: Cy3 monofunctional reactive dye Cy5 monofunctional reactive dye | Pharmacia Pharmacia | PA23001 PA25001 |
| Ribonuclease H | Invitrogen | 18021-071 |
| Poly (dA) 40-60 | Pharmacia | 27-7988-01 |
| COT-1 DNA: Human COT-1 DNA (for human arrays) Mouse COT-1 DNA (for mouse arrays) | Invitrogen Invitrogen | 15279011 18440016 |
| Coverslips: 32-pin print: Lifterslips™ (25 X 40 mm) mSeries™ (25 X 40 mm) 48-pin print: Lifterslips™ (25 X 60 mm) mSeries™ (25 X 60 mm) | Erie Scientific Erie Scientific Erie Scientific Erie Scientific | 25X40I-2-4772 25X40I-M-5227 25X60I-2-4789 25X60I-M-5439 |
| Staining Dish/rack (10 slide) | Fisher | 08-812 |
| Slide Box (100 slide) | Thomas Scientific | 6708-G28 |
| Slide Box (25 slide) | Thomas Scientific | 6708-G08 |
| Hybridization chambers: Dual Hyb Chamber Single Hyb Chamber Single Hyb Chamber Deeper hyb chamber to accommodate thicker mSeries™ cover slip: Single Hyb Chamber | Genomic Solutions Telechem Int., Inc. Corning Telechem Int., Inc. | JHYB200004 AHC 2551 AHCXD |
| Hyb Oven | Fisher Scientific | 13-247-10 |
| Forceps | Fisher Scientific | 10-295 |
| Mini-Elute PCR Purification Kit | Qiagen | 28004 |
| High Quality Pre-filtered BSA | Invitrogen | 15561-020 |
| Centrifuge with microplate carrier assembly |  |  |