| Recommended Supplies for Microarray Labeling and Hybridization (March 2005) |
| --- |
| SUPPLIES | SUPPLIER | Catalog No. |
| SuperScript™ Indirect cDNA Labeling Kit | Invitrogen | L1014-02 |
| Dyes: Cy3 monofunctional reactive dye Cy5 monofunctional reactive dye | Pharmacia Pharmacia | PA23001 PA25001 |
| Ribonuclease H (RNase H) | Invitrogen | 18021-071 |
| Formamide, molecular biology grade, (deionized if available) | Any reputable chemical manufacturer | We recommend buying small aliquots, ≤ 100ml bottles |
| Coverslips for 48-pin print: Lifterslips™ (25 X 60 mm) or mSeries™ (25 X 60 mm) | Erie Scientific Erie Scientific | 25X60I-2-4789 25X60I-M-5439 |
| Staining Dish/rack (10 slide) | Fisher | 08-812 |
| Slide Box (100 slide) | Thomas Scientific | 6708-G28 |
| Slide Box (25 slide) | Thomas Scientific | 6708-G08 |
| Hybridization chambers: Dual Hyb Chamber Single Hyb Chamber Single Hyb Chamber Deeper hyb chamber to accommodate thicker mSeries™ cover slip: Single Hyb Chamber | Genomic Solutions Telechem Int., Inc. Corning Telechem Int., Inc. | JHYB200004 AHC 2551 AHCXD |
| Hyb Oven | Fisher Scientific | 13-247-10 |
| Forceps | Fisher Scientific | 10-295 |
| Mini-Elute PCR Purification Kit | Qiagen | 28004 |
| High Quality Pre-filtered BSA | Invitrogen | 15561-020 |
| Centrifuge with microplate carrier assembly |  |  |

Target Preparation/Hybridization Using Total RNA

I. cDNA Generation:

Prepare separate cDNA labeling reaction for each fluorescent dye you wish to use.

A “master mix” (step 4) can be made, and the reaction increased up to 5X if needed.

- For each dye dilute total RNA to between 5.0 – 20.0 µg in 16.0µl of DEPC water (0.3- 1.25 µg/µl).

- Add 2.0µl of 2.5g/µl anchored oligo d(T)20 primer.

- Incubate at 70C for 5 minutes. Cool on ice for at least 1 min.

- Combine the following components for each sample in a sterile, RNase/Dnase-free microcentrifuge tube:

a.        6.0µl of 5X First-Strand buffer

b.       1.5µl of 0.1 M DTT

c.        1.5µl of 10mM dNTP mix

d.       1.0µl of RNaseOUT™ (40 U/µl )

- Add the mixture to the annealed primer and RNA.

- Add 2 µl of 400 U/µl SuperScript™ III RT and incubate at 48C for 2hrs . (Final volume is 30µl)

- Incubate at 70C for 5 minutes to stop reaction.

- Cool down by spinning in a microcentrifuge at maximum speed for 1 minute.

- Add 2l of 2 U/l RNase H and incubate at 37C for 20 min.

- Add 0.5 l of 0.5M, pH 8.0 EDTA, mix well and proceed with purification.

II. cDNA purification:  (QIAGEN MINElute purification kit)

- Add 200 l of Binding buffer PB to each RT reaction and mix well.

Note: recommended maximum is 2 RT reactions per column.

- Apply each reaction to separate spin columns. Incubate for 1 minute.

- Spin for 1 min at full speed.

- Discard flow-through.

- Add 500l of Wash buffer PE per reaction (Be sure that ethanol was added to PE buffer).

- Spin for 1 min at full speed.

- Discard flow-through.

- Spin for 1 min at full speed to eliminate the possibility of carrying over Wash buffer.

- Place columns in a fresh 1.5ml microcentrifuge tubes.

- Add 10l of 1:10 Elution buffer EB directly to the membrane. (dilute elution buffer 1:10 with Molecular Biology Grade water).

- Incubate for 1 min. at room temperature.

- Spin for 1 min at full speed.

- Add another 10l of diluted EB buffer to the membrane.

- Incubate for 1 min. at room temperature.

- Spin for 1 min at full speed.

- Dry down in SpeedVac for ~15 min at medium temp.  DO NOT OVERDRY!

III. NHS-ester containing dyes coupling reaction:

- Resuspend cDNA pellet in 5µl of 2x coupling buffer.  (If pellet was over dried gently heat at 37 C for 15 minutes to aid in the resuspension process.)

- The first time a tube of dye is used, resuspend in 45µl DMSO. Use DMSO provided with the kit.

- Add 5µl of the resuspended monofunctional reactive dye to cDNA.

- Mix thoroughly by gently pipetting up and down.

- Incubate minimum for 30 minutes at room temp in the dark, flicking the tubes occasionally.

IV. Dye-Coupled cDNA Purification: (using QIAGEN MINElute purification kit)

- Add 10l of 3M Sodium Acetate, pH 5.2 to each labled cDNA reaction, mix well.

- Add 200l of Binding buffer PB to each reaction and mix well.

- Apply each reaction to a separate spin column.

- Incubate for 1 min. at room temperature.

- Spin for 1 min at full speed.

- Discard flow-through.

7.       Add 500l of Wash buffer PE per reaction (Be sure that ethanol was added to PE buffer).

- Spin for 1 min at full speed.

- Discard flow-through.

- Repeat wash step.

- Discard flow-through.

- Spin for 1 min at full speed to eliminate the possibility of carrying over Wash buffer.

- Place columns in a fresh 1.5ml microcentrifuge tubes.

- Add 10l of 1:10 diluted Elution buffer EB directly to the membrane

- Incubate for 1 min. at room temperature.

- Spin for 1 min at full speed.

- Add another 10l of 1:10 diluted Elution buffer EB directly to the membrane.

- Incubate for 1 min. at room temperature.

- Spin for 1 min at full speed.

- Can read OD with the Nanodrop to determine labeling efficiency and cDNA concentrations.

V. Pre-hybridization: (should start approximately 2 hours before setting up hybridization)

Pre-hybridization buffer = 5X SSC, 0.1% SDS and 1% BSA. (Can make 10% BSA stock and filter before use or purchase pre-filtered BSA; store pre-hyb buffer at -20 C and thaw only once, warm to 42 C prior to use.)

- Apply 80 l of pre-hybridization buffer under a Lifterslip to the array and incubate for 42 C for at least 30 mins and up to 1 hour.

- Wash off the pre-hybridization solution by rapidly plunging the slide in distilled water for 2 mins, then transfer slide to 100% isopropanol for 2 mins.

- Allow slide to air dry completely prior to use or spin dry.

VI. Setting up hybridization:

- Combine Cy3 and Cy5 labeled targets together (~20l recovered for each).

- Denature target at 100oC for 1 minute, then snap cool on ice. (Final volume should be about 40µl)

- Make fresh 2X Formamide hybridization buffer (50% formamide, 10x SSC, 0.2% SDS) and warm to 42oC just before adding to samples.

- Add 20l of water to wells in hybridization chamber to maintain humidity.

- Add 40l of 2X F-hyb buffer to samples

- Load 80l sample onto microarray under a Lifterslip.

- Incubate overnight (12-16 hours) at 42 C in water bath or hybridization oven.

Wash:

          2x SSC, 0.1% SDS for 2 minutes, with occasional plunging

          1x SSC, for 2 minutes, occasional plunging

          0.2x SSC, for 2 minutes, occasional plunging

          Spin 3 minutes / 650 rpm to dry

WASHES:                     2XSSC+0.1%SDS                   1XSSC                  0.2XSSC

dH20:                                  179 ml                   	           190 ml                    198 ml

20XSSC:                              20 ml                                     10 ml                         2 ml

20%SDS:                              1 ml