Hawaii’s Cooling Climate Initiative

Howard C Wiig

Hawaii State Energy Division

The goal of this project is to revise Hawaii’s Model Energy Code (MEC) to become a catalyst to mainstream underutilized energy efficiency technologies specific to cooling climates.  The revised MEC will embody building energy codes that help the nation remain competitive in the 21st century.  The results may also interest Southeast Asian and other warm-weather nations.

Activities include, a) examining the performance and economic viability of the technologies; b) preparing reports on each technology; c) providing workshops on recommendations throughout Hawaii and to Gulf Coast and other states; d) preparing recommendations into code format for possible adoption by Hawaii and other states.

Objectives include:

- Determine which high-performance windows are uniquely suited to Hawaii and are cost-effective.  Utilize simulations with Hawaii-specific weather data.

- Gather and compile field data to determine which combinations of roof color, insulation and radiant barriers dramatically reduce interior temperatures in Hawaii’s buildings and residences, often removing the need for air conditioning and increasing occupants’ comfort levels.

- Compile and summarize reports and studies indicating that daylighting can be extremely cost-effective and increase occupant productivity.

- Determine which daylighting controls are most effective in Hawaiian conditions in avoiding manual overrides and maximizing comfort and visual acuity.

- Compile field data and summarize reports on ultra-violet (UV) lamps in building air handlers to determine to what extent they reduce energy use, improve indoor air quality and reduce maintenance costs.

# Measure Daylighting Effectiveness:  Recommend Best Control Systems

Numerous studies indicate that workers and students in carefully lit daylit areas increase productivity and test score results.  Daylit areas will be measured for energy savings, heat gain, occupant satisfaction and work performance.  Research will be conducted on the most effective means of controlling daylighting in Hawaii’s conditions.  Code format will be provided to encourage daylighting by allowing “trade-offs” crediting areas of buildings receiving the majority of their lighting via carefully controlled daylight.

# Install Ultra-Violet Lamps in Air Handlers

Recent experience with ultra-violet (UV) lamps in air handlers in Hawaii’s buildings indicate that they: a) reduce energy use by eliminating mold and mildew that clog vents and shafts and force fans to work harder and restricting cold air flow; b) thereby improve the indoor air quality (IAQ) and reduce health complaints by occupants; c) reduce maintenance in air handlers and air conditioning components because fans and coils are no longer overworked, and air handling units no longer need periodic manual cleaning.

The performance of UV lamps in existing buildings will be evaluated for energy savings, IAQ improvement and reduced maintenance requirements.  The resulting report will, if warranted, include proposed amendments to the MEC to give credits for the installation of UV lamps in air handlers.

# Heat Pipes

Recent experience with heat pipes in Hawaii and other cooling climates indicate that they are extremely cost-effective in reducing the moisture content of outside air and in pre-heating the air leaving the coils.  Research will be conducted on: a) the percentage of dehumidification achieved, b) the effectiveness of pre-heating cold air, c) the effect of (a) and (b) on electricity consumption and demand, d) the estimated payback time of heat pipes, e) the satisfaction of building managers and owners with the technology.  If warranted, code format will be prepared for inclusion of heat pipes in Hawaii’s MEC.

A unique phase of this work is the inclusion of scientific evidence that many of these technologies lead to increased productivity and test scores by workers and students.  Such benefits far outweigh energy savings in cost-effectiveness.  Thus, “economic benefit” can include superior occupant comfort, a quieter and more peaceful building environment, increased productivity, reduced absenteeism and even improved occupant health.

- Compile field data and summarize reports on the effectiveness of heat pipes in economically reducing the moisture content of incoming air, replacing reheat coils and reducing air conditioning loads.

The long-term objectives of this grant resulting from the widespread use of the technologies include:

- Reducing air pollution and help achieve clean air mandates by reducing fossil fuel use.

- Assisting with market transformation through professional and community awareness that the technologies are cost-effective.

- Demonstrating through cost-savings that energy efficiency is an integral part of economic development planning.

- Creating widespread awareness that efficient buildings are more comfortable, boost occupant productivity, and create a more pleasant and productive work environments.

- Increasing public awareness that efficient buildings are part of the “high-tech” 21st century, and are flexible in meeting individual needs.

## Workplan

Conduct research into the technologies cited.  Determine each technologies’ level of performance in Hawaii’s climate.  Measure each technologies’ estimated energy and cost savings against the estimated cost of purchase, installation, and operation over the life of the equipment.  Collect data regarding the effect of the technology on the performance of occupants.  He will issue reports on each technology, conduct workshops on his findings throughout Hawaii, the Gulf Coast states and other locales, and may revise the reports based on workshop feedback.  A Cooling Climate Task Force will determine which technologies should be recommended for incorporation into Hawaii’s MEC.  Convert the recommended technologies into code language, and issue final reports on each.

# Measure Window Performance

Performance values listed in window manufacturer’s literature do not include Hawaii.  High-performance windows will be evaluated for solar heat gain coefficient, U-value, frame transmittance, and surface temperature levels in Hawaii’s climate.  A report will be issued on window performance, and recommendations made.  Code format will be provided for possible incorporation into Hawaii’s MEC.