Cruise: Skogafoss, SKO0313

Dates:  December 6 - 10, 2003

Chief Scientists:  not applicable

Equipment:  Surface samples collected next to TSG from ship’s engine cooling water.

Total number of stations:  VOS Underway Cruise

Chemical measurements:

DIC:  15 locations, 24 samples each 500-ml, 14 duplicate samples

PI:  Dr. Rik Wanninkhof

Collected by:  Kevin Sullivan

Analyzed by:  Esa Peltola

Details:

DIC:

Analysis date: April 27-28, 2004

Coulometer used: AOML1

Blank range: 13.4-26.0 counts/min

CRM # used and assigned value (include both DIC and salinity): Batch 45, c:1994.17 umol/kg,S:33.487

CRM value measured:  AOML 1: offset 4.9umol/kg (1999.0 umol/kg)

Average run time, minimum run time, maximum run time:  10 min, 8 min, 18 min

Reproducibility: (# samples and average difference): 7 sets of duplicate samples, average difference 0.5 umol/kg

CRM, salinity and HgCl2 correction applied: yes

Location of analyses files: Esa's computer file/directory/name: My Documents/SOMMA/Lab Studies/2004 (4) Skogafoss Sullivan SKO313 and Pierrot SKO406/