# Quarterly Technical Status Report			change as comment in properties11/11/04-2/10/05

NREL Subcontract NDJ-2-30630-24 with Syracuse University.
(Not a deliverable - ref. mod. No. 9). Submitted: April 5, 2005.

Bolko von Roedern, NREL Technical Monitor; Vicki Riddell, NREL Subcontract Administrator.

Eric A. Schiff, principal investigator; Steluta Dinca, Jianjun Liang, Weining Wang, graduate assistants.

## Summary

The main work during this quarter has been on a-Si:H solar cell characterization & modeling, and in particular on the time-dependence of the degradation of the open-circuit voltage. We have been fairly successful in accounting for the measurements of the time-dependence of degradation with an elementary model. Additional, rather interesting results emerged from measurements of hole drift-mobilities in CIGS. Finally, we have found a good tool for exploring VOC in a-Si:H and c-Si solar cells with polymer p-layers, and are exploring VOC as a function of the resistivity of the polymer layer.

## Amorphous Silicon Solar Cell Characterization & Modeling

The principal experimental work has been on the time-dependence of VOC during light-soaking in a-Si:H solar cells. We are trying to test a specific proposal for defect generation and its effects on recombination during light-soaking; we suspect that light-soaking is “self-limiting” in a-Si:H, by which we mean that, once defect recombination traffic becomes significant, light-soaking ceases to generate new defects. This basically implies that light-soaking is associated primarily with samples for which recombination primarily involves the bandtails.

Experimentally, the degradation under near-solar illumination conditions (we use a 685 nm laser for this work) is about 0.03 V in 200 hours at 295 K. Interestingly, there is a “latency” of a few hours after the onset of light-soaking before there is much change in VOC; light-soaking then appears to saturate in about 300 hours. We believe that the latency is the time required for recombination traffic through defects to become a significant fraction of recombination through bandtails. We are able to account quite well for the kinetics of VOC by assuming that degradation corresponds to a modest crossover of recombination traffic from bandtails to defects. Oddly, it appears that the long-term stabilization process (nominally light-induced annealing) sets in on the same timescale as the crossover.

## Hole Drift Mobilities in CIGS

We obtained a new CIGS sample from the NREL CIGS group (D. Young, contact), and started drift-mobility measurements. The preliminary results are very interesting. The hole drift-mobility appears rather low (less than 0.1 cm2/Vs), and nearly temperature-independent. If these results are confirmed, they would indicate that CIGS solar cells are actually low-mobility cells and possibly mobility-limited.

As always, we do capacitance measurements in conjunction with the drift-mobility work. These indicate an apparent “electrical” thickness of about 0.5 microns, which is much thinner than the physical thickness (nominally 2 microns) of the CIGS absorber layer. We need to understand these capacitance measurements better. We hope to obtain additional CIGS samples from NREL in the next quarter.

## Polymer p-layers

We have continued work with polyaniline p-layers on top of n/i a-Si:H and n-type c-Si layers. The main parameter has been VOC measured under white-light; our present value is about 0.75 V for the a-Si:H heterostructures. We stumbled onto a useful effect. Polyaniline comes from its manufacturer (Aldrich) as a dispersion in xylene. We increased the dilution in an effort to change the resistivity, and discovered that the resistivity of the films increases essentially exponentially with dilution. While we don’t understand why this happens, it appears to be a well-known effect. We are thus able to study VOC over an enormous range of resistivities. The results for a-Si:H suggest that VOC is limited by the Fermi-level position of the polyaniline film; VOC declines as the resistivity of the polyaniline increases, exactly as one would predict from the idea that the built-in potential across the structure was limiting VOC. Interesting, for work on n-type c-Si, Fermi-level limitation applies only for larger resistivities. For lower resistivities, VOC, which is about 0.5 V, is independent of the polyaniline’s resistivity, suggesting that VOC becomes limited either by our wafer properties or by interface states.