## User's Guide
Last updated: 8/24/2007
Tanzania: Zanzibar Interconnector
Project name | Energy Project
Zanzibar Interconnector Activity
Spreadsheet version | Investment memo, final
Date | 2007-08-24
Amount of MCC funds | 206.5 million total for Energy Project
Project description | MCC Funding will be used to increase the electric power supply to Zanzibar’s Unguja Island by laying a submarine transmission cable, to make associated investments to increase the capacity of certain overhead transmission lines and to rehabilitate the main substation near Zanzibar Town.
Benefit streams included in ERR | Increased investment and economic activity
Power quality improvements
Social gains in education and health
Insurance value of avoided blackout
Costs included in ERR (other than costs borne by MCC) | Operation and maintenance
Estimated ERR and time horizon | 20.3% over 25 years
Worksheets in this file | Activity Description
One should read this sheet first, as it offers a summary of the project, a list of components, and states the economic rationale for the project.
ERR & Sensitivity Analysis
A brief summary of the project's key parameters and ERR calculations.
Results
Provides a summary table of the results of the ERR analysis, along with the cost and net present value of the project.
Assumptions
A table of the main assumptions used in the analysis.
ERR Calculations
Details the annual costs and benefits of the project and computes the resulting ERR over a 25-year time period.
Planting
This sheet is used to generate the planting schedule of capacity.
Social and Environmental
Estimates the social and environmental benefits of the project.
Alt economic analysis
Calculates a different ERR using an alternative model based on import vs. on-island power generation.

## Activity Description
Tanzania: Zanzibar Interconnector
Activity Description
Summary
MCC Funding will be used to increase the electric power supply to Zanzibar’s Unguja Island by laying a submarine transmission cable, to make associated investments to increase the capacity of certain overhead transmission lines and to rehabilitate the main substation near Zanzibar Town.
Components
Specifically, MCC Funding will support:
1. Final design, and an environmental assessment, together with any resulting resettlement action plans, environmental management plans, and occupational health and safety standards.
2. Construction and installation of an approximately 40 km-long, 132kV, 100MW capacity submarine electric transmission cable (including telecom fiber optic shield wire) from Ras Kiromoni on the mainland to Ras Fumba on Unguja Island.
3. Installation of a 132kV switchgear at Ubungo substation and laying of an approximately 20 km-long, supplementary 132kV overhead line along an existing transmission line from Ubungo to Ras Kiromoni.
4. Laying of an approximately 22 km-long, supplementary 132kV overhead line along an existing transmission line from Ras Fumba to Mtoni substation.
5. Adding 120MVA of 132/33kV transformation capacity to the Mtoni substation on Unguja Island.
6. Capacity building and technical support for TANESCO and ZECO, including assistance with preparation of engineering design and bidding documents, tender review, supervision of construction, project management, and quality control.
7. Project coordination and construction supervision of all improvements and upgrades under the Zanzibar Interconnector Activity.
Economic Rationale
In modeling the impact of MCC’s energy investments on economic growth and incomes, we include the following benefits, all of which are ultimately related to growth in income:
1. Increased investment and economic activity. The provision of additional supplies of energy should increase investment and economic activity in the affected regions. The basis for the analysis here is Calderon and Serven, 2005.1
2. Power quality improvements. Benefits from improved power quality are likely to be realized as a result of the improved reliability of electricity supply. We have valued the impact of improved power quality on the basis of the avoided cost of running electrical protection equipment. We assume that all larger users operate protection equipment and that 25% of larger domestic consumers also do.2 We have not included the additional costs of damage to consumer equipment, given the lack of data on appliance lives and costs.
3. Social gains in education and health. There are considerable social and environmental benefits arising from providing more energy in addition to the benefits described above. The main social benefits arise from improvements in education and health, including health benefits related to avoiding emissions from diesel and kerosene use. These social benefits are primarily associated with smaller domestic customers, where the replacement energy is non-electric and there is a closer link to health and education.
4. Insurance value of avoided blackout. Aside from businesses and households running private generators, Unguja Island is entirely dependent on power supplied by an existing cable from the mainland. The counterfactual used in evaluating an investment in a new cable is continued reliance on the old cable, which is near the end of its rated lifetime. The prospect of a failure of the cable is real, and would imply months of blackout conditions until an alternative power source could be brought online (such as massive generators on barges).
1 Cesar Calderon and Luis Serven. (2005) “The Effects of Infrastructure Development on Growth and Income Distribution,” World Bank Working Paper, WPS 3400.
2 We have seen no data on protection equipment deployment. However, our assumptions have been guided by discussions with a range of customers backed up by a judgment of what would be reasonable purchase considering the balance of costs and risks avoided.
*Note about the model: This ERR model originally was developed by Guy Doyle, an energy economist for Hatch Mott MacDonald, and modified and adapted for use by MCC economists.
Last updated: 8/24/2007

## ERR & Sensitivity Analysis
Tanzania: Zanzibar Interconnector
ERR and sensitivity analysis |  |  |  |  | Last updated: 8/24/2007
Change the "User Input" cells in the table below to see the effect on the compact's Economic Rate of Return (ERR) and net benefits (see chart below). To reset all values to the default MCC estimates, click the "Reset Parameters" button at right. Be sure to reset all summary parameters to their original values ("MCC Estimate" values) before changing specific parameters.
Parameter type | Description of key parameters | Parameter values
|  | User Input | MCC Estimate | Plausible range | Values used in ERR computation | All summary parameters set to initial values?
Summary | Actual costs as a percentage of estimated costs | 100% | 100% | 80 - 120% | 100% | Y
Summary | Actual benefits as a percentage of estimated benefits | 100% | 100% | 80 - 120% | 100% | Y
Specific | Elasticity of growth wrt power | 0.0129 | 0.0129 | 0 - 0.026 | 0.0129 | More Info
Specific | Initial probability of original cable failure | 5% | 5% | 1 - 10% | 5% | Activity Description
Specific | Fraction of year it would take to source energy alternative | 0.5 | 0.5 | 0.33 - 1.00 | 0.5 | User's Guide
Specific | Economic multiplier (annual USD GDP per MWh energy) | 950 | 950 | 950 - 1740 | 950
Specific | Exchange rate (Tanzanian shillings/$) | 1300 | 1300 | 1,100 - 1,400 | 1300
0
| Economic rate of return (ERR): | 20.91%
| MCC Estimated ERR (as of 8/30/2007): | 20.9%

## Results
Results
ERRs (based on income generation)
Baseline: | 20.91%
Benefits -10%: | 19.12%
Costs +20%: | 17.82%
Delay 1 year: | 17.62%
Benefits +10%: | 22.53%
Costs -20%: | 24.73%
Best: | 26.41%
Worst: | 16.02%
NPV (Net benefits) | 64.7027
in 2007 USD mil, 10% discount rate
NPV (Benefits) | 204.5743
in 2007 USD mil, 10% discount rate
Total Costs | 63.2426

## Assumptions
Economic Analysis - Basic Forecast using HMM proposals for submarine cable pricing & phasing. Replace existing cable end 2019 by new 100 MW cable
PPA price assumptions
[8 empty] | Enter | 1
[8 empty] | Annual growth rates: % |  |  |  |  | Values: TSh/kWh
[9 empty] | 1 | 2 | 3 |  | 1 | 2 | 3 | 1 | Type | cable1 | cable2 | cable3 | wind | diesel
Assumptions | [8 empty] | 1 | 0 | 0 | selected | 25.5 | 25.5 | 25.5 | 2 | Capex $/kW | 500 | 0 | 483 | 2700 | 1500
Power station consumption (%) |  |  |  | 2% |  |  |  | 2007 | 10 | 5 | 5 | 10 | 28.05 | 26.775 | 26.775 | 3 | Opex $/kW/p.a. | 39 | 39 | 39 | 35 | 70
Energy loss in cable (%) |  |  |  | 2% |  |  |  | 2008 | 10 | 5 | 50 | 10 | 30.855 | 28.1138 | 40.1625 | 4 | Opex $/kWh | 0 | 0 | 0 | 0 | 0.006
|  | 2006-08 | 2009-13 | 2014-23 | 2024-33 |  |  | 2009 | 10 | 20 | 80 | 10 | 33.9405 | 33.7365 | 72.2925 | 5 | fuel $/kWh | 0.03 | 0.03 | 0.04 | 0 | 0.099323
Cable load factor |  | 0.55 | 0.56 | 0.58 | 0.6 |  |  | 2010 | 10 | 30 | 20 | 10 | 37.3346 | 43.8575 | 86.751 | 6 | Life | 34 | 6 | 40 | 20 | 20
Power factor |  |  |  | 0.98 |  |  |  | 2011 | 2 | 30 | 0 | 2 | 38.0812 | 57.0147 | 86.751 | 7 | Load factor | 56% | 80% | 61% | 34% | 0%
Exchange rate TZS/USD |  |  |  | 1300 |  |  |  | 2012 | 2 | 0 | 0 | 2 | 38.8429 | 57.0147 | 86.751
Discount factor |  |  |  | 12% |  |  |  | 2013 | 2 | 0 | 0 | 2 | 39.6197 | 57.0147 | 86.751
GDP growth rate % |  |  |  | 6.4% |  |  |  | 2014 | 2 | 0 | 0 | 2 | 40.4121 | 57.0147 | 86.751
Elasticity of growth wrt power |  |  |  | 0.0129 |  |  |  | 2015 | 2 | 0 | 0 | 2 | 41.2204 | 57.0147 | 86.751
Initial probability of original cable failure |  |  |  | 5% | 5% |  |  | 2016 | 2 | 0 | 0 | 2 | 42.0448 | 57.0147 | 86.751
Rate of growth of probability of failure |  |  |  | 7% | 7% |  |  | 2017 | 2 | 0 | 0 | 2 | 42.8857 | 57.0147 | 86.751
Fraction of year it would take to source energy alternative |  |  |  | 0.5 | 0.75 |  |  | 2018 | 2 | 0 | 0 | 2 | 43.7434 | 57.0147 | 86.751
Cost of energy alternative (USD million) |  |  |  | 7 | 15 |  |  | 2019 | 2 | 0 | 0 | 2 | 44.6182 | 57.0147 | 86.751
Economic multiplier (annual USD GDP per MWh energy) |  |  |  | 950 | 950 |  |  | 2020 | 2 | 0 | 0 | 2 | 45.5106 | 57.0147 | 86.751
MWh per consumer (not a measure of consumption!) |  |  |  | 2.7846 |  |  |  | 2021 | 2 | 0 | 0 | 2 | 46.4208 | 57.0147 | 86.751
Consumer multiplier (consumers per MWh energy) |  |  |  | 0.35912 |  |  |  | 2022 | 2 | 0 | 0 | 2 | 47.3492 | 57.0147 | 86.751
[8 empty] | 2023 | 2 | 0 | 0 | 2 | 48.2962 | 57.0147 | 86.751
Submarine Cable Project | [7 empty] | 2024 | 2 | 0 | 0 | 2 | 49.2621 | 57.0147 | 86.751
Investment costs (USD million) |  |  |  | 59.13 |  |  |  | 2025 | 2 | 0 | 0 | 2 | 50.2474 | 57.0147 | 86.751
Uprate existing Interconnector (USD million) |  |  |  | 48.3 |  |  |  | 2026 | 2 | 0 | 0 | 2 | 51.2523 | 57.0147 | 86.751
Economic lifetime (year) |  |  |  | 40 |  |  |  | 2027 | 2 | 0 | 0 | 2 | 52.2774 | 57.0147 | 86.751
Value of unserved energy (USD/kWh) |  |  |  | 0.5 |  |  |  | 2028 | 2 | 0 | 0 | 2 | 53.3229 | 57.0147 | 86.751
Capacity (MVA) |  |  |  | 195 |  |  |  | 2029 | 2 | 0 | 0 | 2 | 54.3894 | 57.0147 | 86.751
O and M costs (USD million/year) |  |  |  | 0.88695 |  |  |  | 2030 | 2 | 0 | 0 | 2 | 55.4772 | 57.0147 | 86.751
Tanesco tariff 2006: | Tsh/kWh |  |  | 25.5 |  |  |  | 2031 | 2 | 0 | 0 | 2 | 56.5867 | 57.0147 | 86.751
| Tsh/kVA/month |  |  | 3685.5 |  | gas ex transport |  | 2032 | 2 | 0 | 0 | 2 | 57.7185 | 57.0147 | 86.751
Shortfall in supplies: % of annual energy |  |  |  | 2% |  |  |  | 2033 | 2 | 0 | 0 | 2 | 58.8728 | 57.0147 | 86.751
Start year |  |  |  | 2011
HFO based alternative
Investment costs (USD/kW) |  |  |  | 1500 |  | 950
Economic lifetime (year) |  |  |  | 20 |  | 20 | crude | USD/t | HFO/crude ratio | HFO USD/t
Fuel consumption (kg/kWh) |  |  |  | 0.205 |  | 0.205 | 70 | 561 | 0.85 | 476.85
Fuel price (USD/tonne) |  |  |  | 475 |  | 120
Variable O&M costs (USD/MWh) |  |  |  | 6 |  | 6
Fixed O&M costs (USD/kW installed capacity) |  |  |  | 70 |  | 70
Run gas option (1=yes, 0=no) |  |  |  | 0
Include residual capex (1=yes, 0=no) |  |  |  | 0
Note on H27: from TZ-investment plant v 3.0
Note on H32: dim40713: Agreed 1.5% of capital costs each year
Note on H28: Not counted in project costs
Note on H30: Based on cost of running customer diesels rather than lost economic output
Note on H35: reflects probability adjusted shortfall in supplies from TANESCO, as well as outages in cable (latter very small)
Note on H39: This is based on a 50:50 split of diesel engine capacity between slow and medium speed - respective costs are USD/1800 and USD1200/kW.
Note on H41: Taken from NORPLAN study
Note on H42: MML assumption based on spot check in March 07 of price and also assumption of crude at USD70/bbl and USD50/t transport cost
Note on H43: NORPLAN assumption
Note on H44: NORPLAN assumption
Note on H47: Default is off =0
Note on H49: Default is off =0
Note on M5: Selects import price scenario for cable energy: 1 is NORPLAN assumption, 2 is accelarated increase to NORPLAN level, 3 is LRMC case
Note on N7: Accelerated increase to NORPLAN level in 2011 rather than 2033
Note on O7: Price near LRMC of generation for TANESCO
Note on K40: Calcs for HFO price
Note on B17: MCC: From Calderon and Serven, "The Effects of Infrastructure Development on Growth and Income Distribution," World Bank, WPS 3400, Table 3, columns [5] and [6], effect of "Infrastructure Stocks".
Note on H22: Value taken from the bottom end of the range of a study on the economic growth impacts of electricity supply in Sri Lanka by Morimoto & Hope, 2002
Note on H23: MCC: Initial MWh energy/# of consumers

## ERR Calculations
ECONOMIC ANALYSIS (based on income generation impact of new cable supplies)
ERR Calculations
| Baseline: |  | 20.91%
| Benefits -10%: |  | 19.12%
| Costs +20%: |  | 17.82%
| Delay 1 year: |  | 17.62%
| Benefits +10%: |  | 22.53%
| Costs -20%: |  | 24.73%
| Best: |  | 26.41%
| Worst: |  | 16.02%
| NPV (Net benefits) |  | 64.7027
in 2007 USD mil, 10% discount rate
| NPV (Benefits) |  | 204.5743
in 2007 USD mil, 10% discount rate
Costs and Benefits
|  |  | (Monetary values in constant 2007 $) |  |  | Year 1 | Year 2 | Year 3 | Year 4 | Year 5
| Year |  |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
|  |  |  | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Benefits
|  | Capacity of new cable |  | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
|  | Initial cable/ replacement |  | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Demand Forecast
|  |  | Energy demand (GWh)…………………………. |  | 205.8773 | 219.9845 | 234.6763 | 248.1219 | 262.0582 | 286.4525 | 312.6293 | 340.7197 | 364.6175 | 389.8608 | 416.5253 | 444.6911 | 474.4429 | 505.8701 | 539.0672 | 574.134 | 611.1758 | 650.3042 | 684.6941 | 720.6597 | 758.2736 | 797.6117 | 838.7536 | 881.7823 | 926.7849 | 973.8525 | 1023.0802 | 1074.5678
|  |  | Peak load (MW)…………………………………. |  | 42.7309 | 45.6589 | 48.7082 | 50.5793 | 53.4202 | 58.393 | 63.7291 | 69.4553 | 71.7638 | 76.7322 | 81.9803 | 87.5238 | 93.3796 | 99.5651 | 106.0989 | 113.0007 | 120.2913 | 127.9925 | 130.269 | 137.1118 | 144.2682 | 151.7526 | 159.5802 | 167.7668 | 176.3289 | 185.284 | 194.65 | 204.4459
Project cable supply
|  |  | Energy (GWh)…………………………………… |  | 0 | 0 | 0 | 0 | 0 | 197.5534 | 215.6064 | 234.9791 | 251.4604 | 268.8695 | 287.2588 | 306.6835 | 327.202 | 327.202 | 327.202 | 327.202 | 327.202 | 327.202 | 342.347 | 360.3298 | 379.1368 | 398.8059 | 419.3768 | 440.8912 | 463.3925 | 486.9262 | 511.5401 | 537.2839
|  |  | Capacity (MVA)…………………………………….. |  | 42.7309 | 45.6589 | 48.7082 | 50.5793 | 53.4202 | 40.271 | 43.9511 | 47.9002 | 49.4923 | 52.9187 | 56.5381 | 60.3613 | 64.3997 | 49.7825 | 53.0494 | 56.5004 | 60.1456 | 63.9962 | 65.1345 | 68.5559 | 72.1341 | 75.8763 | 79.7901 | 83.8834 | 88.1645 | 92.642 | 97.325 | 102.223
Costs
|  |  | Investment (USD m)………………………… | Year 2 2009 0: 8.6; Year 3 2010 1: 21.8; Year 4 2011 2: 20.6; Year 5 2012 3: 9.7; Year 5 2013 4: 2.5426; Year 5 2020 11: 0
including capital costs, design and supervision, technical assistance, and unallocated contingencies
|  |  | O&M (USD m)…………………………….. | [6 empty] | 0.88695 | 0.88695 | 0.88695 | 0.88695 | 0.88695 | 0.88695 | 0.88695 | 0.88695 | 0.88695 | 0.88695 | 0.88695 | 0.88695 | 0.88695 | 0.88695 | 0.88695 | 0.88695 | 0.88695 | 0.88695 | 0.88695 | 0.88695 | 0.88695 | 0.88695 | 0.88695
|  |  | Distribution costs USDm…………………… | [6 empty] | 0.95337 | 1.638 | 2.3727 | 2.9977 | 3.6579 | 4.3553 | 5.0919 | 5.87 | 6.692 | 7.5602 | 8.4774 | 9.4461 | 10.4695 | 11.3689 | 12.3096 | 13.2933 | 14.3222 | 15.3982 | 16.5235 | 17.7005 | 18.9315 | 20.219 | 21.5656
Tanesco tariff
|  |  | Real change (%)…………………………………. |  | 0 | 10 | 10 | 10 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
|  |  | Energy Tsh/kWh……………………………………… |  | 25.5 | 28.05 | 30.855 | 33.9405 | 34.6193 | 35.3117 | 36.0179 | 36.7383 | 37.4731 | 38.2225 | 38.987 | 39.7667 | 40.562 | 41.3733 | 42.2007 | 43.0448 | 43.9057 | 44.7838 | 45.6794 | 46.593 | 47.5249 | 48.4754 | 49.4449 | 50.4338 | 51.4425 | 52.4713 | 53.5207 | 54.5912
|  |  | Capacity Tsh/kVA………………………………. |  | 3685.5 | 4054.05 | 4459.455 | 4905.4005 | 5003.5085 | 5103.5787 | 5205.6503 | 5309.7633 | 5415.9585 | 5524.2777 | 5634.7632 | 5747.4585 | 5862.4077 | 5979.6558 | 6099.249 | 6221.2339 | 6345.6586 | 6472.5718 | 6602.0232 | 6734.0637 | 6868.745 | 7006.1199 | 7146.2423 | 7289.1671 | 7434.9504 | 7583.6495 | 7735.3224 | 7890.0289
|  |  | Expenditure on power imports (USD m)……………. | [6 empty] | 1.672 | 2.6359 | 3.707 | 4.5623 | 5.5984 | 6.7284 | 7.9599 | 9.3009 | 10.7602 | 12.3474 | 14.0725 | 15.9466 | 17.9816 | 19.6606 | 21.6831 | 23.8549 | 26.186 | 28.6877 | 31.3714 | 34.2497 | 37.336 | 40.6444 | 44.1902
|  |  | Total costs (USD m)…………………………………. |  |  |  | 8.6 | 21.8 | 20.6 | 13.2124 | 7.7034 | 6.9666 | 8.4469 | 10.1433 | 11.9707 | 13.9387 | 16.0579 | 18.3392 | 20.7945 | 23.4368 | 26.2797 | 29.338 | 31.9165 | 34.8796 | 38.0351 | 41.3951 | 44.9728 | 48.7819 | 52.8372 | 57.1545 | 61.7504 | 66.6427
Benefits
[6 empty] | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
|  |  | Beginning regional GDP (2005) |  | 323.988 | Year 1: 2008; Year 2: 2009; Year 3: 2010; Year 4: 2011; Year 5: 2012
|  |  | Population |  |  | 1141450.2354 | 1175693.7425 | 1210964.5547 | 1247293.4914 | 1284712.2961 | 1323253.665 | 1362951.275 | 1403839.8132 | 1445955.0076 | 1489333.6578 | 1534013.6676 | 1580034.0776 | 1627435.0999 | 1676258.1529 | 1726545.8975 | 1778342.2744 | 1831692.5427 | 1886643.3189 | 1943242.6185 | 2001539.8971 | 2061586.094 | 2123433.6768 | 2187136.6871 | 2252750.7877 | 2320333.3114 | 2389943.3107 | 2461641.61
|  |  | Regional GDP with Project |  |  | 366.7855 | 390.2598 | 415.2364 | 441.8115 | 470.3376 | 501.2513 | 534.7304 | 570.846 | 609.8001 | 651.7943 | 697.0388 | 745.7509 | 798.1537 | 854.4732 | 914.9363 | 979.7661 | 1049.1785 | 1123.298 | 1202.436 | 1286.8081 | 1376.613 | 1472.0261 | 1573.192 | 1680.2157 | 1793.153 | 1911.9995 | 2036.678
|  |  | Incremental increase in GDP resulting from project |  |  | 0 | 0 | 0 | 0 | 0.25008 | 0.81215 | 1.399 | 1.8929 | 2.4199 | 2.967 | 3.5297 | 4.1017 | 4.6747 | 5.2377 | 5.7767 | 6.274 | 6.7073 | 6.9721 | 7.2469 | 7.4162 | 7.4492 | 7.3099 | 6.9562 | 6.3394 | 5.4036 | 4.0847 | 2.3105
|  |  | Regional GDP without Project |  |  | 366.7855 | 390.2598 | 415.2364 | 441.8115 | 470.0875 | 500.1731 | 532.1842 | 566.244 | 602.4836 | 641.0425 | 682.0692 | 725.7217 | 772.1679 | 821.5866 | 874.1681 | 930.1149 | 989.6423 | 1052.9794 | 1120.37 | 1192.0737 | 1268.3664 | 1349.5419 | 1435.9126 | 1527.811 | 1625.5909 | 1729.6287 | 1840.3249
|  |  | Regional per capita GDP with Project: USD |  |  | 321.3329 | 331.94 | 342.8973 | 354.2162 | 366.1034 | 378.8021 | 392.3327 | 406.6319 | 421.7283 | 437.6415 | 454.3889 | 471.9841 | 490.4366 | 509.7504 | 529.9229 | 550.9435 | 572.7918 | 595.395 | 618.7781 | 642.909 | 667.7446 | 693.2291 | 719.2929 | 745.8507 | 772.7998 | 800.0188 | 827.3658
|  |  | Incremental increase in per capita GDP resulting from project: USD |  |  | 0 | 0 | 0 | 0 | 0.19466 | 0.81484 | 1.8682 | 3.2782 | 5.06 | 7.2192 | 9.7584 | 12.6765 | 15.9673 | 19.6191 | 23.6125 | 27.92 | 32.5034 | 37.2718 | 42.2314 | 47.3307 | 52.5064 | 57.6821 | 62.7667 | 67.6527 | 72.2147 | 76.3076 | 79.7651
|  |  | Regional per capita GDP without Project: USD |  |  | 321.3329 | 331.94 | 342.8973 | 354.2162 | 365.9088 | 377.9873 | 390.4646 | 403.3537 | 416.6683 | 430.4224 | 444.6305 | 459.3076 | 474.4692 | 490.1313 | 506.3104 | 523.0236 | 540.2884 | 558.1232 | 576.5467 | 595.5783 | 615.2382 | 635.547 | 656.5262 | 678.198 | 700.5851 | 723.7112 | 747.6007
|  |  | Regional GDP growth rate with Project |  |  | 6.4% | 6.4% | 6.4% | 6.4% | 6.457% | 6.573% | 6.679% | 6.754% | 6.824% | 6.887% | 6.942% | 6.988% | 7.027% | 7.056% | 7.076% | 7.086% | 7.085% | 7.065% | 7.045% | 7.017% | 6.979% | 6.931% | 6.873% | 6.803% | 6.722% | 6.628%
|  |  | Incremental increase in GDP growth rate resulting from project |  |  | 0% | 0% | 0% | 0% | 0.0566% | 0.1727% | 0.2791% | 0.354% | 0.4239% | 0.4866% | 0.5415% | 0.5884% | 0.6268% | 0.6562% | 0.6761% | 0.6857% | 0.6846% | 0.6645% | 0.6451% | 0.6168% | 0.5789% | 0.531% | 0.4726% | 0.403% | 0.3216% | 0.2278%
|  |  | As % of counterfactual regional GDP growth rate |  |  | 0% | 0% | 0% | 0% | 0.8844% | 2.698% | 4.361% | 5.531% | 6.624% | 7.602% | 8.461% | 9.194% | 9.794% | 10.25% | 10.56% | 10.71% | 10.7% | 10.38% | 10.08% | 9.637% | 9.045% | 8.297% | 7.384% | 6.296% | 5.025% | 3.559%
|  |  | Regional GDP growth rate without Project |  |  | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4% | 6.4%
|  |  | Regional per capita GDP growth rate with Project |  |  | 3.301% | 3.301% | 3.301% | 3.301% | 3.356% | 3.469% | 3.572% | 3.645% | 3.713% | 3.773% | 3.827% | 3.872% | 3.91% | 3.938% | 3.957% | 3.967% | 3.966% | 3.946% | 3.927% | 3.9% | 3.863% | 3.817% | 3.76% | 3.692% | 3.613% | 3.522%
|  |  | Incremental increase in per capita GDP growth rate resulting from project |  |  | 0% | 0% | 0% | 0% | 0.05496% | 0.1676% | 0.271% | 0.3437% | 0.4116% | 0.4724% | 0.5258% | 0.5713% | 0.6086% | 0.6371% | 0.6564% | 0.6658% | 0.6646% | 0.6452% | 0.6264% | 0.5988% | 0.562% | 0.5155% | 0.4588% | 0.3912% | 0.3122% | 0.2212%
|  |  | As % of counterfactual regional per capita GDP growth rate |  |  | 0% | 0% | 0% | 0% | 1.665% | 5.079% | 8.209% | 10.41% | 12.47% | 14.31% | 15.93% | 17.31% | 18.44% | 19.3% | 19.88% | 20.17% | 20.13% | 19.54% | 18.97% | 18.14% | 17.03% | 15.62% | 13.9% | 11.85% | 9.459% | 6.7%
|  |  | Regional per capita GDP growth rate without Project |  |  | 3.301% | 3.301% | 3.301% | 3.301% | 3.301% | 3.301% | 3.301% | 3.301% | 3.301% | 3.301% | 3.301% | 3.301% | 3.301% | 3.301% | 3.301% | 3.301% | 3.301% | 3.301% | 3.301% | 3.301% | 3.301% | 3.301% | 3.301% | 3.301% | 3.301% | 3.301%
|  |  | Increased investment and economic activity |  |  | 0 | 0 | 0 | 0 | 0.25008 | 1.0782 | 2.5462 | 4.6021 | 7.3165 | 10.7518 | 14.9695 | 20.0293 | 25.9858 | 32.8866 | 40.7681 | 49.6512 | 59.5362 | 70.3186 | 82.066 | 94.7344 | 108.2465 | 122.4842 | 137.2794 | 152.4047 | 167.5622 | 182.3708 | 196.3531
|  |  | As % of counterfactual GDP |  |  | 0% | 0% | 0% | 0% | 0.0532% | 0.2156% | 0.4784% | 0.8127% | 1.214% | 1.677% | 2.195% | 2.76% | 3.365% | 4.003% | 4.664% | 5.338% | 6.016% | 6.678% | 7.325% | 7.947% | 8.534% | 9.076% | 9.56% | 9.975% | 10.31% | 10.54% | 10.67%
[11 empty] | 26.1768 | 54.2672 | 78.1651 | 103.4083 | 130.0728 | 158.2386 | 187.9905 | 219.4177 | 252.6148 | 287.6815 | 324.7234 | 363.8517 | 398.2416 | 434.2072 | 471.8211 | 511.1593 | 552.3011 | 595.3299 | 640.3325 | 687.4 | 736.6277 | 788.1153
|  |  | Social & Environmental Benefits: Million USD | [7 empty] | 0.04119 | 0.04692 | 0.058876 | 0.070754 | 0.08266 | 0.094601 | 0.10654 | 0.11843 | 0.13018 | 0.14171 | 0.1529 | 0.16363 | 0.17657 | 0.189 | 0.20078 | 0.21177 | 0.22177 | 0.23059 | 0.23801 | 0.24376 | 0.24758 | 0.24914
Domestic customer numbers
|  |  | Additional customers |  |  | 0 | 0 | 0 | 0 | 4300 | 8600 | 12900 | 17200 | 21500 | 25800 | 30100 | 34400 | 38700 | 43000 | 47300 | 51600 | 55900 | 60200 | 64500 | 68800 | 73100 | 77400 | 81700 | 86000 | 90300 | 94600 | 98900
23.2896 |  |  | Education |  |  | 0 | 0 | 0 | 0 | 0.10015 | 0.20029 | 0.30044 | 0.40058 | 0.50073 | 0.60087 | 0.70102 | 0.80116 | 0.90131 | 1.0015 | 1.1016 | 1.2017 | 1.3019 | 1.402 | 1.5022 | 1.6023 | 1.7025 | 1.8026 | 1.9028 | 2.0029 | 2.103 | 2.2032 | 2.3033
67.1815 |  |  | Health |  |  | 0 | 0 | 0 | 0 | 0.28888 | 0.57776 | 0.86664 | 1.1555 | 1.4444 | 1.7333 | 2.0222 | 2.311 | 2.5999 | 2.8888 | 3.1777 | 3.4666 | 3.7554 | 4.0443 | 4.3332 | 4.6221 | 4.911 | 5.1998 | 5.4887 | 5.7776 | 6.0665 | 6.3554 | 6.6442
4.4788 |  |  | Communication and entertainment |  |  | 0 | 0 | 0 | 0 | 0.019259 | 0.038517 | 0.057776 | 0.077035 | 0.096293 | 0.11555 | 0.13481 | 0.15407 | 0.17333 | 0.19259 | 0.21185 | 0.2311 | 0.25036 | 0.26962 | 0.28888 | 0.30814 | 0.3274 | 0.34666 | 0.36592 | 0.38517 | 0.40443 | 0.42369 | 0.44295
0 |  |  | Productivity improvement |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 |  |  | Environmental |  |  | 0 | 0 | 0 | 0 | 0.0215 | 0.043 | 0.0645 | 0.086 | 0.1075 | 0.129 | 0.1505 | 0.172 | 0.1935 | 0.215 | 0.2365 | 0.258 | 0.2795 | 0.301 | 0.3225 | 0.344 | 0.3655 | 0.387 | 0.4085 | 0.43 | 0.4515 | 0.473 | 0.4945
99.9498 |  |  | Total |  |  | 0 | 0 | 0 | 0 | 0.42978 | 0.85957 | 1.2894 | 1.7191 | 2.1489 | 2.5787 | 3.0085 | 3.4383 | 3.8681 | 4.2978 | 4.7276 | 5.1574 | 5.5872 | 6.017 | 6.4468 | 6.8765 | 7.3063 | 7.7361 | 8.1659 | 8.5957 | 9.0255 | 9.4553 | 9.885
|  |  | Insurance value of avoided blackouts | [6 empty] | 5.1 | 5.457 | 5.839 | 6.2477 | 6.6851 | 7.153 | 7.6537 | 8.1895 | 8.7627 | 9.3761 | 10.0325 | 10.7347 | 11.4862 | 12.2902 | 13.1505 | 14.0711 | 15.056 | 16.11 | 17.2377 | 18.4443 | 19.7354 | 21.1169 | 22.595
[10 empty] | 88.24% | 73.8% | 60.35% | 49.71% | 41.39% | 34.92% | 29.86% | 25.87% | 22.69% | 20.14% | 18.07% | 16.38% | 14.99% | 13.87% | 12.94% | 12.16% | 11.53% | 11.01% | 10.6% | 10.28% | 10.05% | 9.917% | 9.874%
|  |  | Total benefits USD m…………………………….… |  |  |  | 0 | 0 | 0 | 5.7799 | 7.3948 | 9.6745 | 12.5689 | 16.1505 | 20.4835 | 25.6318 | 31.657 | 38.6166 | 46.5606 | 55.5282 | 65.5434 | 76.6096 | 88.6258 | 101.6632 | 115.682 | 130.6089 | 146.3303 | 162.683 | 179.4447 | 196.323 | 212.9429 | 228.8332
|  |  | Net benefits USD m…………………………….… |  |  |  | -8.6 | -21.8 | -20.6 | -7.4325 | -0.3086 | 2.708 | 4.122 | 6.0072 | 8.5128 | 11.693 | 15.5992 | 20.2775 | 25.7661 | 32.0914 | 39.2637 | 47.2716 | 56.7094 | 66.7836 | 77.6469 | 89.2138 | 101.3575 | 113.9011 | 126.6075 | 139.1686 | 151.1926 | 162.1904
Scenario 1: Benefits -10%
|  |  | Total benefits………...…………………………………. |  |  |  | 0 | 0 | 0 | 5.2019 | 6.6553 | 8.7071 | 11.312 | 14.5355 | 18.4351 | 23.0686 | 28.4913 | 34.755 | 41.9046 | 49.9754 | 58.9891 | 68.9486 | 79.7632 | 91.4969 | 104.1138 | 117.548 | 131.6972 | 146.4147 | 161.5002 | 176.6907 | 191.6487 | 205.9498
|  |  | Net benefits……………………………………………………. |  |  |  | -8.6 | -21.8 | -20.6 | -8.0105 | -1.0481 | 1.7405 | 2.8651 | 4.3922 | 6.4645 | 9.1298 | 12.4334 | 16.4158 | 21.11 | 26.5386 | 32.7094 | 39.6106 | 47.8468 | 56.6173 | 66.0787 | 76.1529 | 86.7245 | 97.6328 | 108.663 | 119.5363 | 129.8983 | 139.3071
Scenario 2: Costs +20%
|  |  | Total costs…………………............................................ |  |  |  | 10.32 | 26.16 | 24.72 | 15.8548 | 9.2441 | 8.3599 | 10.1363 | 12.1719 | 14.3648 | 16.7265 | 19.2694 | 22.007 | 24.9534 | 28.1241 | 31.5356 | 35.2056 | 38.2998 | 41.8556 | 45.6421 | 49.6742 | 53.9673 | 58.5382 | 63.4046 | 68.5853 | 74.1004 | 79.9713
|  |  | Total benefits………...…………………………………. |  |  |  | 0 | 0 | 0 | 5.7799 | 7.3948 | 9.6745 | 12.5689 | 16.1505 | 20.4835 | 25.6318 | 31.657 | 38.6166 | 46.5606 | 55.5282 | 65.5434 | 76.6096 | 88.6258 | 101.6632 | 115.682 | 130.6089 | 146.3303 | 162.683 | 179.4447 | 196.323 | 212.9429 | 228.8332
|  |  | Net benefits……………………………………………………. |  |  |  | -10.32 | -26.16 | -24.72 | -10.075 | -1.8493 | 1.3147 | 2.4326 | 3.9786 | 6.1187 | 8.9053 | 12.3876 | 16.6096 | 21.6072 | 27.4041 | 34.0078 | 41.404 | 50.3261 | 59.8077 | 70.0398 | 80.9347 | 92.3629 | 104.1447 | 116.0401 | 127.7377 | 138.8425 | 148.8619
Scenario 3: Delay 1 year
|  |  | Total benefits………...…………………………………. |  |  |  | 0 | 0 | 0 | 0 | 5.7799 | 7.3948 | 9.6745 | 12.5689 | 16.1505 | 20.4835 | 25.6318 | 31.657 | 38.6166 | 46.5606 | 55.5282 | 65.5434 | 76.6096 | 88.6258 | 101.6632 | 115.682 | 130.6089 | 146.3303 | 162.683 | 179.4447 | 196.323 | 212.9429
|  |  | Net benefits……………………………………………………. |  |  |  | -8.6 | -21.8 | -20.6 | -13.2124 | -1.9235 | 0.42823 | 1.2276 | 2.4257 | 4.1798 | 6.5448 | 9.5739 | 13.3179 | 17.8221 | 23.1238 | 29.2485 | 36.2054 | 44.6931 | 53.7462 | 63.6281 | 74.2868 | 85.6361 | 97.5484 | 109.8458 | 122.2902 | 134.5727 | 146.3002
Scenario 4: Benefits +10%
|  |  | Total benefits………...…………………………………. |  |  |  | 0 | 0 | 0 | 6.3579 | 8.1343 | 10.642 | 13.8258 | 17.7656 | 22.5318 | 28.1949 | 34.8227 | 42.4783 | 51.2167 | 61.081 | 72.0977 | 84.2706 | 97.4884 | 111.8296 | 127.2502 | 143.6698 | 160.9633 | 178.9512 | 197.3892 | 215.9553 | 234.2372 | 251.7165
|  |  | Net benefits……………………………………………………. |  |  |  | -8.6 | -21.8 | -20.6 | -6.8545 | 0.43088 | 3.6754 | 5.3789 | 7.6223 | 10.5612 | 14.2562 | 18.7649 | 24.1391 | 30.4222 | 37.6443 | 45.818 | 54.9326 | 65.5719 | 76.9499 | 89.215 | 102.2746 | 115.9905 | 130.1694 | 144.552 | 158.8009 | 172.4869 | 185.0737
Scenario 5: Costs -20%
|  |  | Total costs…………………............................................ |  |  |  | 6.88 | 17.44 | 16.48 | 10.5699 | 6.1627 | 5.5733 | 6.7575 | 8.1146 | 9.5765 | 11.151 | 12.8463 | 14.6713 | 16.6356 | 18.7494 | 21.0238 | 23.4704 | 25.5332 | 27.9037 | 30.4281 | 33.1161 | 35.9782 | 39.0255 | 42.2698 | 45.7236 | 49.4003 | 53.3142
|  |  | Total benefits………...…………………………………. |  |  |  | 0 | 0 | 0 | 5.7799 | 7.3948 | 9.6745 | 12.5689 | 16.1505 | 20.4835 | 25.6318 | 31.657 | 38.6166 | 46.5606 | 55.5282 | 65.5434 | 76.6096 | 88.6258 | 101.6632 | 115.682 | 130.6089 | 146.3303 | 162.683 | 179.4447 | 196.323 | 212.9429 | 228.8332
|  |  | Net benefits……………………………………………………. |  |  |  | -6.88 | -17.44 | -16.48 | -4.79 | 1.2321 | 4.1013 | 5.8114 | 8.0359 | 10.907 | 14.4808 | 18.8107 | 23.9453 | 29.925 | 36.7788 | 44.5196 | 53.1392 | 63.0927 | 73.7595 | 85.2539 | 97.4928 | 110.352 | 123.6575 | 137.1749 | 150.5995 | 163.5427 | 175.519
Scenario 6: Best Case
|  |  | Total costs…………………............................................ |  |  |  | 6.88 | 17.44 | 16.48 | 10.5699 | 6.1627 | 5.5733 | 6.7575 | 8.1146 | 9.5765 | 11.151 | 12.8463 | 14.6713 | 16.6356 | 18.7494 | 21.0238 | 23.4704 | 25.5332 | 27.9037 | 30.4281 | 33.1161 | 35.9782 | 39.0255 | 42.2698 | 45.7236 | 49.4003 | 53.3142
|  |  | Total benefits………...…………………………………. |  |  |  | 0 | 0 | 0 | 6.3579 | 8.1343 | 10.642 | 13.8258 | 17.7656 | 22.5318 | 28.1949 | 34.8227 | 42.4783 | 51.2167 | 61.081 | 72.0977 | 84.2706 | 97.4884 | 111.8296 | 127.2502 | 143.6698 | 160.9633 | 178.9512 | 197.3892 | 215.9553 | 234.2372 | 251.7165
|  |  | Net benefits……………………………………………………. |  |  |  | -6.88 | -17.44 | -16.48 | -4.212 | 1.9716 | 5.0687 | 7.0683 | 9.6509 | 12.9553 | 17.0439 | 21.9764 | 27.807 | 34.5811 | 42.3316 | 51.074 | 60.8002 | 71.9552 | 83.9259 | 96.8221 | 110.5537 | 124.9851 | 139.9258 | 155.1194 | 170.2318 | 184.8369 | 198.4023
Scenario 7: Worst Case
|  |  | Total costs…………………............................................ |  |  |  | 10.32 | 26.16 | 24.72 | 15.8548 | 9.2441 | 8.3599 | 10.1363 | 12.1719 | 14.3648 | 16.7265 | 19.2694 | 22.007 | 24.9534 | 28.1241 | 31.5356 | 35.2056 | 38.2998 | 41.8556 | 45.6421 | 49.6742 | 53.9673 | 58.5382 | 63.4046 | 68.5853 | 74.1004 | 79.9713
|  |  | Total benefits………...…………………………………. |  |  |  | 0 | 0 | 0 | 5.2019 | 6.6553 | 8.7071 | 11.312 | 14.5355 | 18.4351 | 23.0686 | 28.4913 | 34.755 | 41.9046 | 49.9754 | 58.9891 | 68.9486 | 79.7632 | 91.4969 | 104.1138 | 117.548 | 131.6972 | 146.4147 | 161.5002 | 176.6907 | 191.6487 | 205.9498
|  |  | Net benefits……………………………………………………. |  |  |  | -10.32 | -26.16 | -24.72 | -10.653 | -2.5888 | 0.3472 | 1.1757 | 2.3635 | 4.0704 | 6.3421 | 9.2219 | 12.748 | 16.9511 | 21.8513 | 27.4534 | 33.743 | 41.4635 | 49.6414 | 58.4716 | 67.8738 | 77.7299 | 87.8764 | 98.0956 | 108.1054 | 117.5482 | 125.9785
Note on F57: Value taken from the bottom end of the range of a study on the economic growth impacts of electricity supply in Sri Lanka by Morimoto & Hope, 2002
Note on I62: Starting value of energy fixed at 14,500 MWh for 2010
Note on L62: Starting value of energy fixed at 181 GWh for 2010
Note on L94: MCC: 181000 is the initial MWh served by exisiting cable
Note on M94: MCC: 181000 is the initial MWh served by exisiting cable
Note on N94: MCC: 181000 is the initial MWh served by exisiting cable
Note on O94: MCC: 181000 is the initial MWh served by exisiting cable
Note on P94: MCC: 181000 is the initial MWh served by exisiting cable
Note on Q94: MCC: 181000 is the initial MWh served by exisiting cable
Note on R94: MCC: 181000 is the initial MWh served by exisiting cable
Note on S94: MCC: 181000 is the initial MWh served by exisiting cable
Note on T94: MCC: 181000 is the initial MWh served by exisiting cable
Note on U94: MCC: 181000 is the initial MWh served by exisiting cable
Note on V94: MCC: 181000 is the initial MWh served by exisiting cable
Note on W94: MCC: 181000 is the initial MWh served by exisiting cable
Note on X94: MCC: 181000 is the initial MWh served by exisiting cable
Note on Y94: MCC: 181000 is the initial MWh served by exisiting cable
Note on Z94: MCC: 181000 is the initial MWh served by exisiting cable
Note on AA94: MCC: 181000 is the initial MWh served by exisiting cable
Note on AB94: MCC: 181000 is the initial MWh served by exisiting cable
Note on AC94: MCC: 181000 is the initial MWh served by exisiting cable
Note on AD94: MCC: 181000 is the initial MWh served by exisiting cable
Note on AE94: MCC: 181000 is the initial MWh served by exisiting cable
Note on AF94: MCC: 181000 is the initial MWh served by exisiting cable
Note on AG94: MCC: 181000 is the initial MWh served by exisiting cable
Note on AH94: MCC: 181000 is the initial MWh served by exisiting cable
Note on B86: Benefit per customer in US$ a year
Note on B87: Benefit per customer in US$ a year
Note on B88: Benefit per customer in US$ a year
Note on B89: Benefit per customer in US$ a year
Note on B90: Benefit per customer in US$ a year
Note on B91: Benefit per customer in US$ a year
Note on M62: Starting value of energy fixed at 181 GWh for 2010
Note on N62: Starting value of energy fixed at 181 GWh for 2010
Note on O62: Starting value of energy fixed at 181 GWh for 2010
Note on P62: Starting value of energy fixed at 181 GWh for 2010
Note on Q62: Starting value of energy fixed at 181 GWh for 2010
Note on R62: Starting value of energy fixed at 181 GWh for 2010
Note on S62: Starting value of energy fixed at 181 GWh for 2010
Note on T62: Starting value of energy fixed at 181 GWh for 2010
Note on U62: Starting value of energy fixed at 181 GWh for 2010
Note on V62: Starting value of energy fixed at 181 GWh for 2010
Note on W62: Starting value of energy fixed at 181 GWh for 2010
Note on X62: Starting value of energy fixed at 181 GWh for 2010
Note on Y62: Starting value of energy fixed at 181 GWh for 2010
Note on Z62: Starting value of energy fixed at 181 GWh for 2010
Note on AA62: Starting value of energy fixed at 181 GWh for 2010
Note on AB62: Starting value of energy fixed at 181 GWh for 2010
Note on AC62: Starting value of energy fixed at 181 GWh for 2010
Note on AD62: Starting value of energy fixed at 181 GWh for 2010
Note on AE62: Starting value of energy fixed at 181 GWh for 2010
Note on AF62: Starting value of energy fixed at 181 GWh for 2010
Note on AG62: Starting value of energy fixed at 181 GWh for 2010
Note on AH62: Starting value of energy fixed at 181 GWh for 2010
Note on E59: MCC: Source: NBS Statistical Abstract, 2002, GOT. http://www.nbs.go.tz/abstract2002/pdf/population.pdf

## Planting
PLANTING (used to calculate costs and benefits of HFO generation option)
Note | 1 |  |  | Name……….... | 1980cable1 | 2014cable2 | 2020cable3 | 2009diesel | 2011diesel | 2016diesel | 2028diesel | 2029diesel | 2031diesel | 2029diesel | 2031diesel | 2010wind | 2030wind |  | Value of energy displaced by wind
| 2 | [14 empty] | 15 | 30 |  |  |  | Shares of plant displaced | CO2 em. factor: tCO2/MWh | Variable gencost: US$/kWh
| 3 |  |  | Capacity MW………………. | 45 | 45 | 100 | 14 | 28 | 28 | 28 | 14 | 56 | 0 | 0 | 0 | 0
| 4 |  |  | Year…………………. | 1980 | 2014 | 2020 | 2009 | 2011 | 2016 | 2028 | 2029 | 2031 | 2029 | 2031 | 2010 | 2030 |  | Gas - OCGT |  | 0.2 | 0.61212 | 0.02975
| 5 |  |  | Type……………………… | cable1 | cable2 | cable3 | diesel | diesel | diesel | diesel | diesel | diesel | diesel | diesel | wind | wind |  | Gas - CCGT |  | 0 | 0.505 | 0.0225
| 6 |  |  | Cost $m………………. | 22.5 | 0 | 48.3 | 21 | 42 | 42 | 42 | 21 | 84 | 0 | 0 | 0 | 0 |  | Coal |  | 0.05 | 1.0029 | 0.035 | [9 empty] | Need to set MW values in P3 and Q3
| 7 |  |  | Life | 34 | 6 | 40 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 |  | Oil (av HFO & diesel) |  | 0.75 | 0.8625 | 0.15974
1
[19 empty] | Weighted displacement |  |  | 0.81945 | 0.1275
[19 empty] | Carbon price: US$/t CO2 |  |  | 15
[19 empty] | Carbon cost: US$/kWh |  |  | 0.012292
| Year |  |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033
[5 empty] | 0.068522 | 0.066786 | 0.057295 | 0.056167 | 0.093087 | 0.091383 | 0.089852 | 0.070139 | 0.069232 | 0.068395 | 0.067621 | 0.066904 | 0.06624 | 0.065624 | 0.065051 | 0.064518 | 0.064021 | 0.052883 | 0.052528 | 0.052194 | 0.051879 | 0.051581 | 0.051301 | 0.051036 | 0.050786 | 0.050549 | 0.050326
| Demand (MW) |  |  | 42.7309 | 45.6589 | 48.7082 | 50.5793 | 53.4202 | 58.393 | 63.7291 | 69.4553 | 71.7638 | 76.7322 | 81.9803 | 87.5238 | 93.3796 | 99.5651 | 106.0989 | 113.0007 | 120.2913 | 127.9925 | 130.269 | 137.1118 | 144.2682 | 151.7526 | 159.5802 | 167.7668 | 176.3289 | 185.284 | 194.65 | 204.4459
| Energy (GWh) |  |  | 205.8773 | 219.9845 | 234.6763 | 248.1219 | 262.0582 | 286.4525 | 312.6293 | 340.7197 | 364.6175 | 389.8608 | 416.5253 | 444.6911 | 474.4429 | 505.8701 | 539.0672 | 574.134 | 611.1758 | 650.3042 | 684.6941 | 720.6597 | 758.2736 | 797.6117 | 838.7536 | 881.7823 | 926.7849 | 973.8525 | 1023.0802 | 1074.5678
|  | 1980cable1 |  | 2006: 45; 2007: 45; 2008: 45; 2009: 45; 2010: 45; 2011: 45; 2012: 45; 2013: 45
|  | 2014cable2 |  | 2014: 45; 2015: 45; 2016: 45; 2017: 45; 2018: 45; 2019: 45
|  | 2020cable3 |  | 2021: 100; 2022: 100; 2023: 100; 2024: 100; 2025: 100; 2026: 100; 2027: 100; 2028: 100; 2029: 100; 2030: 100; 2031: 100; 2032: 100; 2033: 100
|  | 2009diesel |  |  |  |  | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14
|  | 2011diesel | [6 empty] | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28
|  | 2016diesel | [11 empty] | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28
|  | 2028diesel |  | 2028: 28; 2029: 28; 2030: 28; 2031: 28; 2032: 28; 2033: 28
|  | 2029diesel |  | 2029: 14; 2030: 14; 2031: 14; 2032: 14; 2033: 14
|  | 2031diesel |  | 2031: 56; 2032: 56; 2033: 56
|  | 2029diesel |  | 2029: 0; 2030: 0; 2031: 0; 2032: 0; 2033: 0
|  | 2031diesel |  | 2031: 0; 2032: 0; 2033: 0
|  | 2010wind | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2030wind |  | 2030: 0; 2031: 0; 2032: 0; 2033: 0
| Total MW by resource | cable1 |  | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | cable2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 45 | 45 | 45 | 45 | 45 | 45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | cable3 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
|  | wind |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | diesel |  | 0 | 0 | 0 | 14 | 14 | 42 | 42 | 42 | 42 | 42 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 98 | 98 | 98 | 126 | 126 | 126
| System (exc. wind) |  |  | 45 | 45 | 45 | 59 | 59 | 87 | 87 | 87 | 87 | 87 | 115 | 115 | 115 | 115 | 170 | 170 | 170 | 170 | 170 | 170 | 170 | 170 | 198 | 198 | 198 | 226 | 226 | 226
| Margin MW |  |  | 2.2691 | -0.65887 | -3.7082 | 8.4207 | 5.5798 | 28.607 | 23.2709 | 17.5447 | 15.2362 | 10.2678 | 33.0197 | 27.4762 | 21.6204 | 15.4349 | 63.9011 | 56.9993 | 49.7087 | 42.0075 | 39.731 | 32.8882 | 25.7318 | 18.2474 | 38.4198 | 30.2332 | 21.6711 | 40.716 | 31.35 | 21.5541
| Total Energy by resource GWh | cable1 | 56% | 220.752 | 220.752 | 220.752 | 220.752 | 220.752 | 220.752 | 220.752 | 220.752 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | cable2 | 80% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 315.36 | 315.36 | 315.36 | 315.36 | 315.36 | 315.36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | cable3 | 61% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 534.36 | 534.36 | 534.36 | 534.36 | 534.36 | 534.36 | 534.36 | 534.36 | 534.36 | 534.36 | 534.36 | 534.36 | 534.36 | 534.36
|  | wind | 34% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | diesel | 0% | #N/A | #N/A | #N/A | 27.3699 | 41.3062 | 65.7005 | 91.8773 | 119.9677 | 49.2575 | 74.5008 | 101.1653 | 129.3311 | 159.0829 | 190.5101 | 4.7072 | 39.774 | 76.8158 | 115.9442 | 150.3341 | 186.2997 | 223.9136 | 263.2517 | 304.3936 | 347.4223 | 392.4249 | 439.4925 | 488.7202 | 540.2078
|  | System |  | #N/A | #N/A | #N/A | 248.1219 | 262.0582 | 286.4525 | 312.6293 | 340.7197 | 364.6175 | 389.8608 | 416.5253 | 444.6911 | 474.4429 | 505.8701 | 539.0672 | 574.134 | 611.1758 | 650.3042 | 684.6941 | 720.6597 | 758.2736 | 797.6117 | 838.7536 | 881.7823 | 926.7849 | 973.8525 | 1023.0802 | 1074.5678
| Capex by resource $m | cable1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | cable2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | cable3 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 48.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31.395
|  | wind |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | diesel |  | 0 | 0 | 21 | 0 | 42 | 0 | 0 | 0 | 0 | 42 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 42 | 21 | 0 | 84 | 0 | 0 | 0 | 120.75
|  | Total |  | 0 | 0 | 21 | 0 | 42 | 0 | 0 | 0 | 0 | 42 | 0 | 0 | 0 | 48.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 42 | 21 | 0 | 84 | 0 | 0 | 0 | 152.145
| Opex by resource $m | cable1 |  | 1.755 | 1.755 | 1.755 | 1.755 | 1.755 | 1.755 | 1.755 | 1.755 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | cable2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.755 | 1.755 | 1.755 | 1.755 | 1.755 | 1.755 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | cable3 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.9 | 3.9 | 3.9 | 3.9 | 3.9 | 3.9 | 3.9 | 3.9 | 3.9 | 3.9 | 3.9 | 3.9 | 3.9 | 3.9
|  | wind |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | diesel |  | 0 | 0 | 0 | 1.1442 | 1.2278 | 3.3342 | 3.4913 | 3.6598 | 3.2355 | 3.387 | 5.507 | 5.676 | 5.8545 | 6.0431 | 4.9282 | 5.1386 | 5.3609 | 5.5957 | 5.802 | 6.0178 | 6.2435 | 6.4795 | 8.6864 | 8.9445 | 9.2145 | 11.457 | 11.7523 | 12.0612
|  | Total |  | 1.755 | 1.755 | 1.755 | 2.8992 | 2.9828 | 5.0892 | 5.2463 | 5.4148 | 4.9905 | 5.142 | 7.262 | 7.431 | 7.6095 | 7.7981 | 8.8282 | 9.0386 | 9.2609 | 9.4957 | 9.702 | 9.9178 | 10.1435 | 10.3795 | 12.5864 | 12.8445 | 13.1145 | 15.357 | 15.6523 | 15.9612
| Fuel by resource $m | cable1 |  | 6.6226 | 6.6226 | 6.6226 | 6.6226 | 6.6226 | 6.6226 | 6.6226 | 6.6226 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | cable2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.4608 | 9.4608 | 9.4608 | 9.4608 | 9.4608 | 9.4608 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | cable3 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21.3744 | 21.3744 | 21.3744 | 21.3744 | 21.3744 | 21.3744 | 21.3744 | 21.3744 | 21.3744 | 21.3744 | 21.3744 | 21.3744 | 21.3744 | 21.3744
|  | wind |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | diesel |  | 0 | 0 | 0 | 2.7185 | 4.1026 | 6.5255 | 9.1255 | 11.9155 | 4.8924 | 7.3996 | 10.048 | 12.8455 | 15.8005 | 18.9219 | 0.46753 | 3.9505 | 7.6295 | 11.5159 | 14.9316 | 18.5038 | 22.2397 | 26.1468 | 30.2331 | 34.5069 | 38.9766 | 43.6515 | 48.5409 | 53.6548
|  | Total |  | 6.6226 | 6.6226 | 6.6226 | 9.341 | 10.7252 | 13.1481 | 15.748 | 18.538 | 14.3532 | 16.8604 | 19.5088 | 22.3063 | 25.2613 | 28.3827 | 21.8419 | 25.3249 | 29.0039 | 32.8903 | 36.306 | 39.8782 | 43.6141 | 47.5212 | 51.6075 | 55.8813 | 60.351 | 65.0259 | 69.9153 | 75.0292
| EIRR calculation for WIND | Energy price: US$/kWh |  | 0.1275 | 0.1275 | 0.1275 | 0.1275 | 0.1275 | 0.1275 | 0.1275 | 0.1275 | 0.1275 | 0.1275 | 0.1275 | 0.1275 | 0.1275 | 0.1275 | 0.1275 | 0.1275 | 0.1275 | 0.1275 | 0.1275 | 0.1275 | 0.1275 | 0.1275 | 0.1275 | 0.1275 | 0.1275 | 0.1275 | 0.1275 | 0.1275
|  | Carbon price: US$/kWh |  | 0.012292 | 0.012292 | 0.012292 | 0.012292 | 0.012292 | 0.012292 | 0.012292 | 0.012292 | 0.012292 | 0.012292 | 0.012292 | 0.012292 | 0.012292 | 0.012292 | 0.012292 | 0.012292 | 0.012292 | 0.012292 | 0.012292 | 0.012292 | 0.012292 | 0.012292 | 0.012292 | 0.012292 | 0.012292 | 0.012292 | 0.012292 | 0.012292
|  | Output: GWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Revenues: US$m |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Costs: US$m |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Net revenues: US$m |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Note on A4: This sheet is used to generate the planting schedule of capacity. It should be read in conjunction with the chart in the previous sheet.
Note on B106: Demand projections taken from NORPLAN study, modified by MML lead engineer
Note on BT106: Factors calculated from IPCC emission factor divided by generation efficiency
Note on BU106: Values taken from variable cost element in LRMC calculations
Note on BT111: Weighted average of column above
Note on BU111: Weighted average of column above
Note on BT112: Based on forward price for CERs as of May 07
Note on AK134: Residual value of capex
Note on AL134: Residual value of capex
Note on AM134: Residual value of capex
Note on AN134: Residual value of capex
Note on AO134: Residual value of capex
Note on AP134: Residual value of capex
Note on AQ134: Residual value of capex
Note on AN106: Capex is assumed to occur a year ahead of plant operation
Note on AO106: Capex is assumed to occur a year ahead of plant operation
Note on E21: Demand projections taken from NORPLAN study, modified by MML lead engineer
Note on B24: Demand projections taken from NORPLAN study, modified by MML lead engineer

## Social and Environmental
Indirect (exogenous) benefits (US$)
Beneficiaries (Number of households connected)
Benefits per household:
Education (five years after project completion) 26US$ per month per HH |  | 26
Productivity (increase in income) 21 US$ per month per HH |  | 21
Communic and entertainment 5US$ per month per HH |  | 5
Human health (three years after project completion) 75 US$ per month per HH |  | 75
Subtotal benefits per household: |  | 127
Annual Indirect benefits for all beneficiaries (before environment): |  | 1524
Environment benefits (per year in a locality)
Total Indirect benefits before scaling
Scaling factor (= a ratio of per capita GDP for rural Tanzania to per capita income in rural Brazil 61/110) = 0.07 | 0.055455
USD/ month
Benefits per household: | Brazil | Tanzania | USD/yr
Education (five years after project completion) | 26 | 1.9408 | 23.2896
Communications and entertainment | 5 | 0.37323 | 4.4788
Human health (three years after project completion) | 75 | 5.5985 | 67.1815
Scalar based on ratio of per capita GDPs from Human Development Report, 2005 |  | 0.074646 | 94.9498
Income generated from electricity supply SLKR/MWh |  | 88000 | 137000
R Morimoto and C Hope, impact of electricity supply on economic growth in Sri Lanka | SLKR/US$ | 92 | 92
2002 - University of Cambridge | US$/MWh | 956.5217 | 1489.1304
| US$m | 213000000
| MWh | 684000
| US$/MWh | 311.4035
| US$/kWh | 0.3114

## Alt economic analysis
ECONOMIC ANALYSIS (based on import versus on-island generation)
ERR Calculations
| Baseline: |  | 33.79%
| Benefits -10%: |  | 20.98%
| Costs +20%: |  | 9.798%
| Delay 1 year: |  | 12.58%
| Benefits +10%: |  | 44.03%
| Costs -20%: |  | 59.29%
| Best: |  | 71.66%
| Worst: |  | -15.5%
Costs and Benefits
(Monetary values in constant 2007 $)
| Year |  |  | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033
|  |  |  | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Costs
Demand Forecast
|  |  | Energy demand (GWh)…………………………. |  | 205.8773 | 219.9845 | 234.6763 | 248.1219 | 262.0582 | 286.4525 | 312.6293 | 340.7197 | 364.6175 | 389.8608 | 416.5253 | 444.6911 | 474.4429 | 505.8701 | 539.0672 | 574.134 | 611.1758 | 650.3042 | 684.6941 | 720.6597 | 758.2736 | 797.6117 | 838.7536 | 881.7823 | 926.7849 | 973.8525 | 1023.0802 | 1074.5678
|  |  | Peak load (MW)…………………………………. |  | 42.7309 | 45.6589 | 48.7082 | 50.5793 | 53.4202 | 58.393 | 63.7291 | 69.4553 | 71.7638 | 76.7322 | 81.9803 | 87.5238 | 93.3796 | 99.5651 | 106.0989 | 113.0007 | 120.2913 | 127.9925 | 130.269 | 137.1118 | 144.2682 | 151.7526 | 159.5802 | 167.7668 | 176.3289 | 185.284 | 194.65 | 204.4459
HFO based supply
|  |  | Energy generated (GWh)……………………………… |  | 209.9948 | 224.3841 | 239.3698 | 253.0844 | 267.2994 | 292.1815 | 318.8819 | 347.5341 | 371.9099 | 397.658 | 424.8558 | 453.5849 | 483.9318 | 515.9875 | 549.8486 | 585.6167 | 623.3993 | 663.3102 | 698.388 | 735.0729 | 773.4391 | 813.564 | 855.5287 | 899.418 | 945.3206 | 993.3295 | 1043.5418 | 1096.0591
|  |  | Peak load (MW)………………………………… |  | 43.5855 | 46.5721 | 49.6824 | 51.5909 | 54.4886 | 59.5608 | 65.0036 | 70.8444 | 73.1991 | 78.2668 | 83.6199 | 89.2743 | 95.2472 | 101.5564 | 108.2209 | 115.2607 | 122.6971 | 130.5523 | 132.8744 | 139.8541 | 147.1536 | 154.7877 | 162.7718 | 171.1221 | 179.8555 | 188.9896 | 198.543 | 208.5348
Submarine cable supply
|  |  | Energy (GWh)…………………………………… |  | 209.9948 | 224.3841 | 239.3698 | 253.0844 | 267.2994 | 292.1815 | 318.8819 | 347.5341 | 371.9099 | 397.658 | 424.8558 | 453.5849 | 483.9318 | 515.9875 | 549.8486 | 585.6167 | 623.3993 | 663.3102 | 698.388 | 735.0729 | 773.4391 | 813.564 | 855.5287 | 899.418 | 945.3206 | 993.3295 | 1043.5418 | 1096.0591
|  |  | Capacity (MVA)…………………………………….. |  | 43.5855 | 46.5721 | 49.6824 | 51.5909 | 54.4886 | 59.5608 | 65.0036 | 70.8444 | 73.1991 | 78.2668 | 83.6199 | 89.2743 | 95.2472 | 101.5564 | 108.2209 | 115.2607 | 122.6971 | 130.5523 | 132.8744 | 139.8541 | 147.1536 | 154.7877 | 162.7718 | 171.1221 | 179.8555 | 188.9896 | 198.543 | 208.5348
Tanesco tariff
|  |  | Real change (%)…………………………………. |  | 0 | 10 | 10 | 10 | 10 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
|  |  | Energy Tsh/kWh……………………………………… |  | 25.5 | 28.05 | 30.855 | 33.9405 | 37.3346 | 38.0812 | 38.8429 | 39.6197 | 40.4121 | 41.2204 | 42.0448 | 42.8857 | 43.7434 | 44.6182 | 45.5106 | 46.4208 | 47.3492 | 48.2962 | 49.2621 | 50.2474 | 51.2523 | 52.2774 | 53.3229 | 54.3894 | 55.4772 | 56.5867 | 57.7185 | 58.8728
|  |  | Capacity Tsh/kVA………………………………. |  | 3685.5 | 4054.05 | 4459.455 | 4905.4005 | 5395.9406 | 5503.8594 | 5613.9365 | 5726.2153 | 5840.7396 | 5957.5544 | 6076.7055 | 6198.2396 | 6322.2044 | 6448.6485 | 6577.6214 | 6709.1738 | 6843.3573 | 6980.2245 | 7119.829 | 7262.2255 | 7407.4701 | 7555.6195 | 7706.7318 | 7860.8665 | 8018.0838 | 8178.4455 | 8342.0144 | 8508.8547
Submarine cable supply
|  |  | Energy purchased (GWh)………………………… | [6 empty] | 286.3379 | 312.5042 | 340.5834 | 364.4717 | 389.7048 | 416.3587 | 444.5132 | 474.2531 | 505.6678 | 538.8516 | 573.9043 | 610.9314 | 650.044 | 684.4202 | 720.3714 | 757.9703 | 797.2927 | 838.4181 | 881.4296 | 926.4142 | 973.4629 | 984.3332 | 984.3332
|  |  | Capacity (MVA)…………………………………………… | [6 empty] | 58.3696 | 63.7036 | 69.4275 | 71.7351 | 76.7015 | 81.9475 | 87.4888 | 93.3422 | 99.5252 | 106.0564 | 112.9555 | 120.2431 | 127.9413 | 130.2169 | 137.057 | 144.2105 | 151.6919 | 159.5164 | 167.6997 | 176.2584 | 185.2098 | 191.1 | 191.1
|  |  | Investment (USD m)………………………… | 2008 0: 7.4504; 2009 1: 20.0451; 2010 2: 20.0451; 2011 3: 9.106; 2012 4: 2.5426; 2019 11: 48.3; 2033 25: 0
Energy not supplied (USD m)……………..
|  |  | O&M (USD m)…………………………….. | [6 empty] | 0.88695 | 0.88695 | 0.88695 | 0.88695 | 0.88695 | 0.88695 | 0.88695 | 0.88695 | 0.88695 | 0.88695 | 0.88695 | 0.88695 | 0.88695 | 0.88695 | 0.88695 | 0.88695 | 0.88695 | 0.88695 | 0.88695 | 0.88695 | 0.88695 | 0.88695 | 0.88695
|  |  | Expenditure on power imports (USD m)……………. | [6 empty] | 10.7601 | 11.9783 | 13.3157 | 14.4241 | 15.7312 | 17.1432 | 18.6685 | 20.3159 | 22.0949 | 24.0157 | 26.0895 | 28.3282 | 30.7446 | 32.7818 | 35.1939 | 37.7714 | 40.5255 | 43.4682 | 46.6121 | 49.9708 | 53.5588 | 55.4755 | 56.585
|  |  | Unserved energy: (USD m)……………………… | [6 empty] | 2.9218 | 3.1888 | 3.4753 | 3.7191 | 3.9766 | 4.2486 | 4.5358 | 4.8393 | 5.1599 | 5.4985 | 5.8562 | 6.234 | 6.6331 | 6.9839 | 7.3507 | 7.7344 | 8.1356 | 8.5553 | 8.9942 | 9.4532 | 9.9333 | 10.4354 | 10.9606
|  |  | Total costs (USD m)…………………………………. |  |  |  | 7.4504 | 20.0451 | 20.0451 | 23.6749 | 18.5967 | 17.678 | 19.0302 | 20.5947 | 22.2788 | 24.0913 | 26.0422 | 76.4417 | 30.4011 | 32.8326 | 35.4491 | 38.2647 | 40.6527 | 43.4316 | 46.3927 | 49.5481 | 52.9104 | 56.4933 | 60.311 | 64.3791 | 66.7978 | 68.4325
Benefits
HFO based supply
|  |  | Energy generated (GWh)………………………… | [6 empty] | 292.1815 | 318.8819 | 347.5341 | 371.9099 | 397.658 | 424.8558 | 453.5849 | 483.9318 | 515.9875 | 549.8486 | 585.6167 | 623.3993 | 663.3102 | 698.388 | 735.0729 | 773.4391 | 813.564 | 855.5287 | 899.418 | 945.3206 | 993.3295 | 1024.92 | 1024.92
|  |  | Investment (USD m)………………………………….. |  |  |  |  | 0 | 42 | 0 | 0 | 0 | 0 | 42 | 0 | 0 | 0 | 48.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 42 | 21 | 0 | 84 | 0 | 0 | 0
|  |  | Fuel costs (USD m)……………………………….. | [6 empty] | 13.1481 | 15.748 | 18.538 | 14.3532 | 16.8604 | 19.5088 | 22.3063 | 25.2613 | 28.3827 | 21.8419 | 25.3249 | 29.0039 | 32.8903 | 36.306 | 39.8782 | 43.6141 | 47.5212 | 51.6075 | 55.8813 | 60.351 | 65.0259 | 69.9153 | 75.0292
|  |  | Variable O&M costs (USD m)…………………….. |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Fixed O&M costs (USD m)…………………….. | [5 empty] | 2.9828 | 5.0892 | 5.2463 | 5.4148 | 4.9905 | 5.142 | 7.262 | 7.431 | 7.6095 | 7.7981 | 8.8282 | 9.0386 | 9.2609 | 9.4957 | 9.702 | 9.9178 | 10.1435 | 10.3795 | 12.5864 | 12.8445 | 13.1145 | 15.357 | 15.6523 | 15.9612
|  |  | Total benefits (costs of HFO gen.) (USD m)…………………………….… |  |  |  | 0 | 0 | 44.9828 | 18.2373 | 20.9943 | 23.9529 | 19.3437 | 64.0024 | 26.7708 | 29.7373 | 41.8708 | 84.4808 | 30.6702 | 34.3635 | 38.2648 | 42.3859 | 46.008 | 49.7959 | 53.7575 | 99.9007 | 85.1939 | 68.7258 | 157.4656 | 80.3828 | 85.5676 | 90.9904
|  |  | Net benefits (USD m)…………………………….… |  |  |  | -7.4504 | -20.0451 | 24.9378 | -5.4376 | 2.3976 | 6.2749 | 0.31357 | 43.4077 | 4.492 | 5.6459 | 15.8286 | 8.0391 | 0.26904 | 1.5309 | 2.8157 | 4.1212 | 5.3553 | 6.3644 | 7.3648 | 50.3526 | 32.2835 | 12.2325 | 97.1546 | 16.0038 | 18.7698 | 22.5579
|  |  |  | gas adjustment |  |  | Extra capex | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | scal on fuel cost | 0.25263 | 0.25263 | 0.25263 | 0.25263 | 0.25263 | 0.25263 | 0.25263 | 0.25263 | 0.25263 | 0.25263 | 0.25263 | 0.25263 | 0.25263 | 0.25263 | 0.25263 | 0.25263 | 0.25263 | 0.25263 | 0.25263 | 0.25263 | 0.25263 | 0.25263 | 0.25263 | 0.25263 | 0.25263
[7 empty] | scal on var O&M | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[7 empty] | 13.95 | 47.1077 | 18.7408 | 14.519 | 16.0041 | 17.628 | 18.9802 | 20.5448 | 22.2288 | 24.0414 | 25.9922 | 76.3917 | 30.3512 | 32.7827 | 35.3992 | 38.2147 | 40.6027 | 43.3816 | 46.3428 | 49.4982 | 52.8605 | 56.4433 | 60.261 | 64.3291 | 66.7479 | 68.3826
Scenario 1: Benefits -10%
[6 empty] | Total benefits………...…………………………………. | 0 | 0 | 40.4846 | 16.4136 | 18.8949 | 21.5576 | 17.4094 | 57.6022 | 24.0937 | 26.7635 | 37.6837 | 76.0327 | 27.6032 | 30.9271 | 34.4384 | 38.1473 | 41.4072 | 44.8164 | 48.3818 | 89.9107
[6 empty] | Net benefits……………………………………………………. | -7.4504 | -20.0451 | 20.4395 | -7.2614 | 0.29822 | 3.8796 | -1.6208 | 37.0075 | 1.8149 | 2.6722 | 11.6416 | -0.40896 | -2.798 | -1.9055 | -1.0108 | -0.11736 | 0.7545 | 1.3848 | 1.9891 | 40.3625
Scenario 2: Costs +20%
[6 empty] | Total costs…………………............................................ | 8.9405 | 24.0541 | 24.0541 | 28.4099 | 22.316 | 21.2135 | 22.8362 | 24.7136 | 26.7345 | 28.9096 | 31.2506 | 91.73 | 36.4814 | 39.3991 | 42.539 | 45.9176 | 48.7832 | 52.1179 | 55.6713 | 59.4577
[6 empty] | Total benefits………...…………………………………. | 0 | 0 | 44.9828 | 18.2373 | 20.9943 | 23.9529 | 19.3437 | 64.0024 | 26.7708 | 29.7373 | 41.8708 | 84.4808 | 30.6702 | 34.3635 | 38.2648 | 42.3859 | 46.008 | 49.7959 | 53.7575 | 99.9007
[6 empty] | Net benefits……………………………………………………. | -8.9405 | -24.0541 | 20.9288 | -10.1726 | -1.3217 | 2.7393 | -3.4925 | 39.2888 | 0.036274 | 0.82767 | 10.6202 | -7.2492 | -5.8112 | -5.0356 | -4.2741 | -3.5317 | -2.7752 | -2.3219 | -1.9137 | 40.443
Scenario 3: Delay 1 year
[6 empty] | Total benefits………...…………………………………. | 0 | 0 | 0 | 44.9828 | 18.2373 | 20.9943 | 23.9529 | 19.3437 | 64.0024 | 26.7708 | 29.7373 | 41.8708 | 84.4808 | 30.6702 | 34.3635 | 38.2648 | 42.3859 | 46.008 | 49.7959 | 53.7575
[6 empty] | Net benefits……………………………………………………. | -7.4504 | -20.0451 | -20.0451 | 21.3079 | -0.35936 | 3.3164 | 4.9227 | -1.251 | 41.7237 | 2.6794 | 3.6951 | -34.5709 | 54.0797 | -2.1624 | -1.0856 | 0.00014041 | 1.7333 | 2.5764 | 3.4032 | 4.2094
Scenario 4: Benefits +10%
[6 empty] | Total benefits………...…………………………………. | 0 | 0 | 49.4811 | 20.061 | 23.0937 | 26.3481 | 21.2781 | 70.4027 | 29.4479 | 32.711 | 46.0579 | 92.9289 | 33.7372 | 37.7998 | 42.0913 | 46.6245 | 50.6088 | 54.7755 | 59.1333 | 109.8908
[6 empty] | Net benefits……………………………………………………. | -7.4504 | -20.0451 | 29.4361 | -3.6139 | 4.4971 | 8.6702 | 2.2479 | 49.8079 | 7.1691 | 8.6197 | 20.0157 | 16.4872 | 3.3361 | 4.9672 | 6.6422 | 8.3598 | 9.9561 | 11.344 | 12.7406 | 60.3427
Scenario 5: Costs -20%
[6 empty] | Total costs…………………............................................ | 5.9603 | 16.0361 | 16.0361 | 18.9399 | 14.8773 | 14.1424 | 15.2241 | 16.4758 | 17.823 | 19.2731 | 20.8337 | 61.1533 | 24.3209 | 26.2661 | 28.3593 | 30.6118 | 32.5221 | 34.7452 | 37.1142 | 39.6385
[6 empty] | Total benefits………...…………………………………. | 0 | 0 | 44.9828 | 18.2373 | 20.9943 | 23.9529 | 19.3437 | 64.0024 | 26.7708 | 29.7373 | 41.8708 | 84.4808 | 30.6702 | 34.3635 | 38.2648 | 42.3859 | 46.008 | 49.7959 | 53.7575 | 99.9007
[6 empty] | Net benefits……………………………………………………. | -5.9603 | -16.0361 | 28.9468 | -0.70264 | 6.117 | 9.8105 | 4.1196 | 47.5266 | 8.9478 | 10.4642 | 21.0371 | 23.3275 | 6.3493 | 8.0974 | 9.9055 | 11.7742 | 13.4858 | 15.0507 | 16.6434 | 60.2622
Scenario 6: Best Case
[6 empty] | Total costs…………………............................................ | 5.9603 | 16.0361 | 16.0361 | 18.9399 | 14.8773 | 14.1424 | 15.2241 | 16.4758 | 17.823 | 19.2731 | 20.8337 | 61.1533 | 24.3209 | 26.2661 | 28.3593 | 30.6118 | 32.5221 | 34.7452 | 37.1142 | 39.6385
[6 empty] | Total benefits………...…………………………………. | 0 | 0 | 49.4811 | 20.061 | 23.0937 | 26.3481 | 21.2781 | 70.4027 | 29.4479 | 32.711 | 46.0579 | 92.9289 | 33.7372 | 37.7998 | 42.0913 | 46.6245 | 50.6088 | 54.7755 | 59.1333 | 109.8908
[6 empty] | Net benefits……………………………………………………. | -5.9603 | -16.0361 | 33.4451 | 1.1211 | 8.2164 | 12.2058 | 6.054 | 53.9269 | 11.6249 | 13.4379 | 25.2242 | 31.7755 | 9.4163 | 11.5337 | 13.732 | 16.0128 | 18.0866 | 20.0303 | 22.0191 | 70.2523
Scenario 7: Worst Case
[6 empty] | Total costs…………………............................................ | 8.9405 | 24.0541 | 24.0541 | 28.4099 | 22.316 | 21.2135 | 22.8362 | 24.7136 | 26.7345 | 28.9096 | 31.2506 | 91.73 | 36.4814 | 39.3991 | 42.539 | 45.9176 | 48.7832 | 52.1179 | 55.6713 | 59.4577
[6 empty] | Total benefits………...…………………………………. | 0 | 0 | 40.4846 | 16.4136 | 18.8949 | 21.5576 | 17.4094 | 57.6022 | 24.0937 | 26.7635 | 37.6837 | 76.0327 | 27.6032 | 30.9271 | 34.4384 | 38.1473 | 41.4072 | 44.8164 | 48.3818 | 89.9107
[6 empty] | Net benefits……………………………………………………. | -8.9405 | -24.0541 | 16.4305 | -11.9963 | -3.4211 | 0.34402 | -5.4268 | 32.8885 | -2.6408 | -2.1461 | 6.4331 | -15.6973 | -8.8782 | -8.472 | -8.1006 | -7.7703 | -7.376 | -7.3015 | -7.2895 | 30.4529
Note on J52: energy and MVA charges - 0.8 factor is to adjust for peak to average monthly load
Note on L52: energy and MVA charges - 0.8 factor is to adjust for peak to average monthly load