4910.1

APPENDIX F

USE OF MATERIALS BULLETINS

Appendix F is a partial list of Use of Materials Bulletins

describing products and methods which are not included in the

standard but which have been found to be technically suitable for

use in HUD programs.  For a complete listing of UM Bulletins, See

HUD Handbook 4950.1

507       THERMAL AND MOISTURE PROTECTION

Polystyrene Foam Insulation

Board--------------------------------------No. UM-71a-93

Spray Applied Cellulosic Thermal

Insulation---------------------------------No. UM-80-79

508       DOORS, WINDOWS, GLAZING PANELS

Aluminum Fenestration Products-------------No. UM-39b-93

Plywood, Grademarking----------------------No. UM-40c-90

Wood Flush Doors---------------------------No. UM-52a-75

Acrylic Plastic Sheets for Glazing---------No. UM-58a-75

Wood Fenestration Products-----------------No. UM-59b-93

Polycarbonate Plastic

Sheets for Glazing-----------------------No. UM-67-75

PVC Plastic Fenestration Products----------No. UM-85a-93

Exterior Insulated Steel Door Systems------No. UM-89-93

Solar Water Heater Systems-----------------No. UM-100-93

509       FINISH MATERIALS

Concrete Roofing Tile----------------------No. UM-17e-74

Carpet-------------------------------------No. UM-44d-93

Textured Plywood Panel Siding--------------No. UM-64b-75

Factory-Applied Laminated

Roofing Systems Based

on Chlorosulfonated

Polyethylene (CSPE)----------------------No. UM-62a-72

Controlled Density Cellular

Concrete

Floor Fill--------------------------------No. UM-65-73

Carpet Cushion-----------------------------No. UM-72a-93

F-1

1994

_____________________________________________________________________

4910.1

513       SPECIAL CONSTRUCTION MATERIALS

Power Driven, Mechanically Driven and

Manually Driven Fasteners------------------No. UM-25d-73

Grademarking of Lumber---------------------No. UM-38h-79

Labels of Independent Programs for

Certifying Pressure-Treated Lumber

and Plywood (PLUS 5 SUPPLEMENTS)-----------No. UM-48-67

Particleboard Interior Stair Treads--------No. UM-70a-82

Plastic Bathtubs, Plastic Shower

Stalls and Receptors, and Plastic

Lavatories---------------------------------No. UM-73a-84

Chlorinated Poly (Vinyl Chloride)

CPVC and Polybutylene (PB) Hot and

Cold Water Distribution--------------------No. UM-76-78

Cast Iron Sanitary Drainage System

With Hubless Pipe and Fittings-------------No. UM-77a-80

Polyethylene (PE),

Acrylonitrile-Butadiene-Styrene (ABS),

Poly (Vinyl Chloride) (PVC) and

Polybutylene (PB) Plastic Piping for

Domestic Cold Water Service----------------No. UM-78-78

Acrylonitrile-Butadiene-Styrene

(ABS) and Poly (Vinyl Chloride)

(PVC) Plastic Drain, Waste and Vent

Pipe and Fittings--------------------------No. UM-79a-82

Sealed Insulating Glass--------------------No. UM-82a-93

Solid Fuel Type Room

Heaters and Fireplace Stoves---------------No. UM-84-83

F-2

1994