Protocol for amino allyl labeling

Khan Lab (February, 2005)

RT Reaction:

After TRIzole purification and RNeasy, RNA is re-suspend in H2O. Take 1 l for RNA concentration measurement, and make sure the total amount of RNA for labeling is > 15 g, usually 20 g. For amplified RNA, use 2 g amplified RNA per labeling per slide.

Concentrate RNA to 23.2l with Microcon-30.

Total RNA	Amplified RNA

RNA								23.2l			22.2 l

Anchored primer (1g/l) 					1 l			-

( or Random Hexamer for amplified RNA, 3g/l) 		-			2 l

_____________________________________________________________________________

Total volume 							24.2l 			24.2l

70oC for 5 minutes and cool to 42 oC

RNAse Inhibitor RNAsin					1 l

5X First Strand Buffer					8 l

0.1 M DTT							4l

50X aa-dNTP mix						0.8l

SSII Reverse Transcriptase 					2 l

________________________________________________________________

Total volume 							40 l

42 oC for 30 minutes

Additional 1 l SSII RT enzyme

42 oC for 30 minutes and cool to R/T

Labeling Reaction:

1.  To each labeling reaction, add 5 l of 500mM EDTA (pH8.0), mix well before adding NaOH

2.  Add 10 l 1 M NaOH, mix well

3.  65 oC for 20 minutes to hydrolyze RNA, then cool to R/T

- Add 10 l 1 M HCl to neutralize NaOH

- Probe purification with Qiagen PCR spin column protocol.

- Add 350 l PB buffer to RT reaction and transfer to QIAquick column.

- Spin at maximum speed for 1 minute.

- Wash with 750 l phosphate wash buffer (5 mM KPO4, pH 8.0 + 80% EtOH – use this home-made buffer to avoid Tris).

- Spin at maximum speed for 1 minute.

- Repeat wash steps c and d.

- Empty collection tube and spin at maximum speed for 1 minute.

- Transfer column to a fresh tube, Elute with 30 l elution buffer (4 mM KPO4, pH 8.5) with 1 minute incubation followed by spin at maximum speed for 1 minute.

- Repeat elution step g.

- Speedvac dry (~40 minutes)

- Cy Dye coupling

  - Re-suspend the cDNA in 4.5 l 0.1 M carbonate buffer, pH 9.0 (freshly made, every two weeks, store at room temperature).

  - Add 4.5l NHS-Cy dyes (re-suspended in DMSO. AVOID ANY MOISTURE!!)

  - Incubate the reactions in dark for 1 hour in room temperature.

Purification

  - Add 35 l 100 mM NaOAc pH5.2 to the reaction.

  - Add 250 l PB buffer and follow QIAquick PCR purification protocol.

  - Elute 2X in 30l H2O.

At this step, 1 l of sample can be taken for dye incorporation analysis using NanoDrop Cy3/Cy5 program.

- Mix the probes of Cy3 and Cy5 in equal amount. Speedvac dry (~40 minutes).

Pre-hybridization:

  - Prepare pre-hybridization buffer (5xSSC, 0.1% SDS and 1% bovine serum albumin, BSA Sigma Cat# A-9418)

  - Place slides to be analyzed into a staining dish, fill with pre-hybridization buffer, and incubate at 42 oC for 45 minutes

  - Wash the slides in a Wheaton slide rack at room temperature with DIH2O with agitation for 2 min.

  - Dip the slides in room temperature isopropanol and dry by centrifugation at 700 rpm for 5 min. Inspect slides to make sure there is no protein marks on slides. If there is, repeat step 3 and 4.

Slides should be used immediately following pre-hybridization, at least within one hour.

Hybridization:

- Re-disolve the combined probes in 27 l 1X hybridization solution (240l  H2O, 250l  20XSSC, 10l  10%SDS, 500l Formamide = 1ml) and combine with COT1-DNA and Poly(A)-DNA to block nonspecific hybridization

Cy5/Cy3 labeled probes 			27 l

Poly dA (8mg/ml)				1.3 l

Yeast tRNA (4mg/ml)				1.3 l

CoT-1 DNA (10mg/ml, concentrated)	1.3 l_____________

Total						30.9 l

2. Denature at 95 oC for 2 minutes

3. Apply 14l 5X SSC onto each modified hybridization chamber to prevent drying.

4. Apply probes to the cover slide that is big enough for the printed area (e.g. 60mm cover slip for 22K array). Then put the pre-hybridized microarray slide on the top of the cover slip, invert, and hybridize in a humidified chamber at 42 oC for 16-24 hours.

Wash:

Place slide into a staining dish with Wash #1 at R/T until cover slip falls off.

Wash #1:		at R/T in 0.2% SDS + 1 X SSC until cover slip falls off

Wash #1:		4 minutes at 42 oC in 0.2% SDS + 1 X SSC

Wash #2:		4 minutes at R/T in 0.2% SDS + 0.1 X SSC

Wash #3:		4 minutes at R/T in 0.06 X SSC

Spin immediately (700 rpm for 5 minutes at R/T)

Appendix:

Master mix for labeling reaction (4):

5X first strand buffer			8 l  X 4.5 =  36 l

0.1 M DTT				4 l  X 4.5 =  18 l

50X aa-dNTP mix			0.8 l  X 4.5 =  3.6 l

RNAse inhibitor RNAsin		1 l  X 4.5 = 4.5 l

Superscript II RTase			2 l  X 4.5 =  9 l

Total:					15.8 l/reaction

Calculation for each 1000ml washing buffer:

0.2% SDS:  	20 ml 10%SDS in 1000 ml.

1X SSC:	50 ml 20XSSC in 1000 ml.

0.1XSSC:	5 ml 20XSSC in 1000 ml.

0.06XSSC:	3 ml 20XSSC in 1000 ml.

Solutions:

100 mM aa-dUTP (Sigma, cat # A0410)

Dissolve 10 mg in 191 ul 0.1 M KPO4 buffer, pH 7.5.  Quantitate this stock solution by diluting an aliquot 1:5000 in the same buffer and measuring A289.  Stock concentration in mM = OD289nm x 704.

# Make 10 ml 0.1 M KPO4 buffer, pH7.5

1. Prepare 2 solutions: 1 M KH2PO4 and 1M K2HPO4.

2. Mix:

0.802 ml 1M K2HPO4

0.198 ml 1 M KH2PO4

3. Bring to 10 ml with H2O. The pH of this KPO4 buffer should be at 7.5.

# 50X aa-dNTP mix

Nucleotide/dye ratio with the ratio of aa-dUTP to dTTP.  We use a 2:3 ratio.  Prep are a 50X stock:

| Start Concentration | Volume | Final Concentration |
| --- | --- | --- |
| 100 mM dATP | 25 µl | 25 mM dATP |
| 100 mM dCTP | 25 µl | 25 mM dCTP |
| 100 mM dGTP | 25 µl | 25 mM dGTP |
| 100 mM dTTP | 15 µl | 15 mM dTTP |
| 100 mM dUTP | 10 µl | 10 mM aa-dUTP |

# Phosphate wash buffer

1. Prepare 2 solutions: 1 M KH2PO4 and 1M K2HPO4.

2. Make 1 M KPO4 (the pH should be 8.5-8.7) mix:

9.5 ml 1M K2HPO4

0.5 ml 1 M KH2PO4

3. Make 100 ml phosphate washing buffer, Mix in the following order:

15.25 ml H2O

84.25 ml 95% EtOH

0.5 ml 1 M KPO4, pH 8.5

(This solution will be slightly cloudy)

# Phosphate elution buffer

Dilute 1 M KPO4 pH 8.5 to 4 mM for Phosphate elution buffer:

1 M KPO4 pH 8.5 		0.4  ml

H2O				99.6ml

_______________________________________

Total			    	100ml

# Carbonate buffer 0.1 M Na2CO3, pH 9.0:

Na2CO3		0.27g

H2O			20ml

Adjust pH to 9.0 with 6 N HCl

Total with H2O	25 ml

# NHS-Cy dyes

NHS-Cy3: AmershamPharmacia Cat# PA23001

NHS-Cy5: AmershamPharmacia  Cat#PA25001

- Resuspend one tube in 73 ul DMSO.

- Use immediately, or aliquot  4.5 ul into 0.5 ml tubes and store at -80°C.  Avoid moistures!!!