Apollo XRS Data

Data were taken from orbital X-ray spectrometers during sequential orbits of Apollo service module during 15 and 16 missions.

For XRS data, Mg, Al, and Si intensities were derived from counts in channels 1 through 8 from 3 differentially filtered detectors with filter factors, or efficiencies for Mg, Al, and Si, were known from pre-flight calibrations. Intensities and errorbars were calculated using matrix inversion. From these data, Mg/Si and Al/Si intensity ratios were calculated, and those were calibrated to Mg/Si and Al/Si abundance ratios from landing site averages. Because Si abundance is nearly constant, intensity ratios, and abundance ratios, represent Mg and Al abundance to first approximation. Papers describing this technique are included in the archive, along with the data.  Ancillary data include GET, Locational data (longitude, latitude), spacecraft/instrument pointing data (yaw, pitch, and roll), and altitude, included for each integration period, along with raw counts in each of the channels. All ancillary data values are assumed to represent the mid-point in 8 second integration periods.

Completeness

Modes: 16 (in table) indicates normal data, not in calibration mode, and not 14 as described in label.

XRF Data: Raw counts given for each of 8 channels plus non x-ray events for each detector (bare, Al filter, and Mg filter) and the solar monitor.

Gaps: Within orbits, data not taken when surface not illuminated (dark side). During some orbits, data was not taken because it conflicted with other activities of service module.  Extended Mode (twice the gain) data taken periodically (nominally for two hours every six hours) (For Apollo 15, portions of orbits 7, 21, 22, 28, 29, 32, 33 36, 37, 40, 41, 44, 46, 50, 54, 57, 58, 61, 62, 65, 66, 69. 70; for Apollo 16, portions of orbits 6, 7, 17, 20, 21, 24, 25, 28, 29, 32, 33, 36, 37, 41, 44, 45, 49, 53, 56, 57, 60, 61).

Calibration Data:  Calibration data, with Mg and Mn (Fe55) K radiation source moved into place on a ‘calibration rod’, taken periodically during normal and extended modes (nominally, for 64 seconds every 16 minutes).

Pointing Information:  Given for each integration period (row entry) in table in terms of longitude, latitude, altitude, yaw, pitch, and roll, allowing geometry to be determined.

References:  Catalog entries for references and documentation give published papers, along with descriptions of hardware (sensors, collimators, filters), and algorithms for data reduction process. Measurement units are indicated in label files.

Engineering/‘housekeeping’ data: Only pointing information, described above, are given.  No other telemetry data from spacecraft given.

Intelligibility

Data are available as ASCII Files. Data are sequential along orbits. Orbits are sequential during course of mission. Separate tables for normal mode and extended mode operation during course of mission.

Numbers of aligned properly in each column.  Columns are separated by 1 or more spaces. Formatting matches data type (real or integer).

Ease of Viewing: in Print mode. ASCII file prints as long string of numbers with break at end of line with noticeable indent and easily recognizable repeating pattern.  Still, lines are awfully long to display in this format.  Spreadsheet would be better.

Ease of Viewing: in Display mode. This works fine, as window can be set to view only ancillary data, or each detector.

Interpretability

Data is consistent with information logged on printouts at the time of Apollo missions.

Archive Quality

1. Data have been stable for a couple of decades.

2. Original data stored on magnetic tapes at NSSDC for Apollo 15 and 16. Original data not available form another source.

Note: Images of Al/Si and Mg/Si created by filtering in Lunar Consortium format at Flagstaff on PDS demo disk and on floppy diskettes as bytes readable on Sun operating system. Old magnetic tapes of processed data also exist.

3. The data are scientifically significant as direct geochemical measurements of Al and Mg from the lunar nearside at 25 km resolution.  Nothing comparable is or will be available for some time to come. It is unlikely that new data will improve on the resolution of this coverage, where it is available. It will be important to compare new information on major element abundances to this data, which was calibrated based on ground truth from the lunar landing sites.