MICHAEL E. DEBAKEY VETERANS AFFAIRS MEDICAL CENTER

RESEARCH SERVICE LINE

Houston, TX

SUPPLEMENTAL EMERGENCY RESPONSE PLAN

# 1.         PURPOSE

a.     This supplemental publication to Medical Center Policy Memorandum No. 138EmP-001, Comprehensive Emergency Management Program, describes the Research Service Line’s response to facility, community and national emergencies and disasters, and telecommunications and computer failures.

b.	Emergency management functions and related activities of the Research Service Line (which is comprised of Clinical Science Research and Development, Biomedical Laboratory Research and Development, Health Services Research and Development, Rehabilitation Research and Development, and Cooperative Studies) are supplemental to those listed in Medical Center Policy Memorandum No. 138EmP-001 and the Michael E. DeBakey Houston VA Medical Center Research and Development Safety Manual, although some may be repeated for emphasis.

2.        REFERENCES

a.	VHA Handbook 1200.6, Control of Hazardous Agents in VA Research Laboratories.

b.	MEDVAMC Medical Center Policy Memorandum No. 138EmP-001, Comprehensive Emergency Management Program.

3.        GOALS

a.  	To assure that the capability exists to continue essential operations during the full range of man-made, natural, technological, and national security emergencies.

- To ensure a smooth and effective transition from normal to backup operations.

c.  	To ensure a smooth and effective transition from backup to normal operations when the emergency has ended.

4.         OPERATIONS AND PROCEDURES

Coordination and implementation of operational policies and procedures for dealing with emergencies and natural disasters are set forth in the attached Chapters.  The Research Service Line will be prepared to provide assistance, if required, to meet the needs of the MEDVAMC during a facility, community or national emergency or disaster.

# 5.         RESPONSIBILITIES

a.   	Designation of Officials

(1)  The Associate Chief of Staff for Research is responsible for the implementation, management, and evaluation of the Research Service Line Emergency Response Plan.

(2)     The Director of Operations for Research is the designated Research Emergency Manager who coordinates, oversees, and maintains all aspects of the emergency preparedness and response program.

(3)   The Director, Houston Center for Quality of Care and Utilization Studies, a VA Health Services Research and Development Service Center of Excellence is responsible for that Center in the activation, response, and resumption of activities consistent with this Plan.

- All Employees

(1)    Ensure her/his cascade section contact has an up-to-date work and home telephone number where s/he can be reached.

(2)     Know her/his role during an emergency or other disruption of normal operations.

(3)       Will not knowingly impede telephonic notification procedures.

# 6.	WARNING CONDITIONS

a.   	Advance Warning.   There are certain threats to research operations which afford advance warning and as such permit the orderly alert, notification, evacuation, and if necessary, relocation of employees.  Situations that provide such warning indicators may include a hurricane, an accident with a potential hazardous material (HAZMAT) release, or the threat of a terrorist incident.

b.   	No Warning during duty hours.  Incidents may occur with no warning during normal office hours, e.g., fire, explosion, bomb threat, power outage, or the threat of a terrorist incident.

c.   	No Warning during non-duty hours.  Warning may not precede incidents, e.g., earthquake, tornado, arson, or HAZMAT incidents, or the threat of a terrorist incident.

7.        MONITORING

a.   	The Cascade System for Emergency Calls (see attached Emergency Response Plan) will be reviewed and updated quarterly.  The Research Emergency Manager will maintain copies of all component lists.

b. 	Program Evaluation.  The emergency response system requires the designated officials to conduct a program of periodic testing, to include an annual emergency preparedness and response drill, and evaluation to assure that the capability exists to continue critical operations and at the same time ensure response and recovery phases are fully supported.  Evaluation activities include after-action critiques from exercises or actual events providing the feedback loop to unmet response issues.

c.	Initial and annual vulnerability assessments of all research laboratories by a multidisciplinary team consisting of research personnel, a representative from the VA Police Service, the MEDVAMC Safety Office, e.g., Safety Manager, Radiation Safety Officer, shall be conducted.  Vulnerability assessments shall also be conducted after any incident.  These assessments are to identify high-risk areas, sensitive materials, and physical security issues.

- RESCISSION

RSL Handbook 151.1, Research Service Line Emergency Management Plan, dated April 30, 2002.

- RECERTIFICATION

Research Service Line on or before the last working day of April 2006.

/hhb/

HOLLY H. BIRDSALL, MD, PHD

Associate Chief of Staff/Research

Attachment – Research Service Line Emergency Response Plan

RESEARCH SERVICE LINE

EMERGENCY RESPONSE PLAN

Attachment

RESEARCH SERVICE LINE

EMERGENCY RESPONSE PLAN

TABLE OF CONTENTS

## Page

CHAPTER 1	  Emergency Response Guide			 1

PART A	Biological Spill			 1

PART B	Chemical Spill			 3

PART C	Fire				 4

PART D	Medical Emergency			 5

PART E	Radiation Spill			 5

CHAPTER 2	  Disaster Response Guide				 7

PART A	Community Emergency			 7

PART B	Civil Defense Disaster			 7

PART C	Civil Disturbance			 7

PART D	Bomb Threat				 7

PART E	Major Power, Utility, or Communication Disruptions	 7

PART F	Severe Weather Emergency		 8

PART G	Bioterrorism Readiness			 8

CHAPTER 3	  Unidentified Odor Policy				 9

CHAPTER 4	  Emergency Response Guidelines			10

PART A	Cascade System for Emergency Calls		10

PART B	Evacuation of Personnel			10

PART C	Security System			10

CHAPTER 5	  Evacuation of Personnel With Disabilities		11

PART A	Procedures				11

CHAPTER 6	  Vivarium Emergency				13

PART A	Animal Emergency			13

PART B	Security Breach Procedures		14

CHAPTER 7	  Cyber Security				15

PART A	Security Measures			15

PART B	Cyber Security Incident			17

PART C       Computer System Failure                       		17

APPENDIX A  Bomb Threat Telephone Report		                     A1

APPENDIX B Cascade Call Lists			                     B1

CHAPTER 1	   EMERGENCY RESPONSE GUIDE

### PART A   BIOLOGICAL SPILL

(1)   Call 911

(a)   Alert people in immediate area of spill to evacuate.

- Soak paper towels in disinfectant and place over spill area

- WEAR PROTECTION

(2)   Biological spills outside biological safety cabinets will generate aerosols that can be dispersed in the air throughout the laboratory.  These spills are very serious if they involve microorganisms that require Biosafety Level 3 (BSL-3) containment.  Reduce the risk of inhalation exposure by holding breath and leave the laboratory immediately.  The laboratory should not be reentered to decontaminate and clean up the spill for at least one hour.  (During this time, the aerosol will be removed from the laboratory by the exhaust air ventilation system.)  Wear appropriate protective equipment.

### (a)   Spill Involving a Microorganism Requiring BSL 1 Containment (Work involving agents of no known or of minimal potential hazard to laboratory personnel and the environment)

1   Wear disposable gloves.

2   Soak paper towels in disinfectant and place over spill area.

3   Place towels in plastic bag for disposal.

4   Clean spill area with fresh towels soaked in disinfectant.

### (b)   Spill Involving a Microorganism Requiring BSL 2 Containment (Work involving agents of moderate potential hazards to personnel and the environment.  Laboratory personnel must have specific training in handling pathogenic agents and access to the laboratory is limited when work is being conducted.  Procedures in which infectious aerosols are created are conducted in biological safety cabinets or other physical containment equipment.)

- Alert people in immediate area of spill.

- Put on protective equipment.

- Cover spill with paper towels or other absorbent materials.

- Carefully pour a freshly prepared 1 in 2 dilution of household bleach around the edge of the spill and then into the spill.

- Avoid splashing and allow 20 minutes contact.

- Use paper towels to wipe up the spill, working from the edge to center.

- Clean spill area with fresh towels soaked in disinfectant.

- Place towels in a plastic bag and dispose of as infectious waste.

### (c)  Spill Involving a Microorganism Requiring BSL 3 Containment (Work is done with indigenous or exotic agents that may cause serious or potentially lethal disease as a result of exposure by the inhalation route.  Laboratory personnel have specific training in handling pathogenic and potentially lethal agents.  Procedures are conducted within biological safety cabinets or other physical containment devices or by personnel wearing appropriate personal protective clothing and devices.  When existing facilities do not have all the facility safeguards recommended for BSL 3 (e.g., access zone, sealed penetrations, and directional airflow, etc.), acceptable safety may be achieved for routine or repetitive operation (e.g., diagnostic procedures involving the propagation of an agent for identification, typing, and susceptibility testing).)

- Alert people in immediate area of spill.

- Put on protective equipment.

- Cover spill with paper towels or other absorbent materials.

- Carefully pour a freshly prepared 1 in 2 dilution of household bleach around the edge of the spill and then into the spill.

- Avoid splashing and allow 20 minutes contact.

- Use paper towels to wipe up the spill, working from the edge to center.

- Clean spill area with fresh towels soaked in disinfectant.

- Place towels in a plastic bag and dispose of as infectious waste.

PART B   CHEMICAL SPILL

(1)   Call 911

(a)   If spilled material is flammable, turn off ignition and heat sources.

- Alert people in the laboratory to evacuate area.

- Use spill kits to confine spill.

The cleanup of a chemical spill can only be done by knowledgeable and experienced personnel.  Spill kits with instructions, absorbents, reactants, and protective equipment are available in laboratories to contain many minor spills.

(2)   In the event of a major chemical spill,

(a)   Attend to the injured or contaminated persons and remove them from exposure.

- Alert people in the laboratory to evacuate.

- If spilled material is flammable, turn off ignition and heat sources.

(d)   Close doors to affected area.

(e) Have person knowledgeable of incident and laboratory assist emergency personnel.

(3)   In the event of a minor chemical spill,

(a)   Avoid breathing vapors from spill.

(b)   Confine spill to small area.

(c)  Use appropriate kit to contain, neutralize, and absorb inorganic acids and bases.  (Neutralize acid spills with sodium carbonate neutralize alkali spills with boric acid.)

(d)  Attend to injured or contaminated persons and remove them from exposure.

(e)   Alert people in the laboratory to evacuate.

(f)    If spilled material is flammable, turn off ignition and heat sources.

(g)   Close doors to affected area.

(h) Have person knowledgeable of incident and laboratory assist emergency personnel.

### PART C   FIRE

(1)   Call 911 or pull alarm device box.  Give name and specific location.

(a)  Small fires can be extinguished without evacuation.  However, our fire plan requires evacuation upon hearing a fire alarm.

- Never enter a room that contains visible smoke.

- Never enter a room containing visible fire without a back-up person on site.

- Never enter a room if the door is warm to the touch.

(2)   R.A.C.E.

(a)   RESCUE - Alert people in the area to evacuate, assist anyone unable to evacuate on their own.

- ALARM - Pull nearest fire alarm and call 911.

(c)   CONFINE - Close doors to confine fire.

- EXTINGUISH – Smother fire or use fire extinguisher.

(3)   PASS Fire Extinguisher Usage

(a)    Pull pin on extinguisher

- Aim at base of fire

- Squeeze handle

(d)   Sweep extinguisher across base of fire

EVACUATE IMMEDIATELY IF FIRE CANNOT BE CONTROLLED!!!!

### PART D   MEDICAL EMERGENCY

- Call 911; give name and specific location.

- Attend to injured or contaminated persons and evacuate if necessary.

- Initiate lifesaving measures, and if required, WEAR PROTECTION.

- Do not move injured person unless there is danger of further harm.

### PART E   RADIATION SPILL

(1)   Call 911.  Spreading of radiation beyond the spill area can easily occur by the movement of personnel involved in the spill or clean-up effort.  Prevent spread by confining movement of personnel until they have been monitored and found free of contamination.  Place absorbent paper towels over liquid spill.  Place towels dampened with water over spills of solid materials.  WEAR PROTECTION.

### (2)   Major Radiation Spill – Definition:  greater than 100 microcuries

(a)   Attend to injured persons and remove them from possible exposure.

- Alert people in the laboratory to evacuate.

- Have potentially contaminated personnel stay in one area until they have been monitored and shown to be free of contamination.

- Call Radiation Spill Emergency Response number (911).

- Close doors and prevent entrance into affected area.

(f) Have person knowledgeable of incident and laboratory assist emergency personnel.

(3)   Minor Radiation Spill – Definition:  less than 100 microcuries

(a)   Alert people in immediate area of spill.

- Notify Radiation Safety Officer at 713/794-7188 and indicate identity of isotope, chemical carrier and activity.

(c)   Wear protective equipment including safety goggles, gloves, shoe covers and long-sleeve lab coat.

(d)   Place absorbent paper towels over liquid spill.

(e)   Place towels dampened with water over spills of solid materials.

(f)    Using forceps, place towels in plastic bag.

(g)   Dispose in radiation waste container.

(h)  Monitor area, hands, and shoes for contamination with an appropriate survey meter or method.

(i)   Repeat clean up until contamination no longer detected.

Additional Information – Contaminated clothing should be removed for evaluation by the Radiation Safety Officer.  If the spill is on the skin, flush thoroughly or shower, then wash with a mild soap and lukewarm water.

CHAPTER 2   DISASTER RESPONSE GUIDE

### PART A    COMMUNITY EMERGENCY

Such an emergency would include fire, explosion, plane crash, tornado, hurricane, flood, and earthquake.  Upon activation of the Community Casualty Plan by the Medical Center Director, report, when notified, to a designated area for instructions.

### PART B    CIVIL DEFENSE DISASTER

Such an event would include nuclear fallout from a bombing, accident, or military casualties.  As circumstances dictate, the Community Casualty Plan will be effected.  Report, when notified, to a designated area for instructions.

### PART C    CIVIL DISTURBANCE

Such a disturbance would include a riot, acts of massive violence causing casualties in the community, or individuals threatening violence.  Notify VA Police at 911.  If you are not at risk, gather descriptive information about the offenders, names, places, etc.  Report all collected information to the VA Police.

### PART D    BOMB THREAT

- When a bomb threat is received, the individual receiving the threat shall ASK CALLER questions contained in Appendix A.  Get as much details as possible.

- When the call is terminated, call 911 and alert people in the area to evacuate to a safe location.

- Take the completed “Bomb Threat Telephone Report” to the on-duty VA Police Officer.

### PART E    MAJOR POWER, UTILITY, OR COMMUNICATIONS DISRUPTIONS

- Notify VA Police at 911 and Facilities Management Service at 713/791-1414, x-5884.

- Turn off gas valves and powered equipment.

- If animals are affected, contact the Research Administration Office at 713/794-7566 to assist in moving animals to Baylor College of Medicine.

### PART F    SEVERE WEATHER EMERGENCY

Await MEDVAMC Medical Center Director instructions via the Command Center.  If necessary, the Command Center will arrange sleeping/food.  Do not venture into an inclement environment without a clear understanding of the potential hazards.  In the event of a hurricane, the Vivarium Hurricane Disaster Plan, briefly discussed in Chapter 6, will be activated as pertains to the welfare of animals.

PART G      BIOTERRORISM READINESS

The MEDVAMC and other healthcare facilities may be the initial sites of recognition and response to bioterrorism events.  If a bioterrorism event is suspected, local emergency response systems will be activated.

Bioterrorism may occur as covert events, in which persons are unknowingly exposed and an outbreak is suspected only upon recognition of unusual disease clusters or symptoms.  Bioterrorism may also occur as announced events, in which persons are

warned that an exposure has occurred.

CHAPTER 3   UNIDENTIFIED ODOR POLICY

15-MINUTE POLICY ON UNIDENTIFIED ODORS

The 15-minute policy is necessary when odors are detected but the source is unknown.  In the first 5 minutes that an unidentified smell/odor is detected, the individual should try to determine the origin.  If the odor/smell is associated with coughing, sneezing, shortness of breath, eye tearing or any other adverse reactions, immediately call 911 and report the circumstances.  Individuals may ask others in the local area for their assistance in locating the source of the odor.  In any case, if the source cannot be located, call 911 and report the order in 15 minutes or less.  In some circumstances, the odor will be identified and the individual has the responsibility to question risks of hazards.  For answers to questions about the hazards, call the Safety Manager at 713/794-7396.

CHAPTER 4   EMERGENCY RESPONSE GUIDELINES

PART A   THE CASCADE SYSTEM FOR EMERGENCY CALLS IS AT APPENDIX B.  Activation is by:

- An individual who has seen or heard something that would indicate an impending or actual emergency situation.

- The Houston Fire Department

- The Houston Police Department

- Civil Defense Office

(5)  Center for Comparative Medicine, Baylor College of Medicine

(6)   VA Police notification

(7)   VA Research Administration notification

Once the Emergency Response Plan is activated, primary notification to Research Service Line personnel will be via word of mouth.

PART B   EVACUATION OF PERSONNEL

(1)   Horizontal:  Moving persons laterally away from the site of danger to the outside.

(2)   Vertical:  Moving persons down the closest/safest stairwell.

Elevators SHALL NOT BE USED during an evacuation.

PART C  SECURITY SYSTEM

Buildings 109 and 110 are secured and access-controlled 24 hours a day, 7 days a week, including weekends and holidays.  Employees in Buildings 109 and 110 needing an ambulance crew, firemen, or other emergency response personnel are to pull the fire alarm device box – even if there is no fire.  The fire alarm is the fastest and most reliable way to inactivate all of the door locks simultaneously.

Immediately notify the Research Office at 713/794-7564 or 713/794-7566 of the nature of the emergency.

CHAPTER 5   EVACUATION OF PERSONNEL WITH DISABILITIES

# PART A   PROCEDURES

# (1)   Each floor will have two designated evacuation stations with signs that are clearly marked and near a telephone.  People with disabilities will be trained as to their location as well as this plan.

(2)   There will be four employees and two alternate employees per floor who are trained in the evacuation of disabled persons herein referred to as evacuators.

(3)   Designated staff for the service line components will be notified by the person with disabilities of his or her destination within the building.  The designated staff will then be responsible for ensuring that all persons with disabilities know the location of the evacuation stations on the floor of their destination.

(4)  The designated staff will then notify one of the four trained evacuators that a person with disabilities will be on their floor and in which room they will be waiting.

(5)   When a fire alarm is sounded, the evacuators on the floor will go to the location or workstation of the person with disabilities on their floor.

(a)   If the person with disabilities is found, he/she should be evacuated immediately to a safe place outside.

(b)   If the person with disabilities is not located there or in a nearby area, the evacuators should go to their respective evacuation stations (two evacuators to a station).

(c )  After waiting a reasonable length of time (two minutes, if possible) depending on the situation, the evacuators should leave the area themselves, unless they are contacted by the designated staff and are advised of that person’s location and can get to him/her, conditions permitting.

(d)   Once the person with disabilities reaches the evacuation station, one of the evacuators should call their staff designee and advise that the person with disabilities is on his/her way to safety.  When the person with disabilities is accounted for, the staff designee will contact any waiting evacuators so that they can proceed to a safe place.

(6)   The evacuators should work with the person with disabilities to determine the best method of transport for that individual.  If the person with disabilities is found unconscious, the evacuators should appraise the situation and use whatever techniques they deem safest and most expedient for the circumstances at that moment.

CHAPTER 6   VIVARIUM EMERGENCY

PART A   ANIMAL EMERGENCY

(1)   Animal temperature emergency procedures:  Temperature exceeds 85 degrees or is less than 60 degrees in hallway.

(2)   During normal working hours, the Vivarium staff notifies Facilities Management Service (713/791-1414, x-5884) that the temperature is high or low and also notifies Research Administration (713/794-7566).

(3)   During off-hours, the VA Police monitor the temperature.  If the temperature is noticed to exceed limits, Facilities Management Service is called to assess the situation.  If the problem is not resolved, the Facilities Management Service Line Executive (713/794-7138) is notified, as is the Director of Operations for Research (713/794-7564) and/or the Associate Chief of Staff for Research (713/794-7566).

(4)   Evacuation.  In the event of immediate life-threatening disaster, refer to the MEDVAMC Research and Development Safety Manual.  Do not evacuate animals.  If there is no immediate life-threatening disaster, but knowledge of an impending problem, i.e., toxic fumes, possibility of smoke, or other damage spreading to the Vivarium in the near future, gain permission of the person in charge (e.g., Fire Chief, VA Police, etc.) to evacuate animals as follows:

(a)   To laboratories already approved to use animals.

(b)   Center for Comparative Medicine, Baylor College of Medicine

If the situation poses no threat to human life, remain with relocated animals.  Following the disaster, return the animals to the Vivarium or move to location determined by the Vivarium Supervisor and continue animal care.

(5)   Hurricane emergency response.  Welfare of animals housed in the Vivarium is the primary concern in the event of a weather emergency.  The MEDVAMC Vivarium Hurricane Emergency Response Plan describes preparatory and ride-out policies and procedures to ensure adequate animal care up to, during, and following the emergency.  Readiness levels include the following:

(a)   LEVEL I is the normal state of readiness maintained throughout the year.  During this time, planning, assessment, and review of service line and institutional plans occurs.

(b)   LEVEL II is initiated when there is a high probability that a severe weather condition will pose a threat to the MEDVAMC.

(c )  LEVEL III is initiated for completion of all protective measures to ensure that the Vivarium is in a final state of readiness.  Level III is completed when all non-essential personnel have been evacuated.

(d)   LEVEL IV is initiated for ride-out and post-storm activities.

PART B   SECURITY BREACH PROCEDURES

Alarm systems are monitored for breaches.  The VA Police will investigate all breaches and notify the Director of Operations for Research of any intrusions.  The Houston Police is also notified as specified in VA Police Security and Law Enforcement Policy, when necessary.  If there is resultant damage to the facility, the Director of Operations for Research and the Public Affairs Officer are notified in addition to regular VA Police notifications.  All questions from the press are referred either to the Public Affairs Officer or, if unavailable, to the Director of Operations for Research.  No other staff is to discuss the event with the press.

CHAPTER 7   CYBER SECURITY

PART A   SECURITY MEASURES

For all employees who are involved with the management, use, or operation of automated information systems in the Research Service Line, the following necessary practices must be adhered to as assurance that cyber security controls are in place to protect our information systems from malicious intent.  NOTE:  Computers connected to the Baylor College of Medicine intranet must also adhere to relative Baylor College of Medicine Information Technology Security policies.

##### Networks

(a)  Establish a network infrastructure dedicated to the control of all network elements.

(b)   Ensure that all systems are authenticated and protected.

(c )  Implement protection against denial of access.

##### (2)   Servers and clients

(a) Include the exclusive use of securable operating systems on all servers and workstations.

(b)   Ensure security hardened operating systems configurations.

(c)  Establish “least privilege” based access permissions for users and operators.

(d)   Establish auditing procedures

(e)   Ensure secure centralized administration

##### (3)   Boundary protections

(a)   A tightly constrained host configuration to stop dangerous protocols

and unauthorized access.

(b)  Elimination of all unprotected backside access within enclaves, e.g., stand-alone/internal PC modems and dedicated, but otherwise unprotected, site-to-site circuits.

##### Intrusion detection devices

(a) Network-based monitoring for intrusion detection at enclave boundaries.

(b)   Host-based monitoring.

(c)   Intrusion detection to counter compromise from the distant end.

(d) Centralized and automated intrusion monitoring and incident reporting.

##### (5)   Online virus protection

(a)   Centralized malicious code protection for email, web traffic, and file transfers.

(b)   Malicious code protection on all servers and workstations (including mobile users and remote/home offices) that screens exchanges of email, web traffic, and files

(c )   Screening of all applications and files prior to each use, and regular malicious code screening of locally stored files and applications.

(d)   Centralized and automated updating of virus scripts and anti-virus software.

(6)   Software and Data Security.

(a)   Establish safeguards to detect and minimize inadvertent or malicious modification or destruction, or attempts to do so, of application software, operating system software, and critical data files.

(b) At a minimum, back up essential data and store in a location physically separate from the automated information systems.  Implement appropriate physical and environmental controls to ensure viability of such back-ups.

(7)   Hardware Security.   Ensure security measures are taken to protect against theft and unauthorized use of automated information systems peripheral and communications devices, microcomputers, laptops, and related items such as printers, floppy disks, and software.

(8)   Physical Security.  Controlled and restricted areas are to be protected by physical security as appropriate for the sensitivity or criticality of the system.

(a)   Limit access to controlled areas to those individuals having an official need to be in the area.

(b) Contract maintenance personnel, and others, not authorized unrestricted access, will be escorted by an authorized person at all times when they are within the controlled area.

(c )  Media used to record and store sensitive software or data is to be externally identified, protected, controlled, and secured when not in actual use.

PART B   CYBER SECURITY INCIDENT

A cyber security incident is any event, suspected event, or vulnerability that could pose a threat to the integrity, availability, or confidentiality of information systems’ applications or data.  In the event of suspicious activity or cyber attack:

(1)  Promptly report the incident to the Information Security Officer at 713/794-7915.

- Disable nonessential ports and services

- Perform preliminary investigation of all affected systems

- Raise awareness within the cyber environment

(5)   Increase monitoring efforts

PART C  COMPUTER SYSTEM FAILURE

Should the computer systems fail, staff shall manually document staff presence for payroll purposes.  All correspondence and documents (that would otherwise be prepared using computer software) shall be prepared manually.  The Research Information Technology Specialist will coordinate data retrieval efforts with the MEDVAMC Information Security Officer and Information Management Service Line, as appropriate.

APPENDIX A

BOMB THREAT TELEPHONE REPORT

Complete this questionnaire after receiving a bomb threat.

Date:	     Time:	    Call Received:	  Call Ended:

Exact words of Caller:

Questions to ask:

- When will it explode?

- Where is it located?	Building 	 Floor 	 Area 	 Room

- What kind of bomb is it?

- What will make it explode?

- When is it going to explode?

- How do you detonate it?

- What does it look like?

- Why kill or injure innocent people?

- Why was it put there?

- What is your name?

- Address?

Description of Voice:

Male 	 Female 	 Calm 	 Nervous

Young 	 Middle Age 	 Old

Speech:	Rough 	 Refined 	 Accent

Speech Impediment (describe)

Unusual phrases

Recognize voice? 	 If so, who do you think it was?

Background Noise:

Music 	 Running Motor (type) 	 Traffic 	 Whistles

Bells 	 Horns 	 Aircraft 	 Tape Recorder

Machinery 	 Other

Did the caller indicate knowledge of the facility?

If so, how?

Remarks:

DELIVER BOMB THREAT REPORT TO MEDICAL CENTER POLICE IMMEDIATELY
(Building 100, Room 1A-820)

APPENDIX B

###### CASCADE FOR EMERGENCY

The cascade list for emergency calls, which includes office as well as home telephone numbers, is maintained by the Research Administration Office and will be updated as often as necessary to keep all critical data current.

An emergency notification system is used to summon assistance during administrative and non-duty hours.  The Associate Chief of Staff for Research will notify key staff (or their designated alternates) as outlined in the current cascade roster.  Key staff, in turn, will notify remaining staff as outlined in the current cascade roster.