Environmental Health Outbreak Investigation Report:

Swimming Pool Venue

Note to inspector: This inspection form is designed to be used to investigate a pool or pools that are suspected or confirmed as being involved in an outbreak of a recreational waterborne illness.  It is not meant to be used on routine inspections.  It should cover most relevant environmental health threats at the swimming pool venue, not only fecal-oral transmission via the pool water.  Other modes of transmission may include person-to-person, foodborne or contamination from neighboring properties.

Where applicable, specify the unit of measurement being used (e.g., meters vs. feet).

Please do not leave sections blank.  If a question doesn’t apply, write N/A.  If a question can’t be answered please explain why.  If there is more than one pool, specify whether answers apply to both pools or just one.  Also specify whether the pool is indoor or outdoor, child or adult.

If there is more than one pool, provide here a brief descriptive name for each, e.g., adult indoor, child outdoor, etc.  Throughout this form the pools will simply be referred to as Pool 1, Pool 2, etc.  This form does not include space for more than four pools.  Use multiple forms if more pools are included (e.g., at a waterpark).

Pool 1 _________________________________

Pool 2 _________________________________

Pool 3 _________________________________

Pool 4 _________________________________

If more space is needed in any part of the form, please make a note and use the back of the page.

1. DESCRIPTION OF POOL(S)

If available, please attach a plan review diagram to this report.  If the facility has a map, please include.  If no map or plan review diagram is available, make a sketch in the space provided on the last page, or attach a photograph.

Physical description

|  | Pool 1 | Pool 2 | Pool 3 | Pool 4 |
| --- | --- | --- | --- | --- |
| Surface area (sq. ft.) |

No. gallons

Depth range

Bather load

Other

Water Source

What is the source of pool water (i.e., municipal, reclaimed, etc.)?

Fencing

If outdoor pool, is there a fence?

If so, answer the following:

Is it entirely fenced or just partially?

How high is the fence?  Is it within code?

Are the gates kept locked during off-hours?

Are there any other openings through which animals or small children can crawl?

Fill in the number of the following and indicate their locations on the last page.

| Supply and return | Pool 1 | Pool 2 | Pool 3 | Pool 4 |
| --- | --- | --- | --- | --- |

Inlets

Drains

Skimmers

Returns

Other

Fill in the number of the following and indicate their locations on the last page.

| Structure | Pool 1 | Pool 2 | Pool 3 | Pool 4 |
| --- | --- | --- | --- | --- |

Slides

Diving boards

Sprinklers or other features

Other*

(describe)

* draw picture or include photograph on last page

2. FACILITIES

| Facility | Location | How many | Distance from pool* |
| --- | --- | --- | --- |

Changing room

Toilet

Shower

Diaper-changing area

Hand washing/sinks

*If more than one pool, specify distance from the nearest

What is the distance from the handwashing sinks to the diaper-changing area?

Is there adequate soap, paper towels, hot water, etc.?

How often are supplies refilled?

Are directions for handwashing posted?

Are the faucets spring-loaded?  (This may be a problem if it makes it more difficult to wash hands thoroughly.)

Food and drink

Note: this information can help to determine if foodborne or waterborne (drinking or recreational) transmission was involved in the outbreak.

Is food service available?  If so, list food source and type.  Provide a list or menu of food served.

Water fountain(s): how many?  Where are they located?

Are food and drink allowed around or in the pool?

What are the hours of operation?

3. POOL OPERATION

Heating

Note: heaters may inactivate certain pathogens

Is (are) the pool(s) heated? (if no, skip to filtration section below)

What is the high temperature in the boiler?  (This information may be obtained from the operating manual.)

What is the set point for pool temperature?

System manufacturer and model?  (This may be useful to obtain information such as high temperatures from the manufacturer if not otherwise available.)

Temperature of water in return?

Is the water sent to the heater before filtration or after?

Filtration

| Filter media | Pool 1 | Pool 2 | Pool 3 | Pool 4 |
| --- | --- | --- | --- | --- |

Media type*

Make and model

Specifications

Surface area and capacity

* DE, sand, gravity sand, pressure sand, anthracite, cartridge filter (specify media), other (specify).

If the pool has a cartridge filter, answer the following

Cartridges: give number, type, pore size (please specify unit of measure, i.e., microns).

How is it cleaned?

What is the maintenance routine?

How old is it?

What are the manufacturer’s recommendations for cleaning?

How often is it replaced?

Filtration system

| Sampling | Pool 1 | Pool 2 | Pool 3 | Pool 4 |
| --- | --- | --- | --- | --- |
| Are there access ports to sample media? |
| Can backwashed water be accessed for sampling? |
| Is the pool filter accessible by operator during operating hours? |

| Turnover | Pool 1 | Pool 2 | Pool 3 | Pool 4 |
| --- | --- | --- | --- | --- |

Turnover rate

Pump speed

Flow rate

Backwash*

| Backwash | Pool 1 | Pool 2 | Pool 3 | Pool 4 |
| --- | --- | --- | --- | --- |

How often?

How long?

Pressure differential needed before backwash?**

Where is it discharged?

Is the backwash visible?

When do operators diverge from schedule?

Other

*use back of page if necessary

**This information can be found in the pool’s policy statement or manufacturer’s manual

Shared filtration

If there are multiple pools, are they on the same filter?

If there is a kiddie pool, is it filtered separately?  If not, which pools does it cocirculate with?

Cross-connection

Is there an airgap where the fresh water enters the collection tank?

Is there an airgap at the pool waste line/backwash line?

Disinfection

Field assessment (actual measurements on day of assessment)

Measurements

|  | Pool 1 | Pool 2 | Pool 3 | Pool 4 |
| --- | --- | --- | --- | --- |

pH level

Total chlorine

Free/residual Cl2 (normal)

ORP reading

(if applicable)

Total alkalinity

Cyanurates

| Cl Measurement | Pool 1 | Pool 2 | Pool 3 | Pool 4 |
| --- | --- | --- | --- | --- |

Test kit manufacturer?

How often are free chlorine residual levels measured?

Method used for measurement?

(i.e., DPD)

Where is the reading taken?

(i.e., poolside, filter bay)

| Disinfectant addition | Pool 1 | Pool 2 | Pool 3 | Pool 4 |
| --- | --- | --- | --- | --- |
| Type of chlorine: liquid, tablet, powder, gas?* |
| Added manually or automated? |
| Distance from disinfectant injector to pool? |

*If liquid chlorine, what % NaOCl (sodium hypochlorite) active ingredient?

If disinfectant is automated, answer the following

|  | Pool 1 | Pool 2 | Pool 3 | Pool 4 |
| --- | --- | --- | --- | --- |
| Name of system or controller |

Model

Manufacturer

Does the automatic pool chlorinator measure chlorine or oxidation reduction potential (ORP)?

Cyanurates (if none, skip this section)

Do they factor in cyanurates with the measurement of free chlorine residual?  If yes, how do they do it?

What level of cyanurates is maintained?

What are the state and local standards for pool chlorination?  Do the standards account for cyanurates?

If there is a state or local requirement to increase free chlorine ppm if cyanurates are present, does the pool conform?

Do they measure cyanurate levels?  How often?

Hyperchlorination (a.k.a. superchlorination or chlorine-shocking)

How is it done? (i.e., What are the chemicals being used?  What amounts used?  Length of time?)

What concentration (mg/L) is achieved?

Do they measure the concentration?  If yes, how?

How do they return the disinfectant levels to normal?

Is hyperchlorination accompanied by disinfecting diaper-changing areas, etc?

Additional disinfectants and systems

If other disinfectants are added, use the following table.  Fill in the brand name and amount used.

| Disinfectant | Pool 1 | Pool 2 | Pool 3 | Pool 4 |
| --- | --- | --- | --- | --- |

Bromine

Peroxyamino-sulfate

Other

Is another disinfectant system used?  (Y or N)

If yes, use the following table.  If a pool uses one of the following additional disinfectant systems, write the brand name and amount used.  If UV is used, indicate the level of energy delivered.

Disinfectant system

|  | Pool 1 | Pool 2 | Pool 3 | Pool 4 |
| --- | --- | --- | --- | --- |

Ozone

UV

Other

4. POLICIES, RECORDS, AND OPERATIONAL PARAMETERS

(If possible, obtain copies of all documents listed below.)

Operational

Is the pool public (i.e., municipal or other organization) or private (i.e., club or residential)?  (Note: if these do not fit your state’s categories, write them in)

What are the hours of operation?

What is the vacuuming schedule?

Water quality policy (what does the pool require of staff?)

Cl2

pH

Accident response policy:

Fecal accident response

Vomit response

Is there a fecal/vomitus accident response log?  If so, provide a copy.

Record keeping

Is the pool operator keeping maintenance records?

What maintenance activities are recorded in the log book?

Are records kept of the following (if so, provide a copy)

Construction or modifications

Recent maintenance

Pump repairs

Chlorinator repairs

What warrants a pool closing?

Hygiene

Is there a pre-swimming shower policy?  If so, provide a copy or a summary.

Is there a policy for washing hands?  If so, provide a copy or a summary.

Are animals allowed on the premises?  Is so, what types?

Disinfection policy

What is the response if chlorine levels drop too low?

Personnel

Note: all employee job categories should be included.  This may help determine whether a study of employee illness would be desirable or feasible.

List number of employees and their duties. (use back of page if necessary)

Number of shifts?

Number of employees of each type per shift?

What is the policy for use of swim facilities by off-duty staff?

Consecutive minutes that lifeguards are on duty?

Lifeguards per # of bathers?

Does the state or local health department require training for pool operator management positions?  [e.g., Certified Pool Operator (CPO), Aquatic Facility Operator (AFO), or equivalent?]

Is there a CPO/AFO or equivalent requirement by the pool?

Who among the staff is a CPO/AFO or equivalent?

Membership

Number of members

Provide lists of the following:

Groups that use pool (categorize by age range)

Outside visitors

Rental groups

Swim teams and/or leagues that use a variety of pools.  Where else do these groups swim?

5. RECENT DEVELOPMENTS

Any recent pool problems leading up to the outbreak?  Describe.

Has the pool switched any routines lately?  Describe.

Have there been any modifications to the pool lately?  Describe.

Has there been any disruption in the water service since opening?  Describe.

6. NEIGHBORING PROPERTIES OF NOTE

(Provide the name and location)

Farmland

Playgrounds

Day care centers

Zoos

Wildlife areas

Other recreational water venues, i.e., lakes, rivers, etc.

Are there drainage problems that could impact the pool?

Final note to inspector: if you think of any other situations or issues not covered by this form, please include them in this space.

Please draw the pool, with measurements/dimensions indicated.  [provide photograph if possible]