Categorized Vulnerabilities

Chemical Sector Security Meeting

16 Jan 2003

- Communications

Wireless rogue access points – plug access point into wireless net allowing unauthorized communication

Application of wireless in process control –

- Roving operator – wireless capability used to support operations and maintenance. This capability is not part of the process control functions.

- Wireless devices integrated into the control system – where wireless is a replacement for the means of communicating

Communication Integrity – two-way authentication, trusted channel between communicating devices; this includes defining information flows and flow directions and enforcing the defined flows; also includes range checking to ensure legitimate secure values

Remote access:

- Dial-up connections

- Cable modem

- DSL

- Wireless

Authenticate access to control system device(s), authenticate across boundaries

(Physical/logical depiction of authentication rules/devices)

Serial connection using leased line, dial-up or wireless connections.

Need to define appropriate serial-mode protections

- Information Distribution – Information Protection

Maintaining the confidentiality of system documentation and configuration evidence.

- Physical

Lack of alarms

Lack of logging access

Physical access controls

Breakers, communication wiring, power backup, fire, temp, humidity controls

Cleaning personnel

No physical protection on field devices

Security policy definition and security configuration definition

- Operating Systems

File permissions

Internet access on SCADA host

Having unused and unnecessary services enabled

Maintaining secure configuration of O/S – controlled updates of patches and service packs vice uncontrolled ‘blind’ application

Use of external devices possibly bootable

Registry access/configuration access

- Audit and Accountability

Recording relevant events and supporting information

- Authentication

Re-authentication capability based upon command being invoked

- Security Alarms

Potential security policy violations recorded in audit log and reported

Reporting mechanism – TBD, should include sense of verifying authenticity of alarm condition

- Applications

EFM, contracts management, scheduling, etc.  The resolution to this issue lies in where does the application lie and is it in or out of scope

- if in scope, what controls are in place

- if out of scope is the interface being effectively controlled

(address o/s concerns and application concerns jointly)

- Firewall (to include other perimeter defense mechanisms)

DMZ definition

Virus protection and content filtering

Issues with ‘pseudo-firewall’ capabilities

- Network Security Architecture, Protection Domain Definition and Data Interchange between Protection Domains

Definition of security domains and protection domains

Data Interchange and Network Architecture Issues

Integration of business system with SCADA and no controls or isolation

- Field Devices

Defining access controls for field devices

Weak authentication, no password, default passwords

Layered defense mechanisms

No version management

Record configuration change events (implement capability)

- Login access (more appropriately defined as Identification and Authentication)

Access control policies and rules

Vendor direct unauthenticated access

Remote-shell enabled

FTP access

Secure-login, single-user

Vendor back-door

Field-device access not authenticated or uses common credentials

- Systems Management (Configuration, Proprietary/Sensitive information, Operations)

Defining and Maintaining Secure Configuration

Automate where possible – data collection, comparison, backup

Terminal services on wrong platform

Inter-service agreements

Defining and verifying configuration, maintaining

DCS – configuration done on engineering workstation, checked,verified.  Device then installed into runtime environment.  Configuration pushed to the device.  Incorporate capability to ensure configuration is pushed to correct device.

Roles and responsibilities

- Granularity of controls for individuals authorized to administer and operate the system; restrictive authorizations/defaults

  - e.g., passwords that expire on first use

  - communication ports/services disabled (difficulty in defining what is the minimal configuration/capability required ‘by default’)

- Consideration should be given to enabling operation outside the bounds of the enforced policy (maybe), possibly to include timeout

Software version/baseline, delivered baseline, configuration baseline

Layering of security mechanisms

Filtering scripts, java, etc, etc. – auto version upgrades

Issues with compatibility with virus protection s/w

Miscellaneous

Requirement for vendor to be sensitive to design – should not introduce known vulnerabilities into control networks