Gustavo Cancelo

CEPA/ESE-CD

Feb. 24th 2005

The Envelope Filter

## Introduction

The current document describes the Envelope Filter for measuring beam position at the Tevatron. The filter is implemented using the digital filters inside the Graychips located in the Echotek modules. The Envelope Filter idea is described in Section 1.4 and the results are provided in Section 1.4.3. To make this document more self contained the first few sections describe the Graychip characteristics. The Graychip specification is reference in [1].

## Graychip Block Diagram

Figure 1: Graychip block diagram

The Graychip has four identical channels as shown in the block diagram (Figure 1). The Graychip basic building blocks are:

- Data input format and zero pad

- Down-converter

- CIC filter

- CFIR filter

- PFIR filter

- Resampler

Each Down-converter contains a Numerically Controlled Oscillator (NCO) with the following characteristics:

- The frequency can be tuned to 2^-32 of Fclk (clock freq.)

- The phase can be adjusted by 2-16 of 2π.

- Dither generator to provide a 121bd spur free clock.

### Down converter

The down converter multiplies the incoming signal by a high frequency sinusoid of tunable frequency and phase. In time domain the Down converter function can be modeled by:

I and Q are the Hilbert transform components of s(n) obtained by sampling s(n) with two sine waves whose relative phase are in quadrature. If s(n) is real and causal I and Q are the real and imaginary portion of the envelope of s(n).

Downconverter  in frequency domain

- If the sampling frequency fs is above the Nyquist frequency of the signal s(n) (fs ≥ 2 fc), multiplying the s(n) spectrum by exp(jωc) makes s(n) return to baseband. A s(n) image is also created at 2ωc.

- The amplitude of the I and Q components depends on the sampling frequency and phase.

- The sum of I+Q signal power in each of the 2 images equals that of s(n).

Figure 2: Graychip down conversion

### The CIC filter

The CIC filter is a cascade of digital integrators followed by a cascade of combs (digital differentiators) in equal number. In the Graychip this number is fixed and equal to 5. Between the integrators and the combs there is a digital switch or decimator, used to lower the sampling frequency of the combs signal with respect to the sampling frequency of the integrators.

Each integrator contributes to the CIC transfer function with a pole. The transfer function of each integrator stage is

Each comb section contributes with a zero of order D, where D is the frequency decimation ratio.

The transfer function of each comb stage, referenced at the input sampling rate fs, is

The CIC transfer function in the Z-plane becomes:

(1)

Figure 3: CIC block diagram

The Graychip CIC has the following characteristics:

- Decimator by 8 to 4096.

- Input signal gain correction module  (not shown) to correct the N^5 gain factor introduced by the CIC. D is the decimation rate.

The Fourier transform is obtained evaluating z at

If the output is referred to the output sampling frequency fs/N, the z transform must be evaluated at

For 5 stages of  I/D the CIC transfer function becomes:

(2)

The CIC transfer function is plotted in Figure 4

Figure 4: CIC Transfer function

The performance of the CIC filter in time domain is very interesting and has been analyzed in [4].

The CIC filter coefficients can be obtained by:

(3)	Integrators

(4)	Combs

Equations (3) and (4)  have already simplified the more general equations using 5 integrators/differentiators since these are fixed numbers in the Graychip.

The derivation of these equations due to E. Hogenauer, can be found at [2].

### CFIR and PFIR

The CFIR and PFIR filters are equivalent. They only differ in the number of TAPS. In frequency domain their transfer function is:

Z-transform			(5)

Fourier transform			(6)

In time domain the filter’s impulse response convolves the input signal

(7)

For most applications the filtering function is specified by the filter’s frequency response. Hence, the filter coefficients are obtained working in the frequency domain. The filter coefficients are obtained as parameters in a linear fitting with constrains. However, sometimes the filter coefficients are obtained directly working in the time domain. (e.g. time window averaging). The algorithms used to obtain the filter coefficients are very diverse and application oriented.

Decimation creates mirror images of the spectrum at fs/D, where D is the decimation rate.

The images must be filtered by the FIR If the input spectrum is not band limited (the band limit requirement is  BW<π fs/D) the decimation will generate aliasing. An important point is that the decimation function is not shift invariant. The transfer function of a filter-decimator is:

(8)

Where hFIR and hDEC are the impulse response functions of the FIR and decimator respectively. The m in the equation is a delay that represents the way the filter responds to a delayed delta input. The decimator does not care about the delay, so the combined response is not shift invariant.

## Test Signal

The test signal used to design the Envelope Filter is based on measurements done at the output of the “ringing” filter. These signals A and B were sampled at 2Gs/sec (1000 samples in 500ns) using a digital oscilloscope (Figure 5).

Figure 5: signals A and B sampled at 2Gs/sec.

Typical Tevatron bunch loads are generated using the signal in Figure 5. To generate a Test Signal ensamble we have done the following:

- 1st step single bunch: A and B shortened to 396ns (792 samples)

- 2nd step signal batch: each batch is a train of N bunches. N between 1 and 12.

- 3rd step include abort gaps.

- 4th step signal sampled at 74.345MHz

The test signal ensamble is shown in Figure 6. The upper plot shows the test signal for 1 accelerator lap (i.e. ~20.9μs). The lower plot shows one bunch sampled at 74.34MHz which the sampling frequency used by the Graychips.

Figure 6: Test signal ensamble

### Signal spectrums

- Spectrum of A shows alias due to under-sampling.

- A and I (Q) spectrums show tall power density lines at harmonics of the analog filter’s BW.

- Down-conversion creates alias at 32.7MHz

Graychip setup

The maximum sampling rate supported by the Graychip is 100MHz. The Ecotek supports only 80MHz.

The minimum decimation using a single Graychip channel is:

- CIC filter: D=8

- CFIR filter: D=2

- PFIR filter: D=2

- Total D=32

Using multiple channels we can decimate as low as D=8 combining CIC, CFIR and PFIR. The current Graychip setup samples at 74.345MHz, bypassing the resampler the maximum sampling rate after the Graychip is 9.29MHz. That means that we can see things moving as fast as 4.65MHz.

## The Envelope Filter

The on-line filtering of the A and B signals for beam position measurement is a combination of digital filtering and data processing on firmware. Since beam position variations are “slow” with respect to the signal spectrum fastest components, the envelope of the batch of bunches must be enough to estimate position (1st harmonic is at ~150KHz).

The beam position estimation was done in three steps. The first step is done by the Graychip filters, the 2nd and 3rd steps are implemented in firmware on the Echotek’s FPGA.

- First step: filter the down-converted signal to obtain the the I and Q that determine the envelope of a batch of bunches.

- Second step: Select I and Q samples above a certain threshold and filter out the rest.

- Third step: Average Is and Qs to reduce the number of samples that are readout from the Echotek’s memory. Obtain one I-Q pair every N batches. Averaging more samples will help to achieve a position estimation error distribution with low sigma. Observation: N must be large enough to achieve the desired digital bandwidth at the output of the Ecotek.

The Graychip setup in the Envelope Filter implementation is:

- Input signal sampled at 74.345MHz

- Oscillator frequency fosc = 53.01MHz

- CIC decimation = 4 (by combining two channels)

- CFIR decimates by 2, fc = 2.5MHz

- PFIR decimates by 2, fc = 350 KHz

### Filter’s frequency response

The CIC filter in the Graychip only has one free variable, the decimation ratio. We have chosen the minimum decimation (i.e. 8) in order to maximize the number of signal samples at the output of the filter. A total decimation of 4 is reached in the CIC, combining two Graychip channels. The CFIR filter is used to equalize the “droop” generated by the CIC in the filter’s passband. The CFIR design does not put much emphasis in a fast transition slope. The PFIR, instead, has a fast transition band response. The cutoff frequency of the filter has been chosen equal to 300KHz. Figure 7 shows the filter’s frequency responses.

Figure 7: CIC, CFIR and PFIR frequency responses

Figure 8 shows the power spectrum densities after each stage of filtering. The Envelope filter does a good work at keeping the low frequency content of the spectrum, enough to produce a signal with a fast rise time and filters all the high frequency content including down conversion images and high frequency noise. Also note that the spectrum amplitudes decay with 1/decimation_ratio, so it is important to keep the decimation ratio low in order to have a good signal to noise ratio. This last topic is analyzed with more detail in [4].

Figure 8: Power Spectrum Densities at each filtering stage

The Graychip outputs filter the I and Q samples. Figure 9 shows waveforms of |A|, |B|, beam intensity (i.e. |A|+|B|) and position (i.e. |A|-|B|/|A|+|B|) using the I’s and Q’s at the Graychip output. The signals on Figure 9 were plotted offline using Matlab. The I’s and Q’s have not been plotted to avoid overloading the figure. However, the number of I and Q samples out of the Graychip matches the number of dots shown in both the beam intensity and the position traces. In the current application, the number of I and Q samples is further reduced by filter post processing in the Echotek’s FPGA. From Figure 9 we observe that:

- |A|-|B|/|A|+|B| is fairly constant for |A|+|B|>Threshold.

- There are about 25 useful points per batch.

- A simple threshold based on the intensity plot can be implemented to separate the interesting I’s and Q’s from the non-interesting ones.

Figure 9: Envelope Filter waveforms

Figure 10 shows the ACNET output of one of the 1st tests with the Envelope Filter before implementing the Post processing filter in the FPGA. In this figure we see the I and Q traces for A and B channels, along with the intensity and position traces generated by all the samples output by the Graychip. The Post processing filter in the FPGA reduces the number of I Q pairs to one pair every N batches.

Figure 10: ACNET output of one of the 1st tests with the Envelope Filter before implementing the Post processing filter in the FPGA

### Post processing filter in the Echotek’s FPGA

The post processing filter implemented in firmware:

- Selects I and Q samples above a certain threshold and filter out the rest.

- Averages Is and Qs to reduce the number of samples that are readout from the Echotek’s memory. The number of samples averaged in the FPGA is tied to the desired digital bandwidth at the output of the Ecotek.

The block diagram of the Post processing filter is shown in Figure 10.

Figure 11: Block diagram of the Post processing filter

To measure its performance we have tested the Envelope Filter using signals with bunch loads from 1 to 36. The maximum number of bunches in one batch is 12, two batches are separated by an abort gap and there is a total of 3 equally spaces batches in one accelerator lap. The envelope filter responds well to beam loads with few bunches per batch.

Figure 12: beam load configurations of batches with 1 to 12 bunches

### Envelope Filter Performance

Figures 13, 14 and 15 show the performance of the Envelope Filter for bunch loads from 1 to 36. The Test Stand setup includes Jim Steimel’s beam simulator inputs, a band-pass ringing filter, a splitter to generate A and B inputs, an Echotek module, a BPM timing card and BPM processor. In order to generate good statistics each bunch load test represents a run of more than 10,000 input samples. Since the inputs A and B come from a splitter they should be identical and the measured position should be zero. However, the splitter attenuates one signal more than the other generating an offset in the position measurement of about 84μ. This offset is exactly the same seen by Jim Steimel using a completely different filter.

It is expected that the Envelope Filter performs better to bunch loads with more bunches because the digital filter’s bandwidth is only 300KHz. However, it can be appreciated in Figure 13 that the Envelope Filter responds very well to bunch loads with a small number of bunches. The major effect in the filter’s performance is an increase in the sigma of the error distribution of position measurement. The larger error in the position measurement for loads with less bunches can be compensated by a larger average in the FPGA or in the offline processing.

Figure 13: Mean position measurement vs. number of bunches in the beam load

- Single envelope p measurements = one I-Q pair ~ every 7usec (~142KHz)

- 3-envelope avrg. P measurements = one I-Q pair per lap, ~21usec (~45KHz)

- 9-envelope avrg. P measurements = one I-Q pair every 3 laps, ~63usec (~18KHz)

Figure 14 shows the same position measurement plot of last slide but including the error bars. Note that as more envelopes are considered to calculate the position measurement the error bars get smaller.

Figure 14: Mean position measurement with error bars

The sigma of position measurements shown in Figure 14 are plotted again to show the effect of more bunches in the beam load (i.e. better signal to noise ratio). All 3 sigma trends should be monotonic. The few point that fail to achieve that are probably due to the some non-Gaussian noise in the test-stand or we may need longer data runs.

Figure 15: Sigma in the distribution of the mean position measurement

## References:

[1] Texas Instrument, “Greaychip 4016 Data Sheet rev1.0”, Aug. 2001.

[2] E. Hogenauer, “An economical class of digital filters for decimation and interpolation”, IEEE Transactions on ASSP, vol ASSP-29, No 2, April 1981.

[3] G. Cancelo, “Some models of the BPM signal”, Fermilab Beams-doc-1590, Feb 25, 2005.

[4] G. Cancelo, “The CIC filter”, Fermilab Beams-doc-1591, Feb 25, 2005

[5] G. Cancelo, “The phase shift problem in the Tevatron BPM signals”, Beams-doc-1592, Feb 25, 2005

# Text boxes

f=fs/N

fs

5-stage integrator

Decimator by D

5-stage integrator

A/D

A

images after decimation

Spectrum before decimation

…

IB**

QA**

α = threshold

Use I and Q’s in this window only

2ðfs2/D

2ðfs/D

2ðfs(D-1)/D

2ðfs

0

QB**

IA**

Average N samples

QB*

IB*

QA*

IA*

Select I’s and Q’s such that

corresponding

|A|-|B|>α

|A|+|B|

>α

+

+

+

QB

(.)2

IB

(.)2

QA

(.)2

IA

(.)2