Contractor: NASA-SOMD				Prime: OAO Corporation

Quarter: Q41-January 09				Prime Contract Number: NAS5-98144

### Platform: FAX1  			   		System: HP FAX 1050

## Fax  Configuration

| Item | Mfg /Type | Size/ Speed |
| --- | --- | --- |
| Print technology | HP | HP Thermal Inkjet |
| fax transmission speed (seconds per page) | HP | 6 seconds per page |
| fax memory | HP | 1.0MB |
| fax resolution, black (dots per inch) | HP | 300 x 300 dpi |
| Input capacity, std. | HP | 50 sheets |
| automatic document feeder | HP | Standard, 10 sheets |
| copy resolution, black | HP | Up to 600 x 300 dpi |
| copy speed, black (copies per minute) | HP | 4 cpm |
| reduce / enlarge settings | HP | 50 to 125% |
| Dimensions (w x d x h) | HP | 14.4 x 13.4 x 10.6 in |
| Weight | HP | 7.7 lb |

Contractor: NASA-SOMD				Prime: OAO Corporation

Quarter: Q41-January 09				Prime Contract Number: NAS5-98144

### Platform: FAX2  			   		System: HP  FAX 1050

## Fax  Configuration

| Item | Mfg /Type | Size/ Speed |
| --- | --- | --- |
| Print technology | HP | HP Thermal Inkjet |
| fax transmission speed (seconds per page) | HP | 6 seconds per page |
| fax memory | HP | 1.0MB |
| fax resolution, black (dots per inch) | HP | 300 x 300 dpi |
| Input capacity, std. | HP | 50 sheets |
| automatic document feeder | HP | Standard, 10 sheets |
| copy resolution, black | HP | Up to 600 x 300 dpi |
| copy speed, black (copies per minute) | HP | 4 cpm |
| reduce / enlarge settings | HP | 50 to 125% |
| Dimensions (w x d x h) | HP | 14.4 x 13.4 x 10.6 in |
| Weight | HP | 7.7 lb |

Contractor: NASA-SOMD				Prime: OAO Corporation

Quarter: Q41-January 09				Prime Contract Number: NAS5-98144

### Platform: FAX3  			   		System: HP  FAX 1250

## Fax  Configuration

| Item | Mfg /Type | Size/ Speed |
| --- | --- | --- |
| print technology | HP | HP Thermal Inkjet |
| color fax | HP | Yes |
| fax transmission speed (seconds per page) | HP | 3 seconds per page |
| fax memory | HP | Up to 200 pages |
| fax resolution, black (dots per inch) | HP | 300 x 300 dpi |
| input capacity, std. | HP | 100 sheets |
| output capacity, std. | HP | 20 sheets |
| automatic document feeder | HP | Standard, 20 sheets |
| copy resolution, black | HP | Up to 600 x 600 dpi |
| copy resolution, color | HP | Up to 1200 x 1200 dpi |
| copy speed, black (copies per minute) | HP | Up to 20 cpm |
| copy speed, color (copies per minute) | HP | Up to 14 cpm |
| reduce / enlarge settings | HP | 25 to 200% |
| dimensions (w x d x h) | HP | 16.75 x 19.9 x 13 in |
| weight | HP | 8.3 lb |

Contractor: NASA-SOMD			 	Prime: OAO Corporation

Quarter: Q41-January 09				Prime Contract Number: NAS5-98144

### Platform: PRN1 Printer			   		System: HP P2015n

## Printer  Configuration

| Item | Mfg /Type | Size/ Speed |
| --- | --- | --- |
| Print speed, black (pages per minute) | HP | Up to 27 ppm |
| processor speed | HP | 400 MHz |
| print technology | HP | Laser |
| print quality, black | HP | 1200 x 1200 dpi |
| resolution technology | HP | HP ProRes 1200, HP FastRes 1200, HP Ultraprecise toner |
| paper trays, std. | HP | 2 |
| input capacity, std. | HP | 550 sheets |
| standard envelope capacity | HP | 10 |
| output capacity, std. | HP | 250 sheets |
| duplex printing | HP | Automatic (standard) |
| memory, std. | HP | 32 MB |
| memory slots | HP | 3 industry-standard 100-pin DIMM |
| print languages, std. | HP | HP PCL 6, HP PCL 5e, PostScript® 3™ emulation |
| connectivity, std. | HP | IEEE 1284 ECP-compliant, B-size bidirectional parallel port, 1 USB 1.1 port, HP Jetdirect 615n Fast Ethernet (10/100Base-TX) internal network print server in EIO slot |
| Print drivers, std. | HP | HP PCL 6, HP PCL 5e, PostScript® 3™ emulation, Macintosh PPDs |
| dimensions (w x d x h) | HP | 13.8 x 17.7 x 10.1 in |

Contractor: NASA-SOMD  				Prime: OAO Corporation

Quarter: Q41-January 09				Prime Contract Number: NAS5-98144

### Platform: PRN2 Printer			 		System: HP P3005N

## Printer  Configuration

| Item | Mfg /Type | Size/ Speed |
| --- | --- | --- |
| Print speed, black (pages per minute) | HP | Up to 35 ppm |
| processor speed | HP | 460 MHz |
| print technology | HP | Laser |
| print quality, black | HP | 1200 x 1200 dpi |
| resolution technology | HP | HP ProRes 1200, HP FastRes 1200, HP Ultraprecise toner |
| paper trays, std. | HP | 2 |
| input capacity, std. | HP | 1100 sheets |
| standard envelope capacity | HP | 75 |
| output capacity, std. | HP | 250 sheets |
| memory, std. | HP | 80 MB |
| memory slots | HP | 3 industry-standard 100-pin DIMM |
| print languages, std. | HP | HP PCL 6, HP PCL 5e, PostScript® 3™ emulation |
| connectivity, std. | HP | IEEE 1284 ECP-compliant, B-size bidirectional parallel port, 1 USB 1.1 port, HP Jetdirect 615n Fast Ethernet (10/100Base-TX) internal network print server in EIO slot |
| Print drivers, std. | HP | HP PCL 6, HP PCL 5e, PostScript® 3™ emulation, Macintosh PPDs |
| dimensions (w x d x h) | HP | 16.7 x 16.1 x 12.2 in |

Contractor: NASA-SOMD  				Prime: OAO Corporation

Quarter: Q41-January 09				Prime Contract Number: NAS5-98144

### Platform: PRN3 Color Printer			 	System: HP 3600N

## Printer  Configuration

| Item | Mfg /Type | Size/ Speed |
| --- | --- | --- |
| print speed, black (pages per minute) | HP | up to 17 ppm |
| print speed, color (pages per minute) | HP | up to 17 ppm |
| Print technology | HP | Laser |
| Print quality, black | HP | up to 600 x 600 dpi |
| Print quality, color | HP | up to 600 x600 dpi on photo paper |
| Resolution technology | HP | HP PhotoREt III |
| Paper trays, std. | HP | 2 |
| Input capacity, std. | HP | 350 sheets |
| Standard envelope capacity | HP | 15 envelopes |
| Output capacity, std. | HP | 100 sheets |
| Duplex printing | HP | Manual |
| Media sizes, std. | HP | Letter, legal, executive, statement, tabloid, Super-B |
| Memory, std. | HP | 128 MB |
| Memory slots | HP | 1 SODIMM slot (144 pin, SDRAM, PC-100) |
| Print languages, std. | HP | HP PCL 5C, HP PostScript® 3 emulation |
| Connectivity, std. | HP | IEEE 1284-compliant bidirectional parallel, USB port, HP PCL5/PostScript® 3™ personalities card in first EIO slot, HP Jetdirect 615n EIO Internal Print Server |
| Dimensions (w x d x h) | HP | 16.25 x 20.07 x 16.93 in |

Contractor: NASA-SOMD				Prime: OAO Corporation

Quarter: Q41-January 09	 			Prime Contract Number: NAS5-98144

Platform:  SERV1 / User Site				System: Dell  PowerEdge R900

## System Configuration

| Item | Manufacturer | Model # | Revision or Date | Size & Speed |
| --- | --- | --- | --- | --- |
| System Unit | Dell | PowerEdge R900 |  | Tower Chassis |
| Motherboard | Dell | Quad CPU capable |  | 667MHz Bus Speed |
| CPU | Intel | Xeon Quad Core |  | 2.4 GHz |
| BIOS | Intel | GC-HE |  |  |
| Hard Disk | Dell | Ultra SAS 10k RPM |  | 5X 146.0GB |
| HD Controller | Dell | SAS6iR |  |  |
| Floppy Drive | Dell |  |  | 3.5 “ 1.44 Mb |
| Keyboard | Dell |  |  | 104 Extended |
| Mouse | Microsoft | Intellimouse |  |  |
| Power Supply | Dell | Redundant Power |  | 600 Watt |
| Network Interface Card | Intel | Intel Dual Port |  | 10/100Base-TX |
| Monitor | Dell | 1708FP Flat Panel |  | 17” |
| CD-ROM | Dell | DVD |  | 24X |
| Raid Controller | Dell | PERC4-DC, 128MB, 1 Internal, 1 External Channels |  | Raid 5 |
| Tape Backup | Dell | Power Vault110, LT02 |  | 200/400GB, Half Height |
| Tape Backup Software | Veritas | Veritas Server, Power Suite |  |  |
| Video | ATI | ATI-Rage IIc controller, |  |  |
| Ports | Dell | 1 serial, 2 USB |  |  |

## Memory Module Configuration

| Item | Manufacturer | Quantity | MB (Total) | Speed | Type |
| --- | --- | --- | --- | --- | --- |
| RAM | Various | 2 | 4.0 GB | 400MHz | DRAM |
| Cache | Intel | 2 | 2X2.0MB |  | L2 ECC |
| Video RAM | ATI | 1 | 8MB |  | SGRAM |

Contractor: NASA-SOMD				Prime: OAO Corporation

Quarter: Q41-January 09				Prime Contract Number: NAS5-98144

Platform:  SERV1 					System: Dell  PowerEdge R900

## System Configuration

| Item | Manufacturer | Model # | Revision or Date | Size & Speed |
| --- | --- | --- | --- | --- |
| System Unit | Dell | PowerEdge R900 |  | Rack Mount |
| Motherboard | Dell | Quad CPU capable |  | 667MHz Bus Speed |
| CPU | Intel | Xeon Quad Core |  | 2.4 GHz |
| BIOS | Intel | GC-HE |  |  |
| Hard Disk | Dell | Ultra SAS 10k RPM |  | 5 X 146.0 GB |
| HD Controller | Dell | SAS6iR |  |  |
| Floppy Drive | Dell |  |  | 3.5 “ 1.44 Mb |
| Keyboard | Dell |  |  | 104 Extended |
| Mouse | Dell | None |  |  |
| Power Supply | Dell | Redundant Power |  | 600 Watt |
| Network Interface Card | Intel | Intel Dual Port |  | 10/100Base-TX |
| Monitor | Dell | None |  |  |
| CD-ROM | Dell | DVD |  | 24X |
| Raid Controller | Dell | PERC4-DC, 128MB, 1 Internal, 1 External Channels |  | Raid 5 |
| Video | ATI | ATI-Rage IIc controller, |  |  |
| Ports | Dell | 1 serial, 2 USB |  |  |

## Memory Module Configuration

| Item | Manufacturer | Quantity | MB (Total) | Speed | Type |
| --- | --- | --- | --- | --- | --- |
| RAM | Various | 4 | 4.0 GB | 400MHz | DRAM |
| Cache | Intel | 2 | 2X2.0MB |  | L2 ECC |
| Video RAM | ATI | 1 | 8MB |  | SGRAM |