MSD Project Hazard Guide

Principal Investigator:

Building:		Room(s):

Instructions:

The MSD Project Hazard Guide is intended to simplify the process of identifying potential environment, health or safety concerns in Materials Sciences Division research laboratories. Each MSD Principal Investigator who maintains a lab at LBNL or supervises students, post-docs or staff who work in a lab at LBNL is asked to fill this form out annually. Your responses will be reviewed by Rick Kelly, the Division Facility and EH&S Manager, to determine appropriate safety controls are in place for your work.  MSD PIs who do not work at LBNL and do not supervise personnel who work at LBNL need not complete this form.

The Guide is composed of two parts:

Part 1: Complete by checking “yes” or “no” to 29 questions pertaining to the presence of potentially hazardous equipment, materials or operations in your lab. Please answer all 29 questions.

Part 2: Complete only those questions that correspond to questions in part 1 to which you answered “yes”.  For each requirement, please answer  “Y” for yes and “N” for no or NA  for “not applicable”. Where you answer “yes”, indicate the building/room number(s) where the potential hazard is present.

Please return these completed forms by the FWP due date by:

- Printing the form out (complete by hand) and returning to Tennessee Gock at LBNL MS 67R3207

- Printing the electronically completed form out and returning to Tennessee Gock at LBNL MS 67R3207

- E-mailing the electronically completed form to Tennessee Gock at TGock@lbl.gov.

Thank You.

Part 1: Check “Yes” or “No” to indicate if a hazard is present in your labs at LBNL.

(Note–Part 2 must be filled out only for items checked “Yes” in part 1).

|  | Topic | Hazard | Is this hazard present in your lab? (Answer Yes or No) |
| --- | --- | --- | --- |
| 1 | Lasers (Class 3b and 4) | Eye/skin damage, fire |  | Yes |
|  |  |  |  | No |
| 2 | “Health hazard” gases (toxic gases, corrosive gases) | Toxicity, corrosively |  | Yes |
|  |  |  |  | No |
| 3 | Flammable compressed or liquefied gas | Fire, explosion |  | Yes |
|  |  |  |  | No |
| 4 | Pyrophoric gas (compressed or liquefied) | Fire, explosion |  | Yes |
|  |  |  |  | No |
| 5 | Pressure systems (Other than DOT gas cylinders) | Pressure explosion |  | Yes |
|  |  |  |  | No |
| 6 | Energized Electrical R&D Work >50 volts (shock potential) | Shock, burn, arch flash |  | Yes |
|  |  |  |  | No |
| 7 | Highly reactive chemicals, air reactive chemicals | Fire, explosion, burns |  | Yes |
|  |  |  |  | No |
| 8 | Glovebox Work (other than purely for product protection) | Toxicity, reaction, fire |  | Yes |
|  |  |  |  | No |
| 9 | Confined Space entry (e.g., tanks, pits, vaults, vessels) | Oxygen deficiency, unsafe atmosphere, physical hazards |  | Yes |
|  |  |  |  | No |
| 10 | Potentially oxygen deficient space (other than confined spaces) | Oxygen deficiency |  | Yes |
|  |  |  |  | No |
| 11 | Potentially biohazardous materials (Risk group/biosafety level 2 or higher) | Infection |  | Yes |
|  |  |  |  | No |
| 12 | Liquid cryogen (LN, LHe) | Oxygen displacement, cold burns, pressure explosions |  | Yes |
|  |  |  |  | No |
| 13 | Human samples or information | Human subject protection |  | Yes |
|  |  |  |  | No |
| 14 | Vertebrate animal samples (not commercially available) | Protection of animal research subjects |  | Yes |
|  |  |  |  | No |

| 15 | X-rays Machine (capable of creating x-rays in air, intentionally or incidentally) | Irradiation |  | Yes |
| --- | --- | --- | --- | --- |
|  |  |  |  | No |
| 16 | Radionuclide work | Radiation exposure |  | Yes |
|  |  |  |  | No |
| 17 | Sealed radioactive sources | Radiation exposure |  | Yes |
|  |  |  |  | No |
| 18 | Welding, torch soldering, brazing other torch work (not lab use of Bunsen Burners or similar) | Fire, burns |  | Yes |
|  |  |  |  | No |
| 19 | Lifting devices (cranes, hoists and equipment used with them) | Lifting device failure resulting in injury |  | Yes |
|  |  |  |  | No |
| 20 | Loud noise (> 85 dBA) | Hearing damage |  | Yes |
|  |  |  |  | No |
| 21 | Respirator Use | Toxicity due to respirator misuse |  | Yes |
|  |  |  |  | No |
| 22 | Explosives | Explosion |  | Yes |
|  |  |  |  | No |
|  |  |  |  | No |
| 23 | Flammable solvents | Fire, explosion |  | Yes |
|  |  |  |  | No |
| 24 | Particularly hazardous substances (Potent carcinogens, reproductive toxins, highly acutely toxic materials) | Cancer, adverse reproductive outcomes, toxicity |  | Yes |
|  |  |  |  | No |
| 25 | Beryllium and compounds | Chronic beryllium disease |  | Yes |
|  |  |  |  | No |
| 26 | Strong magnetic fields (> 5 gauss in open area) | Interference with medical implants, accelerated metal items |  | Yes |
|  |  |  |  | No |
| 27 | Powerful RF/MW sources | Shock, heating and burns |  | Yes |
|  |  |  |  | No |
| 28 | Home Made or non-listed electrical equipment >50 volts | Shock |  | Yes |
|  |  |  |  | No |
| 29 | Hazardous, biological or radioactive waste generation | Improper waste disposal, exposure, infection |  | Yes |
|  |  |  |  | No |

Part 2: Detailed Hazard Inventory 
Note: Complete only those items to which you answered “Yes” in part 1.

|  | Topic | Key Requirements | Y/N NA | Requirement (Answer Yes, No, NA) | Indicate Applicable Room(s) |
| --- | --- | --- | --- | --- | --- |
| 1 | Lasers (Class 3b or 4) | An AHD is required for Class 3B or 4 lasers. Users must complete training and have laser eye exam. |  | 1) Do you have an authorized and current Activity Hazard Document for the use of the class 3b or 4 lasers? |  |
|  |  |  |  | 2) Have all laser users completed EHS280 (Laser safety training)? |  |
|  |  |  |  | 3) Have all laser users completed and received credit (EHS0288) for a laser eye exam (available from Health Services)? |  |
|  |  |  |  | 4) For class 4 lasers, are interlock systems tested at least semiannually and in proper operating order? |  |
| 2 | “Health Hazard” gases (compressed or liquefied toxic or corrosive gases) | An AHD is required for NFPA Health Hazard Gas Class 3 or 4 (very and extremely toxic), or Class 2 gases (moderately toxic) with poor warning properties (no odors or irritation). There is an exemption for very small cylinders of carbon monoxide (<27 cubic feet) if certain procedures are followed. |  | 1) Do you have an authorized and current Activity Hazard Document for the use of toxic gases, or has your use of a very small quantities (<27 cubic feet at ATP) of CO been authorized without an AHD? |  |
|  |  |  |  | 2) Have all users completed EHS0348, Chemical Hygiene and Safety training and EHS231, Compressed Gases and Cryogens? |  |
| 3 | Flammable compressed or liquefied Gas | An AHD is required if total quantity of gas in lab >400 cubic feet at ATP (2 standard large gas cylinders)? |  | 1) Do you possess >400 cubic feet of flammable gas at a time? |  |
|  |  |  |  | 2) Do you possess <400 cubic feet of flammable gas at a time? |  |
|  |  |  |  | 3) Have all users completed EHS0348, Chemical Hygiene and Safety training? |  |
| 4 | Pyrophoric gas (compressed/liquefied) | An AHD is required for any compressed or liquefied pyrophoric gas |  | 1) Do you have an authorized and current Activity Hazard Document for the use or this gas? |  |
|  |  |  |  | 2) Have all users completed EHS0348, Chemical Hygiene and Safety training? |  |
| 5 | Pressurized systems (Other than DOT gas cylinders) | High Hazard Pressurized Systems--An “Engineering Safety Note” or equal is required for high hazard systems, including: 1) All pressure vessel systems that contain irritant, toxic, infectious, and/or radioactive fluids at any pressure, other than DOE containers. 2) All pressure vessel systems with oxygen or flammable contents. 3) All pressurized equipment (including ASME-coded vessels that have been structurally modified) that operates at gas pressures over 1 MPa gauge (150 psig) or at liquid pressures over 10 MPa gauge (1,500 psig), or that contains over 100 kJ (75,000 ft-lb) of stored energy. Note: Generally does not include DOT gas cylinders and commercial pressure vessels built to ASME standards. |  | 1) Do you have a “high hazard” pressurized system? |  |
|  |  |  |  | 2) If yes to question 1, do you have an Engineering Safety Note for this high hazard system system? |  |
|  |  |  |  | 3) If yes to question 1, do you have an Activity Hazard Document for this high hazard pressurized system? |  |
|  |  |  |  | 4) Has everybody using any pressurized system completed EHS0231, Pressure and Cryogen Safety? |  |
| 6 | Energized Electrical R&D Work >50 volts (shock potential) | Work on energized electrical equipment (probing, testing, repairing, manipulating energized components) requires specific training that varies with the degree of hazard. Higher hazard work requires Division Director approval. |  | 1) Do individuals in your lab work on electrical equipment that is energized such that they may be exposed to >50 V and 5 mA of current (probing, testing, repairing, manipulating)? --Have all such individuals completed EHS256, 249, 116, 123, 267? --Have all such work been authorized by the Division Director? |  |
|  |  |  |  | 2) Do individuals in your lab work on electrical equipment that is energized such that that may ONLY be exposed to <50 volts and <1000 watts, or 50-20,000 V AND <5 mA of current? --Have all such individuals completed EHS0260 (Electrical Hazard Awareness)? |  |
| 7 | Highly reactive chemicals, air reactive chemicals | An AHD may be required. Each operation involving highly reactive chemicals must be individually reviewed to determine if an AHD is required. Examples include the use of alkali metals, pyrophoric materials, unstable materials, extreme oxidizers. |  | 1) Do you have an authorized and current AHD for this work? |  |
|  |  |  |  | 2) If no AHD, have you had an assessment conducted by the EH&S Division or the MSD EH&S Manager to determine the need for an AHD for this work? |  |
|  |  |  |  | 3) Have all users completed EHS0348, Chemical Hygiene and Safety training? |  |
| 8 | Glovebox Work (other than purely for product protection) | An AHD may be required. Each operation involving the use of a glove box must be individually reviewed to determine if an AHD is required. |  | 1) Do you have an authorized and current AHD for this work? |  |
|  |  |  |  | 2) If no AHD, have you had an assessment conducted by the EH&S Division or the MSD EH&S Manager to determine the need for an AHD for this work? |  |
| 9 | Confined Spaces Entry (e.g., tanks, pits, vaults, vessels) | An AHD may be required. Some confined spaces require permits to enter, others do not. A confined space is defined as: 1) Hard to enter/exit 2) Not intended for occupancy 3) Big enough to allow physical entry. If the confined space also has the potential to contain atmospheric or physical hazards of any type, it is a permit-required space. |  | 1) Do you have a permit-required confined space? |  |
|  |  |  |  | 2) Do you have a non-permit required confined space? |  |
|  |  |  |  | 3) If yes to question 1, do you have an authorized and current AHD for this work? |  |
|  |  |  |  | 4) If no AHD, have you had an assessment conducted by the EH&S Division or the MSD EH&S Manager to determine the need for an AHD for this work? |  |
| 10 | Potentially oxygen deficient space (other than confined spaces) | AHD may be required if oxygen level may go lower than 18% in a credible event (e.g. quench, earthquake, spill) |  | 1) Do you have an authorized and current AHD for this work? |  |
|  |  |  |  | 2) If no AHD, have you had an assessment conducted by the EH&S Division or the MSD EH&S Manager to determine the need for an AHD for this work? |  |
| 11 | Potentially biohazardous materials (Risk group/biosafety level 2 or higher) | A Biological Use Authorization may be required for organisms classified as “Risk group 2” or higher and rDNA work. May apply to bacteria, fungi, virus, parasite, animal tissue including blood, primate cell lines, any material that could be contaminated with these such as blood or tissue. |  | 1) Do you have an approved and current Biological Use Authorization (BUA)? |  |
|  |  |  |  | 2) If no BUA, have you had an assessment conducted by the EH&S Division or the MSD EH&S Manager to determine the need for an BUA for this work? |  |
|  |  |  |  | 3) Have users completed EHS739 (Biosafety)? |  |
|  |  |  |  | 4) Have users of potentially infectious primate tissue, including blood, completed EHS0735 (Bloodborne pathogen training)? |  |
| 12 | Liquid Cryogen (LN, LHe) | An AHD may be required. Use large quantities of LN or LHe may require an AHD. Use of cryogen in superconducting systems may require an AHD. |  | 1) Do you use more than 10 liters of liquid cryogen? |  |
|  |  |  |  | 2) Do you use a superconducting system that contains > 10 liters of cryogen? |  |
|  |  |  |  | 3) Do you have an authorized and current AHD for this work? |  |
|  |  |  |  | 4) If no AHD, have you had an assessment conducted by the EH&S Division or the MSD EH&S Manager to determine the need for an AHD for this work? |  |
|  |  |  |  | 5) Have all cryogen users completed EHS0231, Compressed Gas and Cryogen Safety? |  |
|  |  |  |  | 6) Do you have cryo gloves and eye/face protective devices available in all locations where liquid cryogen is used? |  |
|  |  |  |  | 7) Do you have need to transport >5 liters of liquid cryogen in an elevator? |  |
| 13 | Human samples or information | Human Subjects Committee approval may be required for research where: Any type of biological sample is obtained from living persons who can be identified as the donor. 2. Identifiable personal information obtained from any living persons (e.g. health history, food consumption). |  | 1) Are your human materials identifiable (tracable to the donor)? |  |
|  |  |  |  | 2) If yes to question 1, do you have a current approval/exemption from the Human Subjects Committee to use human samples or information? |  |
|  |  |  |  | 3) Have individuals using human materials completed EHS740 and the refresher training EHS742, as necessary? |  |
| 14 | Vertebrate animal samples (not commercially available) | Animal Welfare Committee approval required when: Working with vertebrate animals Working with samples from vertebrate animals, even if the animals are not at LBNL Primary animal cell lines |  | 1) Do you have a current approval to use animal materials from the Animal Welfare Committee? |  |
| 15 | X-rays Machine (capable of creating x-rays in air, intentionally or incidentally) | An X-ray Authorization or AHD may be required. Equipment designed to, or capable of, producing X-rays in air require an X-Ray Authorization and an X-ray engineering review. X-ray machines that can only produce X-rays in a continuous vacuum usually do not require any formal authorization. Machines that produce incidental X-rays (e.g. ion implanter, accelerator, electron microscope) may need an AHD. |  | 1) Do you have an approved and current X-Ray Use Authorization (XA) or Activity Hazard Document (AHD)? |  |
|  |  |  |  | 2) Have users of this equipment completed the training specified on the XA or AHD? |  |
| 16 | Radionuclide work | A Radiation Work Authorization (RWA) or Low Activity Source Authorization (LAS) is generally required. |  | 1) Do you have a current and authorized RWA or LAS for this work? |  |
|  |  |  |  | 2) Have individuals who work with radionuclides completed EHS0400 and other training specified on the RWA or LAS? |  |
| 17 | Sealed radioactive sources | A Sealed Source authorization is generally required |  | 1) Do you have a current and authorized Sealed Source Authorization (SSA) for this work? |  |
|  |  |  |  | 2) Have individuals working with the source been trained as specified in the SSA? |  |
| 18 | Welding, torch soldering, brazing other torch work (not lab use of Bunsen Burners or similar) | A “Hot Work Permit” is required from the Fire Department. |  | 1) Do you obtain a “Hot Work Permit” for all use of open flame other than lab use of Bunsen and similar burners? |  |
|  |  |  |  | 2) Have all users of such equipment completed EHS535 “Hot work” training? |  |
| 19 | Lifting devices (cranes, hoists and equipment used with them) | Annual inspection may be required. Lifting devices must generally be inspected and labeled annually by Facilities. Inspection by users is also required before use. Shackles and hoist rings may require periodic non-destructive testing. |  | 1) Have all of your lifting devices been inspected and tagged within the last year? |  |
|  |  |  |  | 2) Have all users of the lifting device completed the following required training? --EHS210 <2 tons --EHS206 >2 tons |  |
| 20 | Loud noise (> 85 dBA) | Exposure measurement, medical examination and hearing protectors may be required. If the noise is loud enough to interfere with speech, a noise measurement by EH&S is required. IF the noise averages >85 dBA, annual hearing testing and the use of hearing protectors is required. |  | 1) Have sources of loud noise been evaluated by EH&S to determine if the noise level is potentially hazardous (>85 dBA) |  |
|  |  |  |  | 2) Have all individuals potentially exposed to loud noise on a regular basis been medically examined (EHS285), provided with hearing protective devices and completed training (EHS0273)? |  |
| 21 | Respirator Use | Training, fit testing and medical approval is generally required. Respirator users must be medically approved by Health Services and trained and fit tested by EH&S. |  | 1) Have users of respirators completed EHS310 training, fit testing of the respirator and received a medical approval to wear a respirator (or EH&S has waved some of these requirements in the case of “voluntary use” of the respirator)? |  |
| 22 | Explosives | Work with explosives is generally not permitted at LBNL. Exceptions may be granted for very minute quantities, which may require an AHD. |  | 1) Do you have an authorized and current AHD for this work? |  |
|  |  |  |  | 2) If not to question 1, have you had an assessment conducted by the EH&S Division or the MSD EH&S Manager to determine the need for an AHD for this work? |  |
|  |  |  |  | 3) Have users completed EHS0348, Chemical Hygiene and Safety? |  |
| 23 | Flammable Solvents | Generally no formal authorization of work is required. An AHD may be required for large-scale, high temperature or unusual use of flammable solvents. However, use of unusually large quantities (>10 liters) in equipment or experiments should be reviewed by the MSD EH&S Manager. |  | 1) Do you work with large quantities of solvents at one time (>10 liters)? |  |
|  |  |  |  | 2) If you answered yes to question 1, have you had an assessment conducted by the EH&S Division or the MSD EH&S Manager to determine the need for an AHD for this work? |  |
| 24 | Particularly hazardous substances (Potent carcinogens, reproductive toxins, highly acutely toxic materials) | An AHD may be required in some cases. PI must specifically authorize work with particularly hazardous materials. Substances of high acute toxicity which may be fatal or cause damage to target organs as a result of a single exposure, or are capable of causing intense irritation that can result in pulmonary edema should be classified as particularly hazardous. This also includes chemicals that can cause chemical asphyxia, and severe, acute systemic (body-wide) poisoning. Examples are chemical warfare agents or surrogates, biotoxin,s cyanide salts, dimethyl mercury, hydrofluoric acid, acrolein.. Potent carcinogens that always require review by the EH&S Manager are: 4-Nitrodiphenyl [92-93-3] Ethylenimine [151-56-4] alpha-Naphthylamine [134-32-7] beta-Propiolactone [57-57-8] Chloromethyl methyl ether [107-30-2] 2-Acetylaminofluorene [53-96-3] 3,3'-Dichlorobenzidine [91-94-1] 4-Dimethylamino-azobenezene [60-11-7] Bis(chloromethyl)ether [542-88-1] N-Nitrosodimethylamine [62-75-9] beta-Naphthylamine [91-59-8] Benzidine [92-87-5] 4-Aminodiphenyl [92-67-1] Aflatoxins |  | 1) Do you have an authorized and current AHD for this work? |  |
|  |  |  |  | 2) If you answered no to question 1, have you reviewed and authorized the use of particularly hazardous substances? |  |
|  |  |  |  | 3) Have you had an assessment conducted by the EH&S Division or the MSD EH&S Manager to determine the need for an AHD for this work? |  |
|  |  |  |  | 4) Have users completed EHS0348, Chemical Hygiene and Safety? |  |
| 25 | Beryllium and compounds | An AHD may be required. All uses of beryllium compounds and beryllium metal must be reviewed by the MSD EH&S Manager and the EH&S Division. EH&S must approve the purchase of beryllium and compounds. Individuals with potential beryllium exposure may be offered medical survaillance. |  | 1) Have you had an assessment conducted by the EH&S Division or the MSD EH&S Manager to determine the need for an AHD for this work? |  |
|  |  |  |  | 2) Have users completed EHS0348, Chemical Hygiene and Safety and EHS0342, Beryllium Safety? |  |
| 26 | Strong magnetic fields (> 5 gauss in open area) | An AHD may be required. Strong magnetic fields, typically associated with superconducting magnets, need to be reviewed to establish the 5 Gauss limit on the fringe field and to establish safety controls. |  | 1) Do you have an AHD addressing strong magnetic field safety? |  |
|  |  |  |  | 2) If no to question 1. have you had an assessment conducted by the EH&S Division or the MSD EH&S Manager to determine the need for an AHD for this work? |  |
|  |  |  |  | 3) Have you established the extent of the magnetic field at the 5 Gauss level and demarcated this area? |  |
|  |  |  |  | 4) Is the room posted to warn individuals of the magnetic field hazards? |  |
| 27 | Powerful RF/MW sources | An assessment is appropriate for equipment that can generate strong RF/MW fields (typically >500 watts) in occupied lab space, or that could leak into occupied lab space. |  | 1) Have you had an assessment of the potential for exposure to RF/MW radiation? |  |
| 28 | Home Made or non-listed electrical equipment >50 volts | An evaluation by the Electrical Engineering Group is required. All electrical equipment over 50 volts that is not listed by a “Nationally recognized testing laboratory” such as the Underwriters Lab (UL) [but excluding “CE”], including all home made electrical equipment, must reviewed by the LBNL AHJ program. |  | 1) Have you had an evaluation of the electrical safety of this equipment by the Electrical Engineering Group or EH&S? |  |
| 29 | Hazardous, biological or radioactive waste generation | Hazardous chemical waste storage is a type of “formally authorized” activity and is subject to quarterly inspections. Hazardous, radioactive and biological wastes are managed somewhat differently. |  | 1) Have generators of hazardous or radioactive waste completed training, as applicable? --EHS604, 614 (Chemical) --EHS622 (Radioactive or mixed) --EHS730 (Biohazardous) |  |
|  |  |  |  | 2) Have managers of Satellite accumulation Areas (SAAs) completed the SAA Management Class EHS614? |  |
|  |  |  |  | 3) Is a system in place to ensure that waste is disposed of within 6 months of generation, is properly stored and is appropriately labeled? |  |

Part 2A

Line Management Authorization of Work

As the Principal investigator, I authorize the scope of work described in this Project Hazard Guide and Line Management Authorization Record.

Name:		Date: