HOOVER DAM STAINLESS PIPE, FITTINGS & ASSOCIATED MATERIALS LIST.

ALL MATERIALS ARE TO BE EXACT OR BETTER:

PIPE & FITTINGS: TP 304/304L ASTM A312/ ASME SA 312 STAINLESS STEEL.ALL PIPE WELDED SEAM. FLANGES: SA 182/182M B16.5 F304/304L. BOLTING MATERIALS: ASTM A-193 (B8M) & ASTM A-194(B8). HILTI ANCHOR BOLTS ARE 316 S.S.; ONLY CARBON STEEL PRESENT IN THIS REQUEST IS ATOM ARC 7018 WELDING ROD.

Item                Quantity          Description

1.                    4 ea.               6”-400# RF Blind Flg. TP 304L S.S.

2.                    2 ea.               2 ½”-300# RFWN STD. FLG. TP 304L S.S.

3.                    2 ea.               2 ½” 45º Ell. STD, BW LR, TP 304L S.S.

4.                  10 ea.               3”- 300# RFWN STD. FLGS. TP 304L S.S.

5.                  12 ea.               6”- 300# RFWN STD. FLGS. TP 304L S.S.

6.                  12 ea.               3” 90º ELL. SCH. 40 LR, BW, TP 304L

7.                    6 ea.               3” 45º ELL. SCH. 40 LR, BW, TP 304L

8.                    2 ea.               3” X 2 ½” Reducing Tee, Sch. 40, BW, TP 304L

9.                  14 ea.               6” 90º ELL. SCH. 40 LR, BW, TP 304L

10.                  6 ea.               6” 90º ELL. SCH. 20 LR, BW, TP 304L

11.                10 ea.               6” 45º ELL. SCH. 40 LR, BW, TP 304L

12.                  6 ea.               6” 45º ELL SCH. 20 LR, BW, TP 304L

13.                12 ea.               6”-150# RFWN Std. FLGS. TP 304L S.S.

14.                  4 ea.               6”-150# MSS LAP JOINT FLG.TP 304L

15.                  8 ea.               6” Sch.40 Lap Joint Stub End Long Type “B” MSS TP 304L

16.                  4 ea.               4” Sch.40, Lap Joint Stub End Long Type “B” MSS TP304L

17.                  2 ea.               6” X 3” Concentric Reducer Std. BW, TP 304L

18.                  2 ea.                  8” X 4” Concentric Reducer Std. BW, TP304L

19.                  80 LF                3” SCH. 40 TP304/TP304L ASTM A312 PIPE

20.                140 LF                6” SCH. 40 TP304/TP304L ASTM A312 PIPE

21.                  60 LF                6” SCH. 20 TP304/TP304L ASTM A312 PIPE

22.                  20 LF                8” SCH. 40 TP304/304L ASTM A312 PIPE

23.                  20 LF                8” SCH. 20 TP304/304L ASTM A312 PIPE

STRUCTURAL SUPPORT MATERIAL STAINLESS STEEL

24.                  20 LF               ¼” X 3” BAR STOCK TP304L STAINLESS STEEL

25.                200 LF               ½” X 2 ¼” BAR STOCK TP304L STAINLESS STEEL

26.                  20 LF               3/8” X 8” BAR STOCK TP304L STAINLESS STEEL

27.                  80 LF               6”X 3.33”X .359   14.90 Wt. per/Ft. S.S. I Beam

28.                  80 LF               3” X 3” X ¼” TP304L TEE STAINLESS STEEL

29.                240 LF               ¼” X 3’ X 3” TP304L ANGLE

30.                240 LF               7/8” TP304L ROUND STOCK STAINLESS STEEL

FIBERGLASS GRATING MOLDED (Architectural Grade Resin)

31.                   6 ea.                MS S-200 2” 4’ X 12’ SFF Green Panels

32.               100 ea.                Type J 2” Grating Fasteners 316 Stainless Steel

33.               100 ea.                Type M 2” Grating Fasteners 316 Stainless Steel

(McNichols Co. Fiberglass Catalog (FG07) Pgs. 4 & 19) – or EQUAL

.

34.                 16 ea.                 3”, Light Three Bolt Pipe Clamp, 304L S.S.

35.                 16 ea.                 6”, Light Three Bolt Pipe Clamp, 304L S.S.

36.                 16 ea.                 8”, Light Three Bolt Pipe Clamp, 304L S.S.

37.                 16 ea.               10”, Light Three Bolt Pipe Clamp, 304L S.S.

38.                150 ea.              ½”-13 X 3 ¾” HILTI ANCHOR BODY BOLTS 316 S.S.

Or EQUAL

39.                200 ea.            5/8”-11 X 4 ¾” HILTI ANCHOR BODY BOLTS 316 S.S.

Or EQUAL

A 193 B8M CL.2       FULL THREAD STAINLESS STEEL STUD BOLTS

40.                  80 ea.                5/8”- 11 X 3 ½” 316 S.S. STUD BOLTS

41.                128 ea.                ¾”- 10 X 4” 316 S.S. STUD BOLTS

42.                128 ea.                ¾”- 10 X 4 ¼” 316 S.S. STUD BOLTS

43.                  48 ea.                ¾”- 10 X 4 ½” 316 S.S. STUD BOLTS

44.                  48 ea.                ¾”- 10 X 4 ¾” 316 S.S. STUD BOLTS

45.                  82 ea.                7/8”-9 X 6”      316 S.S. STUD BOLTS

46.              1200 ea.          5/8”- 11 XH, NUTS 304 S.S. 1 1/16” Across the Flats

47.              1000 ea.          ¾”- 10 XH HEX NUTS 304 SS 1 ¼” Across the Flats

48.                160 ea.          7/8”-9 XH HEX NUTS 304 SS 1 7/16” Across the Flats

SOCKET WELD FITTINGS: STAINLESS STEEL

49.                  12 ea.         3”-150# RF Socket Weld Flgs. TP 304L S.S.

50.                  12 ea.       12-8 X ¾” 3M (3000#) Thread-O-Let SA 182 F304/304L

51.                  40 ea.       ¾” 90º ELL. 3M (3000#) SA 182 F304/304L

52.                  24 ea.       ¾” STRAIGHT TEES 3M (3000#) SA 182 F304/304L

53.                  32 ea.       ¾” 45º ELL. 3M (3000#) SA 182 F304/304L

JBS  SWAGE NIPPLES 304/304L STAINLESS STEEL

54.                   8 ea.        ¾” Plain End X ½” NPS Thrd. Sch. 40 304/304L Swage Nipple

55.                   8 ea.        ¾” Plain End X 3/8” NPS Thrd. Sch. 40 304/304L Swage Nipple

SWAGELOK SUPPORT KIT MOUNTING SYSTEM

Or EQUAL

56.                  50 ea.        3/8” Tube 304-S1-PP-6T Support System w/strut nuts

57.                100 ea.       S-SO-SN STRUT NUTS (Strut Rail Mounting System)

58.                  50 ea.         Weld Plate (Elongated) 304-S1-WPE

59.                  10 ea.        SS-600-7-4  3/8” Tube to ¼” NPT Female Connector

60.                  10 ea.       SS-600-1-4  3/8” Tube to ¼” NPT Male Connector

61.                  10 ea.        SS-600-1-6  3/8” Tube to 3/8” NPT  Male Connector

62.                  10 ea.       SS-600-6  3/8” Tube Union

STAINLESS STEEL TUBING 304/304L

63.              40 LF     3/8” OD 304 Stainless Steel .035 Wall Tubing TP SA 304/304L 312

FLANGE INSULATING GASKET KITS

64.                    4 ea.       6”- 300#  Flange Insulating Gasket Kit

65.                    4 ea.     10”- 150# Flange Insulating Gasket Kit

WELDING ROD: STAINLESS STEEL & CARBON STEEL

Exactly as specified below, NO SUBSTITUTIONS !

66.                 224 Lbs. TRADE NAME: ARCALOY 308L PLUS

ROD TYPE: PLUS 308L-17      ROD SIZE: 3/32” X 12”

PACKAGING: 8LB. Pull Tab Vacuum Sealed Metal Cans

Specifications: AWS A5.4 E308/308L-17

ASME SFA 5.4 E308/308L-17

Certified by C.W.B. CSA W48-01 E308/308L

67.                160 Lbs. TRADE NAME: ARCALOY 308L PLUS

ROD TYPE: PLUS 308L-17      ROD SIZE: 1/8” X 14”

PACKAGING: 8LB. Pull Tab Vacuum Sealed Metal Cans

Specifications: AWS A5.4 E308/308L-17

ASME SFA 5.4 E308/308L-17

Certified by C.W.B. CSA W48-01 E308/308L

VALVES : GLOBE & BALL

68.              8 ea.    ¼” 316 Stainless Steel Ball valve Blow Out Proof Part No. 76-101-27

APOLLO 2 pc. Ball Valves – or EQUAL

69.              8 ea.   3/8” 316 Stainless Steel Ball valve Blow Out Proof Part No. 76-102-27

APOLLO 2 pc. Ball Valves – or EQUAL

70.            24 ea.     ½” 316 Stainless Steel Ball valve Blow Out Proof Part No. 76-102-27

APOLLO  2 pc. Valves – or EQUAL

71.                    1 ea.                3”-300# Globe Valve Stainless Steel Fig. 2475

(AZ. Plug Sump Jet Pump Throttle Valve)

72.                    1 ea.                6” -300# Globe Valve Stainless Steel Fig. 2629

(NV. Plug Sump Jet Pump Throttle Valve)