BLOOD CLOT NONINVASIVE DESTRUCTION  USING

FOCUSED MODULATED HIGH POWER ULTRASOUND (FMPUL)

Dr. Yoseph Bar-Cohen, JPL, 818-354-2610, yosi@jpl.nasa.gov

Dr. Robert Siegel, CSMC, 310-855-3849,siegel@csmc.edu

Willem Grandia, 714-631-7672, wgrandia@aol.com

BACKGROUND

FMPUL is a system that is currently under development jointly by the Jet Propulsion Lab (JPL), Cedars-Sinai Medical Center (CSMC) and Quality Materials Inspection (QMI).   FMPUL (patent pending) is being designed to become a medical tool for noninvasive destruction of blood clots at confined areas.  The potential commercial application of FMPUL is enormous and could become a standard equipment of every health care facility.

The FMPUL system employs high power ultrasound at a level that cyclically produce cavitation bubbles and implosively collapsing them to damage clots.  In general, the lower the ultrasound frequency the larger and more powerful the cavitation bubbles however, due to diffraction limits, the focus diameter becomes larger.  Our FMPUL technology is aimed to overcoming this limitation by producing large cavitation bubbles (typical to low frequencies) at a small focal area (typical to high frequencies).  This technology is the subject of an STTR proposal that we recently submitted to NIH where we are trying to prove the following hypotheses:

Focused Modulated low and high frequencies ultrasound will produce large cavitation bubbles only at the focal zone of the high frequency.

In-vitro application of FMPUL will effectively destroy blood clots at the focus that is defined by the high frequency component of the ultrasonic wave.

In-vivo application of FMPUL will cause minimum collateral damage to normal tissues.

PROGRESS

We developed an electronic breadboard that allows inducing simultaneously two signals with frequencies in the range from 10 KHz to at least 10 MHz range.  A photographic view of the drive breadboard is shown in Figure 1.

Figure 1: A photographic view of the FMPUL dual frequency drive electronic breadboard.

To induce the necessary two frequencies, a 10 cm diameter piezoelectric lens was produced which exhibits resonance at the approximate levels of 20KHz, 250KHz and 750KHz.  Preliminary results have been encouraging with regards to the ability to produce cavitation and introducing simultaneous signals at the low and high KHz frequency range.  In Figure 2a, A schematic view is shown of the lens and the effect that was observed on the surface of the water tank (in which the lens was immersed).  In Figure 2b, a photographic view is given in angle towards the water column that is formed by the FMPUL breadboard.

| Figure 2a: A schematic view of the FMPUL lens and the observed effect. | Figure 2b: A photographic view of the FMPUL lens and the water column that is formed. |
| --- | --- |

January 30, 1997.