| §40.51 The Breath Alcohol Technician (BAT) |
| --- |
| COMPLIANCE | CRITERION | GUIDANCE |
|  YES  NO  N/A §40.51(a) | Does the operator’s plan specify what training the BAT has received? | Look at training certifica-tion documentation. |
|  YES  NO  N/A §40.51(a)(1)  YES  NO  N/A §40.51(a)(2)  YES  NO  N/A §40.51(a)(3)  YES  NO  N/A §40.51(a)(4)  YES  NO  N/A §40.51(a)(5) | Does documentation certify that training included EBT methodology, operation, calibration checks, fundamentals of breath analysis for alcohol, principles of obtaining breath sample, interpreting and recording results? Does the training course meet the minimum requirements to NHTSA’s model course? Does the documentation demonstrate competence in operation of EBT that the BAT will use? Does the documentation indicate the BAT is proficient to conduct external calibration checks of each EBT used by the operator? Does the operator plan provide for additional training for the BAT when new changes in technology occur? |  |

COMMENTS

| §40.51 The Breath Alcohol Technician (BAT) |
| --- |
| COMPLIANCE | CRITERION | GUIDANCE |
|  YES  NO  N/A §40.51(a)(6)  YES  NO  N/A §40.51(b) | Does the plan stipulate what documentation is available to establish training and proficiency of each BAT used to conduct alcohol tests? Does the plan specify that a supervisor shall not serve as the BAT, if that supervisor makes the reasonable cause determination? |  |
| §40.53 Devices to be used for breath alcohol tests |
|  YES  NO  N/A §40.53(a)  YES  NO  N/A §40.53(b) | Does the plan specify that only EBTs listed on the CPL will be used? Does the plan specify that an EBT must be used for conducting the confirmation test? |  |

COMMENTS

| §40.55 Quality assurance plans for EBTs |
| --- |
| COMPLIANCE | CRITERION | GUIDANCE |
|  YES  NO  N/A §40.55(a)  YES  NO  N/A §40.55(a)  YES  NO  N/A §40.55(b)(1)  YES  NO  N/A §40.55(b)(2)  YES  NO  N/A §40.55(b)(3) | Does the operator follow the Quality Assurance Plan (QAP) for the EBT used? If this service is contracted out does the operator ensure that the QAP is being followed according to Section 40.55? Does the operator maintain specific records to demonstrate the EBTs are subjected to required external calibration checks? Does the plan specify when an EBT shall be taken out of service and under what circumstances it may be placed back into service? Does the operator ensure that required inspection, maintenance and calibration checks are conducted by manufacturer or maintenance representative? | The operator should have a contractual agreement/ letter with the agent providing this service. The operator should periodically monitor this process. Each employer or its agent shall maintain and allow access to these records. |

COMMENTS

| §40.55 Quality assurance plans for EBTs |
| --- |
| COMPLIANCE | CRITERION | GUIDANCE |
|  YES  NO  N/A §40.55(b)(4)  YES  NO  N/A §40.55(c) | Does the operator maintain records of external calibration? Does the operator specify proper storage of EBT when it is not in use at testing site? |  |
| §40.57 Locations for breath alcohol testing §40.97 Location for non-evidential alcohol screening tests |
|  YES  NO  N/A §§40.57(a)/40.97(a)  YES  NO  N/A §§40.57(a)/40.97(a)  YES  NO  N/A §§40.57(b)/40.97(a)  YES  NO  N/A §§40.57(c)/40.97(a)  YES  NO  N/A §§40.57(d)/40.97(a) | Does the testing site afford visual and aural privacy to the individual being tested? Does the testing site have all necessary equipment and materials to conduct the tests? Does the operator use a fixed site and/or a mobile collection facility? Does the plan specify that unauthorized personnel are not allowed in an area where there is visual or aural access to test results? Does the plan specify circumstances for conducting tests outdoors to provide visual and aural privacy to the greatest extent allowable? |  |

COMMENTS

| §40.57 Locations for breath alcohol testing §40.97 Location for non-evidential alcohol screening tests |
| --- |
| COMPLIANCE | CRITERION | GUIDANCE |
|  YES  NO  N/A §§40.57(e)/40.97(b)  YES  NO  N/A §§40.57(e)/40.97(b) | Does the plan specify that the BAT/STT shall supervise only one employee’s use of the EBT at a time? Does the plan specify that the BAT/STT shall not leave the alcohol testing location while the testing process is in progress? |  |
| §40.59 Breath alcohol testing form §40.99 Non-evidential alcohol screening test |
|  YES  NO  N/A §§40.59(a)/40.99  YES  NO  N/A §§40.59(b)/40.99 | Does the plan prescribe that only the DOT-approved breath alcohol testing form shall be utilized? Does the plan specify the following distribution of the form: Copy (1) White - maintained by employer Copy (2) Green - maintained by employee Copy (3) Blue - maintained by BAT |  |

COMMENTS

| §40.61 Preparation for breath alcohol testing |
| --- |
| COMPLIANCE | CRITERION | GUIDANCE |
|  YES  NO  N/A §40.61(a)  YES  NO  N/A §40.61(a)  YES  NO  N/A §40.61(b) | Does the plan specify that the employee shall provide a positive identification through use of photo ID or by employer representative? Does the plan specify that the employee may request the BAT to provide positive identification? Does the plan indicate that the BAT shall explain the testing process to the employee? |  |
| §40.63 Procedures for screening tests using EBTs |
|  YES  NO  N/A §40.63 | Does the plan contain specific instructions for conducting the screening test that include:  BAT shall complete step 1.  Employee shall complete step 2 and sign.  Refusal to sign shall equal refusal to test.  Individual mouthpiece shall be opened.  BAT shall attach mouthpiece to EBT.  Employee shall blow forcefully in EBT. | Note: Non-evidential device, saliva device, or evidential breath testing device instructions. |

COMMENTS

| §40.63 Procedures for screening tests |
| --- |
| COMPLIANCE | CRITERION | GUIDANCE |
|  YES  NO  N/A §40.63(e)(4)  YES  NO  N/A §§40.63(f)/40.93(f)  YES  NO  N/A §§40.63(g)/40.93(f) |  EBT shall indicate result.  BAT shall show employee results.  BAT completes step 3.  BAT affixes test result to breath alcohol form.  Results of less than 0.02. BAT signs in step 3.  Refusal to sign form is not a refusal.  Should printed result not match displayed result, BAT shall note discrepancy.  Employee and BAT shall initial.  Test is considered invalid. Does the plan specify that test results of less than 0.02 shall be transmitted to operator in a confidential manner? Does the plan specify if test result is 0.02 or greater that a confirmation test shall be conducted? Does the plan specify procedures if a different BAT will conduct the confirmation test? | Note: When using old form, the screening test technician (STT) will note in the “Remarks” section that a breath, non-evidential or saliva device was used. |

COMMENTS

| §40.65 Procedures for confirmation tests |
| --- |
| COMPLIANCE | CRITERION | GUIDANCE |
|  YES  NO  N/A §40.65(a)  YES  NO  N/A §40.65(b)  YES  NO  N/A §40.65(c)  YES  NO  N/A §40.65(d)  YES  NO  N/A §40.65(e)  YES  NO  N/A §40.65(f)  YES  NO  N/A §40.65(g) | Does the plan provide guidance for new BAT to conduct confirmation test? Does the plan specify procedures to be followed in conducting a confirmation test? Does the plan specify that a new breath alcohol testing form shall be used? Does the plan specify that an air blank shall be conducted prior to confirmation test? Does the plan specify procedures for EBTs that are taken out of service? Does the plan specify what procedures should be taken if the screen and confirmation test results are not identical? Does the plan specify how the results of the EBT test shall be presented to the employee? |  |

COMMENTS

| §40.65 Procedures for confirmation tests |
| --- |
| COMPLIANCE | CRITERION | GUIDANCE |
|  YES  NO  N/A §40.65(h)  YES  NO  N/A §40.65(i)  YES  NO  N/A §40.65(i) | Does the plan specify procedures following completion of the confirmation test? Does the plan address the requirements to transmit the results to the operator in a confidential manner? Does the plan specify procedures to be used in the transmission of the test results? |  |
| §40.67 Refusals to test and uncompleted tests |
|  YES  NO  N/A §40.67(a)  YES  NO  N/A §40.67(b) | Does the plan specify procedures concerning an employee’s refusal to test? Does the plan specify procedures concerning the inability to complete a screening or confirmation alcohol test? |  |

COMMENTS

| §40.69 Inability to provide an adequate amount of breath |
| --- |
| COMPLIANCE | CRITERION | GUIDANCE |
|  YES  NO  N/A §40.69(a)/40.93(f)/40.105(a)  YES  NO  N/A §§40.69(b)/40.105(a)  YES  NO  N/A §§40.69(c)/40.105(a)  YES  NO  N/A §§40.69(d)/40.105(a)  YES  NO  N/A §§40.69(d)/40.105(a) | Does the plan specify procedures concerning an employee’s inability to provide an adequate amount of breath for testing? Does the plan provide instructions for requiring the employee to attempt again to provide adequate amount of breath for testing? Does the plan specify what comments shall be noted on the test form should the employee fail to provide an adequate amount of breath for testing? Does the plan specify what procedures shall be followed if an employee is unable to provide an adequate amount of breath for testing? Does the plan specify procedures regarding the referral of the employee to a physician for a medical evaluation regarding the inability to provide an adequate amount of breath for testing? |  |

COMMENTS

| §40.79 Invalid tests |
| --- |
| COMPLIANCE | CRITERION | GUIDANCE |
|  YES  NO  N/A §40.79 | Does the plan specify under what conditions that a breath alcohol test shall be considered as invalid? |  |
| §40.81 Availability and disclosure of alcohol testing information |
|  YES  NO  N/A §§40.81(a)/40.109/40.111  YES  NO  N/A §§40.81(c)/40.109/40.111  YES  NO  N/A §§40.81(d)/40.109/40.111  YES  NO  N/A §§40.81(h)/40.109/40.111 | Does the plan specify how the records shall be maintained in a secure location? Does the plan specify under what circumstances a covered employee may have access to their records? Does the plan specify procedures which permit access to facilities used for testing and authorized types of officials? Does the plan specify procedures concerning the release of information on a covered employee to other officials involved in any action that arises by the employee or on their behalf? |  |

COMMENTS

| §40.91 Authorization for use of non-evidential alcohol screening devices |
| --- |
| COMPLIANCE | CRITERION | GUIDANCE |
|  YES  NO  N/A §40.91 | Does the operator’s plan specify the only non-evidential screening devices that are listed in the CPL are used? |  |
| §40.93 Screening Test Technician (STT) |
|  YES  NO  N/A §40.93(b)  YES  NO  N/A §40.93(b)  YES  NO  N/A §40.93(c)  YES  NO  N/A §40.93(d) | Does the operator’s plan specify what training the STT has received? Does the training course meet the minimum requirements of NHTSA’s model course? Does documentation certify that training included changes, contrasts, or other readings that are indicated on the device in terms of color? Does the plan provide for additional training for STT when new changes in technology occur? |  |

COMMENTS

| §40.93 Screening Test Technician (STT) |
| --- |
| COMPLIANCE | CRITERION | GUIDANCE |
|  YES  NO  N/A §40.93(e)  YES  NO  N/A §40.93(f) | Does the documentation indicate that the STT is proficient in using the non-evidential screening device? Does the plan specify that the supervisor shall not serve as the STT, if that supervisor makes the reasonable cause determination? |  |
| §40.95 Quality assurance plans (QAP) for non-evidential screening devices |
|  YES  NO  N/A §40.95(a)  YES  NO  N/A §40.95(c) | Does the operator follow the QAP for the non-evidential screening device that is used? Does the plan specify that the operator or its agents shall comply with the QAP and manufacturer’s instructions? |  |
| §40.101 Screening test procedures |
|  YES  NO  N/A §40.101(a) | Does the plan specify that the employee shall provide a positive identification through use of photo ID or by employer representative? |  |

COMMENTS

| §40.101 Screening test procedures |
| --- |
| COMPLIANCE | CRITERION | GUIDANCE |
|  YES  NO  N/A §40.101(a)  YES  NO  N/A §40.101(a)  YES  NO  N/A §40.101(b)  YES  NO  N/A §40.101(b)  YES  NO  N/A §40.101(d)(2)  YES  NO  N/A §40.101(d)(3) | Does the plan specify that the employee may request the STT provide positive identification to the employee? Does the plan indicate that the STT shall explain the testing process to the employee? Does the plan specify that the STT complete Step 1 and the employee complete Step 2 and sign? Does the plan specify that refusal to sign shall equal refusal to test? Does the plan specify that the STT check expiration date on device and verify date with employee? Does the plan specify that the STT open sealed device in presence of employee? |  |

COMMENTS

| §40.101 Screening test procedures |
| --- |
| COMPLIANCE | CRITERION | GUIDANCE |
|  YES  NO  N/A §40.101(d)(4)(5) | Does the plan address how the employee or STT will swab mouth of employee? |  |
|  YES  NO  N/A §40.101(d)(6)  YES  NO  N/A §40.101(d)(9)  YES  NO  N/A §40.101(e)  YES  NO  N/A §40.101(e)  YES  NO  N/A §40.101(e) | Does the plan specify that the STT insert the swab into the device? Does the plan specify that the STT read the results and show the results to the employee? Does the plan specify that the STT complete Step 3 of the form? Does the plan specify that an employee’s refusal to sign Step 4 of the form is not a refusal? Does the plan specify that the STT note in “Remarks” section that a saliva device was used? | Results of less than 0.02, STT signs and dates Step 3? |

COMMENTS

| §40.103 Refusals to test and uncompleted tests |
| --- |
| COMPLIANCE | CRITERION | GUIDANCE |
|  YES  NO  N/A §40.103(a) | Does the plan specify that a refusal to test is considered by one of the following?: 1. Failure to sign in Step 2 of form; 2. Refusal to provide saliva or breath sample; 3. Refusal to provide adequate amount of breath; or, 4. Refusal to cooperate in a way that prevents successful completion of test. |  |
|  YES  NO  N/A §40.103(a)  YES  NO  N/A §40.103(b) | Does the plan specify that test is terminated and the employer notified if one of the above occurs? Does the plan specify that a new screening test should be conducted if a test is not completed for other reasons than those stated above? |  |

COMMENTS

| §40.105 Inability to provide an adequate amount of breath or saliva |
| --- |
| COMPLIANCE | CRITERION | GUIDANCE |
|  YES  NO  N/A §40.105(b) | Does the plan specify procedures concerning an employee’s inability to provide an adequate amount of saliva for testing? |  |
|  YES  NO  N/A §40.105(b)  YES  NO  N/A §40.105(b) | Does the plan provide instructions for requiring the employee to attempt again to provide an adequate amount of saliva for testing? Does the plan specify what procedures shall be followed if an employee is unable to provide an adequate amount of saliva for testing? |  |
| §40.107 Invalid tests |
|  YES  NO  N/A §40.107(a)  YES  NO  N/A §40.107(b) | Does the plan specify what would constitute an invalid test for a non-evidential saliva device? Does the plan specify what would constitute an invalid test for non-evidential alcohol testing? |  |

COMMENTS