4.5

01-05

gi

gi - Secondary Power Arresters

Manufacturer	Catalog Number

Main Service Voltage:	125/250

Signal and Power	Power Only

ACT Communications(5)		-	452-120-XOX

452-240-XOX

453-120-XOX

453-240-XOX

453-277-XOX

453-480-XOX

454-120-XOX

454-240-XOX

455-120-XOX

455-240-XOX

455-277-XOX

455-480-XOX

472-120-X0X

472-240-X0X

473-120-X0X

473-277-X0X

Advanced Protection Technologies			-	TE/100	TE/1000

TE/200	TE/2000

TE/300	TE/3000

TE/600	TE/6000

Approved Lightning Protection Co.			-	SA-20

Atlantic Scientific		ZoneSentinel Series	#12100

"               "	#12101

"               "	#12102

"               "	#12103

ZoneMaster 75 Series	#11200

"               "	#11201

"               "	#11202

"               "	#11203

ZoneMaster 140 Series	#17100

"               "	#17101

"               "	#17102

"               "	#17103

EFI Corporation			   -	MBP120EFI-Y   (4)

General Electric			   -	9L15DCB002

See page 5.5.2 for notes

4.5.1

01-05

gi

gi - Secondary Power Arresters

Manufacturer	Catalog Number

Main Service Voltage:	125/250 (Cont'd)

Signal and Power	Power Only

Joslyn				-	1250-__(7)

1260-__(8)

1261-__(8)

1265-__(9)

1266-__(10)

1450-85

1452-__(11)

1455-__(12)

Northern Technologies, Inc.		-	MMK-BX(6)-OA   (1)A

DMK-BX(6)-    (2)   (1)A

Other Service Voltages

Signal and Power	Power Only

AC Data Systems	-	Surge Blox

Advanced Protection Technologies	-	TE/400	TE/4000

TE/500	TE/5000

Atlantic Scientific	ZoneSentinel Series	#12104

"             "	#12105

"             "	#12106

ZoneMaster 75 Series	#11204

"             "	#11205

"             "	#11206

ZoneMaster 140 Series	#17104

"             "	#17105

"             "	#17106

Joslyn	-	1250-32-E

1263-21

1451-85

1456-__(13)

Northern Technologies, Inc.	-	MMK-   (3)X(6)-OA   (1)A

DMK-   (3)X(6)-  (2)    (1)A

Tesco	-	TES 1120Y

Transtector	-	ACP3000

CPS Series

APEX Series

MCP Series

SLIM LINE 120V

SLIM LINE 240V

See page 5.5.2 for notes.

4.5.2

01-05

gi

Notes:

(1)Blank space replaced with S, A, B, or C.

(2)Blank space replaced with 10 or 20.

(3)Blank space replaced with C,D, E, G, H, or J.

(4)Blank space replaced with 1, 2, or 3.

(5)(X) denotes manufacturer’s catalog number for optional lamps, alarming, and enclosures.

(6)X may be replaced by an E for external enclosure or an I for internal enclosure type.

(7)Blank space replaced with 32, 33, or 33-E.

(8)Blank space replaced with 21, 41, 45, or 85.

(9)Blank space replaced with 21, 41, 45, 85, 85-PM, or 85-PMT.

(10)Blank space replaced with 45 or 85.

(11)Blank space replaced with 21, 41, 80, 85, or 85-PM.

(12)Blank space replaced with 21, 41, 45, 80, 85, or 85-PM.

(13)Blank space replaced with 41, 45, 80, 85, or 85-PM.