1  OFM1020 OPTICS MODULE

PART NUMBER	DESCRIPTION	MANUFACTURER

-------------------------------------------------------------------------------

T356K686K016AS	TANTALUM CAPACITOR	KEMET

041-38228		ELECTROLYTIC CAPACAITOR	PHILIPS

DD-104			CERAMIC CAPACITOR	PHILIPS

DD-103			CERAMIC CAPACITOR	PHILIPS

041-33478		ELECTROLYTIC CAPACITOR	PHILIPS

CZ15A104M		CERAMIC CAPACITOR	PHILIPS

CZ20A103M		CERAMIC CAPACITOR	PHILIPS

681-58689		CERAMIC CAPACITOR	PHILIPS

SR215C104KAA	CERAMIC CAPACITOR	AVX

T356A225K016AS	TANTALUM CAPACITOR	KEMET

T356A155K025AS	TANTALUM CAPACITOR	KEMET

12062R104K9BB2	CERAMIC CAPACITOR	PHILIPS

T356A335K016AS	TANTALUM CAPACITOR	KEMET

1206R122K9BB2	CERAMIC CAPACITOR	PHILIPS

041-38108		ELECTROLYTIC CAPACITOR	PHILIPS

037-30221		ELECTROLYTIC CAPACITOR	PHILIPS

T350A105K025AS	TANTALUM CAPACITOR	KEMET

1N5234B		ZENER DIODE	MOTOROLA

1N5278B		ZENER DIODE	MOTOROLA

1N5221B		ZENER DIODE	MOTOROLA

LM385Z-2.5		REFERENCE	NATIONAL

1N914			DIODE		MOTOROLA

MBD301		DIODE		MOTOROLA

GFA-1/20		50mA FUSE		LITTLEFUSE

251002			2A FUSE		LITTLEFUSE

142-0701-211		SMA LAUNCHER	EF JOHNSON

MLSS100-3		HEADER		PANDUIT

MJE340		TRANSISTOR	MOTOROLA

2N3906			TRANSISTOR	MOTOROLA

2N3904			TRANSISTOR	MOTOROLA

TIP122			TRANSISTOR	MOTOROLA

TIP127			TRANSISTOR	MOTOROLA

PR01J8K20		POWER METAL FILM RES	PHILIPS

PRO1J1K00		POWER METAL FILM RES	PHILIPS

MRS25F 100R-110K	METAL FILM RESISTOR	PHILIPS

CR25 51R-220K	CARBON RESISTORS	PHILIPS

IBT4 24R-51R		MOLDED COMP RESISTORS	ITW

3296W-1-103		10 TURN POT.	BOURNS

3296W-1-502		10 TURN POT.	BOURNS

3296W-1-102		10 TURN POT.	BOURNS

3296W-1-202		10 TURN POT.	BOURNS

LM317T		REGULATOR	NATIONAL

LM7905CT		REGULATOR	NATIONAL

LM358P		OPAMP		NATIONAL

MC3479P		STEPPER MOTOR DRIVER	MOTOROLA

3473-6000		PLUG		3M

3910-2000T		HEADER		3M

2 OFM1020 POWER SUPPLY                    04/11/98

Ref     PartType                	Part #          	Manufacturer    	Supplier

-------------------------------------------------------------------------------

C1      .1uF ceramic            	SR215C104KAA    	AVX             	Future

C2      .1uF ceramic            	SR215C104KAA    	AVX            	 Future

C3      .1uF ceramic           	 SR215C104KAA    	AVX             	Future

C4      .1uF ceramic            	SR215C104KAA    	AVX             	Future

C5      .1uF ceramic            	SR215C104KAA    	AVX             	Future

C6      2.2uF 25V tantalum      	T356B225K025AS  	Kemet           	Electrosonic

C7      2.2uF 25V tantalum      	T356B225K025AS  	Kemet           	Electrosonic

C8      220uF 50V electrolytic  	SME50VB221M10X16LL   UCC  	Electrosonic

C9*     10uF 35V tantalum       	T356G106K035AS  	Kemet           	Electrosonic

C10*    .1uF ceramic           	 SR215C104KAA    	AVX             	Future

C11*    .1uF 35V tantalum       	T356A104K035AS  	Kemet           	Electrosonic

C12     .1uF 35V tantalum       	T356A104K035AS  	Kemet           	Electrosonic

C13     2.2uF 25V tantalum     	 T356B225K025AS  	Kemet           	Electrosonic

C14     10uF 35V tantalum      	 T356G106K035AS  	Kemet           	Electrosonic

C15     .1uF ceramic            	SR215C104KAA    	AVX             	Future

D1      switching diode         	1N914                           		Electrosonic

D2      switching diode         	1N914                           		Electrosonic

D3      schottky rectifier      	90SQ040         	IR              	Electrosonic

D4      rectifier diode         	1N4001          	IR              	Electrosonic

D5*     39V zener diode         	1.5KE39A        	Motorola        	Future

D6      39V zener diode         	1.5KE39A        	Motorola        	Future

D7      schottky rectifier      	90SQ040         	IR             	 Electrosonic

D8      switching diode         	1N914                           		Electrosonic

D9      switching diode         	1N914                           		Electrosonic

DC1     DC-DC converter         	6005/12T24L     	CDI             	Andy Bauman

DC2*    DC-DC converter         	1512S24         	CDI             	Andy Bauman

DC3     270V 10mA DC-DC convert XSIS2831        	Wall            	Wall

DC4     160V 50mA DC-DC convert XSIS2833        	Wall            	Wall

F1      3.15A circuit breaker   	1410-L210-L2F1-S02-3.15A  ETA   	Electrosonic

F2      5A circuit breaker      	1410-L210-L2F1-S02-5A     ETA   	Electrosonic

F3*     2A slow blow fuse       	473002          	Littelfuse     	 Newark

F4      5A slow blow fuse       	473005          	Littelfuse      	Newark

F5      0.5A slow blow fuse     	473.5           	Littelfuse      	Newark

F6      0.5A slow blow fuse     	473	Littelfuse      	Newark

P1      3 pin header            	MLSS156-3       	Panduit         	Electrosonic

P2      2 pin header           	 MLSS156-2       	Panduit         	Electrosonic

P3      5 pin header            	MLSS156-5       	Panduit         	Electrosonic

P4      5 pin header            	MLSS156-5       	Panduit         	Electrosonic

P5      4 pin header            	MLSS100-4      	 Panduit         	Electrosonic

P6      2 pin header            	MLSS156-2      	 Panduit         	Electrosonic

P7      13 pin header           	MLSS156-13      	Panduit         	Electrosonic

P8*     3 pin header            	MLSS100-3       	Panduit         	Electrosonic

P9      2 pin header            	MLSS100-2      	 Panduit         	Electrosonic

P10     4 pin header           	 MLSS100-4       	Panduit         	Electrosonic

Q1      PNP transistor          	2N3906                          		Electrosonic

Q2      NPN transistor          	2N4401                          		Electrosonic

Q3      FET                     	VN2222LL       	 Motorola        	Future

R1      1/4W carbon resistor    	CR25 10k        	Philips         	Electrosonic

R2      1/4W carbon resistor    	CR25 4.7k       	Philips         	Electrosonic

R3      1/4W carbon resistor    	CR25 10k        	Philips         	Electrosonic

R4      1/4W carbon resistor    	CR25 390k       	Philips         	Electrosonic

R5      1/4W carbon resistor    	CR25 100k       	Philips         	Electrosonic

R6      1/4W carbon resistor    	CR25 47k      	Philips         	Electrosonic

R7      1/4W carbon resistor    	CR25 4.7k       	Philips         	Electrosonic

R8      1/4W carbon resistor    	CR25 100R       	Philips         	Electrosonic

R9      .6W metal film resistor 	MRS25F243R     	 Philips         	Electrosonic

R10     .6W metal film resistor	 MRS25F732R     	 Philips         	Electrosonic

R11     .6W metal film resistor 	MRS25F121R      	Philips         	Electrosonic

R12     .6W metal film resistor 	MRS25F357R      	Philips         	Electrosonic

R13*    top adjust trimpot      	3296W-1-103     	Bourns          	Electrosonic

R14     1/4W carbon resistor    	CR25 4.7k       	Philips         	Electrosonic

R15*    .6W metal film resistor 	MRS25F243R      	Philips         	Electrosonic

R16*    .6W metal film resistor 	MRS25F750R      	Philips         	Electrosonic

R17     1k thermistor	135-102DAG-J01	Fenwall         	Electrosonic

R18     1/4W carbon resistor    	CR25 510R       	Philips         	Electrosonic

R19     1/4W carbon resistor	CR25 120R	Philips         	Electrosonic

RL1     DC relay                	MP240D3         	Crydom          	Electrosonic

RL2     AC relay                	CMX100D6        	Crydom          	Electrosonic

T1      120/240-20VAC trans     	160D20          	Hammond         	Electrosonic

U1      dual flip-flop          	MC14013BCP      	Motorola        	Future

U2      reset controller        	TL7705AIP       	TI              	Future

U3      full wave rectifier     	DF08            	IR              	Electrosonic

U4      adjustable regulator    	LM317LZ         	National        	Electrosonic

U5      -5V regulator           	LM333T          	National NO SUB 	Future

U6*     adjustable regulator    	LM317LZ         	National NO SUB	 Future

HS5     heatsink                	274-1AB         	Wakefield      	 Electrosonic

*Used only when DC2 provides power for the display.

3 0FM1020 LASER                  24/03/98

Ref     Part Type               	Part #          Manufacturer    	Supplier

------------------------------------------------------------------------------

C1,2    4700pF 200V CAP         	201R15W472MP4M  	JOHANSON        	UTECH

C3      6-25pF 100V VAR CAP     	9402-6         	 JOHANSON        	ELECTROSONIC

C4      12pF 100V CAP           	101R15N120KP4  	 JOHANSON        	UTECH

D1      SCHOTTKY DIODE         	 MMBD301LT1      	MOTOROLA       	 FAI

Q1      SWITCHING TRANSISTOR    	MMBT2369LT1     	MOTOROLA       	 FAI

R1      2K METAL FILM RES       	MRS25F2K00      	PHILIPS         	ELECTROSONIC

R2,3    50 OHM RESISTOR         	WA4PG-50RDF-S  	 MINISYSTEMS     MINISYSTEMS

T1      5k OHM THERMISTOR       	140-502-LAG-A01 	FENWALL         	ELECTROSONIC

SMB CONNECTOR           	5101-5007-09   	OMNISPECTRA     MACOM

3 PIN PANDUIT (2)       	CE100F26-3      	PANDUIT         	ELECTROSONIC

3 PIN PANDUIT           	CE100F24-3      	PANDUIT         	ELECTROSONIC

TEC                     	CP1.4-35-10L-1  	MELCOR          	MELCOR

OFM1020 LASER BLOCK (BRONZE)

OFM1020 LASER HEATSINK (ALUMINUM)

4 OFM1020 ENCLOSURE                               15/06/98

QTY     Part Type               		Part #          	Manufacturer    		Supplier

--------------------------------------------------------------------------

1      RIBBON CABLE CLAMP	FCM1-A-C14      	PANDUIT         	ELECTROSONIC

1      CARD CAGE (ALUMINUM)                   	KAMPRESS       	KAMPRESS

1      CARD CAGE STRAP (ALUMINUM)              	KAMPRESS        	KAMPRESS

1      BOTTOM CHASSIS (ALUMINUM)               	KAMPRESS      	KAMPRESS

1      OFM1020 BOX             	WMC-00773-01    	WAYNE METALCRAFT

1      2 PIN CORD              	RKW20-678/06F   	LUMBERG         	GLOBETRON

1      3 PIN CORD              	RKW30-638/06F   	LUMBERG         	GLOBETRON

1      2 PIN BULKHEAD      	RSF20/13.5-03/0.3M	LUMBERG         	GLOBETRON

1      3 PIN BULKHEAD      	RSF30/13.5-05/0.5M  	LUMBERG         	GLOBETRON

2      COVER                   		RKV   		LUMBERG         	GLOBETRON

2      NUTS                    		RSKF     	LUMBERG         	GLOBETRON

1      AC-DC POWER SUPPLY FE24S-100T      	WALL            	WALL

1      FAN 12V                 		USTF602012MW    	HIPAC           	HIPAC

1      1/2 SIZE DX4 COMP BD    486VH/100/8     	FORMOSA         	BBD

1      EL DISPLAY              	996-0270-00     	PLANAR          	BBD

1      5 PIN HEADER-5 PIN DIN  		KEYBOARD CABLE  	BBD

1      BACKPLANE 4 SLT RA PWR  T505R-04        	TEKNOR         	 MICS

1      MS-DOS V6.22 PLUS ENHANCED TOOLS (KERNEL)               ANNASOFT

1      3 PIN POWER PLUG (YELLOW)                         	CANADIAN TIRE

1      AUX POWER PLUG (4 PIN)  5200S04F000       	LEEOCO

4      AUX POWER PINS          5214TCB00A0           	LEEOCO

HOUSING			09-50-3131	MOLEX

09-50-3121

09-50-3051

09-50-3031

09-50-3021

5200S04F000	LEOCO

HEADERS			CE100F26-2	PANDUIT

CE100F26-4

CE100F22-4

CE100F22-8

CE156F24-2

CRIMP TERMINAL		08-52-0072	MOLEX

5214TCB00A0	LEOCO

HOOKUP WIRE		8505 VAR COLORS	BELDEN

8524

8522

FEMALE DISCONNECTS	DNF18-250FIB	PANDUIT

TERMINALS		PN18-6F	PANDUIT

STYROFOAM INSULATION	131226	DOW	(HOME DEPOT PART #)

THERMAL COMPOUND	120-2	WAKEFIELD

SILICONE ADHESIVE	RTV162	GE

EPOXY		615		DEXTER

EPOXY		14210		DEVCON

POTTING COMPOUNDE-60NC	LOCTITE

CYANO		42050		LOCTITE

62.5/125 FIBER		001K41-31141-24	SIECOR

PIGTAIL		AP109100-9G6-01	RIFOCS

PIGTAIL ADAPTOR	APC-10	RIFOCS

WIREMARKERS		12350		BRADY

ELECTRICAL TAPE	05007-06132	3M

SOLDER		24-6040-0023	KESTER

FILTER WINDOW		ADC200 GL-1L	FOSTA-TEK OPTICS

TAKPAK/ACCELERATOR	382/712	LOCTITE

SARAN WRAP

FERRITE BEADS		12-K		FERRONKIT

COAX			8216 010	BELDEN

COAX			8700 10	BELDEN

COAX			83265 009	BELDEN

THREADLOCKER		222MS		LOCTITE

CABLE CLAMP		2943484-1000	SCOTCHFLEX

WIRE WRAP		N135		PANDUIT

SILICONE RUBBER	10-150		GC CHEMICALS

SPIRAL WRAP		T25F		PANDUIT

MAGNET WIRE	8052		BELDEN

5 OFM1020 FRONT PANEL

REF DES	PART NUMBER	PART DESCRIPTION	MANUFACTURER	SUPPLIER

----------------------------------------------------------------------------

C1,6,9	12062R104K9BB2		.1uF 50V CAPACITOR	PHILIPS		ELECTROSONIC

C10

C2,4,5	T491C106K016AS		10uF 16V CAPACITOR	KEMET		ELECTROSONIC

C7,8

C3, 	T491A105K016AS		1uF 16V CAPACITOR	KEMET		ELECTROSONIC

J1	1x2 HEADER	    	PART NOT INSERTED

J2	3910-2000T		10 PIN HEADER		SCOTCHFLEX, ELECTROSONIC

J3	MLSS100-4		4 PIN HEADER			PANDUIT, ELECTROSONIC

R1	4816P-T02-103	10kRES NETWORK			BOURNS, ELECTROSONIC

R2	RC02H1M0		1M SMT RESISTOR		PHILIPS		ELECTROSONIC

U1	TC54VC4502ECB	RESET 			TELCOM		DIGIKEY

U2	S25C8-OPT-CFN	KEYBOARD ENCODER	USAR	USAR

U3	MC145407DW		RS232 DRIVER			MOTOROLA, FAI

X1	PX400SCT-ND		4MHz CERAMIC RESONATOR	PANASONIC, DIGIKEY

3473-6000		2x10 PLUG			SCOTCHFL, EXELECTRONIC

6 OFM1020 DELAY GENERATOR

PART NUMBER	PART DESCRIPTION	MANUFACTURER

--------------------------------------------------------------

RCO2H 10R0-18K2	SMT RESISTORS	PHILIPS

BLU1206 100R		SMT RESISTORS	RCD COMPONENTS

BLU1206 750R		SMT RESISTORS	RCD COMPONENTS

BLU1206 2K2		SMT RESISTORS	RCD COMPONENTS

ILB1206190B25	INDUCTOR			VISHAY

T4918475K016AS	TANTALUM CAPACITOR	KEMET

12062R104K9BB2	CERAMIC CAPACITOR	PHILIPS

B37872K5103K62	CERAMIC CAPACITOR	SIEMENS

131-1701-371		SMB LAUNCHER		EF JOHNSON

051-010-153		HEADER			PANDUIT

8215 81-1		SOCKET			AMP

MMBD914LT1		DIODE				MOTOROLA

MMBT3904LT1		TRANSISTOR			MOTOROLA

LMC64621M		REFERENCE			NATIONAL

LM2991S		REGULATOR			NATIONAL

SN74LS245DW	TRANSCEIVER		TEXAS INSTRUMENTS

LM2937ES-10		REGULATOR			NATIONAL

LM236AM-2.5		REFERENCE			NATIONAL

LM4040AIM-5.0	REFERENCE				NATIONAL

HSMS2818#L30	DIODE				HEWLETT PACKARD

HFA3096B		TRANSISTOR			HARRIS

OP213ES		OPAMP			ANALOG DEVICES

AD8001AR		OPAMP			ANALOG DEVICES

DAC312HS		D/A CONVERTER		ANALOG DEVICES

IS82C54		CONTROLLER			HARRIS

BZX84C4V7		ZENER				MOTOROLA

LM285			REFERENCE			NATIONAL