ATTACHMENT B

ADVISORY LIST OF HIGH RISK DEVICES*

THAT ARE INTENDED FOR SURGICAL IMPLANT OR SUSTAINING LIFE

ANESTHESIOLOGY DEVICES								Page 2

CARDIOVASCULAR DEVICES								Page 3

DENTAL DEVICES										Page 6

EAR, NOSE, AND THROAT DEVICES							Page 6

GASTROENTEROLOGY-UROLOGY DEVICES						Page 6

GENERAL AND PLASTIC SURGERY DEVICES						Page 8

GENERAL HOSPITAL AND PERSONAL USE DEVICES					Page 8

NEUROLOGICAL DEVICES								Page 9

OBSTETRICAL AND GYNECOLOGICAL DEVICES					Page 11

OPHTHALMIC DEVICES									Page 11

ORTHOPEDIC DEVICES									Page 11

*SUPPLEMENTAL INFORMATION (#)

Dialysis Systems & Accessories

Peritoneal Dialysis Systems and Accessories					Page 17

Hemodialysis Systems and Accessories					Page 18

*High Risk Devices are Class III and Class II devices that are life-sustaining/life-supporting devices (based on the Advisory List of Critical Devices – Federal Register, March 17, 1988) or significant risk devices, as defined by 21 CFR 812.3(m) for Investigational Devices Exemptions.

NOTE:		The Quality System Regulation no longer refers to critical devices.  However, 21 CFR 820.65 requires traceability for all devices that meet the same definition as devices on the Advisory List of Critical Devices - 1988.

PART 868 -- ANESTHESIOLOGY DEVICES

Device

No. on

CFR or	Classification Name	Original	Former device name, or

FR Cite	of Device	List	Additional Information

1.	868.1200	Indwelling blood oxygen 	 5		Analyzer, oxygen,

partial pressure (P02)				Neonatal Invasive

analyzer.

2.	868.2375	Breathing frequency		--		Apnea monitor.

monitor.

3.	868.5090	Emergency airway needle.	43		Needle, emergency airway.

4.	868.5160(a)	Gas machine for anes-		42		Machine, gas anesthesia/

thesia						analgesia, complete systems.  											Section 868.  5160(b) Gas

machine for analgesia is exempt

from  critical device requirements.

5.	868.5240	Anesthesia breathing		19		Circuit, breathing (w/

circuit.						connector, adaptor y-piece).

6.	868.5400	Electroanesthesia		6,62		Apparatus, electroanesthesia;

apparatus.					and stimulator, electroanesthesia.

7.	868.5440	Portable oxygen		32		Generator, oxygen,

generator.					portable. #See Pg 25

8.	868.5470	Hyperbaric chamber.		--		---

(Monoplace)

9.	868.5610	Membrane lung for long-	41		Lung, membrane (for long-term

term pulmonary support.			pulmonary support).

10.	868.5650	Esophageal obturator.		2		Airway, esophageal (obturator).

11.	868.5720	Bronchial tube.		66		Tube, bronchial (w/wo

connector).

12.	868.5730	Tracheal tube.			67		Tube, tracheal (w/wo connector).

13.	868.5740	Tracheal/bronchial		68		Tube, tracheal/bronchial,

differential ventila-				differential/ventilation

tion tube.					(w/wo connector).

14.	868.5750	Inflatable tracheal		27		Cuff, tracheal tube, inflatable.

tube cuff.

15.	868.5800	Tracheostomy tube and	69		Tube, tracheostomy

tube cuff.					(w/wo connector).

16.	868.5810	Airway connector.		 25		Connector, airway (extension).

17.	868.5830	Autotransfusion apparatus.	  9		Autotransfusion apparatus.

18.	868.5895	Continuous ventilator.		73,56		Ventilator, continuous (respirator)

and respirator, neonatal ventilator

19.	868.5905	Noncontinuous		75		Ventilator, noncontinuous

ventilator (IPPB).				(respirator).

20.	868.5915	Manual emergency		58,70		Manual emergency ventilator;

ventilator.					and resuscitator, pulmonary, manual.

21.	868.5925	Powered emergency		70		Unit emergency oxygen and

ventilator.					resuscitation.

22.	868.5935	External negative		74		Ventilator, external body negative

pressure ventilator.				pressure, adult (cuirass).

PART 870 - CARDIOVASCULAR DEVICES

23.	870.1025	Arrhythmia detector		29		Detector and alarm,

and alarm.					arrhythmia.

24.	870.1330	Catheter guide wire.		--		For use with percutaneous

transluminal coronary angioplasty

catheters. (See #56.)

25.	870.1360	Trace microsphere.		--		---

26.	870.1750	External programmable	34		Generator, pulse, pace-

pacemaker pulse				maker, external,

generator.					programmable.

27.	870.1800	Withdrawal-infusion		54		Pump, withdrawal/

pump.						infusion.

28.	870.3250	Vascular clip.			22		Clip, vascular.

29.	870.3260	Vena cava clip.		23		Clip, vena cava.

30.	870.3300	Arterial embolization		--		---

device.

31.	870.3375	Cardiovascular		31		Filter, intravascular,

intravascular filter.				cardiovascular

32.	870.3450	Vascular graft			47,52		Prosthesis, arterial graft

prosthesis of less than				synthetic, and prosthesis

6-millimeters diameter.			vascular graft.

33.	870.3460	Vascular graft			47,52		Prosthesis, arterial graft

prosthesis of 6 milli-				synthetic, and prosthesis,

meters and greater diameter.			vascular graft.

34.	870.3470	Intracardiac patch or		--		---

pledget made of poly-

propylene, polyethylene

polyethylene tere-

phthalate, or polytetra-

fluoroethylene.

35.	870.3535	Intra-aortic balloon and	10		Balloon, intra-aortic,

control system.				and control system.

36.	870.3545	Ventricular bypass		15		Bypass, ventricular

(assist) device.					(assist).

37.	870.3600	External pacemaker		33		Generator, pulse,

Pulse generator.				pacemaker, external.

38.	870.3610	Implantable pacemaker	35		Generator, pulse, pace-

pulse generator.				maker, implantable.

39.	870.3620	Pacemaker lead adaptor.	--		---

40.	870.3650	Pacemaker polymeric		--		---

mesh bag.

41.	870.3670	Pacemaker charger.		--		---

42.	870.3680	Cardiovascular permanent	30		Electrode, pacemaker,

or temporary pacemaker,			permanent and temporary

electrode.

43.	87O.3700	Pacemaker programmers.	--		---

44.	870.3710	Pacemaker repair or		--		---

replacement material.

45.	870.3800	Annuloplasty ring.		--		---

46.	870.3850	Carotid sinus nerve		--		---

stimulator.

47.	870.3925	Replacement heart valve.	71		Valve, heart replacement.

48.	870.4320	Cardiopulmonary		--		---

bypass pulsatile flow

generator.

49.	870.4350	Cardiopulmonary		44		Oxygenator, cardiopulmonary.

bypass oxygenator.

50.	870.4360	Nonroller-type			13		Blood pump, cardiopulmonary

cardiopulmonary bypass			bypass, non-roller.

blood pump.

51.	870.4370	Roller-type			14		Blood pump, cardiopulmonary

cardiopulmonary				bypass roller type.

bypass blood pump.

52.	870.5200	External cardiac		24,57		Compressor, external, cardiac

compressor.					powered, and resuscitator, cardiac

mechanical.

53.	870.5225	External counter-		26		Counter-pulsating device,

pulsating device.				external.

54.	870.5300	DC-defibrillator		28		Defibrillator, DC-powered

(including paddles).				(including paddles).

55.	870.5550	External transcutaneous	45		Pacemaker, cardiac, external

cardiac pacemaker				transcutaneous.

(noninvasive).

56.	---		Percutaneous transluminal	--		Premarket approval device.

coronary angioplasty

(PTCA) balloon dilation

catheter.

57.	---		Automatic Implanted		--		Premarket approval device.

Cardioverter Defibril-

lator System.

PART 872 -- DENTAL DEVICES

58.	872.3640	Endosseous implant.		--		---

PART 874 -- EAR, NOSE, AND THROAT DEVICES

59.	874.3620	Ear, nose and throat		--		---

synthetic polymer

material.

60.	874.3695	Mandibular implant		--		---

facial prosthesis.

61.	874.3730	Laryngeal prosthesis		49		Prosthesis, Laryngeal

(Taub design).

62.	874.3820	Endolymphatic shunt		--		---

63.	874.3850	Endolymphatic shunt tube	--		---

with valve.

64.	874.3930	Tympanostomy tube with	--		---

semipermeable membrane

65.	---		Ear, nose, throat natural	--		Pre-Amendments Device;

polymer - collagen				not classified.

material.

PART 876 -- GASTROENTEROLOGY-UROLOGY DEVICES

66.	876.3350	Penile inflatable implant.	--		---

66a	876.3630	Penile rigidity implant	--		---

67.	876.5270	Implanted electrical		--		---

urinary continence

device.

68.	876.5540   	A-V shunt cannula.		--		Included in blood access

device and accessories.

69.	876.5630   #	Peritoneal dialysis		46		Peritoneal dialysis system,

system and accessories.			automatic delivery

70.	876.5820   #	Hemodialysis system and	36		Dialysate concentrate added.

and accessories.

Dialysate concentrate

Hollow fiber capillary

dialyzers Disposable dialyzers

High permeability dialyzers

Parallel flow dialyzers

Single needle dialysis set

Dialysate delivery system

# See charts showing the critical/noncritical breakdown of peritoneal and hemodialysis systems on pages 17 and 18 of Attachment B.

70A	876.5860  #	High permeability				Dialysate concentrate added.

hemodialysis system.		36

71.	876.5870	Sorbent hemoperfusion	7		Apparatus, hemoperfusion,

system.					sorbent.

72.	876.5880	Isolated kidney perfusion 	--		---

and transport system

and accessories.

73.	876.5955	Peritoneo-venous shunt.	--		---

74.	46 FR 7566	Urethral sphincter		51		Prosthesis, urethra sphincter;

(1/23-/81)	prosthesis.					device-not known to be in

commercial distribution.

75.	46 FR 7566	Urethral replacement		55		Replacement, urethral.

(1/23/81)							Device not known to be

in commercial distribution.

PART 878 -- GENERAL AND PLASTIC SURGERY DEVICES

(The following are class III devices.  See 21 U.S.C. 360j(l).)

76.	42 FR 63474	Absorbable surgical		--		Class III transitional

(12/16/77)	sutures.					device.

77.	42 FR 63474	Nonabsorbable surgical	--		Class III transitional

(12/16/77)	sutures.					device.

78.	879.4520	Polytetrafluoroethylene	--		Class   III transitional

(Teflon) injectable.				device.

79.	878.3300	Surgical mesh.			--		---

80.	878.3500	Polytetrafluoroethylene	--		---

with carbon fibers

composite implant material.

81.	878.3530	Inflatable breast 		--		---

prosthesis

82.	878.3540	Silicone gel-filled breast	--		---

prosthesis.

83.	---		Implanted mammary 		510(k) device.

prosthesis of composite

saline and gel-filled

design.

84.	878.3610	Esophageal prosthesis.	48		Prosthesis, esophagus.

85.	878.3720	Tracheal prosthesis.		50		Prosthesis, trachea.

86.	878.4300	Implantable clip.		--		---

87.	878.4750	Implantable staple.		--		---

88.	---		Maxillofacial prosthesis.	--		ENT facial prosthesis, maxillofacial.

PART 880 - GENERAL HOSPITAL AND PERSONAL USE DEVICES

89.	880.5130	Infant radiant warmer.		12		Bed, radiant heat.

90.	880.5400	Neonatal incubator.		37		Incubator, neonatal ventilator.

91.	880.5410	Neonatal transport		--		---

incubator.

92.	880.5725	Infusion pump.		53		Term "cardiovascular" dropped since

not used in classification regulation

and devices not marketed as

"cardiovascular infusion pumps."

93.	--		Implanted infusion pump.	--		Premarket approval device.

PART 882 - NEUROLOGICAL DEVICES

94.	882.5030	Methyl methacrylate for	--		---

aneurysmorrhaphy.

95.	882.5150	Intravascular occluding	17		Catheter, intravascular

catheter.					occluding.

96.	882.5200	Aneurysm clip.		20		Clip, aneurysm.

97.	882.5225	Implanted malleable clip.	--		---

98.	882.5250	Burr hole cover.		--		---

99.	882.5300	Methyl methacrylate for	--		---

cranioplasty.

100.	882.5320	Preformed alterable		--		---

cranioplasty plate.

101.	882.5330	Preformed nonalterable	--		---

cranioplasty plate.

102.	882.5360	Cranioplasty plate fastener.	--		---

103.	882.5550	Central nervous system	59		Shunt, central nervous

fluid shunt and components.			system fluid and components.

104.	882.5820	Implanted cerebellar		60		Stimulator, cerebella,

stimulator.					implanted.

105.	882.5830	Implanted diaphragmatic/	61		Stimulator, diaphragmatic/

phrenic nerve stimulator.			phrenic nerve, implanted.

106.	882.5840	Implanted intracerebral/	63		Stimulator, intracerebral/

subcortical stimulator				subcortical, implanted

for pain relief.					(pain relief).

107.	882.5850	Implanted  spinal  cord	--		---

stimulator for  bladder

evacuation.

108.	882.5860	Implanted neuromuscular	--		---

stimulator.

109.	882.5870	Implanted peripheral nerve	--		---

stimulator for pain

relief.

110.	882.5880	Implanted spinal cord		--		---

stimulator for pain

relief.

111.	882.5880	Epidural spinal electrode.	--		Component of Implanted spinal cord

stimulator for pain relief (#110).

112.	882.5900	Preformed craniosynostosis	--		---

strip.

113.	882.5910	Dura substitute.		--		---

114.	882.5950	Artificial embolization	65		Thromboemboli, intravascular

device.						(artificial embolization device).

115.	---		Lyophilized human		--		Pre-Amendments device;

(cadaver) dura mater.				not classified.

116.	---		Stabilized epidural spinal	--		Premarket approval

electrode.					device.

117.	---		Implanted intracranial		--		Premarket approval

pressure monitor.				device.

118.	---		Totally implanted spinal	--		Premarket approval

cord stimulator for pain			device.

relief.

PART 884 - OBSTETRICAL AND GYNECOLOGICAL DEVICES

119.	884.5360	Contraceptive intrauterine	38		Intrauterine contraceptive

device (IUD) and intro-			device (IUD) and introducer.

ducer.

120.	884.5380	Contraceptive tubal		11		Band, tubal occlusion;

occlusion device (TOD)	21		Clip, tubal Occlusion;

and introducer.		72		Valve, tubal occlusion.

PART 886 - OPHTHALMIC DEVICES

121.	886.3300	Absorbable implant		--		---

(scleral buckling method)

122.	886.3400	Keratoprosthesis		39		Keratoprosthesis, non-custom

123.	886.3600	Intraocular lens		40		Lens, intraocular, ophthalmic;

Class III transitional device.

124.	886.3920	Eye valve implant		--		---

PART 888    ORTHOPEDIC DEVICES

125.	888.3000	Bone Cap.			--		---

126.	888.3010	Bone fixation cerclage.	--		---

127.	888.3020	Intramedullary fixation	--		---

rod.

128.	888.3025	Passive tendon prosthesis.	--		---

129.	888.3027	Polymethylmethacrylate	--		Class III transitional 						(PMMA) bone cement.			device.

130.	888.3030	Single/multiple component	--		---

metallic bone fixation

appliances and acces-

sories.

131.	888.3040	Smooth or threaded 		--		---

metallic bone fixation

fastener.

132.	888.3050	Spinal interlaminal		--		---

fixation orthosis.

133.	888.3060	Spinal intervertebral body	--		---

fixation orthosis.

134.	888.3100	Ankle joint metal/composite	-- 		---

semi-constrained

cemented prosthesis.

135.	888.3110	Ankle joint metal/polymer	--		---

semi-constrained

cemented prosthesis.

136.	888.3120	Ankle joint metal/polymer	--		---

non-constrained

cemented prosthesis.

137.	888.3150	Elbow joint metal/metal or	--		---

metal/polymer constrained

cemented prosthesis.

138.	888.3160	Elbow joint metal/polymer	--		---

semi-constrained

cemented prosthesis.

139.	888.3170	Elbow joint radial (hemi-	--		---

elbow) polymer prosthesis.

140.	888.3180	Elbow joint humeral (hemi-	--		---

elbow) metallic

uncemented prosthesis.

141.	888.3200	Finger joint metal/metal	--		---

constrained uncemented

prosthesis.

142.	888.3210	Finger joint metal/metal	--		---

constrained cemented

prosthesis.

143.	888.3220	Finger joint metal/polymer	--		---

constrained cemented

prosthesis.

144.	888.3230	Finger joint polymer con-	--		---

strained prosthesis.

145.	888.3300	Hip joint metal constrained	--		---

cemented or uncemented

prosthesis.

146.	888.3310	Hip joint metal/polymer	--		---

constrained cemented or

uncemented prosthesis.

147.	888.3320	Hip joint metal/metal		--		---

semi-constrained, with a

cemented acetabular

component, prosthesis.

148.	888.3330	Hip joint metal/metal		--		---

semi-constrained, with

an uncemented acetabular

component, prosthesis.

149.	888.3340	Hip joint metal/composite	--		---

semi-constrained

cemented prosthesis.

150.	888.3350	Hip joint metal/polymer	--		---

semi-constrained

cemented prosthesis.

151.	888.3360	Hip joint femoral (hemi-	--		---

hip) metallic cemented

or uncemented prosthesis.

152.	888.3370	Hip joint (hemi-hip)		--		---

acetabular metal

cemented prosthesis.

153.	888.3380	Hip joint femoral (hemi-	--		---

hip) trunnion-bearing

metal/polyacetal

cemented prosthesis.

154.	888.3390	Hip joint femoral (hemi-hip)	--		---

metal/polymer cemented

or uncemented prosthesis.

155.	888.3400	Hip joint femoral (hemi-	--		---

hip) metallic resurfacing

prosthesis.

156.	888.3410	Hip joint metal/polymer	--		---

semi-constrained resur-

facing cemented

prosthesis.

157.	888.3480	Knee joint femorotibial	--		---

metallic constrained

cemented prosthesis.

158.	888.3490	Knee joint femorotibial	--		---

metal/composite non-

constrained cemented

prosthesis.

159.	888.3500	Knee joint femorotibial	--		---

metal/composite semi-

constrained cemented

prosthesis.

160.	888.3510	Knee joint femorotibial	--		---

metal/polymer con-

strained cemented

prosthesis.

161.	888.3520	Knee joint femorotibial	--		---

metal/polymer non-

constrained  cemented

prosthesis.

162.	888.3530	Knee joint femorotibial	--		---

metal/polymer semi-

constrained  cemented

prosthesis.

163.	888.3540	Knee joint patellofemoral	--		---

polymer/metal semi-

constrained  cemented

prosthesis.

164.	888.3550	Knee joint patellofemoro-	--		---

tibial polymer/metal/

metal constrained

cemented  prosthesis.

165.	888.3560	Knee joint patellofemoro-	--		---

tibial polymer/metal/

polymer semi-constrained

cemented prosthesis.

166.	888.3570	Knee joint femoral (hemi-	--		---

knee) metallic

uncemented prosthesis.

167.	888.3580	Knee joint patellar (hemi-	--		---

knee) metallic resur-

facing uncemented

prosthesis.

168.	888.3590	Knee joint tibial (hemi-	--		---

knee) metallic resur-

facing uncemented

prosthesis.

169.	888.3640	Shoulder joint metal/metal 	--		---

or metal/polymer constrained

cemented prosthesis.

170.	888.3650	Shoulder joint metal/		--		---

polymer non-constrained

cemented prosthesis.

171.	888.3660	Shoulder joint metal/		--		---

polymer semi-constrained

cemented prosthesis.

172.	888.3680	Shoulder Joint glenoid	--		---

(hemi- shoulder) metallic

cemented prosthesis.

173.	888.3690	Shoulder joint humeral	--		---

(hemi- shoulder) metallic

uncemented prosthesis.

174.	888.3720	Toe joint polymer con-	--		---

strained  prosthesis.

175.	888.3730	Toe joint phalangeal		--		---

(hemi-toe) polymer

prosthesis.

176.	888.3750	Wrist joint carpal lunate	--		---

polymer prosthesis.

177.	888.3760	Wrist joint carpal scaphoid	--		---

Polymer prosthesis.

178.	888.3770	Wrist joint carpal trape-	--		---

zium polymer prosthesis.

179.	888.3780	Wrist joint polymer con-	--		---

strained prosthesis.

180.	888.3790	Wrist joint metal con-		--		---

strained cemented prosthesis.

181.	888.3800	Wrist joint metal/polymer	--		---

semi-constrained cemented

prosthesis.

182.	888.3810	Wrist joint ulnar (hemi-	--		---

wrist) polymer prosthesis.

PERITONEAL DIALYSIS SYSTEMS AND ACCESSORIES

| INDIVIDUAL DEVICE | COMPONENT | ACCESSORY | CRITICAL |
| --- | --- | --- | --- |
|  |  |  | YES | NO |
| Semi-auto Peritoneal Dialysis System |  |  | X |  |
| Auto. Peritoneal Dialysis System |  |  | X |  |
| Single-Use Peritoneal Catheter |  |  | X |  |
| Long-Term Peritoneal Catheter |  |  | X |  |
|  |  | Stylet |  | X |
|  |  | Trocar |  | X |
|  |  | Obturator |  | X |
|  |  | Disposable Administration Set | X |  |
|  |  | Peritoneal Dialysate Filter |  | X |

As of this time, the following peritoneal dialysate products are considered drugs and are registered by the CDER:  sterile prepackaged dialysate and dialysate solutions for peritoneal dialysis.

HEMODIALYSIS SYSTEMS AND ACCESSORIES

| INDIVIDUAL DEVICE | COMPONENT | ACCESSORY | CRITICAL |
| --- | --- | --- | --- |
|  |  |  | YES | NO |
| Conventional Dialyzer |  |  | X |  |
| Dialysate Delivery |  |  | X |  |
|  | Water Purification System |  | X |  |
|  | Monitor & Control Mechanisms |  | X |  |
|  | Alarms |  | X |  |
|  |  | Unpowered HD Chair w/o Scale |  | X |
|  |  | Powered HD Chair w/o Scale |  | X |
|  |  | Dialyzer Holder Set |  | X |
|  |  | Dialysis Tie Gun & Ties |  | X |
|  |  | Hemodialysis Start/Stop Tray |  | X |
|  |  | Hemodialysis Concentrate | X |  |
| Extracorporeal Blood System |  |  | X |  |
|  | Tubing |  | X |  |
|  | Pumps |  | X |  |
|  | Pressure Monitors |  | X |  |
|  | Air Foam or Bubble Detectors |  | X |  |
|  | Alarms |  | X |  |

*  Water purification systems when part of the dialysis delivery system.