Center for Devices and Radiological Health

Food and Drug Administration

Computer-Controlled Potentially High-Risk Medical Devices – List of Device Types

In order to more sharply focus our efforts related to the possible impact of the Y2K date problem on medical devices, FDA has developed a list of types of computer-controlled, potentially high-risk medical devices that have the potential for the most serious consequences for the patient should they fail because of date-related problems.  Inclusion of a type of device on this list does not mean that all devices of this type have a date-related problem (are Y2K non-compliant) or, if they are Y2K non-compliant, that they necessarily pose a significant risk to patients.  Rather, this list includes those types of devices that could pose a risk to patients if the date-related failure affects the function or operation of the device.  FDA will use this list to identify those devices (and manufacturers) that would present the most serious risks to patients if they experienced a Y2K related failure.  This will help the agency to focus attention on the devices that could present the highest levels of risk.

The list includes the types of computer-controlled devices whose failure to function as designed or expected could result in immediate and serious adverse health consequences.  These potentially high-risk devices are those that are:

1)  Used in the direct treatment of a patient where device failure could compromise the treatment or could injure the patient, or

2)  Used in the monitoring of vital patient parameters and whose data are immediately necessary for effective treatment, or

3)  Necessary to support or sustain life during treatment or patient care.

The list does not include diagnostic devices whose failure would not result in immediate harm to the patient, even though the diagnostic information they provide might be unavailable or incorrect.    However, a few diagnostic devices have been included, if the results of calculations or other information processing by the device would not be readily apparent to the user, and a Y2K failure of the device could reasonably lead to serious adverse health consequences before being detected by the user.

This list of computer-controlled potentially high-risk devices will be used by FDA for several purposes and can also provide a guide to healthcare facilities regarding the types of devices that should receive priority in their assessment and remediation of medical devices.

FDA will identify all manufacturers of these types of devices.  These manufacturers will be candidates for further oversight to provide increased assurance that product Y2K status has been carefully assessed and that anyY2K-related upgrade has been developed and tested in accordance with the quality system regulations.  That oversight may include facility inspection or audit.  FDA will also ascertain whether these manufacturers have made Y2K status information available to users, and that, where appropriate, users have received notification regarding any necessary remedial action that may be necessary.

This list should not be considered a definitive list of all high-risk devices.  It was developed by FDA staff  based on their assessment of the types of devices that have the greatest potential for direct patient risk should they fail to correctly  process date-related information.  The list may change as FDA receives comments on the types of devices included in the list.

FDA solicits comments from healthcare facilities, manufacturers and others regarding the device types included or omitted from this list.  Any person wishing to suggest additions to or deletions from this list should provide that information and the rationale for the suggestion.  These suggestions should be sent to the following address and should be received by July 15, 1999.

Year 2000 Coordinator (HFZ-140)

Center for Devices and Radiological Health

9200 Corporate Boulevard

Rockville, MD 20850

FAX 301-443-9101

The list below contains the potentially high-risk device types.  Where the generic device type has been classified by FDA, the list includes the section number in Title 21 of the Code of Federal Regulations where the device type is described.  For those devices cleared for market through the Premarket Approval application process or which have not yet been classified, no classification regulation number is given.

A link is also provided to the Federal Y2K Biomedical Equipment Clearinghouse Search mechanism to determine the compliance status of medical devices, as reported by the device manufacturers.  As an additional aid, a link is provided to the Manufacturer Registration Database, which contains names and addresses of manufacturers who have registered with the FDA.

CLASSIFIED DEVICES

(Classification regulation number followed by classification name)

862.1345  GLUCOSE TEST SYSTEM

862.2140  CENTRIFUGAL CHEMISTRY ANALYZER FOR CLINICAL USE

862.2150  CONTINUOUS FLOW SEQUENTIAL MULTIPLE CHEMISTRY ANALYZER FOR CLINICAL USE

862.2160  DISCRETE PHOTOMETRIC CHEMISTRY ANALYZER FOR CLINICAL USE

862.2170  MICRO CHEMISTRY ANALYZER FOR CLINICAL USE

864.9145  PROCESSING SYSTEM FOR FROZEN BLOOD

864.9175  AUTOMATED BLOOD GROUPING AND ANTIBODY TEST SYSTEM

864.9205  BLOOD AND PLASMA WARMING DEVICE

864.9575  ENVIRONMENTAL CHAMBER FOR STORAGE OF PLATELET CONCENTRATE

864.9700  BLOOD STORAGE REFRIGERATOR AND BLOOD STORAGE FREEZER

868.1150  INDWELLING BLOOD CARBON DIOXIDE PARTIAL PRESSURE (PCO2) ANALYZER

868.1200  INDWELLING BLOOD OXYGEN PARTIAL PRESSURE (P02) ANALYZER

868.1730  OXYGEN-UPTAKE COMPUTER

868.2375  BREATHING FREQUENCY MONITOR

868.2450  LUNG WATER MONITOR

868.5160  GAS MACHINE FOR ANESTHESIA OR ANALGESIA

868.5330  BREATHING GAS MIXER

868.5400  ELECTROANESTHESIA APPARATUS

868.5440  PORTABLE OXYGEN GENERATOR

868.5470  HYPERBARIC CHAMBER

868.5610  MEMBRANE LUNG (FOR LONG TERM PULMONARY SUPPORT)

868.5830  AUTOTRANSFUSION APPARATUS

868.5880  ANESTHETIC VAPORIZER

868.5895  CONTINUOUS VENTILATOR

868.5925  POWERED EMERGENCY VENTILATOR

868.5935  EXTERNAL NEGATIVE PRESSURE VENTILATOR

868.5955  INTERMITTENT MANDATORY VENTILATION ATTACHMENT

870.1025  ARRYTHMIA DETECTOR AND ALARM

870.1750  EXTERNAL PROGRAMMABLE PACEMAKER PULSE GENERATOR

870.3535  INTRA-AORTIC BALLOON AND CONTROL SYSTEM

870.3545  VENTRICULAR BYPASS (ASSIST) DEVICE

870.3600  EXTERNAL PACEMAKER PULSE GENERATOR

870.3610  IMPLANTABLE PACEMAKER PULSE-GENERATOR

870.3700  PACEMAKER PROGRAMMERS

870.4220  CARDIOPULMONARY BYPASS HEART-LUNG MACHINE CONSOLE

870.4320  CARDIOPULMONARY BYPASS PULSATILE FLOW GENERATOR

870.4330  CARDIOPULMONARY BYPASS ON-LINE BLOOD GAS MONITOR

870.4360  NONROLLER-TYPE CARDIOPULMONARY BYPASS BLOOD PUMP

870.4370  ROLLER TYPE CARDIOPULMONARY BYPASS BLOOD PUMP

870.4380  CARDIOPULMONARY BYPASS PUMP SPEED CONTROL

870.5225  EXTERNAL COUNTER-PULSATING DEVICE

870.5300  DC-DEFIBRILLATOR LOW ENERGY (INCLUDING PADDLES)

876.5270  IMPLANTED ELECTRICAL URINARY CONTINENCE DEVICE

876.5630  PERITONEAL DIALYSIS SYSTEM AND ACCESSORIES

876.5820  HEMODIALYSIS SYSTEMS AND ACCESSORIES

876.5860  HIGH PERMEABILITY HEMODIALYSIS SYSTEM

876.5870  SORBENT HEMOPERFUSION SYSTEM

876.5880  ISOLATED KIDNEY PERFUSION AND TRANSPORT SYSTEM AND ACCESSORIES

880.5130  INFANT RADIANT WARMER

880.5400  NEONATAL INCUBATOR

880.5410  NEONATAL TRANSPORT INCUBATOR

880.5725  INFUSION PUMP

882.5820  IMPLANTED CEREBELLAR STIMULATOR

882.5830  IMPLANTED DIAPHRAGMATIC/PHRENIC NERVE STIMULATOR

882.5840  IMPLANTED INTRACEREBRAL/SUBCORTICAL STIMULATOR FOR PAIN RELIEF

882.5850  IMPLANTED SPINAL CORD STIMULATOR FOR BLADDER EVACUATION

882.5860  IMPLANTED NEUROMUSCULAR STIMULATOR

882.5870  IMPLANTED PERIPHERAL NERVE STIMULATOR FOR PAIN RELIEF

882.5880  IMPLANTED SPINAL CORD STIMULATOR FOR PAIN RELIEF

884.1700  HYSTEROSCOPIC INSUFFLATOR

884.1730  LAPAROSCOPIC INSUFFLATOR

884.2660  FETAL ULTRASONIC MONITOR AND ACCESSORIES

* The following device classifications include radiation treatment planning systems which are accessories to these device types.

892.5050*  MEDICAL CHARGED-PARTICLE RADIATION THERAPY SYSTEM*

892.5300*  MEDICAL NEUTRON RADIATION THERAPY SYSTEM*

892.5700*  REMOTE CONTROLLED RADIONUCLIDE-APPLICATOR SYSTEM*

892.5750*  RADIONUCLIDE RADIATION THERAPY SYSTEM*

892.5900*  X-RAY RADIATION THERAPY SYSTEM*

* The device classifications specified above, flagged with an asterisk, include radiation treatment planning systems which are accessories to these device types.

POST-MEDICAL DEVICE AMENDMENTS CLASS III DEVICES, AND DEVICES NOT YET CLASSIFIED

VENTILATOR, HIGH FREQUENCY

CARDIOCONVERTER, IMPLANTABLE

DEFIBRILLATOR, AUTOMATIC IMPLANTABLE CARDIOVERTER

DEFIBRILLATOR, IMPLANTABLE, DUAL-CHAMBER

PULSE-GENERATOR, DUAL CHAMBER, IMPLANTABLE

PULSE-GENERATOR, PROGRAM MODULE

PULSE-GENERATOR, SINGLE CHAMBER, SENSOR DRIVEN, IMPLANTABLE

PULSE-GENERATOR, SINGLE CHAMBER

SYSTEM, PACING, TEMPORARY, ACUTE, INTERNAL ATRIAL DEFIBRILLATION

AUTOMATED BLOOD CELL AND PLASMA SEPARATOR FOR THERAPEUTIC PURPOSES

LIPOPROTEIN, LOW DENSITY, REMOVAL

SEPARATOR FOR THERAPEUTIC PURPOSES, MEMBRANE AUTOMATED BLOOD CELL/PLASMA

PUMP, DRUG ADMINISTRATION, CLOSED LOOP

PUMP, INFUSION, IMPLANTED, PROGRAMMABLE

KIT, TEST, ALPHA-FETOPROTEIN FOR NEURAL TUBE DEFECTS

STIMULATOR, CORTICAL, IMPLANTED (FOR PAIN)

STIMULATOR, ELECTRICAL, IMPLANTED, FOR PARKINSONIAN TREMOR

STIMULATOR, SACRAL NERVE, IMPLANTED

STIMULATOR, SPINAL-CORD, TOTALLY IMPLANTED FOR PAIN RELIEF

STIMULATOR, SUBCORTICAL, IMPLANTED FOR EPILEPSY

DEVICE, THERMAL ABLATION, ENDOMETRIAL

INSTRUMENTS USED TO SCREEN THE BLOOD SUPPLY FOR BLOODBORNE PATHOGENS

SOFTWARE, BLOOD BANK, STAND ALONE PRODUCTS