4.0	IN VIVO RODENT TOXICITY REFERENCE VALUES USED TO ASSESS THE ACCURACY OF THE 3T3 AND NHK NRU TEST METHODS	4-3

4.1	Methods Used to Determine In Vivo Rodent Toxicity Reference Values	4-3

4.1.1	Identification of Candidate In Vivo Rodent Toxicity Reference Data	4-3

4.1.2	Criteria Used to Select Candidate In Vivo Rodent Toxicity Data for Determination of Reference Values	4-6

4.2	Final In Vivo Rodent Toxicity Reference Values	4-10

4.3	Relevant Toxicity Information for Humans	4-16

4.4	Accuracy and Reliability of the In Vivo Rodent Toxicity Reference

Values	4-16

4.5	Summary	4-20

[This Page Intentionally Left Blank]

4.0	IN VIVO RODENT TOXICITY REFERENCE VALUES USED TO ASSESS THE ACCURACY OF THE 3T3 AND NHK NRU TEST METHODS

The aim of the procedures and analyses presented in this section is to identify the most appropriate in vivo rodent toxicity data with which to compare the in vitro cytotoxicity data.  The in vitro NRU cytotoxicity test methods are intended to be used in a weight of evidence approach to determine the starting dose for the in vivo acute oral systemic toxicity test methods using rodents.  Thus, rodent LD50 values from acute oral systemic toxicity tests are the most appropriate reference data for the in vitro NRU IC50 values.   This section describes the methods for identifying and evaluating the most appropriate rodent LD50 data to use for determining reference LD50 values for the 72 reference substances tested in the NICEATM/ECVAM validation study.  These in vivo rodent toxicity reference values will be used in Section 6 to establish the accuracy of the in vitro IC50 data from the 3T3 and NHK NRU test methods for predicting LD50 values from rodent acute oral systemic toxicity tests.

4.1	Methods Used to Determine In Vivo Rodent Toxicity Reference Values

4.1.1	Identification of Candidate In Vivo Rodent Toxicity Reference Data

No animal experiments were performed to obtain in vivo reference data for acute oral systemic toxicity.  To identify LD50 reference data for the 72 reference substances, rat oral LD50 data were located through literature searches, secondary references, and electronic database searches.  PubMed and ISI Web of Science® searches were conducted using each chemical name and “lethal dose 50.”  Secondary sources included NTP technical reports, Toxicological Profiles from the Agency for Toxic Substances and Disease Registry (ATSDR), Cosmetic Ingredient Reviews by the Cosmetics Industry Council, pesticide handbooks, Merck Index, and various other summary sources.  Table 4-1 lists databases searched via the Internet to locate references for rat oral LD50 values.  Rat LD50 data were preferred because the current oral acute toxicity test guidelines recommend using rats (OECD 2001a, c, d; EPA 2002a).  Taking the same approach used for the Registry of Cytotoxicity (RC), mouse LD50 data were sought for a particular chemical if rat LD50 values could not be located.  [The RC is a database of acute oral LD50 values for rats and mice, obtained from RTECS® and IC50 values from in vitro cytotoxicity assays using multiple cell lines and cytotoxicity endpoints for chemicals with known molecular weights (Halle 1998).]

| Table 4-1 Internet Accessible Databases with LD50 Information |
| --- |
| Database | Sponsor |
| Agency for Toxic Substances and Disease Registry (ATSDR) | U.S. Department of Health and Human Services (DHHS) |
| Center for Drug Evaluation and Research (CDER) | U.S. Food and Drug Administration (FDA) |
| CHEMFINDER | CambridgeSoft Corporation |
| Chemical Carcinogenesis Research Information System (CCRIS) National Cancer Institute (NCI) Website | NCI; National Institutes of Health (NIH); DHHS |
| Chemical Evaluation Search and Retrieval System (CESARS) | Michigan Department of Natural Resources; Ontario Ministry of the Environment; CCOHS CHEMpendium( |
| Chemical Hazard Response (CHRIS) | U.S. Coast Guard |
| Chemical Ingredients Database | U.S. Environmental Protection Agency (EPA) Office of Pesticide Programs (OPP); California EPA Department of Pesticide Regulation |
| CHEMINDEX CHEMINFO | Canadian Centre for Occupational Health and Safety (CCOHS) CHEMpendium( |
| ChemRTK High Production Volume (HPV) Challenge Program OPPT Chemical Fact Sheets Chemical Information Collection and Data Development | EPA Office of Pollution Prevention and Toxics (OPPT) |
| CIS Chemical Information | World Health Organization (WHO) International Programme on Chemical Safety (IPCS); CCOHS; International Labour Organisation (ILO) Occupational Safety and Health Information Centre (CIS) |
| Concise International Chemical Assessment Documents (CICADS) | WHO IPCS; CCOHS; ILO; United Nations Environment Programme (UNEP) |
| Consumer Product Safety Commission Website | U.S. Consumer Product Safety Commission (CPSC) |
| Deutsches Institut fur Medizinische Dokumentation und Information (DIMDI) [The German Institute for Medical Documentation and Information] Registry of Cytotoxicity (RC) | Zentralstelle zur Erfassung und Bewertungvon Ersatz- und Erganzungsmethoden zum Tierversuch (ZEBET) [German Centre for the Documentation and Validation of Alternative Methods] |
| Developmental and Reproductive Toxicology/Environmental Teratology Information Center (DART®/ETIC) | EPA; The National Library of Medicine (NLM); The National Institute of Environmental Health Sciences (NIEHS); National Center for Toxicological Research (NCTR) |
| Emergency Response Guidebook (ERG 2000) | Transport Canada; U.S. Department of Transportation (DOT); Secretariat of Communications and Transportation of Mexico |
| Environmental Health Criteria (EHC) monographs Health and Safety Guides (HSG) International Agency for Research on Cancer (IARC) | WHO IPCS; CCOHS |
| European Centre for the Validation of Alternative Methods (ECVAM) Scientific Information Service (ECVAM SIS) | European Commission Joint Research Centre |
| HAZARDTEXT®; MEDITEXT®; INFOTEXT®; SARATEXT®; REPROTEXT®; REPROTOX® | TOMES Plus®, MICROMEDEX, Greenwood Village, CO |
| Integrated Risk Information System (IRIS) | EPA Office of Research and Development (ORD) |
| International Chemical Safety Cards (ICSC) IPCS/EC Evaluation of Antidotes Series | WHO IPCS; CCOHS; Commission of the European Union |
| International Uniform Chemical Information Database (IUCLID) | European Chemicals Bureau |
| Joint Expert Committee on Food Additives (JECFA) Joint Meeting on Pesticide Residues (JMPR) Pesticide Data Sheets (PDSs) | WHO IPCS; CCOHS; Food and Agriculture Organization (FAO) of the United Nations |
| Material Safety Data Sheets (MSDS) | Interactive Living Paradigms, Incorporated |
| Multicentre Evaluation of In Vitro Cytotoxicity (MEIC) | Scandinavian Society for Cell Toxicology |
| National Toxicology Program (NTP) Chemical Health and Safety Database | NIEHS |
| National Transportation Library | DOT |
| New Jersey Hazardous Substance Fact Sheets | New Jersey Department of Health and Senior Services |
| Oil and Hazardous Materials/Technical Assistance Data System (OHM/TADS) | EPA Office of Waste and Water Management |
| Organisation for Economic Co-operation and Development (OECD) Screening Information Data Sets (SIDS) | IPCS; CCOHS; International Register of Potentially Toxic Chemicals (IRPTC); UNEP |
| Pesticide Action Network Pesticide Database | Pesticide Action Network North America |
| Pesticide Product Information System (PPIS) | EPA Office of Pesticide Programs (OPP) |
| Poisons Information Monographs (PIMs) | IPCS; CCOHS |
| Registry of Toxic Effects of Chemical Substances (RTECS®) NIOSH Pocket Guide to Chemical Hazards | National Institute for Occupational Safety and Health (NIOSH) |
| SCORECARD | Environmental Defense |
| The EXtension TOXicology NETwork (EXTOXNET) | University of California, Davis; Oregon State University; Michigan State University; Cornell University; University of Idaho |
| The Right-to-Know Network (RTK NET) | Office of Management and Budget Watch; Center for Public Data access |
| Toxic Chemical Release Inventory (TRI) GENE-TOX | The National Library of Medicine (NLM) |
| Toxic Substances Control Act Test Submissions (TSCATS) | EPA OPPT |
| TOXLINE® Hazardous Substances Data Bank (HSDB) ChemIDplus | NLM (TOXNET) |

A total of 195 LD50 references retrieved through these searches were reviewed and evaluated.  Information regarding the materials and methods used to derive the 491 LD50 values reported by these references were compiled and are provided in Appendix H-1 in a spreadsheet format.  Appendix H-2 provides a narrative characterization and evaluation of the values.

4.1.2	Criteria Used to Select Candidate In Vivo Rodent Toxicity Data for Determination of Reference Values

From the data retrieved, the goal was to derive a set of high quality reference LD50 values (i.e., data that were collected using standardized protocols, accompanied by documentation showing that established testing procedures were followed in compliance with national and international GLP guidelines [OECD 1998; FDA 2003; EPA 2003a,b]).  After a review of the collected data, the SMT determined that a requirement for GLP compliance would eliminate 99% (452 of the 459 values remaining after exclusion of 30 duplicate values and two erroneous values) of the oral LD50 values, since only seven had been obtained in compliance with GLP guidelines.  GLP-compliant studies were found for only four of the 72 (6%) reference substances.

The SMT then considered limiting the selection of LD50 values to those from studies that used the type of animals recommended by the current oral acute toxicity test guidelines, since these guidelines will be used for future acute systemic toxicity testing.  The current guidelines recommend using young adult rats, 8-12 weeks of age, of a common laboratory strain and the most sensitive sex (OECD 2001a, c, d; EPA 2002a).  Female animals are suggested if there is no information on which to determine the most sensitive sex.  Selecting LD50 values from animals that fit this description yielded a limited number of values.  Only 3% (14/459) of the oral LD50 values were determined using 8-12 week old female laboratory rats.  Another 15 LD50 values were obtained with female rats in an appropriate weight range (~ 176-250 g according to Charles River [http://www.criver.com], Harlan [http://www.harlan.com/us/index.htm], and Taconic Farms [http://www.taconic.com/anmodels/spragued.htm] websites) for that age.  Thus, only 6% (29/459) of the LD50 values in the database, covering 21 of the 72 reference substances (29 %), were obtained from studies that used the strain, sex, and age of rats recommended by current test guidelines (OECD 2001a; EPA 2002a).

Final Exclusion Criteria

Since so few studies met the initial criteria (i.e., GLP compliance and use of animals recommended by current acute oral toxicity test guidelines), the database was reviewed and evaluated to derive alternative criteria for the development of reference LD50 values.  For this evaluation, the SMT looked for commonalities among the data records that, when selected, provided a comparable data set for each chemical.  Review of the available data indicated that the majority of acute oral toxicity tests were conducted with unanesthetized young adult laboratory rats of both genders, to which chemicals were administered by gavage.  Thus, to compile a homogenous set of reference LD50 values for each chemical, the selection process was revised to exclude studies that reflected the following, less typical, materials and methods:

- feral rats

- rats < 4 weeks of age

- anesthetized rats

- test chemical administered in food or capsule

- LD50 reported as a range or inequality

Data from feral rats were excluded, since the health status of these animals was uncertain.  All laboratory rat strains/stocks were deemed acceptable, since they were expected to be healthy and provided with adequate care and housing during testing.  Data from neonates or weanlings were excluded since their sensitivity to chemical toxicity may differ from that of adults.  Four weeks was considered the minimum acceptable age, since rats are weaned at about 3 weeks of age (Barrow 2000).  Data from feeding experiments or experiments that involved administration of the chemical in capsules were also excluded, since gavage is the most common mode of administration for acute oral studies and the rate of gastrointestinal absorption for these methods is likely to be different (Nebendahl 2000).  Since LD50 point estimates are required for the prediction model, LD50 values reported as ranges or inequalities were considered unacceptable.

Assumptions

The level of detail for materials and methods for the LD50 studies varied greatly.  Some studies reported only the use of white rats while other acute oral toxicity studies provided complete information on stock/strain, gender, and age of animals; the number of animals tested per dosing group, method of administration, doses administered, clinical signs, and times of death.  To use as much of the available data as possible, the following assumptions were made if a study report did not declare otherwise.

- The rats were assumed to have been young adults of a common laboratory strain.

- The rats were assumed to have been unanesthetized.

- The oral route of administration was by gavage.

Calculation of Reference Values

If there were multiple acceptable LD50 values for a chemical after the application of the exclusionary criteria, outliers at the 99% level (Dixon and Massey 1981) were excluded.  A geometric mean and 95% confidence limits were calculated from the remaining values to serve as the reference LD50.  A geometric mean is the antilog of the mean of the logarithm of the values and it is less affected by extreme values than the arithmetic mean.  Use of a geometric mean corresponds with the approach used for the RC regression to obtain a single IC50 value from multiple IC50 values (Halle 1998) and with the approach used to derive the IC50 value for each chemical for the in vitro - in vivo regressions for the NICEATM/ECVAM validation study (see Section 6).

In addition to the statistical evaluation of outliers, an extreme value, which was not a statistical outlier, for trichloroacetic acid was also evaluated based on biological plausibility.  There were five LD50 values that ranged from 400-8900 mg/kg after applying the exclusionary criteria for trichloroacetic acid.  The lowest value of 400 mg/kg was rejected as biologically implausible since up to 1000 mg/kg/day has been used in chronic rodent carcinogenicity studies (EPA 1996).

Use of Rat and Mouse Data

If no rat oral LD50 values could be found for a chemical, mouse oral LD50 values were located, retrieved, and evaluated by the same method as that used for rat oral values.  Although a model using entirely rat data or entirely mouse data would be preferable, the use of mouse values was considered to be justified by a significant correlation of rat and mouse oral LD50 values reported by Ekwall et al. (1998a) for the 50 chemicals tested in the MEIC study.  Using values from RTECS®, Ekwall et al. (1998a) reported a coefficient of determination, R2, of 0.85 for a linear regression analysis of rat LD50 - mouse LD50.  Furthermore, Halle (1998) compared IC50 - LD50 linear regressions with 285 rat values and 242 mice values and found no significant difference in the intercepts or slopes.

A correlation of the 173 chemicals in the RC that had both rat and mouse LD50 values is shown in Figure 4-1.  A Spearman correlation analysis of the log transformed rat and mouse data yielded a significant correlation (p< 0.0001) with rs = 0.88.

Figure 4-1	Correlation of Rat and Mouse LD50 Values for 173 RC Chemicals

The diagonal line shows the 1:1 relationship.

4.2	Final In Vivo Rodent Toxicity Reference Values

After the application of the exclusionary criteria, there were 385 acceptable LD50 values with which to calculate reference values.  Table 4-2 shows the reference LD50 value for each reference substance in ascending order.  The reference values are the geometric means of the acceptable LD50 values.  Also shown for each substance are the 95% confidence limits around the mean, the ratio of the maximum to the minimum acceptable value, the number of LD50 values used to calculate the reference value, the number of LD50 values available (not including duplicate values or the erroneous values for acetylsalicylic acid and sodium oxalate), and the LD50 initially used for hazard category (often referred to as “toxicity” or “LD50” category) classification of the substance (see Table 3-2).  Ratios for the maximum to minimum LD50 values ranged from 1.0 to 25.9.  The average ratio was 4.1.  Six of the 62 reference substances for which ratios were calculated had ratios greater than one order of magnitude: triethylenemelamine, parathion, busulfan, triphenyltin hydroxide, phenol, and trichloroacetic acid.  Three of these substances, triethylenemelamine, parathion, and busulfan, were in the two highest toxicity categories (i.e., LD50 ≤ 50 mg/kg).

Table 4-2 shows the reference substances grouped by GHS acute oral toxicity category (UN 2005) using the reference LD50 values.  The initial categorization for this study, which used the LD50 values in the far right column of Table 4-2 (i.e., values reported in Table 3-2, which come from the RC unless otherwise specified), placed 12 substances in each toxicity category.  Table 4-3 compares the number of substances in each GHS toxicity category based on the reference LD50 values with the number of substances in each category based on the initial LD50 values.  Table 4-3 shows that the initial and reference LD50 values placed 74% of the substances in the same GHS category.  Compared with the initial LD50, the reference LD50 was higher for 25% of the substances and lower for 1% of the substances.

| Table 4-2 Reference LD50 Values by GHS Category1 |
| --- |
| GHS Category1/Chemical | Reference Oral LD502 (mg/kg) | 95% Confidence Interval3 (mg/kg) | Reference Oral LD502 (mmol/kg) | 95% Confidence Interval3 (mmol/kg) | Maximum: Minimum Value3 | N Averaged5 | Initial Rodent Oral LD506 (mg/kg) |
| LD50 ≤ 5 mg/kg (N = 7) |
| Cycloheximide | 2 | NC | 0.00711 | NC | 2.5 | 3 | 2 |
| Phenylthiourea | 3 | NC | 0.0197 | NC | NC | 1 | 3 |
| Sodium selenate | 3 | NC | 0.0159 | NC | 3.7 | 2 | 27 |
| Epinephrine bitartrate | 4 (mouse) | NC | 0.0196 | NC | NC | 1 | 4 (mouse) |
| Triethylenemelamine | 4 | 1-25 | 0.0120 | 0.0037-0.12 | 13.0 | 4 | 1 |
| Physostigmine | 5 | NC | 0.0182 | NC | NC | 1 | 57 |
| Disulfoton | 5 | 2-10 | 0.0182 | 0.009-0.036 | 5.5 | 6 | 2 |
| 5 < LD50 ≤ 50 mg/kg (N = 12) |
| Parathion | 6 | 3-12 | 0.0209 | 0.010-0.041 | 16.7 | 10 | 2 |
| Strychnine | 6 | NC | 0.0188 | NC | 6.9 | 3 | 27 |
| Aminopterin | 7 | NC | 0.016 | NC | NC | 1 | 3 (mouse) |
| Potassium cyanide | 7 | 5-10 | 0.111 | 0.077-0.15 | 2.0 | 7 | 10 |
| Busulfan | 12 | NC | 0.049 | 0.008-0.38 | 15.3 | 4 | 2 |
| Colchicine | 15 (mouse) | NC | 0.0375 | NC | 4.9 | 3 | 6 (mouse) |
| Thallium I sulfate | 25 | NC | 0.0495 | NC | NC | 1 | 29 (mouse) |
| Arsenic III trioxide | 25 | 10-64 | 0.127 | 0.050-0.32 | 6.3 | 5 | 20 |
| Endosulfan | 28 | NC | 0.068 | NC | 2.4 | 2 | 187 |
| Digoxin | 28 | NC | 0.0362 | NC | NC | 1 | 18 (mouse) |
| Mercury II chloride | 40 | 27-60 | 0.148 | 0.010-0.22 | 7.7 | 10 | 1 |
| Sodium arsenite | 44 | 36-53 | 0.336 | 0.28-0.40 | 1.5 | 5 | 417 |
| 50 < LD50 ≤ 300 mg/kg (N =12) |
| Sodium dichromate dihydrate | 51 | 44-58 | 0.193 | 0.17-0.22 | 1.9 | 11 | 50 |
| Dichlorvos | 59 | 40-88 | 0.266 | 0.18-0.40 | 5.7 | 9 | 177 |
| Nicotine | 70 | 68-72 | 0.430 | 0.42-0.44 | 1.0 | 4 | 50 |
| Fenpropathrin | 76 | 57-100 | 0.217 | 0.16-0.29 | 3.4 | 9 | 187 |
| Hexachlorophene | 82 | 68-98 | 0.202 | 0.17-0.24 | 3.8 | 19 | 61 |
| Paraquat | 93 | 65-132 | 0.498 | 0.35-0.71 | 2.0 | 5 | 58 |
| Lindane | 100 | 78-129 | 0.344 | 0.27-0.44 | 1.4 | 4 | 76 |
| Verapamil HCl | 111 | NC | 0.226 | NC | 1.1 | 2 | 108 |
| Sodium I fluoride | 127 | 92-175 | 3.020 | 2.19-4.16 | 4.4 | 12 | 180 |
| Cadmium II chloride | 135 | 88-208 | 0.738 | 0.48-1.14 | 2.4 | 5 | 88 |
| Diquat dibromide | 160 | NC | 0.466 | NC | 1.9 | 3 | 231 |
| Phenobarbital | 224 | NC | 0.966 | NC | 2.0 | 3 | 163 |
| 300 < LD50 ≤ 2000 mg/kg (N = 16) |
| Caffeine | 310 | 256-374 | 1.59 | 1.32-1.93 | 2.5 | 10 | 192 |
| Triphenyltin hydroxide | 329 | 208-520 | 0.896 | 0.57-1.42 | 25.9 | 15 | 44 |
| Haloperidol | 330 | NC | 0.877 | NC | 6.6 | 2 | 1287 |
| Amitriptyline HCl | 348 | NC | 1.18 | NC | 1.2 | 2 | 319 |
| Propranolol HCl | 466 | NC | 1.575 | NC | NC | 1 | 470 (mouse) |
| Cupric sulfate * 5 H2O | 474 | 269-836 | 1.90 | 1.08-3.35 | 4.1 | 6 | 300 |
| Phenol | 548 | 434-692 | 5.82 | 4.82-7.68 | 4.7 | 14 | 414 |
| Lithium carbonate | 590 | 479-728 | 7.98 | 6.5-9.9 | 1.4 | 4 | 1187 (mouse; sulfate salt) |
| Glutethimide | 600 | NC | 2.76 | NC | NC | 1 | 600 |
| Sodium oxalate | 633 | NC | 4.724 | NC | 1.3 | 2 | 155 (mouse)8 |
| Chloral hydrate | 638 | 391-1040 | 3.86 | 2.36-6.29 | 1.8 | 4 | 479 |
| Atropine sulfate | 819 | 641-1045 | 1.21 | 0.95-1.54 | 1.9 | 7 | 623 |
| Valproic acid | 995 | NC | 6.91 | NC | 2.2 | 2 | 6707 |
| Meprobamate | 1387 | 1291-1489 | 6.35 | 5.92-6.82 | 1.2 | 6 | 7947 |
| Acetylsalicylic acid | 1506 | 1224-1854 | 8.36 | 6.8-10.3 | 4.6 | 14 | 1000 |
| Procainamide HCl | 1950 | NC | 8.286 | NC | NC | 1 | 19507 |
| 2000 < LD50 ≤ 5000 mg/kg (N = 11) |
| Acetaminophen | 2163 | NC | 14.3 | NC | 1.2 | 2 | 2404 |
| Potassium I chloride | 2799 | NC | 37.6 | NC | 1.2 | 2 | 2602 |
| Carbamazepine | 2805 | NC | 11.9 | NC | 2.1 | 2 | 19577 |
| Boric aid | 3426 | 2617-4486 | 55.4 | 42.3-72.6 | 1.9 | 6 | 26607 |
| 5-Aminosalicylic acid | 3429 | NC | 22.4 | NC | 1.5 | 2 | 7749 (mouse) |
| Chloramphenicol | 3491 | NC | 10.8 | NC | 2.0 | 3 | 3393 |
| Acetonitrile | 3598 | 2951-4375 | 87.6 | 71.9-107 | 6.2 | 26 | 3798 |
| Lactic acid | 3639 | NC | 40.3 | NC | 1.1 | 2 | 3730 |
| Carbon tetrachloride | 3783 | 3024-4732 | 24.6 | 20-31 | 4.3 | 15 | 2799 |
| Sodium chloride | 4046 | 2917-5623 | 69.3 | 50-96 | 2.0 | 5 | 2998 |
| Xylene | 4667 | 1294-16827 | 43.9 | 12-158 | 5.6 | 4 | 4300 |
| LD50 > 5000 mg/kg (N = 14) |
| 2-Propanol | 5105 | 4624-5636 | 84.9 | 77-94 | 1.3 | 6 | 5843 |
| Trichloroacetic acid | 5229 | 2745-9961 | 32.0 | 16.8-61.0 | 2.7 | 4 | 4999 |
| Dimethylformamide | 5309 | 3548-7925 | 72.6 | 49-108 | 2.6 | 6 | 2800 |
| Citric Acid | 5929 | NC | 30.9 | NC | 3.9 | 2 | 30007 |
| Gibberellic acid | 6040 | NC | 17.4 | NC | 1.1 | 2 | 6305 |
| Propylparaben | 6332 (mouse) | NC | 35.1 | NC | NC | 1 | 6326 (mouse) |
| Ethylene glycol | 7161 | 6266-8204 | 115.4 | 101-132 | 2.5 | 16 | 8567 |
| Methanol | 8710 | 6223-12218 | 272 | 194-381 | 2.3 | 6 | 13012 |
| Dibutylphthalate | 8892 | 6180-12794 | 31.9 | 22-46 | 1.7 | 4 | 11998 |
| Diethylphthalate | 9311 | NC | 41.9 | NC | 1.2 | 2 | 8602 |
| Sodium hypochlorite | 10328 | NC | 62.8 | NC | 1.6 | 2 | 89109 |
| Ethanol | 11324 | 8610-14894 | 245.7 | 187-323 | 2.5 | 8 | 14008 |
| 1,1,1-Trichloroethane | 12078 | 10000-14588 | 90.5 | 75-109 | 1.7 | 6 | 10298 |
| Glycerol | 19770 | 10495-37154 | 215 | 114-403 | 2.2 | 4 | 12691 |

1GHS- Globally Harmonized System of Classification and Labelling of Chemicals (UN 2005).  Chemicals categorized using reference oral LD50.

2Based on a geometric mean of acceptable LD50 values from laboratory rats unless otherwise specified.

3For the geometric mean of the acceptable LD50 values.

4Ratio of minimum acceptable LD50 to maximum acceptable LD50

5Number of values used for geometric mean.

6Values rounded to the nearest one; from the RC unless otherwise specified; rat data unless otherwise specified.

7RTECS® (MDL Information Systems 2002).

8RC reference for rat oral LD50 of 155 mg/kg is Shrivastava et al. (1992), which references Klinger and Kersten (1961).  Klinger and Kersten (1961) indicates the value was determined by intraperitoneal administration to mice.

9NLM (2002).

Abbreviations: NC – Not calculated.  N was three or less and considered too small for a meaningful result.

The reference LD50 values caused the reclassification of 19 reference substances (i.e., the sum of the numbers in the mismatching cells in Table 4-3).  Seven substances remain in the lowest LD50 category (i.e., LD50 ≤ 5 mg/kg).  Five substances originally in this category (aminopterin, mercury chloride, busulfan, parathion, and strychnine) moved to the next higher category (5 < LD50 ≤ 50 mg/kg) due the change in the reference LD50 values.  In the 5 < LD50 ≤ 50 mg/kg category, four substances (dichlorvos, fenpropathrin, sodium dichromate dihydrate, and nicotine) moved to the next higher LD50 category (50 < LD50 ≤ 300 mg/kg) and one substance (triphenyltin hydroxide) moved up two categories to 300 < LD50 ≤ 2000 mg/kg.  In the 50 < LD50 ≤ 300 category, four substances (haloperidol, caffeine, copper sulfate pentahydrate, and sodium oxalate) moved up to the next toxicity category (300 < LD50 ≤ 2000 mg/kg).  In the 300 < LD50 ≤ 2000 mg/kg category, only carbamazepine moved up to the next toxicity category (2000 < LD50 ≤ 5000 mg/kg).  In the 2000 < LD50 ≤ 5000 mg/kg category, citric acid, trichloroacetic acid and dimethylformamide moved up to the next higher LD50 category (LD50 > 5000 mg/kg).  In the LD50 > 5000 mg/kg category, 5-aminosalicylic acid moved down into the 2000 < LD50 ≤ 5000 mg/kg category.  5-Aminosalicylic acid was the only substance that moved to a lower LD50 (i.e., more toxic) category.

Table 4-3	GHS1 Toxicity Category Matches for the Initial and Reference LD50 Values2

| Initial LD50 (mg/kg) | Reference LD50 | Total | Category Match | Reference LD50 Lower | Reference LD50 Higher |
| --- | --- | --- | --- | --- | --- |
|  | ≤ 5 | 5-50 | 50 - 300 | 300 - 2000 | 2000 - 5000 | > 5000 |  |  |  |  |
| ≤ 5 | 7 | 5 | 0 | 0 | 0 | 0 | 12 | 58% | 0% | 42% |
| 5-50 | 0 | 7 | 4 | 1 | 0 | 0 | 12 | 58% | 0% | 42% |
| 50 - 300 | 0 | 0 | 8 | 4 | 0 | 0 | 12 | 67% | 0% | 33% |
| 300 - 2000 | 0 | 0 | 0 | 11 | 1 | 0 | 12 | 92% | 0% | 8% |
| 2000 - 5000 | 0 | 0 | 0 | 0 | 9 | 3 | 12 | 75% | 0% | 25% |
| > 5000 | 0 | 0 | 0 | 0 | 1 | 11 | 12 | 92% | 8% | 0% |
| Total | 7 | 12 | 12 | 16 | 11 | 14 | 72 | 74% | 1% | 25% |

1Globally Harmonized System of Classification and Labelling of Chemicals (UN 2005):

≤ 5:			LD50 ≤ 5 mg/kg

5 - 50:			5 < LD50 ≤ 50 mg/kg

50 - 300:		50 < LD50 ≤ 300 mg/kg

300 - 2000:		300 < LD50 ≤ 2000 mg/kg

2000 - 5000:		2000 < LD50 ≤ 5000 mg/kg

> 5000:			LD50 > 5000 mg/kg

2Number of chemicals.  Darkened cells show the number of chemicals for which the categories match.

4.3	Relevant Toxicity Information for Humans

The relevance of rodent acute systemic toxicity data to human lethality was assessed by the MEIC program as a comparison to the evaluation of in vitro predictions of human acute toxicity (Ekwall et al. 1998b).  The MEIC program collected mouse and rat oral LD50 data from RTECS® (Ekwall et al. 1998a).  Mean lethal doses in humans were collected mainly from handbooks containing human clinical toxicity information (Ekwall et al. 1998a).  Data from the handbooks were supplemented, when necessary, by an in-house compendium from the Swedish Poisons Information Centre.  Ekwall et al. (1998b) calculated least squares linear regressions for the prediction of the mean human lethal doses by rat oral LD50 data and by mouse oral LD50 data for the 50 MEIC chemicals using units of log mol/kg.  Ekwall et al. (1998b) reported R2 = 0.607 for the rat LD50 prediction of mean human lethal doses and R2 = 0.653 for the mouse LD50 prediction of mean human lethal doses.

The relevance of the NRU data collected in the NICEATM/ECVAM study to the prediction of human acute toxicity will be addressed elsewhere by ECVAM.

4.4	Accuracy and Reliability of the In Vivo Rodent Toxicity Reference Values

Accuracy is the closeness of agreement between the results of an alternative test method and an accepted reference test method (ICCVAM 2003).  Since there is no accepted reference test for the rodent acute oral toxicity test, the accuracy of the reference LD50 values for predicting the oral LD50 in humans cannot be determined.  Acute toxicity testing in rodents leads to a relative ranking of the toxicity of chemicals for regulatory purposes.  The reliability of the reference LD50 values determined in this section may be judged by evaluating the range of acceptable LD50 values for each chemical and by comparing the values (and their variability) with other LD50 values.

Variability Among the Acceptable LD50 Values

The variability of the acceptable LD50 values used to calculate the reference value for each reference substance was assessed by calculating the ratio of the maximum to the minimum value (see Table 4-2).  For the 62 reference substances with more than one acceptable LD50 value, the average maximum:minimum ratio ranged from 1.1 to 25.9 with a mean of 4.3 and a median of 2.2.  The maximum:minimum ratios were greater than 10 for four substances:  triethylenemelamine, parathion, busulfan, and triphenyltin hydroxide.

The low LD50 values for triethylenemelamine, busulfan, and parathion may have contributed to the high maximum:minimum ratios for these substances, since the range of values did not seem to be extremely wide.  The four LD50 values for triethylenemelamine ranged from 1 to 13 mg/kg, the four LD50 values for busulfan ranged from 1.9 to 29 mg/kg, and the 10 LD50 values for parathion ranged from 1.8 to 30 mg/kg.  Table 4-4 shows the maximum:minimum ratios by toxicity category.  The substances in the higher toxicity categories (i.e., LD50 ≤ 50 mg/kg) tended to have higher maximum:minimum LD50 ratios than substances in the lower toxicity categories (i.e., LD50 > 50 mg/kg); however, there were also fewer substances in the higher toxicity categories.

Table 4-4	Maximum:Minimum LD50 Ratios by GHS1 Toxicity Category

| GHS Category1 (LD50 in mg/kg) | Mean Maximum:Minimum LD50 Ratio | Median Maximum:Minimum LD50 Ratio | Range of Maximum:Minimum LD50 Ratio | N |
| --- | --- | --- | --- | --- |
| LD50 ≤ 5 | 6.2 | 4.6 | 2.5 – 13.0 | 4 |
| 5 < LD50 ≤ 50 | 7.1 | 6.3 | 2.0 - 16.7 | 9 |
| 50 < LD50 ≤ 300 | 2.4 | 1.9 | 1.1 - 5.7 | 12 |
| 300 < LD50 ≤ 2000 | 4.6 | 2.2 | 1.2 - 25.9 | 13 |
| 2000 < LD50 ≤ 5000 | 2.6 | 2.0 | 1.2- 22.3 | 11 |
| LD50 > 5000 | 2.3 | 2.3 | 1.1 - 3.9 | 13 |

1GHS-Globally Harmonized System of Classification and Labelling of Chemicals (UN 2005).

N = number of chemicals with more than one acceptable LD50 value after application of the exclusion criteria in

Section 4.1.2.

Comparison of Reference Values with RC Values

The correspondence of the reference LD50 values with the LD50 values for the 58 validation study reference substances in common with the RC are shown on a log scale in Figure 4-2.  A Spearman correlation analysis for the two sets of log transformed values yielded a significant correlation (p < 0.0001) with a correlation coefficient, rs, of 0.97.  Figure 4-2 shows that the reference values tended to be higher than the RC LD50 values.  The LD50 values used in the RC were largely from the 1983/84 RTECS®, which publishes the lowest LD50 value found for a particular chemical without regard to the source (i.e., from a primary publication or a review) and without scientific review before publication.  Thus, since the reference LD50 values are based on the geometric mean from multiple studies, it is not surprising that these values tended to be higher than those included in the RC database.

When comparing the reference LD50 values to the RC values, the substances with the largest differences in LD50 were busulfan, triphenyltin hydroxide, and mercury chloride  (see Figure 4-2).

- The reference LD50 for busulfan was six times that of the RC value (12 mg/kg vs. 1.9 mg/kg).  The RC value (i.e., the 1983/84 RTECS® value) was from a paper by Schmahl and Osswald (1970) in which they cited a rat oral LD50 of 1.86 mg/kg.  We also found rat oral LD50 values of 28 and 29 mg/kg for male and female Sprague-Dawley rats, respectively (Matsuno et al. 1971).

- The reference LD50 for triphenyltin hydroxide was 7.5 times the RC LD50 (329 mg/kg vs. 44 mg/kg).  The 15 LD50 values used to determine the reference value included the RC value and had a wide range, 44-1200 mg/kg.  Due to the relatively large variation in the data, neither the highest nor the lowest values were statistical outliers.

- The reference LD50 for mercury chloride was 40 mg/kg, while the RC value was 1 mg/kg.  The RC value was from a summary document that reported the rat oral LD50 as a range of 1-5 mg/kg (Worthing and Walker 1991).  Since it was reported as a range, it was excluded from the calculation of the reference value.  The remaining 11 LD50 values ranged from 12 to 160 mg/kg.  As previously stated, 160 mg/kg was an outlier compared to the other 10 values and therefore excluded from the calculation of the reference value.

Figure 4-2	Correlation of LD50 Values for the 58 RC Chemicals

The diagonal line shows the 1:1 relationship.

Comparison of the Variability Among Acceptable LD50 Values to Other Studies

When compared to other studies on the variation of acute oral LD50 values, the variation determined for 61 reference substances with multiple LD50 values was not unusual.  Weil and Wright (1967) showed that even LD50 values from multiple laboratories using exactly the same protocol varied by as much as five-fold for the 10 substances they tested in eight laboratories.  In addition, they showed that allowing the laboratories to use their own protocols for LD50 determination produced data somewhat more variable, but the observed differences were not reported.  Another multicenter study that did not control the LD50 protocols reported maximum:minimum ratios from 3.6 to 11.3 for five substances (Hunter et al. 1979).  The 65 participating laboratories in eight countries reported LD50 values ranging from 44 to 5420 mg/kg for the five substances tested:

- Compound I/PCP			44 – 523 mg/kg

- Compound II/Sodium salicylate	800 - 4150 mg/kg

- Compound III/Aniline			350 – 1280 mg/kg

- Compound IV/Acetanilide		805 – 5420 mg/kg

- Compound V/Cadmium chloride	70 – 513 mg/kg

The results of a follow on study in which the same substances were tested by about 100 laboratories in 13 countries showed that adhering to a specific protocol reduced the range of maximum:minimum LD50 ratios from 3.6 – 11.3 to 2.4 – 8.4 (Zbinden and Flury-Roversi 1981).

Although the LD50 data collected from the literature for the NICEATM/ECVAM validation study used various strains, sexes, observation durations, and calculation methods for estimating the LD50, the variation in LD50 values for individual substances was similar to the data by Hunter et al. (1979).  The current study found six of the 61 substances with multiple LD50 values had maximum:minimum LD50 values higher than that reported by Hunter et al. (1979).  Three of the reference substances: triethylenemelamine, parathion, and busulfan, were in the lowest LD50 (i.e., highest toxicity categories).  Hunter et al. (1979) also observed that the largest variation was associated with the most toxic substances.

4.5	Summary

In vivo reference data for comparison with the in vitro NRU cytotoxicity data for the 72 substances were determined by analyzing rodent LD50 values identified by literature searches and secondary references.  Rat LD50 values were preferred, but when rat data could not be located for three substances, mouse LD50 values were used.  The 491 LD50 values located consisted of 485 rat oral LD50 values and six mouse oral LD50 values.  Identifying a high quality data set determined under GLP guidelines was not possible since only 3% of the data records were in compliance.  Instead, a homogenous set of LD50 values for each substance was identified by excluding studies that employed the following materials and methods:

- feral rats

- rats < 4 weeks of age

- anesthetized rats

- test chemical administered in food or capsule

- LD50 reported as a range or inequality

After analyzing the remaining acceptable data for outliers, the remaining 385 values were used to determine in vivo reference values by calculating a geometric mean of the values for each reference substance.  The reference LD50 values for 20 substances varied enough from the initial LD50 values, which came from the RC and other summary sources, that the substances were classified into different GHS oral toxicity categories.

Since there is no reference test for the rodent oral LD50, the accuracy of the reference values for predicting the oral LD50 in humans could not be determined.  The reliability of the reference values was assessed by comparison to other evaluations of the performance of the in vivo acute oral toxicity tests.  Although the correlation of the reference values for the 58 RC chemicals with the RC LD50 was high (rs = 0.97), the reference LD50 values tended to be higher than the RC values.  The maximum:minimum ratio of the acceptable values for the 62 reference substances that had more than one LD50 value ranged from 1.1 to 25.9.  The maximum:minimum ratios for four chemicals were greater than one order of magnitude.

[This Page Intentionally Left Blank]

# Comments

Symbols needed