| Line Item | Description | Page |
| --- | --- | --- |
| 1.0 | AdministratiVE Support GENERAL INFORMATION .................. | C-1-1 |
| 1.1 | Annex Description ....................... | C-1-1 |
| 1.1.1 | Personnel .................................... | C-1-1 |
| 1.1.2 | Facilities and Utilities ..................... | C-1-1 |
| 1.1.2.1 | Facilities ................................................... | C-1-1 |
| 1.1.2.2 | Utilities ........................................................ | C-1-1 |
| 1.1.2.3 | Office Furniture................................................ | C-1-1 |
| 1.1.3 | Definitions and Acronyms .......................... | C-1-1 |
| 1.1.4 | Records, Reports, and Submittals ............. | C-1-1 |
| 1.1.4.1 | Records .................................................. | C-1-1 |
| 1.1.4.2 | Reports .................................................. | C-1-1 |
| 1.1.4.2.1 | Financial Management Reporting (NF533). | C-1-1 |
| 1.1.4.3 | Submittals | C-1-1 |
| 1.1.4.4 | Technical Reference Library | C-1-2 |
| 1.1.5 | Directives ................................ | C-1-2 |
| 1.1.5.1 | NASA Directive and Instructions | C-1-2 |
| 1.1.5.2 | Security Management Directives | C-1-2 |
| 1.1.6 | Restrictions, Limitations, and Special Conditions ................................................. | C-1-2 |
| 1.1.6.1 | General Conditions | C-1-2 |
| 1.1.6.2 | Vehicles | C-1-2 |
| 1.1.6.2.1 | Contractor Supplied Vehicles | C-1-2 |
| 1.1.6.3 | Hazardous Materials Spills...................... | C-1-2 |
| 1.1.6.4 | Radio Communications ............................... | C-1-2 |
| 1.2 | GENERAL MEETING SUPPORT | C-1-3 |
| 1.3 | FACILITIES .............................................. | C-1-3 |
| 1.3.1 | Designate Building Manager ...................... | C-1-3 |
| 1.3.2 | Maintain Security of Facilities ...................................... | C-1-3 |
| 1.4 | GOVERNMENT PROVIDED PROPERTY | C-1-3 |
| 1.4.1 | Government Furnished Property ..................... | C-1-3 |
| 1.4.2 | Installation Accountable Property ..... | C-1-3 |
| 1.5 | QUALITY CONTROL PROGRAM........... | C-1-4 |
| 1.5.1 | Quality Control Plan ............................ | C-1-4 |
| 1.5.2 | ISO 9001 – 2000 Certification ………….... | C-1-4 |
| 1.6 | SAFETY AND HEALTH PROGRAM....... | C-1-5 |
| 1.6.1 | Safety and Health Program ............................ | C-1-6 |
| 1.6.2 | Voluntary Protection Program (VPP) Certification by OSHA .....…………….... | C-1-6 |
| 1.6.3 | Safety and Health Plan .....…………….... | C-1-6 |
| 1.6.4 | Records, Reports, and Submittals ..….... | C-1-6 |
| 1.6.4.1 | Statistical Information - Contractor Safety and Health Program ………………………….... | C-1-7 |
| 1.6.4.2 | Safety and Health Program Self-Evaluation …………………………… | C-1-7 |
| 1.6.4.3 | Roster of Terminated Employees …….... | C-1-7 |
| 1.6.4.4 | Material Safety Data Sheets (MSDS) …... | C-1-7 |
| 1.6.4.5 | Hazardous Materials Inventory ……….... | C-1-7 |
| 1.6.4.6 | Hazard Abatement Notices and Plans ….. | C-1-7 |
| 1.6.4.7 | Lessons Learned ..…………………….... | C-1-8 |
| 1.6.4.8 | Monthly Safety and Health Metrics ….... | C-1-8 |
| 1.6.4.9 | Annual Summary of Occupational Illness or Injuries | C-1-8 |
| 1.6.4.10 | Annual Work Site Safey Analyses | C-1-8 |
| 1.7 | FUNCTIONAL METRICS ..……….......... | C-1-8 |
| 1.8 | EMERGENCY MANAGEMENT | C-1-8 |
| 1.8.1 | Emergency Management Program | C-1-8 |
| 1.8.2 | Emergency Preparedness Plan | C-1-8 |
| 1.9 | Information Technology Support | C-1-9 |
| 1.9.1 | General Information | C-1-9 |
| 1.9.1.2 | Information Technology Systems | C-1-9 |
| 1.9.1.3 | Special Data Rights | C-1-9 |
| 1.9.1.4 | Special Data Rights if leased service agreement software is used | C-1-9 |
| 1.9.1.5 | Hardware Configuration | C-1-9 |
| 1.9.1.6 | Government-provided Computer Workstations | C-1-9 |
| 1.9.1.7 | Workstation Hardware and Software Audits | C-1-9 |
| 1.9.1.8 | Standard Software Insallation/Usage | C-1-9 |
| 1.9.1.9 | Network Connections | C-1-10 |
| 1.9.1.9 | Server-based Storage | C-1-10 |
| 1.9.1.9.1 | Server-based Storage for General Use Applications | C-1-10 |
| 1.9.1.9.2 | Server-based Storage for General Web Applications | C-1-10 |
| 1.9.1.9.3 | Maintenance (cleanup and removal of old files) / usage | C-1-10 |
| 1.9.1.11 | Printer Support | C-1-10 |
| 1.9.1.11.1 | Networked Laser/Mainframe Laser/Impact Printers | C-1-10 |
| 1.9.1.11.2 | Contractor provided printer supplies | C-1-10 |
| 1.9.1.12 | Miscellaneous Hardware | C-1-10 |
| 1.9.1.13 | Data Integrity | `C-1-10 |
| 1.9.1.14 | Building Number Standard | C-1-10 |
| 1.9.1.15 | Systems Descriptions | C-1-11 |
| 1.9.1.15.1 | Security Operations System | C-1-11 |
| 1.9.1.15.2 | Bar Code Scanner System | C-1-11 |
| 1.9.1.15.3 | Badging System | C-1-11 |
| 1.9.1.15.4 | Security Control Systems | C-1-11 |
| 1.9.1.15.5 | Visitor Badge Request System | C-1-11 |
| 1.9.2 | Security Operations System | C-1-11 |
| 1.9.3 | Bar Code Scanner System | C-1-11 |
| 1.9.4 | Badging System | C-1-11 |
| 1.9.5 | Security Control Systems | C-1-11 |
| 1.9.6 | Visitor Badge Request System | C-1-11 |
| 1.9.7 | IT Security | C-1-12 |
| 1.9.7.1 | Contractor Computer Security Manager | C-1-12 |
| 1.9.7.2 | Risk Assessment/ Security Plans Support | C-1-12 |
| 1.10 | Enviromental Requirements | C-1-12 |
| 1.10.1 | Operate Classified Waste Incinerator | C-1-12 |
| 1.10.2 | Environmental Management System | C-1-12 |
| 1.10.3 | Affirmative Procurement | C-1-12 |
| TABLE 1-1 | DEFINITIONS ........................................... | C-1-13 |
| TABLE 1-2 | ACRONYMS AND ABBREVIATIONS ....... | C-1-15 |
| TABLE 1-6 | VPP ELEMENTS AND SUB-ELEMENTS ... | C-1-6 |

ANNEX 1

ADMINISTRATIVE SUPPORT

1.0	AdministratiVE Support GENERAL INFORMATION

1.1. 	ANNEX DESCRIPTION

This Annex identifies Administrative and Management support related to performance of services throughout this Contract.  Even though this Annex contains certain guidelines, the Contractor has the responsibility to establish an innovative management program.

    - Personnel

All Contractor security personnel shall be U.S. citizens and eligible for Secret personnel security clearances in accordance with (IAW) Section 2, paragraph 2-210, of the **DOD National Industrial Security Program Operating Manual (NISPOM).

1.1.2	Facilities and Utilities

The Government will furnish to the Contractor all available facilities and utilities defined below.

1.1.2.1 Facilities.  The Government will provide adequate space to house Contractor personnel. Government-furnished facilities or portions thereof, to be provided to the Contractor are identified in Section J, Attachment F, List 4.   Requests for additional facilities or modifications to the facilities furnished shall be submitted to the CO and will be implemented at the discretion of the Government.

1.1.2.2 Utilities.  The Government will provide all utilities for Government-furnished facilities assigned to the Contractor for the performance of services identified in this Contract.  The Contractor shall exercise reasonable efforts to conserve energy per **JMI 8836.1, Johnson Space Center's (JSC's) Energy Conservation Policy.

1.1.2.3 Office Furniture.  The Government will provide office furniture as it exists or as it is available.  If the Contractor requires other than provided office furniture, it is their responsibility to provide it.

1.1.3	Definitions and Acronyms

Definitions and acronyms used throughout this Contract are identified in 
Tables 1-1 and 1-2.   The Federal Acquisition Regulation along with Webster's Ninth New Collegiate Dictionary will be used for defining words not specifically addressed.

1.1.4	Records, Reports, and Submittals

The Contractor shall maintain records and documentation necessary to substantiate that services have been accomplished as specified and support Government audits with adequate personnel and timely documentation retrieval.  Specific records, reports, and submittals required by the Government are identified in each applicable Section.  All such records and documentation shall be the property of the Government.

The Contractor shall provide continual Government electronic access to required documentation records, reports, and submittals.  The data items formatted in the databases, reports, and documents that exist on the effective date of this Contract are examples of the frequency, category, and activity description to be maintained in the electronic database. See the Technical Reference Library (TRL) for existing data.  Items in this SOW that have been bolded and "**" are located in the TRL.

Selected records, reports, and submittals are required by the Government via Data Requirement Descriptions (DRD's) (Section J, Attachment B). Proposed changes to required records, reports, and submittals may be submitted for consideration and approval by the CO.  Records shall be available for review by the CO or designated technical representative and auditors.  Upon completion of the Contract, all records shall be turned over to the Government.  Selected records, reports, and submittals are further described as:

1.1.4.1.  Records.  For the purpose of this Contract required databases are considered as records.  All logs, records, files, databases, workload data, etc., identified shall be maintained throughout the life of the Contract and as otherwise may be required by law or regulatory authority.

      - Reports.  Report and instruction requirements are contained in individual DRD's in Section J, Attachment B.  Due dates are specified for each separate report.  When the due date falls on a Saturday, Sunday, or holiday, the report is due by 8 a.m., Monday, or the day following the holiday.  Reports shall be electronically available unless otherwise specified.  The Contractor shall develop reporting formats with NASA concurrence.

1.1.4.2.1 Financial Management Reporting (NF533).    The Contractor shall provide financial reporting as detailed in NASA FAR Supplement clause 1852.242-73 (see Section G of the Contract) and DRD AN-1-8.  An initial NF533Q report shall be submitted within 30 days of Contract start.

1.1.4.3.  Submittals.  Detailed plans and other submittals are required on an infrequent or one-time basis as identified.  Typically, the submittals require the Contractor to propose or define their plan or methodology for providing a specified service.  Updates are required whenever changes to the stated plan occur.

1.1.4.4 Technical Reference Library (TRL).  Reference documents, historical data, and workload data are available for reference in the Government-supplied TRL .

1.1.5	Directives

      - NASA Directives and Instructions.  NASA, JSC, Center Operations Directorate (COD), or the Security Office will issue directives, manuals, and instructions intended to establish policies and guidelines for organizations and persons on site (JSC, EF, and SCTF) for utilizing site facilities/services.  All Contractor personnel shall comply with all such directives, manuals, and instructions.  When two or more directives or instructions conflict, the Contractor shall notify the CO for clarification.  Government responses will be in writing.    Many of the directives applicable to this Contract are in the TRL.  Not all documents in the TRL are referenced in the SOW, but are included for information to the Contractor.

A listing of all NASA and JSC directives and instructions may be found at the following web address:

http://procurement.nasa.gov/cgi-bin/NAIS/nasa_ref.cgi

The Contractor is responsible for complying with all NASA and JSC directives and instruction that are directly related to the performance of work.

1.1.5.2  Security Management Directives (SMD).  The Contractor shall incorporate the SMD’s into all Contract functions.  Copies of the SMD’s are in the TRL.

1.1.6   Restrictions, Limitations and Special Conditions

1.1.6.1 General Conditions

1.1.6.1.1  The Contractor shall be responsible for obtaining any necessary licenses and permits, and for complying with any Federal, State, and Municipal Laws, codes, and regulations applicable to the performance of the work.

        - The Government may undertake or award other Contracts for additional work at or near the site of the work under this Contract.  The Contractor shall fully cooperate with other Contractors and with Government employees in the performance of their work.

1.1.6.2  Vehicles

Use of Contractor and Contractor employees’ vehicles shall be subject to the regulations in the ** JSC Traffic Vehicle Code Book.  Maintenance of Contractor vehicles shall be performed off-site, except for minor work such as changing tires, changing batteries, etc.  Parking of Contractor vehicles shall be as approved by the COTR.

1.1.6.2.1 Contractor Supplied Vehicles

The Contractor shall provide and maintain an adequate number of working vehicles required to perform all of the requirements of the SOW and identify this number of vehicles in their Management Plan (See Section L).  All vehicles shall be kept in a safe operating condition at all times with a valid State of Texas safety inspection sticker attached.  The Contractor shall provide all fuel, oil, and lubricants.  All patrol vehicles shall be four door sedans, as a minimum.  All vehicles shall be identically painted white.  All vehicles shall be clearly marked on both sides with a distinctive insignia.  (Design to be provided by the CO).  Each vehicle shall be equipped with emergency and security bar-lights, siren, PA system, handheld or fixed search light, and fire extinguisher.  Communication radios will be provided by the Government and installed by the Contractor.  The Contractor shall always have available on site (JSC) and in functional working condition the number of vehicles identified in their Management Plan.  The Government (Space and Life Sciences Directorate) will also provide three automatic defibrillators that will be maintained in roving patrol vehicles.  All security officers will be trained on the use of the automatic defibrillators.  Training will be made available by the Government.

1.1.6.3  Hazardous Material Spills

The Contractor shall immediately notify the Operations Center Control (OCC) in Building 24 at extension 33061 of any material spills suspected of being hazardous encountered during execution of the work or spills from Contractor-operated vehicles.

1.1.6.4   Radio Communications

The Contractor will be provided portable and mobile radios as GPE referenced in Section J, Attachment F, List 3.  Charging units will also be provided.  The Government will provide the maintenance and repair for these units.  The Contractor shall be limited to the use of Government approved and provided radios only.  The Contractor shall use only established and licensed approved radio frequencies.  At Contract completion, the radio communications equipment shall be returned to the Government.    Radios shall be used for security business only.  No radio transmissions are permitted in Buildings 4S, 5, 30M, 30S, 35, 48, the Engineering Systems Test Area (ESTA) area, and other posted buildings and rooms that indicate radio transmissions are not allowed.  The radios must be turned off before entering these buildings.

Damage to radios resulting from accidents, neglect, misuse, or other causes other than ordinary use, shall be reported to the Government in a survey report.

1.2  GENERAL MEETING SUPPORT

The Contractor shall be required to support meetings with NASA and/or JSC Contractors as part of normal business operations.  These meetings include, but are not Iimited to:  status briefings, incident investigations, review of mock emergency drills, operational reviews, quality reviews, safety meetings, hurricane preparedness meetings, STS Mission Readiness Reviews, special review committees/boards, continuous improvement team meetings, and management briefings.  These meetings will be held at JSC or in close proximity.

1.3 FACILITIES

| PERFORMANCE REQUIREMENTS | MINIMUM STANDARDS | WORKLOAD DATA |
| --- | --- | --- |
| 1.3.1 Designate a building manager for each Contractor occupied facility. Coordinate applicable Contractor operations with the NASA Facility Manager (FM) (for joint use facilities). Perform FM duties in the Government-furnished facilities fully occupied by Contractor. NOTE: Reference the **Facility Managers Handbook. Government-furnished facilities are identified in Section J, Attachment F, List 4. | 1.3.1 Ensure safety, security, energy and water conservation, housekeeping, and maintenance management is observed in each facility. Coordinate activities with NASA facility manager for joint use facilities. | B. 110, B.324, B.262a and b, and Guard Posts – |
| 1.3.2 Maintain physical security of all assigned facilities and establish a Key Control Program that provides a complete audit trail of all keys issued. | 1.3.2 Issued keys shall be accounted for at all times. |  |

1.4 GOVERNMENT PROVIDED PROPERTY

| PERFORMANCE REQUIREMENTS | MINIMUM STANDARDS | WORKLOAD DATA |
| --- | --- | --- |
| 1.4.1 Government Furnished Property (GFP) (GFP listed in Section J Attachment F, List 1) is provided to the Contractor to use at their discretion. 1.4.2 Maintain and Repair Installation Accountable Property (IAP) (IAP listed in Section J Attachment F, List 2). For the purpose of this Contract and FAR 45.509, major repair, replacement, or capital repairs for IAP shall be defined as lesser of 50% of the replacement cost or $5000 actual cost per occurrence. The Contractor shall submit to the CO a cost repair/replacement analysis for all repairs exceeding the values defined above that shall be necessary for the equipment being 100% available to perform its intended function. Replacement of IAP will be performed by the Government or by the Contractor if directed to do so by the CO. Repairs above the defined limits must be approved by the CO. The Contractor shall perform all repairs on IAP that are of less value than the defined limits above. | 1.4.1 Equipment is available when required by the Contractor to provide all functions required in the SOW. 1.4.2 Equipment to be 100% available to perform its intended functions and output during its operating period. In cases of unavailability due to breakage, repairs, reduced function, or output, the Contractor shall immediately supply and have onsite a temporary replacement. Notify CO when IAP must be replaced or repaired. |  |

1.5  QUALITY CONTROL PROGRAM

| PERFORMANCE REQUIREMENTS | MINIMUM STANDARDS | WORKLOAD DATA |
| --- | --- | --- |
| 1.5.1 Quality Control Plan. Submit a Quality Control (QC) Plan that is compliant with ANSI/ISO/ASQ Q9001 – 2000. The initial plan shall be prepared in accordance with DRD AN-1-2 and is subject to Government review and approval. Throughout the QC plan, wherever the term “product” occurs it also means service 1.5.2.2 Perform QC in accordance with the Government-approved Contractor QC Plan attached in Section J, Attachment A, Part 1. (Contractor provided) | 1.5.2.1 QC Plan is compliant with ANSI/ISO/ASQ Q9001 – 2000. Plan was prepared in accordance with DRD AN-1-2. 1.5.2.4 QC is performed per the QC Plan. | One plan |
| 1.5.2 ISO 9001-2000 Certification. 1.5.3.1 Obtain ISO 9001 - 2000 registration certification within one year of Contract start . Maintain annual ISO 9001 – 2000 certification through the life of the Contract. 1.5.3.2 Perform all corrective actions in accordance with Section J, Attachment G. | 1.5.3.1 Obtain ISO certification within first year of the Contract and maintain registration certification following obtainment. 1.5.3.2 Corrective action plans are provided on time. | One certification |

1.6 JSC SAFETY AND HEALTH PROGRAM

Safety and Health at JSC is implemented in accordance with the requirements of **JPG 1700.1, "JSC Safety and Health Handbook" which is closely tied to OSHA's Voluntary Protection Programs (VPP). Current JSC certification as a STAR site under VPP includes its Contractors and all team members of the Contractor who shall comply with all OSHA and NASA requirements as well.  It is the nature of VPP that STAR sites must continuously improve their safety and health programs to retain certification; this continuous improvement philosophy extends to JSC onsite Contractors as well. The 32 sub-elements of VPP are documented in the Federal Register of July 24, 2000 (available at the following link):

http://www.osha-slc.gov/FedReg_osha.data/FED20000724A.html.

The 4 categorical elements and 32 sub elements of VPP are shown in Table 1.  [Note: there are slight differences in how the sub elements are categorized in Table 1 when compared to the Federal Register.  OSHA's Region 6 VPP Office (which includes the State of Texas) established the categorical groupings of Table 1 for the purpose of annual self-evaluations by VPP certified participants.]

Table 1.6-1. VPP Elements and Sub Elements

| 1. Management Leadership and Employee Involvement | 2. Worksite Analysis | 3. Hazard Prevention and Control | 4. Safety and Health Training |
| --- | --- | --- | --- |
| 1.1. Management Commitment | 2.1. Manage-ment Understanding | 3.1. Certified Professional Resources | 4.1. Program Description |
| 1.2. VPP Commitment | 2.2. Industrial Hygiene | Hazard Elimination or Control | 4.2. Supervisors |
| 1.4. Planning | 2.3. Pre-use Analysis | 3.3. Process Safety Management | 4.3. Employees |
| 1.4. Written Safety and Health Program | 2.4. Hazard Analysis | 3.4. Occupa-tional Healthcare Program | 4.4. Emerg-encies |
| 1.5. Top Management Leadership | 2.5. Routine Inspections | 3.5. Prevention Maintenance | 4.5. PPE |
| 1.6. Authority and Resources | 2.6. Employee Hazard Reporting System | 3.6. Hazard Correction Tracking | 4.6. Managers |
| 1.7. Line Accountability | 2.7. Accident/ Incident Investigations | 3.7. Disciplinary System |  |
| 1.8. Contract Workers | 2.8. Trend Analysis | 3.8. Emergency Procedures |  |
| 1.9. Employee Involvement |  |  |  |
| 1.10. Safety & Health Program Evaluation |  |  |  |

| PERFORMANCE REQUIREMENTS | MINIMUM STANDARDS | WORKLOAD DATA |
| --- | --- | --- |
| 1.6.1 Develop, maintain, and implement a safety and health program according to a safety and health plan that will become part of the Contract once approved by NASA. The program shall be based on the 32 sub-elements of VPP found in Table 1.6-1, "VPP Elements and Sub Elements" (see previous page); and **JPG 1700.1, "JSC Safety and Health Handbook”, as revised. The plan shall be revised as needed by the Contractor to be consistent with evolving JSC and OSHA VPP requirements. Revisions to the plan require NASA approval. The plan includes various reports and submittals. The program shall result in: An OSHA lost workday case (LWCA) frequency rate (lost day and restricted duty cases included) of 1.5 or less. LWDC frequency rate + number of lost work day cases multiplied by 200,000 and divided by the total number of Contract hours worked. An OSHA recordable case (ORC) frequency rate (lost day, restricted duty, and medical treatment cases included) of 3.5 or less. ORC frequency rate = number of lost day, restricted duty, and medical treatment cases multiplied by 200,000 and divided by the total number of Contract hours worked. An OSHA lost workday case (LWC) severity rate (total days away cumulative) at the end of each Contract year of 33.3 or less. LWDC severity rate = total current Contract year and prior Contract year days away multiplied by 200,000 and divided by the total number of Contract hours worked (current Contract year). Note: Measures do not included occupational illnesses. Investigate Contractor-personnel mishaps and close calls (as defined in **JPG 1700.1, JSC Requirements Handbook for Safety, Heath, Environmental Protection, and Emergency Preparedness). The investigation includes identifying the root cause and abating the problem by establishing and implementing corrective action. When responding to mishaps and close calls, perform and submit a root cause analysis (e.g., Methods - proximate and contributing causes). Perform the analysis for OSHA recordable mishaps, first aid cases, property damage cases equal to or greater than $1000, and close calls with risk assessment codes of 1, 2, or 3 as defined in JPG 1700.1. Solutions (corrective actions) shall address the identified root causes. | 1.6.1 Meets all OSHA, NASA, JSC, and VPP requirements through life of Contract. The OSHA frequency rates are at or below the goals specified. Mishaps and close calls are investigated and root cause analyses are correctly performed. Solutions to mishaps and close calls identified root causes. | One Safety and Health Program |
| 1.6.2 Submit for VPP Merit certification within 1 year after Contract start. After Certification is obtained, maintain VPP Merit certification for the lifetime of the Contract. | 1.6.2 Request for VPP Merit certification is submitted within one year of Contract start and certification received. Maintain certification once received. | One certification |
| 1.6.3 Establish in accordance with DRD SA-1-1, "Safety and Health Plan." Implement plan as approved by the Government. Modify as needed to remain consistent with JSC and VPP. | 1.6.3 Plan fully implemented as approved; fully in accordance with NASA safety and health requirements; all 32 VPP sub elements are addressed. | One Safety and Health Plan |
| 1.6.4 Submit reports as specified below. Note: This data is used (1) to evaluate the JSC Safety and Health program as required by its VPP certification; (2) for Contract performance evaluation; and (3) to collect and share selected information with the JSC and NASA communities. | - |  |
| Statistical Information Instructions for preparing and submitting this information are provided with the form available from JSC online publications unless modified by the approved safety and health plan. Provide completed **JSC Form 288, Statistical Information – Contractor Safety and Health Program, by 10th of month following month being reported in accordance with DRD SA-1-4 | 1.6.4.1 Form submitted on time and in accordance with instructions | One report per month |
| 1.6.4.2 Provide a safety and health program self-evaluation report once a year by September 30th. See DRD SA-1-3 for requirements and delivery instructions. The self-evaluation shall follow the format specified in OSHA TED 8.1, "Revised Voluntary Protection Programs (VPP) Policies and Procedures Manual", Appendix H (Program Evaluation Report), Attachment 2 (VPP Onsite Evaluation Format for Safety and Health Programs) for a STAR work site which is found at the following link: http:/www.osha-slc.gov/OshDoc/Directive_data/TED_8_1A.html Provide action plans for identified problem areas. Action plans shall include schedule for periodic progress reports to the Government. Frequency of status reports shall to be agreed to by the Government and the Contractor for each problem area. | 1.6.4.2 All VPP sub-elements fully addressed. Report submitted on time and in proper format. Problem areas show timely improvement and closure. | One report per year |
| 1.6.4.3 Provide a list of all Contract personnel that no longer work on the Contract to the JSC Clinic to facilitate retirement of medical records. Each employee shall be identified by name, date of birth, and social security number. The report is due no later than 30 days after the end of each Contract year. See DRD SA-1-2 for requirements. | 1.6.4.3 All terminated employees (including subContractor employees) are listed and reported to the clinic monthly. | One report per year |
| 1.6.4.4 Provide material safety data sheets (MSDS) for all hazardous materials used on NASA property to JSC Occupational Health Office's Hazard Communication Section. Subsequent processing of MSDS will be in accordance with the safety and health plan. If the material represents a significant change in on site operations, the MSDS shall be provided to the Occupational Health Office at least 30 days prior to arrival to allow a Government assessment of the changes. See DRD SA-1-1. | 1.6.4.4 MSDS meet OSHA and Fed-Std-313 requirements are delivered on time and posted at the work sites. |  |
| 1.6.4.5 Conduct an annual inventory of hazardous materials used on NASA property. JSC Occupational Health provides instructions annually regarding schedule, coverage, and report format and delivery. Ensure the Government is aware of hazardous Contractor materials by developing, maintaining, and submitting a Hazardous Materials Inventory Report in accordance with DRD SA-1-5. Note – JSC’s Occupational Health Office provides instructions annually regarding schedule, coverage, and report format and delivery. | 1.6.4.5 All hazardous materials onsite are inventoried. Report is accurate and on time. | One report per year |
| 1.6.4.6 Submit a completed **JSC Form 1240, "JSC Notice of Safety or Health Hazard and Action Plan," for hazards within Contractor-occupied facilities that have not been fully abated within 30 days of discovery per DRD SA-1-7 . New and open hazards shall be reviewed with the COTR monthly to ensure proper abatement or closure of all hazards found in the Contractor’s work areas. (See DRD SA-1-1 and SA-1-3). | 1.6.4.6 Plans in place on time and delivered to CO on time |  |
| 1.6.4.7 Submit lessons learned to the JSC Occupational Safety Office quarterly in the format specified in DRD SA-1-15, "Lessons Learned." The lessons may come from innovations in safety and health; mishaps; close calls; or any other area pertinent to safety and health. Note: The CO may direct the Contractor to develop specific lessons learned. | 1.6.4.7 Submitted on time and in correct format | One report quarterly |
| 1.6.4.8 The Contractor shall submit monthly metrics in accordance with DRD SA-1-14. The metrics are in addition to those required by 1.6.1. The metrics shall be sent to JSC Occupational Health Office by the 20th of the month following the month being reported. | 1.6.4.8 On time and in accordance with data requirement. | One report per month |
| 1.6.4.9 The Contractor shall develop, submit, and maintain an annual summary of occupational illnesses and injuries. Report this data in accordance with DRD SA-1-6 by calendar year and provide to the Government no later than 15 February of the year following. | Report is accurate and on time. | One annual report |
| Report results of annual work site safety analyses. This report shall contain the result of surveys, inspections, close call investigations, and analyses of occupational injuries and illnesses. (See DRD SA-1-1) The report shall list the Contractor’s hazardous operations and it shall establish permit structures for hazardous processes. | Report is accurate and on time. | One annual report |

1.7 FUNCTIONAL METRICS

| PERFORMANCE REQUIREMENTS | MINIMUM STANDARDS | WORKLOAD DATA |
| --- | --- | --- |
| 1.7.1 Develop, acquire, maintain, record, and report Contract Functional Metrics. Report the various metrics, as further defined in the Contract Sections and Annexes of this Contract. See DRD AN-1-3. | 1.7.1 Metrics Reports to be received by the 10th of each month. No instance of report data not being continuously electronically available except for planned and unplanned utility outages. | One report per month |

1.8 EMERGENCY MANAGEMENT

| PERFORMANCE REQUIREMENTS | MINIMUM STANDARDS | WORKLOAD DATA |
| --- | --- | --- |
| 1.8.1 Establish and implement an Emergency Management Program to ensure compliance with **JSC’s Emergency Preparedness Plan, JPG 05900 and JPD 1040.2, JSC Emergency Preparedness Program. | 1.8.1 Program shall be inclusive of all required Emergency Plan Annexes, Appendices, and SOP's that support the overall Center Plan. | One program |
| 1.8.2 Develop an Emergency Preparedness Plan that encompasses applicable areas of JSC's Emergency Preparedness Plan, JPG 05900 | Accomplish plan per DRD AN-1-7. | One plan |

1.9	INFORMATION TECHNOLOGY  (IT) SUPPORT

1.9.1	General Information

The Contractor shall comply with all applicable NASA and JSC IT Directives and Guidelines.

The systems listed in paragraphs 1.9.2, 1.9.3, 1.9.4, 1.9.5, and 1.9.6 are normally available to the Contractor 365 days/yr., 24 hours/day, however, on occasion there will be planned or unplanned outages that will occur and the system will not be available. The Contractor shall have a manual backup process that shall capture the data that can be installed in the system once it has returned to service

1.9.1.2	Information Technology Systems

It is at the discretion of the Contractor to utilize the Government-provided systems or to initiate new systems for the purpose of increasing efficiency and to meet Contract requirements.  However, the new systems must parallel and act in the same manner as the Government-provided systems.  If the Contractor proposes to deviate from the existing systems, all proposals shall be submitted in writing, through the CO, for approval prior to implementation.

1.9.1.3	Special Data Rights

The Government has unlimited access to and rights in all data including source programs, runtime versions, setups, backup tapes, and databases generated for the purposes of Contract requirements, including any new applications and data developed during this Contract. The intent of this requirement is to allow the Government to provide to a follow-on Contractor the workable processes equivalent to those provided or upgraded at the start of this Contract and to provide the Government access to the data that may be shared with other Government systems/users that are not a part of this Contract.

1.9.1.4	Special Rights (if leased service agreement software is used)

Identify all leased software and provide list to the CO upon request.

1.9.1.5	Hardware Configuration

GENERAL:  The IT System consists of:

(1) Installation-provided hardware

(2) A JSC Institutional Network System (INS) linking all onsite computer systems via Ethernet with 100 Base-T cabling, site PC’s have 10/100 base cards.

(3) Installation-provided off-the-shelf programming software.

(4) Installation-provided systems that include programs, databases, on-line systems, and report-generating programs.

(5) IT Hardware

(6) Installation operated Web Based Applications.

These Installation-provided systems are integrated with and necessary for the performance of the overall Contract.   The Contractor will be allowed to utilize the hardware to support internal Contractor requirements.

1.9.1.6 Government-Provided Computer Workstations

The Government will provide workstations (24) per SectionG.7 of the Contract. These workstations will be equivalent to those provided for civil service personnel.  The workstations will be refreshed on a three-year cycle. Each workstation will come complete with a recent version of a Windows based operating system. These workstations will be upgraded to more current operating system versions, as the Government deems necessary. Each workstation will have the Center standard load.  At present this includes the operating system plus a standard version of Microsoft Office, antivirus software, and various viewers. The Contractor shall request through the CO any additional workstations required above the quantity listed.   The workstation (seat) and network connections are provided and maintained by the Government Seat Contract (known as ODIN).

Note: The workstations that are used as part of the badging system are described separately.

1.9.1.7 Workstation Hardware and Software Audits/Push, Pull or Automatic Updates of Software.

The Government uses an automated electronic equipment auditing system on all computer workstations (hardware and software) connected to the network.  The Contractor will be provided access to the data for their computer workstations. The Government also uses an automated process to push, pull, or do automatic upgrades to workstations.  For example, the Government does automatic periodic upgrades of the virus definitions. The Contractor shall cooperate with the Government for the upgrades and audits.

1.9.1.8 Standard Software Installation/Usage

The Contractor shall use software that is compatible with the Center standard (type and version) to permit the flow of information back and forth with other COD elements with minimal impact. The Contractor shall use a software load on the computer workstations that is compatible with the software used by other COD elements.

Note: Each of the existing user computer workstations is configured with the Center standard software, including a recent version of Microsoft Windows with access to the server-based administrative applications (Microsoft Office, Web Browsers), the Center Electronic Mail System, News Readers, and 3270 emulators (where applicable).    The Government will provide e-mail accounts for Contractor personnel.

1.9.1.9  Network Connections

The Government will provide the network interface for all Government provided and Contractor provided workstations.

1.9.1.10  Server- Based Storage

1.9.1.10.1 Server-Based Storage for General Use Applications

Government supplied space will be provided for server-based general use applications and databases. The Government will perform administrative functions for these servers. Reasonable amounts of storage will be provided to the Contractor.

1.9.1.10.2  Server-Base Storage for General Web Applications

Space will be provided on Government servers for server-based Web applications and databases. The Government will perform server administrative functions for these servers. The Contractor will be responsible for all of the data/data input. Reasonable amounts of storage will be provided to the Contractor.

1.9.1.10.3  Maintenance (clean up and removal of old files)/Usage

The Contractor shall cooperate with the Government to remove/archive old files that are needed only for historical reasons. The intent is to provide reasonable storage, and yet be able to enforce reasonable storage housekeeping rules. Server space is provided to support necessary Contractor operations, however, the server storage is only to be used for current needs.

1.9.1.11  Printer Support

1.9.1.11.1  Networked Laser/Mainframe Laser/ Impact Printers

General use networked black and white laser printers/impact printers will be made available to the Contractor.  These printers will be maintained and replaced with current Center standard equipment by the Government as the printers become obsolete.  The requirement for providing Networked printers does not include any buildings/locations where the total number of users in the area is less than 5. For areas with 5 or less users, it shall be the Contractor’s responsibility to provide local direct connect or local shared printers.

Any additional printers shall be the responsibility of the Contractor.  The Contractor is responsible for special printers/special use (personnel, payroll, etc. where privacy concerns might preclude the use of network printers by other users).

1.9.1.11.2  Contractor-Provided Printer Supplies

The Contractor shall provide all printer consumables (toner, inkjet ink, ribbons, paper, etc.).  The consumables shall be compatible with the printers. The Contractor shall provide all consumables for the site badges (badge material, badges, printer rolls etc.).

1.9.1.12  Miscellaneous Hardware

Provide any miscellaneous hardware (i.e., scanners, CR-RW units, zip drives, additional memory and the like) over and above what is provided with a standard workstation.

1.9.1.13  Data Integrity

The Contractor shall design and maintain databases to have data field integrity. This requires that the field used is the right type (i.e. numbers for number fields, dates for date fields, etc.).  The Contractor shall provide accurate data input.

1.9.1.14  Building Number Standard

Maintain building data integrity in all databases by using a standard method to reference buildings.

Buildings shall be related in the database(s) structure using a 7 character fixed length designation. Examples are as follow:

J*001**

J*009NW

JT585**

E*990**

S*920L*

Note: The first character represents the site “J” for Johnson Space Center, “E” for Ellington Field, and “S” for the Sonny Carter Training Facility. The second character represents the building Prefix with “T” for Temporary and an “*” for “No Prefix”. Characters 3, 4, and 5 are the building number with leading zeros to pad the data. The last two characters are the suffix with “**” as “no suffix” for the character spacing and either on suffix followed by an “*” or a two letter suffix. It is intended that the users will see the generic number for a building  (example 1, 2, 3, 4S, 11, 30S).

1.9.1.15  System Descriptions

1.9.1.15.1  Security Operations System (SOS)

The SOS is a Government provided and maintained SQL Server application that the Contractor shall use to input data such as vehicle decals, parking tickets, parking space assignments, and similar demographic information about personnel.

1.9.1.15.2  Bar Code Scanner System

The Government will provide 9 Barcode Scanners including battery charging units, upload cradles, holsters, etc., for the Contractor’s use (see Section J, Attachment F, List 2).   The Government will provide normal maintenance of the barcode scanners.

The scanners are preprogrammed by the Government to provide the capability to gather information electronically. The Contractor shall use the system to gather data (such as doors opened, doors locked, user badge data, theft investigations, etc.)

1.9.1.15.3  Badging System

The badging system is a Government-provided system and the Contractor shall operate the system for issuance of long term and permanent badges that contains the demographic information about all users that are issued badges (name, org, date badge issues, user digital photograph, signature etc.).

1.9.1.15.4    Security Access Control System

Security Access Control systems are Government systems used for access control for various secure areas at JSC. The Contractor shall use these Government provided systems to control user access.

1.9.1.15.5  Badge Request Systems

The badge request systems are web-based systems in which an organization/employee can request the issuance of a JSC badge for employees, official visitors, and foreign nationals. JSC Security reviews the requests in IVAN/NFNMS and, if approved, uses this system to advise the Requesters that a badge can be issued (and any restrictions; i.e., certain buildings, dates, etc.).   Designated contractor and/or civil servant employees are authorized to request/approve badge requests using the employee and official visitor badge systems.  Diamond Group clerks who have completed the appropriate/required training are approved access to these badge request systems, and user-training manuals are available within the systems that provide detailed instructions for use.

| PERFORMANCE REQUIREMENTS | MINIMUM STANDARDS | WORKLOAD DATA |
| --- | --- | --- |
| 1.9.2 Security Operating System (SOS). Provide the necessary support to input data into the SOS system. Provide the day-to-day training for new users. Note: System description is in section 1.9.1.15 | Data is correct. | Periodic overview plus maintaining data |
| 1.9.3 Badging System. Provide the necessary support to input data into the badging system. Provide the day-to-day training for new users on the system. Note: System description is in section 1.9.1.15 | Data is correct | Periodic overview plus maintaining data |
| 1.9.4 Barcode Scanner System. Provide Barcode Scanning system support by scanning the appropriate barcodes. Specifically, the Contractor shall scan the doors that are open and closed and upload the data to the database. The Contractor shall also maintain the Door Status database that lists all of the exterior doors at JSC, Ellington, and SCTF as well as selective interior doors, and sections of the perimeter fencing. Provide the day-to-day training for new barcode users on the system. Note: System description is in section 1.9.1.15 | Data is correct | Periodic overview plus maintaining data |
| 1.9.5 Security Access Control Systems. Provide system support by maintaining user data in the system. Note: System description is in section 1.9.1.15 | Data is correct | Periodic overview plus maintaining data |
| 1.9.6 Badge Request Systems. Provide Badge Request System support by answering user questions and using the system to issue badges that are requested via the web and approved by NASA Security/IVC, authorized company officials, and/or onsite employees. Maintain the on-line JSC Form 200 that documents the signatures of approved company officials or civil servants authorized to request and approve government and contractor employee badges. Note: System description is in section 1.9.1.15 | Data is correct and badges issued in accordance with established procedures. | Periodic overview (hourly) plus maintaining data. |
| 1.9.7 IT Security. |  |  |
| 1.9.7.1 Contractor Computer Security Manager. Appoint, in writing, a Computer Security Manager (CSM). CSM qualifications and duties include, but are not limited to: Attending and supporting security meetings. Complying with NASA and JSC IT policies, procedures, and guidelines. **JPG 2810.1 JSC IT Security Handbook | Ensure compliance with IT standards |  |
| 1.9.7.2 Risk Assessment / Security Plans Support. Provide support to the COD CSM to review various security risk assessments security plans of new and major system configuration changes to the Directorate Computer Security Official (CSO). | Risk Assessments reviews shall be in accordance with the current version of the Center IT Security Manual. |  |

  - ENVIRONMENTAL REQUIREMENTS

| PERFORMANCE REQUIREMENTS | MINIMUM STANDARDS | WORKLOAD DATA |
| --- | --- | --- |
| 1.10.1 Operate Classified Waste Incinerator. Comply with all regulatory requirements identified in the **Classified Waste Incinerator Operating Procedure, 400-10, at all times. | 1.10.1 All records are accurate, complete and readily accessible. The incinerator is operated within all regulatory guidelines and limitations. | Incinerator operations 20-22 times per year. Total weight incinerated 2000 -2200 lbs. |
| 1.10.2 Environmental Management System (EMS). Conduct all work at JSC in compliance with JSC’s **EMS Policy Manual and its referenced procedures. This includes, but is not limited to, identifying all Contractor aspects (activities, services and products) that have environmental impacts. All aspects with impacts must be controlled through procedures or engineering controls or other appropriate methods. Include environmental requirements, controls, calibration, measuring and monitoring, and training requirements in applicable operating procedures and other documentation. The Contractor shall utilize an ISO 9000 compliance method for EMS documentation and records. All Contractor employees shall receive annual training, including but not limited to: EMS awareness, recycling and pollution prevention, and general environmental awareness. This training shall be recorded and documented. Documentation shall be produced upon request by the Government. The Contractor will be periodically audited for conformance with JSC’s EMS. Corrective action shall be initiated in accordance with JSC ISO 9000-2000 and EMS corrective action requirements on all non-conformances identified. | 1.10.2 Compliance with JSC EMS requirements. |  |
| 1.10.3 Procure Recycled Items and Materials. Procure and use materials with recycled content in accordance with **EO13101 and its amendments and all NASA use of recycled materials policies. Recycling shall included paper and paper products, lubricating oils, insulation, tires and any other Environmental Protection Agency (EPA) designated items when economically feasible and where proper equipment operation will not be compromised. Track procurement of such items. See DRD AN-1-6. | 1.11.3 Compliance with EO’s and Procurement requirements. Procurement information is tracked accurately. |  |

### TABLE 1-1

##### DEFINITIONS

Annually - Service is accomplished 1 time during each 12-month

period of the Contract, at intervals of 11 to 13 months.

Center Operation Support Services (COSS) - A multi-function Johnson Space Center Contract providing base operating services for Johnson Space Center, Ellington Field and Sonny Carter Training Facility with the exception of security services.

Daily (D) - Service is accomplished 1 time a day, Monday through

Friday (excluding holidays), during each 12-month period of the Contract,

at intervals of 22 to 26 hours (not including Saturday and Sunday).

Day - For purposes of this Contract, a day is defined as 1 calendar day.

Emergency Operations Dispatch Center – The EDC is the area in the EOC where the consoles and dispatching communication systems are located for monitoring and dispatching all of the activities associated with security and fire detection activities.

Emergency Operations Center – The EOC located in B. 30L third floor is an area that is dedicated to the coordination and management of emergency operations at JSC.  The EOC consists of three areas: the community partners area, the Emergency Response Team Conference and Control Area, and the Emergency Dispatch Center and offices.

Events Log – Daily listing that contains pertinent information on suspended drivers, escort requirements, and special events such as large meetings or visits held at the Gilruth Center.  Prepared by the Customer Service Help Desk  and distributed to all security gates

Facility Manager -  The responsible Government person, a point of contact for the onsite safety and health of a building and its occupants (building "superintendent").

Fiscal Year - An accounting period of 12 months.  NASA fiscal year extends from October 1 through September 30 of the following year.

# Guard Mount – A briefing and inspection of guards coming on duty at changes of shift.  Guards are briefed on any pertinent information pertaining to their post.  Guards are also inspected for uniform and appearance standards.

# Help Desk -  Provides customer service support which includes, but not limited to the following:  key requests, classified meetings, lost and found, reserved parking, Contractor termination and receipt of property, clearance briefings, special parking permits, and preparation of the daily special events log.

Immediate/Immediately - For purposes of this Contract, immediately means with no interval of time or delay.  Immediate response shall comply with training received through Emergency Vehicle Operators Course (EVOC) Training.

Maintenance - Includes day-to-day periodic, scheduled, or unscheduled work required to preserve or restore a piece of equipment, a system, or a real property structure, facility or utility to such condition that it may be effectively utilized for its intended purpose output, redundancy, and availability.

Missions – Missions are defined as Space Shuttle Missions.  The Mission period begins at 24 hours prior to launch and ends 4 hours after landing.  There are approximately 8 Missions per year.

Monthly (M) - Service is accomplished 12 times during each 12-month

period of the Contract, at intervals of 28 to 32 days.

Normal Working Hours – 7 a.m. to 5 p.m., Monday thru Friday, excluding holidays. During normal working hours means that an individual shall work their normal 8-hour workday within this time period. It does not mean that coverage is needed during the entire period unless it is specified.

On-Line Access – Immediate and direct access by local area network using Government computers to databases generated for the purposes of Contract requirements with the capability to compile and generate reports.

On Site – Encompasses JSC, Ellington Field, and SCTF.

Post – A station or task to which guards are assigned.

Quarterly (Q) - Service is accomplished 4 times during each 12-month period of the Contract, at intervals of 80 to 100 days.

Recycled - Includes use, reuse, or reclamation of a discarded material.

Regulated Substances - For purposes of this Contract, regulated substances includes any substance regulated by environmental regulations such as hazardous wastes, industrial wastes hazardous material, recyclables, and Toxic Substance Control Act (TOSCA) material.

Response Time – Response time is defined as the time allowed the Contractor after initial notification of a work requirement to be physically on the premises at the work site with appropriate equipment and materials, ready to perform the work required.

Semi-Annually (S) - Service is accomplished 2 times during each 12-month period of the Contract, at intervals of 160 to 200 days.

Shift - The period of time defined as one third of a 24-hour day.

Traffic Control – Uniformed, trained security officers directing traffic in emergency and special situations to maintain control of vehicles and personnel.  Special situations include, but not limited to, loss of traffic control lights, parade support, parking control for special events, limiting access for special requirements.  Traffic control also provides special escorts for emergency vehicles, transporting of space or test hardware, escort of VIP’s, escort of astronauts, and any special traffic direction or control methods, measures, or techniques as necessary to support the mission of JSC.

| ACRONYMS AND ABBREVIATIONS |
| --- |
| ADP | Automated Data Processing |
| AIDS | Acquired Immune Deficiency Syndrome |
| AIS | Automated Information Security |
| ANSI | American National Standards Institute |
| AR | Anomaly Reports |
| ASCAN | Astronaut Candidate |
| ASQ | American Society of Quality |
| BPA | Blanket Purchase Agreement |
| CAA | Controlled Access Area |
| CAD | Computer Aided Dispatch |
| CAP | Contractor-Acquired Property |
| CCTV | Closed Circuit Television |
| CD | Compact Disc |
| CDO | Contractor Duty Officer |
| CDPA | Control Document Production Area |
| CFE | Contractor-Furnished Equipment |
| CFM | Contractor-Furnished Material |
| CFP | Contractor-Furnished Property |
| CFR | Code of Federal Regulations |
| CO | Contracting Officer |
| COB | Close of Business |
| COD | Center Operations Directorate |
| COMSEC | Communication Security |
| COSS | Center Operations Support Service Contractor |
| COTR | Contracting Officer's Technical Representative |
| CPU | Central Processing Unit |
| CRN | Change Request Notification |
| CRV | Current Replacement Value |
| CSM | Computer Security Manager |
| CSCS | Central Security Control System |
| CSO | Computer Security Official |
| DOA | Designated Authorizing Official |
| DAR | Daily Activity Report |
| DD | Department of Defense |
| DOD | Department of Defense |
| DOL | Department of Labor |
| DR | Discrepancy Reports |
| DRD | Data Requirements Description |
| EDC | Emergency Operations Center Dispatch Center |
| EMS | Environmental Management System |
| EPA | Environmental Protection Agency |
| EO | Executive Order |
| EOC | Emergency Operations Center |
| EOD | Explosive Ordinance Detail |
| EPCRA | Emergency Planning & Community Right-to-know Act |
| ESTA | Engineering Systems Test Area |
| ERT | Emergency Response Team (NASA JSC) |
| EWS | Emergency Warning System |
| FAA | Federal Arrest Authority |
| FATS | Firearms Training System |
| FAR | Federal Acquisition Regulation |
| FCC | Federal Communications Commission |
| FCR | Flight Control Room |
| FM | Facility Manager |
| FMD | Financial Management Division |
| FPMR | Federal Property Management Regulations |
| FY | Fiscal Year |
| G&A | General and Administrative |
| GAO | General Accounting Office |
| GED | General Equivalency Diploma |
| GFE | Government-Furnished Equipment |
| GFM | Government-Furnished Material |
| GFP | Government Furnished Property |
| GPE | Government Provided Equipment |
| GSA | General Services Administration |
| HDS | Hazardous Devices School |
| HAZMAT | Hazardous Material |
| HAZWOPER | Hazardous Material Operations Emergency |
| HFD | Houston Fire Department |
| IAP | Installation Accountable Property |
| IAW | In accordance with |
| ID | Identification |
| ISD | Information Systems Directorate |
| ISO | International Standards Organization |
| IT | Information Technology |
| JA141 | Security Branch Mail Code |
| JHB | JSC Handbook |
| JMI | JSC Management Issuance |
| JPC | JSC Policy Charter |
| JPD | JSC Policy Directive |
| JPG | JSC Procedures and Guidelines |
| JSC | Johnson Space Center |
| KSC | Kennedy Space Center |
| LEPC | Local Emergency Planning Committee |
| LMF | Light Manufacturing Facility, SCTF |
| LMR | Land Mobile Radio |
| M | Monthly |
| MCC | Mission Control Center |
| M-F | Monday Though Friday |
| MSDS | Material Safety Data Sheet |
| NAC | National Agency Check |
| NASA | National Aeronautics and Space Administration |
| NBL | Neutral Buoyancy Laboratory, SCTF |
| NCRS | National Criminal Reporting System |
| ND | Institutional Safety and Quality Division Mail Code |
| NHB | NASA Handbook |
| NISPOM | National Industrial Security Program Operating Manual |
| NMI | NASA Management Instruction |
| NPD | NASA Policy Directive |
| NPG | NASA Procedures and Guidelines |
| NRP | NASA Resource Protection |
| OCC | Operations Control Center |
| OIG | Office of Inspector General |
| OJT | On the Job Training |
| OMB | Office of Management and Budget |
| OSHA | Occupational Safety and Health Administration |
| PAO | Public Affairs Office |
| PC | Personal Computer |
| PO | Purchase Order |
| POST | Police Officer Standards and Training |
| PPE | Personnel Protective Equipment |
| PRP | Personnel Reliability Program |
| Q | Quarterly |
| QA | Quality Assurance |
| QA/QC | Quality Assurance/Quality Control |
| QAE | Quality Assurance Evaluator |
| QC | Quality Control |
| QCM | Quality Control Manager |
| RFP | Request for Proposal |
| RMP | Risk Management Plan |
| RS | Regulated Substances |
| R&U | Redistribution and Utilization |
| RVI | Random Vehicle Inspections |
| SAC | Security Access Control |
| SAIL | Shuttle Avionics Integration Laboratory |
| SCH | Space Center Houston (Off site visitors center) |
| SCTF | Sonny Carter Training Facility |
| SDIL | Software Development and Integration Laboratory, SCTF |
| SEMO | Supply and Equipment Management Officer |
| SF | Standard Form |
| SMD | Security Management Directives |
| SMS | Shuttle Mission Simulator Facility |
| SOP | Standard Operating Procedure |
| SOS | Security Operations Systems |
| SOW | Statement of Work |
| SPF | Software Production Facility |
| SPP | Standard Practice Procedures |
| SPSF | Shuttle Procedures Simulation Facility |
| SQL | Structured Query Language |
| SR&QA | Safety, Reliability, and Quality Assurance |
| SRT | Special Response Team |
| SWAT | Special Weapons Assault Team |
| TCLEOSE | Texas Commission on Law Enforcement Officer Standards and Education |
| TDY | Temporary Duty |
| TRL | Technical Reference Library |
| U.S. | United States |
| U.S.C. | United States Code |
| US GOVT | United States Government |
| USPS | United States Postal Service |
| VIP | Very Important Person |
| VPP | Voluntary Protection Program (OSHA) |