Section 4-1:	Assignment and Utilization of Space

4-1-00	Policy

10	Procedures

20	Guidance and Information

30	(Reserved)

4-1-00	Policy

HHS and OPDIVs, when acquiring or utilizing federally owned and leased space under the Federal Property and Administrative Services Act of 1949, as amended, must:

- promote the optimum use of space for each assignment at an economical cost to the Government, provide quality workspace that is delivered and occupied in a timely manner, and assign space based on mission requirements;

- provide assignment and utilization services that will maximize the value of Federal real property resources and improve the productivity of the workers housed therein;

- provide a quality workplace environment that supports program operations, preserves the value of real property assets, meets the needs of the occupant agencies, and provides childcare and physical fitness facilities in the workplace when approved;

- promote maximum utilization of Federal workspace, consistent with mission requirements, to maximize its value to the Government; and

- track the percent facility utilization at the constructed asset level in accordance with current FRPC guidelines for this performance measure.

Where there is no Federal agency space need, executive agencies must make every effort to maximize the productive use of vacant space through the issuance of permits, licenses, or leases to non-federal entities to the extent authorized by law.  All proposals for acquisition of space including office, laboratory, animal research, hospital, clinic, warehouse, etc, and/or HHS joint use space will require prior approval from OFMP.

A.	general hierarchy of consideration that HHS and OPDIVs must follow in their utilization of space

- First, utilize space in Government-owned and Government-leased buildings.

- If there is no suitable space in Government-owned and Government-leased buildings, utilize space in buildings under the custody and control of the U.S. Postal Service.

- If there is no suitable space in buildings under the custody and control of the U.S. Postal Service, agencies may acquire real estate by lease, purchase, or construction.

- Federal agencies must assume responsibility for the preservation of the historic properties they own or control.  Prior to acquiring, constructing or leasing buildings, agencies must use, to the maximum extent feasible, historic properties already owned or leased by the agency (16 U.S.C. 470h-2).

B.	Maximum Utilization Rate for Office and Related Space

HHS provides the following policy to all OPDIV and STAFFDIV components which acquire office and related space, either directly by lease, construction, or purchase, or through GSA or other existing facilities.  The maximum space allowable for planning and occupancy purposes is 215 useable square feet (as defined by the Building Owners and Managers Association) per person on average.  Persons are defined as budgeted FTEs and contractors on-site, including vacancies for which recruitment has been approved.  This standard refers to total space (office plus associated storage and special space) and applies to all acquisitions, as well as to new construction and renovations.  It does not include building and floor common areas (public elevators, lobbies, corridors, restrooms) or GSA or HHS joint use areas.  No private office shall exceed 350 usf.

For the purpose of this policy, “Special Space” includes the following: LAN room, break/kitchen rooms, telephone rooms or closets, copy rooms, reception areas, libraries (not staffed), training rooms (not staffed), and meeting rooms.

HHS Joint Use applications may include the following (with prior justification and approval): cafeterias/vending stands, day care facilities, health units, data centers (shared by installation), fitness centers, travel offices, credit unions, conference centers (shared by installation), training centers (staffed full time), libraries (staffed full time), and printing and reproduction units (staffed full time).

C.	Exceptions

An exception to this maximum utilization rate are acquisitions of field office space for 5 or fewer employees in cases where no blocks of space are offered which meet the requirement after all competitive procedures are exhausted.  Other HHS offices in the area, if any, shall first be contacted to see if space which will accommodate the requirement is already under lease.

Offices over 250 usf are reserved to OPDV heads or equivalents, or Departmental level officials (Deputy Assistant Secretary or higher).

D.	Tribally operated facilities

This policy is not applicable to Tribally Operated Facilities.

4-1-10	Procedures

Request for Space

Requests for approval to acquire space must be explained in a memo to OFMP.  Additionally the requesting office shall provide physical security information on any property under consideration so that OS can evaluate the adequacy of physical security provisions.  If an approved acquisition later requires additional space due to building characteristics discovered during design and layout, approval of the OFMP is required before taking action to acquire the additional space.

4-1-20	GUIDANCE AND Information

HHS supports GSA’s Integrated Workplace (IW) Program goal to "maintain a world-class workforce and world-class workplace," in order to promote development of high-performance workplaces that:

- meet HHS and OPDIV business needs;

- are best suited to their employees work functions; and

- can be readily adapted to accommodate new work practices and strategies while minimizing expense and delay.

High-performance workplaces are those that are developed in a sustainable way using an integrated process for their design, construction, and operation.  GSA has developed the "Hallmarks of the Productive Workplace" to describe the important characteristics of such workplaces: spatial equity, healthfulness, flexibility, comfort, connectivity, reliability, and sense of place.

A.	HALLMARKS OF THE PRODUCTIVE WORKPLACE

Spatial Equity:  Workspace provides adequate privacy, daylight, and access to views for all.

Healthfulness:  The workplace is free of harmful contaminants and excessive noise.

Flexibility:  Workspace can be quickly and inexpensively reconfigured to accommodate organization, work process, and technological changes.

Comfort:  People can adequately adjust their personal working environment – including temperature, lighting, acoustics, and furniture – to meet their needs.

Technological Connectivity: There is good communication and information access among distributed co-workers.

Reliability:  Building, security, computer, and telecommunication systems provide reliable service with minimal disruptions.

Sense of Place:  The workplace has a unique character, enabling a sense of pride, purpose, and dedication for both the individual and the workplace community.

The Integrated Workplace is a comprehensive design approach to assist in creating workplaces that address the “Hallmarks of a Productive Workplace,” and that integrate business plans, user needs, and space planning into an effective strategy for developing workspace and alternative strategies tailored to the specific needs of each individual and group within an organization.  The basic elements of the integrated workplace are the people who use it, the space that houses them, and the work strategy, technology, and process tools that enhance productivity.  Workplaces that engage these essential elements have been shown to increase the health and satisfaction of those using them, and to provide better value to the organization over their useful life.

B.	ADDITIONAL AUTHORIZED SPACE ALLOCATIONS

- Child Care Centers

In accordance with 40 USC 590b, Federal agencies can allot space in Federal buildings to individuals or entities that will provide childcare services to Federal employees if:

- Such space is available;

- HHS and OPDIVs determine that such space will be used to provide child care services to children of whom at least 50 percent have one parent or guardian who is a Federal Government employee; and

- HHS and OPDIVs determine that such individual or entity will give priority for available childcare services in such space to Federal employees.

2.	Fitness Centers

In accordance with 5 USC 7901, Federal agencies can allot space in Federal buildings for establishing fitness programs.  The following elements must be addressed in planning efforts to establish fitness programs:

- A survey indicating employee interest in the program;

- A three-to five-year implementation plan demonstrating long-term commitment to physical fitness/health for employees;

- A health related orientation, including screening procedures, individualized exercise programs, identification of high-risk individuals, and appropriate follow-up activities;

- An approach that will consider key health behaviours related to degenerative disease, including smoking and nutrition;

- A modest facility that includes only the essentials necessary to conduct a program involving cardiovascular and muscular endurance, strength activities, and flexibility; and

- Provision for equal opportunities for all employees, regardless of gender or grade level.

HHS entities must conduct a cost analysis to determine the competitive cost of providing a fitness center verses subsidizing employee memberships at outside facilities.

3.	Federal Credit Unions

In accordance with 12 USC 1770, Federal agencies may allot space in Federal buildings to Federal credit unions without charge for rent or services if:

- At least 95 percent of the membership of the credit union to be served by the allotment of space is composed of persons who either are presently Federal employees or were Federal employees at the time of admission into the credit union, and members of their families; and

- Space is available.

- Federal Employee Health Units

The provision for establishing health programs for Federal employees is contained in P.L. 7-658 (5 USC 7901).  The Act provides that employee health programs shall be established only after consulting with the Division of Federal Occupancy and Beneficiary Health Services Health Resources and Services Administration (HRSA), and consideration of its recommendations, and only in localities where there is a sufficient number of Federal employees to warrant the provision of such services.

Space for a full-time formally organized health program may be provided in buildings where the number of Federal employees to be served exceeds 300.

- Concessions

Concessions activities are those that sell a commodity or perform a service at an established price.  These include but are not limited to: barber and beauty shops, taxi stands, vending stands and machines, commissaries, mobile vending stands, canteens, soda fountains, lunch counters, and cafeterias.

  - It is HHS policy to provide for concessions, which are both convenient and beneficial for employees and patients, and that are likely to increase employee morale and efficiency.  OPDIVs will determine whether concessions are needed and feasible by the following criteria:

    - Sufficient funds must be available to defray any cost for which the Government will be responsible for under contractual agreement.

    - Sufficient and satisfactory space, not required for official purposes, must be available for the concession.

    - The concession must operate in accordance with applicable safety, health, and sanitations codes and regulations.

    - The commodities and services sold shall be limited to those that are beneficial for employees and patients that cannot easily be obtained from existing facilities.

    - Each concession shall be required to serve all Federal employees or patients without regard to their religion, race, color, sex, age, or national origin.

  - In granting permission to operate concession-type activities, consideration will be given in the following order:

- Activities involving the rehabilitation and therapy of patients under Sections 341-346 of the PHS Act, as amended, 42 USC § 257-261, the employment of Indian labor and selling of products of and selling of products of Indian Industry under the provision of Buy Indian Act, as amended, 25 USC § 47, and the operation of vending facilities for the blind under the Randolph-Shepard Vending Stand Act, as amended, 20 USC § 107 et. seq.

- Activities of HHS Employee Associations.

- Uses by private individuals and organizations.

- Commissaries and similar enterprises involving the use of HHS facilities for the sale of groceries, household goods, appliances, and any other commodity to employee will not be established at any installation unless it is isolated or remote and extreme hardship would result if such activities were not permitted.  The OPDIV shall submit a statement justifying the need for the commissary to OFMP prior to establishing the commercial activity.  The statement shall include information on the availability of foodstuffs and other supplies, transportation problems (goods and services), special living allowances, and other pertinent information.

The OPDIV responsible for the installation must ensure that applicable regulations are complied with and that proper conduct is maintained at each concession.  In particular, the OPDIV must ensure that operations are conducted in conformance with the terms and conditions of the agreement, applicable Federal, state and local regulations for safety, health, and sanitation, and such other operating standards as may be issued.

Unless otherwise stipulated in the agreement, the Concessionaire shall provide as follows:

- All equipment shall be in good condition and operating efficiently.

- Space preparations and subsequent alterations required for the installation and operation of concession, and cost entailed in removal of equipment, restoration of premises, etc., upon termination of the agreement.

- Cleaning of the area in an acceptable manner.  If the Government provides cleaning and related services, the Concessionaire shall reimburse the Government at actual cost when known, otherwise at a cost estimated by the OPDIV.

- Reimbursement for utilities such as heat, light, power, telephones, etc. as determined by the OPDIV, based on separately metered or estimated consumption.

The Concessionaire shall comply with the Equal Opportunity Clause prescribed by E.O. 11246 and “Rules of Conduct on Federal Property” as set forth in the FMR.

A Contracting Officer must sign the concession agreement, entered into in accordance to the FAR.

- Vending Stands for the Blind

The Randolph Sheppard Vending Stand Act (20 USC § 107 et seq.) provides priority for blind persons in the location and operation of vending facilities on Federal property.  It also directs the assignment of vending machine income and establishes certain State Licensing Agency responsibilities for effective management of the vending facility program for the blind in each state.

Blind persons licensed by state licensing agencies designated by the Secretary of Education, under the provisions of the Act, shall be given preference in the operation of vending facilities on any HHS controlled property.  Any limitation on the location or operation of a vending facility by a blind vendor, based on the finding that such location or operation would adversely affect the interest of HHS or its OPDIVs, shall be fully justified in writing to the Secretary of Education, who shall determine if such limitation is warranted.  A decision made by the Secretary concerning such limitation shall be binding and shall be published in the Federal Register.

Consideration shall be given to the inclusion of vending facilities in the planning for construction, substantial alterations, or renovations of buildings, and in leasing of space when the population of the building is sufficient to support such facilities.  Where it is determined that vending machines are to be installed on leased property, the necessary approval of the lessor shall be obtained prior to the approval of the U.S. Department of Education.

The appropriate State Licensing Agency shall be provided with written notice of HHS or OPDIV intention to acquire additional properties where 100 or more Federal employees will be occupying the space during normal working hours.  In actions meeting the notice requirement, HHS shall offer a satisfactory site.  See 34 CFR 395.31(c) and (d).

The permit shall be issued in the name of the applicant State Licensing Agency, shall prescribe such procedures as necessary pursuant to 34 CFR 395, and shall be for an indefinite term.  No charge will be made to the State Licensing Agency for use of government furnished space, or for the maintenance and repair of building structure in and adjacent to the vending stand areas.  This includes painting and decorating, utilities required to operate the vending stands and vending machines, and other related building services in accordance with normal levels of service.

The State Licensing Agency is responsible for purchase, installation, maintenance, repair, replacement, servicing, and removal of all vending facility equipment.  It is also responsible for cleaning necessary for sanitation over and above the standard level of service, and the maintenance of vending facilities and vending machines in an orderly condition at all times.

In granting approval to designated licensing agencies, or by contract with others, such as a necessary basic food service operation, the Department of Education regulations (34 CFR 395) should be followed.  It is the responsibility of the OPDIV to determine whether a vending machine on the property is in direct competition with a vending facility operated by a blind vendor, subject to the concurrence of the State Licensing Agency.

Section 4-2:	Parking Management

4-2-00	Policy

10	Procedures

20	Guidance and Information

30	(Reserved)

4-2-00	Policy

Parking facilities shall be in accordance with 41 CFR 102-74.265 through 41 CFR 102-74.310 and shall be compatible with the character of the neighborhood and consistent with local planning requirements.  They shall not adversely affect the use or appearance of the property, and shall not create traffic hazards.  HHS and its OPDIVs are not required to provide parking for employees; however, HHS and OPDIVs may do so as a convenience and reduce the impact on public and private parking facilities and streets.  The number of spaces provided at any HHS facility should correspond to the availability of private and public parking, public transportation, and the extent to which carpools/vanpools may be feasible.

Tribally operated facilities

This policy is not applicable to Tribally Operated Facilities.

4-2-10	Procedures

Prior to the assignment of parking spaces to employees, specific number spaces shall be reserved for official parking.  Employees shall receive consideration for assignment of parking spaces in the following order of priority:

a.	Persons with disabilities.

b.	Executive personnel and persons who work unusual hours.

c.	Vanpool/carpool vehicles.

d.	Privately owned vehicles of employees that are regularly used for Government business at least 12 days a month and qualify for reimbursement of mileage and travel expenses under Government travel regulations.

e.	Other privately owned vehicles of employees, on a space availability basis.

4-2-20	Guidance

A.	Guidance for Implementation

In most instances, the assignment of individual reserved spaces should be minimized; this allows the number of permits to be over-allocated and results in increased efficiency.

In order to promote fuel conservation, reduce traffic congestion, reduce the demand for parking spaces, and reduce air pollution, OPDIVs are encouraged to make available as many parking spaces as possible for the use of vanpools/carpools.

OPDIV procedures for the assignment of parking spaces should be maintained in writing.  Provisions for reviewing assignments, enforcing compliance with regulations, and enforcing penalties for misrepresentation on applications are also recommended.

Subject to the availability of satisfactory and secure space and facilities, OPDIVs should reserve areas for the parking of bicycles and other two-wheeled vehicles.

B.	Transportation Management Plans

Federal facilities with a large number of employees in the National Capital Region may be required by the National Capital Planning Commission to implement a Transportation Management Plan (TMP) to reduce traffic congestion.  OPDIVs with binding agreements are encouraged to implement the goals and strategies of the TMP.

Section 4-3:	Lease Administration

4-3-00	Policy

10	Procedures

20	Guidance and Information

30	Reporting Requirements

4-3-00	Policy

A Federal lease provides specific rights to real property that has been assigned to the Federal Government.  It is both a conveyance and contract to possess and use real property for a predetermined period of time.  Lease administration ensures performance of the agreement that constitutes a lease and consists of: interpretation and enforcement of the lease; effecting renewal or extension of the lease; negotiation of changes to the lease; authorizing rent payments; termination of the lease; settlement of claims for restoration; and handling other related matters.

restrictions on Improvements

The Government Accountability Office (GAO) has declared that generally, unless authorized by law, appropriated funds may not be used to make permanent improvements to property not owned by the federal government.  However, this rule does not prohibit temporary improvements to a leased facility so long as the improvements remain the property of the government and the government reserves the right to remove them at the end of the lease.  Therefore, appropriated funds may be used to fund a government-owned, removable improvement in leased space.

While appropriated funds may be used to fund temporary improvements, the B&F fund is not the proper funding source for this activity.  It has been HHS’ long-standing practice to use B&F appropriations to fund construction and permanent improvements of government-owned facilities and to use operating funds to finance temporary improvements in leased facilities.  This policy is being continued.  Therefore, unless specifically otherwise authorized by law, only operating funds may be used to fund temporary improvements in leased facilities.  The General Law Division (GLD) of HHS's Office of the General Counsel believes this practice is legally justified and cannot be waived, unless there is specific language in the B&F appropriation which provides funding for such security purposes of leased facilities or (at the very least) clear legislative history providing that B&F funds may be used for temporary improvements to leased property.

If operating funds are not available for a given improvement (e.g., OPDIV program funds), then the Lessor, as the owner of the facility, may be asked to pay for the improvements.  The Lessor may either pay for the improvements outright, or they may pay for the improvements and increase the OPDIV’s rent to cover the cost.

4-3-10	Procedures

The lease is a legally binding document on the Government and the Lessor and it is the basis for lease administration.  It is important for the files to be kept up to date.  Should the lease not be clear on a matter that is in dispute, the lease file may contain related background of the agreements made during negotiations, which might clarify and resolve the issue amicably.

Only the Contracting Officer can authorize a change to a lease that is binding on the Government.  If a change is necessary, it is desirable that the change be a bilateral agreement, documented in a supplemental lease agreement, between the Government and the Lessor.  A change to the lease is defined as a change in scope of services or a change in space and has financial consequences.

A.	Lease Administration

Ideally, once the Government occupies the space the only administrative action would be to pay the rent; however, it is rarely that simple.  There will be times when it is necessary to make changes to the lease.  There will also be times when disputes will arise between the Lessor and the Government.

- Enforcement of the Lease: A Government lease has several mandatory clauses, such as Clause 15 (552.270-10 Failure in Performance Sep 1999), that provide the means for the Government to enforce the lease.  On the other hand, there are provisions in the lease that the Government must comply with such as paying rent.

- Facility Assessments: The Government will periodically conduct a facility assessment to determine Government needs, to identify facility deficiencies, and to prioritize their corrections.  The facility assessment will identify the entity that is responsible for correcting the deficiencies.  The facility assessment can be used to identify improvements made to leased property to meet the tenant’s mission and programmatic needs.

- Expanding the Square Footage after Award: Generally, leases do not provide provisions for the right to expand space.  The possible need for new space is generally considered a new contract action and current regulations allow for noncompetitive expansion negotiations with the current Lessor in some situations.  GSAR 570.403 addresses expansion of lease space.  The Contracting Officer should determine if the need for additional space is within the scope of the lease.  Generally, if the Government needs space very similar to that provided in the original lease and the amount of the space expansion is a reasonable percentage of the amount of space covered by the original lease, usually less than 10% of the space of the original lease, it is generally safe to assume the lease expansion falls within the general scope of the original lease and that space may be acquired from the lessor without a sole source justification under FAR 6.3.  Federal real estate leases are usually for office, storage, and official parking space.  Expansion of these categories is generally allowed under the GSAR.  If the expansion is outside the general scope of the existing lease, FAR 6.3 requires written justification for other than full and open competition except when competitive procedures or simplified lease acquisition procedures are used.

- Contract Modification or Supplemental Lease Agreement to Reflect the Expansion of Space: Identify how the escalation clause will be affected by expansion space.  If the existing lease contains operating cost or tax adjustment clauses, then it is important that the contract modification describe how escalation formulas will be applied to the expansion space.  In terms of operating cost adjustment clause, the first year base amount is usually described as an amount per square foot.  Expansion space will increase the square footage so negotiation needs to address whether the CPI will be applied to the expanded square footage, or whether there will be some other approach.  All other terms and conditions of the lease will remain in full force and effect.

If the expansion space is being accepted (”without alterations”) for immediate occupancy, then an actual effective date for the expansion can be written into the supplemental lease agreement (SLA) without any other conditions.  All other terms and conditions of the lease remain in full force and effect.  However, if the expanded space is not suitable for occupancy, then the Government and the Lessor must negotiate provisions for an effective or actual date for when the Government can take possession of the expanded space.  The SLA should describe that the expansion rent will not be due until the space is substantially completed and that the current rent for the original lease will continue in effect in the interim.

The original lease probably contained space preparation ratios for major items of the build out.  If the expansion space rent is based on a specific layout plan rather than the original space preparation ratios, or some other ratios are needed, this should be specifically identified in the SLA.  If the original lease contains cancellation rights or renewal options, then the negotiations must address whether these rights also apply to expansion space.  This will affect the Lessor’s pricing and future plans, so the understanding reached during negotiations should be included in the SLA for the expansion.

- Reducing the Square Footage: A space reduction should not require any justification for other than full and open competition under GSAR 570 or FAR 6.3 because the Government is not acquiring new or additional contract obligation.  If reduction involves significant changes to other aspects of the lease that would add to the overall scope of the contract, then such justification might be required.  A good example of this would be a contract modification that allows partial reduction on square footage, but also adds months or years to the term of the remaining space.  It should be pointed out that a reduction in space under contract puts the Government at a disadvantage.  There is no incentive for the Lessor to agree to a reduction in space because the reduction represents a loss of income.  Furthermore, if the Lessor agrees to the reduction there may be cost incurred to alter the released space so that it can be separated from the retained leased area, unamortized tenant improvement, restoration, etc.  The tenant will be expected to provide lump sum payment, which might offset any savings from reduced rental.  GSA leases will usually contain a cancellation clause in the Occupancy Agreement with 120 days advance written notice.  The same lump sum payments will apply to GSA leases.  However, GSA assumes the loss of future rents requirements.

- Payee Changes: The payee must be specified in the lease.  During the administration of the lease there may be several situations in which the payee may change while the ownership and the name of the owner would remain the same, or the original Lessor could have several reasons to name a new payee even if there is no change in ownership.  The most frequent reasons for changing payee are to reflect a new address for the Lessor/payee or the appointment of a new property management company by the Lessor.  A change in payee should only be considered valid if the most recent Lessor of record communicates it.  The contract is with the Lessor designated on the lease (or a successor in intent which has to be approved by the Government).  Only that Lessor should give directions about the recipient of rent payments.  If the lease administrator receives a request from a new payee, a letter should immediately be sent to the current Lessor with copies to the current and alleged new payee.  The letter should advise the Lessor that the Government would honor the change only if designated by the Lessor, and only if confirmed in writing.  If there is any indication that a payee change is due to a change in ownership, then the guidelines under “Change to the Lessor Ownership” should be followed.

- Change to Lessor Ownership:  In accordance with the requirements of FAR 42.12 for direct leases, a novation agreement is required to include, but is not limited to, identifying the contracts to be transferred, the effective date of transfer, transferee acquirement of all assets of transferor, transferee assumption of all conveyance documents, etc.

- GSA Policies for Ownership Changes: In accordance with the requirements of FAR 42.12, once the Government is advised of a change in lease ownership, the Government should send a letter to the current Lessor with a copy to the new owner, asking for the following information through a novation agreement:

- A copy of the deed or other instrument of conveyance of ownership.

- A Statement from the Seller.  The statement from the seller should waive rights under the lease (the specific Government lease should be cited in the statement).

- A Statement from the Buyer.  The statement from the buyer should agree to approve and adopt the lease (the specific Government lease should be cited in this statement), and further agrees to be bound by the terms of the contract.

- The taxpayer identification number (i.e., W-9) for new ownership needs to be obtained for tax reporting purposes.

- The Lessor’s banking information using an ACH form.

It is advisable that the General Counsel review and approve the package of information above before the lease administrator approves the new owner.  When all the information has been received and approved, the lease administrator should draft a SLA that identifies the new owner’s payee organization.  The form of ownership must be obtained (e.g., corporation, partnership, etc.).  Without this information, the Government will not be able to determine who is legally authorized to make commitments for the new owner.

- Suspending Rent: GSA policy is to suspend rent until an ownership change is satisfactorily documented with all the information outlined above.  When everything is received and reviewed, then the suspended rents are released to the appropriate new owner/payee.  This is because new lessors sometimes resist furnishing all the documents or because the former owner has no incentive to submit a statement that waives its right.

- Estoppel Certificate – Statement of Lease: The statement of lease in the general clauses is intended to satisfy the desire of mortgagees and perspective purchasers for what are often called estoppel certificates or estoppel statements.  A purchaser would buy a building subject to leases in effect, so it is considered important to verify the conditions of the leases that would be inherited if the purchase were complete.  Lessors may want to sell or refinance their property while leases are in effect, and those buyers or mortgagees may want tenant verification, and a quick confirmation could be critical.  Therefore, the Government agrees to provide within 30 days a confirmation of basic lease terms in effect.

- Subordination, Nondisturbance and Attornment Documents:  The Government agrees that the lease is subject and subordinate to all recorded mortgages, deeds of trust and other liens now and hereafter existing or imposed upon the premises, and to any renewal, modification or extension thereof.

- Failure in Performance: The agreement to pay rent and the agreement to provide any service, utility, maintenance, or repair required under the lease are interdependent.  If the Lessor fails to provide any service, utility, maintenance, repair, or replacement required under the lease the Government may, by contract or otherwise, perform the requirement and deduct the cost from the rent.  If the Government elects to perform the work, the Lessor must allow the Government and its contractors access to the premises.  The Government may deduct from the rent then or thereafter due an amount that reflects the reduced value of the contract requirement not performed.

- Default by Lessor: As provided for in GSAR 552.270-22, default is the tenant’s unilateral right to move out, stop paying rent, and possibly assess damages.  The following constitutes a default by the lessor: 1) failure to maintain, repair, operate, or service the premises as specified in the lease, provided any such failure shall remain uncured for a period of 30 days following Lessor’s receipt of notice from the Contracting Officer or an authorized representative; 2) repeated and unexcused failure by Lessor to comply with one or more requirements of the lease.

- Damage by Fire or Casualty: If fire or other casualty destroys the entire premises, the lease will be immediately terminated.  In case of partial destruction or damage, so as to render the premises untenantable as determined by the Government, the Government may terminate the lease by giving written notice to the Lessor within 15 calendar days of the fire or other casualty; if so terminated, no rent will accrue to the Lessor after such partial destruction or damage; and if not so terminated, the rent will be reduced proportionately by SLA.  It should be pointed out that this provision in the lease does not relieve the Lessor from liability for damage to or destruction of Government property that is caused by the Lessor’s willful or negligent acts or omissions.

- Disputes and Claims: A contract dispute can only be between the parties that are privy to the contract.  Clause 35 of the General Clauses includes specifics on the applicability of The Contract Disputes Act of 1978, as amended (41 USC 601-613), which applies regardless of the size of the area, lease term, or monitory value of the lease contract.  GSAR 570.601 requires the Dispute clause (FAR 52.233-1) to be in all lease solicitations or contracts expected to exceed $ 2,500.

B.	Alterations and Repairs

If the proposed alterations are outside the general scope of the lease and the plan is to acquire them from the lessor without competition, the following justification and approval requirements apply:

- If the alteration project will exceed the simplified acquisition threshold, the justification and approval requirements in FAR 6.3 apply.

- If the alteration project will exceed $2,500, but not the simplified lease acquisition threshold, you may use simplified acquisition procedures and explain the absence of competition in the file.

- If the alteration project will not exceed $2,500, no justification and approval is required.

- Requirements for Alterations: The Government’s requirements are generally identified in general conditions, plans and specifications.  These instruments are also known as contract documents.  The contract documents instruct the contractors as to what is wanted.  These documents should be prepared by licensed architects and engineers registered in the state where the work is to be performed.

  - General Conditions: The General Conditions of the contract set forth the terms of how the work is to be accomplished, such as: a written general scope of work; identification of the parties to the contract along with their rights and responsibilities; period of performance; requirements for submittals; progress payments; etc.

  - Specifications: There are generally three types of specifications, some times called technical specifications.

- A proprietary specification.  A proprietary specification is simply specifying a particular product, such as “Anderson Windows”.

- The second type of specification is a performance specification, which is encouraged for use in Federal contracts.  Performance specifications specify the quality and performance of the product and should be limited to only the essential characteristics to avoid unnecessarily restricting competition.

- Reference specifications are specifications that are industry standards such as those published by ASTM or the Underwriters Laboratory (UL).

  - Plans: The plans are the drawings that illustrate to the builder or contractor what is to be built or altered.  The plans and specifications do not tell the contractor how to construct the alteration.  Means and methods of construction are left up to the contractor.

  - Scope of Work:  For alterations that do not require a design professional/licensed architect or engineer, a scope of work may be sufficient.  If an alteration does not require a building permit, then it is safe to assume that professional design services are not required.  The scope of work at a minimum should consist of the following: background for the need of the alteration; project description; codes and standards that apply to the project; scope of services and material needed to complete the project; Government furnished information; submittals if required; schedule; payment; interface and coordination; and options.

- Design Contract: The need for the Lessor to have a contract with the architect/engineer firm to design the alteration work should not be overlooked.  The Government must provide a program of requirements to the Lessor as a basis for design.

  - Design to Budget Clause: In public or private architect/engineer contracts, there is a clause that requires the architect/engineer to design the project so as not to exceed the established budget.  Ensure that the budget and language requiring the architect/engineer to design to budget are included in the SLA.

  - Design Review of Alterations: The Government shall review the Lessor’s or contractor’s plans and specifications for compliance with the SOW or scope of work and the SLA for the alterations.  The review intervals shall be established in the lease or through agreement between the Contracting Officer and the Lessor.

  - Local Building Codes and Ordinances: Clause 18 of GSA Form 3517 requires that the Lessor comply with all applicable codes and ordinances.  This clause should be placed in any contract for alterations.  Furthermore, all work must comply with the Americans with Disabilities Act (ADA).

- Contractual Relationships between the Parties in Alteration of Leased Property: It is important to understand the contractual relationship between the parties.  The Government only has privity with the Lessor.  The Government does not have privity with the architect/engineer, nor with the construction contractor.  The Lessor’s architect/engineer does not have privity to the construction contractor.  Because of these contractual relationships, it is very important for the Government to express its requirements and produce a clear, correct, concise, and complete program of requirements.  Requirements must be met through monitoring.

- Independent Government Estimate: When alterations, improvements, or construction are necessary, a written Government estimate is required.  A government estimate will assist the Contracting Officer in negotiating a fair and reasonable price for the work.  Without plans and specifications, it is difficult to do a government estimate.  A budget estimate based on the broad order of magnitude (e.g., a square foot estimate) may be sufficient in some cases.  The tenant will provide the number of persons that will occupy the space.  Normally lease space is area specific and it does not require a grossing factor to determine the actual size of lease space.  A professional estimator should do estimates for the rehabilitation of building systems as well as any construction.

- Labor Standards: Since Federal funds will be used to finance the alterations, Federal labor laws for construction apply.  The Secretary of Labor issued regulations to provide for the administration and enforcement of Federal labor standards in construction contracts.  The Secretary’s regulations cover the following wage determination procedures: duties of lessors on Government financed public buildings; labor standards for construction; labor standards for ratios of apprentices and trainees to journeymen; and wage determination review procedures (FAR 22.403-4).  In addition, Congress passed the following statutory requirements concerning federally financed construction: Davis-Bacon Act, Copeland Act and Contract Work Safety Standards Act (FAR 22.403-3).  Both public and private sector construction must comply with OSHA 29CFR 1910.  The SFO states that the Government will be the sole or predominant tenant in order to apply Davis-Bacon rates; this information is generally found under section 1.18.

- Government Acceptance: The Government shall conduct a final walkthrough with the Lessor to determine if the alterations are substantially complete.  The Government and the Lessor will identify visible deficiencies in the built out space and establish a punch list for the Lessor to complete at a mutually agreed upon time between the Government and Lessor.  Before the work is accepted, the Lessor must provide a copy of any certificate of inspection, occupancy, or approval by the jurisdiction having authority.

- Beneficial Occupancy or Possession: Once the Government and the Lessor determine and agree that the alteration is substantially complete, the Government may take beneficial occupancy or possession.

- Documentation of Acceptance: Acceptance by the Government establishes that the Lessor met the contract requirements.  Acceptance may be documented on GSA Form 184 or 220, DD 250, or other appropriate form.  The final status of defects and omissions at the time of final inspection must be documented.

- Government Furnished Property: The alteration may include property furnished by the Government for installation by the Lessor.  The Contracting Officer’s Technical Representative (COTR) must assure that the property will be available at the time it is needed at the project.  The Government should request a schedule from the Lessor giving the dates for delivery of the property to be installed.  Upon receipt of the Lessor’s construction schedule, the Contracting Officer should make the necessary arrangements to have the property delivered by the required date.  Upon delivery, the Lessor and the COTR must jointly inspect the property for possible shortage or damage in transit.  If any shortage or damage is found, the Lessor should follow instructions on the Government bill of lading for reporting to the carrier and should submit a detailed report to the Contracting Officer.  The Contracting Officer may be required to take action against the supplier to correct the shortages or damages.

The contract documents should require the Lessor to: accept delivery of the property on the established dates; take steps to correct shortages or damage in transit; be responsible for proper storage and protection; provide any additional transportation required; uncrate, assemble, and install equipment; and dispose of waste/trash.

  - Government Furnished Property: An agreement must be made stating what property the Government will supply and a definite time of delivery of the Government furnished property.  As soon as the COTR has received notice from the Lessor of the required dates for delivery of the property, they must immediately notify the user group and confirm the delivery request in writing.  Information concerning Government furnished property must be recorded in the official file, and any unusual durations must be brought to the attention of the Contracting Officer.

  - Delays: Government caused delays that impact on the lessor (e.g., untimely delivery of Government furnished property, changes in scope) may result in an increase in contract period of performance and could result in a time extension and an equitable adjustment in the contract amount.  If delay is critical or is causing avoidable expense, consideration should be given to deleting the installation entirely and completing the work under a separate contract.  In addition, consideration should be given to having the Lessor acquire the required property if it is feasible and reasonable; however, the Contracting Officer must document the decision in a determination and finding included in a SLA.

- Ownership of Alterations and Improvements: General Clause 19, 552.270-12 – ALTERATIONS (SEP 1999) of GSA Form 3517B provides that the Government may make alterations, attach fixtures, and erect additions or signs in or on the premises.  Furthermore, any fixtures, alteration, or structure placed on the premises by the Government remains the property of the Government.  The right to equipment or material must remain with the Government at the expiration of the lease.  Depending on the clauses included in the lease agreement, the Government may be liable for damages to the premises when removing alterations, fixtures, structures, etc. and may be required to restore the premises to its original state in accordance with the existing conditions survey.  If possible, a specific provision should be made in the SLA giving the Government the right to remove the equipment or material, or to abandon it in place, without restoration payment.

4-3-20	Guidance and Information

A.	Rent Adjustment Clauses

Lease provisions that adjust the rent during the term are classified as actions within the scope of the contract.  Rent adjustment clauses in Government leases are not intended to guarantee or increase the Lessor’s profit or return on investment during the lease, but they should protect the Lessor from major cost increases that cannot be accurately predicted.

Operating Cost Adjustments: Operating costs are the expenses incurred by the lessor as part of the operation and management of the premises.  The operating cost may include interior and exterior cleaning; snow removal; maintenance of building systems; light bulb replacement; security systems and guard services for general building function; fuel; and water and sewage.  The operating cost base amount should already be negotiated and identified in the awarded lease.  The escalation will only be computed on the portion of rent that is identified as operating cost base; the entire gross rent will not be escalated.

- Escalator Clauses: The operating cost clause in Section 3.6 of the standard SFO is virtually mandatory in all SFOs issued by GSA or under GSA delegation.  This clause calculates future operating cost increases using the percentage change in the Consumer Price Index (CPI), multiplied by the first year base cost negotiated between the parties.  This formula is used regardless of the actual expenses experienced by the lessor, whether they are higher or lower than the adjustment produced by the clause.

- Real Estate Tax Adjustments (See Section 3.4 of the Standard SFO): Escalating clauses for real estate is a standard factor in commercial leases, just as operating cost escalators are now an accepted market practice.  Adjustments to taxes are based on actual expense.  The Lessor is eligible for tax escalation and the Government is eligible for a tax decrease only if there is actual evidence of increase/decrease.  That evidence is the tax bill.  The Government should be cautious not to mistakenly pay for the full amount of increase if the Government does not occupy the entire building.  When the Government is a partial occupant, the amount of the increase for the total property should be reduced to the Government’s percentage of occupancy.  Adjustments are paid in a lump sum per annum.  The tax clause is intended to reimburse the Lessor for tax expenses already incurred (not in the future).

B.	Renewals or Extension of the Lease

If the lease does not have negotiated (pre-established) renewal options, then there should to be an appraisal of the leased property to determine the fair market rent.  The rent should be negotiated and agreed to by both parties.  Lease extensions should be administered in the same manner as lease renewals.

- Negotiating Extensions of the Lease Ending Date: When an extension is necessary, one of the most effective techniques to maintain a cooperative relationship with a lessor is to begin discussion early.  Most new leases require at least a year from market survey through actual occupancy.  When there is only a year or less remaining on the existing lease term and procurement for continued occupancy has not begun or is in its early stages, an extension at the current location will probably be necessary.

- Noncompetitive Negotiation Justification: GSAR 570.405 states that the noncompetitive approval and justification requirements in FAR 6.3 must be followed when the value of a lease extension will exceed the simplified acquisition threshold.  When noncompetitive justification is required, almost all lease extensions are covered by FAR 6.302-1, which allows contracting without full and open competition when there is only one responsible source to satisfy the need.  GSAR 570.405 cites several examples of the most common lease extension situations: other space is identified but will not be ready in time; unexpected delays outside the Government’s control will delay acquiring replacement space; and additional time is necessary to coordinate a consolidation of offices.

- Improvements during the Extension of the Lease: Expiring lease locations often show signs of wear and tear after years of occupancy.  Carpet, paint and wall coverings may need repair or replacement due to normal wear and tear.  If the term of the extension will be a year or more, it may be too long to expect the Tenant to tolerate the existing condition.  If the Government begins extension discussion well in advance of the termination date, there will be more time to discuss alternatives with both the Tenant and Lessor about possible improvement during the extension.

- Administering Leases in Holdover Status: If continued occupancy is needed but negotiations have not produced a bilateral agreement by the date of expiration, the tenant is a holdover.  Holdover tenancy generally applies to tenants that remain in possession after a lease that was for a period of a year or longer.  Due to the unique nature of the Federal Government, a private sector landlord cannot evict a Federal tenant.  The normal judicial remedies of state law are not applicable since Federal law controls the relationship.  If a holdover cannot be resolved through negotiations, a Federal Court or a board of contract appeals might refer to general contract law principles to reach a decision, but that does not mean state law would directly apply.

- Succeeding Leases: A succeeding lease is a follow on lease for continued occupancy of the same space, beginning the day after the former lease expires.  A succeeding lease incorporates a new SFO with updated terms, conditions, and clauses.  GSAR 570.402 contains special procedures for succeeding leases.

- Exercising Renewal Options in Leases: Renewal options may be specified in Paragraph 5 of the SF 2 GSAR 570.401 contains general guidance for exercising a renewal option in a lease.  The renewal option should contain cancellation rights during the option period.  If renewal option periods are priced, then the analysis of prevailing rental rates discussed in the GSAR is required prior to the exercise of the option.

- Vacating the Premises (Actions when Moving out of Expired or Terminated Leases): When the lease is about to expire, there are several steps that should be taken in the weeks preceding the move to minimize the Governments exposure.  The following steps will help maintain a professional relationship with the Lessor:

  - A written inspection report that includes photographs of the conditions should be made before the Government vacates the premises.

  - The tenant must remove all Government and personal property prior to the termination date.

  - The Government is responsible to repair damages caused by its own negligence.  The Government is not responsible to restore the premises to its original condition or to repair the effects of normal wear and tear.

  - Keys or security access cards for the premises should be returned to the Lessor.

  - Utility accounts that are paid separately by the Government should be terminated with the utility company.

  - Telephone equipment is the responsibility of the Tenant and IT and they should arrange to transfer services to a new location.

- Leasehold Condemnation: The Federal Government has the power of eminent domain regarding real property and it is usually applied in the condemnation of fee simple interest; however, Federal condemnation authority can also be used to condemn only the leasehold interest for a limited period of time in accordance with 40 U.S.C. 3113 - 3118.  Whenever an OPDIV contemplates a lease holdover that could not be resolved through negotiations, as required by the Uniform Relocation Assistance and Real Property Acquisition Policies Act of 1970, as amended, 42 U.S.C. 4651,  it should promptly contact the Office of General Counsel to discuss the possibility of initiating lease condemnation procedures.  Once HHS has determined that such condemnation procedures are necessary, OGC will contact the Department of Justice (DOJ) because DOJ would be responsible for filing any such condemnation action in Federal Court.  This approach is used as the last resort to protect continued Government occupancy in an expired lease.  When condemnation of a leasehold is being considered, among the documents the Government will need the following:

  - Title search to determine current ownership;

  - Appraisal to determined just compensation;

  - Detailed record of negotiation demonstrating that serious good faith efforts were made to avoid condemnation;

  - Declaration of Taking that is filed with the U.S. District Court stipulating the estimated period of time the leasehold will be needed; and

  - U.S Treasury check for the total amount of rent that the Government claims is just compensation for the period of the condemnation.

C.	Termination of the Lease

Lease terms can either be firm, where there are no rights to cancel, or termination rights can be negotiated into the basic lease terms.  Very few leases have termination rights that allow cancellation of only part of the space.  Most termination rights only allow cancellation of the entire premises.

Early Cancellation: Leases may not contain cancellation for convenience clauses except for GSA Occupancy Agreements with the tenant agency.  Cancellation for convenience can be made part of a new solicitation.  However, if the lease does not contain a cancellation clause, then for direct leases the Contracting Officer may negotiate terms and conditions for a lease cancellation.  It is permissible to negotiate a lump sum payment (buy-out) to the Lessor in lieu of future rent if this is financially advantageous.  The negotiation of a lease buy-out involves the calculations required to determine the net present value of future lease payments due the Lessor.  Additionally, the buy-out negotiations could take into account current fair market rental for similar space, the cost of new tenant build-out, the potential loss of rent during vacancy, and the cost of leasing out space.

Excluding GSA leases, if buy-out negotiations are not successful, then the Government has no choice but to continue making rent payments, excluding some operating cost (e.g., custodial, some utilities, or other items that will not incur cost for the lessor due to vacancy of the space).  It should be made clear to the Lessor that no other tenant is allowed to use the space in the interim.

D.	Lease Closeout and settlement

At the close of the lease term, the Contracting Officer must ensure that all the obligations under the lease have been met.  When vacating lease premises, it is important to clear the property of all Government property and furniture.  Failure to do so may be construed as constructive occupancy and could be the subject of a claim for additional rent on the Lessor’s behalf.  If removal of Government property causes damage to the premises, minor repairs should be made so that the premises are left in the same relative condition as when first occupied, less ordinary wear and tear.  Where damage has occurred, an agreement for compensation should be arranged and an SLA should be made to document this agreement.  All actions required to closeout the lease need not be completed at the end of the term.  Final payment should be authorized when all SLAs, adjustments, and required documents have been completed, all restoration actions taken, and all property removed from the premises.  Once the final payment has been made, the lease contract is closed.

Sample Lease Closeout Checklist

| Item | Action | Yes | No |
| --- | --- | --- | --- |
| 1 | Terminal condition survey completed? |  |  |
| 2 | Lessor acceptance and release signed? |  |  |
| 3 | Keys turned over to Lessor with receipt in lease file? If keys are not returned, is the attempt to return documented? |  |  |
| 4 | All Government property removed from premises? If Government property is not removed, is documentation for abandonment in place in both file and personal property file? |  |  |
| 5 | Is restoration necessary? If restoration is required, have arrangements been completed? |  |  |
| 6 | All service contractors notified? |  |  |
| 7 | CIT notified? |  |  |
| 8 | Utility companies notified? |  |  |
| 9 | Final payment made? |  |  |
| 10 | Lease file completed? |  |  |
| 11 | Notification of OFMP that the lease is no longer active? |  |  |

4-3-30	Reporting Requirements

Space Budget Justification - OMB Circular A-11 requires agencies to complete Exhibit 54 “Space Budget Justification” electronic report for rent payments to GSA or to others (i.e., other Federal agencies or commercial landlords) in excess of $5 mil annually for space, structures, and facilities, land and building services.  A separate report is required for each subordinate organization that makes rental payments above $5 million annually, therefore OPDIVs that obligate more than $5 million annually for rental payments are required to submit a space budget justification, in the format of A-11 exhibit 54, to OFMP.

This report provides a justification to OMB of the agency’s budget request for rent.  GSA uses this information to refine estimates of rental costs.

Section 4-4:	Quarters

4-4-00	Policy

10	Procedures

20	Guidance and Information

30	Reporting Requirements

4-4-00	Policy

The purpose of this section is to establish those conditions under which HHS may provide quarters for its employees, and to establish requirements for quarter’s management and reporting.  It is the policy of HHS that quarters utilization and maintenance be managed efficiently, diligently, and in accordance with OMB Circular A-45, “Rental and Construction of Government Quarters.”

Government quarters may be provided for employees in positions that require 24-hour presence at the installation for the provision of essential services or to protect Government property that cannot otherwise be protected.  The need for these positions should be minimized, where possible, by the use of a "call room" with shift personnel, or a night watchman.  Where it is deemed that the 24-hour presence of any position is necessary and Government quarters are provided for that position, mandatory occupancy of those quarters shall be clearly stated in the position description or billet and made a condition of employment.  Government quarters may also be provided for other positions of the type that are not normally filled by "local hires," if it is determined that suitable private housing is not available within a one-way commuting time of 1 hour.  Housing is not normally provided for local hires.

The following federal policies are summarized from OMB circular A-45:

a. Reliance on Private Housing Market.  It is the policy of the Federal Government to rely on the private housing market to provide housing for its civilian employees.  If there is no requirement of service or protection or if there is no lack of available housing, agencies must not acquire additional rental quarters.

b. Determination of Rents.  Agencies of the Federal Government must adhere to the following in determining rental rates for Government rental quarters:

- Reasonable value to employee.  Rental rates and charges for Government quarters and related facilities will be based upon their reasonable value to the employee in the circumstances under which the quarters and facilities are provided, occupied or made available.  Charges for rent and related facilities should be set at levels equal to those prevailing for comparable private housing located in the same area, when practicable.

- Subsidies, inducements prohibited.  Federal employees whose pay and allowances are fixed by statute or regulation may not receive additional pay and allowances for any service or duty unless specifically authorized by law.  Consequently, rents and other charges may not be set so as to provide a housing subsidy, serve as an inducement in the recruitment or retention of employees, or encourage occupancy of existing Government housing.

- Fairness, consistency.  When properly determined in accordance with the provisions of this circular, rental rates will be fair as between the Government and the employee (or other authorized occupant) and as between employees of different agencies living in the same installation in similar housing, or employees living in Government quarters at different installations.  Rents should not be set so as to serve as an inducement to recruit or retain employees.  Moreover, rents should reflect a consistent local pattern for all Federal quarters in a given location.

c. Employee responsibilities.  Employees have a responsibility to inform themselves of all the conditions that prevail in and near the quarters and duty stations to which they might be assigned before accepting transfer to or employment at such duty stations.

4-4-10	Procedures

As prescribed by OMB Circular A-45, “Rental and Construction of Government Quarters,” each OPDIV's headquarters staff must maintain a central records system.  Sufficient information will be maintained centrally by the OPDIV to allow agency management to be informed of, and to monitor, the status of administration of OMB requirements.  At a minimum, the following information must be maintained for each location with a need for Government housing:

- A list of positions, for which Government quarters must be provided, in order to provide essential services or to protect Government property.

- The number of quarters required for staff, other than those listed above, due to the unavailability of suitable private housing (both rental and purchase) within a one-day commuting time of at least 1 hour.

- Quarter’s classification, description, identification, assignment, and inventory.

- Assessment of total quarters needs versus current inventory, availability, and assignment of existing quarters.

- Current data concerning survey and appraisal results, rental rates, CPI implementation, maintenance schedule and costs, utility costs, and occupancy history.

- Rules and regulations concerning quarters occupancy.

- Establishment of housing committees and appeal committees.

- Maintaining of necessary quarters records and preparation of required reports.

4-4-20	Information and Guidance

- Quarters Assignments/Quarters Termination.  Documents are to be completed each time an employee, commissioned officer, or other occupant is assigned to quarters or terminates quarters occupancy.

- Reporting of Rental Rate Changes: The results of surveys and appraisals, including appropriate supporting documentation, must be submitted to and reviewed by the OPDIV, prior to implementing new rental rates.

- Consumer Price Index (CPI) Adjustments.  OMB circular A-45 specifies that the new rates shall be effective at the beginning of the first pay period that starts on or after March 1 of each year.  Though effective in March, the adjustment shall be based on the preceding September CPI data to provide the required lead-time.

- Management of Substandard Quarters.  When quarters have been designated as substandard, the OPDIV may not assign the unit for occupancy.  In addition, the OPDIV has only one year in which to take effective remedial action or to give up the structure.  If an OPDIV decides to raze or abandon the structure, proper documentation in accordance with Chapter 5 must be prepared and submitted to OFMP.

4-4-30	Reporting Requirements

Exceptions.  OMB circular A-45 considers and allows for unusual circumstances that may exist with respect to rental quarters.  Exceptions to the requirements included in this circular will be permitted, therefore, only upon written request and in those very unusual circumstances when it is demonstrated to the Office of Management and Budget that the application of the provisions of this circular will not result in a rental rate equivalent to the reasonable value of the quarters to the occupant.  Therefore, requests for exceptions to circular A-45 will be forwarded to OFMP for review.  If OFMP concurs, the request will be forwarded to OMB, with a copy to the requesting OPDIV.  If an exception is granted by the Director of the Office of Management and Budget, the agency concerned will be notified in writing.

Section 4-5:	EASEMENTS, LICENSES, AND USE PERMITS

4-5-00	Policy

10	Procedures

20	Guidance and Information

30	(Reserved)

X4-5-A	Agreement and Grant of Easement

X4-5-B	Revocable License for Non-Federal Use of Real Property Form

X4-5-C	Permit for Use of Real Property by Federal Agency

4-5-00	Policy

A.	Easements

The granting of a right-of-way through Federal lands for a specified purpose, such as a highway or utility line for other than a temporary use, is a grant of an interest in the property of the Government, and under the Constitution it must be authorized by Congress.  Section 1 of P.L. 87-852 (40 USC 319) granted the authority to grant easements in, over, and upon such property (other than public domain or property held in trust for Indians) for a right-of-way or other purpose with or without consideration and upon such terms as are deemed appropriate to protect the interests of the United States.  Legislative jurisdiction over the subject real property may be relinquished to states, as deemed necessary or desirable.

B.	Revocable Licenses

The Attorney General has ruled that the Government has the inherent right to license the use of property under its control for non-federal purposes, provided that the license is revocable at will.  Such a revocable license does not convey any interest in the real property.  An additional basis for the authority to license the temporary use of property under HHS control is 5 U.S.C. 301, which, among other things, authorizes the head of an Executive department to prescribe regulations for the custody, use and preservation of an agency’s property.  A revocable license issued by HHS must not interfere with the Government’s use of the property and must not be adverse to the interests of the United States.  Such a license must not be issued in a discriminatory manner or otherwise violate any statutory provision.  Licenses are generally used for roof top antennas and associated space on Government owned property.  Licenses are not to be used for sub-letting space.

C.	Use Permits

HHS may acquire the right under a temporary permit to use the property of another Federal Government agency or, conversely, to permit another Federal Government agency to use HHS property.  Permits granted under this authority are not permanent relinquishments of property.  They merely provide permission for the temporary use of the property by another Federal agency so long as the property is not required by the permitter.  They are revocable at will by the permitter, and are not assignable.  Under the Federal Property Management Regulations (FPMR), HHS may acquire the right to use excess property prior to its declaration as surplus property pending its disposal.  HHS assumes the responsibility for maintaining the real property while using it.

D.	Right-of-way for Federal Aid Highway

Under 23 USC 317, HHS may transfer lands needed for a right-of-way for a Federal aid Highway to the Secretary of Transportation, who has the authority to make a grant of and transfer title to such land to State Governments for highways.

4-5-10	Procedures

A.	TERMS AND CONDITIONS OF EASEMENTS

Grants of easements are usually made without monetary consideration if the easement is for the benefit of a Federal installation or the public.

Care should be exercised in providing terms that will protect the interests of the Government and restrict actions on the part of the grantee, which would create undue interference with the management and operation of the installation.  When easements are granted without consideration, an assurance will be included that the grantee will not discriminate in the use of the property on the grounds of race, color, national origin, age, handicap, or sex, and will comply with the HHS regulations issued pursuant to Title VI of the Civil Rights Act of 1964 (P.L. 88-352), section 504 of the Rehabilitation Act of 1973 (P.L. 93-112), and Title III of the Age Discrimination Act of 1975 (P.L. 94-135).  Title IX of the Education Amendments of 1972, Public Law 92-318 recipients of Federal financial assistance are prohibited from discriminating on the basis of sex in educational programs and activities.  The easement document should at a minimum, contain the terms and conditions set forth in Exhibit 4-5-A.

Requests for the interim use of land pending the formal grant of easement may be granted with the prior approval of OFMP.  All requests should contain sufficient information concerning the circumstances involved and the proposed effective date of interim use required in order that necessary action for approval may be taken and notice given thereof.

Upon receipt of the request for a grant of easement, and prior to delivery of the original easement document to the grantee, the grantee and the OPDIV shall inspect the land and then submit a formal report of the inspection, signed by both parties.  This is essential for the future settlement of disputes.

B.	Terms and Conditions for revocable licenses

Licenses may be executed only by HHS officials who have authority based on a specific delegation.  This authority has been redelegated, through channels, to the OPDIVs.  The license must be revocable at the will of the Government, and must be of benefit to the Government.  The nature of the benefit shall be stated in the license.  The license must be without consideration, as consideration implies an interest in the property.  Terms and conditions contained in X4-5-B must be included in the license, with any additional terms necessary to fit the particular circumstances.  Care should be taken to assure that any modifications or additional conditions will not convey an interest in the land or be detrimental to the operation of the installation involved or to the Government.  In some cases, the granting official may determine that the best interests of the Government will be served by requiring a performance or damage deposit (in the form of a bond).

Licenses may be terminated at any time in accordance with its terms by sending the licensee a formal notice of termination, signed by the approving authority, as in the granting thereof.  The notice shall cite the license number and the reason for its termination.  A termination inspection will be made in the same manner as prescribed for the initial inspection, and a report signed by both parties will be attached to the notice.  The OPDIV will take necessary measures to ensure that any restoration required is accomplished by the licensee.  A termination request should be made in the same manner as the request for the initial license.

C.	USE PERMITS TO OTHER FEDERAL AGENCIES

The Use Permit, form HHS-588, shown in X4-5-C, should be utilized by HHS agencies when permitting use of real property under its control.  The conditions included in the form are minimum requirements; additional provisions peculiar to the specific permit should also be included.  Permits shall not be granted for the use of HHS land, buildings, or space within buildings, in order to circumvent or delay disposal of unneeded real property.  Property held for foreseeable future use may be made available for temporary use by others in accordance with this Section.  Ordinarily no money consideration will be required for permits to other Federal agencies.  However, the permittee will reimburse HHS for utilities and services furnished.  If property leased by HHS is temporarily unneeded and a permit to use it is granted to another agency, the permittee will reimburse HHS for its proportionate share of the rental and other operating costs.  All proposed permits will be submitted by the OPDIV to HHS/OFMP for review, recommendation, and approval.  After approval, the permit will be returned, through channels, to the OPDIV, who should obtain acceptance by permittee and return a fully executed copy to OFMP.

D.	HHS USE OF OTHER FEDERAL SPACE

Prior to obtaining the use of real property by permit, the benefits accruing from any needed alterations must be considered carefully and weighed against the anticipated term of tenure.  Alterations should not be planned for space occupied on a minimum term arrangement.  Permits will be executed by OFMP.  The permit shall be submitted for approval, through agency headquarters, and contain sufficient justification for the proposed action.  After approval, the original will be returned to the requesting office, which should ensure that the agency financial accounting office receives a copy when reimbursements are involved.

E.	TERMINATION OF EASEMENTS

Requests to terminate an easement should be forwarded in writing, through channels, to OFMP.  The request should specify the basis for the termination, and should include an estimate of any anticipated cost of restoration.

Upon termination of an easement, the OPDIV will inspect the land and accompanying improvements and will then prepare a formal report, which will be compared with the initial inspection report to determine the nature and extent of restoration that the grantee will be required to perform.

4-5-20	Guidance and Information

A.	MANAGEMENT OF EASEMENT

The OPDIV administering the easement shall periodically inspect the property to ensure that the terms and conditions of the easement are being complied with, and will initiate, if necessary, measures to modify or terminate the easement.

The OPDIV must ensure that the payment of monetary consideration is made when the instrument granting the easement provides for such payment to the Government.  Such collections shall be deposited into the Miscellaneous Receipts Account of the Treasury.  If the circumstances warrant, a performance or damage deposit may be required to protect the Government’s interest.

Agreement and Grant of Easement

This agreement and grant of easement made and entered into this ___________ day of _____________, 2_____, by and between the united states of America acting by and through the Department of Health and Human Services, hereinafter referred to as the Grantor and 
_________________________ hereinafter referred to as the Grantee.

Witnesseth

Whereas: the Grantor has need of ______________________________________________ to operate facilities which it is required by law and public interest to operate; and

Whereas; in response to Grantor’s need and request for ___________________________________ _______________________________from Grantee, the Grantee has made application for the Grant of Easement in, under, upon, and across real property of said Department, situated in _________________County, in the State of ________________, hereinafter more particularly described, said easement site to be used as a location of _______________________ for the purpose of providing _______________________ to said ____________________________________; and

Whereas, the (OPDIV Agency Head, or his/her designee) ___________________________ ________________________________, of the Department of Health and Human Services, ________________________________________, has made an environmental assessment of this action in accordance with Section 102 of the National Environmental Policy Act of 1969 (42 U.S.C. 4332) and has found that there would be no significant impact on the quality of the human environment; and

Whereas, the Department of Health and Human Services has custody and control of the aforesaid property and undersigned, acting pursuant to authority under 40 U.S.C. 1314 has determined that said easement will not be adverse to the interest of the United States, but will promote and enhance the ability of the United States to provide health services, through ____________________________________ ___________________________________________________.

Now therefore witnesseth That:

The Grantor in consideration of the premises and other good and valuable considerations; receipt of which is hereby acknowledged, does hereby grant, bargain, sell, and convey unto the Grantee, its successors and assigns, subject to terms and conditions hereinafter stated, an easement for a ___________________________________ and related purposes, including the right, privilege, and authority to install, operate and maintain said ___________________in, on, over, under, and across real property of the Grantor situated in ____________ County, ____________________ the easement site herein granted being more particularly limited and described as follows, to wit:

_________________________________________________________________________________________________________________________________________________________________________;

its precise location shown and described on the plat which is identified as _______________________ _________________________________________ and which is attached hereto and made a part hereof, Subject to all easements, liens, reservations, exceptions of interest or record now existing on the above-described easement site.

Provided, however, that the said easement is granted under and subject to the following terms and conditions, which the grantee hereby accepts:

- The said easement shall be utilized continuously for the above-stated uses and for no other purpose.

- The Grantee will neither conduct mining operations nor remove any mineral substance from the land.

- The Grantee will at its own expense, construct, mark, keep, and maintain, in good condition and repair, any improvements it makes on the property.

- The Grantor reserves the right to enter on occasion the premises which are the subject of the grant to assure that the terms of the grant are being complied with.

- The Grantee shall give written notice to Grantor prior to onset of construction, renovation, or maintenance work in said easement site and shall cooperate in scheduling and locating such activities to the satisfaction of the Grantor so as to cause the minimum possible disruption to the Grantor’s health service activities.

- The Grantee will indemnify and save the Government harmless from any liability or responsibility whatever arising directly or indirectly from Grantee’s use of the easement and activities on the premises.

- The Grantee will minimize damage to the scenic and esthetic values of the premises and otherwise protect the environment.

- The Grantee will comply with air and water quality standards established by or pursuant to Federal, State and local laws and all regulations issued pursuant to said laws.

- The Grantee will otherwise protect Federal property and economic interests and public interest in the lands traversed by the easement or land adjacent thereto.

- The Grantee will comply with all applicable Federal, State and local laws, regulations and standards for public health and safety, environmental protection, and the siting, construction, operation, and maintenance of the easement.

- Upon termination or forfeiture of the grant, the Grantee, if so requested by the Government, will remove from the premises all structures or other improvements belonging to the Grantee and otherwise restore the premises to the satisfaction of, and at no cost to the Government.

- The Grantee will correct at no expense to the Government any drainage conditions adversely affecting the Grantor’s land or improvements thereon resulting from the Grantee’s use and enjoyment of the easement, within a reasonable time after the occurrence thereof, to the satisfaction of the Grantor.

In the event of the Grantee’s failure to comply with any of the forgoing terms and conditions whether caused by the legal or other inability of the Grantee to perform the same or in the event of the Grantee’s failure for a continuous 2-year period to use the said easement for the purpose for which it is granted, or of the Grantee’s abandonment of said easement, said easement will terminate in whole or in part at the option of the Grantor, which shall have the right to so terminate in addition to all other remedies for such breach, and the Grantee shall forfeit all rights under said easement. Written notice of such a termination shall be given to the Grantee, and termination shall be effective as of the date of such notice. Upon termination, all right, title and interest to and in the land shall revert to the United States or its assignee, and the Grantee, if requested by the Grantor, shall deliver a Quitclaim Deed to the rights arising hereunder.

Provided, However, that the failure of the Grantor to insist in any one or more instances upon complete performance by the Grantee of any of the terms, covenants, or conditions of this grant shall not be construed as a waiver or relinquishment by the Grantor of future performance of any such terms, covenants or conditions, but the Grantee’s obligations with respect to such future performance shall continue in full force.

The Grantee further covenants and agrees, for itself, its successors and assigns, that by execution and acceptance of this easement, it will comply with the requirements of Title VI of the Civil Rights Act of 1964 (P.L. 88-352), Section 504 of the Rehabilitation Act of 1973 (P.L.93-112), Title IX of the Education Amendments of 1972 (P.L. 92-318), and the Age Discrimination Act of 1975 (P.L. 94-135), and all requirements imposed by or pursuant to the Grantor’s regulations issued pursuant to said Acts.

In witness whereof, the parties hereto have caused these presents to be executed as of the day and year first above written.

United States of America

Acting by and through the Secretary

of the Department of Health and Human Services

By: ___________________________________

Acknowledgement

State of			)

County of			) §

On this         day of                      20     , before me the undersigned officer, personally appeared _______________________________, known to me to be the ________________________________
__________________________________________________________________________________,
Department of Health and Human Services, and known to me to be the person who executed the forgoing instrument on behalf of the Secretary of Health and Human Services, for the United States of America, and acknowledged to me that he subscribed to the said instrument in the name of the Secretary of Health and Human Services and on behalf of the United States of America.

Witness my hand and official seal.

(seal)

___________________________________

Notary Public

My commission expires ________________

Acceptance

The __________________________________________________________________ hereby accepts the easement and thereby accepts and agrees to all the terms, covenants, conditions and restrictions contained therein.

By ____________________

Acknowledgement

State of			)

County of			) §

On this _____ day of __________ 20____, before me, ___________________________ a Notary Public in and for the City of _______________, County of______________, State of ___________, personally appeared ____________________________, known to me to be the ______________, and known to me to be the person who executed the forgoing instrument on behalf of ______________________ and acknowledged to me that he executed the same as the free act and deed of ____________________.

Witness my hand and official seal.

(SEAL)

______________________________________

Notary Public

My commission expires _____________

| Revocable License for Non-Federal Use of Real Property | 1. License No. |
| --- | --- |
| A revocable license affecting property described and for the purposes designated below here by granted to the licensee herein named, subject to all of the conditions, special and general, hereinafter enumerated. |
| 2. Name of Licensee | 3. Address |
| 4. Project Designation and Address | 5. Maximum Period Covered |
|  | From | To |
| 6. Consideration ($) |
| 7. Description of Property Affected (As shown on Exhibit _________________, attached hereto and made a part hereof.) |
| 8. Purpose of License |
| 9. By the acceptance of this, license, the licensee agrees to abide and be bound by the General Conditions on the rear of this form and following conditions: |
| I0. Special Conditions |
| That condition(s) No.(s) was (were) deleted before the execution of this license. |
| U.S. Department of Health and Human Services Licensor | Licensee |
| Dated (Month, day, year) | Accepted (Month, day, year) |
| By (Signature) | By (Signature) |
| Name | Name |
| Title | Title |
| If Licensee is a Corporation, the following Certificate of Licensee must be executed. |
| Certificate of Corporative Licensee |
| I certify that I was a Secretary of a corporation named as licensee herein; that the person who signed said license on behalf of the licensee was with said corporation; and that said license was duly signed for and in behalf of said corporation by authority of its governing body, and is within the scope of its corporate powers. |
|  | Name of Certifier |
|  | Title of Certifier |
|  | Name of License Signer |
|  | Title of License Signer |
|  | Signature of Certifier |

U.S. Department of Health and Human Services			HHS Form xxxx GS-1582

a. Compliance.  Any use made of property affected by the license and any construction, maintenance, repair, or other work performed thereon by the licensee, including the installation and removal of any article or thing, shall be accomplished in a manner satisfactory to the U.S. Department of Health and Human Services, hereafter referred to as HHS.

b. Structures.  The licensee shall not place or construct upon, over or under the property any installation or structure of any kind or character, except such as are specifically authorized herein.

c. Laws and Ordinances. In the exercise of any privilege granted by this license, licensee shall comply with all applicable Federal, State, municipal and local laws, and the rules, orders, regulations and requirements of Federal governmental departments and bureaus.

d. SANITARY CONDITIONS.  If this license gives possession of United States Property, the licensee shall at all times keep the premises in a sanitary condition satisfactory to HHS.

e. Damage.  Except as may be otherwise provided by the special conditions above, no United States property shall be destroyed, displaced or damaged by the licensee in the exercise of the privilege granted by this license without the prior written consent of HHS and the express agreement of the licensee promptly to replace, return, repair and restore any such property to a condition satisfactory to HHS upon demand.

f. Indemnification.  The licensee shall indemnify and hold harmless the United States, its agents and employee against any and all loss, damage, claim, or liability whatsoever, due to personal injury or death, or damage to property or others directly or indirectly due to the exercise by the licensee of the privilege granted by this license or any other act or omission of licensee, including failure to comply with the obligations of said license.

g. Storage.  Any United States Property which must be removed to permit exercise of the privilege granted by this license shall be stored, relocated or removed from the site, and returned to its original location upon termination of this license, at the sole cost and expense of the licensee, as directed by HHS.

h. Operation.  The licensee shall confine activities on the property strictly to those necessary for the enjoyment of the privilege hereby licensed, and shall refrain from marring or impairing the appearance of said property, obstructing access thereto, interfering with the transaction of Government business and the convenience of the public, or jeopardizing the safety of persons or property, or causing justifiable public criticism.

i.  Notice.  Any property of the licensee installed or located on the property affected by the license shall be removed upon 30 days’ written notice from HHS.

J. Guarantee Deposit.  Any deposit which may be required to guarantee compliance with terms and conditions of this license shall be in the form of a certified check, cashiers check or postal money order in the amount above, payable to HHS.

k. Bond.  Any bond required by this license shall be in the amount designated above, executed in manner and form and with sureties satisfactory to HHS.

l. Expense.  Any cost, expense or liability connected with or in any manner incident to the granting, exercise, enjoyment or relinquishment of this license shall be solely assumed and discharged by the licenses.

m. Future Requirements.  The licensee shall promptly comply with such further conditions and requirement as HHS may hereafter prescribe.

n. Attempted variations.  There shall be no variation or departure from the terms of this license without prior written consent of HHS.

o. Nondiscrimination.  The licensee agrees that no person will be discriminated against in connection with the use made by the licensee of the property on the ground of race, color or national origin, nor will any person be denied the benefits of or be subjected to discrimination under any program or activity held, conducted sponsored by the licensee in that any activity, program or use made of the property by the licensee will be in compliance with the provisions of Title VI of the Civil Rights Act of 1964 (78 Stat. 238; 42 USC 2000d)  and the applicable regulations of HHS and GSA (41 CFR Subpart 101-6.2).

The licensee will obtain from each person or firm, who through contractual or other arrangements with the licensee, provides services, benefits or performs work on the property, a written agreement whereby the person or firm agrees to assume the same obligations with respect to nondiscrimination as those imposed upon the licensee by law and will furnish a copy of such agreement to the licensor.

The breach by the licensee of conditions relating to nondiscrimination shall constitute sufficient cause for cancellation and revocation of the license.

| Permit for Use of Real Property by Federal Agency | 1. Permit No. |
| --- | --- |
| Permission, revocable at the will of the United States Department of Health and Human Services, is hereby granted the Permittee hereinafter named to use the property described below for the purpose designated, subject to the conditions, special and general, herein prescribed. |
| 2. Name of Permittee Agebcy | 3. Local Representative (Name and Address) |
| 4. Project Designation and Address | 5. Maximum Period Covered |
|  | A. From |
|  | B. To |
| 6. Description of Property Affected (As shown on Exhibit _________________, attached hereto and made a part hereof.) |
| 7. Purpose of Permit |
| 8. By the acceptance of this, permit, the Permittee agrees to abide and be bound by the General Conditions on the rear of this form and the following conditions: |
| I. Special Conditions |
| 11. General Conditions |
| a. The use and occupancy of the property shall be without cost or expense to the United States Department of Health and Human Services (HHS), and under general supervision of HHS or its authorized representatives, and subject to such rules and regulations as he/she may prescribe from time to time. b. The permittee shall at its own expense and without cost or expense to HHS, maintain and keep the property in good repair and condition c. The use to be made of the property shall be limited to that specified in the permit. d. The permittee shall pay the cost, as determined by HHS or its authorized representative of producing and/or supplying any utilities and other services furnished by the Government for use of the permittee. e. No additions to or alterations of the property shall be made without the prior consent of HHS or its authorized representative. f. On or before the date of expiration or termination of this permit, the permittee shall vacate the premises, remove its property therefrom and restore the premises to a condition satisfactory to HHS. If however, this permit is revoked, the permittee shall vacate the premises, remove its property therefrom and restore the premises as aforesaid within such time as the HHS may designate. |
| Dated (Day, Month, Year) | Dated (Day, Month, Year) |
| By (Signature) | By (signature) |
| Name of Signer | Name of Signer |
| Title | Title |

U.S. Department of Health and Human Services			HHS Form xxxx GS-1583

Section 4-6:	NAMING and dedicating INSTALLATIONS AND BUILDINGS

4-6-00	Policy

10	Procedures

20	(Reserved)

30	(Reserved)

X4-6-A	Sample Planning Guide for Dedication Ceremonies

4-6-00	Policy

Under Section 410 of the Public Buildings Act of 1949 (40 USC 3102), the Administrator of General Services has the authority to name, rename, or otherwise designate any building under the control of GSA regardless of whether it was previously named by the statute.  The Secretary of Health and Human Services has authority to provide suitably for acknowledging within the Department (whether by memorials, designations or other suitable acknowledgments, (1) efforts of persons who have contributed substantially to the health of the nation and (2) gifts for use in activities of the Department related to health.  42 U.S.C. 238i.  The Secretary also has inherent authority under 5 U.S.C. 301 to name or rename HHS’s own buildings in the absence of specific expression by Congress.  The primary purpose in designating an official name for an installation or building is to identify the occupying activity for the public and official visitors.  Following usual practices, it is Department policy not to name an installation or building for living persons or, other than in exceptional cases, for deceased persons.

It is also Department policy to recognize the completion of a new installation, building, or major extension to an existing building as an event of importance to the program and to the local community.  Therefore, it is the policy of the Department to recognize the occasion by planning and conducting appropriate dedication ceremonies.  This provides citizens with an opportunity to see the physical evidence of tax expenditures.

The GSA has adopted the following inscription for all cornerstones of federally constructed buildings:

United States of America

President

(Name of President at the time cornerstone is set.)

Year Construction Started

Additional names, if any, will be determined on a case-by-case basis.  No plaques or tablets, which pertain to the construction of the building or those responsible for the construction, will be placed on the interior of the building.

4-6-10	Procedures

A.	Naming Facilities

To process a request for memorialization honor, the following information and attachments shall be submitted by the OPDIV to OFMP for the Secretary’s decision:

- a biography of the individual to be honored;

- copies of pertinent official files concerning the individual;

- photographs of the installation, building, room, etc., to be named in honor of the individual;

- if new construction is involved, completion dates, description of the facility, etc.;

- recommendations as to action to be taken on the memorialization request and planning of the dedication ceremony;

- designation of an official to coordinate required actions; and

- if the request proposes a memorial or plaque for an individual or group, the following additional information should be furnished:

  - complete justification for the memorial or plaque, including the proposed inscription; and

  - sketches showing the design and location on site or building and photographs or site.

The OPDIV will be notified of the action taken on the request.

B.	DEDICATION CEREMONIES

The OPDIV is responsible for the planning and execution of dedication ceremonies.  A “Sample Planning Guide for Dedication Ceremonies” is provided as Exhibit X4-6-A.  Tribal participation in planning ceremonies for IHS facilities is mandatory.  A dedication committee may be appointed to assist in the ceremonial program and should determine, on a case-by-case basis, if there is a need for HHS Departmental participation.  Plans for publicizing the naming and/or dedication of installations and buildings, including the erection of memorials and plaques, shall be reviewed by the Office of the Assistant Secretary for Public Affairs.  This requirement shall include public information clearance of news releases for press, radio, and television; printed programs and commemorative booklets; copies of speeches to be delivered by HHS staff; and any other related printed materials.

Sample

Planning Guide

for

Dedication Ceremonies

Developing a dedication ceremony involves all of the following factors or planning steps and may require others in local situations:

- Fixing the Date

- Establishing Local Liaison

- Establishing Congressional Liaison

- Memorialization Honors

- Program Development

- Program

- Other Planning Factors to be Considered

- Invitations

- Publicity

- Physical Arrangements

The essential elements in each of the above planning steps are:

A.	FIXING THE DATE

Dedication ceremonies should not take place until an installation or building is completed and occupied, but should be held no later than 30 days after complete building occupancy.  Work toward establishing the date for the ceremonies should begin as soon as occupancy dates are fairly firm.  In almost all cases, planning should begin from 60 to 90 days in advance of the actual ceremony.

In selecting the actual day, several factors are to be considered, such as the possibility of the coincidence of a national holiday or a day having particular local significance and history.  Many communities close business establishments for a half-day during the week; to others, Saturday is a particularly festive day.  In any event, judgment should be exercised in making the ceremony as accessible and convenient to the public as possible.  Weekend ceremonies are difficult due to the Washington tie-in, but should not be discounted in making plans.

Things to be considered when fixing the hour for the ceremony include traffic considerations, accommodating travel schedules for out-of-town guests, preferences/availability of dignitaries, etc.

B.	ESTABLISHING local LIAISON

This is the most important element in ceremony planning.  Without proper local assistance and liaison, ceremonies can be difficult and sometimes harmful.  The dedication committee should exercise great care in requesting local representatives to work with it, and should be positive that all civic interests that wish to participate are given an opportunity to do so.

A successful procedure, tested in the past, is as follows: The dedication committee contacts the most appropriate local leading public official (e.g., the Mayor, City Manager, and/or Indian Tribal Official) and invites him/her to serve on the committee.  In addition, it will be desirable to appoint to the committee the following: (a) Chief of Police (for traffic purposes); (b) Presidents of the leading civic groups, such as, Chamber of Commerce, Board of Trade, etc. (Appointment of a representative of such organizations as Lions, Kiwanis, Rotary, etc., should be avoided because of possible misinterpretation by those not named); (c) the local leading representative of news media (newspaper publisher, editor, owner of TV facility, etc.); and (d) local head of the professional or other group having an interest in the work to be carried on in the installation or building.

C.	ESTABLISHING CONGRESSIONAL LIAISON

The participation of political figures in dedication ceremonies has considerable precedent.  These most definitely will include appropriate members of the Senate and House Committees interested in the program for which the installation or building was constructed.  The Congressional Representative from the District, Senatorial figures, and state officials should also be considered.  Notwithstanding the political party of the local official, the committee must make certain that full and complete liaison is established with members of Congress.  In addition, the committee may wish to invite the Governor and other state officials.

Event organizers should give special attention to program protocol.  Remarks are delivered with the most prestigious guest addressing the audience last.  In most cases the final, or keynote, speaker will be a Member of Congress, the Governor, the Secretary of Health and Human Services, or other designated HHS official, or someone who has made a significant contribution to the facility or effort being dedicated or honored.  The following officials may participate in event ceremonies.  They are listed in descending order of precedence:

- President of the United States

- Vice President of the United States

- Governor of the state

- Cabinet Secretaries, with the Secretary of State ranking first

- U.S. Senators

- Governor of a neighboring state

- Members of the U.S. House of Representatives

- Under Secretaries, Deputy Secretaries, Assistant Secretaries of Executive Branch departments or the number two official in a department regardless of title

- Under Secretaries of Military Departments

- Four-star generals and equivalent ranked admirals, according to seniority

- State senators

- State representatives or delegates

- State executive department officials

- City and county officials

The order of precedence should be used for seating and for introductions.  The lowest ranking official should speak first, the highest ranking official last.

D.	Memorialization Honors

The following planning criteria should be considered when the Secretary has approved such honors:

Selection of the Guest of Honor

The dedication committee will select the guest of honor for the dedication ceremony of an installation or building in the following order of precedence:

The surviving spouse, if not remarried; eldest son or daughter; father/mother, or both; Eldest brother or sister; or Beneficiary, if no close relatives are available.

# Notification to the Next of Kin

When a request for memorialization honors has been approved and a letter signed by the Secretary, HHS will transmit the initial notification of the action planned to the next of kin of the individual whose memory is being honored.  When possible, the letter should be personally delivered to the next of kin by a member of the dedication committee.  This official should personally consult with the guest of honor and, consistent with existing policies and regulations, strive to satisfy his/her wishes concerning the ceremony.

E.	Program Development

Development of a program may proceed as follows:

- The local official is asked to serve as Master of Ceremonies.

- Two local clergymen are invited to deliver the invocation and the benediction.

- If music is desired, the local committee is assigned responsibility for obtaining necessary band(s) (usually high school or university).

- The guest speaker is scheduled to make a short speech.

- The Secretary or OPDIV representative is invited to deliver the dedicatory address.

- The building contractor is invited to present a United States flag to fly over the building.

- A staff member of the installation usually is scheduled to receive the flag.

- A firm decision should be made as to inclusion of other speaker(s) on the program.  Members of Congress who have shown particular interest in the project could be considered.  Other prominent persons, such as the President of the Architectural and Engineering firm, may be invited to the ceremony and may be seated on the speaker's platform even though they may not be called upon to speak.

F.	Program

A complete program may follow this format:

Invocation (2 minutes)

Master of Ceremonies welcoming remarks (3 minutes)

Introduction of honored guest and others seated on the speaker’s platform (10 minutes)

Congressional Representative (5 minutes)

Additional speaker (5 minutes)

The Dedicatory Address (15 minutes)

Master of Ceremonies closing remarks (3 minutes)

Benediction (2 minutes)

This outline provides a program of 45 minutes duration.  It can be expanded to allow one or two additional speakers, but in no event should the proceedings exceed 1 hour.  If desired, the program may be shortened further by reducing time allotted for introductions and speakers.  The program should be developed carefully, with the objective of providing a balance of interests in a space of time that will not cause the audience to become restless and inattentive.

G.	Other Planning Factors to be considered

Subject to appropriation laws and the availability of funds for such purposes, the following are various components of a typical memorialization/dedication ceremony and related activities for the naming of an installation or building that should be added to the program listing provided in item 8 above.

Transportation.  An appropriate escort will meet the guest of honor and his/her party upon their arrival in the area (airport, station, etc.) and conduct them to the site of the ceremony.

Greetings.  Prior to starting the ceremonies, the Master or Ceremonies will receive the guest of honor at the reviewing platform and introduce the speakers and dignitaries while the band plays soft music.

Mementos.  When appropriate, flowers or corsages should be provided for the guest of honor and/or next of kin.  A bound album (not larger than 10" x 16") of appropriate photographs and narration relating to the ceremony should be prepared and presented to the guest of honor and/or parents and children of the deceased.  If the guest of honor and/or family of the deceased wishes to present a plaque or portrait, it may be accepted.

Reception.  It is sometimes suitable to follow a ceremony with a reception for the guest of honor and/or parents of the deceased and special guests.  These receptions need not be large or elaborate, and maximum use should be made of available Government facilities.

Hearing Impaired.  Arrangements for an interpreter for the hearing-impaired should be considered to help ensure that everyone fully appreciates the program.

H.	INVITATIONS

Invitations are treated as a separate factor because they are connected with both protocol and publicity.  The following steps should be taken in connection with invitations:

- As host, all formal invitations to the dedication come from the dedication committee.  These take two forms: (a) personal letters to dignitaries who are invited as speakers should clearly convey what the invitee will be asked to do (e.g., deliver brief remarks of approximately # minutes duration, where the speaker should come, etc.); (b) printed invitations, listing the program for mailing to all other invitees.  If reserved seating (see "Physical Arrangements") is to be available, the invitation can be used numerically to control seating.

- Often, a combination invitation-guest pass is used.  The invitation is headed: "The Department of Health and Human Services Cordially Invites You ____________________.”

- Invitations should be mailed approximately 30 days prior to the ceremony, if possible.  At that time, the Congressional Liaison Officer should be informed of the overall plans for the dedication ceremony and furnished with a list of dignitaries invited to participate.

I.	PUBLICITY

Publicity in connection with the dedication ceremony is the responsibility of the news media member of the local dedication committee.  He/she should assure adequate coverage of the event by announcements of date, time, place, etc.  As speakers are selected, the dedication committee should arrange for biographical information and photographs to be forwarded for publication.  It should arrange for the advance copies of texts of speeches, and should provide the news media with fact sheets and other material pertinent to the building.  Every effort should be made to assure good news coverage.  His/her responsibility includes not only advance coverage, but also the determination of what type of coverage will be obtained during the ceremony; e.g., live radio or TV, motion pictures, etc.  He/she will be responsible for advising the dedication committee well in advance as to what press requirements will be needed for space, tables, platforms, power outlets, vantage points for photographers, etc.

j.	Physical Arrangements

The physical arrangements provided for a dedication ceremony should be dignified and simple, adequate for the occasion, and conducive to the execution of all established plans.  Physical arrangements fall into the following categories:

- Transportation.  Suitable transportation should be arranged for visiting dignitaries throughout their stay.

- Accommodations.  The dedication committee should make necessary reservations for incoming dignitaries.

- Installation or Building Preparations.  Ceremonies should be held at the most convenient location within the installation or immediately outside a new building.  However, alternate plans should be made in the event of inclement weather.

The Construction Superintendent may be of considerable help in making the following arrangements if the requirement has been included in the contract scope of work:

- Speaker's Platform or Area.  If a platform is necessary, the building contractor will provide it if it is in the original contract scope of work, or if incorporated by modification.  The platform f1oor (if constructed of lumber) should be solid, so as not to present a hazard.  The platform should have an access from the rear; it should provide for mounting of speakers leaving the building and coming out onto the platform, facing the audience.  The platform or area where the speakers will be seated may be decorated with bunting or other material to focus attention on it.  The American flag and HHS flag customarily flank the stage.  Flags must be displayed in accordance with the Flags Code, 4 U.S.C. 1-10.  Usually 36 U.S.C. '' 175 (k) will apply.  In addition, it should be equipped with a suitable public address system, lectern, and necessary number of comfortable and attractive chairs.  A podium with a high quality sound system is positioned on the stage; the Service emblem prominently displayed on the front surface.  Place ice water, glasses, and paperweight behind the podium for use by the speakers.

- Seating Arrangements

Speaker's Platform or Area.  A seating diagram should be drawn in advance and the chairs plainly marked with the names of each individual.  The seating should be arranged so that the main speakers are seated in the front row(s) and sufficient aisle room is provided for access to lectern.  To avoid confusion, the speakers should be asked to congregate in a specified room within the building immediately in advance of the ceremony and move in a single file, in accordance with a prearranged seating order, onto the platform.

Chairs for Audience.  The local GSA office, BIA Superintendent, other Government agencies, or local organizations may provide chairs for the audience.  The chairs should be set up well before the ceremony with row markings or other necessary identification if a reservation system is used.

Press Table.  Space should be provided for the press immediately facing the speaker's platform or at other vantage points.  This may include a table and chairs, a platform for mounting cameras, etc.  Care should be taken that the location selected gives a clear view, but does not obstruct the view of spectators.

- Protection of Building and Grounds.  Suitable precautions should be taken to protect newly planted shrubs and grass; assure non-entry into classified area; remove traffic and pedestrian hazards; and any other steps normally taken when an extraordinary amount of pedestrian traffic is expected.

- Parking.  Local police authorities should be requested to issue special traffic passes, assign police officers to handle traffic, and provide for the temporary suspension of conventional parking rules.  The official in charge of the installation or building may do the same in connection with building parking on or in areas under his/her control.

K.	TOUR OF INSTALLATION OR BUILDING

At the conclusion of the ceremonies, it is customary to invite the public to tour the new installation or building.  If this is on a workday, the individual offices should assign staff to answer questions and the buildings manager should provide adequate elevator service, guides, and assure that passageways are not obstructed.  If the ceremony is on a non-workday, the occupant offices should provide volunteer staffs to answer questions concerning their particular activities.

L.	Post-event Details

After the guests and dignitaries depart, there is still much work to be done.

- Enter the clean-up crew to break down the stage and exhibits; load and return the tables, chairs, and other borrowed equipment; and dispose of all trash.

- Follow up with local reporters to ensure they have enough information to prepare an accurate account of the celebration.  If not, offer to provide them with more details or to prepare a news release.  Also, offer copies of photos that were taken on the day of the event for their use in an article.

- Promptly after the event, thank you letters should be sent to speakers, sponsors, entertainers, exhibitors, volunteers, and other participating organizations who helped make the event a success.

- A few days following the event, gather everyone involved with staging the event to critique the effort.  What went well?  Where could changes be made next time?  Did anyone receive complaints or complements?  Discuss them, share ideas, and make notes for the future.

These post-event details will provide a sense of closure for the organizers and volunteers and hopefully leave everyone with positive memories and satisfaction for a job well done.  The importance of these final tasks should not be minimized.

Section 4-7:	Building Services

4-7-00	Policy

10	Procedures

20	Guidance and Information

30	Reporting Requirements

4-7-00	Policy

HHS and its OPDIVs must provide occupancy services that substantially conform to nationally recognized standards.  As needed, OPDIVs may adopt other standards for buildings and services in federally controlled facilities to conform to statutory requirements and to implement cost-reduction efforts.  Building services, such as custodial, solid waste management (including recycling), heating and cooling, landscaping and grounds maintenance, tenant alterations, minor repairs, building maintenance, integrated pest management, signage, parking, and snow removal, are to be provided at appropriate levels to support Federal agency missions.  Arrangements shall also be made for raising and lowering the United States flags at appropriate times.  In addition, agencies must display P.O.W. and M.I.A. flags at locations specified in 36 U.S.C. 902 on P.O.W./M.I.A. flag display days.

Operations, maintenance, and repair functions at HHS facilities shall be supported with a combination of funding, space, equipment, and staffing that is sufficient to operate, maintain, and repair the facilities in accordance with applicable Federal standards and recognized industry standards relevant to the use of buildings or other facilities of similar types, age, and physical condition.

4-7-10	Procedures

operations and Maintenance (O&M) - The O&M management of HHS facilities includes the following areas of responsibility:

A.	Real Property

1.	Buildings:  The maintenance, repair, and inspection of buildings, towers, and other structures.

2.	Pavements and Other Surfaced Areas:  The maintenance, repair, and inspection of roads, streets, walks, parking areas, and other similar facilities.  Operation, maintenance, repair, and inspection of external lighting and security systems.

3.	Grounds:  The maintenance, repair, and inspection of lawns, trees, shrubs, fencing, and ornamental improvements.  Operation, maintenance, repair, and inspection of lawn watering systems, and other installed grounds equipment.

4.	Equipment:  The operation, maintenance, repair, and inspection of real property installed equipment.

B.	Utilities

1.	Communications:  The maintenance, repair, and inspection of fixed Government-owned telephone and other communications equipment under HHS control.

2.	Electricity:  The furnishing, metering, and distribution of electricity, including the operation, maintenance, repair, and inspection of electrical generating plants, transmission, and distribution systems, building wiring, and stand-by equipment.  Does not include provision of electrical energy to Government-furnished quarters where electricity is not included in the rental charge.

3.	Gases:  The distribution of piped gases for laboratory or medical use, including oxygen, nitrous oxide, carbon dioxide, carbon dioxide, nitrogen, air propane, butane, natural, or other gases; and the maintenance, repair, and inspection of the storage, transmission, and distribution systems for these gases.

4.	Heating Fuels:  The furnishing, metering, and distribution of fuels used for heating, including coal; synthetic, natural, or liquefied petroleum gas; and oil fuel.  The operation, maintenance, inspection, and repair of storage, transmission, and distribution systems.  Does not include the provision of fuels to Government-furnished quarters where heat is not included in the rental charge.

C.	BUILDING EQUIPMENT AND SYSTEMS

1.	Heating:  The operation, maintenance, repair, and inspection of heating plants, heating systems, and related equipment.

2.	Refrigeration, Air-Conditioning, and Ventilation:  The operation, maintenance, repair, and inspection of ice manufacturing equipment, refrigeration equipment, air-conditioning and ventilation equipment, cooling towers, chilled water systems, and related piping and controls.

3.	Sewerage:  The operation, maintenance, repair, and inspection of sanitary sewers, storm sewers, and pumping, treatment, and disposal systems.  Includes provision of chemicals and supplies required for sewage treatment.

4.	Steam:  The supply, metering, and distribution of steam including the operation, maintenance, repair, and inspection of steam generating plants, transmission systems, distribution and return systems, and related installed equipment.

5.	Water:  The furnishing, metering, and distribution of water, including the operation, maintenance, repair, and inspection of water supply, treatment, storage, pumping, distribution systems, and stand-by equipment.  Includes quality assurance activities.

D.	WASTE MANAGEMENT

1.	Waste Disposal:  The bulk collection, separation, incineration, hauling, burying, or otherwise disposing of waste material, including operation, maintenance, repair, and inspection of incinerators, sanitary land fills, or other disposal facilities, and the maintenance, repair, and inspection of equipment used for this purpose.  Includes resource recovery activities.

2.	Recycling

3.	Procurement of Recycled Products

E.	Services

1.	Fire Safety:  The development of fire protection procedures and application of standards, the operation, maintenance, repair, and inspection of portable and installed fire protection equipment, and alarm systems; and, the promotion and supervision of fire prevention programs related to facilities operation, maintenance, and repair activities.

2.	Pest Control:  The execution of such maintenance, repair, inspection, and treatment work as may be required for extermination and control of insects, rodents, and other pests and organisms in accordance with integrated pest management processes and plans.

3.	Housekeeping Services:

a.	Buildings:  Window washing; relamping of light fixtures; cleaning of walls, doors, ceilings, light fixtures, air diffusers, floors, and floor coverings; shampooing, stripping, sealing, waxing, buffing floors; dusting of office furniture; emptying and cleaning waste baskets and other waste receptacles; removal of waste to a central collection area; dusting, cleaning and sanitizing of toilet rooms, baths, showers, locker rooms, janitors’ closets, including servicing with paper, soap, and other necessary supplies.  Inspection to assure quality of services.

b.	Grounds:  Collection and removal of waste material, sweeping of walks and other surfaced areas, removal of snow and ice from pedestrian walkways, vehicular roads and parking areas, and service areas (docks, ramps) as necessary at pedestrian entrance and exit walks.  Inspection to assure quality of services.

c.	Site:  Provision of services that support environmental protection (e.g., recycling and resource recovery).  Support of special emphasis programs including actions to support a safe workplace.

F.	Maintenance Surveillance

1.	Maintenance surveillance is applicable to real property facilities utilized by the HHS, but owned or leased by GSA, or operated by GSA or others; and to real property facilities, which are leased by or assigned to the HHS, but operated by others.

2.	This activity includes inspection and review of the items listed above, insofar as they are directly related to and affect the HHS occupancy use of a facility.  For example, faulty ventilation and air-conditioning, inadequate lighting levels, unsafe conditions, unsatisfactory maintenance and cleaning of the facility, recurring electrical outages, etc., are all problems that are within the scope of maintenance surveillance.

G.	Other

The installation, maintenance, repair, and removal of all signs, charts, boards, displays, etc., whether or not affixed to real property, except for signs relating to real property and its functions (building names, numbers, door numbers, department names, directional information, such as fire alarms, fire exits, etc.).  Program funds must be provided for this effort, as normal O&M funds generally do not cover this work.

4-7-20	Guidance and Information

A preventive maintenance program shall be established, operated, and monitored for each HHS-owned facility, whether operated by the HHS or by others to ensure a safe and healthy work environment and continuity of business operations.  The program shall include the following elements:

1.	Inventory of buildings, other structures, and equipment.

2.	Selection of structural features and equipment requiring inspection, routine maintenance, cleaning, testing, and adjusting on a periodic basis.

3.	Development of preventative maintenance guides for selected items.

4.	Using engineered performance standards or equivalent technique; establishment and application of standard time and skills requirement to each preventative maintenance task.

5.	Evaluation of preventative maintenance staffing requirement and scheduling of task accomplishment either by in-house staff or by contract.

6.	Establishment and application of quality assurance review and correction procedures.

7.	Provision of resources required to accomplish the preventative maintenance program.

8.	Material Safety Data Sheets (MSDS) are readily available for hazardous chemicals used in building services and construction operations.

Section 4-8:	RELIABILITY CENTERED MAINTENANCE

4-8-00	Policy

10	Procedures

20	Guidance and Information

30	(Reserved)

4-8-00	POLICY

The purpose of this section is to provide general information that will introduce and encourage implementation of Reliability Centered Maintenance (RCM) concepts and programs within the HHS facilities community.  The intended audience includes facility planners, designers, equipment procurement specialists, construction managers, systems engineers, and maintenance and operations (M&O) contract planners and managers.

A.	Background

Reliability Centered Maintenance (RCM) is a process used to determine the most effective approach to maintenance.  It involves identifying actions that, when taken, will reduce the probability of failure through an optimal mix of Condition-Based Actions, Time/Cycle-Based actions, or a Run-to-Failure approach to take advantage of their respective strengths in order to optimize facility and equipment operability and efficiency while minimizing life-cycle costs.  RCM data can also provide useful input for Facility Condition Assessments and for determining the Backlog of Maintenance and Repair (BMAR).

B.	Responsibilities

All HHS personnel with duties and responsibilities involving any aspect of the facilities life-cycle shall include Reliability Centered Maintenance considerations in their decision-making processes.  These considerations are consistent and closely aligned with the concepts of Sustainability, Life-cycle costs, and Mission-dependency.

4-8-10	PROCEDURES

Properly implemented Reliability Centered Maintenance programs will optimize the life-cycle cost versus benefit of facilities and associated equipment.  RCM is Function Oriented, System Focused, Reliability Centered, Acknowledges Design Limitations, Driven by Safety and Economics, and Relevant to the failure mode.  RCM analysis considers the following questions:

- What does the system or equipment do; what is its function?

- What functional failures are likely to occur?

- What are the likely consequences of those functional failures?

- How quickly and cost effectively can failures be mitigated?

- What can be done to reduce the probability of the failure, identify the onset of failure, or reduce the consequences of the failure?

- How does the cost to deter/prevent failure compare with the consequences of failure?

4-8-20	GUIDANCE AND INFORMATION

The Reliability Centered Maintenance (RCM) philosophy employs Preventive Maintenance (PM), Predictive Testing and Inspection (PT&I), Repair (also called reactive maintenance), and Proactive Maintenance techniques in an integrated manner to increase the probability that a machine or component will function in the required manner over its design life cycle with a minimum of maintenance.  The goal is to deliver required reliability and availability at the lowest cost.  RCM requires that maintenance decisions be based on maintenance requirements supported by sound technical and economic justification.

An RCM program includes reactive, preventive, predictive, and proactive maintenance.  The following definitions describe these and some additional RCM concepts.

Reactive maintenance - also referred to as breakdown, repair, fix-when-fail, or run-to-failure (RTF) maintenance.  Equipment repair or replacement occurs only when the deterioration in the equipment’s condition causes a functional failure.  In addition there is no ability to influence when the failures occur because no (or minimal) action is taken to control or prevent them.  A high percentage of unplanned maintenance activities, high replacement part inventories, and inefficient use of maintenance effort typify this strategy.  Reactive maintenance can be used effectively when it is performed as a conscious decision, based on the results of an RCM analysis that compares the risk and cost of failure with the cost of the maintenance required to mitigate that risk and cost of failure.  Components for which RTF may be appropriate are non-critical restroom exhaust fans, water heaters, and items where the consequences of failure are negligible and the time required to remedy the failure is acceptable.

Preventive Maintenance (PM) - consists of regularly scheduled inspection, adjustments, cleaning, lubrication, parts replacement, calibration, and repair of components and equipment.  It is performed on a time-driven or scheduled interval basis without regard to actual equipment condition.  Traditional PM is keyed to failure rates and times between failures.  It assumes that these variables can be determined statistically, and therefore one can replace a part due for failure before it fails.  PM is based on the assumption that the overhaul of machinery by disassembly and replacement of worn parts restores the machine to a like new condition with no harmful effects.  However, it has been shown that in a large number of cases, imposing an arbitrary preventive task increases the average failure rate through “infant mortality.”

For some items, while failure is related to age, it is not equally likely to occur throughout the life of the item.  In fact, the majority of equipment is not subject to wear-out (a sharply increasing conditional probability of failure at a specific operating age).  Therefore, timed maintenance can often result in unnecessary, even harmful, maintenance.  In summary, PM can be costly and ineffective when it is the sole type of maintenance practiced.

Predictive Testing and Inspection (PT&I) - also known as predictive maintenance or condition monitoring, uses primarily non-intrusive testing techniques, visual inspection, and performance data to assess machinery condition.  It replaces arbitrarily timed maintenance tasks with maintenance that is scheduled only when warranted by equipment condition.  Continuing analysis of equipment condition-monitoring data allows planning and scheduling of maintenance or repairs in advance of catastrophic and functional failure.  Methods of analysis include trend analysis, pattern recognition, data comparison, tests against limits and ranges, correlation of multiple technologies, and statistical process analysis.  Data acquired from the various PT&I techniques can and should be correlated with each other to increase the probability of detecting and correctly evaluating equipment condition.

Proactive maintenance improves maintenance through better design, installation, maintenance procedures, workmanship, and scheduling.  Proactive maintenance typically employs the following basic techniques to extend machinery life:

- Specifications for new/rebuilt equipment.  Specifications should include, as a minimum, vibration, alignment, balancing criteria, and other important performance criteria.  Good feedback and communications are necessary to ensure that recommended changes in design or procedures are rapidly made available to designers and managers.

- Precision rebuild and installation.  Equipment requires proper installation to control life-cycle costs and maximize reliability.  Poor installation often results in problems routinely faced by both maintenance personnel and operators.  The adoption and enforcement of precision standards can more than double the life of a machine.

- Failed-part analysis.  This proactive process involves inspecting failed parts after their removal to identify the cause(s) of their failures.

- Root-cause failure analysis (RCFA).  In some cases, plant equipment fails repeatedly, and the failures are accepted as a normal idiosyncrasy of that equipment.  Recurring problems such as short bearing life, frequent seal fracture, and structural cracking are symptoms of more severe problems.  RCFA proactively seeks the fundamental causes that lead to facility and equipment failure.  Its goals are to:

  - Find the cause of a problem quickly, efficiently, and economically.

  - Correct the cause of the problem, not just its symptom/effect.

  - Provide information that can help prevent the problem from recurring.

  - Instill a mentality of “fix forever.”

- Reliability engineering involves the redesign, modification, or improvement of components or their replacement by superior components.

- Rebuild certification/verification.  When new or rebuilt equipment is installed, it is essential to verify that it is operating properly.  To avoid unsatisfactory operation and early failure, the equipment should be tested against formal certification and verification standards.

- Age Exploration.  Age Exploration (AE) is a key element in establishing an RCM program and provides a methodology to vary key aspects of the maintenance program in order to optimize the process.  For example, during visual inspection of a chiller, the technician notes the condition of various components.  The condition evaluation sheet is then correlated with performance data from the Energy Management and Control System (EMCS), vibration data, and oil analysis data.  As a result of this analysis, the decision is made to change the interval of the open and inspect until monitored conditions indicate degradation has occurred.

- Recurrence Control.  This element provides a systematic approach using technical analysis of hardware and/or material failures for dealing with repetitive failures.

Section 4-9:	OCCUPATIONAL SAFETY AND HEALTH

4-9-00	Policy

10	Procedures

20	Guidance and Information

30	Reporting Requirements

4-9-00	Policy

It is the policy of HHS to provide a safe and healthy work environment for all its employees and the public served in an effort to prevent personal injuries, illnesses, and death from work-related causes and to minimize loss of material resources from accidental occurrences.  The standards to be followed in attaining safe and healthful working conditions are those issued by the Department of Labor under the Occupational Safety and Health Administration 29 CFR 1910 and GSA regulations dealing with “Safety and Environmental Management,” at 41 C.F.R. 102-80, plus any additional standards and/or safety procedures issued by the Department or standards promulgated by recognized national standards organizations and adopted by HHS to meet particular situations or conditions associated with its facilities.

A.	basic safety and environmental management policies for Federal real property (FMR) Part 102-80

1.	Provide for a safe and healthful work environment for Federal employees and the visiting public;

2.	Protect Federal real and personal property;

3.	Promote mission continuity;

4.	Provide reasonable safeguards for emergency forces if an incident occurs;

5.	Assess risk;

6.	Make decision makers aware of risks; and

7.	Act promptly and appropriately in response to risk.

B.	Fire Administration Authorization Act of 1992 (Public Law 102-522)

The Fire Administration Authorization Act of 1992 (Pub. L. 102-522) requires sprinklers, or an equivalent level of safety, in certain types of federal employee office buildings, federal employee housing units, and federally assisted housing units.  The Act applies to all Federal agencies and all federally owned and leased buildings in the United States.

4-9-10	Procedures

OPDIVs and all HHS personnel should adhere to the Department of Health and Human Services Safety Management Manual in the conduct of their duties.  Topics that may be of particular importance and relevance to the facility manager include:  Accident Investigation, Reporting and Analysis; Safety Specifications; Facility Survey/Inspection; Fire Safety; Employee Rights; and Safety Program Evaluation.

In addition, facility managers will comply with applicable building industry safety codes to ensure protection of HHS employees, contractors, and visitors within all of HHS-controlled properties.

4-9-20	Guidance and Information

HHS Occupational Safety and Health Program

For detailed information on HHS Occupational Safety and Health, please refer to the Department of Health and Human Services Safety Management Manual or contact the HHS Safety Officer, OFMP.

4-9-30	REPORTING REQUIREMENTS

OPDIV Safety Officers are required to report accidents in accordance with the Department of Health and Human Services Safety Management Manual.

SECTION 4-10:	SYSTEM INSPECTIONS AND CERTIFICATIONS

4-10-00	Policy

10	Procedures

20	Guidance and Information

30	Reporting Requirements

X4-10-A	Sample: Cross-Connection Control and Backflow Prevention Program Template

X4-10-B	Sample: Cross-Connection Control and Backflow Prevention Awareness Training

4-10-00	Policy

This section establishes HHS policy and responsibilities for complying with mandatory facility systems and equipment inspections and certifications.  Due to the high risk nature of much of the work involved, it is important to integrate it with occupational health and safety policies and regulations.  A primary goal of this section is to raise awareness concerning many areas that require special management attention within the facilities management arena.  Examples include:  Air emissions permits, Boilers, Unfired Pressure Vessels, Weight Handling Equipment (cranes and hoists), Vertical Transportation Equipment (including elevators), Backflow Preventers, Fire extinguishers, Fire Protection systems, and Personal Protective Equipment.

There are a large number of easily forgotten/overlooked periodic inspections and certifications that are required for facilities equipment and associated operations.  The primary purpose of these requirements is to protect life safety and health, since there are significant hazards, including serious injury or death, associated with use of certain specialized facility equipment.  Requirements for inspections and certifications are included in laws and regulations issued by organizations like the Environmental Protection Agency (EPA), state agencies, the Occupational Safety and Health Administration (OSHA), the Department of Transportation (DOT), and others.

4-10-10	Procedures

For the facilities management staff charged with compliance, the paperwork chase involved in documentation for inspection and certification may seem endless.  However, with proper awareness, emphasis, organization and documentation, the requirements will be met.

A.	A list of the more common inspections and certifications follows.  The list is neither all-inclusive nor do all of the listed items apply to every site.  Several of the inspections and certifications described very briefly below are general summaries of requirements established by applicable Federal, state, and local law.  This list is not intended to be used as the sole source of information regarding any of the requirements summarized briefly in this section and facilities management staff must ensure that each facility fully complies with all applicable Federal, state, and local laws and regulations It is incumbent upon facility managers/operators to be aware of and comply with requirements applicable in their unique situation.  The list is general in nature, since specific requirements will vary by location.  Facilities management staff must determine all of the inspection, testing, certification, and mandatory maintenance requirements applicable to their systems.  Appropriate guidelines should be incorporated into activity instructions that are enforced rigidly.

Air permits.  Most air permits are issued by state programs with an annual permit fee accompanied by a three-year or five-year permit renewal deadline.  It is critical to be aware of permit requirements and renewal dates to maintain them in a current status.  Air Emissions Inventory Questionnaires (or equivalent state title) are required upon request by the state permitting agency.  These questionnaires are usually annual forms that must be submitted to maintain a valid air permit.

Boilers and Unfired Pressure Vessels (UPVs).  Stringent criteria apply to all heating and power boilers and unfired pressure vessels, including portable boilers and portable unfired pressure vessels, liquid propane gas (LPG) storage tanks, mobile boilers, and hyperbaric facility support pressure vessels.  The inspection of boilers and pressure vessels is highly specialized work requiring qualified personnel and, in many cases, specialized testing equipment, to ensure their continued safe, reliable, and efficient operation.  The frequency and extent of inspection and testing will vary based on equipment operating parameters.  Contract employees that perform the inspections, witness the tests, prepare the reports, and issue required certificates must, as a minimum, possess a Certificate of Competency or the equivalent issued by any political subdivision (such as state, province, territory, county, or city) of the United States that is a member of the NBBI.  A current and valid certificate must be posted on, or near, the equipment, under a clear protective covering.

Compressed gas cylinders.  OSHA inspection requirements incorporate DOT 49 CFR 171-170 and 14 CFR 103 by reference.  These regulations pertain primarily to testing, inspection, and marking of the cylinders.

Cranes and hoists.  OSHA requires a comprehensive inspection prior to initial use for all new or altered cranes or hoists.  The federal statute also stipulates frequent inspections, described as daily to monthly, and periodic inspections at intervals between one and 12 months.  The actual frequency of the inspections depends on the usage of the crane.  Some states require a more rigorous inspection schedule.  See also “Weight Handling Equipment”.

Cross-Connection Control and Backflow Preventers.  The goal of a cross-connection control and backflow prevention program is to ensure safe drinking water under all foreseeable circumstances.  Requirements pertain to all facilities served by drinking water systems to prevent the entrance of contamination, which may render the water unsafe or undesirable.  Therefore, the program should establish policy, procedures, and instructions for installing, inspecting, testing, certifying, and maintaining backflow preventers to prevent contamination of drinking water systems.  Improper configuration of potable water piping can create the possibility of backflow, which in turn, could result in the drinking water system becoming a transmitter of pathogenic organisms, toxic materials, or other hazardous substances with adverse affects on public health and welfare.  Many federal, state, and local regulatory requirements flow-down from the Safe Drinking Water Act.  Even in instances where there may be no regulatory requirement to implement a cross-connection control and backflow prevention program, the primary concern is to ensure that safe drinking water is provided to all users regardless of location.  Therefore, all HHS activities shall develop and implement a cross-connection control and backflow prevention program following sound engineering procedures.  Exhibit X4-10-A provides a cross-connection control and backflow prevention program template for optional use by HHS activities.  Although each Activity will decide who receives training and the amount of training required, it is imperative that personnel responsible for inspecting facilities for cross-connections, certifying BFPs for proper installation and operation, and making recommendations for corrective action be properly certified.  Information for general awareness training is provided as Exhibit X4-10-B.

Electrical cords.  OSHA standards mandate requirements for an “Assured Grounding Program” which requires periodic inspections.

Emergency Planning and Community Right to Know Act.  EPCRA requires annual chemical inventory reporting by facilities with “hazardous chemicals” or “extremely hazardous chemicals” present on site.  A hazardous chemical is any chemical for which OSHA requires a Material Safety Data Sheet under the Employee Right to Know Act per 29 CFR 1910.1200 (Hazard Communication Program, or HazCom).  The volume of the hazardous chemicals on site determines the trigger for reporting and is usually determined by state requirements.  The inventory report of hazardous chemicals is required by federal regulation if the facility stores 10,000 pounds or more of the product.

Equipment modification certifications.  A myriad of certifications from equipment manufacturers is required for any modifications to equipment such as forklifts, cranes, aerial lifts, and others.

Fire extinguishers.  The construction standard requires a semi-annual inspection for dry chemical extinguishers.  A more extensive annual inspection and service is also required.  The general industry standard stipulates a more rigorous monthly inspection schedule with an annual maintenance check in addition to a hydrostatic test every 5 or 12 years, depending on the type of extinguisher.

First aid kit.  Periodic inspections are required to assure ready availability.  The referenced ANSI standard in the construction standards requires a licensed physician to review and sign off on the kit, which OSHA will occasionally cite if no documentation is available.

Fixed extinguishing systems.  Fire extinguishing systems require annual inspection by a knowledgeable person (as defined by NFPA).  Employee alarm systems also require annual testing for reliability and adequacy.

Periodic/scheduled inspections of Equipment and Tools.  OSHA standards require documented inspections by competent persons at varying schedules (from daily to annually) to verify the safety of tools and equipment used in the performance of facility maintenance, repair, and construction (examples include jacks, ladders, wire ropes, personal protective equipment).  In some cases, there is also a requirement for a written program.  For example, a Respiratory protection program is required whenever respirators are used.  For most equipment operators, regulations mandate inspection of their equipment before use on a daily basis.  Included are cranes and hoists, rigging equipment, motor vehicles, scaffolds, welding equipment, aerial lifts, vehicle mounted elevating and rotating work platforms, and personal fall arrest systems.

Spill control plans.  A written review and evaluation are required every three years or whenever there is a change in the facility that affects the plan.  These plans are required for facilities with an aboveground storage of 660 gallons in a single tank or an accumulation of 1,300 gallons or more in aggregate that could reasonably be expected to discharge oil or oil-related substances in harmful quantities.  Despite the regulatory language specifying “potential to reach into a navigable waterway,” and “harmful,” liberal courts have interpreted this as any roadside ditch or drainage way since all drainage ways eventually lead into a “navigable waterway.”  The states have broadened their definitions by using the term “waters of the State,” which basically means any public waters and water drainage systems.  In summary, if it leaves the property, report it.

Stormwater permit.  A stormwater pollution prevention plan (SWPPP) is a fundamental requirement associated with stormwater permits.  Permit holders must conduct an annual inspection of the facility, which should identify areas contributing to stormwater discharge associated with industrial activity and evaluate whether measures to reduce pollutant loading identified in a SWPPP are adequate and properly implemented in accordance with the terms of the permit, or whether additional control measures are needed.

Vertical Transportation Equipment (VTE) includes but is not limited to: Elevators, Escalators, Dumbwaiters, Moving Walks, Sidewalk Elevators, Special Purpose Personnel Elevators, Automatic Transfer Devices, material Hoists, Personnel Hoists, Manlifts, Inclined Lifts, Automotive Lifts, Mechanized Parking Garage Equipment, Power Platforms for Exterior Building Work, and Levellators.  Current certification should be displayed in/on the equipment.  In some cases, the certification document can be maintained on file in a central office.

In making routine inspections, or periodic inspections and tests of VTE, the inspector shall determine that the equipment is in a safe operating condition, has not been altered except in conformity to the applicable code or regulations, and performs in accordance with test requirements.  The inspector shall also examine the equipment to verify that it is being maintained in accordance with manufacturer's recommendations and make recommendations for needed repairs or modifications.

All personnel performing inspections and tests of vertical transportation systems and equipment shall be qualified as follows:  a. Certification to inspect elevators by the licensing authority of a political subdivision (such as state, territory, county, or city) of the United States.  b. Satisfactory completion of the Elevator Safety Education Training Course and Certification by the National Association of Elevator Safety Authorities (NAESA).  c. Certification by the Building Officials and Code Administrators International Incorporated (BOCA).  The inspection itself can be hazardous in that it exposes the inspector to risks of electrocution, crushing, falls, etc.

Waste inventory.  State waste regulations usually require an annual waste inventory to be maintained via prescribed forms submitted to the state.  Though varying terms and classifications exist for solid wastes (and solid waste subcategories), hazardous waste (and hazard waste categories), industrial wastes, special wastes (scrap metal, lead acid batteries, used oil and filter and others), and garbage, state regulators usually want all types reported annually in one fashion or another.

Wastewater permit.  Licensing under the federal National Pollutant Discharge and Elimination System (NPDES) or an equivalent authorized state program is required for any industrial wastewater discharge.  The federal permit is issued for a maximum of five years and the renewed permit application must be submitted at least 180 days in advance of expiration.

Weight Handling Equipment (WHE).  Weight handling equipment consists of cranes (e.g., portal, hammerhead, mobile, tower, gantry, jib, pedestal mounted, overhead hoists, etc.), rigging gear (e.g., slings, shackles, eyebolts, hoist rings, links, turnbuckles, etc.), and associated equipment (e.g., portable hoists, dynamometers/load indicators, etc.).  A crane shall not be used in service without a valid certification.  In certain cases, interim recertification may be required.  All certifications are: automatically void after 1 year; after exceeding the certified capacity during operation; or after an adjustment, repair, disassembly, replacement, or alteration of a load bearing or load controlling part or operational safety device, which requires a load test for verification of satisfactory work.

An effective WHE management program will ensure the equipment is safe to operate; ensure weight-handling operations are conducted safely and efficiently; and ensure optimum equipment service life.  Activities must comply with OSHA requirements for maintenance, inspection, testing, certification, repair, alteration, and operation of covered equipment and certification shall be by an OSHA accredited certification agency in accordance with OSHA regulations.  A list of currently accredited agencies may be obtained from the area OSHA office.

Personnel involved in the maintenance, alteration, repair, inspection, testing, and operation of WHE shall be trained and qualified to perform their assigned duties.  For contractor operations, it is important that the contract include strict language requiring a certificate of compliance from the contractor that the crane and rigging gear meet applicable OSHA regulations (with the contractor citing which OSHA regulations are applicable.  The contractor shall also certify that all of its crane operators are licensed and fully qualified on the equipment they will operate.  Proof of current qualification shall be provided on demand.

B.	Licensing, Permits, and Personnel Qualifications

Contractor or in-house inspectors and operators shall be licensed by the state in which work is to be performed.  As a minimum, all requirements with respect to business licensing, certifications, employee identifications, and actual work performance shall fully comply with state laws and regulations applicable to the state in which the work is performed.

It is the purpose of condition inspections to ensure that the overall structural, mechanical, and electrical components of the equipment have been maintained in a safe and serviceable condition and are functioning properly.  It is the purpose of load tests (where applicable) to ensure by controlled operation with prescribed test loads that the equipment is capable of safely lifting and moving the rated load through all design motions.  These inspections and tests shall be performed by technically competent inspection and test personnel.

C.	Definitions

The following terms and definitions are compiled from various reference manuals.  The wording of definitions may not exactly replicate the wording in reference manuals; however, the technical meaning of the definitions is accurate and is provided to assist in the interpretation and understanding of this material.

Backflow - The reversal of flow of undesirable (nonpotable) liquids, gases, or solids into the distribution piping of the potable water supply.  This is created due to the existence of a pressure differential where the pressure on the nonpotable side is greater than the pressure on the potable side.  There are two different types of backflow: backsiphonage and backpressure.

Backflow Preventer (BFP) - A "backflow preventer" shall mean any approved device or assembly or piping arrangement (i.e., air gap) used to prevent backflow into a potable water system.

Backsiphonage - Reversed flow of liquid caused by a partial vacuum in the potable water distribution system.

Certification of Personnel - The training and licensing process whereby a person is approved by an applicable regulatory authority to inspect, test, and certify equipment as functioning in accordance with mandatory standards.

Cross-Connection - Any physical arrangement whereby a public water system is connected, directly or indirectly, with any other water supply system, sewer, drain, conduit, pool, storage reservoir, plumbing fixture, or other device which contains, or may contain, contaminated water, sewage, or other waste or liquid of unknown or unsafe quality which may be capable of imparting contamination to the public water system as a result of backflow.  Bypass arrangements, jumper connections, removable sections, and swivel or changeover devices through which or because of which, backflow could occur are considered to be cross-connections.

Cross-Connection Control and Backflow Prevention - The use of approved assemblies, devices, air gaps, associated methods and procedures, etc., to prevent contamination or pollution of a potable water supply through cross-connections.

Degree of Hazard - The danger posed by a particular substance or set of circumstances.  Degree of hazard is divided into health hazard and non-health hazard.

Health Hazard - A cross-connection or potential cross-connection involving a contaminant in sufficient concentration to spread disease or cause death.

Non-Health Hazard - A cross-connection or potential cross-connection involving any pollutant or contaminant (at low levels) that will not create a health hazard but will create a nuisance, or be aesthetically objectionable, if introduced into the potable water supply.

Purveyor - The supplier and/or distributor of potable water (i.e., the owner of the public water system.)

Weight Handling Equipment (WHE) - Weight handling equipment consists of cranes (e.g., portal cranes, mobile cranes), rigging gear (e.g., slings, shackles), and associated equipment (e.g., portable hoists, dynamometers).

D.	Authorities and References

American Backflow Prevention Association (ABPA)

American Society of Mechanical Engineers (ASME), Boiler and Pressure Vessel Code (BPVC).

American Society of Mechanical Engineers (ASME) CSD-1, Controls and Safety Devices for Automatically Fired Boilers

American Water Works Association (AWWA)

Foundation for Cross-Connection Control and Hydraulic Research (FCCCHR)

National Board Inspection Code (NBIC), the National Board of Boiler and Pressure Vessel Inspectors

National Fire Codes.  Published by the National Fire Protection Association

Safety Drinking Water Act (SDWA)

Training, Research and Education for Environmental Occupations (TREEO) Center

- Responsibilities

It may be determined to be more efficient and effective to establish more centralized program management and support in the future.  However, at this time, OPDIVs are both responsible for and at liberty to establish specific program procedures.

HHS/OFMP and OPDIV/ STAFFDIV personnel:

- Perform staff assistance visits

- Support HHS activities by interpreting relevant Federal, state, and local regulatory requirements and by uniformly applying HHS policy.

- Conduct special studies with regard to inspection and certification programs to assist in establishing policy or initiating important actions.

All HHS personnel whose duties involve aspects of system inspections and certifications shall carry out the following responsibilities to the extent of their respective span of control and level of organizational authority:

- Establish and maintain policies, programs, and procedures that conform to the requirements specified in this section.

- Cooperate and comply with Federal, state, and local government agencies.

- Achieve, maintain, and monitor compliance with applicable Federal, state, and local statutory and regulatory requirements.

- Coordinate the implementation of programs to achieve, maintain, and monitor compliance with applicable Federal, state, and local statutory and regulatory requirements.

- Exercise oversight and review of applicable programs within assigned area of responsibility.

- Ensure that all system inspections and certifications performed at the facility are properly recorded, and that all records are properly maintained.

4-10-20	Guidance and Information

In addition to original Specification Data Sheets, original equipment manufacturers (OEMs) often issue information (e.g., "service bulletins") more current and supplemental to that in the maintenance manual furnished with a particular piece of equipment.  Activities shall contact the OEM or authorized distributor for supplemental service information applicable to their equipment, and, if practical, be added to the OEM’s distribution list for such information.

4-10-30	REPORTING REQUIREMENTS

Every HHS organization responsible for operations and maintenance of critical systems and equipment installed in HHS owned or leased facilities is responsible for determining and complying with applicable regulatory requirements, including reporting, as it pertains to a particular system or class of equipment.  Good records are invaluable in efforts to protect the safety and health of personnel, to avoid unnecessary/duplicated expenses associated with poor documentation, and to ensure compliance with relevant laws and regulations.

There are no mandatory department level reporting requirements associated with the information discussed in this section.  However, there are extensive requirements that must be complied with for documentation, records, and submissions within the regulatory framework.

SAMPLE:  CROSS-CONNECTION CONTROL AND

BACKFLOW PREVENTION PROGRAM TEMPLATE

Table of Contents

1.	Policy

2.	Applicable Regulations

3.	Administration

3.1 Program Director

3.2 Program Coordinator

3.3 Program Manager

3.4 Other Responsible Personnel

4.	Procedures

4.1 New Facilities

4.2 Existing Facilities

5.	Records

5.1 Locations of Devices and Types

5.2 Testing and Maintenance

6.	Notification

6.1 Testing Due

6.2 Test Results

6.3 Violations

6.4 Termination or Denial of Service

7.	Reporting

8.	Backflow Prevention Device Tester List

9.	Approved Devices List

10.	Consumer Education Literature

# 1.	Policy

The purpose of this instruction is to establish and enforce (ACTIVITY/FACILITY NAME) procedures and responsibilities for a cross-connection control and backflow prevention program for the potable water systems at (ACTIVITY/FACILITY NAME).  The cross-connection control and backflow prevention program is established for the purpose of detecting and preventing cross-connections that create or have the potential to create an imminent and substantial danger to public health by and from contamination due to cross-connection.  The goal of the cross-connection and backflow prevention program is to ensure safe drinking water under all foreseeable circumstances.

# 2.	Applicable Regulations

The following Federal, state, and local regulations apply to (ACTIVITY/FACILITY NAME):

- Safe Drinking Water Act (SDWA), Public Law 93-523.

- Cite Applicable State Drinking Water Regulations.

- Cite Applicable Local Cross-Connection Control And Backflow Prevention Ordinances.

3.	Administration

This program has on-site personnel with designated areas of responsibility.

## 3.1	Program Director

The Program Director is responsible for the overall environmental program and will ensure its implementation.

Name:	Signature:

Title:	Location:

Code:	Phone:

## 3.2	Program Coordinator

The Program Coordinator is responsible for cross-connection control and backflow prevention policy matters and serves as the point of contact for site visits and inspections.

Name	Signature:

Title:	Location:

Code:	Phone:

## 3.3	Program Manager

The Program Manager is responsible for the day-to-day implementation of the cross-connection control and backflow prevention program.

Name:	Signature:

Title:	Location:

Code:	Phone:

## 3.4	Other Responsible Personnel (e.g., Medical Officer, Staff Civil, etc.)

The Activity/Facility will provide the number of signature blocks as necessary.

Name:	Signature:

Title:	Location:

Code:	Phone:

# 4.	Procedures

## 4.1	New Facilities

New facilities are to be designed without cross-connections.  The design must provide adequate backflow protection through the use of approved backflow preventers (BFPs).  BFP selection should be based on the Degree of Hazard associated with the cross-connection.  Plans and specifications for new facilities must be provided to (PROVIDE CODE AND/OR NAME) for technical review prior to construction.

Design changes to the potable water system (or any system making a direct or indirect connection to the potable water system) must be reviewed by (PROVIDE CODE AND/OR NAME) before being finalized.

All newly installed BFPs will be tested and certified before being placed into service.

## 4.2	Existing Facilities

A qualified inspector (certified tester) will perform a cross-connection control and backflow prevention survey of the facility.  The survey will be performed annually and will include a review of the facility’s entire internal water plumbing system, including the various outlets, water-using equipment, etc.  From the data collected in the survey, the inspector shall identify:

- location of possible or actual cross-connections

- degree of hazard

- location and adequacy of existing BFPs

- need for installation of additional BFPs.

All existing BFPs will be identified, certified for proper installation and operation, and placed into an inventory database during the initial survey of the facility.  A history file for each building will be established during the initial survey.  This file will contain results of the building survey, a description and location of each potential cross-connection site, and a list of each nonpotable liquid system and potable water system connections.  This file will be updated annually or when changes are made to the system.

BFPs will be certified using test equipment and test procedures conforming to those outlined in the latest edition of the “Cross-Connection Control Manual” published by the Foundation for Cross-Connection Control and Hydraulic Research (FCCCHR) or Manual M14 published by American Water Works Association (AWWA).  Only tests performed by certified testers will be considered official tests.  BFPs will be tested and certified on an annual basis for BFPs with a low hazard classification and every 6 months for BFPs with a high hazard certification.

When cross-connections are identified, the problem will be eliminated or isolated by installing an approved BFP.  Installation of the BFP will comply with the criteria set forth by applicable Federal, state, and local laws codes/regulations and the manufacturer’s recommendations.  Termination of water service is required in situations where illness or death is attributable to the lack of, or inadequate maintenance of, a BFP.

Recommendations of the inspector will be forwarded to the Program Manager or his/her designee for implementation.  When feasible, all newly installed BFPs will be tested and certified prior to being placed into service.  If the device to be installed will cause a reduction in water pressure, building occupants will be notified.  Any backflow device to be installed will be selected from the most current list of approved cross-connection control devices.  A licensed backflow tester will complete testing and certification, as necessary, prior to placing the system back in service.  All certificates will be forwarded to the Program Manager.  Copies of certificates will be maintained in the history file.

# 5.	Records

## 5.1	Locations of Devices and Types

Historical files will be maintained for each facility.  This file will contain results of the building survey, a description and location of each potential cross-connection site, and a list of each non-potable liquid system and potable water system connections.  This file will also include a list of BFP device locations and types.  This file will be updated annually or when changes are made to the system.

## 5.2	Testing and Maintenance

Records of BFP device inspections, tests, repairs, overhauls, or replacements will be maintained by (ACTIVITY/FACILITY NAME) for a period of not less than 10 years.  These records will include documentation to verify that BFPs were properly installed, certified, and maintained.

# 6.	Notification

## 6.1	Testing Due

The certification interval for the BFPs will depend on the degree of hazard.  For high hazard BFPs, testing and certification will be performed every 6 months, at a minimum.  Low hazard BFPs will be tested and certified every 12 months, at a minimum.  The certification schedule will be maintained with the building records.  The Building Manager will be informed when testing is to take place.

## 6.2	Test Results

Test results will be forwarded to the Program Manager, the Building Manager, and (ENTER OTHERS, AS REQUIRED).

## 6.3	Violations

When violations of codes, regulations, or water standards are detected, the Program Manager and the Building Manager will be notified.  If necessary, the water purveyor will be notified of the violation.

## 6.4	Termination or Denial of Service

If termination of water service is required, a letter will be issued to the building manager of the facility stating the nature of the hazardous condition that threatens the safety of the water system.  The building manager will be advised that it is necessary to take steps, including termination of water service, to minimize the danger of contamination and failure to take action could result in illness or death.  Water service will not be restored until the deficiency has been corrected or eliminated.  Service will be terminated immediately if illness or death can be attributed to a lack of BFPs or a lack of BFP maintenance.

# 7.	Reporting

Following testing and certification all records will be updated and a report will be filed with (PROVIDE CODES AND/OR NAMES).  If required, a report will also be filed with the water purveyor.

# 8.	Backflow Prevention Device Tester List

BFPs will be certified using test equipment and test procedures conforming to those outlined in the latest edition of the “Cross-Connection Control Manual” published by the FCCCHR or Manual M14 published by the AWWA.

# 9.	Approved Devices List

All BFPs to be installed will be approved by the state or local agencies.

# 10.	Consumer Education Literature

General consumer education literature can include posters, informational flyers, and articles to be printed in the base newsletter and/or newspaper on a periodic basis.

Annual training in cross-connection control and backflow prevention will be provided to facility occupants at a level commensurate with their assigned duties.  Training can be incorporated into general standup training.

### SAMPLE:  CROSS-CONNECTION CONTROL AND

### BACKFLOW PREVENTION AWARENESS TRAINING

All personnel employed by the facility should receive minimal awareness training to inform them of the importance of cross-connection control and backflow prevention, their role, and health hazards associated with cross-connections.  General awareness training should be modified to reflect circumstances specific to the Activity and personnel involved.  At a minimum, the following should be covered:

- What is a cross-connection?

A cross-connection is any direct (such as with plumbing) or indirect (such as with hydrant hose) connection between a potable (drinking) water source and a nonpotable source of water or wastewater.  Drinking water is any part of the Activity potable water system, whether it comes from a water fountain or a fire hydrant.

- What is a cross-connection control?

Cross-connection control is a system by which the above connections are eliminated or prevented from ever happening.

- What is backflow?

Backflow is the flow of nonpotable water (contaminated or potentially contaminated water) into the potable water system.  It can happen in either of two ways: backpressure or backsiphonage.  Backflow from backpressure occurs when the pressure from a system is greater than the potable water system pressure and is forced into the drinking water supply.  Backsiphonage occurs when the potable water supply system experiences negative pressure and nonpotable water is drawn or sucked into the potable water system.  For either type of backflow to occur there must be either a direct or indirect connection to the potable water system.

- What is backflow prevention?

Sometimes, a cross-connection must be made/is unavoidable.  When this is the case, a mechanical device called a backflow preventer must be used.  These devices are used to prevent the flow of nonpotable (contaminated or potentially contaminated) water/wastewater into the potable water system.  There are many types of backflow preventers, and the type that is installed in a particular setting is based on the degree of hazard.

- What is the best way to prevent backflow?

The best way to prevent backflow is to eliminate any connection, direct or indirect, between the potable water system and the nonpotable water system.  This means rolling hoses when not in use, not submerging hoses when filling tanks, trailers, and waste boxes, and not connecting any machinery or equipment, including portable (field use) equipment to fire hydrants without installing a temporary backflow prevention device.  When this is not possible, the Activity’s Cross-Connection Program Coordinator (PROVIDE CODE AND/OR NAME) at (PROVIDE PHONE NUMBER) must be contacted to review the situation.  Remember DO NOT connect anything to the potable water system that you would not want to drink.

- What is an example of a cross-connection?

An exterminating contractor created a cross-connection when diluting highly toxic insecticide, chlordane, by submerging a garden hose into this material.  A break in the water pressure resulted in a backsiphonage of the poisonous contents of the drum through the hose service connection and into the water supply.  This incident illustrates the danger of cross-connection and indicates the need for the provision of backflow preventers.  If you see similar cases, the Activity’s Cross-Connection Program Coordinator (PROVIDE CODE AND/OR NAME) at (PROVIDE PHONE NUMBER) must be contacted to review the situation.

# Footnotes

From POLICY: Office and Related Space Utilization Rate issued by Ed Sontag, Assistant Secretary for Administration and Management, OASAM, OS effective July 14, 2003.

# Text boxes

11. General Conditions