FTS-CDC-PHPPO

January 25, 2005

11:30 a.m. CST

Coordinator	Good morning, and welcome to today’s conference call.  All lines are going to be in a listen-only mode during today’s presentation.  Today’s conference call is being recorded.  If you have any objections, you may disconnect at this time.  Now I’d like to turn the conference over to your host for today, Ms. Denise Korzeniowski.  Ma’am, you may begin.

D. Korzeniowski	Thank you.  Good afternoon.  This is Denise Korzeniowski, training associate for the National Laboratory Training Network, speaking to you from the State Lab Institute in Boston, Massachusetts.  Welcome to our teleconference, “What’s New in the 2005 Standards for Anti-Microbial Susceptibility Testing?  New Recommendations from the Clinical and Laboratory Standards Institute, formerly known as NCCLS.”  This program has been made possible by an unrestricted educational grant from Ortho-McNeil Pharmaceutical.

After the program, each participants needs to register and complete an evaluation form documenting your participation that helps us to continue to bring high-quality training programs in a variety of formats.  To do this, go to http://www.phppo.cdc.gov//phtnonline/.  The password is 2005.  When you have completed the registration and evaluation form, you will be able to print your CEU certificate.  California and Florida CEUs are also available.  You have until February 26th to complete this progress.  These instructions are on your original confirmation letter and the general handout.  They will also be e-mailed to each site representative, again, no later than tomorrow.  If time permits, the end of the program will be opened up for questions.  You are on a listen-only line.  We cannot hear you; you can only hear us.  If you experience any problems with the line during the teleconference, please press *0.  This will signal the attendant that you are having a problem.  If there are technical difficulties, please stay on the line.

Again, welcome and thank you for joining us.  We have over 1,000 sites across the United States and Canada.  Today’s speaker is Janet Fick Hindler, who speaks to us from the UCLA Medical Center in Los Angeles, California.  Janet Hindler is a Senior Specialist in Clinical Microbiology for the Division of Laboratory Medicine at UCLA Medical Center in Los Angeles, California.  She is working as a consultant with the Association for Public Health Laboratories to develop and conduct training on antimicrobial susceptibility testing.  It is my pleasure to introduce to you and to welcome our speaker, Janet Hindler.

J. Hindler	Thank you very much, Denise, and thank you, participants, for tuning in to hear our program today, “What’s New in the 2005 Standards for Antimicrobial Susceptibility Testing?”  I know some of you are listening from locations recently plagued by nasty weather, including the Boston office that’s coordinating this program.  I certainly appreciate all the effort you put out to attend this program today.  Now hopefully those of you that are listening have had the opportunity to print copies of the handout, so you’re looking at the handout or viewing the PowerPoint presentation that we sent to you or that you downloaded from the Web site.  If you do not have that information, we will tell you at the end where you can find that.  But nevertheless, all of the material that we are covering today is included in your handout or can be downloaded from the Web.  There’s some supplemental information that you may have noticed that you received on the disc or that’s posted on our Web site, and I’ll refer to that later on today to help you see whether or not some of this information may be useful to you in your particular setting.

So if you’ll turn to slide two, you will see the objectives for today’s presentation and hopefully, by the end of this hour and 15 minutes or so, you’ll be able to outline the major changes found in the current NCCLS tables, the M100-S15.  You’ll be able to discuss the current recommendations for ESBL testing of Proteus mirabilis.  You’ll be able to list specific drugs suggested for testing and reporting with Acinetobacter, Stenotrophomonas maltophilia and Burkholderia cepacia.  You’ll be able to describe our current recommendations for testing polymyxin B or colistin by MIC methods; to discuss the new standard reference method for MIC testing of Neisseria meningitidis.

If you go to the next slide, you’ll see a continuation of the objectives.  These are to state the latest recommendations for detecting oxacillin resistance and/or vancomycin resistance in the staphylococci side; to explain the performance of the D zone test now for inducible clindamycin resistance in Group B and other beta hemolytic streptococci.  Finally, to identify the use of ATCC reference strains for routine quality control versus quality assessment purposes.  We’re going to cover all of these topics in the next hour or so.

Now if you’ll move on to the next slide, I just want to reiterate to all of you the current documents that we should be using in our laboratories for routine susceptibility testing.  As you heard Denise mention and I’ll mention to you again, the NCCLS name is becoming obsolete and being replaced by the Clinical and Laboratory Standards Institute or CLSI.  The reason for this is as follows:  when the NCCLS was established back in the 1970s, it was primarily a national organization.  But during the past decade, the NCCLS has reached out globally and it was felt that it was essential to change the name to better reflect the global scope of this organization, so we’re now all known as the Clinical and Laboratory Standards Institute.  This organization will continue to use letters NCCLS for some time, but they will ultimately be phased out and replaced by CLSI.  Nevertheless, the tables for susceptibility testing that we should now be using were those just released in January, 2005, the M100-S15 version.  These contain the quality control ranges, the breakpoints for various drugs, the suggestions for drugs to test and report.  These are to be used with the companion documents that tell us how to do the reference disk diffusion and MIC methods.  You can see the current documents that were published in 2003 for this regard are the M2-A8 for disk diffusion testing and the M7-A6.  We will see a new version of these documents in 2006, as the documents that tell us how to do testing are updated every three years in contrast to the tables that are updated annually.

Now if you’ll move on to the next slide, I just want to remind you about some of the reference terms I’ll be using throughout this presentation.  When I mention M100, I’m talking about these new tables, the M100-S15 version.  The M2 relates to the disk diffusion standard for performing the disk diffusion test.  M7 relates to the MIC method.  CLSI is synonymous with the NCCLS.  Now I’m trying to become more and more accustom to using the letters CLSI as opposed to NCCLS; but after 33 years, it’s a little bit difficult.  So undoubtedly, you’re going to hear me slip on more than one occasion and revert back to using the terminology NCCLS.  You’ll also see that NCCLS remains on some of the slides; but hopefully, by next year at this time, we will all be referring to these documents by the CLSI designation.

Let’s move on to the next slide and start looking at some of the changes in this current document.  If you’ll go so slide seven, I’ve included a photograph of an actual page out of the M100-S15 standard.  This is in the beginning part of the document that lists the updated information that has been included in the new tables.  This is something that all of you should review to see which of those topics are pertinent to practices in your laboratory, so you can introduce those into your protocols accordingly.  I might mention, in the materials that we sent you or for those of you that are downloading material from the Web, there is a checklist.  Basically this checklist suggests actions you may want to take related to the current recommendations.  You can go down this list and use it when you’re modifying your procedures in your laboratory, so hopefully this will be useful for you.  You don’t need that checklist to listen to the presentation today, but this is something that you might want to look at after the presentation and incorporate it into your protocol for deciding how you’re going to go about making these changes, again, those that are appropriate to your particular setting.

Now let’s move on to the next slide and talk about some of the general changes that have occurred this year.  You can see some of the additions include a clarification of the incubation temperature range for the reference methods described in the CLSI documents.  We have more information on testing and reporting daptomycin and telithromycin, some newer agents that are now being tested in some laboratories around the country.  I’ll talk a little bit more about this later.  Finally, testing the ATCC strains for quality assessment versus quality control purposes.

Now if you’ll go to the next slide, let’s look a little bit about this issue of incubation temperature range.  Previously a lot of you can probably remember that we specified 35 degrees Centigrade as the temperature for the various tests that we describe in our CLSI documents.  Now we’ve clarified this.  As you can see on this slide, for staphylococci, the specific range that we document here is 33 to 35 degrees Centigrade with a caveat saying that we should not exceed 35 degrees Centigrade.  Now why is it different for staphylococcus than other organisms?  The reason for this is because, if we were to incubate at temperatures higher than 35 degrees Centigrade, we may compromise our abilities in being able to detect oxacillin or methicillan resistance staph aureus and coagulase-negative staphylococci.  So that’s the reason that we recommend not to exceed 35 degrees Centigrade when incubating a reference test for staphylococci in our routine protocol.  For all other organism antimicrobial combinations, the incubation range is 35, plus or minus 2 degrees, Centigrade.  There are some rare exceptions when you talk about some of the unusual organisms, such as the Campylobacter and so forth, but I’m not going to talk about those today.

Now let’s move on to the next slide and talk a little bit about daptomycin followed by a little bit about telithromycin, because it’s important for us to know about these new drugs that have just been added for the first time to our listing of drugs suggested for testing/reporting in clinical laboratories.  Now many of you know that daptomycin is a lipopeptide agent.  It can only be administered by the IV route.  It does have FDA approval for treating patients with complicated skin and skin structure infections due to staph aureus, the beta streptococci Group A, B, C and G, and vancomycin-susceptible Enterococcus faecalis.  If you were to look at the FDA package insert for how this drug may be used, you would see these recommendations right here in the package as listed on this slide.

Now let’s go to slide 11.  In terms of daptomycin testing, there are some special testing considerations.  This basically relates to the amount of calcium in the medium necessary for this drug to perform optimally.  You can see, when we’re talking about broth-dilution testing of daptomycin, we have to make sure the medium contains 50 micrograms of calcium.  Otherwise, you may get erroneous results.  Now currently disks for testing are not yet commercially available, although it is my understanding the Oxoid disk will become available next month.  However, you can procure these disks from the pharmaceutical manufacturer Cubist, and I have included their telephone number on this slide 11.

In terms of MIC testing, MIC tests are not available on Trek panels, PASCO panels and, also, with the Etest.  The Etest recently has been FDA cleared for testing daptomycin.  Alternatively, if you had to have an organism tested by MIC, you can submit it to Laboratory Specialist Reference Lab, and they will do the testing for you.  They will provide you with the shipping materials and so forth.  So if you’re in a position where that would be the best option for you, you can contact Laboratory Specialist.  Their phone number is listed right here.

Now let’s look at the next slide where we’ve shown a little bit more about the daptomycin testing issues.  Here is listed the breakpoints for disk diffusion and MIC testing for staphylococcus and enterococci.  What’s striking here is that we only have susceptible breakpoints.  The reason for this is because, at the time these breakpoints were established and today also, there are very few isolates of staphylococci or enterococci that are other than susceptible to daptomycin.  Daptomycin is a very broad spectrum gram-positive agent and there are very few organisms that are resistant to this particular agent.

Now you’ll see in the little comment I have on this slide right here that recently there has been some concern about the disk diffusion method failing to identify isolates that have elevated MICs to daptomycin.  There have been rare occasions where there have been staphylococci or enterococci that have MICs above the susceptible breakpoint.  Some of these have tested susceptible by the disk diffusion methodology.  This is something that is being investigated by CDC and other researchers.  At this point in time, we’re not sure if there has to be a disk change or if this is due to some components, actually the content of calcium in the medium.  But nevertheless, it’s important for everybody to be aware that we may see false susceptible results if we’re using the disk diffusion test in light of the fact that the disk diffusion method may not be able to identify those isolates that have decreased susceptibility to daptomycin.  Probably we will be hearing more about that in the near future.  Optimally, the ideal method for testing daptomycin would be by an MIC methodology at this time until this problem is resolved.

Now let’s move on to the next slide.  This is an excerpt from our table in our M100 standards.  I think a lot of you are familiar with this table, because it’s existing in the M100 tables for the past couple years.  Basically this suggests those drug-bug combinations that we should verify or those results that we should verify prior to reporting out patient results.  We’ve added daptomycin to this list and basically we’re stating that, for the enterococci, for staphylococci and for streptococci, if we were to encounter any isolate that was other than susceptible to daptomycin, we should pursue it.  As I mentioned, it’d be very, very rare to identify a strain of these organisms that was other than susceptible to daptomycin.  So here what you would do is confirm the identification, repeat the susceptibility test to indeed make sure that you are dealing with an isolate that is not susceptible to daptomycin.

Now if you’ll go on to the next slide, I’ve just highlighted here what are we going to be about testing and reporting daptomycin.  It’s my understanding, at this point, because this is a very broad-spectrum drug that’s reserved for treating very serious infections where narrow-spectrum agents would not be appropriate, it is not being tested routinely in most laboratories; but, of course, this may change as more and more become familiar with this agent and the need arises.  Nevertheless, each laboratory has to obtain input from the medical staff when determining if and when you may want to test daptomycin in your setting.  This is not a decision that can be made in a laboratory alone, because we have to make certain that we’re providing information that the staff will welcome.

Now in our CLSI M100 tables, in Table 1, it lists those organisms for which it might be appropriate to test daptomycin, including staphylococcus, Enterococcus; and there is a caveat for enterococcus stating, for vancomycin-susceptible Enterococcus faecalis only.  Then for the streptococci, we also have a qualifier saying, “For beta hemolytic streptococcus only.”  Now I know some of you may be asked to test daptomycin on organisms other than those addressed in our NCCLS or CLSI tables.  Providing you get in writing from your medical staff that this is something that they want you to do, I feel it would be appropriate for you to test organisms other than those listed in our NCCLS standards.  But again, I personally feel that, if you’re going to deviate from the recommendations in our CLSI or NCCLS standard, it would behoove you to get this in writing from your medical staff, so at least you have documentation that this is something you’ve been asked to do above and beyond what we’re recommending in our current CLSI standards.

Now let’s move on to telithromycin and talk a little bit about this new agent that appears for the first time in our tables of suggested drugs for testing and reporting against various organism groups.  Telithromycin is a ketolide agent.  It’s only administered by the oral route.  It has FDA approval for treating infections, bronchitis, sinusitis, community-acquired pneumonia due to the pneumococcus, Haemophilus influenzae, Moraxella cataralis, also for treating sinusitis due to staph aureus, the pneumonias cased by the atypical pathogens, mycoplasma and chlamydia and, also, multi-drug resistant streptococcus pneumonia.  Here, too, you can see that this agent is primarily used for treating respiratory types of infections.

Now let’s move on to the next slide.  Again, we have to decide whether or not we’re going to be testing this agent in our laboratory routinely and we have to get help from our medical staff to make this decision.  Quite often, this agent is prescribed empirically where it’s really not essential for laboratories to do routine testing.  In the CLSI M100 tables, telithromycin is listed as drugs that might be considered for testing against staphylococcus, Haemophilus; but I might mention with Haemophilus, it has been included with that footnote where we state that telithromycin maybe used for empiric therapy, but the test results are often not useful for management of individual patients.  Again, too, this reflects the fact that telithromycin is often prescribed empirically for respiratory infection.  Also, telithromycin is listed under the streptococcus pneumonia category as an agent that might want to be tested and reported on this particular organism.  So again, too, with both of these newer drugs, each laboratory has to interact with the medical staff to find out when it might be appropriate to test and report these drugs on organisms isolated from patients in your institution.

Let’s move on to slide 17 and talk a little bit about this whole concept of quality assessment versus quality control.  I might mention that a lot of us are familiar with the term “QA,” which used to stand for “quality assurance,” but now CLIA has decided that QA actually stands for “quality assessment.”  Nevertheless, here we want to talk about those ATCC strains that we have now introduced into our M100 documents for quality assessment in contrast to quality control purposes.  So let’s talk a little bit about what this actually means.  We talk about using these ATCC strains for quality assessment.  Basically we’re talking about using these for training purposes to help demonstrate the techniques and learn how to do the test to ensure accurate results; for competency, to make sure that each operator, each technologist performing the test, does the testing correctly; and for test evaluation, if we’re bringing a new test on board, to determine the accuracy of results during the test implementation, if we were to make any modifications in our procedure and so forth.  So as you can see here, we’re using these strains that are labeled as quality assessment strains to make sure that the test that we’re introducing actually works correctly and is performed correctly.

Now as an example of this, and we’re going to talk a little bit more about this later on, we can look at the D zone test.  We have now included two strains for quality assessment purposes, a negative-control strain and a positive-control strain.  I’ve listed their ATCC numbers on the slide right here.  So what we’re saying is that you don’t need to test these weekly, like we do our standard quality control strains, but we would want to include these or similar strains to make sure that we know how to adequately perform testing.

Let’s move on to the next slide and talk a little bit about the contrast being quality control strains and using ATCC strains for quality control purposes.  I think we’re all familiar with the fact that we use these strains and test them either daily or weekly to ensure our test methodology is producing accurate results.  Acceptable results will imply that the following are satisfactory; that our equipment is working appropriate; that the reagents, the media and supplies are adequate, and the person performing the test is doing so correctly.  An example with the D zone test of our quality control strains, we quality control the erythro and clindamycin disks with our staph aureus ATCC 25923.  Again, I’m going to talk a little bit more about this in detail later.  So I hope you can understand this concept of these strains for quality assessment versus quality control purposes.

Now let’s move on to slide 19 and talk about the changes that have occurred among the gram-negative bacteria in our M100-S15 document.  We’ll start by looking at slide 20, where we talk about the changes for enterobacteriaceae.  Basically the primary changes that have occurred involve ESBL testing of Proteus mirabilis and clarification of ESBL testing quality control or quality assurance recommendations.

We go on to the next slide.  I’ve summarized some of the issues related to ESBL testing of Proteus mirabilis.  Now a lot of us know that ESBLs have been found in multiple species other than E. coli and Klebsiella.  Currently, at this time, the only additional organism that the CLSI is recognizing is Proteus mirabilis.  I might mention, however, that a lot more work is being done right now at this whole issue of ESBL testing and our ability to identify beta-lactam resistance among the enterobacteriaceae.  Nevertheless, for Proteus mirabilis, we’re not saying that you need to perform ESBL screening on this organism.  We are suggesting to consider the ESBL test when the organism is clinically relevant, for example, if you had an isolate causing bacteremia.  Now here, too, like with all the other decisions in our laboratory, it’s important to interact with our medical staff to determine when it would be appropriate for testing for ESBL and Proteus mirabilis in our institution.  One practical approach, at this time, would be to test sterile body site isolates or we might want to consider also testing those isolates that may look suspicious for producing an ESBL such that these isolates have decreases susceptibility to some of the extended-spectrum beta-lactam agents.  This would suggest it might be suspicious for an ESBL producer.

Now we use the standard ESBL screen test with a slight modification.  Those modifications are listed on slide 22.  So you can see the indicator drugs that we’ve used for years for the E. coli and the Klebsiella.  Now you can see which ones are applicable for screening Proteus mirabilis, those being cefpodoxime, ceftazidime and cefotaxime.  As far as the disk screen is concerned, there’s really no difference in the zone breakpoints that are used for screening for ESBL production in Proteus mirabilis as compared to the E. coli and the Klebsiella.  When we looked at the MIC screen, the only change that has occurred for Proteus mirabilis is the breakpoint for cefpodoxime.  Here for Proteus mirabilis, we’re going to use a breakpoint of greater or equal to two in contrast to using greater or equal to eight for E. coli and Klebsiella.  As you can see here, too, at this point in time, we’re not recommending the aztreonam or ceftriaxone be used for ESBL screening.

Now if we go to the next slide, what about confirmation testing or the phenotypic confirmatory test for ESBLs?  Basically we use the same disk diffusion or MIC ESBL phenotypic confirmatory test without any modification.  So we can perform the confirmatory test for Proteus mirabilis in identical fashion to the way we’re performing this phenotypic confirmatory test of E. coli and Klebsiella.

Now let’s move on to the next slide.  One of the reasons why we’re saying it’s not essential to screen all Proteus mirabilis is in light of the fact that this occurrence is very uncommon in the United States.  There are several papers that I have referenced in your handout and I’ve just cited one of them on the slide right here.  This is data that was generated from a group at CDC, Dr. Schwaber and colleagues.  Basically, in that study, they showed that looking at 171 Proteus mirabilis strains, only 1 of those was confirmed to be ESDL positive with a TEM type ESBL enzyme.  However, the incidence of ESBL producing Proteus mirabilis is substantially higher in some parts of the world.  There have been significant problems with ESBL-producing Proteus mirabilis in some European countries and South America and so forth.  At this point in time, it’s not a severe problem in the United States, but it’s really important for clinical laboratories to prepare to deal with this and identify ESBL-producing Proteus mirabilis, particularly in isolates causing serious infections, such as bacteremia.

Now let’s move on to the next slide.  The other issue that we’ve expanded upon in light of the enterobacteriaceae also deals with the ESBL test.  Now we’ve clarified when it’s essential to do quality control versus quality assessment for both the screen and the phenotypic confirmatory test.  For the screen test, we’ve now described that, for daily or weekly quality control, we can test the ESBL-producing Klebsiella, the ATCC 700603 or the E. coli ATCC 25922, which is our standard E. coli quality control strain.  So for the screen test, it’s only necessary to test one of these daily—most of us are doing weekly quality control, so this would really mean that most of us will be testing either of these strains weekly with the screen disks.

For quality assessment purposes, we can use the ESBL-producing strain.  A practical way would be to test your E. coli on a weekly basis.  However, make sure the screen works periodically and your staff is competent in doing the screen by testing the ESBL-producing Klebsiella 700603 strain.  In contrast, for the phenotypic confirmatory test, we’re suggesting that both the ESBL-producing Klebsiella and the E. coli be tested daily or weekly and included in part of your quality control protocol.

I might mention there’s a little footnote on this slide.  This relates to the instability of the plasmid on which the ESBL gene is located.  It’s been shown in several occasions that, if these strains were stored at temperatures above minus-60 degrees, the organisms can lose the plasmid and lose the gene and, therefore, your ESBL-producing Klebsiella would revert to a susceptible strain, and you might have problems with your quality control.  So you have to be careful about storage of this strain, if you’re indeed storing these strains in the freezer.

Now let’s move on to the next slide and talk a little bit about some of the changes with the non-enterobacteriaceae.  The primary addition here is we’ve clarified and separated out the drugs recommended to test and report for Acinetobacter, Burkholderia cepacia and Stenotrophomonas maltophilia.  We’ve also added some recommendations for MIC testing for polymyxin B and colistin.  We’ve actually added disk diffusion interpretive criteria for Trimeth Sulfa and Burkholderia cepacia.

Now if you go to the next slide, I’ve included a photograph of the tops of the table one from both the disk diffusion and the MIC documents.  The thing I’d like to highlight here is the second column, and you can see the arrow pointed to that second column.  For the disk diffusion test, we can see that the column header specifies Pseudomonas aeruginosa only.  In contrast, the column header for the MIC test specifies Pseudomonas aeruginosa and other non-enterobacteriaceae.  This reflects additional non-enterobacteriaceae can be reliably tested by the MIC method, but not the disk diffusion method.

If we go to the next slide, this is just a photograph of the expanded table for drugs recommended for testing and reporting on the Acinetobacter and Burkholderia and Stenotrophomonas.  This is actually out of the disk diffusion document.  There is a very similar table with a few additional drugs on the MIC document as well.  But nevertheless, the point here is to make sure that you’re aware that we now have clarified those drugs recommended to test and report against the Acinetobacter, Burkholderia and Stenotrophomonas maltophilia.

Now if you go to the next slide, I just want to clarify—and again, too, I’ve reposted the header for the column in the MIC, or M7 document, stating that here the header includes Pseudomonas aeruginosa and other non-enterobacteriaceae.  There’s a footnote stating that the other non-enterobacteriaceae include Pseudomonas species, such as …, and nonfastidious, glucose-nonfermenting gram-negative bacilli with the exception of the Acinetobacter, Burkholderia and Stenotrophomonas, because we now have separate lists for these three groups of organisms.  Here, too, it’s important to understand which particular organisms are included in that non-enterobacteriaceae category.

If you go to the next slide, there is another footnote that relates to drugs that may be appropriate in testing on other non-enterobacteriaceae other than Pseudomonas aeruginosa.  The actual footnotes reads that these drugs may be indicated for routine testing of some Pseudomonas species and other nonfastidious, glucose-nonfermenting gram-negatives with the exception of Pseudomonas aeruginosa.  Here we’ve listed Ticar/Clav, Trim Sulfa, cefotaxime or ceftriaxone, Chloro and then Ceftizoxime and Tetra when reporting on isolates from urine cultures.  Now the important point here to remember is that what we’re saying in Table 1 are suggestions for routine testing and reporting.  It doesn’t necessarily mean these drugs should never be tested on these other organisms, but basically we’re referring to which drugs you might consider for routine testing and reporting protocols in your laboratory.  So even though you may see, for example, interpretive criteria for Ticarcillin-clavulanic acid in Pseudomonas aeruginosa, what we’re specifying in Table 1 is that most laboratories would probably not consider this as a primary or a routine agent.  They’d want to report on Pseudomonas aeruginosa.  So it’s important to understand that distinction between how we list drugs in Table 1 and 1-A as compared to Table 2 that contains the breakpoints.

Okay, let’s move on to slide 31.  On this particular slide, I’ve indicated a susceptibility profile for Acinetobacter baumannii.  Probably some of you have seen this problematic organism in your laboratory that basically is resistant to all of the drugs on our panel.  This pretty much represents the drugs that are recommended for treated Acinetobacter infections.

So if you go to the next slide, what we need to think about when we see an organism that’s resistant to all of the drugs on our panel, first of all, we need to consult with the physician ordering the test to make sure he or she has consulted with an infectious disease specialist, of course, if it wasn’t an infectious disease specialist who actually ordered the test in the first place and is familiar with it.  Then the other questions we have to consider: is this isolate important to patient management?  In a laboratory, in most cases, we cannot determine this.  That’s why it’s so essential for the physician that’s treating the patient get some help in evaluating whether or not this is an organism that might be colonizing the patient and wouldn’t need therapy as compared to an isolate that’s probably infecting the patient where therapy would be necessary.  The other thing, too, is to remember that we’re not only concerned about possibly finding an agent that might be appropriate for treating this patient; but also, should this organism spread to other individuals in our healthcare facility, we’d want to have an idea of what drugs might be appropriate.

Now how are we going to test some of these supplemental agents, because not all of us keep every possible drug in our laboratory for testing?  This might represent an opportunity to interact with the reference lab that can test some of the supplemental agents that might be appropriate.  Also, more recently, we’ve added recommendations for testing the polymyxin or colistin.  Among these highly resistant Acinetobacters and also the highly resistant Pseudomonases, these are the only agents that are appearing active against these strains.

I’ve included on this slide right here a resource that might be helpful to those of you that are working on cultures from patients with cystic fibrosis.  This is the Cystic Fibrosis Referral Center for Susceptibility and Synergy Testing at Columbia in Manhattan.  This laboratory is directed by Dr. Lisa Saiman.  They do offer synergy testing and sophisticated testing of highly resistant isolates from patients with cystic fibrosis.  We’re not saying to send every isolate from a cystic fibrosis patient to this particular reference laboratory, but it’s important to know this resource exists, because there may be occasions when it may be helpful to have supplemental testing done.  Dr. Saiman’s lab is likely going to be able to help you.

Let’s move on to the next slide and talk a little bit about the addition of polymyxin B and colistin to our MIC testing document.  Now we have listed in M100-S15 both MIC and disk diffusion quality control ranges.  However, there are only MIC breakpoints for polymyxin B.  There is a comment stating that polymyxin B MIC results can predict colistin MIC.  Basically the breakpoints for polymyxin are two or less are susceptible; four or greater is resistant.   If you were to have an isolate susceptible to polymyxin, we could conclude that it would be susceptible to colistin.  If it were resistant to polymyxin, it could be considered resistant to colistin.  So here, too, we would test polymyxin and then include a comment about how this would relate to the activity of colistin, because colistin is more likely the drug that would be prescribed to the patient among this class of agents.

Now a lot of you out there are probably wondering how would you be able to do this testing, and we do not have disk diffusion breakpoints at this time.  There is a reevaluation of the disk diffusion test being investigated.  However, it’s unlikely that the disk diffusion test is going to be satisfactory to testing any of the organisms that we may wish to test.  But again, at this point in time, this hasn’t been completely ruled out.  There are problems with disk diffusion testing and the ability of the disk diffusion test to detect resistance.  So at this point in time, the best methodology for testing polymyxin would be to use a MIC method.  Unfortunately, at this point in time, to the best of my knowledge, there is not a commercial method for doing MIC testing of polymyxin, but we know commercial manufacturers are looking into this at this time.  So if you had to have an isolate tested for polymyxin, the ideal solution would be to submit it to a reference lab that can do a viable MIC method for you.

I might mention, too, in both Acinetobacter Pseudomonas, resistance is relatively uncommon at this time, but there is concern about increasing resistance.  So probably in the near future, many of us are going to be doing testing of polymyxin on these highly resistant organisms.  Interestingly, there were breakpoints for polymyxin and colistin back in the 1970s.  However, when less toxic broad-spectrum agents were introduced in the 1980s, it was felt that colistin and polymyxin were no longer needed.  But now that we’ve seen resistance to emerge to these broader-spectrum agents that were introduced in the 1980s, such as your third-generation …, the colistin polymyxin group remains an only alternative in treating infections caused by some of these highly resistant organisms.  So you’re probably going to see more and more about colistin and polymyxin in the near future.

Let’s move on to the next slide and look at another important addition to our M100 table and that is a standard reference MIC method for testing Neisseria meningitidis.  This is something that all of us had welcomed for a long time.  Thanks to our colleagues, Dr. Jim Jorgensen and his laboratory down at the University of San Antonio, they have developed a standard MIC reference method for testing Neisseria meningitidis.  On slide 34, I’ve just included a photograph of that table in our CLSI document.

If you go on to slide 35, I’ve just recapped what this methodology involves.  Basically, for inoculum preparation, we’re going to use the direct colony suspension method, the same method that we’d use for other fastidious organisms.  It’s recommended to select the growth from chocolate agar that has been incubated for 20 to 24 hours.  Incubation is at 35 degrees in an atmosphere of increased CO2 for 20 to 24 hours.  The broth medium actually used is the same broth medium we recommend for testing pneumococcus and the streptococcus species; that being the cation-adjusted Mueller-Hinton broth with 2% to 5% lysed horse blood.  For quality control, the recommendations are to use the standard pneumococcus, the 49619, and also the E. coli for select agents.

Now there is a little comment on this slide right here indicating that you need to take very serious safety precautions when testing this organism in your laboratory, ideally doing the testing in your biosafety cabinet, because, as you know, when you are making inoculus extension and so forth, you may create aerosols.  I think a lot of you out there are familiar with some of the problems that have been experienced with laboratory-acquired meningococcal infections.  We certainly want to avoid those in our particular laboratories, so be very careful if you’re working with this organism.

Now if you go on to the next slide, I’ve just listed those drugs that are included in the table as therapeutic agents that might be used for treating meningococcal disease, those being penicillin, ampicillin, cefotaxime, ceftriaxone, meropenem and chloramphenicol.

If you go to the next slide, in contrast, there are some drugs with interpretive criteria or breakpoints for agents that would be used in prophylaxing individuals that have come in contact with a patient with meningococcal disease.  These agents are not used in treating meningococcal infection; but again, used for prophylactic purposes; those being azithromycin, cipro, levo, minocycline, rifampin, sulfisoxazole and trimethoprim-sulfamethoxazole.

Now if you go to the next slide, just a very brief summary of some of the resistance concerns in Neisseria meningitidis.  Basically the resistance that has been reported to date includes rare beta lactamase-producing isolates.  Now the first of these were identified in the early 1980s and there was great concern about beta lactamase production being a common occurrence of meningococci, but fortunately that hasn’t been the case.  To date, there have been only six cases of beta lactamase-producing meningococci identified in literature.  The most recent was nearly a decade ago and that was in Spain.  So we’re not saying you need to do beta lactamase testing routinely on the meningococci, but it is important to be aware that these observations have existed in the past.

Now there are some strains that will be categorized as penicillin intermediate or resistance where the mechanism here is altered penicillin-binding proteins.  However, these isolates remain very susceptible to the extended-spectrum cephaolosporins that are often used in treating meningococcal disease.  Also, it seems, too, that if a patient were infected with one of these strains, by prescribing the standard high doses of penicillin recommended for treating meningococcal disease that these patients would respond.  This is something, again, to be concerned about for practical purposes.  It has not seemed to impact significantly on the recommended therapy for treating meningococcal disease.

In terms of resistance to the prophylactic agents, it’s very common to encounter resistance to the sulfonamides.  There have been rare resistance reported to cipro, and resistance to rifampin is very uncommon.  There may be occasions when you may be asked in the laboratory to test meningococci against the agents for prophylactic purposes as well.  Now in terms of the strategy for dealing with the testing, we’re not advocating that you test every meningococcus you encounter in the laboratory.  This is probably something that should just be tested upon physician request.

If you move on to the next slide, we’ll start talking a little bit about some of the changes related to testing the gram-positive bacteria.  On slide 40, we’ve just summarized what those are.  Basically we’ve expanded some recommendations for dealing with oxacillin testing reporting by either looking at the mecA or PBP2a testing, using the cefoxitin disk diffusion test, reporting beta lactam results of oxacillin-susceptible staphylococci and then testing Staphylococcus lugdunensis.  We’ve also included some expanded recommendations for identifying staph aureus with reduced vancomycin susceptibility by using the BHI vanco screen agar.

If you go to the next slide, a continuation; we’ve clarified the recommendations for quality assessment and quality control from the clindamycin induction or D zone test.  We’ve revised some disk diffusion and MIC breakpoints for the fluoroquinolones and staphylococci.  I’ve already talked about some of the additions that we’ve made reflecting daptomycin being added to our NCCLS tables or our CLSI tables.  Then we’ve also added telithromycin as a potential drug that might be tested in select circumstances against the staphylococci.

Now let’s move on to slide 42 and recap the oxacillin-resistant concerns among the staphylococci.  I think all of you are probably aware of the mecA gene being responsible for oxacillin resistance is what we perceive as the classic type of MRSA and methicillan or oxacillin resistance coagulase-negative staphylococci.  We know that the mecA gene code for penicillin-binding protein 2a, which confers the oxacillin resistance.  We know that there are tests out there for mecA or the PBP2a, and these will detect that classic type of oxacillin resistance.  The majority of oxacillin-resistance staphylococci that we encounter are resistant due to the presence of mecA and PBP2a.

Now in the past and even today, there are very rare reports of oxacillin-resistant staphylococci that are mecA or PBP2a negative.  This is primarily in staph aureus.  These have been referred to as borderline oxacillin-resistant strains and these occasionally have MICs or zones in the resistant range.  Now we don’t have time to go over this in great detail today.  I just included these on the slide, because I know some of you are encountering some of these strains in your laboratory and often there is a dilemma in terms of how to further test and report these agents.  Hopefully in the near future, we’ll be able to address that more completely.

Now let’s move on to the next slide and discuss a little bit the phenotypic tests for mecA-mediated resistance in staphylococci.  Here we’re talking about those tests that can detect the classic type of oxacillin or methicillan resistance.  In terms of disk diffusion testing, we’re now recommending using the cefoxitin disk as a surrogate for predicting oxacillin susceptibility or resistance.  Now as far as staph aureus is concerned, the results of the cefoxitin disk diffusion test are comparable to the oxacillin disk diffusion test.  For coagulase-negative staphylococci, the results of the cefoxitin disk are better than the oxacillin disk.

The other thing, when reading results for the cefoxitin disk, we recommend using reflective light.  This is contrast to what we previously recommended for reading the oxacillin disk test, where we suggested looking at that zone very closely using transmitted light.  It is much easier to identify oxacillin resistance by use of the cefoxitin disk than by use of the oxacillin disk.  It’s important to remember, however, we’re just using the cefoxitin disk as a surrogate for detecting oxacillin resistance.  So we do not report out cefoxitin; we report out oxacillin.  As far as MIC testing is concerned, at this time, it has not been demonstrated that using cefoxitin is superior to using oxacillin, so we still use oxacillin in our MIC test system.

Let’s move on to the next slide and talk about the interpretive criteria, or breakpoints, for the cefoxitin disk for mecA-mediated resistance in the staphylococci.  There has been a change here.  Previously staphylococcus lugdunensis was grouped with the coagulase-negative staphylococci, but now it has moved up to the category that includes the staph aureus.  So basically we’re using the same cefoxitin zone breakpoints for lugdunensis as we used for staph aureus.  There has not been a change for coagulase-negative staphylococci and the actual zone diameters that would identify cefoxitin resistance or susceptible is the same.  Here you can see, too, again, we’re reiterating that, if you saw cefoxitin resistance, you would report the organism as oxacillin resistant.  If you saw cefoxitin susceptibility, you would report the organism as oxacillin susceptible.

Now let’s move on to the next slide.  Some have asked “Why does the cefoxitin disk work better than the oxacillin disk in detecting isolates with mecA?”  It’s been shown by various high-level investigators that the mecA expressed a higher level in the presence of cefoxitin as compared to oxacillin.  So that’s why we have decided that this is a better mechanism for identifying oxacillin resistance than using the oxacillin disk itself.

Now let’s move on to the next slide and talk a little bit about the abilities of these various tests that we’ve described to be able to detect mecA-mediated resistance in the staphylococci.  On slide 46, we’re going to talk about these in terms of sensitivity and specificity.  On this slide, I just wanted to review with you what we mean by the sensitivity of a susceptibility test and its ability to detect susceptibility or resistance.  We’re going to talk about the use of these various tests.  We’re going to talk about sensitivity as the ability of these tests to detect resistance.  To calculate the sensitivity, we basically look at the number of resistant results divided by the number of mecA-positive strains times 100.  Here we’re using mecA as the gold standard for identifying oxacillin resistance.  For specificity, what we’re saying is that we’re looking at how well this test is not going to report false resistance.  To calculate this, we look at the number of susceptible results divided by the number of mecA-negative strains times 100.

Now let’s look at the next two slides.  I’m very appreciative of Jana Swenson, Fred Tenover and Jean Patel for providing these data to us.  If we look at the sensitivity of the various test methodologies for staph aureus, basically the oxacillin MIC and the oxacillin disk diffusion, the cefoxitin disk diffusion and the PBP2a all performed comparably to our gold standard, which is mecA.  The sensitivity is very high, so all of these methods do very well in detecting oxacillin resistance.  Similarly, in terms of specificity and the ability of these methods not to call an organism falsely resistant is very, very good.  The oxacillin MIC, oxacillin disk diffusion, cefoxitin disk diffusion and PBP2a all performed comparably to the mecA gene test.

However, if we go to the next slide, we’re looking at coagulase-negative staphylococci.  In terms of sensitivity, again, all of these tests do very well in detecting resistance, in upwards of 98%, the oxacillin MIC, the oxacillin disk, the cefoxitin disk and PBP2a, but let’s look at the specificity.  Here you can definitely see that the oxacillin MIC and the oxacillin disk are inferior to the cefoxitin disk or the PBP2a or mecA.  So what we’re saying here is that, by using the oxacillin MIC or the oxacillin disk for the coagulase-negative staph, we’re going to overcall resistance in a fair number of isolates.  Now here, in this particular slide, we’re seeing only 94% specificity for the PBP2a.  In the studies that were done, all of these errors were basically with one species; that being staphylococcus warneri.  But the point here is that the oxacillin MIC and the oxacillin disk diffusion test are going to overcall resistance.

Now in the next slide, just a little bit about the recap of what we’ve just gone over, because we know it’s a little bit difficult to comprehend all of these issues.  Here, for staph aureus, all of the tests work well in detecting oxacillin resistance, and the cefoxitin disk and oxacillin disk and oxacillin MIC results are comparable.  Again, for coagulase-negative staph, the test for mecA or PBP2a work very well; but here, too, the oxacillin MIC and also the oxacillin disk may overcall resistance in the non-epidermidis coagulase-negative staph.  The cefoxitin disk diffusion test is better than either the oxacillin MIC or the oxacillin disk diffusion test.  For those laboratories that are doing the oxacillin MIC test, by adding the cefoxitin disk for strains with oxacillin-resistant MICs, this could eliminate some of the false oxacillin resistance by increasing the specificity from 61% to 91%.  So by adding the cefoxitin disk, you can generate less false resistant results for the coagulase-negative staph.

Now some may ask “We’re not taking it up to 100% specificity and perhaps other tests may want to be explored.”  Obviously the other test that might want to be performed would be the mecA, doing the gold standard test.  We’re particularly talking here about doing these supplemental tests on isolates involved with serious infections, primarily with those where patients would be on long-term therapy, such as endocarditis or osteomyelitis, where it really would be important to know if that organism is indeed truly oxacillin susceptible or oxacillin resistant.  Physicians would much prefer treating with a beta-lactam agent such as oxacillin that the alternative, which would be vancomycin, since the beta lactams are often more effective in treating staphylococcal infections as compared to vancomycin.  So it’s important to understand the limitations of these tests and when you might want to do supplemental tests to better elucidate the true nature of resistance in these particular isolates.

Now let’s move on to slide 50.  There’s been a very brief clarification.  Here we’re talking about reporting results for other beta lactams on oxacillin-susceptible staphylococci.  We’ve clarified this and we’re now saying that, if other beta lactams are tested and if reporting is necessary, report results obtained.  So basically what we’re saying is that, when you encounter an oxacillin-susceptible staphylococcus and you’re asked to report other beta lactams, we do not edit the results.  We actually report the actual results obtained with the in vitro test method that we’re using.  This is in contrast to the rule that’s been around for years for the oxacillin-resistance staphylococci that, when we encounter one of these, we’re going to report all beta lactams as resistant despite any susceptible result in vitro.  So this is really nothing new.  We’re just clarifying a little bit further how to deal with other beta lactams when we’re talking about oxacillin-susceptible staphylococci.

Let’s go on to the next slide.  A question that comes up frequently is all this stuff about oxacillin resistance and MRSA.  It is necessary to use multiple tests to confirm MRSA.  There’s not one hard and fast rule that we could apply to all laboratories.  Every institution has to consider a number of factors, including technical issues.  Now how reliable is your routine test system?  How often have you gotten burned with erroneous results?  How competent is your staff in working with that particular system in your laboratory?  What has been the incidence of errors reported in the past?  We have to look at our patients, the source of the specimens.  Perhaps there may be an indication in some facilities to verify isolates from sterile body sites, but is it essential to verify results on all wound isolates of staph aureus or presumed MRSA or whatever?  The patient history; if the patient previously was identified as a MRSA patient, is it necessary to do supplemental testing?  The incidence of MRSA; I think a lot of us listening to this teleconference today have been in this business, like myself, a long time and we could recall, back in the ‘80s, when we saw our first MRSA.  At that point in time, we felt it was essential to confirm those results.  But now with many of our facilities seeing upwards of 50% MRSA, we have to question whether or not we need multiple methods to confirm that we’re truly dealing with MRSA or MSSA.

Then finally, the consequences of reporting or missing MRSA, reporting oxacillin-susceptible or oxacillin-resistant staph aureus is probably one of the most important susceptibility results that we do report from our laboratory.  Here, too, we know, if we report a patient as having MRSA, that patient is going to be put in isolation.  That patient is going to be subjected to broader-spectrum therapy, probably vancomycin.  That patient may be labeled as a MRSA patient and may preclude the ability of that patient to readily be transferred to another healthcare facility, so all of these things need to be taken into consideration when we’re deciding if we need to perform multiple tests to confirm MRSA.  I know a lot of labs out there are adding supplemental tests to their routine system, particularly if they’re using an automated system.  I personally think that this is a place that all of us need to periodically reevaluate to see if this is the best expenditure of our resources, because I’m personally not convinced that everyone needs to use multiple tests to confirm MRSA in their laboratories.

Let’s go on to the next slide, slide 52.  Here, too, I mentioned previously that we’ve grouped lugdunensis with staph aureus to the cefoxitin disk test.  We’ve also grouped lugdunensis with staph aureus for MIC testing and taken it out of the coagulase-negative staph group.  Here we’re seeing the same breakpoints for staph aureus and coagulase-negative that we’ve seen for the past few years and there has not been a change in the actual breakpoints listed.

Now a little bit more about lugdunensis; we don’t encounter this very often in our laboratories, but there are circumstances where it would be really important to identify this species.  I’m not an identification person, but I did pull out some data from the Clinical Micro Procedures Handbook and the Manual of Clinical Microbiology that has some very nice information on the optimal tests that can be performed to identify staphylococcus lugdunensis.  Now the peculiar thing about this species is that, as many of us know, it can be slide coagulase positive and can be confused with staphylococcus aureus.  However, in contrast to staph aureus, it is tube coagulase negative.  It is ornithine decarboxylase positive, PYR positive and it’s typically penicillin susceptible.  So, on occasion, this organism has been misidentified as staph aureus, because of the positive slide coagulase reaction.  There probably are certain circumstances where we want to make sure that we are dealing with lugdunensis and not a staph aureus.  This would particularly be in staphylococcal endocarditis, where it would be important for physicians to know if it was an aureus versus lugdunensis, because lugdunensis can be considerably more problematic that staph aureus when causing endocarditis.

On the next slide, I’ve just listed some of the changes that we may see in susceptibility results if we were to use the former interpretive criteria for lugdunensis where it was included with coagulase-negative staph in the M100-S14, the 2004 tables, in contrast to the recently published M100-S15 table.  As you can see, the MIC profile of lugdunensis is usually fairly susceptible to include being susceptible to penicillin.  But a typical oxacillin result you may have encountered with lugdunensis would have been a 0.5, which would have thrown it into the resistant category using the old coagulase-negative staphylococcal breakpoint.  Because it was oxacillin resistant, the rule would be to override any other beta lactam resistant, so we would have reported those isolates as resistant to penicillin and any other beta lactam we might have had on our panel.  In this case, I’ve included cefazolin.  In contrast now, using the staph aureus interpretive criteria, an oxacillin MIC at 0.5 would be reported as susceptible.  We do not modify the results for penicillin and cefazolin, so you are going to see different interpretations using the new M100 tables, where we’re now saying, “Use the staph aureus breakpoints for oxacillin and staphylococcus lugdunensis.”  We feel this better reflects for the physician those drugs that may be used in treating these infections and we feel this is definitely an improvement in our recommendations to you for doing susceptibility testing and interpreting results on the lugdunensis.

Let’s move on to the next slide.  We’ll talk a little bit about the NCCLS interpretive criteria for vancomycin.  Here I’ve extracted these right from the M100-S15 document.  There are really no changes in the breakpoints for S, I and R by the MIC method.  We still only have susceptible breakpoints for the disk diffusion test.  Now VISAs, or the vanco intermediate staph aureus, have MICs at 8 to 16.  The vanco-resistant staph aureus are defined as isolates that have vanco MICs of 32 or greater.

If you go to the next slide, I’ve just summarized what we know to date about the reliability of various methods in detecting VISA or VRSA.  We know that the VISAs are not detected with the disk diffusion method.  The three VRSAs that have been encountered to date have been detected by disk diffusion, but there may be a haze around the zone.  The appearance or the resistance may be very subtle.  Here, too, it’s important that, if you’re using disk diffusion testing for vancomycin in trying to identify VRSAs, you’d have to use transmitted light and look very closely at that zone.  The reference broth microdilution MIC and agar dilution MIC and the Etest, to this point, for those few isolates that we’ve encountered, all have reliably detected the VISAs and the VRSAs.  However, there have been some problems with the automated systems in being able to identify the VRSAs and probably the VISAs as well.

Now if you go to the next slide, this is just a recap of the three VRSAs that have been encountered to date and the work that has been done at the CDC.  Basically the first isolate that was encountered back in 2002 had a very high vancomycin MIC of 1,024.  In contrast, in the second and third isolates that have been identified, the vancomycin MICs were considerably lower.  Unfortunately, some of the automated methods were unable to detect these as resistant and this subsequently led to the CDC and FDA recommending that, if you’re going to be reporting vancomycin, you can’t be doing so off an automated method and that we should be using the supplemental vancomycin agar screen test to determine whether or not we have a VRSA strain.

In the next slide, I’ve included the algorithm on the CDC Web site.  We also have included the PDF version on your CD-Rom or on our Web site for this program today.  I would strongly suggest that you copy this and put it in your procedure manual, so you would know how to react if you were to encounter an isolate that was a potential VISA or a VRSA.  It’s really important for all of us as part of our public health responsibility to be able to identify these strains and then interact with the appropriate public health authorities to make sure this gets reported appropriately, because this is a very important public health issue.  Here, too, I’m not going to go over all the details of this algorithm for you.  If you’re looking at a handout, there’s no way you’re going to be able to read any of this, in any event, but please copy this, review it, put it in your procedure manuals, so you will be prepared to really help with identifying any of these isolates in your laboratory.

Now let’s move on to the next slide.  Here, again, I’m summarizing the recommendations for quality assessment and quality control for the clindamycin disk diffusion induction test, or the D zone test, and again reiterating that, for quality control, all we need to do is to quality control the disks either daily or weekly with our standard ATCC 25923 staph aureus.  Then for quality assessment, we have the inducible strain and the non-inducible strain that we’re suggesting you use for training your staff to assess their competency and to validate the test.  So hopefully you can appreciate the difference and, for practical purposes, the quality assessment strains you’re only going to use periodically and, for quality control, we’re going to be quality controlling the disks each week.

Now let’s move on to the next slide and this is just a chart reflecting the changes in fluoroquinolone breakpoints for the staphylococci.  On this particular slide, I’m just showing you the MIC breakpoint changes, but there are some corresponding disk diffusion breakpoint changes as well.  For cipro, there has not been any change.  We have added interpretive criteria or breakpoints for moxifloxacin for the first time, but you can see that we have reduced the breakpoints for gatifloxacin and levofloxacin.

Now if you go to the next slide, I’ve just listed here how are we going to deal with these changes in the laboratory?  First of all, it’s probably unlikely that all of us are going to need results from testing these drugs against staphylococci, since they are in our supplemental drug testing list in our NCCLS tables.  The problem here, too, is that currently our commercial systems do not have the modifications, and the lowest concentrations on the commercial panels generally only go down to two.  So we’re not going to be able to detect the resistance by using the new breakpoints.  What might be a practical strategy for dealing with this change?  Test these drugs only on physician requests and, in those cases, use a method that will reliably detect the lower-level resistance with the new breakpoints.  The disk diffusion method will work fine using an extended-dilution panel that goes down below the concentration of two that will capture those lower breakpoints or to use an Etest.  At this point in time, it’s been shown that it’s probable that the cipro can predict results for gati and levo, but currently we do not have this recommendation or this algorithm in our M100 tables.  If we were to encounter an isolate that had a MIC of four or eight, either levo or gati, we could report those as resistant.

Now let’s move on and look at some of the changes with the streptococci; only one change for pneumococci this year and that relates to the box containing the fluoroquinolone, as shown in slide 63.  Now in our former tables, we had gati, levo and moxi in the same box connected with that “or” connector.  When we see that “or” connector, that suggests that we can extrapolate from one drug to the other.  However, it’s now been shown now that we’ve seen a few more quinolone-resistant pneumococci that we cannot extrapolate from one to another.  So we’ve removed the “or” in the M100-S15 tables. Each of these drugs are listed individually in the box without the “or.”  If we were asked to test gatifloxacin, we could not extrapolate from levo.  We would have to test each of these individually.

Now let’s go on to the next slide and talk a little bit about the changes that have occurred with testing streptococcus species.  Basically we’ve added the D zone test for inducible clindamycin resistance in the beta-hemolytic streptococci.  We’ve also included some recommendations for when we might test the Group B strep isolated from anovaginal screens or urine cultures in pregnant women.

Now if you’ll go to the next slide, this is a little chart not unlike a chart we showed last year during this teleconference related to staphylococci.  Basically what we’re showing here is that you may encounter erythro-resistance strains of the beta-hemolytic streptococci that may appear susceptible or resistant to clindamycin.  Now you may have some strains that are susceptible to clindamycin due to the presence of the “mef” gene that codes for an Efflux mechanism.  These isolates remain truly susceptible to clindamycin.  In contrast, you may have some beta strep that are susceptible to clinda-resistant erythro due to the presence of the “erm” gene.  These strains would have inducible clindamycin resistance and it’s questionable whether or not clindamycin would be effective in these patients.  Therefore, we’d have to identify these strains to see if those strains that are erythro-resistant, clinda-susceptible indeed includes both clinda-resistance and true susceptibility to clindamycin.  As with the staphylococci, there are some beta strep that have the erm gene that will constitutively demonstrate resistance to clindamycin and these are not a problem for detection in R and D pro test systems.

Let’s go on to the next slide.  Although this inducible clindamycin is an issue for all beta streptococci, I’ve just included Group B streptococcus as an example.  So if we were to encounter a strain that was resistant to erythro, susceptible to clinda, the recommendation is to not report the clinda as susceptible without performance of the D zone test.  In the next slide, I’ve basically used a diagram to show that the D zone test for the beta streptococci is virtually identical to the D zone test that we’re performing for staphylococci.  In the first little photograph, you can see the recommendation for placement of the disks.  Here we’re going to be using the standard Mueller-Hinton sheep blood agar plate with your standard Kirby-Bauer, or disk diffusion test, for the beta streptococci and placing the disks optimally 12 to 15 millimeters apart from the edge of the erythro to the edge of the clinda disk.  In the second little diagram, you can see that flattening or truncated zone, indicating inducible clindamycin resistance.  Here, too, we would report these isolates comparable to the way we’ve been reporting the staphylococci.

If you look at the next slide, this is just an example of a way you might want to report this to call the clindamycin resistance once you’ve confirmed that it does have inducible clinda resistance.  But here, the comment in our NCCLS or CLSI document is that this streptococcus is presumed to be resistant based on detection of inducible clinda resistance.  Clinda may still be effective in some patients.  So this is still a controversial area.  Particularly when you’re talking about the Group B streptococcal in pregnant women that probably haven’t been exposed to a lot of other agents, there is not good documentation that clinda would or would not work in all of these patients.  Reporting as clinda resistant would be the conservative route, but it would be helpful to include this comment.

Now in the next slide is a photograph of the MMWR edition that came out in August of 2002 that deals with this whole issue of preventing perinatal Group B streptococcal disease in pregnant women.  We’ve included this in a PDF file on your disk or on our Web site for this presentation.  If you’ve not had a copy of this in your laboratory, I certainly encourage you to download it, print it off and review it.  There are some significant sections in there that deal with laboratory practices, specifically talking about how to do culturing of these specimens from the pregnant women and, also, a little bit about antimicrobial therapy.  The antimicrobial therapy recommendations actually support the recommendations we have for testing the Group B strep in the laboratory.

If you go to the next slide, we’ve included the photograph of the actual table that suggests what drugs are recommended for using prophylactic therapy in these moms that are colonized with the Group B strep.  Basically, just to recapture this, during the prenatal screening, the mom is cultured to see if she has Group B streptococci in the vagina.  If so, during a vaginal delivery, she would be a prophylaxed with an agent that would hopefully eradicate the Group B strep during delivery and prevent the baby from coming up with Group B strep disease.  As you can see on this table right here, the recommended agents would be penicillin or ampicillin.  If the mom is penicillin allergic, but not at high risk for anaphylaxis, cefazolin would be the alternative.  If the mom is at high risk for anaphylaxis due to a penicillin allergy, the alternatives are clindamycin and/or erythromycin.  Here, too, you can see at the bottom of this table, if the Group B strep is resistant to clinda or erythro or susceptibility is unknown, vancomycin would be the agent of choice in those circumstances.  Ideally vancomycin would be the last resort if an alternative agent on this list could not be prescribed.

To support the CDC recommendations for a perinatal screening of the Group B streptococci, we, in the M100-S15 tables, have added a supplemental comment as indicated on slide 71.  This rather extensive comment suggests that recommendations for intrapartum prophylaxis for Group B strep are pen or amp.  While cefazolin is recommended for pen-allergic women at low risk for anaphylaxis, those at high risk for anaphylaxis may receive clinda or erythro.  Group B strep are susceptible to amp, pen and cefazolin, but may be resistant to clinda and/or erythro.  When a Group B strep is isolated from a pregnant woman with severe penicillin allergy at high risk for anaphylaxis, clinda and erythro should be tested and reported.

In the next slide, I’ve just indicated a way you might want to deal with this in your laboratory.  We’re not suggesting you do susceptibility testing on every Group B streptococci from prenatal screens, because it’s only a small percentage of women that are actually highly penicillin allergic where penicillin or ampicillin cannot be used.  So you could include a comment that “Group B streptococci are susceptible to amp, pen and cefazolin, but maybe erythro and/or clinda resistant.  Contact lab if erythro and/or clinda testing necessary.”  Now this is one approach.  I know some laboratories have included on their request form under the Group B strep screen a little box to check to indicate whether or not the mom is penicillin allergic.  Then that would help the lab identify those isolates that would be worthy of susceptibility testing.

Now let’s look at the next slide.  I might mention, for some unheard of reason we can’t figure out, if you downloaded your handout from the PDF version off the Web site, you probably don’t have slide 73.  But nevertheless, what this just reiterates is the incidence of resistance to these agents we’ve just been talking about that might be used in treating the Group B streptococci; basically no resistance to amp, pen or vanco.  Among the Group A, there’s up to 10% erythro resistance, up to 7% clinda resistance; in the Group B, up to 25% resistance to erythro, up to 15% resistance to clinda.  These are commonly quoted rates.  Select studies have reported higher or lower rates.  Nevertheless, this is basically saying, “No resistance to amp, pen and vanco has been reported to date, but there is some resistance to erythro and clinda in both the Group A and Group B streptococci.”  I apologize for that slide not appearing on the PDF version.  I have no idea why that happened—technology.

Let’s look at slide 74, a little bit about quality assessment and quality control and the changes that have occurred in the CLSI 2005 document.  We have modified some quality control ranges.  I’m not listing those for you in this handout, but how you can identify these is that they appear in bold-faced type in the quality control tables.  We’ve clarified quality control testing frequency.  We’ve included a comment about making sure that you follow the manufacturer’s quality control ranges if you’re using a commercial system.  We’ve expanded a little bit in our table for which drug-bug combinations should be verified.

Now let’s go to the next slide.  This is just a photograph of our Reference Guide for Quality Control Testing Frequency that has previously appeared in the M100 tables.  If you go to slide 77, we have clarified a point that shed confusion on a lot of laboratories.  This relates to the number of days of consecutive quality control testing required.  We did say that, if the test modification was to use a new shipment or new lot number of panel or product, only one day of quality control testing is required.  Unfortunately, some interpreted this to mean that you no longer need to do weekly or daily quality control.  That wasn’t the intent; we just were not clear in providing instructions with this new table.  So we did clarify it now to say, “This does not eliminate the need for routine weekly or daily quality control.”

Now if you go to the next slide, we’ve added a footnote to this reference guide table.  That is note four where we now say, “Acceptable MIC QC limits for FDA-cleared susceptibility tests may differ slightly from the acceptable CLSI or NCCLS QC limits.”  If you use a commercial manufacturer’s procedure and the quality control limits, you must follow those quality control limits as indicated in the instructions for use.  Again, I can’t emphasize strongly enough how important it is that, if you’re using a commercial product, you have to follow what is in that product insert not only for quality control, but for every aspect of testing.

Now let’s go to the next slide.  This is just showing you the expansion to the drug-bug combinations we’re suggesting be verified before you report them on patient reports.  We’ve added Salmonella.  We’re saying that, if you were to encounter a third-generation cephalosporin or fluoroquinolone intermediate or resistant result or a nalidixic acid resistant result for Salmonella, you’d want to verify those results.  Also, we’ve added a supplemental comment.  I know a lot of laboratories aren’t testing Salmonella from fecal specimens routinely, but if you are doing susceptibility testing and you encounter a Salmonella that has those susceptibility characteristics, intermediate or resistant to a third-generation ceph or fluoroquinolone intermediate or resistant or nalidixic acid resistant, communicate this to your public health laboratory when you submit that to your laboratory.  The cephalosporin intermediate or resistant results are primarily in the Typhimurium and the Newport serotypes.

Now if you go to the next slide, I think, for some of you that may have downloaded from whatever version—we had multiple versions out there—you may not see the photograph of the table for the potential agents of bioterrorism.  The only point I want to make here is just that we have added some organisms to this table and all of this is segregated into that table specifically for those few laboratories that might be doing susceptible testing on the agents of bioterrorism.  Again, too, we are not suggesting any of you out there listening, with the exception of CDC and a few other sites, to do any testing of these agents.

In the next slide, I’ve just listed some of the new agents that have been introduced for the first time in our NCCLS or CLSI table in the glossary.  You can find this information in the glossary.  Dalbavancin, oritavancin, telavancin, these are newer glycopeptide drugs.  If you look at the next slide, it just says that the goal of developing these is to have agents with improved efficacy over vancomycin and less frequent dosing.  We’ve also added Doripenem, a new carbapenem; Tigecycline, a glycylcycline drug.  Here, too, none of these are yet FDA cleared, but some of them are getting close.  So it’s likely, in the near future, we’re going to see some of these agents in our standards and we probably will start testing some of them as well.  Next year, when we have this teleconference, some of these may be FDA cleared and we may be testing them.

In slide 82, I’ve just listed a little bit of the characteristics of these.  I’ve already mentioned the glycopeptides.  Doripenem is similar to meropenem.  Tigecycline is a very broad-spectrum agent with the exception of activity against pseudomonas, but it does have activity against some of the highly resistant organisms.

Now if we go to slide 83, I just want to bring to your attention a section of our M100 tables that might be particularly useful to you that some of us probably never look at.  This is the summary of comments and subcommittee responses.  Basically this relates to questions that some of you may have submitted to NCCLS, and all of these get answered.  Usually the answers aren’t back to you until we publish them in our NCCLS tables the following year, but this is one way of getting some questions answered.  I know a lot of you are familiar with some of our ASM features where you have the opportunity to ask questions as well.  The summary of those resources is listed in some of the handout information we provided for this program.

I just want to talk, finally, about some of the issues under discussion by the CLSI at this time.  We alluded to the fact that there is much work being done on the question of identifying ESBL producers.  Also, we’re looking at the abilities of our methodologies to accurately detect all types of beta-lactamase and other beta-lactam resistant mechanism among the enterobacteriaceae.

In slide 83, I’m just giving you a highlight of one of the issues that is being discussed and that is modifying the interpretive criteria or breakpoints for some of these agents to better detect all of these beta-lactam resistance mechanisms.  So here, for example, cefotaxime, the current susceptible breakpoint is less than or equal to eight.  The proposed or the breakpoint that’s being looked at is to drop it to less than or equal to one or less than or equal to two.  So this is undergoing a tremendous scrutiny right now and we may see some changes in the near future in our breakpoints for the enterobacteriaceae and possibly some other gram negatives as well, such as the pseudomonas.  At this point in time, we can’t predict accurately which way this is going to go.

Slide 85, Other Issues under Discussion by NCCLS, probably by the end of 2005 or early 2006, we’re going to see a new guideline for testing bacteria not currently addressed in the CLSI or NCCLS standards to include recommendations for susceptibility testing of Corynebacterium, HACEK, Pasteurella, Aeromonas and so forth.  There will be probably expanded recommendations for vancomycin testing of staphylococci.  We’re scrutinizing Table 1, the table that has suggestions of drugs for testing/reporting.  We’re probably going to see some substantial changes in 2006 for this; and, finally, disk diffusion testing for Neisseria meningitidis.  Again, Dr. Jorgensen’s group down in San Antonio is looking at the possibility of using a disk diffusion method for detecting resistance of susceptibility among the meningococci.

Now on slide 86, I just want to remind you of the material we provided with this program.  In addition to the PowerPoint presentation, there’s a list of a few references and the checklist that I alluded to.  I would suggest you please look at that checklist.  I think you may find it beneficial.  We’ve added a procedure for the BHI vanco screen for staph aureus.  We’ve added the MMWR Group B strep edition that I talked to you about, the CDC algorithm for VISA and VRSA and, finally, the CLSI/NCCLS catalog.  I just want to make sure all of you are familiar with not only the M100-S15 document we talked about today, but the large, vast number of documents that are available from CLSI that do make life easier for us in our laboratories.

Finally, on slide 87, I just want to acknowledge all of those individuals that helped make this presentation possible: the Boston NLTN office with Betsy and Shoolah and Denise; the staff at CLSI or NCCLS; and, also, Marty Boehme, Ron Jones, Jim Jorgensen, Susan Munro, Jean Patel, Jana Swenson, Fred Tenover, Barb Zimmer.  I’m the deliverer of this material, but an awful lot of people have played into being able to present this information to you today and, also, the generous educational grant from Ortho-McNeil.  I know there are a lot of Ortho-McNeil reps out there that have helped disseminate information about this program that hopefully you found advantageous.

Slide 88 just shows the URL for the Web site, our CDC Web site, that contains information on susceptibility testing; and, on slide 89, the URL for the National Laboratory Training Network, who helped sponsor this program.  Again, too, I just want to remind you that, in addition to information on susceptibility testing, the NLTN offers a variety of programs that I think many of you may find valuable in your laboratory, and they’re usually relatively low cost.

So with that, please turn to slide 90.  I know some of you might have slide 90 labeled as “slide 900.”  I want to assure you that we did not go through 900 slides today, although you may have thought that might have been the case.  I’d certainly like to thank you for your attention today.  If you have questions, please feel free to submit them.  You have my e-mail address.  Be persistent if I don’t answer them right away.  If I don’t know the answer, I’ll try to get them for you.  So thank you so very much again and for everybody who has helped make this program possible.

D. Korzeniowski	Thank you, Janet.  I think we have time now for a couple of questions.  Operator.

Coordinator	We have our first question coming from Chrissie DeSeco.  Ma’am, your line is open.

C. DeSeco	The lab wanted to know particularly about when you were talking about staphylococcus lugdunensis.

J. Hindler	As far as identifying it?

C. DeSeco	Hardly any of us have even heard of it.

J. Hindler	I’m not a good identification person.  Denise, are we going to post these questions and answers on the Web site?

D. Korzeniowski	We can.

J. Hindler	We will send you out some information.  I know some other questions are going to come in and we would like to post the answers for everybody to see, so I will try to get some information on that.  Probably the best thing for you to do right now—I’ve included in one of those slides; there’s a lot of information on that in the Clinical Microbiology Procedure Handbook and the Manual of Clinical Micro.  It’d be best for you to review that.  I’m not an expert at that and I don’t want to take the time to go over that right now.

C. DeSeco	Okay, thanks.

J. Hindler	We will add some information, I assure you.

Coordinator	We do have our next question coming from Barbara McKee.

B. McKee	We’ve been using VHI with vancomycin to screen our staph aureus for several months.  We’ve noticed there are certain strains that grow quite well on the vancomycin agar; but when we do an Etest for confirmation, it’s got a very low MIC.  Has anyone else experienced that problem?

J. Hindler	I’ve heard some intermittent problems about that.  Again, that work was done at CDC.  What I will do is ask them to comment on that and put that answer on the Web site as well.  I don’t have a lot of experience working with that and we’ve not seen significant problems here, because we’ve not tested it, because we’re using the reference broth microdilution system.  But I will try to see if there’s any additional information that CDC might be able to shed light on that.  Is someone from CDC still on the line that might want to comment?

D. Korzeniowski	Janet, I think that’s all the time we have for questions now.  I apologize for the beeping; we’re having a fire drill here.  If anybody’s question was not answered, please e-mail Janet Hindler at jhindler@ucla.edu.  Again, I’d like to remind all the participants listening into our program to register and complete an evaluation form by February 25th.  The directions for this are on your confirmation letter and the handouts and we will be e-mailing the information again to you.  Documenting your participation helps us to continue to bring high-quality, cost-effective training programs in a variety of formats.  When you’ve completed the registration and evaluation form, you will be able to print your continuing education certificate.  We are also offering Florida and California CEUs.  That concludes our program.  The National Laboratory Training Network would like to thank Janet Hindler and, also, Ortho-McNeil Pharmaceutical for providing an unrestricted educational grant.  I hope that all of you will consider joining us for future programs and that you will make the National Laboratory Training Network your choice for laboratory training.  From the State Laboratory Institute in Boston, Massachusetts, this is Denise Korzeniowski.  Good day.

Coordinator	Thank you, everyone, for joining today’s conference call.  Have a good afternoon.  You may disconnect your lines at this time.