Nano-Bio Discovery Platforms™

Summary of Breakout Session Discussions

CINT User Workshop

January 20, 2005

Session Leaders: A. Shreve, B. Bunker

Session Speakers: D. Bonnell, P. Grodzinski

The majority of the discussion centered around attempts to identify types of scientific problems that the biological community believes could be profitably addressed using a platform approach. This discussion led to a relatively focused set of scientific issues and technical capabilities that are of immediate interest, and that CINT could help address. The challenge that remains is to translate these into the development of design parameters to be incorporated into the first and subsequent sets of Nano-Bio Discovery Platforms™.

A few key scientific and technical themes emerged in the discussion. In general, a need was identified for the manipulation, control and interrogation of complex biological phenomena within sample regimes ranging from a few cells to sub-cellular processes. The potential uses of spatially and temporally resolved probes and manipulation techniques that could be applied both inside and outside of cells was highlighted. In terms of interrogation, the ability to study biochemical processes such as protein phosphorylation or other activation, protein-protein interactions, enzymatic activity, cytoskeletal restructuring, and intracellular transport, all in real time (ranging from seconds to minutes) and with multi-scale spatial resolution, was discussed as a scientific need. The ability to control interactions of a cell with membranes and membrane-like assemblies was also presented as a need. Overall, this discussion of problem areas has helped define the capabilities that should be targeted for inclusion in a general Nano-Bio Discovery Platform™, even as the breadth of needed capabilities highlights the difficulties of providing a single platform that will achieve all needed functions.

Features that need to be designed into the platforms can be summarized.  First, platforms need to enable the establishment of environmental conditions in which very small numbers of cells can be maintained. The platform should provide capabilities for transporting cells and placing them in specific locations, as well as for exposing them to fluids containing either required nutrients or chemical/biological stimuli. The platform needs to contain architectures that can harvest both extra- and intra-cellular fluids (e.g. MEMs-driven micro-needles or syringes). In all cases, fluid volumes will be very small (ranging from microliters to the volume of a single cell). Thus, the fluidics-handling systems must be adapted for moving small quantities of materials, which likely limits the use of pressure-driven fluid handling strategies that are used in most existing microanalytical systems. In addition to handling both environmental and sampled fluids, the platform needs to be capable of providing a range of physical inputs (electrical, thermal, optical, or magnetic) to cells. These can be used either to stimulate desired behaviors or to manipulate cell components (e.g. use of magnetic nanoparticles to direct proteins or signaling molecules to specific locations within cells). It is also important that the platform provide access to characterization methods that are external to the platform, with access to sophisticated optical imaging, characterization and tracking methods being an absolute must. Another desired feature would be for the platform to enable component analytical separation capabilities at some level, either for on-chip sensors or for delivery to external instruments such as mass spectrometers. For detailed interrogation of molecular interactions, another desired feature is that the platform provide access to scanning probe capabilities. In all cases, surface functionalization to control interfacial interactions will also be critical, if only to inhibit undesired phenomena such as biofouling and non-specific adsorption of desired components on microchannel walls. An important point is that, in some cases, it may be more feasible to provide platform flexibility by developing modular components with different capabilities that can be readily integrated with one another to provide the overall set of functions needed for a particular experiment, rather than trying to build all capabilities into a single chip. If such an approach is taken, then the grouping of functions within modular elements and the integration schemes for putting modules together must be carefully addressed.

Currently, components exist that could provide most of the capabilities of interest to the workshop participants. However, nothing exists that resembles an integrated system that could be provided as a "platform", either as a single unit or a set of compatible modular units.  There is also a need to address packaging and configurations that will allow the platforms to be sufficiently user friendly to be useful in the CINT Core and Gateway facilities and in the laboratories of users. An initial effort could involve taking a few simple components, and building a Phase 1 Discovery Platform™, though this platform might well be more useful for identifying features that work or don't work than for actually enabling a wide range of user science. However, based on these results, a Phase II platform can then be designed that could be anticipated to provide a sufficiently refined and user-friendly capability that a broad set of users will be attracted to its use.