Questions

Testing for Glucosinolates

- Testing for Glucosinolates is provided under the authority of the United States Grain Standards Act (USGSA).

(a)	True				(b)	False

2.	If the Glucosinolates content of a sample is                                                        per gram, the sample is certified as canola.

(a)	More than 32 micromoles	(c)	Less than 32 micromoles

(b)	Less than 30 micromoles	(d)	More than 30 micromoles

- The quick screening test used to determine the level of Glucosinolates is called the

.

(a)	20-Dip-Test			(c)	44-Dip-Test

(b)	00-Dip-Test 			(d)	10-Dip-Test

4.	If the moisture content of the sample is 12% or more, add                          grams of cellulose powder to the sample before grinding.

5.	If a sample of canola does not meet the required level of Glucosinolates, the sample is certified as                                                                          .

6.	The color comparison between the test strip and the color chart must be made within

minute(s) after the test strip is removed.

(a)	One				(c)	Three

(b)	Two				(d)	Five

7.	A coffee mill or an equivalent piece of equipment can be used to grind canola seed for the Glucosinolate test.

(a)	True				(b)	False

8.	To test the enzymatic activity of a Clinistix test strip, place 2 ml of a glucose solution in a dish, dip the strip into the solution and hold for two seconds, remove the strip, and check the color after 10 seconds.

(a)	True				(b)	False

9.	What method of testing is used for providing quantiatative measurement of Glucosinolates?

(a)	00-Dip-Test			(c)	Gas Chromatography

(b)	Falling Number		(d)	Thin Layer Chromatography

10.	The Glucosinolate level must be determined to verify that the sample is                       and not                              or a mixture of the two seeds.

11.	The 00-Dip-Test is required for                                                  shipments regardless of carrier type.

(a)	All domestic			(c)	All barges

(b)	All export			(d)	All

12.	The 00-Dip-Test is performed on the basis of a portion of                        grams after the removal of machine-separated dockage.