- Draft December 15, 2006 –

Section C - Statement of Work

Performance Work Statement

For

Operations, Maintenance and Technical Support

for the U.S. Mission Control Center,

Direct Readout, Argos and GOES Data Collection Systems

Task No. [TBD]

Table of Contents

1	Introduction	4

1	Introduction	4

1.1	SARSAT/USMCC	4

1.2	Direct Readout, Argos and GOES DCS	8

2	Scope of Work	9

2.1	USMCC	9

2.2	Direct Readout, Argos and GOES DCS (Optional)	10

2.3 	Applicable Documents	10

3	System Description	11

3.1	USMCC	11

3.1.1	Alert Processing	14

3.1.2	Communications Processing	15

3.1.3	System Data Processing	18

3.1.4	Real-Time System Monitoring	19

3.1.5	Operator Interface	19

3.1.6	Interference Monitoring	19

3.1.7	Database Maintenance	19

3.1.8	Incident History Database	19

3.1.9	Registration Database	20

3.1.10	Self-test And Monitoring	20

3.1.11	LUT Monitoring Database	20

3.1.12	SAR Mapping/GEOSORT	20

3.2	Direct Readout and Argos and GOES DCS	20

3.2.1	Direct Readout	20

3.2.2	Argos DCS System	21

3.2.3	GOES DCS System	21

4	Work Requirements	21

4.1	Operations Support	22

4.2	Software Support	23

4.2.1	USMCC	23

4.2.2	Direct Readout, Argos and GOES DCS	24

4.3	Technical Support	24

4.3.1	SARSAT/USMCC	24

4.3.2	Direct Readout, Argos and GOES DCS	28

5	Processing Environment	28

6	Reporting	29

7	Travel	30

8	Transition	30

9	Backup USMCC Operations and Maintenance	30

Appendix A – List of Acronyms	32

Appendix B – USMCC Requirements Analysis	34

Appendix 3 – Performance Requirements	49

Figure 1:  Overview of Cospas-Sarsat System	5

Figure 2:  Operational Concept of U.S. SARSAT System	8

Figure 3:  USMCC Hardware	13

Figure 6:  LUT - USMCC Communication	18

Figure 7: International Communication	19

# 1	Introduction

This Statement of Work is applicable to the Search and Rescue Satellite-Aided Tracking (SARSAT) United States Mission Control Center (USMCC), satellite direct readout functions, Argos and Geostationary Operational Environmental Satellite (GOES) Data Collection Systems (DCS) which are managed by the National Oceanic and Atmospheric Administration’s (NOAA) National Environmental Satellite, Data, and Information Service’s (NESDIS) Office of Satellite Data Processing and Distribution (OSDPD).

The SARSAT system relays distress signals from emergency beacons carried by aviators, mariners and land-based users to search and rescue (SAR) services.  The mission of the interagency SARSAT program is to:

Protect life and property by providing timely, accurate and reliable distress alerts to search and rescue services worldwide in an effective and efficient manner.

The mission of the SARSAT program is fulfilled by:

- collecting and distributing reliable and accurate distress alert data in a timely fashion using satellite receiving stations and a mission control center;

- coordinating with national and international organizations on frequency management, satellite, emergency beacon and search and rescue issues;

- maintaining a national register for 406 MHz emergency beacons; and

- serving as the lead for SARSAT within the United States, and representing the United States in the international Cospas-Sarsat Program.

The desired outcome of the SARSAT program is to reduce human risk and economic consequences as a result of natural or human-induced emergencies.  These activities align with NOAA’s goal to support the Nation’s Commerce with Information for Safe, Efficient, and Environmentally Sound Transportation.

## 1.1	SARSAT/USMCC

The SARSAT program is part of the international Cospas-Sarsat System.  Cospas is a Russian acronym that stands for “Cosmicheskaya Systyema Poiska Aariynyich Sudov” which translates loosely into “Space System for the Search of Vessels in Distress.”   The basic concept of the system involves the use of emergency beacons, satellites, and ground equipment to relay distress location and identification information (referred to as distress alerts) to SAR authorities.  SAR instruments are flown on low-Earth polar orbiting (LEO) and geostationary-orbiting (GEO) satellites provided by the United States, Russia, India and the European Organization for the Exploitation of Meteorological Satellites (EUMETSAT).  Canada and France provide the SAR instruments (the Search and Rescue Repeater and the Search and Rescue Processor) for the U.S. LEO satellites.  These instruments are capable of detecting signals on the Earth’s surface transmitted from emergency beacons.  Emergency beacons include Emergency Locator Transmitters (ELTs), Emergency Position Indicating Radio Beacons (EPIRBs), Personal Locator Beacons (PLBs), or Ship Security Alerting System (SSAS) beacons. ELTs are primarily used by aircraft, EPIRBs by maritime vessels, PLBs by individuals on land, and SSAS beacons are used by ships to alert authorities of piracy/terrorism activity.

Emergency beacons may operate on the 121.5, 243 or 406 MHz frequencies.  121.5/243 MHz beacons transmit an analog signal that does not contain any information about the beacon or user.  Alternatively, the 406 MHz beacons transmit a digital code that contains information about the type of beacon and possibly the location of the beacon (derived from the Global Positioning System, GPS, or other navigational system).  Each 406 MHz beacon in the world has a unique identifier.  The unique identifier allows for additional information called registration data to be linked to each beacon.  After receipt of ELT, EPIRB or PLB signals by the satellite, the satellite relays the signals to earth stations referred to as Local User Terminals (LUTs).

The LUT, after computing the location of the emergency beacon using the Doppler Effect, transmits an alert message to its respective Mission Control Center (MCC) via a data communication network.  The MCC performs matching and merging of alert messages with other received messages, geographically sorts the data, and transmits a distress message to an appropriate search and rescue authority such as a national Rescue Coordination Center (RCC) or a foreign SAR Point of Contact (SPOC).  The distress message may also be sent to another MCC.  Figure 1 describes the Cospas-Sarsat System.

Figure 1:  Overview of Cospas-Sarsat System

The United States operates two types of satellites and LUTs to relay distress signals.  SAR instruments are carried on board the NOAA Polar Orbiting Environmental Satellite (POES) and GOES series of satellites.  The POES satellites orbit the Earth at an altitude of approximately 850 kilometers and orbit the Earth once every 102 minutes.  The relative motion between the POES or LEO satellites and a beacon on the surface of the Earth allows ground processing to use the Doppler Effect to determine the beacon’s location.  The GOES satellites orbit the Earth in a geosynchronous orbit, which means they orbit the equatorial plane of the Earth at a speed matching the Earth's rotation. This allows them to “hover” continuously over one position on the surface. The geosynchronous plane is about 36,000 kilometers above the Earth, high enough to allow the satellites to view approximately 1/3 of the Earth.  Because the GOES or GEO satellites stay above a fixed spot on the surface, they provide a constant vigil for emergency beacons activated within their footprint.

NOAA manages and operates Low-Earth Orbiting Search and Rescue (LEOSAR) system LUTs (LEOLUTs) to track, receive and process alerts from the POES, European Meteorological Operational (METOP) satellites, and the Russian Nadezhda satellites.  Dual LEOLUTs are located at Andersen Air Force Base (AFB) on Guam, at the U.S. Coast Guard (USCG) communication station on Hawaii, at the NOAA Command and Data Acquisition station in Alaska, Vandenberg AFB in California and the USCG communication station in Florida.  Dual LEOLUTs at each site allow NOAA to resolve satellite tracking conflicts and provides redundancy in case of failure.  NOAA also manages and operates two Geostationary-Earth Orbiting Search and Rescue (GEOSAR) LUTs (GEOLUTs) in Suitland, Maryland to track, receive and process alerts through the GOES East and GOES West satellites.  Both sets of LUTs perform error detection and correction on 406 MHz beacon messages and automatically generate alert messages to the USMCC.  Additionally, one LEOLUT and GEOLUT in Maryland serve as backup equipment and test beds.

The USMCC receives alert data from national LUTs and foreign MCCs.  It matches beacon signals to identify those coming from the same source and merges them to improve position accuracy.  The USMCC appends registration information to distress alerts for 406 MHz beacons registered in the United States then geographically sorts data to determine the appropriate recipient – a national RCC (operated either by the U.S. Air Force, USAF, or USCG), foreign SPOC or MCC.   Based on special coding the USMCC also transmits distress alerts to a number of special Government and military users.  The USMCC filters redundant data and performs system support and monitoring functions.  System support functions include relaying SAR instrument telemetry from the Environmental Satellite Processing Center (ESPC) to the Canadian MCC (CMCC) and the French MCC (FMCC) and relaying SAR instrument commands from the CMCC and FMCC to the Satellite Operations Control Center (SOCC).  The U.S. LEOLUTs and the USMCC have the capability to detect and locate interference in the 406 MHz band.  This information is automatically forward to the Federal Communications Commission (FCC) for further investigation.  Also supporting the operations of the LUTs is the receipt of timing information from GPS satellites or from the National Institute of Standards and Technology.  Figure 2 provides an overview of the U.S. SARSAT system.

Figure 2:  Operational Concept of U.S. SARSAT System

Cospas-Sarsat’s ultimate mission is to assist in the saving of human lives.  More than 20,000 persons have been rescued due to the Cospas-Sarsat Program since its inception in 1982. The current Cospas-Sarsat Program was established by an inter-governmental agreement signed in 1988 between the

Governments of Canada, the Republic of France, the former Soviet Union (now replaced by the Russian Federation) and the United States.  The agreement created the Cospas-Sarsat Council, which is responsible for overall management of the Program, and the Cospas-Sarsat Secretariat, which serves as the permanent administrative organ of the Program.

The Joint Committee (JC), Operational Working Group (OWG), Technical Working Group (TWG) and Task Groups, have been established to support the Council. The JC, OWG, TWG, and Task Groups meet once a year to address operational and technical issues and make recommendations to the Council.  To date, 37 nations, and two organizations are formally associated with the Cospas-Sarsat Program.

The Cospas-Sarsat Program is guided by System documentation that provides technical specifications for equipment, operational procedures and program structure.  The documentation is separated into six series:

- The “P” series contains documents that pertain to the management and policy of the Cospas-Sarsat Program.

- The “B” series contains general information documents such as information bulletins.

- The “G” series contains general information.

- The “T” series contains technical documentation and specifications.

- The “A” series contains operational documentation and procedures.

- The “R” series contains reports and system test plans.

The documentation listed above can be found at www.Cospas-Sarsat.org under the documentation link.

The USMCC functions in accordance with specifications and procedures outlined in the above documents.  In addition, the USMCC has to meet unique national requirements to fulfill its mission.  These requirements are contained in documentation referenced in section 2.3.

## 1.2	Direct Readout, Argos and GOES DCS

NOAA has the lead responsibility for managing Federal space-based civil operational Earth observing systems necessary to meet civil requirements.  OSDPD is the focal point in the U.S. Government for the NOAA direct readout service. NOAA direct readout activity provides coordination and support for satellite data access and assists in planning and evaluating changes to the next generation of NOAA satellites by identifying user requirements and providing recommendations.  Direct readout activity also serves as a NOAA liaison keeping its satellite user community informed of operational changes and providing information to the global meteorological community with the intention of facilitating international coordination and cooperation.    The following website contains more information on NOAA’ direct readout activity:

http://noaasis.noaa.gov/NOAASIS/ .

The Argos DCS operates on the POES constellation and was established through a Memorandum of Understanding (MOU) with France in 1974.  NOAA for the U.S. and the Centre Nationale d'Etudes Spatiales (CNES) for France are the lead agencies for this international cooperative agreement.  CNES provides for the development and delivery of the Argos DCS instrument.  NOAA provides spacecraft integration/launch services, downloads stored mission data via NOAA Command Data Acquisition facilities and provides pre-processed data delivery.  Data post-processing and delivery to customers is the responsibility of CNES, which through a subsidiary maintains distribution centers located in Toulouse, France and Largo, Maryland.  OSDPD represents NOAA as the U.S. Co-chair and the U.S. Secretariat to the Operations Committee (OPSCOM).  In conjunction with the OPSCOM, OSDPD provides overall program management such as system access review and approval of System Use Agreements, policy development and implementation, and future satellite planning to meet customer requirements.  Access to the Argos DCS is governed by U.S. regulations 15 CFR Part 911 “Polices and Procedures Concerning Use of the NOAA Space-Based Data Collection Systems” and managed with the Argos System Use Agreement Database System.

The GOES DCS is a data relay system that transmits surface based observations through a satellite to achieve almost real time observations. The DCS transmitters send their messages in an assigned channel and time slot to the GOES satellite. The messages are then down-linked to a ground receiving station, where the owner and other users can pick them up within approximately 5 seconds of transmission.  The GOES DCS program management and customer service functions take place in Suitland, Maryland.  Data ingest and limited processing take place in Wallops, Virginia.  Both the Suitland and the Maryland sites host computer systems that perform specific functions. The system that currently runs at Wallops is a Data General system, vintage 1989, which maintains information about each of the 25,000 platforms that operate on the system, and the users who operate them; scheduling information; platform performance statistics, and general health of the system information. The Suitland systems are all desk top systems, and include a vintage address generation system, a more modern address generation system (still under development), a data base system to collect contact information for users, and various spreadsheet tools used to more easily query and/or manipulate the information contained in the primary database. Additionally, plans are underway to host a backup distribution site at a remote site. While this site will be operated by a user agency, NOAA will have a supporting role. More information on the GOES DCS system can be found at http://noaasis.noaa.gov/DCS and http://dcs.noaa.gov.

# 2	Scope of Work

This Statement of Work defines the required support for computer operations, software support, and technical support for the USMCC. It also defines the required software maintenance and technical support for the Direct Readout system, Argos and GOES DCS systems.

## 2.1	USMCC

The contractor shall provide computer operations of the USMCC system on an around-the-clock basis, as well as data entry and database administration functions. These functions shall be performed onsite at the NOAA Satellite Operations Facility (NSOF) in Suitland, Maryland, or at its backup facility at Wallops Island, VA.  Software support shall consist of corrective, adaptive and perfective maintenance to support the USMCC mission.  Technical support shall include maintaining IT hardware and system software, supporting IT security activities, performing analysis, and supporting national and international meetings. All of these activities help sustain the USMCC mission.  Software and technical support activities shall be performed at either the NSOF or the NOAA Science Center.  The document “USMCC Requirements Analysis,” provided at Appendix B, provides additional reference material to assist the contractor in understanding the USMCC mission.  It is provided for reference only.

## 2.2	Direct Readout, Argos and GOES DCS (Optional)

The contractor shall provide software and technical support of the Direct Readout, Argos and GOES DCS systems.  The contractor shall administer database maintenance functions for which OSDPD is currently responsible. These functions shall be performed onsite at the NOAA program office responsible for Direct Readout, Argos and GOES DCS in Suitland, Maryland, or at a future backup facility.  Software support shall consist of corrective, adaptive and perfective maintenance to support the Direct Readout, Argos and GOES DCS mission.  Technical support shall include maintaining IT hardware and system software.

## 2.3 	Applicable Documents

The following documents define terms, requirements, guidelines, specifications, procedures, data formats and content, and plans.  Unless otherwise specified, all USMCC relevant work shall be performed in accordance with these documents. Succeeding revisions shall be substituted or incorporated as appropriate.  The Cospas-Sarsat documents can be viewed under the documentation link of http://www.cospas-sarsat.org/.

USMCC documents can be viewed at the System Documentation link of http://www.sarsat.noaa.gov/.

- C/S G.003, Introduction to the Cospas-Sarsat System

- C/S G.004, Cospas-Sarsat Glossary

- C/S G.005, Cospas-Sarsat Guidelines on 406 MHZ Beacon Coding, Registration, and Type Approval

- C/S T.001, Specification for Cospas-Sarsat 406 MHZ Distress Beacons

- C/S A.001, Cospas-Sarsat Data Distribution Plan

- C/S A.002, Cospas-Sarsat Mission Control Centers Standard Interface Description

- C/S A.003, Cospas-Sarsat System Monitoring and Reporting

- C/S A.005, Cospas-Sarsat Mission Control Center Performance Specification and Design Guidelines

- C/S A.006, Cospas-Sarsat Mission Control Centre Commissioning Standard

- USMCC Functional Requirements Document

- USMCC Data Structures Document

- USMCC Functional Description Document

- 406 MHz Registration Data Base (RGDB) Functional Requirements Document

- Incident History Data Base (IHDB) Functional Requirements Document

- USMCC Standard Operating Procedures

- USMCC National Rescue Coordination Center and Search and Rescue Point of Contact Alert and Support Messages

- SARSAT Configuration Management Plan

Applicable documents for the GOES DCS system include:

- Office of Federal Coordinator for Meteorological Services and Supporting Research - National Geostationary Operational Environmental Satellite (GOES) Data Collection System (DCS) Operations Plan, FCM-P28-1997

- NOAA Technical Memorandum NESDIS 40, The Geostationary Operational Environmental Satellite Data Collection System

- User Interface Description and HTML Prototype for Argos System Use Agreement Document

# 3	System Description

## 3.1	USMCC

The USMCC is a distributed system comprised of 11 PC-based software sub-systems as depicted in Figure 2. The USMCC exchanges more than 5,500 data and alert messages a day and ingests beacon data from approximately 250 LEO satellite passes a day. Beacon data is received from the GEO on a continuous basis.  There are more than 20 Structured Query Language (SQL) database transactions per second.

The USMCC operates under Windows 2000/2003 operating system environments.  Commercial off the Shelf (COTS) software such as MapInfo, MS SQL, Visual Basic, C++, Visual C++, Java, Netscape Navigator, and dBase are also an integral part of the software sub-systems. The languages used in the USMCC system include Visual BASIC, SQL, MapInfo, Visual C++, and JAVA.  The USMCC operates on an around-the-clock basis as part of the operational Cospas-Sarsat Program. Table 1, Figure 2, and Figure 3 show the hardware elements of the USMCC.

Table 1: USMCC Hardware List

| Machine Name | Hardware Type |
| --- | --- |
| MCC |
| MCCOPS1 | DELL PRECISION 340 |
| MCCOPS2 | DELL PRECISION 340 |
| MCC TIMESERVER | SYMMETRICOM NTS-150 |
| MCCDISPLAY | DELL POWEREDGE 2850 |
| MCCSEC | DELL POWEREDGE 2850 |
| MCCPRIM | DELL POWEREDGE 2850 |
| MCCFTP2 | DELL POWEREDGE 2850 |
| MCCFTP1 | DELL POWEREDGE 2850 |
| FTPIDS | DELL POWEREDGE 2850 |
| FTPMONITOR | DELL POWEREDGE 2850 |
| MCCDB2A | DELL POWEREDGE 2850 |
| MCCDB2B | DELL POWEREDGE 2850 |
| MCCPROC2 | DELL POWEREDGE 2850 |
| MCCPROC1 | DELL POWEREDGE 2850 |
| MCCCOM2 | DELL POWEREDGE 2850 |
| MCCCOM1 | DELL POWEREDGE 2850 |
| MCCDB1A | DELL POWEREDGE 2850 |
| MCCDB1B | DELL POWEREDGE 2850 |
| MCCDB2 | DELL POWERVALUT 220S |
| MCCDB1 | DELL POWERVAULT 220S |
| FAXBACKSERVER | DELL POWEREDGE 2550 |
| MCCIDS | DELL POWEREDGE 2850 |
| MCCMONITOR | DELL POWEREDGE 2850 |
| MCCARCHIVEDB | DELL POWEREDGE 2850 |
| MCC FIREWALL | CISCO PIX 515 |
| MCC FAILOVER FIREWALL | CISCO PIX 515 |
| ROUTER USMCC-A | CISCO 2621 |
| ROUTER USMCC-B | CISCO 2621 |
| ROUTER FAX | CISCO 2621 |
| ROUTER MAN | CISCO 2851 |
| VPN CONCENTRATOR | CISCO VPN 3020 |
| MCC SNAP DRIVE | SNAP APPLIANCE SNAP SERVER 4500 |
| MCCDMZ SNAP DRIVE | SNAP APPLIANCE SNAP SERVER 4500 |
| LUT SERVER TIMESERVER | SYMMETRICOM NTS-150 |
| LUT SERVER FIREWALL | CISCO PIX 525 |
| LUT SERVER FAILOVER FIREWALL | CISCO PIX 525 |
| ROUTER MANAGEMENT | DELL POWEREDGE 2650 |
| LUT SERVER SNAP DRIVE | SNAP APPLIANCE SNAP SERVER 4500 |
| LUT SERVER IDS | DELL POWEREDGE 2850 |
| LUT SERVER MONITOR | DELL POWEREDGE 2850 |
| LUT SERVER FTP2 | DELL POWEREDGE 2850 |
| LUT SERVER FTP1 | DELL POWEREDGE 2850 |
| 7 LAN SWITCHES | HP PROCURVE2824 |
| 3 HUBS | 2 HP PROCURVE/1 3COM |
| KVM SWITCH | AVOCENT |
| 2 KMM USER STATIONS | AVOCENT |
| 4 KMM | AVOCENT |
| WEB |
| RGDB FTP SERVER | DELL POWEREDGE 2650 |
| RGDB WORKSTATION | DELL POWEREDGE 1650 |
| RGDB MONITOR | DELL POWEREDGE 2650 |
| APPSERV2 | DELL POWEREDGE 2550 |
| WEBSERVDEV | DELL POWEREDGE 2450 |
| DC1 | DELL POWEREDGE 2550 |
| DC2 | DELL POWEREDGE 2550 |
| WEBSRV | DELL POWEREDGE 2550 |
| NOAAIDS | DELL POWEREDGE 350 |
| RGDB FTP | DELL POWEREDGE 2650 |
| APPSERVDEV | DELL POWEREDGE 2650 |
| APPSERV | DELL POWEREDGE 6650 |
| WEB SNAP DRIVE | SNAP APPLIANCE SNAP SERVER 4500 |
| VPN CONCENTRATOR | CISCO VPN 3020 |
| 2 FIREWALLS | CISCO PIX 515E |
| FAILOVER FIREWALL | CISCO PIX 515E |
| ROUTER MAN | CISCO 2851 |
| RGDB DOCUMENT IMAGE SERVER | HP ML 370 |
| 2 LAN SWITCHES | HP PROCURVE2824 |
| HUB | HP PROCURVE |
| KVM SWITCH | AVOCENT |
| KMM USER STATION | AVOCENT |
| 2 KMM | AVOCENT |

Figure 3:  USMCC Hardware

The number of lines of code for each sub-system is contained in Table 2. The functions of each sub-system are described in the sections below.

Table 2:  USMCC Software Lines of Code

| Sub-system | Lines of Code | Sub-System | Lines of Code |
| --- | --- | --- | --- |
| Alert Processing (ALRT) | 40,339 | Database/Data Maintenance (DBMN) | 1,063 |
| Communications Processing (COMM) | 25,836 | Incident History Database (IHDB) | 54,507 |
| System Data Processing (SDAT) | 16,816 | Registration Database (RGDB) | 77,487 |
| Real Time System Monitoring (SMON) | 5,101 | Self-test And Monitoring (SAMS) | 12,071 |
| Operator Interface (OPER) | 54,144 | LUT Monitoring Database (LMDB) | 20,953 |
| Interference Monitoring (INTF) | 70,203 | SAR Mapping/Geosort (SMAP) | 41,848 |
| Miscellaneous | 1,631 |  |

### 3.1.1	Alert Processing

The Alert Processing sub-system is the major component of the USMCC.  The sub-system processes all distress alert data and produces the distress alert messages destined for other MCCs, SPOCs and RCCs.  Specifically, the Alert Processing:

- transfers all 121.5, 243, 406 MHZ alert data from the SQL server;

- validates all incoming alert data;

- filters alert data based on configuration;

- creates sites (sites combine and store satellite data originating from a unique beacon or signal source);

- matches alerts from different sources (LUTs/MCCs and/or satellites);

- merges beacon alerts from different sources to form a more probable position;

- determines if satellite passes should have detected a beacon on a given pass;

- determines the type of message to send;

- determines the appropriate recipient of the alert message;

- determines the content of alert messages;

- appends registration information for 406 MHZ beacons as appropriate; and

- performs housekeeping on the site.

The Alert Processing sub-system notifies the operator of alarm conditions and general status of the sub-system, as well as logs all routine operations and functions for later analysis.

### 3.1.2	Communications Processing

The Communications sub-system communicates with U.S LUTs, foreign MCCs, SPOCs, and national RCCs for alert and system data.  It also communicates with the Naval Bulletin Board (NBB) by way of telephone line for ephemeris data, the National Institute of Standards and Technology (NIST) by way of the Internet for time data, the ESPC by way of the Internet for satellite payload telemetry data, the GPS via satellite receiver for time data, and a communication vendor. The Communications Processing sub-system also formats alert messages based on the destination.

The primary path of data communications between the USMCC and USCG RCCs is through a frame relay network provided by SPRINT. Backup data communications between the USMCC and USCG RCCs is through a facsimile server.  See Figure 4.

The primary data path between the USMCC and USAF RCC at Langley AFB is the Internet and the backup path is the SPRINT frame relay network. See Figure 5.

The primary data path between the USMCC and national LUTs is also the SPRINT frame relay network. Dialed backup telephone lines are used for backup. See Figure 6.

Figure 6:  LUT - USMCC Communication

The USMCC communicates with other nations’ MCCs through the Aeronautical Fixed Telecommunications Network (AFTN), and the Internet. The USMCC communicates with foreign SPOCs through the AFTN, and the Public Switched Telephone Network (PSTN) for facsimile.  See figure 7 for a description of international communications.

Figure 7: International Communication

### 3.1.3	System Data Processing

The System Data sub-system is responsible for processing satellite payload telemetry data, identifying out-of-limit conditions and reporting to the appropriate payload provider (i.e., France or Canada), and notifying the payload providers of changes in the status of their instruments.  The sub-system processes commands from the French and Canadian MCCs, and routes them to the NOAA Satellite Operations Control Center in Suitland, Maryland.

The System Data sub-system also creates ephemeris data to send to foreign MCCs and U.S. LUTs.  In addition, the sub-system creates pass schedules daily for the U. S. LUTs.  Pass schedules are used by the LUTs to determine which satellites will be tracked.  Lastly, the sub-system creates and processes system status and narrative messages for and from foreign MCCs.

### 3.1.4	Real-Time System Monitoring

The System Monitoring sub-system performs real-time monitoring of the USMCC, national LUTs, and communications links.  The sub-system ensures that all the critical USMCC sub-systems are functioning and LUTs are providing data.  The sub-system also monitors the performance of LUTs by reporting on large location errors.

### 3.1.5	Operator Interface

The Operator Interface allows the operator to monitor the USMCC system, retrieve data, perform queries, initiate processes, access other sub-systems as appropriate, and change configuration of the USMCC system.  The operator has the capability to search for alert data based on type of data, geographic location and time.  The results of the query can then be transmitted to any destination.  The operator can also search for input or output messages based on specific criteria, and can access system logs.  The Operator Interface sub-system contains the NOAA encode/decode software for 406 MHZ beacons.  This software allows users an interface to the digital information contained in a 406 MHZ message.  The software can also perform error checking on the digital message as described in Cospas-Sarsat documentation.

### 3.1.6	Interference Monitoring

The Interference Monitoring sub-system processes 406 MHz interference position data from U.S. LUTs and foreign MCCs.  Interference data is matched and merged similar to 121.5/243 MHz alert data and reports on sources of interference generated.

### 3.1.7	Database Maintenance

The Database Maintenance sub-system performs the archive, purge and backup of all data as well as monitors database performance.  All data is archived at the USMCC.  Backups are performed daily and all software and data is archived monthly.

### 3.1.8	Incident History Database

The Incident History Database sub-system is comprised of software to transfer key site information from the active site database to the Incident History Database. Software also exists to input/edit feedback from RCCs either manually or online, validate feedback and send reminders to RCCs for incidents on which they have not reported.

Software also exists to extract “Distress Incident Report for Documentation of Saves” and “Report on Beacon Signals” for the Cospas-Sarsat System.  Additional software exists to prepare reports on performance of beacon models, compliance of feedback by RCCs, and report of rescues.

### 3.1.9	Registration Database

The Registration Database sub-system is comprised of software to enter, edit, delete beacon registrations and to prepare reports.  The software validates information before it is accepted into the database; creates mailing labels; generates bi-annual confirmations; and creates decals to be affixed to the beacon.

### 3.1.10	Self-test And Monitoring

The Self-test and Monitoring Sub-system (SAMS) provides near real-time and long term and trend monitoring from data collected at the USMCC.  Information on availability and performance is generated for the USMCC, U.S. LUTs and Cospas-Sarsat satellites.  The sub-system also generates graphics files for display and reports.

### 3.1.11	LUT Monitoring Database

The LUT Monitoring Database maintains the daily schedule of satellite passes that the U.S. LUTs have been scheduled to track, and reports on the outcome of each satellite pass per LUT.  The information is used to monitor LUT performance and report on missed passes, create Cospas-Sarsat reports on availability, and assist in the determination of monthly payment to the LUT maintenance contractor.

### 3.1.12	SAR Mapping/GEOSORT

The SAR Mapping sub-system performs the geographical sorting of alert data for the Alert Processing sub-system.  The software determines in whose search and rescue area an alert position is located.  The software also provides the real-time geographical display of alert sites.

Additional information on the USMCC may be found in the documents listed in section 2.3.

## 3.2	Direct Readout and Argos and GOES DCS

### 3.2.1	Direct Readout

The Direct Readout System will serve as a knowledge base for NOAA Satellite and Information Services to interface with the direct readout community, obtain insight on the quality of the NOAA broadcast services, and gather input for future environmental services.  The database will also serve as a tool to enable NOAA Satellite and Information Services to relate service changes to the users more efficiently and identify user issues on service modifications.  The objective of the web based system is to provide NOAA Satellite and Information Services a database of active and potential direct readout users, equipment and manufacturers.  This system is in the process of being developed.

### 3.2.2	Argos DCS System

The Argos electronic Service User Agreement (SUA) system requires importing data from the commercial Argos organizations, CLS and Service Argos Inc., via e-mail into the new NOAA SUA database and then implementing a web-based workflow management system to support the NOAA internal approval process.  The system provides a web page summary to the public and a private web site for the approval process.  To access a private web site, the user is authenticated to the system via user ID and password.  The public web site does not have password protection and is the home page for the system.  The approval pages and their functional requirements are listed in User Interface Description and HTML Prototype for Argos System Use Agreement Document (January 25th 2002).  The approval process is supported by an e-mail notification system, which alerts different level approvers that action is required.

### 3.2.3	GOES DCS System

The purpose of the GOES DCS System is to provide electronic input, tracking, and work order processing of applications to use the GOES DCS system. The approval process is similar to that of the Argos system, in that it requires an e-mail notification system to alert different level approvers that action is required. Potential users of the system access a public web page, and submit an application similar to the Argos application, which must then be reviewed by various levels of personnel to complete the approval process. Users will submit applications on line via the public web site, and NOAA personnel will be alerted to access the approval pages, which will be password protected.  The system will have the capability to generate reports and statistics/metrics from the user database generated by the system. The contractor shall generate these reports on request.  The contractor shall provide maintenance support for this system, and other tools developed for the management of the GOES DCS system, including an address generation system, a user contact data base, tracking tools for assignments and realigning of channels and resources, and for monitoring of and reporting from the DCS Automated Processing System (DAPS), located at the Wallops Island CDA.  This system is in the process of being developed.

# 4	Work Requirements

Work described in section 4.1 shall be performed on a firm fixed priced basis. Work described in sections 4.2 and 4.3 shall be performed on a cost plus fixed-fee basis.  All work described below shall be performed in accordance with the appropriate documents listed in section 2.3 and any additional guidance provided by the Government.  The work performed shall comply with the performance requirements in Appendix 3.

## 4.1	Operations Support

The contractor shall operate and monitor the USMCC, and the backup USMCC as necessary, on a 24-hour, 7-day per week schedule. This work shall be performed on site in Suitland, Maryland or at the designated backup facility.  The contractor shall:

- operate the USMCC software and hardware and notify MCCs, SPOCs and RCCs of outages in accordance with the USMCC Standard Operating Procedures (SOP)s;

- monitor the U.S. ground segment (LUTs, USMCC, communications and the USMCC environment), identify anomalies, and initiate corrective action according to configuration management procedures and USMCC SOPs;

- be the operational point of contact for RCCs and SPOCs by responding to queries, re-transmitting alert messages, providing registration information, changing the destination/routing of alert messages, providing satellite pass schedules, confirming communications, interpreting system performance, requesting incident feedback, and providing other operational assistance as required;

- be the operational point of contact for MCCs by responding to queries, re-transmitting alert messages, providing registration information, changing the destination/routing of alert messages, requesting alert messages from other MCCs, confirming communications, requesting incident feedback, ensuring system and ephemeris data are properly transmitted, providing coordination support to the Cospas-Sarsat System, and providing other assistance as required;

- be the operational point of contact for NOAA SAR payload operations by notifying MCCs, RCCs and SPOCs of payload failures, coordinating with the SOCC on NOAA polar and geostationary satellite issues;

- be the operational point of contact for U.S. LUT operations by requesting alert and graphic data from LUTs, configuring and commanding the LUTs, ensuring pass schedules, ephemeris data and commands to LUTs are delivered, and coordinating LUT outages with government, LUT maintenance contractor and site personnel;

- be the operational point of contact for telemetry and ephemeris data received from the ESPC;

- be the operational point of contact for ephemeris data received from the NBB;

- perform periodic backups, retrieve data from backups and maintain archives; and

- maintain and prepare appropriate logs and reports.

The contractor shall register new beacons within 2 business days of receiving the information on paper/faxed registration forms.  The contractor shall also:

- update registration information;

- confirm beacon registration information every two years;

- electronically scan and file copies of beacon registration information;

- prepare and mail information data sheets, letters and decals to beacon owners;

- resolve beacon registration issues with owners;

- generate periodic and special reports;

- ensure adequate supplies are available; and

- liaise with external organizations on registration issues.

The contractor shall also enter incident feedback data from RCCs, generate periodic and special reports and resolve incident feedback issues with external organizations.

## 4.2	Software Support

### 4.2.1	USMCC

The Contractor shall maintain all USMCC applications software as referenced in the USMCC, 406 RGDB, and IHDB Functional Description Documents, USMCC Detail Design Document, and USMCC Baseline Source.  The Contractor shall provide a complete range of software maintenance activities including corrective maintenance, adaptive maintenance and perfective maintenance.

Corrective maintenance is required to correct unexpected software problems, meet published requirements, and/or fix corrupted files or databases.  The Contractor shall perform corrective maintenance on a 24-hour, 7 day-a-week schedule. The Contractor shall provide appropriate personnel to analyze problems detected in applications software and take appropriate action to minimize or eliminate the problems including the development of software to correct or work around the problems.

Adaptive maintenance is required to support changes in the processing environment, which include the addition of, or conversion to, new hardware, operating environment, data structures or new algorithms.

Corrective or adaptive maintenance for critical software sub-systems or elements shall be initiated within one (1) hour of notification by the Government or appropriate personnel and performed on a 24-hour, 7 day-a-week basis.

Perfective maintenance is required to better meet operational objectives and to support planned changes to improve efficiency, performance or maintainability of operational software.  As part of perfective maintenance, the Contractor shall develop and analyze requirements and provide, design, integration and testing support to upgrade/replace existing USMCC software.  Perfective maintenance and non-critical changes shall be implemented during regular business hours.

As an integral part of all system and software maintenance the Contractor shall follow the established configuration management plans and procedures to ensure that any and all changes are appropriate, approved and well documented.

The Government shall have unlimited data rights to all software developed or modified for the USMCC.  The Government reserves the right to witness all contractor efforts to accomplish the SOW requirements and maintains the right to approve or reject resulting processes and products before subsequent related processes and products are implemented. The contractor shall maintain an interface with Government project personnel, users, software quality and configuration management personnel throughout the process.

### 4.2.2	Direct Readout, Argos and GOES DCS

The Contractor shall provide a complete range of corrective, adaptive and perfective maintenance support for the Direct Readout, Argos and GOES DCS functions.  All support shall be provided during regular business hours.

## 4.3	Technical Support

### 4.3.1	SARSAT/USMCC

The Contractor shall be responsible for a wide range of technical and operational support to sustain and enhance the national SARAT and international Cospas-Sarsat program.  Key activities are described below.  All technical work in support of SARSAT and Cospas-Sarsat missions shall be coordinated with the Contracting Officer’s Representative (COR).

LUT Support

The LUTs are maintained by another contractor; however, the USMCC Operations, Software and Technical Support Contractor shall support investigation, anomaly resolution, testing and implementation of new LUT software.  The Contractor shall also provide technical assistance in enhancing the LUT function and developing requirements,  specifications and supporting integration for new medium-altitude Earth orbiting search and rescue (MEOSAR) local user terminals (MEOLUT).

PC and Local Area Network (LAN)

The desktop PCs and LAN for the government and Contractor staff will be maintained by the Common IT Services (CITS) group.  However, the Contractor will be required to maintain all hardware and systems software associated with the USMCC system.  The contractor shall perform requirement analysis, design, hardware and COTS procurement, implementation, configuration, and maintenance of PC workstations and Local Area Networks and associated hardware for the USMCC system. The current hardware configuration is described in section 3.1. The contractor shall also be responsible for maintaining all hardware including routers and firewalls and COTS in support of the SARSAT mission.

The contractor shall provide software design to develop and apply PC technology in networked applications for the USMCC system. This work shall include software applications (commercial and government generated), procurement, networking, rapid prototyping, and integration of PC hardware, software, and peripherals.

The contractor shall maintain PC workstations and LANs according to configuration management procedures.  Change tasks include the technical preparation, impact evaluation/analysis, and planning necessary to implement changes.  Hardware and COTS changes can be a result of one of the following types of maintenance:

- Corrective maintenance - maintenance in response to a system problem.

- Adaptive maintenance - maintenance to accommodate a change in requirements of data environment.

- Perfective maintenance - maintenance to better meet operational requirements or to improve processes.

Corrective or adaptive maintenance for critical sub-systems or elements shall be initiated within one (1) hour of notification by the Government or appropriate personnel and performed on a 24-hour, 7 day-a-week basis.  Perfective maintenance and non-critical changes shall be implemented during regular business hours.

The contractor shall support transition of current capabilities to web-based services, and use of the Internet to support the SARSAT and USMCC missions.  The contractor shall support the Government by maintaining and updating web pages, suggesting web enhancements and performing routine updates.

Data Communications

The Contractor shall provide data communications technical support that includes studying, identifying, planning, implementing and maintaining required data communications for the transfer of distress alert and system data.  Communication paths include the use of AFTN, frame relay, facsimile, and VPN.  The Contractor shall be responsible for establishing new communication links for the USMCC, troubleshooting data communication problems and maintaining data communication configuration.

The Contractor shall coordinate with the USAF, USCG and other organizations to develop the capability to transmit alert messages directly to their automated mapping and display systems and search tools.  The Contractor shall also be responsible for the maintenance of NOAA provided Communications and Data Terminal Equipment at the RCCs and LUTs.

IT Security

The contractor, in accordance with the SARSAT IT Security Plan and Department guidance, shall be responsible for developing, implementing, and maintaining and testing technical IT Security controls within the mission critical SARSAT system and web applications.

These responsibilities include the installation, configuration, and maintenance of firewalls, intrusion detection systems, and routers; the application of security patches, the maintenance of virus protection tools and documenting and reporting these activities through scans.  In addition, the contractor shall support the Government in IT Security related activities including but not limited to risk and vulnerability assessments and testing, certification and accreditation, and Plan of Action and Milestones (POAM) reporting.

Analysis

The Contractor shall perform analysis as a result of reported or observed anomalies or perform analysis on topics as requested by the Government. Analysis can include collecting or extracting data, providing software for analysis and documenting results.

Analysis of anomalies is one of the most important activities for the Contractor as anomalous data has a direct impact on the users of the data. This impact can range from loss of confidence in data provided to the users to unnecessary allocation of resources by the users. It is imperative for the Contractor, in a timely manner, to be able to:

- identify problems through monitoring or analysis,

- identify the causes of the problem,

- collect and analyze data, and

- recommend solutions and their implementation.

This activity shall include, but is not limited to, analysis of:

- USMCC Functions

- Data Distribution Procedures

- False Alerts

- Interferers

- Orbit Vector Processing

- Potential Satellite Problems

- Large Location Errors

- Beacon Problems

- Communications

- LUT Performance.

Meeting Support

The contractor shall support the SARAST and Cospas-Sarsat programs at national and international meetings. Such meetings include: Council and JC/Task Group (TG) Meetings, Regional Data Distribution Region Meetings, Interface Meetings with US RCCs, Beacon Manufacturers Meeting, Bi-lateral Meetings, National Search and Rescue Committee (NSARC) General Meetings, Civil Air Patrol Meetings, Radio Technical Commission for Aeronautic services (RTCA) Meetings, Radio Technical Commission for Maritime services (RTCM) Meetings, and United Nations (UN) Conferences. The contractor shall review and analyze meeting documents, write position papers and presentations and attend meetings as members of the U.S. delegation as appropriate.

Monitoring

The purpose of monitoring is two-fold: 1) to detect anomalies in the performance of the national and international SARSAT and Cospas-Sarsat space and ground segments; and 2) to ensure the integrity and validity of the data provided to MCCs, SPOCs and RCCs. The Contractor may have to perform monitoring and trend analysis over and above what is performed as part of the 24-hour operation. The Contractor shall also support the monitoring required by the Cospas-Sarsat System as outlined in C/S A.003 "Cospas-Sarsat System Monitoring & Reporting". The areas of monitoring include, but are not limited to:

- U.S. and foreign LUTs

- Communications Links

- Orbitography Beacons

- Operational Beacons

- Satellites

- USMCC Software and Hardware

- Large Location Errors

In addition, the Contractor shall perform routine monitoring and reporting of harmful interference in distress frequency bands.  The contractor shall coordinate with internal and external regulatory agencies to eliminate interference and coordinate with appropriate agencies and organizations on frequency management issues.

Communication and Outreach

The Contractor shall support the SARSAT and Cospas-Sarsat program by interfacing with the public as required.  The interface may include public meetings, conferences, and trade or professional events.  Activities also include developing literature, providing briefings and tours of the USMCC and other educational activities as necessary.  The Contractor will also be responsible for maintain an accurate count of the number of people rescued as a result of the SARSAT system and providing periodic reports on rescues.

Testing

The contractor shall support testing other than that involved with software life-cycle activities.  This includes support for commissioning of new equipment in the Cospas-Sarsat Ground Segment, support for on-orbit testing of SAR payloads, the annual Cospas-Sarsat system test, support for other federal, state, or local agencies, private agencies and support for U.S. LUTs, LUTServer, and MEOLUT development.  The Contractor shall also act as the point of contact for test transmissions of beacons, and shall coordinate NOAA approved testing in order to minimize harmful impacts to the operational system.

Documentation

The contractor shall prepare, revise, and/or review software, standard operating procedures, and operations documentation in accordance with applicable federal and/or agency standards during the appropriate phase of the life cycle including technical reports to document algorithm analysis, feasibility studies, trade-off, and impact analysis. All documentation shall be updated to remain current with the USMCC system.

The contractor shall also perform engineering analysis of implemented software products and develop new, or modify existing documentation, to correctly reflect the implemented code. The documentation shall provide the necessary information to support life cycle maintenance of the software product(s) by the Government.

The Contractor shall update as required and maintain all documentation related to the USMCC including, but not limited to, the following:

- USMCC Functional Description Document

- USMCC Operations Guide

- SARSAT System Administrators Guide

- USMCC Detail Design Document

- USMCC Functional Requirements Document

- 406 Registration Data Base Functional Requirements Document

- Incident History Data Base Functional Requirements Document

- USMCC Data Structures Document

- USMCC Baseline Source

- USMCC National Rescue Coordination Center and Search and Rescue Point of Contact  Alert and Support Messages

- USMCC Standard Operating Procedures

- SARSAT IT Architecture

- SARSAT Security Plan

- SARSAT Configuration Management Plan

Configuration Management

The contractor shall support the existing configuration management plan and shall support the government as required to provide storage of, and controlled access to software, documentation and associated tools and procedures.  The contractor shall maintain configuration documentation (change proposals, problem reports, and associated logs) and support NOAA’s configuration manager in scheduling meetings, ensuring documentation is complete and producing reports.

### 4.3.2	Direct Readout, Argos and GOES DCS

The Contractor shall provide technical support in support of the Direct Readout, Argos and DCS missions.  Technical support includes the following:

- Provide support to install a back-up system for the Argos electronic SUA system at a designated location.

- Provide support to install a back-up system for the DRO electronic registration and meeting system at a designated location.

- Provide technical oversight assistance of development of DCS Automated Processing System (DAPS) replacement system.

- Assist management staff with technical issues related to accessing DAPS and all subsequent systems, and management tools.

- Assist users with technical issues related to accessing DAPS and all subsequent systems.

- Develop and manage backups of all management systems and databases.

- Run Daily DAPS Monitoring Tools and Reports.

- Run Daily Reports to assist with transitions to new technologies (i.e. channel reports to determine when new channels are candidates to be transitioned to high data rate usage).

- Corrective, adaptive and perfective maintenance shall be performed during regular business hours.

# 5	Processing Environment

Maintenance and operation of the USMCC system shall be performed within the USMCC computer facilities which are located in the NOAA Satellite Operations Facility (NSOF) in Suitland, Maryland. In addition, the contractor shall maintain a backup USMCC located at NOAA Command and Data Acquisition (CDA) at Wallops Island, Virginia.

The Government shall provide all USMCC hardware, operating system software, COTS, and the necessary data telecommunications equipment.  The Government shall also provide all computer supplies (tapes, disks, paper, etc.).

# 6	Reporting

The Contractor shall produce many different types of reports to document system status and performance and to inform users and USMCC stakeholders. These reports include:

- Daily Briefings - The Contractor shall be required to present a brief summary of operational activities at 09:05 AM of each business day for the period since the last briefing.  Major problems, trends, outages (USMCC, LUTs, satellites or communications), number of scheduled LUT passes not received, feedback regarding 406 beacon activations, rescues attributed to the Cospas-Sarsat System, and status of beacon registrations shall be documented and presented as “SARSAT Daily Report”.

- Bi-weekly Status Meeting and Minutes - At this meeting, the Contractor shall provide the NOAA COR with an update on the progress of activities and tasks. The USMCC Contractor shall document and distribute the minutes of the meetings at least 2 working days prior to the subsequent meeting.

- Monthly Reports - These reports shall summarize the progress of activities during the previous month. The key elements for each report consist of the following:

  - Progress to date on each tasks and activities

  - Planned activities for the next period

  - Significant changes

  - Problem areas, recommended solution, and ways to prevent reoccurrence

  - Cost issues that affect earned value or operational analysis reporting and how they are being addressed.

Monthly Reports shall be provided to the Contracting Officer and COR on or before the 10th day of each month.

- Monthly Configuration Management Reports – These reports detail the status of System Change Proposals and System Problem Reports.

- Cospas-Sarsat Annual Report - This report shall include information from the USMCC Data Bases, particularly the IHDB to support the production of the Annual Report required by Cospas-Sarsat.

- Miscellaneous Reports - The contractor shall produce several additional regular reports that provide information to the USMCC data users and other national agencies. These reports include a Quarterly Report to the US RCCs detailing the beacon activities reported during the quarter; a quarterly report for beacon manufacturers designed to keep this group informed as to the overall status of 406 MHz beacon performance in the US as well as the performance of the beacons that they manufacture; and a monthly report for the FCC detailing detections of signals that may interfere with 406 MHz beacon detection.  The Contractor shall also provide other reports, studies and minutes as required by the Government.

# 7	Travel

Some of the Contractor staff will occasionally be required to travel nationally or internationally.  All travel must be authorized, prior to travel, by the Government.  A trip report and other appropriate documentation shall be furnished to the COR within one week of completion of travel.

# 8	Transition

The initial two months of the contract shall be a transition period during which the Contractor shall become familiar with the USMCC, associated sub-systems and operation.  The incumbent Contractor will continue to operate and monitor the USMCC during the transition period as well as provide controller training and transfer documentation to the new contractor.  The new Contractor will bear full responsibility for operations, software and technical support after the two month transition period.

The final two months of the contract shall be a transition period during which the incumbent Contractor will continue to bear full responsibility of the operations, software and technical support, but will also be responsible for training and guiding the follow-on Contractor in learning its duties.

# 9	Backup USMCC Operations and Maintenance

The contractor may be required to operate the backup USMCC at Wallops Island, Virginia.  The Contractor shall be required to maintain the configuration, hardware and software, and system software and COTS.  The backup USMCC would only be operated in the event that the USMCC in Suitland was inoperable and under the Continuity of Operations Plan. Figure 8 and Table 3 describe the current backup USMCC located at the incumbent's office facility in Lanham, MD.

<insert Figure 8>

Table 2: Backup USMCC Hardware List

| Machine Name | Hardware Type |
| --- | --- |
| Backup MCC |
| OPSREMOTE | DELL DIMENSION XPS |
| MCCOPS3 | DELL DIMENSION XPS |
| MCCOPS3-2 | DELL DIMENSION XPS |
| MccFtp3 | DELL POWEREDGE 2650 |
| MCCPRIMARY3 | DELL POWEREDGE 2450 |
| MCCCOMM3 | DELL POWEREDGE 2450 |
| MCCDBS | DELL POWEREDGE 2450 |
| MCCPROC3 | DELL POWEREDGE 2850 |
| MCCPRIM3 | DELL POWEREDGE 2650 |
| MCCSEC3 | DELL POWEREDGE 2650 |
| INTERNET PC | DELL DIMENSION 4100 |
| ROUTER USMCC-C | CISCO 2621 |
| VPN CONCENTRATOR | CISCO VPN 3020 |
| FIREWALL | CISCO PIX 515E |
| FAILOVER FIREWALL | CISCO PIX 515E |
| 2 LAN SWITCHES | HP PROCURVE2824 |
| KVM SWITCH | DELL |
| KMM USER STATION | DELL |
| KMM | DELL |
| HUB | HP PROCURVE |

# Appendix A – List of Acronyms

AFB		Air Force Base

AFTN		Aeronautical Fixed Telecommunications Network

CDA		Command and Data Acquisition

CITS		Common IT Services

CMCC	Canadian Mission Control Center

COSPAS	“Cosmicheskaya Systyema Poiska Aariynyich Sudov” which translates loosely into “Space System for the Search of Vessels in Distress.”

COTS		Commercial off the Shelf

CNES	Centre Nationale d'Etudes Spatiales which translates loosely into “National Center for Space Studies”

DCS		Data Collection System

ELT		Emergency Locator Transmitter

EPIRB		Emergency Position-Indicating Radio Beacon

ESPC		Environmental Satellite Processing Center

EUMETSAT	European Organization for the Exploitation of Meteorological Satellites

FCC		Federal Communications Commission

FMCC		French Mission Control Center

GEO		Geostationary-Earth Orbit

GEOLUT	GEOSAR Local User Terminal

GEOSAR	Geostationary-Earth Orbiting Search and Rescue

GOES		Geostationary Operational Environmental Satellite

GPS		Global Positioning System

JC		Joint Committee

LEO		Low-Earth Orbit

LEOLUT	LEOSAR Local User Terminal

LEOSAR	Low-Earth Orbiting Search and Rescue

LUT		Local User Terminal

MCC		Mission Control Center

MEOLUT	MEOSAR Local User Terminal

MEOSAR	Medium-Earth Orbiting Search and Rescue

METOP	Meteorological Operational (satellite)

MOU		Memorandum of Understanding

NBB		Naval Bulletin Board

NESDIS	National Environmental Satellite, Data, and Information Service

NIST		National Institute of Standards and Technology

NOAA		National Oceanic and Atmospheric Administration

NSARC	National Search and Rescue Committee

NSOF		NOAA Satellite Operations Facility

OPSCOM	Operations Committee

OSDPD	Office of Satellite Data Processing and Distribution

OWG		Operations Working Group

PLB		Personal Locator Beacon

POAM		Plan of Actions and Milestones

POES		Polar-orbiting Operational Environmental Satellite

PSDN		Packet-Switched Data Network

PSTN		Public Switched Telecommunication Network

RCC		Rescue Coordination Center

RTCA		Radio Technical Commission for Aeronautics

RTCM		Radio Technical Commission for Maritime services

SAR		Search and Rescue

SARSAT	Search and Rescue Satellite Aided Tracking

SOCC		Satellite Operations Control Center

SPOC		SAR Point of Contact

SQL		Structured Query Language

SSAS		Ship Security Alerting System

SUA		System Use Agreement

TG		Task Group

TWG		Technical Working Group

UN		United Nations

USAF		U.S. Air Force

USCG		U.S. Coast Guard

USMCC	United States Mission Control Center

# Appendix B – USMCC Requirements Analysis

I	Operations

A	24/7 Operation of the United States Mission Control Center (USMCC)

The 24/7 operation of the USMCC assumes that the following functions are performed around the clock 365 days a year.  These functions are expected to remain relatively unchanged through 2012.

- Tend the USMCC system at Suitland, Maryland or at the designated backup facility

- Operate the USMCC per Volume 1 of USMCC Standard Operating Procedures (SOPs) and in accordance with Cospas/Sarsat (C/S) A.005 “Cospas-Sarsat Mission Control Centre (MCC) Performance Specification and Design Guidelines”

- Notify MCCs, Search and Rescue Points of Contact (SPOCs), and Rescue Coordination Centers (RCCs) of outages

- Monitor the C/S Ground Segment in the United States in accordance with Volume 1 of USMCC SOPs and C/S A.003 “Cospas-Sarsat System Monitoring and Reporting”

a.	USMCC

- initiate corrective action for critical problems per applicable SOP

- switch and configure backup capabilities as necessary and appropriate

- respond to system alarms

- monitor operating environment and respond to environmental alarms

- such as HVAC and power systems.

b.	Local User Terminals (LUTs)

- monitor inputs from the LUTs to ensure that all aspects are functioning correctly.

- initiate corrective action for critical problems

- coordinate with LUT contractor to resolve problems

- monitor LUT communication links

- record LUT and Communication outages in the Lut Monitoring Data Base (LMDB)

c.	Communications

- respond to alarms  generated on the USMCC system

- initiate corrective actions to critical problems according to SOP

- switch to backup comm. links as required

5.	Serve as the NOAA Point of Contact for:

a.	Rescue Coordination Centers (RCCs)

- respond to queries from RCCs

- provide registration data

- re-route and retransmit alert messages as needed

- provide satellite pass schedules for active beacons

- interpret system performance

- request feedback data for the Incident History Data Base (IHDB) as appropriate

- other assistance as required

b     Mission Control Centers (MCCs)

- respond to queries from other MCCs

- retransmit data upon request or per procedure

- provide registration data

- re-route data as needed or per procedure or request

- request alert data from other MCCs

- request feedback on operational beacons

- ensure system data (e.g. ephemeris) is properly transmitted.

- coordinate international system events (international tests, backups, downtime etc)

c.     SPOCs

- respond to queries

- retransmit data upon request or per procedure

- provide registration data

- re-route data as needed or per procedure or request

d.    Satellite SAR Payload Activities and the Satellite Operations Control Center (SOCC)

- notify MCCs, SPOCs, and RCCs of  satellite instrument failures or degradations, satellite movement, satellite commissioning and decommissioning, and other satellite related activities

- act as POC for command requests from the French Centre National d'Etudes Spatiales (CNES) and Canadian Department of National Defense  (DND) respectively for the Search and Rescue Repeater (SARR)  and Search and Rescue Processor (SARP) instruments and interfaces with the SOCC to request and verify the command execution

- act as POC for GOES SARR instrument command requests and interfaces with the SOCC to request and verify the command execution

e.     LUT Operations

- request data from LUTs

- command, configure, and schedule LUTs

- monitor LUT performance

- coordinate LUT outages as appropriate

f.	Environmental Satellite Processing Center (ESPC)

- monitor the retrieval of  SARR and SARP telemetry

- monitor the retrieval of satellite ephemeris

g.     Naval Bulletin Board

- monitor and retrieve Two Line Elements (TLEs)

h.     NOAA Management

- report the status of  the SARSAT ground system in the United States

- notify of  critical outages in the SARSAT ground system in the United

- States

B	406 MHz Beacon Registration Database

1.	Manually register new beacons using paper forms mailed or faxed to NOAA. Table 1 shows the total number of beacons registered per year from 1990 to 2004.  Table 2 shows the percentage of beacons registered online via the web interface for the period January 2004 to September 2005

Table 1:  New Beacon Registrations

| 1990 | 1991 | 1992 | 1993 | 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2,785 | 5,843 | 3,991 | 3,846 | 4,671 | 5,252 | 6,742 | 8,412 | 7,973 | 9,075 | 9,790 | 9,236 | 11,920 | 15,377 | 18,343 |

Table 2:  Use of Web Interface by Beacon Owners

| Month | Online (Web) | Paper (Mail/Fax) | Total Registrations and Updates | Percent Online | Percent Manual Entry |
| --- | --- | --- | --- | --- | --- |
| Jan-04 | 960 | 3,235 | 4,195 | 23% | 77% |
| Feb-04 | 985 | 2,821 | 3,806 | 26% | 74% |
| Mar-04 | 1,544 | 5,242 | 6,786 | 23% | 77% |
| Apr-04 | 1,547 | 4,608 | 6,155 | 25% | 75% |
| May-04 | 1,628 | 4,358 | 5,986 | 27% | 73% |
| Jun-04 | 1,708 | 4,267 | 5,975 | 29% | 71% |
| Jul-04 | 1,489 | 3,303 | 4,792 | 31% | 69% |
| Aug-04 | 1,328 | 2,572 | 3,900 | 34% | 66% |
| Sep-04 | 1,161 | 3,670 | 4,831 | 24% | 76% |
| Oct-04 | 1,268 | 2,709 | 3,977 | 32% | 68% |
| Nov-04 | 1,232 | 2,751 | 3,983 | 31% | 69% |
| Dec-04 | 1,270 | 2,798 | 4,068 | 31% | 69% |
| Jan-05 | 1,848 | 3,237 | 5,085 | 36% | 64% |
| Feb-05 | 1,665 | 3,120 | 4,785 | 35% | 65% |
| Mar-05 | 2,386 | 4,423 | 6,809 | 35% | 65% |
| Apr-05 | 2,716 | 3,986 | 6,702 | 41% | 59% |
| May-05 | 3,162 | 3,528 | 6,690 | 47% | 53% |
| Jun-05 | 2,888 | 3,774 | 6,662 | 43% | 57% |
| Jul-05 | 2,536 | 2,444 | 4,980 | 51% | 49% |
| Aug-05 | 2,612 | 3,222 | 5,834 | 45% | 55% |
| Sep-05 | 1,863 | 2,656 | 4,519 | 41% | 59% |

2.	Provide beacon registration “help desk” services via telephone according to SARSAT Customer Service Delivery Standards.  Table 3 provides the current level of effort for reference.

Table 3: Beacon Registration Database Calls for Period July 16, 2004 to November 24, 2004

| Total Calls To Date | The average number of calls per calendar workday |
| --- | --- |
| 1,896 | 21 |
| Total Minutes | Average minutes spent on calls per calendar workday |
| 5,604 | 61 |

3.	Maintain daily counts including new registrations by paper and online, total beacon count, and number of confirmations

4.	File hardcopies of beacon registration forms and correspondence. Note:  Future correspondence may be filed electronically.

5.	Prepare and mail information data sheets, letters, and decals to beacon owners

C	Incident History Data Base

1.	Manually enter feedback faxed from RCCs into database.  Table 4 provides the number of feedback reports to be entered into the database. Note:  Some parts of this may be automated in the future and the 121/243 MHz. system is being terminated in 2009

Table 4: Incident Feedback Entries 4/1/04 to 4/1/05

| 121/243 MHz | 406 MHz | Total |
| --- | --- | --- |
| 9,676 | 4,603 | 14,279 |

D	Database and File Maintenance

1.	Perform regular backups

2.	Maintain archives

3.	Retrieve archived data as required

4.	Log all actions

E	Reporting

1.	Prepare morning report  ( See Attached Examples)

2.	Maintain configuration logs

II	Maintenance

A	USMCC Software Maintenance

1.	Maintain the subsystems in Table 5 which are coded in C++, Visual BASIC, SQL, MapInfo, Visual C++, JAVA:

Table 5:  List of USMCC Subsystems

| Sub-system | Lines of Code | Sub-System | Lines of Code |
| --- | --- | --- | --- |
| Alert Processing (ALRT) | 40,339 | Database/Data Maintenance (DBMN) | 1,063 |
| Communications Processing (COMM) | 25,836 | Incident History Database (IHDB) | 54,507 |
| System Data Processing (SDAT) | 16,816 | Registration Database (RGDB) | 77,487 |
| Real Time System Monitoring (SMON) | 5,101 | Self-test And Monitoring (SAMS) | 12,071 |
| Operator Interface (OPER) | 54,144 | LUT Monitoring Database (LMDB) | 20,953 |
| Interference Monitoring (INTF) | 70,203 | SAR Mapping/Geosort (SMAP) | 41,848 |
| Miscellaneous | 1,631 |  |

2.	Perform corrective, adaptive and perfective maintenance.  Critical maintenance is to be initiated within one (1) hour, non-critical maintenance according to configuration management plan.  Table 6 provides a historical perspective on the number of changes to the USMCC system.

Table 6:  List of System Changes

| Time Period | System Change Proposals (Perfective / Adaptive) | System Problem Reports (Corrective) |
| --- | --- | --- |
| 01/01/99 – 04/22/05 | 352 | 1856 |

III	Technical Support

A	Communications

- Establish and maintain communications links for SRINT Frame Relay network, AFTN, FTP over VPN, and dedicated fax.

- Perform corrective maintenance, adaptive and perfective maintenance according to published guidelines

B	IT Security

1.	Maintain operational Systems (USMCC, LUTs, and Communication equipment) according to the DOC, NOAA, and SARSAT IT security policies and plans.

2.	All COTS shall be kept up to date with security patches and updates.

3.	Generate periodic and special reports including scanning, vulnerability, and intrusion reports.

4.	Develop, implement, test, and maintain security controls according to DOC, NOAA, and SARSAT guidance.

5.	Maintain network hardware to meet DOC, NOAA and SARSAT security guidelines.

6.	Support all aspects of certification and accreditation activities.

7.	Support Plan of Action and Milestone (POAM) generation, tracking, implementation and reporting.

C	Equipment

1	at Suitland and LUT sites

a	Maintain the following:

-	63 PCs with Windows Operating System

-	10 Lut Display Monitors

-	1 Map Display Monitor

14  Routers and 2 firewalls

-	14 pico turbo switches

-	registration data base support equipment including decal printers, paper folding machine, and scanner

b	Perform corrective Maintenance

-	critical maintenance to be initiated within 1 hour

-	non-critical maintenance according to CMP

c	Perform adaptive Maintenance- according to CMP

d	Perform perfective Maintenance- according to CMP

2	At Backup USMCC Site

a	Maintain the following:

-	9 PCs with Windows Operating System

-	1 Router and 1 firewall

b	Perform corrective Maintenance

-	critical maintenance to be initiated within 1 hour

-	non-critical maintenance according to CMP

c	Perform adaptive Maintenance- according to CMP

d	Perform perfective Maintenance- according to CMP

D	Analysis

- Study, recommend, and design new hardware, software, or configuration changes to improve or optimize LUT/USMCC performance

- Integrate new hardware/software systems into the USMCC as required by NOAA or configuration management.

- Perform studies and prepare reports on the various aspects of the operation as required by NOAA, Configuration Management, or Performance plan.

- Plan, conduct, and analyze tests and tests results with LUTs, MCCs, SPOCs,  RCCs, and others as required including the annual Cospas-Sarsat system and backup tests, and MCC and satellite commissioning tests.

- Support False Alert analysis

- Retrieve data in support of responding to FOIA requests and investigations

- Assist in integrating new technologies into the USMCC and Cospas-Sarsat.

- Assist in developing and implementing requirements for the MEOSAR system(LUT and USMCC).

- Review and write papers/studies on behalf of the government

- Monitor SAR payload

E	Meetings

- Writing and review papers and presentations for international meetings

- Attend meetings

  - Task Groups

  - Joint Committee

  - Cospas-Sarsat Council

  - Bi-lateral / Multilateral

  - Beacon Manufacturer’s Workshop

  - With Users and other Stakeholders

- Review and write papers for meetings (number reviewed can range from 10-100 and number written can range from 1-20 per meeting)

F	Interference Monitoring

- Maintain subsystem to automatically track and report interference

- Coordinate with federal/international agencies to eliminate harmful interference

- Coordinate with appropriate agencies/organizations on frequency management issues.

G	Outreach

- Attend conferences and trade/professional events

- Develop literature

- Provide briefings and tours of the USMCC

- Support educations and outreach

H	Reporting

- Morning Reports  - See attached examples

- Provide data for Performance Management Reporting

- Generate IHDB reports

- Response to DOC, NOAA, NESDIS and OSDPD data calls

- Ad Hoc

I	Testing

- Support Commissioning (Spacecraft, LUT, and MCC) and associated analysis

- Support Satellite testing(on orbit support) and associated analysis

- Act as Point of Contact for test coordination

- Conduct/Participate in demonstrations and associated analysis

- Test changes/enhancements to ground segment and associated analysis

- Coordinate annual systems test and associated analysis

- Perform Risk Reduction related testing and associated analysis

J	Develop and Maintain Documentation

1.	Maintain USMCC Technical Documentation

- Functional Requirements Document

- Standard Operating Procedures/Guide

- Operators Manual

- Data Structures Document

- Functional Description Document

- Detailed Design Document

- Software Baseline Document

- RCC Messages Document

- RCC Training Document

- Interface Control Document (IPD-DSD)

- Special Beacon Programs

- Communications Description Document

2.	Develop other documentation

a.	Public Awareness

b.	Trade publications

c.	Web pages

K	Configuration Management

- Coordinate Configuration Management activities

- Support NOAA’s configuration manager

- Manage configuration documentation

Sample Morning Report

SARSAT MORNING STATUS REPORT

24 APR 2006      21/0000 UTC APR 2006 - 23/2400 UTC APR 2006

1.	AS OF 0001 UTC THIS MORNING, THE SYSTEM IS FULLY OPERATIONAL.

2.	MCC STATUS - UP.

3.	LUT STATUS.

| LUT | AK1/2 | CA1/2 | FL1/2 | GU1/2 | HI1/2 | MD1/2 |
| --- | --- | --- | --- | --- | --- | --- |
| MISSED PASSES | 0 | 0 | 0 | 0 | 0 | 0 |
|  | 0 | 0 | 1 | 0 | 1 | 0 |

4.	COMMUNICATIONS LINES STATUS - UP.

5.	SAR INCIDENTS.

Beacon ID - ADCD023B78C1C01   Home Port – Ft. Bragg, CA

DISTRESS.  On 20 April 2006 at 2028 UTC, the COSPAS-SARSAT system detected a 406 distress signal 12 miles off the coast of Ft. Bragg, CA.  Coast Guard Pacific area received a call from the Good Samaritan "20 Grand" that they had retrieved the person and EPIRB from the fishing vessel 'Ball No 1" that sank.  They were in the area at that time and saw the vessel sinking.   Not a SARSAT rescue.

Beacon ID - ADCD02157500401   Home Port – Unknown

DISTRESS.  On 21 April 2006 at 1731 UTC, the COSPAS-SARSAT system detected a 406 MHz distress signal in position 16 26.30 N, 157 00.56 W.  The owner/operator of the F/V Julie Irene manually activated his 406 MHz EPIRB when his vessel became disabled and adrift due to main engine failure.  The Coast Guard District 14 RCC in Honolulu, HI launched a C-130 fixed wing aircraft and the USCG cutter Kiska to the area.  The disabled vessel was located 145 NM southwest of Hawaii.  The vessel owner arranged for the F/V Seajay to come and give him a tow into port.  The USCG cutter Kiska arrived on scene and attempted to repair the engine.  They repaired the starter solenoid unit, but the batteries were dead.  The Coast Guard cutter took the vessel in tow to Hilo, HI where they will rendevous with the F/V Seajay which is carrying extra batteries for the disabled vessel.  5 SARSAT RESCUES.

6.  406 BEACON SITES CLOSED

LOCATED: USA 14, BERMUDA 1, TRINIDAD 1, MARSHALL 1, MEXICO 1, CANADA 1

UNLOCATED: USA 19

REGISTERED USA BEACONS:  73% (24)

7.  TOTAL BEACON SITES CLOSED

REPORT PERIOD    FIRST ALERTS   COMPOSITES   FREQUENCY

21/0000 thru       203              33     121/243 MHz

21/2359 Apr         12               2         406 MHz

22/0000 thru       186              34     121/243 MHz

22/2359 Apr         16               5         406 MHz

23/0000 thru       212              34     121/243 MHz

23/2359 Apr         10               3         406 MHz

8.  406 MHz BEACON ACTIVATION SUMMARY

NO INFORMATION                            6

ND-Bcn Mishandling-Improper Use          10

ND-Bcn Malfunction-No Specifics           1

Distress-Automatic                        1

ND-Unknown-No Feedback on cause           4

ND-Bcn Malfunction-Electronics            1

ND-Mounting Failure-Strap/Bracket         1

Ceased-Undetermined if distress           8

ND-Bcn Mishandling-Improper Install       1

ND-Bcn Malfunction-Water Intrusion        1

ND-Unknown-Investigated-Inconclusive      1

Distress-Manual                           1

ND-Bcn Mishandling-Improper Disposal      1

ND-Bcn Mishandling-Test/Maintenance       1

MCC DAILY STATUS REPORT

24 APR 2006      21/0000 UTC APR 2006 - 23/2400 UTC APR 2006

1.	PROBLEMS - NONE.

2.	CONTROLLER NOTES.

21/0800 UTC – Message received from the COSPAS-SARSAT Secretariat regarding the new COSPAS-SARSAT type approval beacon, TAC 158.

THE FOLLOWING NEW 406 MHZ ELT HAS BEEN APPROVED BY COSPAS-SARSAT.

BEACON MODEL NAME: AVMM ELT S-406

MANUFACTURER: MUSSON MARINE LTD.

FREQUENCY CHANNEL: 406.028 MHZ

CLASS: 2

APPROVED FOR USER PROTOCOLS APPLICABLE TO ELTS:

AVIATION

ELT WITH SERIAL NUMBER

ELT WITH AIRCRAFT OPERATOR AND SERIAL NUMBER

ELT WITH AIRCRAFT 24-BIT ADDRESS

TESTED LIFETIME: 24 HOURS

MORE DETAILED INFORMATION IS AVAILABLE FROM THE COSPAS-SARSAT

SECRETARIAT WEBSITE AT WWW.COSPAS-SARSAT.ORG

3.	LUTS

LUT(S) CONFIGURED DOWN (NEXT PASS PREDICTION) - NONE.

LUT(s) ON TEST SYSTEM - LSE, GSE

| LUT | SAT | ORBIT | AOS | LOS |
| --- | --- | --- | --- | --- |

FL2	S10	4756	22/1805	22/1820

REASON:  No 406 Solutions due to Antenna hardware issues.

HI2	S9	  19898	23/1016	23/1024

REASON:  Missing Pass Summary, due to message formatting error.

4.	406 DATA BASE SUMMARY

BEACON REGISTRATIONS IN DATABASE	148607

BEACON REGISTRATIONS RECEIVED	98 (50)

BEACON REGISTRATIONS ENTERED (DECALS MAILED)	98 (50)

BEACON REGISTRATIONS TO BE ENTERED	0

UPDATES FROM CONFIRMATION PROCESS (DECALS MAILED)	271 (52)

UPDATES FROM UNSOLICITED CHANGES	128 (90)

TOTAL BEACON REGISTRATIONS UPDATED	399 (142)

# Appendix C – Performance Requirements

Operations Support

| Desired Outcomes | Required Service | Performance Standard | Monitoring Method |
| --- | --- | --- | --- |
| Operation of the USMCC in accordance with national and international standards | The contractor shall operate and monitor the USMCC on a 24-hour, 7-day per week schedule. This work shall be performed on site in Suitland, Maryland or at the designated backup facility as described in the USMCC Requirements Analysis document and the SOW. | 99.5% system availability for the USMCC 99% of all problems communicated and acted upon appropriately within an hour of occurrence for : LUT problems, communications outages, and USMCC problems | Daily monitoring and Quarterly availability report. Daily report and operator logs |
| Effective and accurate beacon registration information to search and rescue services. | The contractor shall register new beacons within 2 days of reception of the registration form | 99.5% of all new beacons registered within 2 business days of receiving the information. 78% of registration information transmitted to RCCs is accurate | a)Daily briefings and Quarterly reports b) Quarterly Reports and RCC feedback |

Software Support

| Desired Outcomes | Required Service | Performance Standard | Monitoring Method |
| --- | --- | --- | --- |
| The provision of the USMCC software support required to maintain its operation and compliance with appropriate national and international standards | The Contractor shall maintain all USMCC applications software as referenced in the USMCC, 406 RGDB, and IHDB Functional Description Documents, USMCC Detail Design Document, USMCC Requirements Analysis, SOW, and USMCC Baseline Source | 98% of all perfective and adaptive maintenance done and within agreed to time frames 99% of all corrective maintenance initiated within 1 hour of discovery and resolution time given | Configuration management and Status meeting reports. Daily reporting and Configuration management reports. |

Technical Support

| Desired Outcomes | Required Service | Performance Standard | Monitoring Method |
| --- | --- | --- | --- |
| The provision of the technical support required to sustain and enhance the USMCC and the Cospas-Sarsat missions. | The contractor shall perform monitoring and trend analysis, maintain the USMCC hardware and networks, perform system analysis and studies, write papers, provide meeting support, support IT security, maintain communications links, maintain documentation and inventories, provide training, and support system testing. | 99% of all USMCC PC and LAN corrective maintenance initiated within 1 hour of notification to NOAA 98% of all perfective and adaptive maintenance done within agreed to timeframes 99.5% of all maintenance compliant with the SARSAT IT security plan, policy, and procedures 99.5% of all required time-sensitive IT support, such as data calls and security patch installations, completed within agreed to time frames Training provided to RCC personnel on schedule agreed with NOAA | Configuration management and status meeting reports Configuration management and status meeting reports Configuration management and status meeting reports Security reports and meetings Feedback from USAF and USCG |

# Text boxes

Emergency Beacon

SAR Point of Contact

Foreign Mission Control Center

Rescue Coordination Center

Mission Control Center

Local User Terminal

LEO Satellites

GEO Satellites

Registration

Database

Emergency Beacon

Registration Information

Interference Locations

FCC

Support Data

Alert Data

Telemetry

Orbit Vectors

Telemetry

Commanding

POES, METOP and Nadezhda

Satellites

GOES

Satellites

GPS

Satellites

Timing

Timing

Position

CMCC

FMCC

Special Programs

MCC

RCC

SPOC

Naval Space Command

USMCC

ESPC

NIST

GEOLUT

(2)

LEOLUT

(10)

SOCC

Figure 4: USMCC - USCG Communication

Figure 5: USMCC - AFRCC Communication