SUBJECT:		SCHEDULING DOWNTIME FOR MAINTENANCE

PURPOSE:	Establish standard procedures for requesting and obtaining downtime for preventive or corrective maintenance

REFERENCES:	1.  ROI 01-21

2.  RCEI 19-19

3.  45 SWI 13-206

ATTACHMENTS:	None

ANNEXES:		None

1.0	GENERAL

A.	Routine preventive maintenance and non-routine corrective maintenance downtime will be scheduled according to 45 SWI 13-206.  Detailed procedures for programming corrective maintenance covered by Instrumentation Control Certificates (ICC) are given in ROI 01-21 and RCEI 19-19.

B.	Managers or Systems Controllers will submit requests for all downtime to the RTS Range Scheduling Analyst (RSA), Operations Control, as outlined in this instruction.  RTS support activities which would affect preventive/corrective maintenance on downrange ER stations will be coordinated with the local senior RTS representative.

2.0	PROCEDURE

A.	Managers or Systems Controllers will:

1.	Submit requests for routine preventive maintenance downtime to the RTS Scheduling Analyst by close of business each Tuesday to cover the time period for the following week (Monday through Sunday).  Requesters will provide information as follows:

a.	Work week - Monday's date/month/year

b.	Submitted by - name, title

c.	Date submitted - date of request

d.	Station - ER station or site

e.	System, equipment or facility

f.	Downtime start - date/time (UTC)

g.	Downtime termination - date/time (UTC)

NOTES:	1.	Duration of routine downtime should conform as closely as possible with

time(s) indicated in preventive maintenance procedures.

2.	Also, requester must assure Systems O&M, Station and Facility Support,

Depot Level Maintenance, and the respective System Manager have been

notified.

2.	Submit requests for non-routine corrective maintenance downtime to the RTS Scheduling Analyst as required.  Requesters will provide the following information:

a.	Date submitted - date of request

b.	Station - ER station or site

c.	System, equipment or facility

d.	Downtime start - date/time (UTC)

e.	Downtime termination - date/time (UTC)

f.	Downtime authorized for - reason for downtime and a brief description of work to be

performed including call-up time

g.	Substitution - system, equipment or facility which can be substituted, if applicable

h.	Operations affected - operation number and impact, if known

I.	Prior coordination - name(s) and title, ICC number, etc.

NOTE:	Also, requester must assure Systems O&M, Station and Facility Support, Depot

Level Maintenance, and the respective System Manager have been notified.

3.	Notify the RTS Scheduling Analyst and Depot Level Maintenance when scheduled downtime is canceled.

4.	Initiate call-up during scheduled downtime upon request from the responsible Instrumentation Superintendent, Range Operations (ISRO).

B.	The RTS Scheduling Analyst will:

1.	Coordinate with affected organizations and resolve any conflicts between requested downtime and operation support.

2.	Submit downtime request to Eastern Range Scheduling, (REDACTED), for Air Force approval.

3.	Ensure that downtime notifications, changes, and cancellations are included in the Range Schedule, classified messages, or disseminate information verbally to the RCO or ISRO when necessary.

4.	Immediately notify Manager/Systems Controllers through the RCO/ISRO when scheduling action requires call-up of systems equipment during an approved downtime period.

NOTE:	Call-up or required time for the system/equipment to be operational should never

be more than the estimated time stated in the request for downtime and as

approved by (REDACTED).